## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-05 00:00:00 | 5.374 | 221.633 | 3.634 | 240.774 | 2.802 | 252.4 | 1.995 | 252.7 | 3.054 | 890.117 | 45.301 | 0.24444
2019-11-05 00:15:00 | 5.636 | 224.467 | 4.125 | 239.542 | 3.027 | 247.8 | 2.163 | 244.967 | 3.656 | 889.792 | 45.547 | 0.20962
2019-11-05 00:30:00 | 5.861 | 225.933 | 3.974 | 244.319 | 2.738 | 249.833 | 1.624 | 245 | 3.589 | 890.008 | 45.589 | 0.20251
2019-11-05 00:45:00 | 5.914 | 228.667 | 4.216 | 245.956 | 2.863 | 250.2 | 1.862 | 245 | 3.521 | 889.917 | 45.067 | 0.20322
2019-11-05 01:00:00 | 5.9 | 226.133 | 4.801 | 244.532 | 3.454 | 249.933 | 2.283 | 244 | 3.438 | 889.833 | 45.109 | 0.13714
2019-11-05 01:15:00 | 5.634 | 226.867 | 4.373 | 245.484 | 3.099 | 250.933 | 2.286 | 243.967 | 3.471 | 889.633 | 45.515 | 0.1414
2019-11-05 01:30:00 | 5.513 | 227 | 4.653 | 248.117 | 3.6 | 253.9 | 2.512 | 244 | 3.655 | 889.533 | 45.6 | 0.24301
2019-11-05 01:45:00 | 5.588 | 225 | 4.917 | 247.091 | 3.848 | 255.9 | 2.697 | 245.45 | 3.354 | 889.833 | 45.973 | 1.1788
2019-11-05 02:00:00 | 5.845 | 227.833 | 5.053 | 251.353 | 3.945 | 257.867 | 3.006 | 254.033 | 3.438 | 889.925 | 46.155 | 0.66225
2019-11-05 02:15:00 | 6.295 | 229.233 | 4.501 | 249.241 | 3.335 | 258.067 | 2.512 | 254.483 | 3.154 | 890.1 | 46.763 | 0.43202
2019-11-05 02:30:00 | 5.832 | 226.433 | 4.297 | 242.383 | 3.645 | 254 | 2.832 | 258 | 3.287 | 890.358 | 47.552 | 0.16911
2019-11-05 02:45:00 | 5.444 | 226.687 | 4.121 | 249.935 | 3.076 | 258 | 2.264 | 262.833 | 2.881 | 890.025 | 48.277 | 0.096637
2019-11-05 03:00:00 | 6.075 | 228.893 | 4.216 | 249.421 | 3.644 | 262.2 | 3.258 | 267.167 | 2.436 | 890.05 | 48.48 | 0.41995
2019-11-05 03:15:00 | 5.988 | 227.127 | 4.308 | 249.304 | 3.677 | 257.8 | 3.18 | 262.933 | 2.74 | 889.875 | 48.768 | 0.30483
2019-11-05 03:30:00 | 5.676 | 226.573 | 3.8 | 248.634 | 3.306 | 261.667 | 2.791 | 267.933 | 2.759 | 889.742 | 48.352 | 0.11369
2019-11-05 03:45:00 | 5.795 | 226.833 | 4.069 | 248.886 | 3.27 | 265.533 | 3.128 | 272 | 2.324 | 889.992 | 48.875 | 0.17196
2019-11-05 04:00:00 | 5.613 | 222.32 | 3.481 | 242.737 | 2.994 | 254.033 | 2.51 | 251.067 | 2.499 | 889.608 | 49.76 | 0.27854
2019-11-05 04:15:00 | 5.881 | 222.92 | 3.823 | 240.463 | 3.076 | 253.9 | 2.41 | 251.767 | 2.131 | 890.025 | 50.08 | 0.17409
2019-11-05 04:30:00 | 5.719 | 225.513 | 3.75 | 245.506 | 2.942 | 258.167 | 2.722 | 262.2 | 2.038 | 889.9 | 50.72 | 0.17338
2019-11-05 04:45:00 | 5.55 | 222.6 | 3.976 | 240.274 | 3.146 | 252.767 | 2.629 | 261.867 | 1.316 | 890.017 | 51.52 | 0.10303
2019-11-05 05:00:00 | 5.892 | 224.467 | 4.068 | 240.72 | 3.679 | 254.433 | 3.069 | 255.933 | 1.499 | 889.967 | 51.381 | 0.14425
2019-11-05 05:15:00 | 5.671 | 223.18 | 4.088 | 241.782 | 3.532 | 254.133 | 3.148 | 258.067 | 1.078 | 889.817 | 51.755 | 0.10516
2019-11-05 05:30:00 | 5.802 | 223.447 | 3.736 | 247.238 | 3.402 | 261.467 | 3.051 | 261.6 | 1.299 | 889.933 | 52.043 | 0.15135
2019-11-05 05:45:00 | 5.828 | 223.607 | 3.594 | 243.668 | 3.31 | 260.133 | 2.886 | 261.367 | 1.129 | 889.975 | 52.373 | 0.25154
2019-11-05 06:00:00 | 5.886 | 222.513 | 3.399 | 233.703 | 2.614 | 246.967 | 1.824 | 258.533 | 0.948 | 890.175 | 52.523 | 0.28565
2019-11-05 06:15:00 | 6.423 | 220.16 | 3.504 | 231.406 | 2.286 | 240.233 | 1.79 | 243.733 | 1.229 | 889.925 | 51.765 | 0.24728
2019-11-05 06:30:00 | 6.102 | 221.707 | 2.969 | 231.06 | 2.294 | 236.433 | 1.913 | 244.6 | 1.366 | 889.825 | 51.765 | 0.22738
2019-11-05 06:45:00 | 6.329 | 224.2 | 3.632 | 234.526 | 3.052 | 243.067 | 2.37 | 236.6 | 0.965 | 889.8 | 51.659 | 0.2018
2019-11-05 07:00:00 | 5.926 | 223.653 | 3.776 | 236.415 | 3.05 | 249.2 | 2.445 | 240 | 0.865 | 890.258 | 52.608 | 0.19043
2019-11-05 07:15:00 | 6.313 | 224.327 | 3.72 | 235.442 | 3.125 | 243.867 | 2.518 | 236.2 | 0.932 | 889.908 | 52.363 | 0.20038
2019-11-05 07:30:00 | 6.102 | 222.86 | 4.174 | 238.768 | 3.302 | 248 | 2.452 | 235.8 | 0.765 | 889.925 | 52.917 | 0.23875
2019-11-05 07:45:00 | 5.739 | 224.64 | 3.799 | 238.246 | 2.792 | 247.2 | 2.053 | 237 | 0.399 | 890.192 | 53.429 | 0.24515
2019-11-05 08:00:00 | 5.293 | 226.347 | 3.2 | 235.223 | 2.437 | 250 | 1.814 | 240.633 | 0.582 | 890.117 | 53.237 | 0.22028
2019-11-05 08:15:00 | 5.93 | 224.707 | 3.294 | 232.135 | 2.509 | 250 | 1.923 | 240.267 | 0.582 | 889.633 | 53.141 | 0.22312
2019-11-05 08:30:00 | 6.415 | 221.58 | 3.451 | 228.588 | 2.35 | 237.967 | 1.825 | 235.867 | 0.615 | 890.417 | 53.088 | 0.21885
2019-11-05 08:45:00 | 6.362 | 217.813 | 3.346 | 221.572 | 1.9 | 230 | 1.539 | 219.033 | 0.898 | 889.983 | 52.779 | 0.21601
2019-11-05 09:00:00 | 5.805 | 215.407 | 2.81 | 223.804 | 0.624 | 230 | 0.763 | 219 | 0.915 | 889.508 | 51.979 | 0.22454
2019-11-05 09:15:00 | 5.227 | 217.567 | 3.395 | 224.079 | 2.299 | 235.267 | 0.807 | 218.933 | 1.713 | 889.908 | 50.709 | 0.23591
2019-11-05 09:30:00 | 5.494 | 219.127 | 3.19 | 220.028 | 2.167 | 228.233 | 1.515 | 227.467 | 2.639 | 889.717 | 48.48 | 0.21601
2019-11-05 09:45:00 | 5.369 | 216.613 | 3.284 | 206.464 | 2.384 | 215.033 | 1.821 | 207.533 | 4.079 | 889.975 | 45.44 | 0.22454
2019-11-05 10:00:00 | 4.316 | 219.467 | 2.53 | 207.726 | 1.444 | 217.067 | 0.42 | 209.033 | 5.398 | 890.025 | 42.837 | 0.21317
2019-11-05 10:15:00 | 3.228 | 216.833 | 3.429 | 202.666 | 2.23 | 193.467 | 1.599 | 199 | 6.559 | 889.7 | 40.688 | 0.21601
2019-11-05 10:30:00 | 2.995 | 226.5 | 2.438 | 209.776 | 1.78 | 192 | 0.739 | 185.033 | 8.04 | 889.767 | 38.203 | 0.20322
2019-11-05 10:45:00 | 1.993 | 237.44 | 1.35 | 222.594 | 0.68 | 221 | 0.554 | 186.067 | 9.537 | 889.467 | 35.323 | 0.1613
2019-11-05 11:00:00 | 0.482 | 220.467 | 0 | 209.97 | 0.103 | 212.9 | 0.746 | 212 | 11.295 | 889.883 | 32.139 | 0.17622
2019-11-05 11:15:00 | 0.422 | 103.313 | 0 | 200.499 | 0 | 126.933 | 0.457 | 181.833 | 11.29 | 889.783 | 29.451 | 0.20322
2019-11-05 11:30:00 | 0.512 | 83.04 | 0.113 | 88.469 | 0.542 | 87.433 | 1.344 | 72 | 10.995 | 889.733 | 28.72 | 0.19612
2019-11-05 11:45:00 | 0.966 | 49.413 | 0.316 | 62.993 | 0.61 | 82.6 | 1.3 | 69.967 | 11.361 | 889.683 | 28.363 | 0.15277
2019-11-05 12:00:00 | 0.973 | 112.363 | 0.536 | 98.27 | 0.55 | 98.933 | 1.169 | 95 | 11.228 | 889.917 | 27.931 | 0.63667
2019-11-05 12:15:00 | 1.897 | 85.657 | 1.676 | 89.013 | 2.079 | 82.6 | 2.556 | 76.7 | 12.028 | 889.55 | 27.781 | 1.2001
2019-11-05 12:30:00 | 1.638 | 91.943 | 1.136 | 82.647 | 1.987 | 86.6 | 2.313 | 72.033 | 11.749 | 890.267 | 27.509 | 2.6689
2019-11-05 12:45:00 | 3.323 | 101.07 | 3.195 | 100.595 | 3.235 | 104.9 | 3.574 | 105.667 | 12.045 | 889.45 | 27.12 | 2.6923
2019-11-05 13:00:00 | 2.594 | 82.333 | 2.223 | 82.107 | 2.54 | 86.2 | 3.17 | 84 | 11.766 | 889.983 | 27.397 | 2.6369
2019-11-05 13:15:00 | 3.503 | 86.437 | 3.366 | 84.59 | 3.425 | 92.2 | 3.763 | 87.1 | 11.99 | 889.833 | 27.429 | 1.6492
2019-11-05 13:30:00 | 3.194 | 77.487 | 3.375 | 75.345 | 3.46 | 80.167 | 3.748 | 75.867 | 11.974 | 889.967 | 27.419 | 1.1561
2019-11-05 13:45:00 | 3.09 | 69.35 | 2.841 | 69.493 | 3.057 | 76.9 | 3.185 | 75.7 | 12.47 | 889.333 | 27.088 | 1.2982
2019-11-05 14:00:00 | 2.748 | 72.383 | 2.556 | 73.468 | 2.766 | 83.4 | 3.144 | 76.9 | 12.553 | 889.917 | 27.179 | 1.77
2019-11-05 14:15:00 | 2.82 | 74.112 | 2.497 | 62.826 | 3.065 | 64.9 | 3.187 | 58.567 | 12.878 | 889.683 | 26.651 | 1.3643
2019-11-05 14:30:00 | 3.597 | 55.585 | 3.264 | 51.508 | 3.488 | 56.167 | 3.614 | 51.3 | 12.543 | 890.183 | 26.32 | 1.2307
2019-11-05 14:45:00 | 3.847 | 28.379 | 3.708 | 26.985 | 3.874 | 32.933 | 3.981 | 31.7 | 12.641 | 889.933 | 25.883 | 0.80152
2019-11-05 15:00:00 | 3 | 16.331 | 2.838 | 22.592 | 3.259 | 35.9 | 3.299 | 33.733 | 12.514 | 889.85 | 25.76 | 0.62104
2019-11-05 15:15:00 | 1.93 | 80.228 | 1.497 | 64.698 | 1.812 | 64.7 | 2.485 | 58.733 | 12.438 | 889.067 | 26.107 | 0.45974
2019-11-05 15:30:00 | 2.905 | 71.473 | 2.526 | 62.173 | 2.749 | 67.567 | 3.048 | 66.633 | 12.557 | 889.817 | 25.6 | 0.3027
2019-11-05 15:45:00 | 2.874 | 55.103 | 2.598 | 48.472 | 2.912 | 55.667 | 3.076 | 56.4 | 12.543 | 889.8 | 25.323 | 0.10019
2019-11-05 16:00:00 | 3.084 | 53.147 | 2.931 | 51.406 | 3.34 | 56.1 | 3.409 | 51.967 | 12.684 | 889.917 | 25.104 | 0.17125
2019-11-05 16:15:00 | 2.29 | 69.987 | 2.086 | 67.003 | 2.515 | 69.7 | 2.762 | 61.567 | 12.955 | 889.933 | 25.035 | 0.16983
2019-11-05 16:30:00 | 2.21 | 48.303 | 2.11 | 44.025 | 2.627 | 50.767 | 2.758 | 46.6 | 12.762 | 889.5 | 24.608 | 0.24372
2019-11-05 16:45:00 | 2.216 | 35.322 | 1.824 | 29.859 | 2.143 | 31.067 | 2.29 | 30.367 | 12.632 | 889.85 | 24.293 | 0.15419
2019-11-05 17:00:00 | 2.461 | 23.862 | 2.126 | 19.702 | 2.362 | 22.9 | 2.671 | 26.5 | 12.639 | 889.717 | 24.459 | 0.16556
2019-11-05 17:15:00 | 2.04 | 63.575 | 1.397 | 53.394 | 1.803 | 53.533 | 2.358 | 47.4 | 12.32 | 889.9 | 24.747 | 0.18404
2019-11-05 17:30:00 | 2.03 | 49.408 | 1.27 | 44.41 | 1.853 | 47.1 | 1.935 | 36.1 | 12.107 | 889.633 | 25.045 | 0.16769
2019-11-05 17:45:00 | 1.895 | 48.078 | 1.584 | 41.614 | 1.962 | 43.933 | 2.256 | 37.133 | 12.182 | 889.833 | 25.344 | 0.14069
2019-11-05 18:00:00 | 1.497 | 31.485 | 0.246 | 25.354 | 0.607 | 38 | 1.317 | 34 | 11.995 | 889.85 | 25.781 | 0.14709
2019-11-05 18:15:00 | 1.133 | 30.052 | 0 | 25.027 | 0.25 | 37.433 | 0.937 | 34 | 11.903 | 889.867 | 26.389 | 0.15917
2019-11-05 18:30:00 | 1.374 | 29.088 | 0.136 | 24.856 | 0.66 | 35.4 | 1.245 | 34.033 | 11.595 | 889.533 | 27.168 | 0.15561
2019-11-05 18:45:00 | 0 | 13.033 | 0 | 16.06 | 0 | 14.033 | 0.027 | 34 | 11.37 | 889.783 | 28.059 | 0.15206
2019-11-05 19:00:00 | 0.799 | 13.038 | 0.136 | 16.06 | 0.08 | 14 | 0.769 | 34 | 11.028 | 889.783 | 28.837 | 0.15277
2019-11-05 19:15:00 | 0 | 13.038 | 0 | 16.071 | 0 | 13.867 | 0 | 34 | 10.961 | 889.533 | 29.701 | 0.14993
2019-11-05 19:30:00 | 0 | 13.018 | 0 | 16.063 | 0 | 14 | 0 | 34 | 10.195 | 889.583 | 30.939 | 0.16201
2019-11-05 19:45:00 | 0 | 13.045 | 0 | 16.063 | 0 | 14 | 0 | 33.9 | 9.985 | 889.7 | 31.456 | 0.1613
2019-11-05 20:00:00 | 0 | 13.067 | 0 | 16.067 | 0 | 14 | 0 | 34 | 9.816 | 889.65 | 32.304 | 0.15561
2019-11-05 20:15:00 | 0 | 212.207 | 0 | 16.05 | 0 | 14 | 0 | 34.033 | 9.326 | 889.867 | 32.379 | 0.17054
2019-11-05 20:30:00 | 1.823 | 234.187 | 0 | 16.063 | 0 | 14 | 0 | 34 | 9.241 | 889.967 | 32.528 | 0.17054
2019-11-05 20:45:00 | 3.414 | 230.127 | 0.951 | 215.096 | 0 | 14.2 | 1.207 | 32 | 9.316 | 889.6 | 31.429 | 0.17054
2019-11-05 21:00:00 | 4.488 | 231.853 | 2.589 | 245.011 | 1.72 | 274 | 1.857 | 302 | 6.949 | 889.9 | 31.893 | 0.22028
2019-11-05 21:15:00 | 4.875 | 237.033 | 3.345 | 248.917 | 2.722 | 268.533 | 2.713 | 273 | 5.994 | 889.733 | 33.813 | 1.6336
2019-11-05 21:30:00 | 4.867 | 234.407 | 4.677 | 247.352 | 4.305 | 252.267 | 3.948 | 251.2 | 5.684 | 889.533 | 35.6 | 5.1651
2019-11-05 21:45:00 | 4.873 | 238.3 | 4.566 | 255.148 | 4.114 | 262 | 3.985 | 253.8 | 5.812 | 890.267 | 36.451 | 7.5725
2019-11-05 22:00:00 | 5.162 | 232.287 | 5.131 | 258.087 | 4.739 | 269.333 | 4.698 | 268.333 | 5.807 | 889.7 | 37.603 | 9.2018
2019-11-05 22:15:00 | 5.051 | 243.6 | 5.774 | 266.752 | 5.947 | 275.533 | 6.201 | 273.567 | 6.011 | 889.567 | 38.571 | 19.1356
2019-11-05 22:30:00 | 4.966 | 261.813 | 6.018 | 272.995 | 6.375 | 278.833 | 6.652 | 275.9 | 6.723 | 890.233 | 37.776 | 20.8132
2019-11-05 22:45:00 | 5.212 | 237.653 | 6.544 | 253.377 | 6.81 | 259.6 | 7.004 | 258.583 | 6.386 | 889.8 | 37.971 | 26.0572
2019-11-05 23:00:00 | 5.404 | 242.527 | 6.418 | 253.963 | 6.561 | 261.6 | 6.784 | 260.45 | 6.34 | 889.3 | 39.208 | 24.4833
2019-11-05 23:15:00 | 5.114 | 248.153 | 6.381 | 257.627 | 6.713 | 266.8 | 7.073 | 266.167 | 6.221 | 889.608 | 40.72 | 21.7739
2019-11-05 23:30:00 | 5.398 | 244.393 | 6.081 | 255.362 | 6.234 | 265.067 | 6.423 | 264.933 | 6.058 | 889.775 | 41.627 | 20.7883
2019-11-05 23:45:00 | 5.044 | 248.313 | 6.06 | 261.764 | 6.294 | 270.067 | 6.813 | 267.467 | 5.968 | 889.867 | 42.784 | 17.3663