## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-06 00:00:00 | 5.108 | 249.887 | 5.456 | 260.831 | 5.746 | 268.467 | 6.072 | 265.2 | 5.906 | 889.617 | 44.341 | 19.5733
2019-11-06 00:15:00 | 5.314 | 244.073 | 5.878 | 256.337 | 6.353 | 264.533 | 6.686 | 262.033 | 5.683 | 889.958 | 46.539 | 19.2556
2019-11-06 00:30:00 | 4.826 | 244.147 | 5.96 | 255.646 | 6.316 | 262.4 | 6.673 | 260.883 | 6.051 | 889.983 | 48.107 | 19.9357
2019-11-06 00:45:00 | 4.54 | 234.193 | 5.644 | 252.223 | 6.091 | 261.733 | 6.27 | 260.2 | 5.628 | 889.658 | 48.645 | 16.6777
2019-11-06 01:00:00 | 4.49 | 239.167 | 4.94 | 250.457 | 5.001 | 260.933 | 5.326 | 261.8 | 5.614 | 889.767 | 50.165 | 14.2341
2019-11-06 01:15:00 | 4.19 | 234.8 | 5.112 | 253.554 | 5.459 | 264.267 | 5.825 | 262.667 | 5.482 | 889.925 | 51.083 | 13.2286
2019-11-06 01:30:00 | 4.746 | 231.593 | 5.126 | 245.06 | 5.273 | 257.433 | 5.546 | 257.783 | 5.329 | 890.275 | 52.853 | 14.1033
2019-11-06 01:45:00 | 4.418 | 229.093 | 5.122 | 237.476 | 5.143 | 249.933 | 5.189 | 249.533 | 5.181 | 889.675 | 54.048 | 12.0803
2019-11-06 02:00:00 | 4.131 | 240.18 | 4.817 | 246.403 | 4.701 | 256.267 | 4.801 | 257.867 | 5.637 | 890.158 | 53.835 | 13.4439
2019-11-06 02:15:00 | 4.198 | 242.84 | 5.289 | 246.099 | 5.101 | 256.033 | 4.9 | 257.383 | 5.634 | 890.008 | 54.155 | 12.8769
2019-11-06 02:30:00 | 4.165 | 231.847 | 4.432 | 243.465 | 4.303 | 255.333 | 4.315 | 255.283 | 5.654 | 889.408 | 54.251 | 15.5166
2019-11-06 02:45:00 | 4.711 | 226.36 | 5.483 | 233.748 | 5.361 | 242.033 | 5.171 | 238.6 | 5.014 | 889.7 | 55.093 | 17.6292
2019-11-06 03:00:00 | 4.879 | 227.7 | 5.997 | 233.391 | 5.98 | 242 | 5.612 | 239.233 | 4.785 | 890.208 | 56.576 | 17.1808
2019-11-06 03:15:00 | 4.062 | 229.007 | 5.93 | 233.696 | 6.118 | 243.1 | 6.07 | 238.933 | 4.026 | 889.883 | 56.32 | 19.8163
2019-11-06 03:30:00 | 4.7 | 223.727 | 6.242 | 232.12 | 6.449 | 242.967 | 6.279 | 239.3 | 3.97 | 889.858 | 57.173 | 20.5162
2019-11-06 03:45:00 | 4.221 | 228.68 | 6.043 | 237.121 | 6.098 | 246.767 | 5.928 | 244.067 | 3.812 | 889.758 | 59.264 | 18.7909
2019-11-06 04:00:00 | 4.783 | 225.467 | 6.215 | 234.962 | 6.261 | 243.267 | 5.954 | 239.833 | 3.739 | 889.533 | 59.509 | 20.0756
2019-11-06 04:15:00 | 4.949 | 227.3 | 6.318 | 235.593 | 6.433 | 242.433 | 6.168 | 240.3 | 3.706 | 890.008 | 59.979 | 18.2346
2019-11-06 04:30:00 | 4.765 | 224.767 | 5.947 | 233.799 | 6.11 | 242.7 | 5.961 | 240.267 | 3.756 | 889.767 | 60.331 | 19.4759
2019-11-06 04:45:00 | 5.11 | 226.7 | 6.315 | 235.122 | 6.392 | 243.5 | 6.286 | 240.3 | 3.121 | 889.6 | 60.875 | 21.0441
2019-11-06 05:00:00 | 4.819 | 223.687 | 6.043 | 235.461 | 6.051 | 244.933 | 5.82 | 240.933 | 3.05 | 889.892 | 61.675 | 18.452
2019-11-06 05:15:00 | 4.095 | 231 | 5.693 | 236.822 | 5.716 | 248.267 | 5.075 | 247.267 | 3.422 | 889.617 | 63.659 | 19.6841
2019-11-06 05:30:00 | 4.636 | 229.4 | 5.938 | 236.681 | 5.75 | 245.867 | 5.505 | 242.7 | 3.102 | 890.2 | 64.917 | 21.9792
2019-11-06 05:45:00 | 5.192 | 226.193 | 6.496 | 233.83 | 6.609 | 241.133 | 6.576 | 237.867 | 2.655 | 889.883 | 63.915 | 26.7088
2019-11-06 06:00:00 | 5.194 | 228.533 | 6.615 | 234.888 | 6.794 | 242.2 | 6.468 | 238.9 | 3.071 | 889.817 | 64.651 | 25.8042
2019-11-06 06:15:00 | 5.296 | 227.967 | 6.407 | 234.615 | 6.412 | 243.067 | 6.079 | 240.8 | 3.472 | 890.142 | 64.672 | 28.7154
2019-11-06 06:30:00 | 6.144 | 226.067 | 7.34 | 232.098 | 7.24 | 240.133 | 6.841 | 238.233 | 3.321 | 890.175 | 65.163 | 28.2322
2019-11-06 06:45:00 | 5.281 | 220.233 | 7.103 | 229.251 | 7.096 | 237.8 | 6.744 | 234.767 | 3.404 | 889.858 | 65.216 | 30.025
2019-11-06 07:00:00 | 5.748 | 219.553 | 7.362 | 226.524 | 7.958 | 233.533 | 7.731 | 229.9 | 3.334 | 889.8 | 65.707 | 34.5335
2019-11-06 07:15:00 | 6.057 | 217.907 | 7.528 | 223.588 | 7.857 | 232.7 | 7.868 | 230.3 | 3.097 | 889.942 | 66.763 | 36.0144
2019-11-06 07:30:00 | 6.002 | 215.9 | 7.948 | 220.186 | 7.674 | 227.433 | 7.787 | 225.7 | 3.069 | 889.992 | 69.536 | 36.9083
2019-11-06 07:45:00 | 5.724 | 216.187 | 7.473 | 221.908 | 7.872 | 231 | 7.986 | 228.033 | 2.897 | 889.917 | 70.4 | 33.6397
2019-11-06 08:00:00 | 5.571 | 215.713 | 7.477 | 220.338 | 7.521 | 231.967 | 7.634 | 229.967 | 2.618 | 889.808 | 70.485 | 30.4286
2019-11-06 08:15:00 | 5.232 | 214.973 | 7.298 | 217.734 | 7.283 | 227.9 | 7.095 | 227.9 | 2.674 | 890.117 | 71.947 | 28.3218
2019-11-06 08:30:00 | 5.034 | 214.367 | 7.426 | 216.818 | 7.136 | 227.5 | 6.927 | 227.333 | 2.332 | 889.617 | 73.227 | 26.9362
2019-11-06 08:45:00 | 5.13 | 216.473 | 7.347 | 216.441 | 7.46 | 225.4 | 6.656 | 223.6 | 2.032 | 889.95 | 74.368 | 28.9506
2019-11-06 09:00:00 | 5.334 | 216.133 | 7.588 | 219.804 | 6.965 | 225.9 | 6.855 | 224.867 | 2.23 | 889.817 | 74.421 | 26.5688
2019-11-06 09:15:00 | 5.619 | 216.24 | 7.42 | 220.869 | 7.034 | 227.633 | 6.843 | 227.733 | 2.742 | 889.8 | 73.504 | 27.5082
2019-11-06 09:30:00 | 5.634 | 218.5 | 7.283 | 221.907 | 7.014 | 232.133 | 6.894 | 232.1 | 3.304 | 890.158 | 71.243 | 24.7533
2019-11-06 09:45:00 | 4.859 | 217.373 | 6.255 | 221.944 | 6.844 | 233.967 | 6.736 | 233.367 | 4.342 | 889.842 | 67.84 | 20.2533
2019-11-06 10:00:00 | 4.667 | 219.34 | 5.628 | 219.062 | 6.111 | 228.633 | 6.189 | 229.7 | 5.649 | 889.733 | 62.976 | 15.3248
2019-11-06 10:15:00 | 4.872 | 216.893 | 5.092 | 218.549 | 5.606 | 225.933 | 5.773 | 226.233 | 6.952 | 890.1 | 57.579 | 12.2942
2019-11-06 10:30:00 | 4.652 | 226.947 | 4.942 | 226.394 | 5.177 | 232.033 | 5.418 | 229.233 | 8.05 | 889.908 | 52.363 | 9.3695
2019-11-06 10:45:00 | 5.174 | 237.28 | 5.209 | 236.873 | 5.378 | 241.3 | 5.335 | 234.033 | 8.484 | 889.858 | 49.749 | 8.6263
2019-11-06 11:00:00 | 4.408 | 248.133 | 4.426 | 248.835 | 4.564 | 253 | 4.451 | 245.45 | 9.533 | 890.125 | 47.061 | 7.4055
2019-11-06 11:15:00 | 3.15 | 278.387 | 3.071 | 273.318 | 3.266 | 272.717 | 3.492 | 264.25 | 8.804 | 889.908 | 46.811 | 5.3136
2019-11-06 11:30:00 | 2.969 | 281.04 | 3.169 | 274.893 | 3.293 | 279.033 | 3.442 | 274.5 | 9.224 | 889.808 | 44.555 | 4.1859
2019-11-06 11:45:00 | 3.241 | 270.067 | 3.447 | 273.208 | 3.49 | 278.833 | 3.552 | 274.15 | 9.308 | 889.617 | 44.117 | 3.4583
2019-11-06 12:00:00 | 4.424 | 287.68 | 4.551 | 285.183 | 4.478 | 288.967 | 4.584 | 287.067 | 9.687 | 889.85 | 43.451 | 3.3162
2019-11-06 12:15:00 | 4.115 | 286.613 | 4.184 | 282.361 | 4.235 | 285.533 | 4.378 | 282.467 | 9.72 | 889.942 | 42.923 | 2.8067
2019-11-06 12:30:00 | 3.872 | 281.467 | 3.819 | 278.157 | 4.106 | 281.667 | 4.254 | 274.9 | 9.916 | 890.042 | 41.085 | 3.0164
2019-11-06 12:45:00 | 3.115 | 293.08 | 3.165 | 287.256 | 3.506 | 292.067 | 4.012 | 288.333 | 10.501 | 889.9 | 38.709 | 2.573
2019-11-06 13:00:00 | 4.204 | 319.173 | 4.047 | 309.142 | 4.12 | 311.267 | 4.173 | 306.8 | 10.703 | 889.933 | 38.584 | 1.5419
2019-11-06 13:15:00 | 3.557 | 314.333 | 3.467 | 307.783 | 3.675 | 310.167 | 3.871 | 307.5 | 10.745 | 889.8 | 37.96 | 0.65372
2019-11-06 13:30:00 | 2.906 | 299.88 | 3.116 | 295.588 | 3.39 | 301.867 | 3.68 | 299.133 | 10.995 | 889.617 | 35.755 | 0.41923
2019-11-06 13:45:00 | 2.082 | 313.08 | 2.136 | 308.531 | 2.183 | 313.6 | 2.619 | 311.233 | 11.42 | 890.017 | 35.581 | 0.11085
2019-11-06 14:00:00 | 2.093 | 289.693 | 1.927 | 287.439 | 2.31 | 295.833 | 2.716 | 298.833 | 12.007 | 890.117 | 34.901 | 0.34249
2019-11-06 14:15:00 | 3.153 | 308.173 | 3.112 | 308.249 | 3.177 | 316.433 | 3.465 | 315.233 | 12.253 | 889.867 | 35.387 | 0.65301
2019-11-06 14:30:00 | 3.173 | 178.801 | 3.167 | 185.33 | 3.153 | 186.233 | 3.405 | 219.967 | 11.607 | 890.267 | 35.507 | 0.31336
2019-11-06 14:45:00 | 2.556 | 41.577 | 2.087 | 33.418 | 2.273 | 73.267 | 2.818 | 206.3 | 11.995 | 889.883 | 34.312 | 0.5848
2019-11-06 15:00:00 | 2.662 | 263.96 | 2.756 | 279.246 | 2.883 | 296.667 | 3.347 | 320.3 | 11.828 | 889.517 | 34.24 | 0.63667
2019-11-06 15:15:00 | 2.183 | 298.66 | 1.679 | 303.974 | 1.783 | 303.733 | 2.061 | 301.333 | 12.436 | 889.883 | 34.037 | 0.60327
2019-11-06 15:30:00 | 3.665 | 104.729 | 3.801 | 123.294 | 3.876 | 114.833 | 3.758 | 138.267 | 11.861 | 889.75 | 34.656 | 0.40644
2019-11-06 15:45:00 | 3.644 | 25.582 | 3.526 | 14.115 | 3.85 | 38.9 | 3.952 | 32.167 | 11.882 | 889.55 | 35.392 | 0.12009
2019-11-06 16:00:00 | 2.726 | 166.919 | 2.852 | 156.808 | 2.94 | 51.668 | 2.875 | 25.567 | 12.078 | 890.117 | 35.424 | 0.20677
2019-11-06 16:15:00 | 1.256 | 123.981 | 0.74 | 42.162 | 1.28 | 22.14 | 2.201 | 15.133 | 11.807 | 889.8 | 35.019 | 0.18546
2019-11-06 16:30:00 | 1.834 | 93.486 | 1.496 | 205.601 | 1.604 | 160.933 | 1.886 | 51.167 | 12.02 | 889.85 | 34.672 | 0.17054
2019-11-06 16:45:00 | 0 | 0 | 0 | 353.246 | 0 | 358 | 0 | 352 | 11.803 | 889.867 | 35.213 | 0.16769
2019-11-06 17:00:00 | 2.199 | 309.467 | 2.058 | 307.284 | 2.48 | 314.967 | 2.718 | 315.3 | 11.99 | 890.033 | 35.6 | 0.15704
2019-11-06 17:15:00 | 2.426 | 327.013 | 2.14 | 322.818 | 2.341 | 329.3 | 2.525 | 326.833 | 11.828 | 889.467 | 36.099 | 0.14851
2019-11-06 17:30:00 | 2.207 | 312.44 | 2.06 | 306.327 | 2.288 | 312.133 | 2.466 | 308.167 | 11.449 | 889.6 | 36.557 | 0.88821
2019-11-06 17:45:00 | 1.136 | 332.44 | 1.093 | 332.902 | 1.804 | 344.633 | 2.168 | 344.2 | 11.64 | 889.433 | 36.976 | 5.0024
2019-11-06 18:00:00 | 2.876 | 334.267 | 2.467 | 329.574 | 2.577 | 338.667 | 2.807 | 334.133 | 11.416 | 889.667 | 38.379 | 5.2795
2019-11-06 18:15:00 | 2.497 | 284.4 | 2.263 | 333.955 | 2.394 | 336.133 | 2.386 | 338.667 | 10.661 | 890 | 39.384 | 4.8134
2019-11-06 18:30:00 | 3.898 | 49.938 | 3.342 | 47.85 | 3.357 | 51.667 | 3.419 | 46.933 | 10.426 | 890.175 | 44.469 | 4.4894
2019-11-06 18:45:00 | 3.692 | 69.657 | 3.758 | 63.107 | 3.432 | 65.767 | 3.051 | 59.933 | 9.491 | 889.542 | 47.189 | 3.7802
2019-11-06 19:00:00 | 3.488 | 70.26 | 3.932 | 64.865 | 3.98 | 70.733 | 4.13 | 68.767 | 8.97 | 889.408 | 49.067 | 2.6071
2019-11-06 19:15:00 | 2.94 | 75.7 | 3.199 | 69.784 | 3.307 | 73.2 | 3.369 | 70.8 | 8.558 | 889.567 | 50.219 | 1.0495
2019-11-06 19:30:00 | 2.904 | 75.82 | 3.062 | 67.931 | 3.146 | 72.4 | 3.358 | 68.567 | 8.12 | 889.725 | 51.808 | 1.1831
2019-11-06 19:45:00 | 2.28 | 59.535 | 2.52 | 56.956 | 2.872 | 62.7 | 3.014 | 57.5 | 8.11 | 889.733 | 52.235 | 0.29844
2019-11-06 20:00:00 | 1.282 | 69.3 | 1.297 | 54.153 | 0.934 | 52.433 | 1.068 | 55.067 | 7.172 | 889.875 | 54.891 | 0.29844
2019-11-06 20:15:00 | 2.024 | 116.767 | 2.347 | 93.978 | 2.19 | 97.2 | 2.296 | 92.333 | 7.256 | 889.875 | 55.637 | 0.20891
2019-11-06 20:30:00 | 1.003 | 109.267 | 0.986 | 72.254 | 1.209 | 63.233 | 1.384 | 72 | 6.741 | 889.842 | 56.757 | 0.17196
2019-11-06 20:45:00 | 2.294 | 159.387 | 1.62 | 97.23 | 1.757 | 80 | 1.78 | 75 | 6.353 | 890.025 | 57.323 | 0.18048
2019-11-06 21:00:00 | 0.395 | 168.48 | 0.256 | 69.964 | 0.692 | 51.733 | 2.023 | 37.867 | 5.737 | 890.083 | 57.845 | 0.18333
2019-11-06 21:15:00 | 1.908 | 166.627 | 0.786 | 99.347 | 0.51 | 63.733 | 1.627 | 40.533 | 5.429 | 889.892 | 60.629 | 0.16911
2019-11-06 21:30:00 | 2.605 | 161.413 | 1.67 | 122.42 | 1.113 | 102.6 | 1.313 | 65 | 5.935 | 889.758 | 61.013 | 0.17054
2019-11-06 21:45:00 | 3.415 | 163.673 | 2.662 | 140.949 | 1.874 | 134.867 | 1.693 | 101.9 | 5.319 | 889.942 | 60.875 | 0.17622
2019-11-06 22:00:00 | 2.552 | 168.5 | 2.232 | 131.499 | 1.559 | 134.933 | 1.351 | 102 | 5.051 | 889.933 | 62.645 | 0.19896
2019-11-06 22:15:00 | 3.122 | 161.36 | 2.809 | 129.495 | 2.495 | 119.433 | 2.156 | 110.633 | 5.379 | 889.992 | 61.792 | 0.17906
2019-11-06 22:30:00 | 2.686 | 165.767 | 2.13 | 128.801 | 1.759 | 118.933 | 1.704 | 100 | 5.398 | 890.325 | 61.141 | 0.19327
2019-11-06 22:45:00 | 2.551 | 178.033 | 2.052 | 120.663 | 1.784 | 103.233 | 1.905 | 87.733 | 4.454 | 890.108 | 62.539 | 0.19754
2019-11-06 23:00:00 | 2.912 | 167 | 2.229 | 121.295 | 1.843 | 114.433 | 1.757 | 98.933 | 4.602 | 890.208 | 63.403 | 0.19754
2019-11-06 23:15:00 | 2.461 | 180.967 | 1.656 | 126.678 | 0.56 | 117.167 | 0.97 | 99 | 3.889 | 889.717 | 63.861 | 0.19327
2019-11-06 23:30:00 | 3.032 | 202.727 | 1.214 | 131.402 | 0 | 117 | 0 | 99 | 3.986 | 890.033 | 64.779 | 0.19612
2019-11-06 23:45:00 | 3.952 | 256.007 | 2.354 | 223.88 | 0.726 | 161.258 | 0.258 | 99.033 | 2.558 | 889.983 | 65.019 | 0.22312