## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-07 00:00:00 | 3.573 | 275.28 | 2.892 | 274.103 | 2.758 | 277.433 | 2.705 | 270.433 | 3.741 | 889.7 | 67.467 | 0.22383
2019-11-07 00:15:00 | 2.285 | 272.987 | 2.518 | 288.924 | 2.588 | 294.733 | 2.576 | 298.933 | 3.869 | 889.467 | 66.528 | 0.74396
2019-11-07 00:30:00 | 3.366 | 244.107 | 3.224 | 285.888 | 3.211 | 303.933 | 3.188 | 298.833 | 3.575 | 889.633 | 63.984 | 1.2719
2019-11-07 00:45:00 | 4.292 | 270.56 | 3.856 | 285.063 | 3.793 | 293.633 | 4.267 | 292.867 | 3.995 | 889.683 | 66.667 | 1.1049
2019-11-07 01:00:00 | 2.787 | 231.393 | 3.57 | 256.337 | 3.441 | 274.467 | 3.764 | 282.467 | 1.259 | 889.975 | 69.637 | 2.8224
2019-11-07 01:15:00 | 4.36 | 241.913 | 4.914 | 261.454 | 4.394 | 274.733 | 4.258 | 278.433 | 0.948 | 889.875 | 71.867 | 3.0306
2019-11-07 01:30:00 | 4.258 | 229.193 | 4.667 | 250.39 | 3.989 | 264.8 | 3.727 | 268 | 1.306 | 890.008 | 72.859 | 1.2499
2019-11-07 01:45:00 | 3.437 | 217.673 | 3.263 | 240.525 | 2.52 | 255 | 2.644 | 262 | 1.052 | 889.883 | 73.835 | 0.35457
2019-11-07 02:00:00 | 4.159 | 227.113 | 4.236 | 245.802 | 3.294 | 258.467 | 2.834 | 261 | 0.598 | 889.933 | 74.443 | 0.30839
2019-11-07 02:15:00 | 4.16 | 217.58 | 4.029 | 238.273 | 2.831 | 251.6 | 2.238 | 258 | 0.582 | 889.417 | 74.805 | 0.50735
2019-11-07 02:30:00 | 4.514 | 223.333 | 5.27 | 241.737 | 3.725 | 250.133 | 3.246 | 258 | 0.1 | 889.9 | 74.848 | 1.2101
2019-11-07 02:45:00 | 4.632 | 224.98 | 4.321 | 241.521 | 3.362 | 250.967 | 2.797 | 257.9 | 0.1 | 889.35 | 76.875 | 1.1163
2019-11-07 03:00:00 | 4.436 | 215.493 | 3.795 | 238.546 | 2.703 | 250.167 | 2.387 | 247.933 | 0.532 | 889.883 | 76.011 | 1.419
2019-11-07 03:15:00 | 4.312 | 217.66 | 5.116 | 230.852 | 3.987 | 243.6 | 3.417 | 246.667 | -0.156 | 889.775 | 75.541 | 1.5839
2019-11-07 03:30:00 | 4.901 | 222.007 | 3.948 | 236.132 | 3.538 | 244.233 | 3.252 | 244.833 | -0.292 | 889.658 | 76.768 | 0.42705
2019-11-07 03:45:00 | 4.332 | 226.813 | 3.942 | 233.7 | 3.325 | 245.467 | 2.993 | 244.233 | 0.1 | 889.358 | 76.992 | 0.18759
2019-11-07 04:00:00 | 4.694 | 229.033 | 3.109 | 242.47 | 2.542 | 256.233 | 2.734 | 255.6 | -0.439 | 890.008 | 77.632 | 0.22312
2019-11-07 04:15:00 | 4.529 | 228.927 | 3.914 | 243.595 | 2.667 | 258.4 | 2.364 | 272.033 | -0.975 | 890.283 | 78.368 | 1.2165
2019-11-07 04:30:00 | 5.512 | 227.84 | 4.813 | 239.217 | 4.136 | 248.067 | 3.617 | 245.733 | -0.592 | 889.95 | 78.549 | 1.2939
2019-11-07 04:45:00 | 4.991 | 229.88 | 4.001 | 251.133 | 3.364 | 260.8 | 3.228 | 261.317 | -0.952 | 889.808 | 79.115 | 2.6923
2019-11-07 05:00:00 | 5.063 | 224.88 | 5.054 | 244.908 | 4.115 | 253.4 | 3.857 | 256.333 | -0.888 | 889.367 | 79.392 | 2.9098
2019-11-07 05:15:00 | 5.146 | 217.593 | 4.816 | 230.458 | 3.954 | 240.633 | 3.367 | 237.467 | -0.915 | 890.192 | 79.861 | 3.2651
2019-11-07 05:30:00 | 5.137 | 222.1 | 5.86 | 229.516 | 4.78 | 239.9 | 4.344 | 237.267 | -0.885 | 889.683 | 79.957 | 3.8278
2019-11-07 05:45:00 | 4.932 | 222.627 | 4.62 | 234.872 | 3.949 | 244.967 | 3.663 | 243 | -0.788 | 890.225 | 79.765 | 2.7023
2019-11-07 06:00:00 | 4.918 | 222.64 | 4.948 | 233.945 | 4.157 | 241.4 | 3.753 | 241.133 | -0.795 | 890.183 | 79.776 | 4.1753
2019-11-07 06:15:00 | 4.508 | 223.667 | 4.65 | 234.981 | 4.132 | 244.167 | 3.519 | 242.967 | -0.778 | 889.717 | 80.683 | 6.7468
2019-11-07 06:30:00 | 4.891 | 222.067 | 6.596 | 228.431 | 5.993 | 236.967 | 5.401 | 233.233 | -0.213 | 889.442 | 80.373 | 5.3705
2019-11-07 06:45:00 | 3.932 | 216.487 | 4.668 | 228.89 | 4.069 | 237.033 | 3.736 | 234 | -0.425 | 890.15 | 80.64 | 4.4986
2019-11-07 07:00:00 | 4.897 | 218.933 | 5.963 | 224.335 | 5.514 | 231.867 | 4.927 | 228.7 | -0.419 | 890.017 | 80.053 | 6.3603
2019-11-07 07:15:00 | 4.612 | 217.44 | 5.355 | 224.521 | 5.036 | 235.367 | 4.543 | 233.2 | -0.269 | 890.067 | 79.221 | 4.5
2019-11-07 07:30:00 | 4.016 | 220.053 | 5.376 | 223.953 | 4.928 | 239.533 | 4.408 | 236.033 | -0.382 | 890.008 | 78.944 | 6.2956
2019-11-07 07:45:00 | 3.454 | 221.373 | 5.372 | 227.707 | 5.075 | 243.033 | 4.909 | 243.867 | -0.332 | 889.392 | 79.349 | 6.2466
2019-11-07 08:00:00 | 3.713 | 223.513 | 5.333 | 233.146 | 4.947 | 245.267 | 4.608 | 242.567 | -0.749 | 889.358 | 79.275 | 6.6459
2019-11-07 08:15:00 | 4.32 | 230.533 | 5.153 | 240.638 | 4.885 | 251.133 | 4.389 | 250.2 | -0.822 | 890.317 | 80.32 | 8.3797
2019-11-07 08:30:00 | 3.599 | 221.193 | 4.766 | 234.296 | 4.25 | 246 | 3.599 | 248.8 | -0.246 | 889.75 | 81.024 | 3.1471
2019-11-07 08:45:00 | 3.816 | 207.467 | 4.51 | 223.899 | 3.849 | 230.833 | 3.284 | 225.8 | -0.658 | 889.875 | 80.448 | 7.5924
2019-11-07 09:00:00 | 4.229 | 209.34 | 5.217 | 223.386 | 5.038 | 230.333 | 4.61 | 226.4 | -0.835 | 889.7 | 80.48 | 6.388
2019-11-07 09:15:00 | 3.736 | 213.307 | 5.74 | 218.47 | 5.328 | 225.767 | 5.106 | 223.167 | -0.133 | 889.842 | 79.424 | 4.6876
2019-11-07 09:30:00 | 3.583 | 212.713 | 4.971 | 209.412 | 4.896 | 218.867 | 4.698 | 218.333 | 0.948 | 889.95 | 75.829 | 2.7542
2019-11-07 09:45:00 | 2.408 | 224.24 | 3.516 | 221.74 | 4.409 | 225.167 | 4.165 | 222.267 | 1.95 | 889.467 | 72.096 | 0.44766
2019-11-07 10:00:00 | 1.543 | 230.687 | 1.809 | 228.742 | 2.296 | 234.933 | 2.651 | 234 | 3.084 | 889.85 | 68.309 | 0.24159
2019-11-07 10:15:00 | 1.664 | 236.967 | 1.772 | 231.472 | 1.895 | 238.067 | 2.329 | 233.967 | 3.504 | 889.942 | 66.581 | 0.24515
2019-11-07 10:30:00 | 0.033 | 222.1 | 0.843 | 215.779 | 0.259 | 232.8 | 1.579 | 219.033 | 4.669 | 890.217 | 62.56 | 0.2217
2019-11-07 10:45:00 | 1.287 | 255.24 | 1.596 | 242.781 | 1.07 | 246.883 | 1.498 | 245 | 5.28 | 890.075 | 60.16 | 0.22596
2019-11-07 11:00:00 | 1.962 | 275.667 | 2.357 | 269.992 | 2.261 | 275.4 | 2.422 | 264.1 | 4.969 | 889.9 | 61.429 | 0.22312
2019-11-07 11:15:00 | 1.37 | 267.087 | 1.62 | 260.268 | 1.42 | 263.667 | 1.908 | 252.167 | 4.5 | 890.183 | 63.157 | 0.22738
2019-11-07 11:30:00 | 2.405 | 304.08 | 2.354 | 300.993 | 2.394 | 306.267 | 2.644 | 298.067 | 5.137 | 890.142 | 61.504 | 0.20464
2019-11-07 11:45:00 | 2.747 | 329.44 | 2.489 | 318.499 | 2.51 | 322.2 | 2.891 | 319.533 | 4.067 | 889.917 | 64.96 | 0.19754
2019-11-07 12:00:00 | 2.358 | 320.413 | 2.071 | 311.594 | 2.127 | 312.833 | 2.55 | 308.7 | 4.127 | 889.95 | 65.733 | 0.19256
2019-11-07 12:15:00 | 2.55 | 313.387 | 2.529 | 308.221 | 2.347 | 309.233 | 2.58 | 308 | 4.335 | 890.225 | 65.008 | 0.35955
2019-11-07 12:30:00 | 2.774 | 299.667 | 2.776 | 293.853 | 2.55 | 301.167 | 2.768 | 298.7 | 4.602 | 890.3 | 63.04 | 0.98129
2019-11-07 12:45:00 | 3.358 | 331.413 | 3.138 | 323.354 | 3.203 | 329.933 | 3.485 | 328.733 | 5.269 | 889.733 | 62.064 | 0.95216
2019-11-07 13:00:00 | 2.553 | 308.053 | 2.581 | 335.906 | 2.477 | 333.533 | 2.766 | 319.567 | 5.244 | 890.2 | 60.987 | 0.23307
2019-11-07 13:15:00 | 2.486 | 264.469 | 2.472 | 286.206 | 2.201 | 196.7 | 2.649 | 182.633 | 6.058 | 889.875 | 59.019 | 0.19185
2019-11-07 13:30:00 | 2.278 | 70.267 | 2.384 | 107.994 | 2.28 | 131.4 | 2.624 | 152.467 | 5.845 | 890.075 | 57.44 | 0.079583
2019-11-07 13:45:00 | 1.637 | 332.827 | 1.094 | 336.847 | 1.286 | 233.267 | 2.026 | 112.2 | 5.801 | 889.383 | 56.848 | 0.10801
2019-11-07 14:00:00 | 2.896 | 309.8 | 2.662 | 297.124 | 2.986 | 301.3 | 3.12 | 261.367 | 6.184 | 889.692 | 56.891 | 0.071057
2019-11-07 14:15:00 | 2.272 | 107.916 | 2.091 | 174.425 | 2.078 | 83.233 | 2.626 | 95.301 | 6.744 | 889.992 | 54.464 | 0.078162
2019-11-07 14:30:00 | 2.764 | 176.851 | 2.731 | 209.47 | 2.495 | 175.834 | 2.973 | 187.9 | 6.612 | 889.867 | 53.083 | 0.13785
2019-11-07 14:45:00 | 1.426 | 312.48 | 1.3 | 324.807 | 1.305 | 327.667 | 1.823 | 216.5 | 6.115 | 889.867 | 54.213 | 0.1684
2019-11-07 15:00:00 | 2.656 | 79.035 | 2.354 | 96.079 | 2.311 | 31.167 | 2.506 | 108.2 | 7.072 | 889.65 | 50.805 | 0.22596
2019-11-07 15:15:00 | 1.129 | 54.762 | 0.971 | 97.906 | 1.218 | 132.933 | 1.808 | 171.067 | 6.592 | 889.867 | 52 | 0.11014
2019-11-07 15:30:00 | 0.736 | 80.278 | 0.536 | 282.734 | 0.614 | 272.633 | 0.777 | 252.969 | 6.334 | 890.167 | 53.467 | 0.10019
2019-11-07 15:45:00 | 1.618 | 72.08 | 0.883 | 37.773 | 0.504 | 26.367 | 1.187 | 20.3 | 6.144 | 889.7 | 54.368 | 0.23022
2019-11-07 16:00:00 | 1.852 | 129.167 | 1.904 | 53.608 | 2.039 | 45.174 | 2.418 | 11.634 | 6.266 | 890.367 | 55.392 | 0.2018
2019-11-07 16:15:00 | 0.12 | 277.532 | 0.07 | 283.484 | 0.03 | 1.733 | 0.44 | 17.733 | 6.221 | 889.8 | 55.211 | 0.18475
2019-11-07 16:30:00 | 2.301 | 150.067 | 2.139 | 143.052 | 2.03 | 145.033 | 2.358 | 137.233 | 6.353 | 889.883 | 54.779 | 0.14069
2019-11-07 16:45:00 | 1.597 | 330.907 | 1.464 | 334.297 | 1.104 | 327.3 | 1.829 | 337.767 | 6.27 | 889.483 | 54.917 | 0.17764
2019-11-07 17:00:00 | 1.1 | 12.708 | 0.429 | 0.2 | 0.167 | 354.067 | 1.26 | 356.933 | 6.541 | 889.792 | 55.456 | 0.13998
2019-11-07 17:15:00 | 2.554 | 330.4 | 2.487 | 325.328 | 2.439 | 324.433 | 2.655 | 321.8 | 6.144 | 889.467 | 55.915 | 0.12293
2019-11-07 17:30:00 | 3.128 | 315.613 | 3.011 | 321.352 | 2.887 | 326.067 | 3.152 | 334.133 | 5.745 | 889.925 | 57.045 | 0.95571
2019-11-07 17:45:00 | 4.892 | 321.2 | 4.936 | 315.544 | 4.877 | 319.367 | 5.083 | 317.6 | 5.746 | 889.908 | 58.32 | 6.1691
2019-11-07 18:00:00 | 4.514 | 324.707 | 4.649 | 320.521 | 4.756 | 324.833 | 4.978 | 324.5 | 5.26 | 889.65 | 59.755 | 10.7374
2019-11-07 18:15:00 | 5.504 | 315.84 | 5.663 | 310.159 | 5.911 | 314.633 | 6.095 | 313.6 | 5.194 | 889.625 | 60.603 | 13.1696
2019-11-07 18:30:00 | 4.858 | 316 | 5.264 | 312.53 | 5.486 | 318.633 | 5.876 | 316.8 | 4.769 | 889.742 | 61.413 | 12.1471
2019-11-07 18:45:00 | 4.343 | 327.507 | 4.445 | 321.982 | 4.538 | 325.9 | 4.822 | 323.9 | 4.315 | 889.692 | 62.96 | 4.5746
2019-11-07 19:00:00 | 3.952 | 329.907 | 4.17 | 323.212 | 4.221 | 327.367 | 4.506 | 326.167 | 4.265 | 889.583 | 63.845 | 3.6019
2019-11-07 19:15:00 | 3.357 | 328.453 | 3.441 | 318.858 | 3.64 | 318.567 | 4.022 | 317.367 | 4.252 | 889.608 | 63.637 | 3.6282
2019-11-07 19:30:00 | 3.76 | 311.827 | 3.748 | 304.177 | 3.789 | 307.567 | 4.092 | 304 | 4.063 | 889.7 | 64.299 | 3.081
2019-11-07 19:45:00 | 3.777 | 278.28 | 4.209 | 276.861 | 4.229 | 282.7 | 4.351 | 280.5 | 3.725 | 889.308 | 64.933 | 1.6677
2019-11-07 20:00:00 | 2.496 | 295.667 | 2.628 | 288.381 | 2.642 | 294.1 | 3.265 | 289.333 | 3.204 | 889.808 | 65.44 | 0.25225
2019-11-07 20:15:00 | 2.288 | 270.6 | 2.467 | 274.986 | 2.435 | 278.633 | 2.83 | 277 | 3.304 | 889.75 | 65.781 | 0.18404
2019-11-07 20:30:00 | 2.012 | 305.4 | 2.131 | 301.315 | 1.95 | 297.3 | 2.374 | 288.033 | 3.254 | 890.017 | 66.075 | 1.9782
2019-11-07 20:45:00 | 3.977 | 281.533 | 4.3 | 279.454 | 4.268 | 283.5 | 4.68 | 280.6 | 3.288 | 890.308 | 67.147 | 3.7518
2019-11-07 21:00:00 | 3.442 | 278.6 | 3.85 | 275.525 | 3.966 | 279.367 | 4.199 | 276.467 | 3.137 | 889.525 | 67.552 | 5.2021
2019-11-07 21:15:00 | 2.99 | 275.567 | 3.884 | 275.853 | 3.83 | 280.933 | 4.1 | 277.467 | 3.102 | 890 | 68.421 | 4.9328
2019-11-07 21:30:00 | 2.916 | 277.213 | 3.872 | 276.852 | 3.871 | 280.467 | 4.233 | 277.6 | 2.709 | 889.767 | 69.509 | 3.0057
2019-11-07 21:45:00 | 3.509 | 281.453 | 4.402 | 280.97 | 4.506 | 284.6 | 4.829 | 282.067 | 2.455 | 890.117 | 70.283 | 4.9512
2019-11-07 22:00:00 | 3.244 | 275.84 | 4.025 | 274.414 | 4.052 | 278.4 | 4.442 | 274.833 | 2.691 | 889.367 | 70.587 | 4.9626
2019-11-07 22:15:00 | 2.879 | 281.093 | 3.514 | 279.358 | 3.875 | 284.7 | 4.531 | 282.1 | 2.344 | 889.467 | 70.933 | 5.4763
2019-11-07 22:30:00 | 3.175 | 281.4 | 3.916 | 281.333 | 4.053 | 284.733 | 4.641 | 284.1 | 2.437 | 889.6 | 71.381 | 4.9619
2019-11-07 22:45:00 | 2.894 | 286.92 | 3.627 | 283.684 | 3.944 | 288.433 | 4.688 | 285.2 | 2.019 | 889.942 | 71.547 | 6.405
2019-11-07 23:00:00 | 3.227 | 289.107 | 4.153 | 284.84 | 4.498 | 289.033 | 4.962 | 285.867 | 2.131 | 889.633 | 71.072 | 12.5813
2019-11-07 23:15:00 | 4.116 | 283.493 | 5.152 | 280.692 | 5.472 | 286.733 | 5.935 | 283.4 | 2.446 | 889.925 | 70.752 | 18.3191
2019-11-07 23:30:00 | 4.885 | 284.507 | 5.698 | 282.953 | 5.902 | 286.133 | 6.217 | 283.733 | 2.329 | 889.875 | 71.093 | 29.3158
2019-11-07 23:45:00 | 8.022 | 282.2 | 8.906 | 280.568 | 9.04 | 283.4 | 9.514 | 278.7 | 2.364 | 889.733 | 71.408 | 30.7903