## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-08 00:00:00 | 6.364 | 273.247 | 6.948 | 271.446 | 7.294 | 276 | 7.491 | 270.333 | 2.188 | 889.825 | 71.995 | 23.6064
2019-11-08 00:15:00 | 5.442 | 272.613 | 6.216 | 273.404 | 6.472 | 276.2 | 6.706 | 272.933 | 2.458 | 889.817 | 71.669 | 29.4956
2019-11-08 00:30:00 | 6.664 | 271.64 | 7.676 | 272.331 | 7.792 | 276.667 | 7.937 | 272.433 | 2.392 | 890.167 | 71.269 | 36.7072
2019-11-08 00:45:00 | 6.989 | 267.647 | 7.869 | 267.658 | 8.263 | 273.833 | 8.431 | 267.133 | 2.241 | 889.733 | 71.136 | 40.9343
2019-11-08 01:00:00 | 6.936 | 267.873 | 7.942 | 266.401 | 8.276 | 270.7 | 8.677 | 266.5 | 2.184 | 889.792 | 70.405 | 49.6679
2019-11-08 01:15:00 | 7.964 | 270.72 | 9.027 | 267.765 | 9.371 | 273.5 | 9.403 | 268.633 | 2.267 | 890.033 | 69.691 | 62.5853
2019-11-08 01:30:00 | 9.289 | 277.28 | 10.505 | 275.724 | 10.681 | 278.367 | 10.838 | 274.833 | 2.373 | 890.308 | 69.851 | 73.2182
2019-11-08 01:45:00 | 7.911 | 270.293 | 8.954 | 270.095 | 9.266 | 274.567 | 9.732 | 269.167 | 2.425 | 889.917 | 70.864 | 59.748
2019-11-08 02:00:00 | 8.545 | 268.127 | 9.213 | 268.16 | 9.474 | 273.633 | 9.759 | 268.133 | 2.352 | 889.667 | 71.883 | 48.0251
2019-11-08 02:15:00 | 8.447 | 269.967 | 9.274 | 269.581 | 9.446 | 273.667 | 9.324 | 269.133 | 1.968 | 890.058 | 75.157 | 34.2074
2019-11-08 02:30:00 | 5.266 | 271 | 5.778 | 266.987 | 6.125 | 269.6 | 6.509 | 265.967 | 1.102 | 889.917 | 84.395 | 23.7386
2019-11-08 02:45:00 | 5.663 | 262.693 | 6.518 | 260.833 | 6.538 | 266.4 | 6.704 | 261.517 | 0.749 | 889.758 | 86.251 | 24.3163
2019-11-08 03:00:00 | 6.12 | 265.12 | 6.877 | 262.091 | 6.976 | 266.017 | 7.016 | 260.55 | 0.798 | 890.104 | 87.52 | 29.1723
2019-11-08 03:15:00 | 5.681 | 260.14 | 6.445 | 255.224 | 6.778 | 259.617 | 6.91 | 255.083 | 0.482 | 890.171 | 89.163 | 36.3533
2019-11-08 03:30:00 | 5.891 | 253.587 | 6.883 | 253.915 | 7.404 | 259.717 | 7.41 | 253.55 | 0.632 | 889.475 | 90.283 | 37.3182
2019-11-08 03:45:00 | 5.434 | 258.96 | 6.6 | 254.702 | 6.924 | 260.183 | 7.276 | 254.9 | 0.548 | 890.042 | 90.965 | 36.4734
2019-11-08 04:00:00 | 5.414 | 261.093 | 6.814 | 258.225 | 7.338 | 263.367 | 7.288 | 258.8 | 0.15 | 889.629 | 92.011 | 35.1894
2019-11-08 04:15:00 | 5.455 | 265.453 | 6.45 | 256.392 | 7.057 | 261.817 | 7.254 | 257.783 | -0.193 | 890.262 | 92.373 | 35.3699
2019-11-08 04:30:00 | 6.801 | 265.44 | 7.767 | 264.458 | 8.167 | 269.6 | 8.515 | 262.933 | 0 | 890.154 | 92.363 | 33.1131
2019-11-08 04:45:00 | 6.146 | 265.453 | 7.204 | 262.443 | 7.693 | 269.267 | 7.724 | 263.75 | 0.316 | 890.008 | 92.576 | 37.6927
2019-11-08 05:00:00 | 6.203 | 265.347 | 7.302 | 261.841 | 7.808 | 265.733 | 7.915 | 260.933 | 0.283 | 890.129 | 92.757 | 50.2825
2019-11-08 05:15:00 | 6.749 | 265.48 | 8.072 | 266.01 | 8.446 | 271.4 | 8.91 | 266.883 | -0.05 | 889.917 | 91.819 | 53.9711
2019-11-08 05:30:00 | 6.294 | 265.307 | 7.686 | 266.684 | 8.228 | 273.067 | 8.534 | 266.867 | 0.233 | 889.888 | 91.104 | 48.58
2019-11-08 05:45:00 | 5.489 | 265.573 | 7.108 | 270.553 | 7.813 | 273.067 | 8.114 | 268.867 | -0.366 | 889.562 | 92.779 | 45.6795
2019-11-08 06:00:00 | 6.712 | 265.28 | 8.143 | 271.749 | 8.544 | 276.067 | 8.795 | 272.067 | 0.399 | 889.746 | 90.389 | 56.6592
2019-11-08 06:15:00 | 6.356 | 265.347 | 7.644 | 277.248 | 8.001 | 281.4 | 8.419 | 277.8 | 0.482 | 889.946 | 87.605 | 52.7823
2019-11-08 06:30:00 | 8.658 | 265.4 | 10.253 | 277.08 | 10.976 | 281.133 | 11.35 | 278.533 | 0.216 | 889.942 | 87.819 | 60.784
2019-11-08 06:45:00 | 6.478 | 265.413 | 7.789 | 265.219 | 8.186 | 271.4 | 8.445 | 265.567 | 0.1 | 889.467 | 86.827 | 72.5368
2019-11-08 07:00:00 | 8.112 | 266.52 | 10.044 | 265.214 | 10.69 | 269.967 | 11.155 | 265.7 | 0.166 | 889.958 | 82.645 | 77.4972
2019-11-08 07:15:00 | 8.844 | 270.38 | 10.567 | 267.08 | 11.075 | 271.5 | 11.612 | 269.033 | 0.316 | 889.392 | 81.445 | 76.5039
2019-11-08 07:30:00 | 9.436 | 278.96 | 11.429 | 274.409 | 12.027 | 277.967 | 12.754 | 273.833 | 0.465 | 889.938 | 82.224 | 75.3371
2019-11-08 07:45:00 | 8.238 | 270.96 | 10.343 | 268.931 | 10.911 | 275.167 | 11.532 | 268.967 | 0.316 | 889.604 | 81.467 | 74.8845
2019-11-08 08:00:00 | 8.089 | 268.227 | 9.891 | 264.075 | 10.536 | 268.967 | 10.903 | 264.133 | 0.133 | 889.5 | 79.947 | 75.7812
2019-11-08 08:15:00 | 9.06 | 265.473 | 11.161 | 264.57 | 11.863 | 267.833 | 12.165 | 262.483 | 0.166 | 889.908 | 77.856 | 76.0981
2019-11-08 08:30:00 | 8.742 | 264.56 | 10.256 | 260.46 | 10.788 | 265.25 | 11.393 | 259.4 | 0.266 | 890.475 | 77.067 | 76.0548
2019-11-08 08:45:00 | 9.592 | 272.207 | 11.588 | 269.867 | 11.929 | 274.4 | 12.109 | 269.033 | 0.299 | 890.058 | 75.877 | 71.6614
2019-11-08 09:00:00 | 8.405 | 275.227 | 10.063 | 272.194 | 10.693 | 276.933 | 11.148 | 272.267 | 0.499 | 889.917 | 75.637 | 69.3208
2019-11-08 09:15:00 | 7.579 | 270.907 | 9.161 | 266.969 | 9.807 | 270.233 | 10.431 | 266.233 | 0.449 | 889.775 | 74.725 | 59.6919
2019-11-08 09:30:00 | 7.509 | 276.007 | 8.858 | 273.358 | 9.4 | 278 | 10.118 | 275.167 | 0.532 | 890.008 | 73.611 | 54.9645
2019-11-08 09:45:00 | 8.042 | 284.4 | 9.295 | 280.234 | 9.59 | 284.933 | 9.819 | 282.6 | 0.299 | 890.033 | 72.96 | 56.0332
2019-11-08 10:00:00 | 6.933 | 289.307 | 7.848 | 284.389 | 8.299 | 287.133 | 8.514 | 283.867 | 0.349 | 889.875 | 73.179 | 47.9505
2019-11-08 10:15:00 | 6.896 | 286.453 | 8.139 | 283.214 | 8.733 | 286.767 | 9.438 | 284.2 | 0.233 | 890.208 | 73.616 | 32.6953
2019-11-08 10:30:00 | 5.278 | 278.147 | 6.428 | 275.631 | 6.73 | 279.133 | 7.12 | 276.367 | 0.349 | 889.758 | 73.371 | 37.9975
2019-11-08 10:45:00 | 7.63 | 278.64 | 8.461 | 275.341 | 9.085 | 279.833 | 9.442 | 275.133 | 0.715 | 889.9 | 70.811 | 60.6199
2019-11-08 11:00:00 | 7.316 | 280.52 | 8.587 | 277.701 | 9.282 | 282.367 | 9.557 | 278.3 | 0.449 | 889.767 | 71.285 | 73.2331
2019-11-08 11:15:00 | 8.327 | 278.353 | 9.69 | 277.224 | 10.386 | 281.533 | 10.8 | 278.1 | 0.648 | 890.025 | 72.037 | 72.6796
2019-11-08 11:30:00 | 8.696 | 279.393 | 9.698 | 276.451 | 10.25 | 279.4 | 10.826 | 276.9 | 0.649 | 889.867 | 70.688 | 72.2874
2019-11-08 11:45:00 | 9.828 | 276.627 | 10.598 | 275.145 | 11.024 | 278.467 | 11.123 | 274.6 | 0.499 | 889.417 | 70.917 | 71.5434
2019-11-08 12:00:00 | 10.063 | 273.6 | 10.996 | 269.926 | 11.444 | 273.633 | 11.804 | 271.2 | 0.415 | 889.95 | 72.117 | 70.8456
2019-11-08 12:15:00 | 10.632 | 271.58 | 12.16 | 269.37 | 12.71 | 273.633 | 12.94 | 270.467 | 0.565 | 890.067 | 70.421 | 69.5417
2019-11-08 12:30:00 | 10.258 | 275.953 | 11.561 | 272.507 | 11.75 | 276.267 | 11.956 | 273.867 | 0.615 | 890.058 | 69.872 | 66.4977
2019-11-08 12:45:00 | 10.8 | 282.64 | 11.974 | 279.252 | 12.101 | 282.667 | 12.321 | 279.533 | 1.065 | 889.575 | 68.448 | 66.8778
2019-11-08 13:00:00 | 11.996 | 282.907 | 13.142 | 281.328 | 13.333 | 284.2 | 13.714 | 280.433 | 0.982 | 889.883 | 67.509 | 66.5382
2019-11-08 13:15:00 | 11.493 | 284.08 | 12.862 | 279.905 | 13.285 | 283.067 | 13.58 | 279.267 | 0.732 | 890.017 | 68.08 | 66.4351
2019-11-08 13:30:00 | 11.644 | 281.627 | 12.758 | 280.579 | 13.218 | 281.433 | 13.675 | 280.467 | 0.965 | 889.608 | 67.685 | 66.5723
2019-11-08 13:45:00 | 11.446 | 279.253 | 12.419 | 274.746 | 12.409 | 278.6 | 12.532 | 274.7 | 0.985 | 889.883 | 67.275 | 66.7208
2019-11-08 14:00:00 | 10.915 | 284.84 | 12.186 | 279.233 | 12.429 | 281.267 | 12.408 | 277.6 | 0.982 | 889.375 | 66.619 | 66.6327
2019-11-08 14:15:00 | 11.238 | 280.787 | 12.361 | 278.38 | 12.756 | 281.6 | 13.165 | 278.3 | 1.473 | 889.742 | 65.131 | 65.429
2019-11-08 14:30:00 | 11.607 | 291.507 | 12.35 | 287.916 | 12.328 | 292.133 | 12.986 | 287.8 | 1.379 | 889.925 | 64.549 | 63.7165
2019-11-08 14:45:00 | 10.405 | 283.533 | 11.108 | 281.639 | 11.497 | 283.967 | 11.684 | 280.333 | 1.6 | 889.8 | 63.589 | 62.6407
2019-11-08 15:00:00 | 12.45 | 264.653 | 13.392 | 265.308 | 13.405 | 270.8 | 13.376 | 267.433 | 2.298 | 890.058 | 60.752 | 62.2087
2019-11-08 15:15:00 | 10.505 | 288.347 | 11.375 | 284.385 | 11.4 | 286.8 | 11.819 | 284.533 | 2.392 | 890.075 | 60.485 | 61.4441
2019-11-08 15:30:00 | 11.083 | 290.613 | 11.802 | 290.61 | 12.114 | 294.6 | 12.274 | 291.967 | 2.201 | 890.15 | 60.235 | 60.563
2019-11-08 15:45:00 | 12.409 | 288.88 | 13.202 | 284.655 | 13.736 | 286.6 | 14.489 | 285.167 | 1.649 | 889.933 | 68.288 | 64.5735
2019-11-08 16:00:00 | 10.108 | 296.56 | 10.946 | 291.835 | 10.997 | 294.9 | 11.461 | 290.767 | 0.972 | 889.925 | 68.8 | 71.8759
2019-11-08 16:15:00 | 11.754 | 278.987 | 12.576 | 277.013 | 13.268 | 279.767 | 13.477 | 277.7 | 0.549 | 890.15 | 70.352 | 73.0406
2019-11-08 16:30:00 | 10.326 | 276.767 | 11.451 | 276.095 | 11.537 | 279.4 | 11.973 | 276.067 | 0.366 | 889.958 | 68.512 | 74.1583
2019-11-08 16:45:00 | 9.124 | 267.96 | 10.169 | 265.407 | 10.447 | 270.2 | 10.472 | 265.6 | 0.715 | 889.783 | 64.992 | 73.7348
2019-11-08 17:00:00 | 9.19 | 294.347 | 10.328 | 290.152 | 10.448 | 296.467 | 11.003 | 295.833 | 0.965 | 890.233 | 68.48 | 70.285
2019-11-08 17:15:00 | 11.014 | 289.587 | 12.208 | 285.773 | 12.626 | 289.267 | 12.931 | 287.067 | 0.465 | 889.9 | 66.96 | 71.2251
2019-11-08 17:30:00 | 9.978 | 292.787 | 11.026 | 289.88 | 11.263 | 294.5 | 11.432 | 292.167 | 0.399 | 890.392 | 67.664 | 72.4231
2019-11-08 17:45:00 | 10.338 | 285.427 | 11.793 | 282.362 | 12.23 | 286.033 | 12.62 | 283.9 | 0.166 | 889.5 | 67.083 | 72.0323
2019-11-08 18:00:00 | 10.032 | 271.947 | 10.987 | 273.33 | 11.003 | 279.233 | 11.021 | 276.367 | -0.133 | 890.208 | 66.011 | 68.9207
2019-11-08 18:15:00 | 8.788 | 284.307 | 9.389 | 283.111 | 10.002 | 286.6 | 10.424 | 284.467 | 0.183 | 889.808 | 68.933 | 73.506
2019-11-08 18:30:00 | 9.564 | 268.56 | 10.782 | 267.065 | 11.166 | 272.467 | 11.109 | 268.667 | 0.05 | 889.908 | 69.52 | 74.4916
2019-11-08 18:45:00 | 9.514 | 266.633 | 10.258 | 266.064 | 10.671 | 270.767 | 11.098 | 267.533 | -0.625 | 889.892 | 69.797 | 69.0983
2019-11-08 19:00:00 | 7.603 | 274.24 | 8.409 | 273.301 | 8.714 | 277.533 | 8.84 | 273.967 | -0.12 | 890.058 | 69.184 | 69.5382
2019-11-08 19:15:00 | 8.82 | 288.4 | 9.794 | 286.072 | 10.327 | 289.567 | 10.71 | 287.267 | -0.396 | 890.192 | 70.965 | 75.3385
2019-11-08 19:30:00 | 10.883 | 265.967 | 12.04 | 266.191 | 12.734 | 269.9 | 13.069 | 266.95 | -1.065 | 890.008 | 71.387 | 76.4854
2019-11-08 19:45:00 | 10.86 | 257.933 | 12.072 | 259.919 | 12.678 | 264.567 | 12.679 | 260.883 | -0.595 | 890.05 | 67.691 | 74.9328
2019-11-08 20:00:00 | 8.676 | 255.107 | 10.043 | 254.658 | 10.534 | 259.433 | 10.688 | 254.867 | -0.922 | 889.708 | 70.293 | 72.9652
2019-11-08 20:15:00 | 9.003 | 267.68 | 10.679 | 271.825 | 11.252 | 275.567 | 11.603 | 271.4 | -1.276 | 890.058 | 72 | 72.2781
2019-11-08 20:30:00 | 10.492 | 271.927 | 11.977 | 271.744 | 12.498 | 275.967 | 12.864 | 271.467 | -1.442 | 890.075 | 68.827 | 67.9735
2019-11-08 20:45:00 | 7.51 | 265.907 | 8.731 | 263.318 | 9.326 | 266.417 | 9.424 | 261.717 | -1.686 | 890.008 | 70.517 | 72.0948
2019-11-08 21:00:00 | 6.958 | 275.947 | 8.15 | 274.223 | 8.639 | 278.967 | 9.125 | 273.233 | -1.58 | 890.075 | 71.509 | 69.5773
2019-11-08 21:15:00 | 7.51 | 266.227 | 8.604 | 265.537 | 9.219 | 269.833 | 9.369 | 266.333 | -1.62 | 890.067 | 74.016 | 72.2582
2019-11-08 21:30:00 | 9.356 | 275.587 | 10.919 | 273.41 | 11.598 | 277.333 | 11.754 | 273.4 | -1.802 | 889.742 | 73.797 | 72.8572
2019-11-08 21:45:00 | 8.629 | 261.533 | 9.745 | 265.064 | 10.596 | 268.3 | 10.571 | 262.217 | -2.296 | 889.492 | 74.64 | 71.6216
2019-11-08 22:00:00 | 8.232 | 263.493 | 9.603 | 262.606 | 10.018 | 265.533 | 10.352 | 262.417 | -2.54 | 890.025 | 74.272 | 58.4086
2019-11-08 22:15:00 | 5.667 | 270.947 | 6.94 | 268.197 | 7.366 | 274.5 | 7.559 | 269.933 | -2.963 | 889.933 | 74.197 | 51.7165
2019-11-08 22:30:00 | 7.776 | 269.887 | 9.063 | 269.581 | 9.749 | 274.167 | 10.29 | 271.4 | -2.679 | 889.642 | 74.501 | 71.2805
2019-11-08 22:45:00 | 9.75 | 270.86 | 11.792 | 267.581 | 12.924 | 273.233 | 13.381 | 269 | -2.862 | 889.558 | 70.875 | 72.8793
2019-11-08 23:00:00 | 9.392 | 270.38 | 10.808 | 269.62 | 11.491 | 275.7 | 12.352 | 270.533 | -2.617 | 890.058 | 71.936 | 73.2843
2019-11-08 23:15:00 | 8.91 | 265.76 | 10.488 | 264.922 | 11.01 | 268.767 | 11.368 | 265.067 | -2.114 | 889.783 | 72.629 | 74.0595
2019-11-08 23:30:00 | 7.152 | 268.253 | 8.43 | 265.594 | 8.994 | 271.567 | 9.013 | 267.333 | -2.532 | 890.067 | 73.579 | 65.1483
2019-11-08 23:45:00 | 7.813 | 272.213 | 8.838 | 271.598 | 8.935 | 276.8 | 9.028 | 272.867 | -2.7 | 889.95 | 74.416 | 51.8053