## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-09 00:00:00 | 7.348 | 268.473 | 8.713 | 268.877 | 8.871 | 273.767 | 9.079 | 270.2 | -2.691 | 889.8 | 74.608 | 49.2657
2019-11-09 00:15:00 | 6.296 | 274.36 | 7.397 | 272.105 | 7.94 | 276.433 | 8.199 | 274.2 | -2.724 | 890.017 | 74.597 | 50.7849
2019-11-09 00:30:00 | 7.753 | 271.9 | 9.061 | 272.231 | 9.64 | 275.6 | 9.852 | 274.733 | -3.004 | 889.692 | 74.075 | 46.2636
2019-11-09 00:45:00 | 8.08 | 273.153 | 9.306 | 270.558 | 9.619 | 275.9 | 9.724 | 271.033 | -3.11 | 889.975 | 75.136 | 59.5263
2019-11-09 01:00:00 | 7.426 | 265.347 | 8.607 | 262.705 | 9.404 | 265.367 | 9.692 | 262.367 | -3.063 | 890.05 | 75.275 | 74.5349
2019-11-09 01:15:00 | 10.16 | 266.94 | 11.36 | 266.661 | 11.855 | 271.267 | 11.885 | 267.2 | -2.821 | 889.933 | 72.283 | 66.7343
2019-11-09 01:30:00 | 8.074 | 269.453 | 9.272 | 269.275 | 9.958 | 273.767 | 9.932 | 270.433 | -2.882 | 890.317 | 73.045 | 50.5177
2019-11-09 01:45:00 | 6.026 | 263.847 | 7.182 | 262.37 | 7.63 | 267.4 | 8.022 | 264.217 | -3.03 | 889.767 | 73.525 | 55.9408
2019-11-09 02:00:00 | 7.659 | 260.053 | 9.133 | 260.258 | 9.379 | 265.667 | 9.352 | 262.083 | -2.578 | 889.642 | 69.589 | 51.5253
2019-11-09 02:15:00 | 6.294 | 247.087 | 7.612 | 248.365 | 8.057 | 252.833 | 8.014 | 248.8 | -3.184 | 889.75 | 72.363 | 52.712
2019-11-09 02:30:00 | 5.983 | 241.4 | 7.296 | 245.015 | 7.61 | 250.433 | 7.548 | 247.25 | -3.221 | 889.825 | 73.344 | 40.6451
2019-11-09 02:45:00 | 5.884 | 249.5 | 6.87 | 251.346 | 7.157 | 257.267 | 7.05 | 253.8 | -3.806 | 890.117 | 75.456 | 38.8588
2019-11-09 03:00:00 | 5.63 | 249.933 | 7.049 | 252.071 | 7.328 | 259.533 | 7.535 | 255.717 | -3.857 | 889.75 | 76.251 | 37.7552
2019-11-09 03:15:00 | 5.365 | 243.993 | 6.536 | 246.708 | 6.918 | 252.567 | 6.987 | 248.15 | -4.285 | 890.108 | 75.947 | 40.1392
2019-11-09 03:30:00 | 4.799 | 240.473 | 6.613 | 241.905 | 6.945 | 247.067 | 6.829 | 241.8 | -4.375 | 889.825 | 76.16 | 47.2619
2019-11-09 03:45:00 | 6.23 | 244.98 | 7.456 | 246.062 | 7.729 | 252.8 | 7.668 | 248.3 | -4.444 | 889.775 | 73.259 | 46.0682
2019-11-09 04:00:00 | 7.149 | 243.24 | 8.783 | 243.042 | 9.377 | 248.133 | 9.53 | 243.133 | -4.424 | 890.083 | 71.563 | 46.4426
2019-11-09 04:15:00 | 6.054 | 246.353 | 7.523 | 243.218 | 8.295 | 248.033 | 8.286 | 242.6 | -3.899 | 890.033 | 66.731 | 50.5049
2019-11-09 04:30:00 | 5.759 | 240.96 | 7.368 | 242.904 | 7.942 | 250.467 | 7.925 | 246.7 | -4.318 | 889.667 | 67.189 | 50.0935
2019-11-09 04:45:00 | 5.892 | 247.38 | 7.426 | 248.133 | 7.91 | 254.867 | 7.952 | 250.883 | -4.759 | 889.983 | 66.389 | 58.3041
2019-11-09 05:00:00 | 6.79 | 253.487 | 8.806 | 251.815 | 9.095 | 257.067 | 9.118 | 251.117 | -4.285 | 889.667 | 61.664 | 66.6021
2019-11-09 05:15:00 | 7.211 | 235.6 | 8.596 | 240.209 | 9.012 | 247.033 | 9.06 | 242.967 | -3.437 | 889.917 | 54.795 | 64.1727
2019-11-09 05:30:00 | 7.143 | 236.8 | 8.365 | 236.597 | 9.034 | 240.2 | 9.292 | 234.967 | -3.071 | 889.983 | 50.496 | 66.7471
2019-11-09 05:45:00 | 6.685 | 216.26 | 8.861 | 215.76 | 9.705 | 222.067 | 9.612 | 221.933 | -3.227 | 889.675 | 50.933 | 69.9148
2019-11-09 06:00:00 | 6.113 | 213.033 | 8.25 | 212.594 | 8.791 | 219.133 | 8.591 | 219.267 | -3.874 | 890.025 | 53.077 | 72.5304
2019-11-09 06:15:00 | 5.84 | 213.2 | 8.094 | 215.629 | 9.518 | 218.4 | 9.963 | 214.467 | -3.606 | 889.625 | 52.032 | 76.3717
2019-11-09 06:30:00 | 6.303 | 220.367 | 8.48 | 223.63 | 9.913 | 232.2 | 9.98 | 230.633 | -3.404 | 890.15 | 50.027 | 69.1978
2019-11-09 06:45:00 | 7.209 | 219.3 | 9.416 | 223.893 | 10.151 | 230.933 | 9.862 | 228.333 | -3.404 | 889.675 | 47.701 | 68.7267
2019-11-09 07:00:00 | 6.02 | 213.573 | 7.794 | 218.785 | 8.565 | 225.167 | 8.349 | 224.5 | -3.08 | 889.375 | 46.411 | 70.3035
2019-11-09 07:15:00 | 8.018 | 225.367 | 10.045 | 230.091 | 11.489 | 234.7 | 11.291 | 232 | -2.7 | 889.733 | 43.36 | 76.4946
2019-11-09 07:30:00 | 8.067 | 222.593 | 10.356 | 226.977 | 10.962 | 233.967 | 10.828 | 231.267 | -1.733 | 889.958 | 40.795 | 77.758
2019-11-09 07:45:00 | 7.793 | 220.593 | 9.886 | 226.424 | 10.314 | 232.233 | 10.22 | 229 | -2.111 | 889.85 | 40.459 | 74.4347
2019-11-09 08:00:00 | 6.333 | 223.04 | 8.491 | 226.389 | 8.898 | 233 | 8.745 | 230.633 | -1.736 | 889.7 | 39.323 | 61.091
2019-11-09 08:15:00 | 5.097 | 222.16 | 6.888 | 223.295 | 7.316 | 232.5 | 7.226 | 231.5 | -2.346 | 889.533 | 40.261 | 58.2011
2019-11-09 08:30:00 | 4.755 | 227.78 | 6.714 | 228.466 | 7.432 | 238.3 | 7.115 | 237.967 | -2.082 | 890 | 40.672 | 58.842
2019-11-09 08:45:00 | 6.12 | 224.013 | 7.617 | 228.179 | 7.432 | 238.567 | 7.15 | 239.533 | -2.337 | 889.767 | 40.869 | 55.1243
2019-11-09 09:00:00 | 6.138 | 219.187 | 7.574 | 221.409 | 7.558 | 229.633 | 7.2 | 228.667 | -1.309 | 889.35 | 38.299 | 47.458
2019-11-09 09:15:00 | 5.398 | 228.587 | 7.412 | 227.778 | 7.293 | 236.767 | 6.902 | 236.533 | -0.862 | 889.85 | 37.653 | 37.0624
2019-11-09 09:30:00 | 6.172 | 224.107 | 6.547 | 224.106 | 6.394 | 230.4 | 6.051 | 228.033 | 0.033 | 889.5 | 34.565 | 25.2862
2019-11-09 09:45:00 | 4.649 | 230.533 | 5.406 | 228.436 | 5.314 | 234.233 | 4.967 | 231.333 | 0.798 | 889.783 | 33.765 | 11.5851
2019-11-09 10:00:00 | 3.837 | 238.507 | 4.275 | 242.145 | 4.025 | 250.4 | 3.904 | 248.733 | 1.88 | 889.717 | 32.507 | 5.5914
2019-11-09 10:15:00 | 3.486 | 243.593 | 3.601 | 244.344 | 3.721 | 253.733 | 3.718 | 256.317 | 2.943 | 889.8 | 29.765 | 3.118
2019-11-09 10:30:00 | 2.038 | 246.393 | 2.496 | 248.431 | 2.622 | 253.9 | 2.681 | 254 | 4.881 | 889.6 | 28.224 | 5.3598
2019-11-09 10:45:00 | 2.86 | 216.847 | 3.307 | 230.829 | 4.047 | 243.267 | 4.672 | 248.117 | 5.007 | 889.683 | 26.341 | 12.2154
2019-11-09 11:00:00 | 4.328 | 247.713 | 5.03 | 248.29 | 6.014 | 252.433 | 6.608 | 253.2 | 5.699 | 889.55 | 23.096 | 20.7692
2019-11-09 11:15:00 | 6.1 | 263.56 | 6.669 | 262.346 | 7.023 | 266.517 | 7.012 | 262.167 | 6.638 | 889.583 | 20.393 | 25.1036
2019-11-09 11:30:00 | 6.084 | 280.987 | 6.579 | 277.579 | 6.855 | 281.033 | 7.126 | 276.567 | 6.121 | 889.767 | 19 | 30.0172
2019-11-09 11:45:00 | 8.262 | 282.027 | 8.796 | 275.929 | 8.908 | 278.317 | 9.115 | 274.233 | 6.284 | 889.333 | 17.833 | 59.9093
2019-11-09 12:00:00 | 9.656 | 260.487 | 10.329 | 261.072 | 10.804 | 265.533 | 10.84 | 260.717 | 6.807 | 889.667 | 18.388 | 71.4077
2019-11-09 12:15:00 | 9.235 | 277.593 | 10.103 | 275.162 | 10.624 | 279.367 | 10.66 | 277.333 | 6.433 | 889.267 | 17.369 | 67.2409
2019-11-09 12:30:00 | 8.348 | 267.867 | 8.78 | 268.846 | 8.777 | 272.233 | 8.662 | 269.133 | 7.239 | 889.533 | 18.209 | 60.1381
2019-11-09 12:45:00 | 7.731 | 288.133 | 7.979 | 282.882 | 8.111 | 286.033 | 8.631 | 283.333 | 7.439 | 889.367 | 17.628 | 58.3759
2019-11-09 13:00:00 | 9.21 | 288.533 | 9.571 | 283.833 | 9.746 | 287.5 | 10.21 | 284.3 | 7.94 | 889.267 | 16.52 | 55.7688
2019-11-09 13:15:00 | 8.213 | 284.533 | 9.324 | 281.597 | 9.52 | 286.167 | 9.717 | 283.267 | 8.157 | 889.367 | 15.737 | 52.9742
2019-11-09 13:30:00 | 8.068 | 291.533 | 8.429 | 288.208 | 8.547 | 290.933 | 8.95 | 287.4 | 8.541 | 889.3 | 15.736 | 49.5691
2019-11-09 13:45:00 | 7.511 | 277.467 | 8.134 | 278.874 | 8.33 | 284.8 | 8.491 | 281.6 | 8.995 | 889.633 | 15.799 | 49.0419
2019-11-09 14:00:00 | 7.356 | 296.76 | 8.023 | 291.333 | 8.336 | 293.9 | 8.404 | 292.933 | 9.42 | 889.5 | 15.628 | 45.8451
2019-11-09 14:15:00 | 7.199 | 295.347 | 7.552 | 295.286 | 7.892 | 298.767 | 8.209 | 294.833 | 9.158 | 889.6 | 16.123 | 41.2818
2019-11-09 14:30:00 | 7.59 | 280.573 | 7.941 | 279.613 | 8.109 | 282.433 | 8.297 | 277.567 | 9.395 | 889.233 | 17.028 | 48.2098
2019-11-09 14:45:00 | 8.075 | 278.267 | 8.988 | 281.381 | 9.107 | 285.667 | 9.398 | 282.9 | 9.666 | 889.267 | 18.644 | 48.1068
2019-11-09 15:00:00 | 8.46 | 283.04 | 9.162 | 282.991 | 9.404 | 287.467 | 9.703 | 287.1 | 9.735 | 889.117 | 20.637 | 47.9398
2019-11-09 15:15:00 | 8.195 | 276.88 | 8.782 | 277.689 | 9.04 | 284.6 | 9.108 | 280.1 | 9.72 | 889.917 | 20.547 | 49.1357
2019-11-09 15:30:00 | 7.905 | 284.033 | 8.776 | 283.926 | 9.038 | 286.2 | 9.131 | 283.967 | 9.699 | 889.783 | 20.964 | 49.2849
2019-11-09 15:45:00 | 8.953 | 295.133 | 9.503 | 294.059 | 9.65 | 298.4 | 10.265 | 295.833 | 9.976 | 889.633 | 20.864 | 49.4618
2019-11-09 16:00:00 | 8.327 | 283.933 | 8.908 | 284.011 | 9.244 | 287.667 | 9.379 | 284.633 | 9.966 | 889.55 | 20.407 | 50.7764
2019-11-09 16:15:00 | 10.06 | 280.527 | 10.72 | 281.585 | 11.17 | 285.767 | 11.442 | 283.367 | 9.908 | 889.65 | 20.477 | 51.3413
2019-11-09 16:30:00 | 10.248 | 287.413 | 10.747 | 286.484 | 11.051 | 288.733 | 11.547 | 286.367 | 9.837 | 889.8 | 21.096 | 52.4803
2019-11-09 16:45:00 | 9.86 | 288.24 | 11.125 | 287.195 | 11.249 | 292.467 | 11.678 | 288.2 | 10.089 | 889.5 | 20.743 | 54.7165
2019-11-09 17:00:00 | 10.032 | 285.067 | 11.062 | 282.851 | 11.28 | 286.367 | 11.536 | 284.033 | 9.549 | 889.667 | 19.347 | 55.6175
2019-11-09 17:15:00 | 8.468 | 301.32 | 9.108 | 300.139 | 9.425 | 304.833 | 9.743 | 301.2 | 9.724 | 889.817 | 23.141 | 43.6132
2019-11-09 17:30:00 | 7.228 | 289.387 | 8.098 | 287.449 | 8.2 | 290.2 | 8.553 | 286.767 | 9.47 | 889.867 | 21.744 | 46.6579
2019-11-09 17:45:00 | 7.676 | 280.32 | 8.616 | 283.825 | 8.856 | 287.433 | 9.178 | 285.133 | 9.333 | 890.317 | 21.493 | 45.5331
2019-11-09 18:00:00 | 7.314 | 277.187 | 8.503 | 278.397 | 8.992 | 283.6 | 9.299 | 280.233 | 9.433 | 889.217 | 22.219 | 37.4156
2019-11-09 18:15:00 | 6.386 | 292.133 | 7.416 | 290.573 | 7.563 | 293.467 | 7.866 | 290.233 | 8.983 | 889.483 | 22.677 | 29.4764
2019-11-09 18:30:00 | 5.394 | 300.387 | 6.488 | 295.002 | 6.852 | 298.667 | 7.416 | 294.667 | 8.143 | 890.1 | 24.832 | 25.736
2019-11-09 18:45:00 | 4.408 | 314.6 | 5.519 | 308.364 | 5.741 | 311.9 | 6.04 | 308.567 | 7.222 | 889.867 | 27.053 | 20.0138
2019-11-09 19:00:00 | 3.813 | 315.827 | 5.248 | 316.592 | 5.244 | 317.6 | 5.555 | 310.967 | 6.333 | 889.833 | 30.984 | 15.604
2019-11-09 19:15:00 | 4.16 | 311.44 | 5.004 | 316.407 | 5.083 | 319.8 | 5.105 | 315.133 | 5.822 | 889.583 | 32.811 | 13.2911
2019-11-09 19:30:00 | 4.135 | 304.133 | 4.904 | 306.738 | 5.096 | 307.433 | 5.762 | 303.333 | 5.448 | 889.883 | 34.296 | 13.8866
2019-11-09 19:45:00 | 3.55 | 288.293 | 4.399 | 301.334 | 5.022 | 305.367 | 5.764 | 297.5 | 4.079 | 889.95 | 39.656 | 14.2575
2019-11-09 20:00:00 | 4.203 | 298.973 | 5.522 | 307.85 | 5.765 | 314.733 | 5.848 | 309.8 | 3.866 | 889.75 | 40.616 | 14.4423
2019-11-09 20:15:00 | 4.122 | 289.933 | 5.36 | 300.402 | 5.398 | 304.7 | 5.724 | 302.333 | 3.019 | 889.867 | 42.411 | 12.005
2019-11-09 20:30:00 | 4.435 | 259.853 | 5.225 | 282.958 | 4.978 | 283.833 | 5.178 | 280.133 | 2.205 | 889.492 | 45.248 | 11.5325
2019-11-09 20:45:00 | 4.883 | 255.487 | 5.412 | 281.275 | 5.13 | 282.6 | 5.346 | 276.767 | 1.892 | 889.625 | 47.04 | 16.1178
2019-11-09 21:00:00 | 6.117 | 248.133 | 6.116 | 253.204 | 5.803 | 265.367 | 6.106 | 257 | 2.422 | 890.017 | 42.176 | 26.308
2019-11-09 21:15:00 | 6.784 | 247.567 | 6.693 | 245.807 | 6.823 | 251.2 | 7.22 | 250.15 | 3.638 | 889.5 | 32.144 | 25.4632
2019-11-09 21:30:00 | 5.631 | 248.84 | 6.593 | 252.319 | 6.717 | 258.5 | 6.756 | 256.55 | 2.81 | 889.15 | 35.619 | 25.7694
2019-11-09 21:45:00 | 6.212 | 246.033 | 6.132 | 250.292 | 6.362 | 257.867 | 6.702 | 257.533 | 3.538 | 889.883 | 30.619 | 24.0314
2019-11-09 22:00:00 | 5.547 | 234.133 | 5.824 | 240.279 | 5.945 | 249.667 | 5.97 | 248.1 | 3.287 | 889.767 | 32.453 | 26.6242
2019-11-09 22:15:00 | 6.057 | 235.773 | 6.291 | 239.184 | 6.338 | 248.633 | 6.482 | 248.233 | 2.86 | 889.267 | 32.48 | 33.209
2019-11-09 22:30:00 | 5.771 | 237.967 | 6.732 | 242.301 | 6.723 | 249.867 | 6.738 | 248.667 | 3.388 | 889.967 | 27.648 | 30.6659
2019-11-09 22:45:00 | 5.661 | 241.267 | 6.779 | 241.971 | 6.719 | 249.3 | 6.554 | 247.2 | 3.137 | 889.667 | 25.781 | 23.8658
2019-11-09 23:00:00 | 5.931 | 248.267 | 6.351 | 247.585 | 6.519 | 252.633 | 6.463 | 248.667 | 3.337 | 889.55 | 29.237 | 16.1363
2019-11-09 23:15:00 | 4.475 | 253.093 | 5.418 | 250.978 | 5.496 | 256.883 | 5.314 | 251.95 | 2.258 | 889.767 | 33.957 | 13.2229
2019-11-09 23:30:00 | 2.412 | 223.127 | 3.316 | 231.476 | 4.573 | 246.1 | 5.138 | 246.733 | 1.72 | 889.6 | 36.283 | 18.0789
2019-11-09 23:45:00 | 1.628 | 207.14 | 3.148 | 227.935 | 4.469 | 243.733 | 5.566 | 240.633 | 1.105 | 889.692 | 40.64 | 22.5861