## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-10 00:00:00 | 1.226 | 166.54 | 1.193 | 231.399 | 2.69 | 237.767 | 4.211 | 234.55 | 1.64 | 890.05 | 38.427 | 40.0895
2019-11-10 00:15:00 | 1.805 | 199.28 | 2.715 | 216.814 | 4.841 | 236 | 6.818 | 236.067 | 2.524 | 890.183 | 35.104 | 60.7236
2019-11-10 00:30:00 | 6.219 | 226.707 | 9.235 | 235.758 | 9.957 | 244.9 | 9.99 | 244.1 | 2.76 | 890.05 | 29.296 | 66.0088
2019-11-10 00:45:00 | 7.98 | 214.56 | 9.23 | 225.451 | 10.272 | 237.967 | 10.323 | 238.267 | 2.209 | 889.717 | 31.408 | 63.8004
2019-11-10 01:00:00 | 7.261 | 218.067 | 9.433 | 225.86 | 10.381 | 235.733 | 10.414 | 232.7 | 2.7 | 889.55 | 31.472 | 58.0966
2019-11-10 01:15:00 | 5.937 | 219.547 | 8.348 | 227.602 | 9.528 | 238.167 | 9.563 | 235.333 | 2.085 | 889.933 | 33.04 | 45.634
2019-11-10 01:30:00 | 5.886 | 220.7 | 8.486 | 224.163 | 8.623 | 231.933 | 8.473 | 230.333 | 2.148 | 889.65 | 34.933 | 33.651
2019-11-10 01:45:00 | 6.624 | 223.013 | 7.559 | 221.717 | 7.787 | 229.8 | 7.965 | 229.433 | 1.115 | 889.6 | 37.68 | 30.8599
2019-11-10 02:00:00 | 7.755 | 228.813 | 7.768 | 222.552 | 7.773 | 228.8 | 7.923 | 227.567 | 0.948 | 889.55 | 37.52 | 36.1252
2019-11-10 02:15:00 | 5.613 | 231.247 | 6.762 | 226.432 | 7.186 | 227.1 | 7.38 | 221.067 | 0.918 | 889.583 | 37.963 | 35.34
2019-11-10 02:30:00 | 6.404 | 227.5 | 7.589 | 226.013 | 7.791 | 230.133 | 7.746 | 224.567 | 1.232 | 889.45 | 38.139 | 31.5854
2019-11-10 02:45:00 | 5.996 | 230.22 | 6.689 | 229.91 | 7.128 | 235.4 | 7.155 | 230.767 | 2.495 | 889.683 | 34.859 | 24.8528
2019-11-10 03:00:00 | 4.765 | 250.067 | 5.156 | 237.521 | 5.777 | 238.35 | 6.198 | 232.833 | 1.058 | 889.683 | 37.397 | 20.5432
2019-11-10 03:15:00 | 4.586 | 236.393 | 5.286 | 229.256 | 5.718 | 240.333 | 6.538 | 239.3 | 1.702 | 889.633 | 36.805 | 23.0032
2019-11-10 03:30:00 | 3.714 | 215.367 | 5.486 | 227.473 | 6.789 | 236.4 | 6.803 | 233.733 | 1.262 | 889.867 | 38.917 | 25.2542
2019-11-10 03:45:00 | 5.502 | 223.573 | 6.963 | 227.246 | 7.246 | 236.367 | 6.812 | 234.667 | 0.449 | 889.908 | 41.76 | 30.2708
2019-11-10 04:00:00 | 5.968 | 223.407 | 7.324 | 233.899 | 7.486 | 242.433 | 7.556 | 242.7 | 0.582 | 889.55 | 41.269 | 35.922
2019-11-10 04:15:00 | 6.055 | 220.24 | 7.679 | 236.08 | 7.794 | 246.367 | 7.83 | 243.533 | 0.998 | 890.067 | 41.056 | 40.4526
2019-11-10 04:30:00 | 6.35 | 221.233 | 7.955 | 232.19 | 8.017 | 242.867 | 7.996 | 240.733 | 0.965 | 889.5 | 40.992 | 36.9182
2019-11-10 04:45:00 | 6.119 | 215.913 | 7.324 | 229.838 | 7.503 | 241.433 | 7.673 | 240.833 | 1.085 | 890 | 41.803 | 36.6098
2019-11-10 05:00:00 | 7.017 | 215.82 | 8.018 | 229.502 | 8.131 | 238.5 | 8.058 | 237.333 | 0.399 | 889.975 | 45.472 | 41.8794
2019-11-10 05:15:00 | 6.655 | 227.973 | 7.55 | 238.934 | 7.893 | 247.433 | 7.965 | 244.867 | 1.266 | 889.908 | 41.392 | 44.9654
2019-11-10 05:30:00 | 6.566 | 221.767 | 7.749 | 232.227 | 7.87 | 240.133 | 7.852 | 236.667 | 1.286 | 890.017 | 43.04 | 42.2318
2019-11-10 05:45:00 | 6.656 | 223.067 | 7.615 | 233.577 | 7.798 | 241.467 | 7.962 | 236.5 | 1.095 | 889.925 | 43.691 | 38.6413
2019-11-10 06:00:00 | 6.77 | 219.88 | 7.736 | 231.646 | 7.736 | 238.9 | 7.857 | 236.633 | 1.015 | 890.525 | 45.419 | 38.2406
2019-11-10 06:15:00 | 8.039 | 227.4 | 8.279 | 235.024 | 8.518 | 242.2 | 8.44 | 238.333 | 0.765 | 889.717 | 44.683 | 31.304
2019-11-10 06:30:00 | 6.78 | 229.147 | 7.642 | 242.092 | 7.764 | 247.633 | 7.72 | 242.3 | 1.659 | 889.783 | 43.019 | 15.2679
2019-11-10 06:45:00 | 6.732 | 227.327 | 6.044 | 233.448 | 6.188 | 244.3 | 6.215 | 240.033 | 0.349 | 889.875 | 47.605 | 10.871
2019-11-10 07:00:00 | 4.936 | 226.527 | 6.25 | 219.84 | 6.224 | 225.833 | 5.7 | 222.733 | 0.133 | 890.125 | 48.896 | 14.4785
2019-11-10 07:15:00 | 4.036 | 223.467 | 5.969 | 220.012 | 7.004 | 222.367 | 6.346 | 222.267 | -0.116 | 889.575 | 50.336 | 21.241
2019-11-10 07:30:00 | 3.661 | 222.413 | 6.787 | 218.509 | 8.243 | 219.267 | 7.368 | 219.067 | -0.166 | 889.933 | 51.925 | 27.4527
2019-11-10 07:45:00 | 4.778 | 214.693 | 7.842 | 212.52 | 8.71 | 215.533 | 8.429 | 213.233 | 0.599 | 890.017 | 48.661 | 28.0184
2019-11-10 08:00:00 | 4.019 | 215.8 | 6.645 | 213.187 | 7.896 | 215.6 | 7.709 | 213.467 | 1.048 | 890.117 | 47.168 | 31.6337
2019-11-10 08:15:00 | 0.77 | 236.673 | 3.724 | 212.806 | 6.416 | 211.367 | 8.167 | 207.967 | 0.565 | 889.975 | 48.896 | 34.9862
2019-11-10 08:30:00 | 1.198 | 266.654 | 1.469 | 290.664 | 1.799 | 259.3 | 4.008 | 214.733 | 0.565 | 889.85 | 48.981 | 33.9097
2019-11-10 08:45:00 | 0.293 | 268.253 | 0.944 | 248.087 | 3.058 | 212.35 | 7.679 | 206.333 | 0.599 | 890.033 | 48.267 | 32.8673
2019-11-10 09:00:00 | 5.826 | 212.54 | 7.871 | 207.496 | 7.637 | 213.367 | 7.842 | 211.867 | 0.932 | 889.65 | 47.637 | 22.8461
2019-11-10 09:15:00 | 5.471 | 214.24 | 7.133 | 210.018 | 7.378 | 216.267 | 7.244 | 213.967 | 1.975 | 889.767 | 45.237 | 18.295
2019-11-10 09:30:00 | 2.878 | 262.407 | 4.178 | 225.68 | 5.911 | 219.533 | 6.287 | 216.933 | 1.93 | 890.058 | 45.291 | 11.1054
2019-11-10 09:45:00 | 3.497 | 254.293 | 4.506 | 232.384 | 5.188 | 232.85 | 4.372 | 229 | 2.984 | 889.9 | 42.08 | 3.1862
2019-11-10 10:00:00 | 3.635 | 231.067 | 4.277 | 221.912 | 5.024 | 222.767 | 4.334 | 220.167 | 5.201 | 889.75 | 37.845 | 2.0962
2019-11-10 10:15:00 | 2.587 | 258.293 | 2.837 | 235.943 | 3.596 | 232.05 | 4.25 | 220.3 | 6.091 | 889.8 | 37.099 | 0.2288
2019-11-10 10:30:00 | 1.92 | 255.62 | 2.363 | 240.128 | 2.163 | 238.2 | 2.634 | 227.8 | 7.526 | 889.85 | 36.027 | 1.5249
2019-11-10 10:45:00 | 3.396 | 226.76 | 3.549 | 224.802 | 3.875 | 227.733 | 4.239 | 220.7 | 7.676 | 889.467 | 33.547 | 0.91663
2019-11-10 11:00:00 | 1.527 | 258.133 | 1.34 | 250.336 | 1.16 | 243.217 | 1.786 | 227.533 | 8.999 | 889.883 | 31.669 | 0.20038
2019-11-10 11:15:00 | 0.063 | 302.547 | 0.083 | 243.833 | 0 | 243.417 | 0.584 | 248.067 | 8.566 | 889.633 | 30.96 | 0.22596
2019-11-10 11:30:00 | 0.974 | 233.167 | 0.543 | 227.646 | 0.344 | 237.967 | 1.719 | 228.333 | 11.145 | 889.65 | 28.176 | 0.21033
2019-11-10 11:45:00 | 0 | 251.293 | 0 | 234.475 | 0.053 | 246.3 | 0.493 | 248.567 | 12.207 | 889.9 | 26.288 | 0.18901
2019-11-10 12:00:00 | 1.622 | 194.925 | 1.781 | 210.154 | 1.726 | 235.467 | 2.483 | 225.167 | 12.914 | 890.2 | 24.368 | 0.1748
2019-11-10 12:15:00 | 1.005 | 241.446 | 0.156 | 43.586 | 0 | 52.21 | 0.94 | 78.933 | 10.778 | 889.983 | 25.616 | 0.15775
2019-11-10 12:30:00 | 2.75 | 54.507 | 2.306 | 46.7 | 2.131 | 51.433 | 2.069 | 46.2 | 11.453 | 889.617 | 24.432 | 2.2212
2019-11-10 12:45:00 | 4.474 | 37.348 | 4.535 | 28.073 | 4.563 | 33.633 | 4.664 | 30.933 | 9.756 | 889.767 | 26.395 | 3.8392
2019-11-10 13:00:00 | 3.65 | 27.279 | 3.427 | 18.078 | 3.505 | 19.067 | 3.534 | 12.733 | 9.558 | 889.917 | 26.576 | 3.7077
2019-11-10 13:15:00 | 3.666 | 36.3 | 3.596 | 32.553 | 3.698 | 35.6 | 3.823 | 32.5 | 9.612 | 889.517 | 26.091 | 2.4856
2019-11-10 13:30:00 | 3.457 | 34.777 | 3.181 | 33.694 | 3.393 | 16.767 | 3.534 | 12.933 | 10.016 | 889.283 | 24.723 | 1.1099
2019-11-10 13:45:00 | 3.639 | 51.4 | 3.248 | 82.662 | 3.351 | 62.2 | 3.54 | 46.333 | 9.716 | 890.067 | 24.848 | 1.0929
2019-11-10 14:00:00 | 3.122 | 74.377 | 2.792 | 101.112 | 3.211 | 64.233 | 3.315 | 70.933 | 10.032 | 889.733 | 26.168 | 1.1582
2019-11-10 14:15:00 | 2.283 | 260.947 | 2.395 | 271.077 | 2.563 | 227.233 | 2.878 | 229.633 | 9.687 | 889.817 | 26.4 | 0.491
2019-11-10 14:30:00 | 3.086 | 217.516 | 2.89 | 280.139 | 3.112 | 250.6 | 3.479 | 267.934 | 9.874 | 889.333 | 26.187 | 1.3423
2019-11-10 14:45:00 | 3.316 | 70.532 | 2.985 | 29.99 | 3.374 | 29.334 | 3.646 | 14.5 | 10.07 | 890.017 | 27.16 | 2.3619
2019-11-10 15:00:00 | 4.063 | 14.808 | 4.008 | 47.129 | 4.195 | 24.167 | 4.265 | 65.333 | 9.533 | 889.717 | 28.293 | 2.7726
2019-11-10 15:15:00 | 3.799 | 17.17 | 3.549 | 21.555 | 3.698 | 21.467 | 3.652 | 17.333 | 9.743 | 889.5 | 28.179 | 2.6554
2019-11-10 15:30:00 | 4.46 | 51.04 | 4.293 | 19.443 | 4.527 | 8.168 | 4.424 | 5 | 9.824 | 889.783 | 28.32 | 1.3828
2019-11-10 15:45:00 | 3.504 | 197.469 | 3.625 | 221.989 | 3.639 | 165.334 | 3.71 | 187.467 | 9.649 | 889.767 | 27.475 | 2.0535
2019-11-10 16:00:00 | 3.924 | 34.971 | 3.622 | 41.038 | 3.8 | 7.367 | 3.842 | 6 | 9.558 | 890 | 27.472 | 1.1064
2019-11-10 16:15:00 | 2.335 | 28.1 | 2.162 | 18.908 | 2.364 | 18.333 | 2.788 | 12.933 | 9.32 | 889.733 | 27.925 | 0.20251
2019-11-10 16:30:00 | 2.501 | 39.517 | 2.336 | 29.33 | 2.599 | 31 | 2.998 | 25.7 | 8.933 | 889.567 | 27.936 | 0.093795
2019-11-10 16:45:00 | 1.853 | 24.954 | 1.567 | 13.95 | 1.336 | 18.2 | 1.709 | 7.967 | 9.387 | 889.85 | 27.515 | 0.10161
2019-11-10 17:00:00 | 2.146 | 74.86 | 1.87 | 128.741 | 1.843 | 49.9 | 2.292 | 23.067 | 9.033 | 889.6 | 27.808 | 0.61819
2019-11-10 17:15:00 | 2.897 | 34.135 | 2.858 | 28.545 | 3.155 | 34.8 | 3.385 | 28.933 | 9.324 | 889.5 | 27.797 | 1.8731
2019-11-10 17:30:00 | 3.825 | 7.409 | 3.497 | 16.199 | 3.396 | 6.167 | 3.546 | 4.567 | 9.162 | 890.267 | 27.755 | 2.4699
2019-11-10 17:45:00 | 3.576 | 43.302 | 3.377 | 35.885 | 3.394 | 39.6 | 3.63 | 33.933 | 8.908 | 889.817 | 27.296 | 2.1161
2019-11-10 18:00:00 | 3.353 | 45.009 | 3.222 | 38.42 | 3.371 | 41.9 | 3.555 | 38.6 | 8.384 | 889.617 | 27.989 | 1.888
2019-11-10 18:15:00 | 2.513 | 24.132 | 2.597 | 18.421 | 2.929 | 23.1 | 3.294 | 18.267 | 8.08 | 890.033 | 28.149 | 1.5391
2019-11-10 18:30:00 | 2.718 | 38.35 | 2.926 | 31.285 | 3.051 | 34.967 | 3.247 | 28.2 | 7.539 | 889.8 | 28.475 | 1.3373
2019-11-10 18:45:00 | 2.563 | 30.29 | 3.169 | 18.06 | 3.29 | 15.6 | 3.043 | 8.2 | 7.022 | 889.933 | 29.589 | 0.29631
2019-11-10 19:00:00 | 2.204 | 36.312 | 2.183 | 27.379 | 2.339 | 30.8 | 2.586 | 25.267 | 7.139 | 889.617 | 30.405 | 0.12009
2019-11-10 19:15:00 | 2.328 | 8.826 | 2.889 | 8.358 | 3.288 | 10.8 | 3.404 | 8.567 | 6.532 | 889.633 | 31.472 | 0.13998
2019-11-10 19:30:00 | 1.87 | 21.75 | 2.204 | 17.728 | 2.777 | 18.033 | 3.309 | 13.567 | 6.227 | 889.533 | 31.851 | 0.25296
2019-11-10 19:45:00 | 1.467 | 101.2 | 1.516 | 58.54 | 1.993 | 52.067 | 1.912 | 31.667 | 5.962 | 889.667 | 33.493 | 0.17906
2019-11-10 20:00:00 | 0 | 102.183 | 0.027 | 58.1 | 0 | 52 | 0 | 32 | 5.796 | 889.75 | 34.048 | 0.17622
2019-11-10 20:15:00 | 1.411 | 189.76 | 0 | 58.114 | 0 | 52 | 0 | 32 | 4.799 | 889.783 | 35.627 | 0.18191
2019-11-10 20:30:00 | 2.53 | 202.76 | 0.365 | 195.421 | 0 | 52 | 0 | 31.967 | 4.881 | 889.767 | 35.296 | 0.18901
2019-11-10 20:45:00 | 2.725 | 197.813 | 1.569 | 195.623 | 0.713 | 190.067 | 1.017 | 32 | 4.925 | 889.917 | 34.763 | 0.19327
2019-11-10 21:00:00 | 3.558 | 209.613 | 2.195 | 196.619 | 2.226 | 204.633 | 2.155 | 200 | 3.962 | 889.55 | 39.077 | 0.2018
2019-11-10 21:15:00 | 4.311 | 210.84 | 3.07 | 204.056 | 2.29 | 215.933 | 2.222 | 207.3 | 4.043 | 889.942 | 40.064 | 0.40005
2019-11-10 21:30:00 | 5.813 | 215.62 | 4.133 | 204.49 | 3.72 | 211.667 | 3.27 | 217.5 | 3.229 | 890.242 | 46.272 | 4.068
2019-11-10 21:45:00 | 6.202 | 221.14 | 5.691 | 220.96 | 5.133 | 213.133 | 4.577 | 202.667 | 0.915 | 889.667 | 54.208 | 6.9174
2019-11-10 22:00:00 | 5.745 | 222.68 | 4.531 | 233.402 | 4.297 | 235.033 | 4.429 | 222.267 | 1.032 | 890.283 | 54.389 | 5.3939
2019-11-10 22:15:00 | 4.756 | 232.16 | 4.865 | 251.533 | 3.749 | 259.7 | 3.743 | 247.467 | 0.985 | 890.033 | 54.219 | 7.2613
2019-11-10 22:30:00 | 4.214 | 227.053 | 5.669 | 258.433 | 4.883 | 270.2 | 4.217 | 271.867 | 0.982 | 890.092 | 55.6 | 8.5552
2019-11-10 22:45:00 | 5.721 | 231.107 | 5.477 | 258.608 | 5.369 | 276 | 5.633 | 277.6 | 0.998 | 889.675 | 56.613 | 18.4001
2019-11-10 23:00:00 | 6.688 | 227.213 | 6.722 | 236.627 | 6.172 | 247.1 | 5.832 | 248.333 | 1.66 | 889.608 | 57.387 | 33.2773
2019-11-10 23:15:00 | 6.609 | 224.133 | 6.659 | 234.16 | 6.381 | 243 | 6.408 | 239.633 | 1.869 | 889.983 | 54.08 | 51.0343
2019-11-10 23:30:00 | 5.804 | 236.513 | 6.516 | 243.694 | 6.529 | 252 | 6.676 | 250.483 | 2.164 | 889.517 | 55.509 | 46.0341
2019-11-10 23:45:00 | 5.574 | 238.587 | 6.023 | 245.649 | 5.955 | 255.1 | 6.208 | 253.483 | 2.217 | 890.158 | 56.309 | 44.819