## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-11 00:00:00 | 5.387 | 226.733 | 6.636 | 233.508 | 6.919 | 241.1 | 6.828 | 238.767 | 1.982 | 890.133 | 57.813 | 58.3048
2019-11-11 00:15:00 | 7.362 | 213.847 | 9.053 | 225.272 | 9.586 | 234.3 | 9.963 | 233.6 | 1.999 | 889.833 | 59.157 | 78.0884
2019-11-11 00:30:00 | 8.204 | 214.46 | 10.038 | 221.416 | 10.73 | 228.133 | 10.853 | 226.667 | 2.537 | 889.475 | 55.904 | 74.0581
2019-11-11 00:45:00 | 5.196 | 235.267 | 7.018 | 235.097 | 7.962 | 239.95 | 8.348 | 235.467 | 2.868 | 890.142 | 55.488 | 37.2067
2019-11-11 01:00:00 | 4.756 | 260.54 | 5.683 | 259.414 | 5.989 | 260.617 | 6.223 | 254.5 | 2.871 | 889.975 | 55.291 | 13.748
2019-11-11 01:15:00 | 3.35 | 243.5 | 3.366 | 244.796 | 3.244 | 254.033 | 3.511 | 250.183 | 3.171 | 890.225 | 53.973 | 13.6074
2019-11-11 01:30:00 | 2.82 | 246.693 | 4.232 | 245.226 | 5.139 | 247.383 | 5.263 | 242.1 | 3.163 | 889.817 | 54.213 | 10.596
2019-11-11 01:45:00 | 3.506 | 272.2 | 4.12 | 268.459 | 4.586 | 274.8 | 5.136 | 271.233 | 2.7 | 890.017 | 55.296 | 4.348
2019-11-11 02:00:00 | 1.356 | 241.44 | 2.587 | 281.399 | 3.356 | 297.067 | 3.935 | 297 | 2.118 | 889.883 | 56.512 | 3.3745
2019-11-11 02:15:00 | 3.496 | 304.6 | 4.261 | 302.15 | 4.417 | 305.567 | 4.431 | 300.333 | 2.519 | 889.742 | 59.157 | 6.695
2019-11-11 02:30:00 | 3.939 | 285.333 | 4.782 | 283.24 | 5.083 | 287.733 | 5.558 | 288.1 | 3.388 | 889.675 | 52.939 | 5.8941
2019-11-11 02:45:00 | 4.236 | 266.993 | 4.824 | 273.055 | 5.205 | 278.867 | 5.566 | 276.433 | 2.613 | 889.758 | 53.691 | 10.3807
2019-11-11 03:00:00 | 5.601 | 279.027 | 6.885 | 277.534 | 7.253 | 280.233 | 7.391 | 275.6 | 2.855 | 889.817 | 51.52 | 17.6206
2019-11-11 03:15:00 | 7.328 | 295.333 | 7.918 | 291.607 | 8.311 | 297.4 | 8.687 | 291.967 | 3.221 | 889.958 | 50.789 | 22.6593
2019-11-11 03:30:00 | 5.211 | 289.213 | 7.063 | 290.176 | 7.974 | 295.7 | 8.724 | 292.767 | 2.381 | 890.067 | 57.6 | 38.9696
2019-11-11 03:45:00 | 8.212 | 282.053 | 9.572 | 282.873 | 10.142 | 287.633 | 10.824 | 286.5 | 2.296 | 889.475 | 58.64 | 52.8882
2019-11-11 04:00:00 | 8.115 | 263 | 9.43 | 272.27 | 10.009 | 278.333 | 10.789 | 277.233 | 2.552 | 889.525 | 59.419 | 53.4055
2019-11-11 04:15:00 | 7.264 | 260.973 | 8.829 | 264.134 | 9.291 | 270.633 | 9.777 | 266.433 | 2.003 | 889.692 | 59.733 | 59.5831
2019-11-11 04:30:00 | 9.768 | 267.553 | 11.481 | 274.012 | 11.774 | 276.9 | 12.414 | 273.367 | 2.328 | 889.783 | 59.163 | 70.118
2019-11-11 04:45:00 | 10.36 | 255.947 | 11.734 | 260.97 | 11.994 | 265.1 | 12.214 | 259.7 | 2.324 | 890.2 | 60.069 | 77.466
2019-11-11 05:00:00 | 10.537 | 253.453 | 12.183 | 261.744 | 12.864 | 266.083 | 13.235 | 261.683 | 2.014 | 889.933 | 62.789 | 78.3656
2019-11-11 05:15:00 | 10.254 | 252.227 | 11.482 | 254.937 | 11.64 | 260.233 | 12.075 | 254.933 | 1.66 | 889.592 | 63.152 | 79.2815
2019-11-11 05:30:00 | 11.613 | 251.327 | 13.456 | 256.058 | 14.508 | 260 | 14.824 | 256.6 | 1.66 | 889.7 | 66.597 | 79.3902
2019-11-11 05:45:00 | 11.899 | 253.467 | 13.47 | 256.845 | 14.34 | 262.533 | 14.723 | 259.15 | 1.459 | 889.642 | 66.144 | 79.2253
2019-11-11 06:00:00 | 11.511 | 256.92 | 12.831 | 259.887 | 13.907 | 265.033 | 14.168 | 259.15 | 1.359 | 889.85 | 64.043 | 77.6678
2019-11-11 06:15:00 | 10.742 | 257.913 | 12.062 | 259.363 | 12.578 | 262.4 | 13.195 | 259.683 | 1.722 | 889.85 | 63.643 | 77.154
2019-11-11 06:30:00 | 10.184 | 255.973 | 11.578 | 260.829 | 12.524 | 264.9 | 12.826 | 260.3 | 1.759 | 889.808 | 63.467 | 77.2684
2019-11-11 06:45:00 | 11.616 | 257.233 | 12.948 | 262.366 | 13.757 | 265.767 | 14.142 | 262.183 | 1.965 | 889.933 | 62.907 | 77.7424
2019-11-11 07:00:00 | 12.567 | 255.993 | 14.305 | 258.154 | 15.173 | 263.317 | 15.726 | 259.217 | 1.379 | 889.725 | 63.413 | 77.876
2019-11-11 07:15:00 | 13.051 | 253.613 | 14.065 | 256.267 | 14.528 | 261.533 | 14.877 | 258.417 | 1.319 | 889.892 | 61.728 | 77.7516
2019-11-11 07:30:00 | 9.611 | 255.693 | 10.877 | 257.802 | 11.416 | 261.1 | 11.895 | 257.083 | 1.359 | 889.675 | 61.275 | 76.7618
2019-11-11 07:45:00 | 9.118 | 255.693 | 10.49 | 260.094 | 11.36 | 264.6 | 11.768 | 260.2 | 1.209 | 889.433 | 61.323 | 77.4425
2019-11-11 08:00:00 | 12.409 | 260.087 | 14.215 | 264.736 | 15.25 | 268.267 | 16.033 | 263.05 | 0.865 | 889.975 | 62.229 | 78.5702
2019-11-11 08:15:00 | 13.196 | 254.993 | 15.59 | 257.996 | 16.214 | 263.633 | 16.656 | 259.45 | 0.516 | 889.508 | 64.208 | 79.0683
2019-11-11 08:30:00 | 12.168 | 255.733 | 13.627 | 260.779 | 14.289 | 264.567 | 14.852 | 260.35 | 0.449 | 890.017 | 65.52 | 78.794
2019-11-11 08:45:00 | 11.3 | 247.413 | 12.685 | 252.472 | 13.522 | 256.617 | 13.752 | 253.717 | 0 | 889.642 | 64.981 | 78.1019
2019-11-11 09:00:00 | 11.165 | 241.54 | 12.502 | 248.206 | 13.225 | 253.067 | 12.998 | 247.683 | -0.149 | 889.95 | 64.555 | 78.0415
2019-11-11 09:15:00 | 11.537 | 245.727 | 12.902 | 247.96 | 13.47 | 252.667 | 13.748 | 248.767 | 0.117 | 889.783 | 62.011 | 76.9494
2019-11-11 09:30:00 | 8.302 | 247.393 | 9.114 | 247.346 | 9.415 | 252.517 | 9.186 | 250.6 | 0.166 | 889.675 | 60.523 | 76.538
2019-11-11 09:45:00 | 11.586 | 237.593 | 12.876 | 246.655 | 13.553 | 251.783 | 13.447 | 246.817 | 0.349 | 889.942 | 55.851 | 75.0863
2019-11-11 10:00:00 | 13.671 | 237.593 | 15.218 | 243.954 | 15.731 | 250.1 | 15.987 | 244.383 | 0.083 | 889.633 | 53.259 | 75.2668
2019-11-11 10:15:00 | 11.435 | 242.2 | 12.536 | 248.477 | 12.97 | 252.733 | 12.73 | 246.667 | 0.299 | 889.892 | 50.987 | 74.9634
2019-11-11 10:30:00 | 13.018 | 237.213 | 14.794 | 246.339 | 15.073 | 250.6 | 15.211 | 245.633 | 0.582 | 890.158 | 52.128 | 75.7727
2019-11-11 10:45:00 | 13.822 | 238.607 | 15.596 | 248.045 | 16.066 | 254.033 | 16.32 | 247.767 | 0.632 | 889.933 | 54.544 | 78.5908
2019-11-11 11:00:00 | 14.649 | 246.533 | 16.287 | 254.382 | 17.013 | 260.083 | 17.037 | 254.667 | 0.865 | 889.925 | 52.219 | 78.0671
2019-11-11 11:15:00 | 13.747 | 243.573 | 15.448 | 253.549 | 15.918 | 258 | 15.992 | 254.433 | 0.732 | 889.983 | 53.845 | 73.619
2019-11-11 11:30:00 | 13.352 | 238.147 | 15.062 | 246.92 | 15.764 | 250.467 | 15.705 | 246.967 | 0.432 | 890.342 | 55.029 | 71.6813
2019-11-11 11:45:00 | 13.013 | 235.78 | 14.826 | 248.286 | 15.451 | 252.333 | 15.257 | 246.217 | 0.549 | 889.733 | 56.875 | 71.93
2019-11-11 12:00:00 | 13.978 | 248.167 | 15.63 | 255.355 | 15.847 | 259.5 | 15.613 | 254.317 | 1.015 | 890.133 | 57.733 | 71.9108
2019-11-11 12:15:00 | 14.749 | 255.92 | 16.7 | 260.389 | 17.227 | 263.867 | 17.551 | 258.917 | 0.948 | 890.183 | 57.701 | 71.2308
2019-11-11 12:30:00 | 14.135 | 250.173 | 15.477 | 258.243 | 15.805 | 262.267 | 15.944 | 258 | 0.865 | 889.917 | 59.979 | 71.9811
2019-11-11 12:45:00 | 15.005 | 255.127 | 16.38 | 261.373 | 16.909 | 264.567 | 17.059 | 260.667 | 1.082 | 889.8 | 60.571 | 72.1808
2019-11-11 13:00:00 | 16.545 | 249.153 | 17.548 | 259.732 | 18.176 | 265.133 | 18.481 | 259.567 | 1.62 | 889.733 | 61.504 | 72.2028
2019-11-11 13:15:00 | 14.379 | 258.047 | 15.74 | 265.025 | 16.29 | 267.067 | 16.669 | 263.5 | 1.085 | 889.775 | 63.893 | 71.6102
2019-11-11 13:30:00 | 13.584 | 257.18 | 15.232 | 264.147 | 16.058 | 269.667 | 16.439 | 264.433 | 1.165 | 889.783 | 63.568 | 70.2374
2019-11-11 13:45:00 | 13.102 | 259.14 | 15.265 | 271.024 | 15.754 | 274.967 | 16.013 | 271.667 | 1.342 | 890.183 | 63.365 | 70.1628
2019-11-11 14:00:00 | 15.221 | 253.847 | 16.59 | 265.025 | 17.269 | 269.067 | 16.983 | 265.1 | 1.359 | 889.85 | 63.643 | 70.069
2019-11-11 14:15:00 | 14.776 | 258.713 | 16.619 | 264.445 | 17.144 | 268.067 | 17.594 | 263.7 | 2.071 | 890.142 | 63.125 | 70.1464
2019-11-11 14:30:00 | 14.529 | 253.267 | 16.026 | 259.152 | 16.662 | 263.8 | 16.732 | 260.7 | 2.16 | 889.917 | 63.957 | 70.0818
2019-11-11 14:45:00 | 12.387 | 256.953 | 13.709 | 258.841 | 14.421 | 262.967 | 14.254 | 258.317 | 1.828 | 889.55 | 65.227 | 70.2722
2019-11-11 15:00:00 | 12.147 | 253.24 | 13.246 | 261.529 | 13.925 | 267.167 | 13.868 | 262.483 | 1.666 | 889.683 | 67.168 | 70.1486
2019-11-11 15:15:00 | 11.655 | 253.3 | 12.666 | 261.249 | 13.251 | 264.367 | 13.208 | 258.783 | 1.339 | 889.958 | 68.8 | 70.1237
2019-11-11 15:30:00 | 9.83 | 258.42 | 10.95 | 262.777 | 11.312 | 269.2 | 11.206 | 265.767 | 1.299 | 889.792 | 70.949 | 69.9972
2019-11-11 15:45:00 | 9.965 | 268.593 | 10.869 | 270.46 | 10.707 | 273.267 | 10.869 | 268.133 | 1.499 | 890.058 | 71.157 | 70.2416
2019-11-11 16:00:00 | 10.154 | 259.173 | 11.263 | 262.473 | 11.71 | 266.6 | 11.756 | 262.1 | 1.62 | 890.267 | 69.141 | 70.0526
2019-11-11 16:15:00 | 11.91 | 261.12 | 13.432 | 268.143 | 14.138 | 271.667 | 14.244 | 267.117 | 1.966 | 889.917 | 65.317 | 69.8324
2019-11-11 16:30:00 | 13.909 | 277.013 | 15.89 | 281.806 | 16.234 | 284.933 | 16.958 | 282.067 | 2.085 | 889.908 | 63.056 | 72.9695
2019-11-11 16:45:00 | 14.444 | 274.307 | 16.007 | 282.346 | 16.871 | 286.267 | 17.848 | 283.033 | 2.479 | 889.958 | 63.328 | 75.939
2019-11-11 17:00:00 | 13.231 | 272.993 | 15.727 | 276.541 | 15.92 | 280 | 16.364 | 278.3 | 2.16 | 889.708 | 66.101 | 75.2469
2019-11-11 17:15:00 | 12.2 | 273.96 | 13.647 | 278.159 | 14.096 | 281.033 | 14.404 | 279.2 | 1.716 | 889.842 | 69.792 | 71.9676
2019-11-11 17:30:00 | 9.789 | 283.84 | 10.928 | 281.474 | 11.166 | 285.1 | 11.333 | 281.833 | 1.796 | 889.633 | 71.6 | 70.1102
2019-11-11 17:45:00 | 11.015 | 284.893 | 12.33 | 285.756 | 12.557 | 289.167 | 13.21 | 287.633 | 1.559 | 890.108 | 70.475 | 72.8793
2019-11-11 18:00:00 | 12.272 | 280.653 | 13.16 | 285.772 | 13.579 | 285.1 | 14.179 | 283.1 | 1.463 | 889.817 | 68.528 | 73.2367
2019-11-11 18:15:00 | 12.528 | 282.987 | 14.028 | 284.302 | 14.58 | 287.567 | 15.202 | 285.533 | 1.239 | 889.758 | 69.925 | 72.2582
2019-11-11 18:30:00 | 12.207 | 281.893 | 13.491 | 283.932 | 13.934 | 288.133 | 14.199 | 285.467 | 1.099 | 889.7 | 70.549 | 72.281
2019-11-11 18:45:00 | 9.936 | 306.84 | 11.183 | 304.538 | 11.709 | 306.833 | 12.404 | 305.5 | 0.515 | 890.083 | 73.899 | 71.3501
2019-11-11 19:00:00 | 9.924 | 303.293 | 10.893 | 299.649 | 11.322 | 303.867 | 11.824 | 299.467 | -0.066 | 889.433 | 77.328 | 70.5841
2019-11-11 19:15:00 | 9.06 | 299.733 | 9.914 | 298.144 | 10.376 | 302.867 | 10.594 | 300.933 | -0.478 | 890.142 | 78.453 | 70.9288
2019-11-11 19:30:00 | 8.516 | 299.813 | 9.35 | 299.172 | 9.733 | 303.5 | 10.244 | 298.867 | -0.675 | 889.95 | 76.144 | 68.8681
2019-11-11 19:45:00 | 8.957 | 303.453 | 9.619 | 298.632 | 10.354 | 303.8 | 10.808 | 301.033 | -0.935 | 889.858 | 69.643 | 52.1947
2019-11-11 20:00:00 | 7.19 | 290.68 | 8.055 | 288.59 | 8.778 | 292.5 | 9.309 | 287.6 | -1.165 | 890.108 | 66.901 | 60.9965
2019-11-11 20:15:00 | 8.245 | 266.62 | 9.166 | 275.84 | 9.72 | 279.767 | 9.9 | 275.5 | -1.115 | 889.658 | 64.32 | 70.7106
2019-11-11 20:30:00 | 10.917 | 267.887 | 12.179 | 275.111 | 12.909 | 277.7 | 13.416 | 273.6 | -1.132 | 889.767 | 60.88 | 71.6095
2019-11-11 20:45:00 | 13.002 | 262.807 | 14.49 | 272.569 | 14.852 | 276.333 | 15.07 | 275.067 | -1.479 | 890.075 | 56.229 | 71.1128
2019-11-11 21:00:00 | 12.834 | 254.547 | 13.812 | 268.794 | 14.42 | 273.1 | 15.123 | 269.467 | -1.6 | 889.817 | 55.157 | 71.1107
2019-11-11 21:15:00 | 12.685 | 248.82 | 14.529 | 263.037 | 15.102 | 268.2 | 15.523 | 265.017 | -1.972 | 889.775 | 53.515 | 71.272
2019-11-11 21:30:00 | 12.331 | 249 | 14.399 | 262.209 | 14.903 | 265.867 | 15.361 | 260.633 | -1.793 | 889.875 | 53.029 | 72.7066
2019-11-11 21:45:00 | 11.459 | 246 | 13.295 | 263.034 | 13.693 | 267.9 | 14.317 | 264.283 | -1.76 | 890.067 | 52.309 | 71.5086
2019-11-11 22:00:00 | 14.264 | 256.38 | 16.22 | 268.532 | 16.934 | 270.933 | 17.142 | 268.9 | -1.72 | 890.1 | 46.619 | 71.3572
2019-11-11 22:15:00 | 14.928 | 272.56 | 16.925 | 280.45 | 17.818 | 284.033 | 18.628 | 281.667 | -1.842 | 890.042 | 46.667 | 71.0062
2019-11-11 22:30:00 | 10.622 | 272.54 | 12.107 | 279.191 | 12.555 | 280.867 | 13.551 | 280.233 | -2.503 | 889.492 | 49.317 | 68.6322
2019-11-11 22:45:00 | 10.535 | 261.807 | 11.877 | 273.023 | 12.788 | 276.7 | 13.372 | 273.433 | -2.712 | 889.825 | 50.725 | 50.1426
2019-11-11 23:00:00 | 10.858 | 277.167 | 12.73 | 285.299 | 13.867 | 288.4 | 14.801 | 286.933 | -3.087 | 889.617 | 56.181 | 54.5516
2019-11-11 23:15:00 | 10.482 | 280.333 | 11.885 | 283.785 | 12.592 | 287.633 | 13.087 | 286.6 | -3.254 | 889.975 | 58.533 | 48.0862
2019-11-11 23:30:00 | 6.956 | 274.633 | 8.09 | 281.761 | 8.563 | 285.067 | 9.063 | 283.467 | -3.539 | 889.692 | 57.424 | 41.3322
2019-11-11 23:45:00 | 6.206 | 262 | 7.381 | 269.828 | 7.735 | 275.533 | 8.164 | 273.733 | -3.723 | 889.917 | 58.309 | 12.6083