## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-12 00:00:00 | 2.077 | 267.367 | 2.276 | 264.949 | 2.5 | 267.017 | 2.733 | 259.783 | -3.79 | 889.308 | 59.541 | 4.7373
2019-11-12 00:15:00 | 1.527 | 223.533 | 1.589 | 224.797 | 2.167 | 231.2 | 2.384 | 227.517 | -3.773 | 889.767 | 59.925 | 13.7516
2019-11-12 00:30:00 | 5.655 | 277.367 | 6.262 | 282.554 | 6.655 | 285.133 | 6.806 | 283.333 | -3.655 | 890.183 | 60.373 | 24.3412
2019-11-12 00:45:00 | 4.827 | 268.527 | 5.124 | 270.626 | 5.168 | 273.9 | 5.282 | 267.333 | -4.195 | 890.217 | 60.251 | 20.0529
2019-11-12 01:00:00 | 6.323 | 239.687 | 7.039 | 246.911 | 7.402 | 249.3 | 7.397 | 245.267 | -4.009 | 890 | 61.733 | 40.2735
2019-11-12 01:15:00 | 7.124 | 246.367 | 7.735 | 254.663 | 7.942 | 260.5 | 8.091 | 260.65 | -4.055 | 890.117 | 60.688 | 35.6939
2019-11-12 01:30:00 | 6.318 | 259.86 | 6.679 | 263.61 | 7.123 | 271 | 7.469 | 267.083 | -3.989 | 890.067 | 60.709 | 30.0428
2019-11-12 01:45:00 | 6.229 | 255.713 | 7.502 | 266.085 | 7.884 | 272.733 | 8.297 | 269.633 | -4.035 | 889.492 | 61.061 | 37.4994
2019-11-12 02:00:00 | 6.142 | 268.007 | 6.728 | 269.276 | 6.847 | 274.067 | 7.168 | 271.983 | -4.444 | 890.025 | 60.96 | 41.8851
2019-11-12 02:15:00 | 7.029 | 247.907 | 7.726 | 261.806 | 8.224 | 267.333 | 8.183 | 263.617 | -4.249 | 889.767 | 59.867 | 36.9573
2019-11-12 02:30:00 | 5.56 | 261.133 | 6.365 | 268.974 | 6.71 | 274.667 | 6.954 | 269.733 | -4.602 | 889.983 | 58.459 | 26.9092
2019-11-12 02:45:00 | 5.211 | 265.487 | 5.786 | 272.438 | 6.065 | 276.833 | 6.327 | 273.567 | -4.562 | 890 | 55.6 | 35.9682
2019-11-12 03:00:00 | 6.661 | 253.887 | 7.911 | 268.88 | 8.049 | 275.067 | 8.385 | 271.767 | -4.557 | 889.65 | 52.459 | 34.4909
2019-11-12 03:15:00 | 5.123 | 264.46 | 5.938 | 269.833 | 6.263 | 275.5 | 6.67 | 272.367 | -4.544 | 889.533 | 53.515 | 31.9385
2019-11-12 03:30:00 | 5.738 | 267.993 | 6.833 | 272.963 | 7.569 | 277.067 | 8.096 | 275.7 | -4.773 | 889.767 | 51.787 | 45.3498
2019-11-12 03:45:00 | 6.266 | 252.9 | 6.652 | 262.471 | 6.972 | 265.667 | 7.242 | 261.183 | -4.862 | 890.117 | 49.632 | 46.4256
2019-11-12 04:00:00 | 5.791 | 254.293 | 6.456 | 261.623 | 6.65 | 265.767 | 6.749 | 259.6 | -4.885 | 889.883 | 47.84 | 40.8782
2019-11-12 04:15:00 | 4.55 | 253.253 | 5.248 | 255.537 | 5.592 | 259.667 | 5.665 | 255.317 | -5.435 | 889.783 | 47.083 | 36.3803
2019-11-12 04:30:00 | 4.966 | 257.1 | 5.278 | 260.145 | 5.517 | 264.483 | 5.632 | 259.367 | -5.319 | 889.792 | 47.76 | 43.9052
2019-11-12 04:45:00 | 5.61 | 249.96 | 6.341 | 255.663 | 6.575 | 259.75 | 6.697 | 254.083 | -5.335 | 889.708 | 47.856 | 46.7077
2019-11-12 05:00:00 | 6.062 | 240.92 | 6.714 | 247.642 | 7.091 | 251.483 | 7.03 | 248.133 | -5.369 | 890.275 | 48.421 | 51.6312
2019-11-12 05:15:00 | 6.79 | 234.753 | 7.402 | 241.048 | 7.913 | 246.4 | 8.18 | 242 | -5.803 | 890.3 | 48.907 | 60.7108
2019-11-12 05:30:00 | 7.673 | 236.427 | 8.481 | 246.373 | 8.722 | 251.967 | 8.626 | 248.283 | -5.68 | 889.883 | 47.92 | 54.6191
2019-11-12 05:45:00 | 7.184 | 238.3 | 8.273 | 247.6 | 8.794 | 252.867 | 8.831 | 247.65 | -5.822 | 889.7 | 47.973 | 55.4853
2019-11-12 06:00:00 | 8.546 | 241.487 | 9.504 | 251.276 | 10.282 | 255.267 | 10.239 | 250.65 | -6.057 | 889.433 | 49.072 | 56.6869
2019-11-12 06:15:00 | 6.422 | 235.473 | 7.351 | 241.767 | 8.064 | 246.783 | 8.188 | 242.783 | -5.78 | 889.433 | 49.237 | 52.481
2019-11-12 06:30:00 | 5.81 | 232.727 | 6.548 | 238.32 | 7.124 | 244.567 | 7.297 | 240.333 | -6.325 | 889.942 | 50.229 | 52.6466
2019-11-12 06:45:00 | 5.923 | 235.6 | 6.863 | 240.809 | 7.585 | 245.3 | 7.772 | 242.433 | -6.445 | 889.617 | 50.805 | 46.6466
2019-11-12 07:00:00 | 6.622 | 234.267 | 7.164 | 241.52 | 7.658 | 246.333 | 7.755 | 241.067 | -6.345 | 889.833 | 50.768 | 51.7797
2019-11-12 07:15:00 | 6.836 | 237.38 | 7.996 | 248.699 | 8.202 | 252.983 | 8.244 | 248.617 | -6.207 | 889.467 | 50.88 | 68.7018
2019-11-12 07:30:00 | 8.155 | 226.6 | 9.288 | 235.708 | 10.028 | 241.433 | 10.23 | 236.267 | -6.096 | 889.283 | 51.456 | 71.2812
2019-11-12 07:45:00 | 8.34 | 233.893 | 9.456 | 244.368 | 10.397 | 248.167 | 10.504 | 242.067 | -6.136 | 889.825 | 50.971 | 72.6526
2019-11-12 08:00:00 | 7.942 | 232.78 | 8.917 | 243.742 | 9.301 | 247.483 | 9.595 | 241.95 | -5.898 | 889.767 | 50.272 | 73.0995
2019-11-12 08:15:00 | 8.184 | 234.36 | 9.184 | 242.02 | 9.62 | 246.567 | 9.841 | 241.2 | -6.425 | 889.842 | 50.587 | 55.5016
2019-11-12 08:30:00 | 6.167 | 234.907 | 7.288 | 248.123 | 7.884 | 254.133 | 7.916 | 248.817 | -6.249 | 889.883 | 51.472 | 39.4968
2019-11-12 08:45:00 | 4.471 | 247.1 | 5.322 | 249.489 | 5.779 | 251.45 | 5.892 | 247.1 | -6.395 | 890.033 | 52.336 | 32.7735
2019-11-12 09:00:00 | 4.966 | 253.907 | 5.52 | 254.286 | 5.805 | 261.3 | 6.131 | 256.667 | -6.612 | 890.1 | 53.237 | 23.1055
2019-11-12 09:15:00 | 4.247 | 254.22 | 5.182 | 256.191 | 5.583 | 263.633 | 5.85 | 260.883 | -6.658 | 890.2 | 53.813 | 14.4352
2019-11-12 09:30:00 | 2.909 | 263.887 | 3.764 | 264.971 | 4.019 | 270.7 | 4.17 | 269.467 | -7.032 | 889.783 | 54.571 | 11.4174
2019-11-12 09:45:00 | 2.54 | 254.507 | 2.965 | 255.02 | 3.23 | 260.233 | 3.326 | 261.133 | -7.032 | 889.483 | 55.275 | 16.3722
2019-11-12 10:00:00 | 3.929 | 241.98 | 4.648 | 245.925 | 5.187 | 252.3 | 5.31 | 247.283 | -7.131 | 889.833 | 55.477 | 24.5913
2019-11-12 10:15:00 | 4.004 | 230.1 | 4.657 | 233.76 | 5.025 | 241.433 | 5.251 | 237.033 | -6.362 | 889.8 | 53.771 | 38.0935
2019-11-12 10:30:00 | 5.957 | 244.273 | 6.196 | 249.349 | 6.349 | 256.65 | 6.601 | 253.433 | -5.202 | 890.008 | 50.021 | 36.548
2019-11-12 10:45:00 | 5.886 | 253.94 | 6.089 | 265.556 | 6.052 | 269.65 | 6.284 | 264.783 | -4.712 | 889.875 | 46.981 | 59.2307
2019-11-12 11:00:00 | 8.343 | 255.427 | 8.736 | 263.244 | 8.82 | 264.233 | 8.833 | 258.883 | -4.662 | 889.6 | 46.277 | 66.3548
2019-11-12 11:15:00 | 9.467 | 248.267 | 10.543 | 259.621 | 10.932 | 263.233 | 10.863 | 259.967 | -4.119 | 890 | 45.141 | 65.7267
2019-11-12 11:30:00 | 11.48 | 250.053 | 12.106 | 263.75 | 12.233 | 265.6 | 12.169 | 259.883 | -4.184 | 889.5 | 44.251 | 63.6334
2019-11-12 11:45:00 | 10.884 | 241.107 | 11.645 | 255.055 | 12.008 | 258.983 | 11.85 | 253.9 | -4.186 | 889.583 | 43.776 | 61.9472
2019-11-12 12:00:00 | 10.087 | 236.967 | 10.531 | 250.541 | 10.65 | 255.417 | 10.331 | 251.633 | -3.455 | 889.892 | 42.336 | 62.1177
2019-11-12 12:15:00 | 9.568 | 248.833 | 10.272 | 259.06 | 10.66 | 261.7 | 10.578 | 258.617 | -3.505 | 890.042 | 41.824 | 59.9292
2019-11-12 12:30:00 | 7.732 | 262.427 | 8.217 | 271.066 | 8.352 | 276.033 | 8.455 | 272.433 | -4.325 | 889.65 | 44.176 | 52.351
2019-11-12 12:45:00 | 7.081 | 258.333 | 7.575 | 267.458 | 7.919 | 270.15 | 8.113 | 266.95 | -3.504 | 889.8 | 41.835 | 61.6857
2019-11-12 13:00:00 | 10.535 | 276.307 | 11.398 | 283.729 | 11.348 | 286.433 | 11.681 | 285.467 | -3.35 | 889.85 | 41.477 | 61.9046
2019-11-12 13:15:00 | 10.329 | 293.867 | 11.012 | 294.638 | 11.387 | 297.7 | 11.933 | 295.7 | -3.221 | 889.9 | 40.483 | 58.7781
2019-11-12 13:30:00 | 10.98 | 283.5 | 11.935 | 284.173 | 11.833 | 290.467 | 12.554 | 287.667 | -3.137 | 889.683 | 39.395 | 52.9749
2019-11-12 13:45:00 | 10.971 | 291.147 | 11.446 | 294.651 | 11.799 | 298.233 | 12.317 | 295.9 | -3.013 | 889.867 | 40.027 | 52.7013
2019-11-12 14:00:00 | 10.688 | 287.033 | 11.198 | 290.692 | 11.776 | 295.633 | 12.255 | 294.1 | -2.545 | 889.7 | 39.475 | 52.9557
2019-11-12 14:15:00 | 12.277 | 274.5 | 13.065 | 281.37 | 13.379 | 285.033 | 13.597 | 283.467 | -2.258 | 889.283 | 37.973 | 52.756
2019-11-12 14:30:00 | 10.246 | 283.587 | 10.685 | 284.475 | 11.001 | 286.433 | 11.556 | 283.133 | -2.001 | 890.133 | 36.723 | 52.6636
2019-11-12 14:45:00 | 11.128 | 249.56 | 12.117 | 260.953 | 12.644 | 266.767 | 12.663 | 262.6 | -1.893 | 890.033 | 35.392 | 52.5613
2019-11-12 15:00:00 | 11.079 | 257.92 | 11.993 | 269.033 | 12.042 | 271.333 | 12.21 | 268.3 | -1.809 | 889.95 | 33.856 | 51.8458
2019-11-12 15:15:00 | 12.063 | 246.507 | 13.148 | 269.366 | 13.324 | 271.55 | 13.439 | 268.767 | -1.812 | 890.117 | 31.995 | 51.6731
2019-11-12 15:30:00 | 12.349 | 255.86 | 13.387 | 269.228 | 13.697 | 274.033 | 13.753 | 268.867 | -1.726 | 889.583 | 29.872 | 51.4038
2019-11-12 15:45:00 | 11.091 | 264.2 | 12.227 | 276.015 | 12.693 | 279.033 | 13.122 | 275.767 | -1.306 | 889.783 | 28.608 | 52.1329
2019-11-12 16:00:00 | 11.289 | 257.367 | 11.978 | 271.054 | 12.136 | 277.167 | 12.278 | 272.433 | -1.449 | 889.8 | 27.475 | 52.5585
2019-11-12 16:15:00 | 11.807 | 268.253 | 12.608 | 273.598 | 12.558 | 279.474 | 13.025 | 276.421 | -1.209 | 890.132 | 26.888 | 51.8131
2019-11-12 16:30:00 | 10.879 | 270.855 | 11.563 | 273.292 | 11.746 | 278.103 | 11.891 | 274.897 | -1.427 | 890.017 | 27.829 | 51.7563
2019-11-12 16:45:00 | 10.031 | 274.813 | 11.006 | 277.398 | 11.487 | 280.833 | 11.622 | 278.7 | -1.316 | 889.95 | 28.211 | 51.6177
2019-11-12 17:00:00 | 11.265 | 268.273 | 12.295 | 277.652 | 12.508 | 280.367 | 13.173 | 279.167 | -1.185 | 889.75 | 28.184 | 51.6916
2019-11-12 17:15:00 | 10.004 | 271.147 | 10.935 | 276.967 | 11.172 | 280.7 | 11.549 | 278.7 | -1.296 | 889.7 | 29.376 | 51.0158
2019-11-12 17:30:00 | 9.794 | 261.356 | 10.557 | 271.646 | 10.682 | 275.926 | 10.991 | 273.037 | -1.421 | 889.963 | 28.465 | 58.3595
2019-11-12 17:45:00 | 8.892 | 249.913 | 9.824 | 268.795 | 10.339 | 273.467 | 10.544 | 268.5 | -1.506 | 889.65 | 29.061 | 67.8897
2019-11-12 18:00:00 | 9.939 | 236.687 | 11.041 | 253.139 | 11.5 | 257.3 | 11.604 | 252.367 | -1.573 | 889.45 | 33.92 | 69.7762
2019-11-12 18:15:00 | 9.887 | 243.22 | 10.892 | 256.278 | 11.384 | 260.517 | 11.611 | 256.3 | -1.799 | 889.883 | 37.011 | 70.4349
2019-11-12 18:30:00 | 7.851 | 234.447 | 8.737 | 249.092 | 9.142 | 252.467 | 9.321 | 246.933 | -2.164 | 889.492 | 40.693 | 70.0732
2019-11-12 18:45:00 | 9.354 | 236.513 | 10.426 | 249.492 | 10.701 | 254 | 10.63 | 249.567 | -2.442 | 889.658 | 43.787 | 62.9733
2019-11-12 19:00:00 | 7.132 | 243.573 | 8.676 | 255.247 | 9.066 | 257.933 | 9.238 | 253.733 | -2.333 | 889.917 | 43.205 | 43.6515
2019-11-12 19:15:00 | 5.373 | 248.953 | 6.79 | 252.454 | 7.574 | 257.683 | 7.861 | 251.383 | -3.134 | 890.142 | 42.571 | 39.5999
2019-11-12 19:30:00 | 5.142 | 240.253 | 5.477 | 239.978 | 5.615 | 244.867 | 5.763 | 239.367 | -3.167 | 889.875 | 41.632 | 47.5341
2019-11-12 19:45:00 | 5.545 | 236.3 | 7.24 | 240.744 | 8.005 | 244.233 | 8.177 | 237.833 | -3.371 | 889.842 | 43.456 | 57.0713
2019-11-12 20:00:00 | 4.394 | 234.8 | 5.74 | 234.969 | 6.666 | 238.867 | 7.07 | 233.333 | -3.254 | 889.592 | 44.32 | 61.1151
2019-11-12 20:15:00 | 6.579 | 229.027 | 8.054 | 236.09 | 8.951 | 239.433 | 9.355 | 233.833 | -3.093 | 889.733 | 42.976 | 65.7658
2019-11-12 20:30:00 | 7.988 | 229.82 | 9.281 | 236.791 | 9.976 | 242.333 | 10.102 | 236.367 | -2.882 | 889.742 | 40.677 | 44.1681
2019-11-12 20:45:00 | 5.892 | 249.38 | 7.016 | 253.083 | 7.411 | 257.317 | 7.591 | 251.667 | -2.524 | 890.142 | 40.659 | 25.5221
2019-11-12 21:00:00 | 4.282 | 252.66 | 5.463 | 252.926 | 6.076 | 256.817 | 6.461 | 251.817 | -2.557 | 890 | 41.019 | 23.4544
2019-11-12 21:15:00 | 4.082 | 253.233 | 4.735 | 254.97 | 5.238 | 257.55 | 5.679 | 250.167 | -2.76 | 889.9 | 41.52 | 24.8499
2019-11-12 21:30:00 | 4.109 | 253.133 | 5.083 | 254.419 | 5.657 | 256.583 | 6.041 | 249.133 | -2.148 | 889.817 | 40.605 | 27.6119
2019-11-12 21:45:00 | 4.338 | 262.187 | 5.23 | 256.077 | 5.775 | 255.917 | 6.429 | 249.517 | -2.74 | 889.858 | 40.459 | 25.9797
2019-11-12 22:00:00 | 4.267 | 252.533 | 4.77 | 248.385 | 5.475 | 248.017 | 5.748 | 241.7 | -2.333 | 890 | 40.037 | 25.9314
2019-11-12 22:15:00 | 3.6 | 273.333 | 4.799 | 268.254 | 5.353 | 270.867 | 5.746 | 261.2 | -2.312 | 889.692 | 40.453 | 22.6571
2019-11-12 22:30:00 | 4.176 | 273.433 | 5.246 | 270.226 | 5.675 | 272.033 | 6.377 | 262.067 | -1.58 | 889.917 | 39.173 | 27.8713
2019-11-12 22:45:00 | 4.816 | 261.92 | 5.894 | 260.95 | 6.331 | 260.583 | 6.579 | 250.483 | -2.28 | 889.758 | 41.344 | 34.4376
2019-11-12 23:00:00 | 4.91 | 234.353 | 6.82 | 237.191 | 7.15 | 242.633 | 7.124 | 237.467 | -2.578 | 890.242 | 42.933 | 28.0709
2019-11-12 23:15:00 | 4.97 | 230.507 | 6.696 | 232.911 | 6.812 | 239.1 | 6.71 | 234.967 | -2.666 | 889.858 | 43.189 | 29.0501
2019-11-12 23:30:00 | 4.814 | 231.82 | 5.919 | 232.587 | 6.616 | 235.133 | 7.16 | 227.967 | -2.679 | 889.892 | 43.317 | 47.7941
2019-11-12 23:45:00 | 4.986 | 220.7 | 7.337 | 222.474 | 8.243 | 227.467 | 8.441 | 223.433 | -3.086 | 889.825 | 43.765 | 47.1035