## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-13 00:00:00 | 5.51 | 218.293 | 7.248 | 220.569 | 7.794 | 225.7 | 8.054 | 221.6 | -2.263 | 889.883 | 41.888 | 44.4097
2019-11-13 00:15:00 | 4.67 | 225.173 | 6.885 | 227.119 | 8.238 | 230.9 | 8.945 | 226.1 | -1.68 | 889.867 | 40.944 | 43.1335
2019-11-13 00:30:00 | 5.611 | 76.027 | 7.036 | 257.222 | 6.714 | 195.934 | 6.076 | 329.433 | -3.932 | 889.9 | 44.213 | 16.2315
2019-11-13 00:45:00 | 4.49 | 58.401 | 6.245 | 260.851 | 6.746 | 0 | 7.335 | 344 | -5.498 | 890.233 | 53.787 | 20.6896
2019-11-13 01:00:00 | 4.251 | 338.96 | 6.598 | 341.261 | 6.931 | 346.233 | 6.95 | 344.967 | -6.037 | 889.892 | 58.608 | 8.6895
2019-11-13 01:15:00 | 2.739 | 326.44 | 4.679 | 331.862 | 4.64 | 333.1 | 5.212 | 331.833 | -5.941 | 889.383 | 59.04 | 5.2589
2019-11-13 01:30:00 | 2.086 | 273.42 | 3.408 | 304.742 | 3.706 | 312.5 | 4.215 | 308.7 | -6.395 | 889.758 | 60.88 | 3.3311
2019-11-13 01:45:00 | 3.037 | 264.653 | 3.473 | 282.328 | 3.747 | 292.133 | 4.004 | 298.167 | -6.18 | 889.733 | 63.355 | 3.1585
2019-11-13 02:00:00 | 3.767 | 244.487 | 3.732 | 258.845 | 3.653 | 269.867 | 3.696 | 275.467 | -5.859 | 889.558 | 62.288 | 4.4325
2019-11-13 02:15:00 | 3.516 | 238.3 | 3.869 | 253.999 | 3.684 | 263.067 | 3.768 | 264.7 | -5.319 | 889.842 | 60.101 | 6.2892
2019-11-13 02:30:00 | 4.311 | 226.653 | 5.041 | 236.314 | 4.902 | 245.667 | 4.466 | 246.567 | -5.511 | 890.133 | 57.931 | 9.7987
2019-11-13 02:45:00 | 4.884 | 235.74 | 5.751 | 246.616 | 5.522 | 257.233 | 5.524 | 260.983 | -6.017 | 889.992 | 56.149 | 7.9647
2019-11-13 03:00:00 | 4.534 | 233.74 | 5.544 | 245.016 | 5.324 | 254.8 | 4.973 | 262.567 | -5.918 | 890.35 | 55.904 | 8.8821
2019-11-13 03:15:00 | 6.148 | 229.2 | 5.736 | 241.384 | 5.412 | 265.267 | 5.804 | 269.233 | -5.8 | 889.908 | 58.539 | 9.8371
2019-11-13 03:30:00 | 5.534 | 228.62 | 4.846 | 252.628 | 4.64 | 267.2 | 4.876 | 270.267 | -5.859 | 890 | 58.379 | 6.1542
2019-11-13 03:45:00 | 4.721 | 238.133 | 4.562 | 253.937 | 4.088 | 274.933 | 4.476 | 284.833 | -5.724 | 889.842 | 58.101 | 5.7947
2019-11-13 04:00:00 | 4.767 | 248.647 | 4.239 | 270.116 | 4.417 | 287.9 | 4.977 | 291.967 | -4.404 | 889.9 | 54.523 | 7.4602
2019-11-13 04:15:00 | 4.933 | 245.087 | 4.647 | 266.812 | 4.931 | 282.4 | 5.587 | 288.333 | -4.481 | 889.917 | 54.165 | 7.3608
2019-11-13 04:30:00 | 4.684 | 244.333 | 4.272 | 265.713 | 4.64 | 280.6 | 5.074 | 286.4 | -4.769 | 889.725 | 55.285 | 5.919
2019-11-13 04:45:00 | 3.996 | 240.24 | 3.98 | 268.566 | 4.009 | 287.2 | 4.62 | 293.9 | -4.018 | 890.208 | 53.632 | 5.7662
2019-11-13 05:00:00 | 4.037 | 256.733 | 3.932 | 277.177 | 4.135 | 295.2 | 4.558 | 298.4 | -3.874 | 889.783 | 54.56 | 6.852
2019-11-13 05:15:00 | 3.958 | 261.867 | 4.496 | 300.541 | 4.763 | 315 | 4.784 | 313.733 | -4.15 | 890.042 | 54.933 | 6.599
2019-11-13 05:30:00 | 4.218 | 266.533 | 4.274 | 293.776 | 4.55 | 306.3 | 5.021 | 306.633 | -3.388 | 889.767 | 52.661 | 5.5559
2019-11-13 05:45:00 | 4.073 | 266.533 | 4.211 | 285.769 | 4.516 | 299.867 | 5.111 | 300.1 | -3.974 | 889.508 | 54.011 | 4.122
2019-11-13 06:00:00 | 3.737 | 252.367 | 4.133 | 289.754 | 5.052 | 312.967 | 5.594 | 314.3 | -4.108 | 889.692 | 55.067 | 2.2134
2019-11-13 06:15:00 | 3.898 | 223.5 | 3.034 | 269.152 | 3.508 | 305.467 | 4.169 | 308.5 | -4.985 | 889.9 | 57.979 | 0.60043
2019-11-13 06:30:00 | 3.637 | 218.4 | 1.71 | 261.764 | 1.936 | 304 | 2.623 | 308.533 | -4.935 | 890.2 | 59.2 | 0.16201
2019-11-13 06:45:00 | 2.905 | 219 | 1.014 | 251.496 | 0.81 | 298.267 | 1.472 | 306.933 | -3.89 | 890.375 | 56.107 | 0.20393
2019-11-13 07:00:00 | 3.545 | 211.9 | 1.546 | 213.568 | 0.832 | 253.833 | 1.209 | 280.833 | -3.087 | 889.475 | 54.539 | 0.25296
2019-11-13 07:15:00 | 2.618 | 216.347 | 0 | 213.417 | 0.283 | 243 | 1.329 | 250 | -2.727 | 890.133 | 52.491 | 0.23093
2019-11-13 07:30:00 | 2.382 | 216.42 | 0.224 | 213.413 | 0 | 243 | 0.836 | 250 | -2.484 | 889.508 | 52.843 | 0.10872
2019-11-13 07:45:00 | 2.807 | 212.247 | 1.186 | 213.537 | 1.087 | 243 | 1.182 | 250 | -2.724 | 889.775 | 52.16 | 0.14425
2019-11-13 08:00:00 | 3.46 | 215.593 | 1.667 | 234.138 | 1.042 | 243.033 | 1.573 | 257.667 | -2.263 | 889.558 | 51.627 | 0.21246
2019-11-13 08:15:00 | 3.611 | 212.86 | 1.689 | 218.878 | 1.177 | 244.633 | 1.442 | 268.733 | -2.263 | 890.033 | 50.72 | 0.24159
2019-11-13 08:30:00 | 2.867 | 215.273 | 0.863 | 241.117 | 0.683 | 266.133 | 1.6 | 286 | -2.166 | 889.575 | 48.917 | 0.24017
2019-11-13 08:45:00 | 2.981 | 214.86 | 1.247 | 234.378 | 1.19 | 264.067 | 1.725 | 290.3 | -1.872 | 890.067 | 47.989 | 0.22596
2019-11-13 09:00:00 | 2.995 | 204.98 | 0.892 | 225.735 | 0 | 254.867 | 0.253 | 288.067 | -1.66 | 889.717 | 46.763 | 0.22312
2019-11-13 09:15:00 | 2.28 | 208.027 | 0 | 223.411 | 0 | 255.033 | 0 | 287.967 | -1.419 | 889.95 | 43.915 | 0.21885
2019-11-13 09:30:00 | 1.783 | 207.567 | 0 | 223.49 | 0 | 255 | 0.768 | 288 | -1.048 | 889.542 | 41.803 | 0.22454
2019-11-13 09:45:00 | 1.48 | 213.8 | 0 | 223.523 | 0.027 | 254.8 | 1.448 | 288.067 | -0.538 | 889.8 | 41.429 | 0.22241
2019-11-13 10:00:00 | 1.259 | 221.773 | 0.057 | 223.614 | 0.07 | 255 | 1.223 | 288.067 | -0.192 | 889.65 | 40.853 | 0.22312
2019-11-13 10:15:00 | 0.193 | 221.52 | 0 | 252.553 | 0 | 255 | 0.323 | 288 | 0.233 | 889.942 | 42.293 | 0.24301
2019-11-13 10:30:00 | 0 | 221.693 | 0.313 | 266.541 | 0.772 | 330 | 1.59 | 338.867 | -0.932 | 890.35 | 43.648 | 0.25154
2019-11-13 10:45:00 | 0.04 | 14.15 | 1.747 | 0 | 2.039 | 3.867 | 1.408 | 5.6 | -0.475 | 889.917 | 41.941 | 0.2288
2019-11-13 11:00:00 | 0 | 14.047 | 0.529 | 0 | 0 | 4 | 0.561 | 6 | -0.126 | 889.692 | 40.949 | 0.22738
2019-11-13 11:15:00 | 0.323 | 316.267 | 0 | 0 | 0 | 340.4 | 0.966 | 340.933 | 0.465 | 889.383 | 38.533 | 0.22596
2019-11-13 11:30:00 | 1.537 | 255.247 | 0.776 | 269.297 | 0 | 309.567 | 0.872 | 341.067 | 2.323 | 889.683 | 36.565 | 0.21885
2019-11-13 11:45:00 | 1.554 | 294.067 | 1.247 | 294.775 | 1.076 | 294.833 | 1.643 | 320.167 | 1.656 | 889.8 | 36.4 | 0.22312
2019-11-13 12:00:00 | 1.527 | 298.56 | 1.03 | 294.912 | 1.423 | 302.267 | 1.82 | 303.967 | 1.999 | 889.9 | 34.04 | 0.22667
2019-11-13 12:15:00 | 1.643 | 312.573 | 1.141 | 298.002 | 1.106 | 302.867 | 1.506 | 306.8 | 2.386 | 890 | 32.805 | 0.21957
2019-11-13 12:30:00 | 1.726 | 301.947 | 1.461 | 290.058 | 1.655 | 296.3 | 1.961 | 281.133 | 3.843 | 889.75 | 31.187 | 0.11298
2019-11-13 12:45:00 | 2.278 | 284.033 | 2.171 | 284.35 | 2.085 | 289.867 | 2.175 | 282.267 | 4.206 | 889.933 | 31.072 | 0.12577
2019-11-13 13:00:00 | 2.524 | 320.253 | 2.399 | 309.286 | 2.409 | 309.4 | 2.594 | 312.467 | 4.186 | 889.95 | 30.701 | 1.1397
2019-11-13 13:15:00 | 2.769 | 332.24 | 2.868 | 324.466 | 2.898 | 316 | 2.748 | 322.067 | 4.067 | 889.633 | 31.309 | 1.4815
2019-11-13 13:30:00 | 2.274 | 316.107 | 2.54 | 324.964 | 2.687 | 317.4 | 2.824 | 327.233 | 3.866 | 890.067 | 31.429 | 0.93795
2019-11-13 13:45:00 | 2.568 | 133.264 | 2.633 | 219.301 | 2.835 | 263.4 | 2.919 | 310.3 | 4.127 | 889.767 | 30.875 | 0.46258
2019-11-13 14:00:00 | 2.81 | 337.933 | 2.918 | 321.507 | 3.206 | 333.3 | 3.287 | 328.033 | 4.636 | 889.833 | 31.221 | 0.49384
2019-11-13 14:15:00 | 2.589 | 200.23 | 2.527 | 317.836 | 2.554 | 338.367 | 2.804 | 320.433 | 4.444 | 889.717 | 30.704 | 1.4801
2019-11-13 14:30:00 | 2.976 | 306.867 | 2.955 | 302.046 | 3.095 | 305.267 | 3.269 | 308.133 | 4.769 | 889.6 | 30.875 | 2.8586
2019-11-13 14:45:00 | 4.48 | 315.16 | 4.567 | 309.528 | 4.65 | 314.033 | 4.747 | 312.6 | 5.074 | 889.9 | 29.16 | 2.7371
2019-11-13 15:00:00 | 4.156 | 211.895 | 4.414 | 300.528 | 4.493 | 254.6 | 4.837 | 322.5 | 5.339 | 889.7 | 27.368 | 2.3975
2019-11-13 15:15:00 | 2.862 | 222.762 | 2.64 | 269.738 | 2.86 | 239.835 | 3.006 | 238.933 | 5.204 | 889.75 | 27.219 | 4.1831
2019-11-13 15:30:00 | 4.931 | 330.053 | 5.165 | 322.133 | 5.392 | 326.6 | 5.367 | 324.067 | 5.675 | 889.167 | 25.787 | 9.1429
2019-11-13 15:45:00 | 4.554 | 325.067 | 4.748 | 321.197 | 4.796 | 322.767 | 5.151 | 321.3 | 6.294 | 889.6 | 24.739 | 11.6469
2019-11-13 16:00:00 | 5.92 | 328.093 | 5.904 | 321.595 | 6.051 | 327.667 | 6.314 | 325.633 | 6.565 | 890 | 25.267 | 10.7907
2019-11-13 16:15:00 | 5.261 | 45.34 | 5.266 | 52.863 | 5.221 | 16.533 | 5.235 | 2.833 | 5.737 | 889.883 | 24.536 | 6.2068
2019-11-13 16:30:00 | 3.682 | 18.6 | 3.43 | 11.2 | 3.82 | 22.833 | 3.686 | 19.033 | 5.415 | 889.85 | 25.317 | 1.8375
2019-11-13 16:45:00 | 2.888 | 274.213 | 2.807 | 337.906 | 2.859 | 324.067 | 3.257 | 310.233 | 5.28 | 889.283 | 25.267 | 2.2063
2019-11-13 17:00:00 | 3.241 | 334.84 | 3.133 | 329.071 | 3.326 | 331.767 | 3.528 | 329.933 | 5.161 | 889.917 | 25.483 | 3.1336
2019-11-13 17:15:00 | 4.148 | 321.4 | 4.229 | 312.363 | 4.108 | 312.733 | 4.378 | 307.5 | 5.333 | 889.083 | 25.829 | 6.6438
2019-11-13 17:30:00 | 5.156 | 318.8 | 5.362 | 316.776 | 5.494 | 321.033 | 5.773 | 319.9 | 5.3 | 889.917 | 27.115 | 10.871
2019-11-13 17:45:00 | 4.354 | 316.96 | 4.297 | 311.706 | 4.479 | 316.7 | 4.751 | 316.467 | 5.554 | 889.8 | 28.451 | 10.2343
2019-11-13 18:00:00 | 3.501 | 323.48 | 3.879 | 314.26 | 4.298 | 317.433 | 4.891 | 317.6 | 5.717 | 889.433 | 30.155 | 9.9103
2019-11-13 18:15:00 | 4.064 | 308.28 | 4.819 | 304.139 | 5.188 | 309.367 | 5.706 | 306.733 | 5.336 | 889.633 | 33.848 | 7.5078
2019-11-13 18:30:00 | 3.462 | 288.86 | 3.829 | 289.307 | 3.91 | 295.2 | 3.944 | 299.567 | 5.26 | 889.667 | 34.728 | 8.3953
2019-11-13 18:45:00 | 4.751 | 292.96 | 6.328 | 296.099 | 7.072 | 301.267 | 7.74 | 298.733 | 4.758 | 889.617 | 40.411 | 11.1552
2019-11-13 19:00:00 | 4.849 | 291.187 | 6.153 | 290.288 | 6.812 | 295.4 | 7.396 | 292.333 | 4.516 | 889.633 | 44.597 | 12.042
2019-11-13 19:15:00 | 5.37 | 300.56 | 6.817 | 297.714 | 7.576 | 301.933 | 8.186 | 298.867 | 3.895 | 889.658 | 46.581 | 12.0299
2019-11-13 19:30:00 | 3.923 | 315.787 | 5.287 | 308.325 | 5.933 | 312.167 | 6.464 | 308 | 3.227 | 890.4 | 48.752 | 12.7753
2019-11-13 19:45:00 | 4.395 | 291.827 | 5.721 | 299.551 | 6.401 | 305.833 | 6.966 | 301.833 | 2.736 | 889.6 | 50.757 | 13.5668
2019-11-13 20:00:00 | 5.195 | 277.78 | 6.682 | 290.341 | 7.007 | 295.4 | 7.394 | 292.733 | 2.532 | 890.158 | 50.928 | 10.7601
2019-11-13 20:15:00 | 3.893 | 293.427 | 5.272 | 297.968 | 5.764 | 303.367 | 6.219 | 299.7 | 1.716 | 890.075 | 52.565 | 10.6549
2019-11-13 20:30:00 | 2.582 | 272.44 | 3.916 | 293.097 | 4.283 | 304.767 | 4.827 | 303.367 | 1.185 | 889.375 | 54.571 | 13.775
2019-11-13 20:45:00 | 5.262 | 263.353 | 6.004 | 285.084 | 6.425 | 292 | 6.745 | 290.5 | 0.882 | 890.042 | 55.765 | 12.4463
2019-11-13 21:00:00 | 4.778 | 255.587 | 5.461 | 273.88 | 5.681 | 284.8 | 5.91 | 284.133 | 0.266 | 889.408 | 57.141 | 11.9574
2019-11-13 21:15:00 | 4.842 | 273.893 | 5.724 | 291.848 | 5.933 | 303.567 | 6.318 | 298.733 | -0.692 | 890.142 | 60.379 | 15.4513
2019-11-13 21:30:00 | 4.714 | 269.947 | 5.695 | 287.374 | 6.228 | 293.1 | 6.938 | 292.2 | -0.872 | 890.242 | 60.731 | 14.5936
2019-11-13 21:45:00 | 5.008 | 251.053 | 5.744 | 270.716 | 5.764 | 277.467 | 6.144 | 278.9 | -0.862 | 890.092 | 62.096 | 14.6156
2019-11-13 22:00:00 | 4.299 | 266.02 | 5.027 | 278.947 | 5.355 | 286.533 | 5.715 | 287.333 | -1.64 | 889.892 | 63.824 | 14.1715
2019-11-13 22:15:00 | 5.481 | 254.853 | 5.945 | 277.606 | 6.241 | 283.933 | 6.788 | 283.867 | -0.658 | 890.1 | 62.501 | 9.4072
2019-11-13 22:30:00 | 4.685 | 262.787 | 5.193 | 283.183 | 5.505 | 292 | 5.992 | 292 | -1.809 | 889.408 | 64.443 | 9.9252
2019-11-13 22:45:00 | 5.296 | 267.873 | 5.211 | 276.844 | 5.519 | 288.867 | 6.031 | 289.9 | -2.28 | 890.167 | 67.493 | 15.5237
2019-11-13 23:00:00 | 6.68 | 258.633 | 6.65 | 271.272 | 6.735 | 279.033 | 6.908 | 278.833 | -1.922 | 889.908 | 67.413 | 22.5115
2019-11-13 23:15:00 | 5.656 | 260.593 | 6.106 | 271.386 | 6.382 | 280 | 6.979 | 280.433 | -1.416 | 889.417 | 66.011 | 32.8715
2019-11-13 23:30:00 | 6.526 | 244.807 | 7.288 | 257.711 | 7.704 | 265.167 | 8.199 | 261.3 | -1.974 | 889.667 | 68.165 | 42.5189
2019-11-13 23:45:00 | 6.256 | 257.1 | 7.39 | 263.194 | 7.753 | 269.333 | 8.284 | 267.25 | -1.74 | 890.05 | 67.835 | 38.2761