## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-14 00:00:00 | 5.709 | 289.293 | 7.191 | 286.272 | 7.64 | 290.9 | 8.326 | 288.8 | -1.453 | 889.975 | 65.787 | 26.2149
2019-11-14 00:15:00 | 4.765 | 260.08 | 6.849 | 277.915 | 7.341 | 284.767 | 8.038 | 284.3 | -1.706 | 889.792 | 64.981 | 21.4513
2019-11-14 00:30:00 | 5.06 | 257.927 | 6.385 | 272.087 | 6.733 | 278.667 | 7.359 | 275.667 | -2.32 | 889.767 | 66.859 | 23.5901
2019-11-14 00:45:00 | 3.952 | 258.773 | 6.266 | 259.467 | 6.29 | 271.033 | 6.521 | 267.767 | -3.334 | 889.717 | 69.76 | 20.0444
2019-11-14 01:00:00 | 3.808 | 244.433 | 5.628 | 261.551 | 5.865 | 272 | 6.349 | 268.033 | -3.79 | 890.442 | 72.939 | 10.92
2019-11-14 01:15:00 | 4.814 | 242.533 | 5.512 | 250.076 | 5.146 | 257.433 | 4.883 | 255.083 | -3.924 | 890.017 | 74.411 | 10.2933
2019-11-14 01:30:00 | 3.919 | 256.2 | 4.846 | 254.876 | 4.258 | 261.633 | 3.968 | 262.3 | -3.639 | 889.7 | 73.531 | 11.9901
2019-11-14 01:45:00 | 4.584 | 244.373 | 5.284 | 246.343 | 4.732 | 253.133 | 4.313 | 248.567 | -3.38 | 889.742 | 71.648 | 10.8262
2019-11-14 02:00:00 | 4.748 | 230.187 | 4.784 | 234.956 | 4.197 | 239.433 | 3.759 | 237.833 | -2.984 | 889.708 | 70.88 | 5.7229
2019-11-14 02:15:00 | 3.886 | 234.46 | 3.189 | 239.864 | 2.942 | 242.9 | 2.886 | 249.133 | -2.639 | 889.858 | 70.496 | 2.6504
2019-11-14 02:30:00 | 3.159 | 244.973 | 2.667 | 249.966 | 2.61 | 254.6 | 2.901 | 253.4 | -2.862 | 889.775 | 70.688 | 1.3472
2019-11-14 02:45:00 | 3.274 | 235.333 | 2.317 | 251.473 | 1.989 | 257.867 | 2.284 | 256 | -3.287 | 889.825 | 70.955 | 0.59972
2019-11-14 03:00:00 | 2.661 | 252.713 | 3.234 | 263.952 | 2.999 | 269.433 | 2.922 | 268.1 | -3.18 | 889.625 | 71.125 | 0.091663
2019-11-14 03:15:00 | 3.469 | 237.313 | 3.026 | 258.323 | 2.392 | 280.667 | 2.666 | 268.7 | -3.04 | 890.008 | 70.352 | 0.51303
2019-11-14 03:30:00 | 4.171 | 246.9 | 3.768 | 248.189 | 3.455 | 260.633 | 3.275 | 259.367 | -2.414 | 890.367 | 62.923 | 0.26859
2019-11-14 03:45:00 | 2.218 | 254.2 | 2.344 | 265.036 | 2.113 | 278.067 | 2.108 | 274.667 | -3.186 | 890.05 | 59.509 | 1.0076
2019-11-14 04:00:00 | 2.892 | 273.373 | 2.702 | 268.998 | 2.376 | 274.367 | 2.358 | 274.933 | -3.317 | 890.133 | 65.227 | 1.6528
2019-11-14 04:15:00 | 3.414 | 275.053 | 3.006 | 276.04 | 3.003 | 286.8 | 3.215 | 287.167 | -2.18 | 889.325 | 59.557 | 4.2087
2019-11-14 04:30:00 | 4.716 | 260.033 | 4.289 | 268.612 | 4.173 | 270.267 | 4.051 | 264.033 | -3.421 | 889.992 | 56.693 | 8.7862
2019-11-14 04:45:00 | 5.767 | 255.907 | 5.16 | 259.392 | 5.085 | 266.167 | 5.144 | 259.767 | -3.912 | 890.025 | 64.187 | 11.5964
2019-11-14 05:00:00 | 6.479 | 253.607 | 5.831 | 258.796 | 5.971 | 258.733 | 6.206 | 250.417 | -2.537 | 890.533 | 56.011 | 13.1348
2019-11-14 05:15:00 | 4.85 | 253.407 | 6.838 | 257.536 | 6.407 | 261.933 | 6.156 | 254.85 | -4.153 | 890.133 | 59.685 | 19.9953
2019-11-14 05:30:00 | 5.972 | 249.673 | 7.019 | 252.33 | 6.685 | 257.067 | 6.494 | 251.75 | -4.291 | 890.017 | 60.021 | 22.3104
2019-11-14 05:45:00 | 7.001 | 245.92 | 7.119 | 254.702 | 6.844 | 260.233 | 6.38 | 256.9 | -4.463 | 890.008 | 58.816 | 21.263
2019-11-14 06:00:00 | 5.815 | 238 | 7.299 | 251.339 | 6.574 | 257.667 | 6.282 | 256.333 | -3.958 | 889.708 | 57.152 | 24.2765
2019-11-14 06:15:00 | 6.12 | 237.133 | 7.478 | 246.814 | 6.931 | 254.533 | 6.442 | 253.267 | -3.706 | 889.758 | 55.328 | 29.8587
2019-11-14 06:30:00 | 6.289 | 224.733 | 8.226 | 242.51 | 7.047 | 251.3 | 7.172 | 251.4 | -3.472 | 890.158 | 54.005 | 31.7161
2019-11-14 06:45:00 | 5.802 | 226.387 | 7.797 | 242.86 | 7.199 | 254.133 | 7.139 | 255.3 | -3.3 | 889.783 | 53.067 | 24.9132
2019-11-14 07:00:00 | 5.494 | 223.2 | 6.867 | 235.895 | 6.277 | 246.233 | 5.964 | 245.983 | -3.154 | 889.667 | 50.763 | 20.0522
2019-11-14 07:15:00 | 4.223 | 213.2 | 5.77 | 227.751 | 6.24 | 241.967 | 5.924 | 241.033 | -3.337 | 890.15 | 50.56 | 16.3544
2019-11-14 07:30:00 | 2.156 | 261.6 | 2.563 | 237.879 | 3.515 | 238.8 | 4.258 | 236.4 | -3.504 | 889.908 | 50.325 | 11.6497
2019-11-14 07:45:00 | 3.067 | 214.527 | 3.076 | 226.163 | 3.697 | 239.667 | 4.212 | 244.133 | -2.361 | 889.758 | 48.096 | 8.9233
2019-11-14 08:00:00 | 3.4 | 239.247 | 3.612 | 230.943 | 3.288 | 239.033 | 3.883 | 237.233 | -3.04 | 890.158 | 49.109 | 10.0993
2019-11-14 08:15:00 | 4.97 | 222.467 | 4.488 | 232.983 | 4.798 | 243.633 | 4.867 | 242.9 | -2.598 | 890.175 | 48.8 | 10.6237
2019-11-14 08:30:00 | 4.655 | 226.187 | 5.599 | 225.568 | 5.148 | 236 | 4.693 | 234.867 | -2.405 | 890.375 | 47.595 | 9.9188
2019-11-14 08:45:00 | 5.772 | 220.067 | 5.5 | 224.521 | 5.225 | 235.067 | 4.998 | 234.533 | -3.689 | 889.775 | 49.899 | 11.6284
2019-11-14 09:00:00 | 6.189 | 216.733 | 6.284 | 221.864 | 5.884 | 229.267 | 5.592 | 227.133 | -3.004 | 889.558 | 47.957 | 11.7762
2019-11-14 09:15:00 | 5.898 | 215.387 | 5.823 | 217.144 | 5.272 | 225.6 | 5.007 | 225.133 | -1.915 | 889.683 | 45.515 | 8.4358
2019-11-14 09:30:00 | 5.962 | 215.7 | 5.148 | 220.917 | 4.443 | 229.7 | 4.388 | 230.833 | -0.678 | 889.608 | 41.168 | 6.8463
2019-11-14 09:45:00 | 5.092 | 212.88 | 5.214 | 215.639 | 4.628 | 226.667 | 4.347 | 227.933 | 0.216 | 889.392 | 40.64 | 6.4818
2019-11-14 10:00:00 | 4.686 | 214.66 | 4.709 | 214.817 | 4.332 | 224.3 | 4.43 | 225.9 | 0.665 | 889.567 | 39.968 | 7.2677
2019-11-14 10:15:00 | 3.631 | 220.253 | 5.111 | 220.807 | 4.732 | 232.3 | 4.554 | 234 | 1.539 | 889.517 | 38.475 | 9.4669
2019-11-14 10:30:00 | 3.6 | 218.833 | 4.668 | 222.564 | 4.713 | 234.7 | 4.831 | 233.367 | 3.154 | 889.85 | 35.04 | 8.8245
2019-11-14 10:45:00 | 4.048 | 228.5 | 4.422 | 231.492 | 4.718 | 239.4 | 4.826 | 234.567 | 4.603 | 889.95 | 31.275 | 9.9984
2019-11-14 11:00:00 | 4.707 | 231.947 | 4.81 | 233.792 | 5.078 | 238.633 | 5.245 | 230.9 | 5.537 | 889.833 | 27.675 | 9.97
2019-11-14 11:15:00 | 4.688 | 230.673 | 4.748 | 232.615 | 5.044 | 237.5 | 5.021 | 234.2 | 6.314 | 889.667 | 25.872 | 10.8276
2019-11-14 11:30:00 | 4.547 | 255.867 | 4.474 | 248.487 | 4.465 | 251.817 | 4.476 | 245.4 | 6.836 | 889.817 | 24.856 | 14.4373
2019-11-14 11:45:00 | 5.382 | 259.48 | 5.324 | 260.532 | 5.353 | 265.633 | 5.506 | 259.617 | 6.972 | 889.583 | 24.043 | 17.7379
2019-11-14 12:00:00 | 5.674 | 261.02 | 6.069 | 265.823 | 6.1 | 271.583 | 6.19 | 266.633 | 6.922 | 890.4 | 23.397 | 22.1995
2019-11-14 12:15:00 | 6.129 | 266.073 | 6.549 | 271.87 | 6.725 | 275.733 | 6.796 | 270.167 | 6.82 | 890.15 | 22.747 | 24.3731
2019-11-14 12:30:00 | 6.07 | 261.233 | 6.482 | 267.766 | 6.326 | 269.367 | 6.399 | 265.8 | 7.289 | 889.767 | 22.347 | 22.6266
2019-11-14 12:45:00 | 7.102 | 260.833 | 7.52 | 269.702 | 7.563 | 274.2 | 7.778 | 267.017 | 7.91 | 889.783 | 21.432 | 26.3222
2019-11-14 13:00:00 | 6.344 | 291.433 | 6.688 | 289.496 | 6.674 | 293.533 | 7.203 | 292.6 | 7.619 | 889.983 | 20.521 | 31.0347
2019-11-14 13:15:00 | 7.522 | 275.827 | 8.023 | 278.979 | 8.151 | 282.9 | 8.256 | 280.133 | 7.703 | 889.317 | 20.271 | 31.5755
2019-11-14 13:30:00 | 7.024 | 286.86 | 7.657 | 287.102 | 7.688 | 293.667 | 7.893 | 290.2 | 8.09 | 889.4 | 19.768 | 28.7936
2019-11-14 13:45:00 | 7.11 | 285.493 | 7.563 | 286.1 | 7.509 | 289.767 | 7.675 | 287.633 | 8.514 | 889.533 | 19.391 | 34.7829
2019-11-14 14:00:00 | 6.531 | 294.653 | 7.104 | 295.734 | 7.284 | 300.633 | 7.446 | 294.533 | 8.521 | 889.167 | 19.344 | 37.2294
2019-11-14 14:15:00 | 7.031 | 292.467 | 7.422 | 292.091 | 7.525 | 298.1 | 7.845 | 294.967 | 8.357 | 889.6 | 18.96 | 36.7064
2019-11-14 14:30:00 | 7.522 | 290.133 | 7.955 | 290.098 | 8.063 | 292.433 | 8.352 | 289.833 | 8.207 | 889.733 | 21.224 | 34.196
2019-11-14 14:45:00 | 7.333 | 296.493 | 7.602 | 296.861 | 7.854 | 300.167 | 8.062 | 297.033 | 8.167 | 889.567 | 21.493 | 37.2586
2019-11-14 15:00:00 | 6.868 | 285.587 | 7.352 | 290.078 | 7.285 | 293.467 | 7.696 | 291.167 | 8.26 | 889.483 | 21.275 | 38.4665
2019-11-14 15:15:00 | 7.124 | 301.48 | 7.265 | 297.829 | 7.28 | 302.767 | 7.555 | 299.567 | 8.666 | 889.667 | 21.037 | 42.2489
2019-11-14 15:30:00 | 9.05 | 302.733 | 9.258 | 301.173 | 9.455 | 305 | 9.896 | 301.5 | 8.524 | 889.2 | 20.675 | 40.9492
2019-11-14 15:45:00 | 8.356 | 293.653 | 8.612 | 293.609 | 8.842 | 297.467 | 9.277 | 294.667 | 8.841 | 889.733 | 20.712 | 37.2046
2019-11-14 16:00:00 | 7.467 | 288.787 | 7.678 | 291.546 | 7.753 | 297.267 | 8.147 | 294.3 | 8.649 | 889.817 | 21.789 | 34.9251
2019-11-14 16:15:00 | 7.197 | 292.733 | 7.751 | 293.727 | 8.006 | 296.967 | 8.191 | 293.467 | 8.458 | 889.383 | 22.504 | 35.5802
2019-11-14 16:30:00 | 7.12 | 300.187 | 7.54 | 297.883 | 7.646 | 303.3 | 8.094 | 300.533 | 8.511 | 889.767 | 23.912 | 35.7919
2019-11-14 16:45:00 | 7.437 | 293.4 | 7.897 | 294.889 | 7.943 | 298.833 | 8.385 | 295.633 | 8.474 | 889.783 | 24.405 | 34.6543
2019-11-14 17:00:00 | 6.975 | 289.567 | 7.338 | 292.409 | 7.453 | 297 | 7.911 | 295.567 | 8.384 | 889.567 | 25.512 | 39.0897
2019-11-14 17:15:00 | 7.752 | 289.6 | 8.315 | 290.439 | 8.567 | 295.367 | 8.989 | 292.8 | 8.14 | 889.65 | 25.747 | 42.1082
2019-11-14 17:30:00 | 7.736 | 292.2 | 8.279 | 292.853 | 8.492 | 297.8 | 8.73 | 295.767 | 7.689 | 889.183 | 26.853 | 38.603
2019-11-14 17:45:00 | 6.619 | 303.133 | 7.201 | 297.732 | 7.423 | 303.433 | 7.987 | 301.033 | 7.372 | 889.633 | 28.072 | 36.7072
2019-11-14 18:00:00 | 6.261 | 320.133 | 6.92 | 314.427 | 7.191 | 316.967 | 7.52 | 314.9 | 6.591 | 889.617 | 31.475 | 41.6506
2019-11-14 18:15:00 | 6.048 | 312.04 | 7.266 | 310.632 | 7.584 | 316.2 | 7.952 | 313.7 | 5.573 | 889.65 | 33.2 | 44.9171
2019-11-14 18:30:00 | 6.416 | 311.4 | 7.477 | 308.312 | 7.892 | 313.8 | 8.328 | 310.867 | 4.802 | 890.25 | 34.168 | 42.1252
2019-11-14 18:45:00 | 5.519 | 308.813 | 6.192 | 306.512 | 6.541 | 309.8 | 7.264 | 307.7 | 3.675 | 889.85 | 35.528 | 36.2218
2019-11-14 19:00:00 | 5.115 | 289.667 | 6.19 | 293.631 | 6.858 | 297.1 | 7.61 | 295.533 | 3.204 | 889.467 | 36.677 | 30.3732
2019-11-14 19:15:00 | 4.961 | 272.9 | 6.206 | 282.006 | 6.691 | 286.033 | 7.132 | 283.467 | 3.119 | 889.517 | 37.56 | 33.0705
2019-11-14 19:30:00 | 5.548 | 294.013 | 7.046 | 292.89 | 7.226 | 298.333 | 7.629 | 293.3 | 2.479 | 889.55 | 38.757 | 32.8566
2019-11-14 19:45:00 | 5.382 | 277.293 | 7.206 | 284.34 | 7.586 | 289.4 | 7.961 | 287.067 | 2.148 | 889.833 | 39.419 | 27.8897
2019-11-14 20:00:00 | 5.825 | 289.387 | 6.766 | 289.74 | 7.27 | 294.8 | 7.943 | 291.667 | 1.941 | 889.967 | 40.112 | 22.8092
2019-11-14 20:15:00 | 4.702 | 297.507 | 5.816 | 297.749 | 6.576 | 302.733 | 7.432 | 299.2 | 1.379 | 890.033 | 40.544 | 16.9733
2019-11-14 20:30:00 | 4.231 | 291.72 | 5.85 | 293.291 | 6.34 | 298.833 | 6.862 | 297.133 | 0.532 | 889.992 | 42.352 | 15.5408
2019-11-14 20:45:00 | 4.891 | 294.227 | 6.458 | 297.696 | 6.733 | 305.033 | 7.225 | 302.2 | 0.15 | 889.483 | 43.68 | 16.9435
2019-11-14 21:00:00 | 4.62 | 281.947 | 5.689 | 290.645 | 5.89 | 295.367 | 6.329 | 292.633 | -0.312 | 889.85 | 44.251 | 12.0434
2019-11-14 21:15:00 | 4.135 | 272.067 | 4.728 | 285.777 | 4.814 | 292.467 | 5.224 | 290.567 | -0.822 | 889.7 | 45.696 | 8.082
2019-11-14 21:30:00 | 4.584 | 242.82 | 4.701 | 266.213 | 4.461 | 276.067 | 4.723 | 276.567 | -1.065 | 890.417 | 48.245 | 6.9593
2019-11-14 21:45:00 | 4.708 | 234.067 | 4.217 | 253.835 | 4.118 | 268.2 | 4.389 | 271.567 | -1.292 | 889.617 | 49.557 | 5.4522
2019-11-14 22:00:00 | 5.16 | 229.573 | 4.263 | 241.241 | 3.921 | 259.133 | 4.046 | 265.8 | -1.58 | 889.725 | 50.411 | 8.3101
2019-11-14 22:15:00 | 5.461 | 244.133 | 5.056 | 250.158 | 4.783 | 262.267 | 4.862 | 264.933 | -1.132 | 890.225 | 50.496 | 11.4025
2019-11-14 22:30:00 | 4.798 | 249.673 | 5.393 | 264.851 | 5.304 | 274.533 | 5.603 | 276.133 | -0.356 | 889.892 | 49.099 | 9.5614
2019-11-14 22:45:00 | 3.958 | 239.407 | 4.663 | 262.073 | 4.455 | 269.733 | 4.294 | 271.633 | -2.291 | 890.058 | 54.123 | 7.8432
2019-11-14 23:00:00 | 4.288 | 247.327 | 4.162 | 265.189 | 3.892 | 273.267 | 3.881 | 272.533 | -2.476 | 889.758 | 56.155 | 6.6118
2019-11-14 23:15:00 | 5.018 | 248.94 | 4.695 | 259.369 | 4.326 | 265.267 | 4.268 | 260.667 | -1.473 | 889.758 | 54.885 | 11.9631
2019-11-14 23:30:00 | 5.574 | 242.213 | 5.544 | 246.311 | 5.456 | 252.467 | 5.396 | 246.567 | -0.489 | 890.175 | 46.08 | 19.1434
2019-11-14 23:45:00 | 4.855 | 265.733 | 5.391 | 259.049 | 5.247 | 259.117 | 5.399 | 255 | -1.603 | 889.658 | 46.501 | 18.2807