## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-15 00:00:00 | 5.506 | 260.653 | 5.7 | 267.024 | 5.192 | 276.067 | 4.947 | 271.533 | -1.693 | 890.133 | 44.987 | 14.0912
2019-11-15 00:15:00 | 5.317 | 242.887 | 3.907 | 262.818 | 3.472 | 274.8 | 3.28 | 271.767 | -1.892 | 889.658 | 44.688 | 13.3203
2019-11-15 00:30:00 | 4.612 | 243.133 | 4.65 | 248.821 | 4.312 | 253.4 | 3.991 | 251.783 | -2.23 | 889.6 | 43.339 | 13.3281
2019-11-15 00:45:00 | 5.918 | 238.467 | 5.057 | 241.698 | 4.719 | 248.467 | 4.982 | 245.933 | -1.282 | 889.683 | 40.203 | 12.5159
2019-11-15 01:00:00 | 5.784 | 236.767 | 4.597 | 241.766 | 4.2 | 245.2 | 3.922 | 245.833 | 0.465 | 889.617 | 35.579 | 13.915
2019-11-15 01:15:00 | 6.096 | 237.733 | 5.186 | 242.165 | 4.679 | 246.9 | 4.413 | 242.933 | -0.033 | 889.75 | 36.117 | 20.8971
2019-11-15 01:30:00 | 7.451 | 231.98 | 6.755 | 238.475 | 6.102 | 245.633 | 5.584 | 239.267 | -1.032 | 890 | 38.096 | 19.5853
2019-11-15 01:45:00 | 6.351 | 235.82 | 6.033 | 241.301 | 5.842 | 246.733 | 5.922 | 239.867 | 0 | 889.483 | 35.643 | 16.0382
2019-11-15 02:00:00 | 3.526 | 233.413 | 5.779 | 243.137 | 5.775 | 251.933 | 5.749 | 248.233 | -0.645 | 889.617 | 36.816 | 15.2147
2019-11-15 02:15:00 | 3.421 | 252.453 | 5.377 | 251.811 | 5.167 | 264.4 | 4.724 | 263.2 | -2.7 | 889.342 | 40.891 | 12.2658
2019-11-15 02:30:00 | 5.706 | 257.76 | 5.325 | 259.084 | 5.359 | 262.333 | 5.554 | 256.333 | -1.202 | 889.917 | 37.475 | 10.8667
2019-11-15 02:45:00 | 4.61 | 260.553 | 5.162 | 265.004 | 4.99 | 272.7 | 5.288 | 266.1 | -0.742 | 889.9 | 35.133 | 8.2419
2019-11-15 03:00:00 | 3.498 | 291.293 | 3.334 | 297.71 | 3.23 | 298.633 | 3.488 | 271.9 | 0.465 | 890.15 | 34.784 | 4.6919
2019-11-15 03:15:00 | 3.264 | 297.467 | 2.969 | 295.408 | 2.975 | 281.8 | 3.514 | 274.633 | 0.283 | 889.867 | 41.205 | 4.3181
2019-11-15 03:30:00 | 4.209 | 260.893 | 3.421 | 269.442 | 3.574 | 276.3 | 3.646 | 270.233 | -0.11 | 889.75 | 43.328 | 2.6348
2019-11-15 03:45:00 | 3.195 | 246.153 | 3.142 | 260.59 | 2.939 | 264.4 | 3.158 | 257.417 | -1.409 | 889.7 | 35.28 | 4.5036
2019-11-15 04:00:00 | 3.112 | 267.46 | 2.688 | 262.059 | 3.13 | 263.9 | 3.858 | 257.433 | -1.069 | 890.033 | 36.429 | 11.3783
2019-11-15 04:15:00 | 3.601 | 254.327 | 2.711 | 244.474 | 3.212 | 249.817 | 4.591 | 245.033 | -0.572 | 889.483 | 36.571 | 17.3108
2019-11-15 04:30:00 | 3.62 | 242.22 | 4.635 | 232.468 | 5.987 | 233.5 | 6.249 | 230.633 | -1.089 | 889.233 | 37.2 | 14.5496
2019-11-15 04:45:00 | 4.211 | 226.5 | 5.364 | 227.114 | 5.181 | 241.3 | 5.286 | 240.167 | -1.299 | 889.233 | 37.221 | 18.4847
2019-11-15 05:00:00 | 5.894 | 215.68 | 6.858 | 220.614 | 6.313 | 232.433 | 5.998 | 231.867 | -1.269 | 889.567 | 36.773 | 16.8525
2019-11-15 05:15:00 | 5.854 | 219.96 | 6.038 | 225.398 | 6.039 | 235.8 | 5.794 | 234.3 | -0.975 | 889.817 | 35.152 | 17.2604
2019-11-15 05:30:00 | 6.67 | 220 | 6.552 | 222.334 | 6.328 | 229.1 | 6 | 227.433 | -0.598 | 889.8 | 34.064 | 19.8106
2019-11-15 05:45:00 | 6.347 | 217.713 | 6.408 | 223.451 | 6.086 | 229.2 | 5.866 | 227.533 | -1.529 | 889.983 | 34.624 | 16.7452
2019-11-15 06:00:00 | 6.026 | 214.947 | 7.011 | 214.74 | 6.481 | 218.267 | 5.765 | 217.367 | -2.63 | 890.05 | 36.72 | 18.5763
2019-11-15 06:15:00 | 5.877 | 217.173 | 7.243 | 215.79 | 6.786 | 218.267 | 6.181 | 215.8 | -2.362 | 890.117 | 36.315 | 15.0327
2019-11-15 06:30:00 | 5.784 | 223.313 | 5.668 | 229.153 | 4.856 | 237.1 | 3.974 | 237.7 | -2.246 | 889.567 | 36.309 | 9.8733
2019-11-15 06:45:00 | 5.32 | 227.127 | 5.078 | 234.939 | 4.385 | 244.3 | 3.859 | 242.5 | -2.548 | 889.583 | 36.848 | 7.0524
2019-11-15 07:00:00 | 5.242 | 238.273 | 4.52 | 258.998 | 4.113 | 270.4 | 3.905 | 266.4 | -2.557 | 889.483 | 36.243 | 5.7748
2019-11-15 07:15:00 | 5.764 | 231.46 | 4.33 | 248.276 | 3.747 | 254.133 | 3.652 | 249.467 | -1.032 | 889.967 | 33.776 | 7.8489
2019-11-15 07:30:00 | 5.875 | 221 | 5.948 | 241.451 | 6.263 | 255.467 | 6.773 | 258.767 | -3.304 | 889.433 | 37.339 | 8.087
2019-11-15 07:45:00 | 5.934 | 224.647 | 4.25 | 232.486 | 4.16 | 245.467 | 4.15 | 247.7 | -1.429 | 889.883 | 34 | 3.9394
2019-11-15 08:00:00 | 5.136 | 225.447 | 3.726 | 226.559 | 3.535 | 231.9 | 3.474 | 226.8 | -1.082 | 889.617 | 32.763 | 3.0242
2019-11-15 08:15:00 | 6.44 | 224.893 | 4.299 | 226.092 | 3.738 | 230.267 | 3.893 | 224.133 | -0.768 | 889.933 | 31.472 | 5.45
2019-11-15 08:30:00 | 6.429 | 220.3 | 4.622 | 225.042 | 4.15 | 226.933 | 4.091 | 224.367 | -1.7 | 889.767 | 32.763 | 3.8079
2019-11-15 08:45:00 | 5.038 | 223.873 | 3.658 | 227.843 | 3.643 | 238.733 | 3.903 | 244.433 | 0.056 | 889.817 | 29.632 | 8.6966
2019-11-15 09:00:00 | 5.577 | 224.88 | 4.109 | 229.055 | 3.138 | 234.067 | 2.644 | 233.2 | 1.459 | 890.283 | 27.275 | 10.4055
2019-11-15 09:15:00 | 5.598 | 228.393 | 4.31 | 232.764 | 3.411 | 241.433 | 2.851 | 239.8 | 0.017 | 889.633 | 29.163 | 8.892
2019-11-15 09:30:00 | 4.848 | 232.68 | 4.732 | 236.912 | 3.87 | 244.867 | 3.011 | 241.4 | 0.529 | 889.25 | 29.541 | 6.6964
2019-11-15 09:45:00 | 4.959 | 233.707 | 4.855 | 239.998 | 4.241 | 251.967 | 3.636 | 257.333 | 2.205 | 889.55 | 28 | 6.6502
2019-11-15 10:00:00 | 3.907 | 235.567 | 3.521 | 244.624 | 2.995 | 257.333 | 2.973 | 268.367 | 2.716 | 890.133 | 27.555 | 5.4671
2019-11-15 10:15:00 | 3.284 | 244.58 | 2.625 | 255.868 | 2.802 | 270 | 3.391 | 273.667 | 3.98 | 889.883 | 25.611 | 6.8435
2019-11-15 10:30:00 | 2.856 | 267.46 | 2.751 | 265.324 | 2.757 | 272.367 | 3.446 | 262.533 | 5.646 | 889.833 | 24.235 | 6.7575
2019-11-15 10:45:00 | 2.476 | 279.573 | 2.384 | 276.223 | 2.732 | 277.9 | 3.819 | 263.933 | 4.15 | 889.65 | 24.435 | 8.7172
2019-11-15 11:00:00 | 2.653 | 330.267 | 2.359 | 322.814 | 2.055 | 313.667 | 2.478 | 272.733 | 3.922 | 889.967 | 25.576 | 6.658
2019-11-15 11:15:00 | 2.268 | 314 | 1.864 | 298.501 | 1.357 | 289 | 2.348 | 248.033 | 3.037 | 889.533 | 28.021 | 2.7591
2019-11-15 11:30:00 | 1.244 | 301.067 | 1.073 | 285.972 | 2.295 | 270.433 | 4.531 | 264.067 | 3.338 | 889.6 | 29.693 | 5.1331
2019-11-15 11:45:00 | 1.532 | 322.133 | 1.438 | 289.594 | 2.876 | 276.8 | 4.604 | 263.9 | 4.835 | 889.567 | 28.925 | 12.9209
2019-11-15 12:00:00 | 3.977 | 308.053 | 4.606 | 289.617 | 4.895 | 287.333 | 5.769 | 282.533 | 6.65 | 889.483 | 24.029 | 43.8349
2019-11-15 12:15:00 | 10.072 | 254.553 | 10.758 | 259.579 | 10.829 | 265.267 | 10.694 | 260.067 | 8.695 | 889.667 | 18.299 | 74.2208
2019-11-15 12:30:00 | 9.59 | 254.407 | 10.458 | 261.508 | 10.886 | 264.8 | 11.019 | 262.283 | 9.266 | 889.7 | 17.811 | 78.1488
2019-11-15 12:45:00 | 10.72 | 252.96 | 11.36 | 261.588 | 11.71 | 265.133 | 11.904 | 260.95 | 8.578 | 889.433 | 17.64 | 77.9712
2019-11-15 13:00:00 | 9.832 | 246.567 | 10.764 | 256.016 | 10.93 | 261.467 | 11.178 | 256.85 | 8.651 | 889.4 | 18.005 | 71.7864
2019-11-15 13:15:00 | 8.718 | 251.507 | 9.853 | 257.582 | 10.129 | 262.25 | 10.21 | 257.883 | 8.003 | 889.7 | 17.667 | 57.3918
2019-11-15 13:30:00 | 8.244 | 261.427 | 9.254 | 266.365 | 9.474 | 270.7 | 9.632 | 267.9 | 8.106 | 889.667 | 16.351 | 38.9923
2019-11-15 13:45:00 | 7.189 | 264.4 | 8.077 | 269.75 | 8.481 | 275.2 | 8.771 | 270.233 | 7.789 | 889.233 | 16.385 | 27.8421
2019-11-15 14:00:00 | 6.18 | 272.133 | 6.721 | 277.927 | 6.774 | 282.433 | 6.787 | 277.6 | 7.869 | 889.467 | 16.673 | 25.1633
2019-11-15 14:15:00 | 6.391 | 285.333 | 6.639 | 286.333 | 6.791 | 290.7 | 7.156 | 288.467 | 8.09 | 889.367 | 16.885 | 24.0733
2019-11-15 14:30:00 | 6.259 | 290.16 | 6.609 | 288.832 | 6.832 | 294.133 | 7.234 | 292.433 | 7.95 | 889.267 | 17.132 | 20.1815
2019-11-15 14:45:00 | 5.3 | 300.04 | 5.486 | 296.179 | 5.585 | 300.533 | 5.933 | 296.2 | 8.08 | 889.267 | 17.261 | 14.3407
2019-11-15 15:00:00 | 4.587 | 303.173 | 4.905 | 298.733 | 5.14 | 303.333 | 5.302 | 298.867 | 8.164 | 889.267 | 17.399 | 10.8958
2019-11-15 15:15:00 | 4.529 | 308.6 | 4.697 | 302.804 | 4.905 | 304.2 | 5.093 | 301.733 | 7.772 | 889.233 | 17.305 | 13.8696
2019-11-15 15:30:00 | 5.053 | 318.227 | 5.242 | 310.892 | 5.393 | 314.167 | 5.568 | 307.567 | 8.083 | 889.6 | 17.439 | 17.4366
2019-11-15 15:45:00 | 5.273 | 319.293 | 5.735 | 312.305 | 5.888 | 315.867 | 6.193 | 310.8 | 7.95 | 889.433 | 17.456 | 18.7064
2019-11-15 16:00:00 | 5.727 | 335.48 | 5.903 | 327.865 | 6.124 | 331.3 | 6.316 | 330.467 | 8.387 | 889.433 | 17.483 | 21.4421
2019-11-15 16:15:00 | 5.705 | 333.467 | 5.905 | 328.072 | 5.94 | 332.967 | 6.092 | 331.567 | 7.506 | 889.767 | 19.488 | 14.3051
2019-11-15 16:30:00 | 5.038 | 338.333 | 5.227 | 330.217 | 5.348 | 333.167 | 5.716 | 331.4 | 7.139 | 889.517 | 20.907 | 10.7047
2019-11-15 16:45:00 | 5.11 | 331.093 | 5.512 | 336.192 | 5.707 | 340.733 | 5.927 | 339.133 | 6.922 | 890.183 | 21.109 | 6.6552
2019-11-15 17:00:00 | 4.229 | 345.667 | 4.453 | 336.687 | 4.802 | 341.933 | 5.128 | 338 | 6.922 | 889.983 | 20.939 | 5.7932
2019-11-15 17:15:00 | 5.576 | 339.733 | 6.108 | 333.515 | 6.409 | 337.9 | 6.679 | 336.533 | 7.356 | 889.8 | 20.345 | 9.2025
2019-11-15 17:30:00 | 5.185 | 333.893 | 5.302 | 340.001 | 5.476 | 341.5 | 5.833 | 339.467 | 7.156 | 889.783 | 20.564 | 12.5493
2019-11-15 17:45:00 | 4.728 | 340.067 | 4.93 | 334.118 | 4.948 | 341.3 | 5.342 | 341.2 | 6.889 | 889.7 | 20.723 | 11.0792
2019-11-15 18:00:00 | 5.18 | 339.8 | 5.709 | 332.758 | 5.787 | 331.833 | 6.235 | 331.233 | 7.122 | 889.933 | 21.531 | 12.1713
2019-11-15 18:15:00 | 6.262 | 318.373 | 6.815 | 315.025 | 7.219 | 318.767 | 7.639 | 316.367 | 6.37 | 889.85 | 21.579 | 17.0557
2019-11-15 18:30:00 | 5.311 | 316.48 | 6.112 | 313.276 | 6.457 | 317.933 | 6.694 | 317.633 | 6.314 | 889.633 | 22.139 | 21.3646
2019-11-15 18:45:00 | 4.859 | 313.333 | 5.988 | 310.072 | 6.357 | 314.867 | 7.032 | 314.3 | 5.762 | 889.65 | 22.939 | 15.6566
2019-11-15 19:00:00 | 4.886 | 322.04 | 5.988 | 314.798 | 6.429 | 318.733 | 6.943 | 316.567 | 5.26 | 889.85 | 23.568 | 10.4496
2019-11-15 19:15:00 | 4.48 | 316.68 | 5.221 | 310.986 | 5.802 | 313.533 | 6.479 | 310.4 | 5.319 | 889.8 | 24.056 | 3.2949
2019-11-15 19:30:00 | 4.167 | 318.667 | 4.94 | 310.981 | 5.436 | 313.3 | 5.913 | 312.6 | 5.166 | 889.983 | 24.605 | 1.5277
2019-11-15 19:45:00 | 4.192 | 315.44 | 5.186 | 310.395 | 5.896 | 310.567 | 6.604 | 306.9 | 4.978 | 889.617 | 25.16 | 3.2864
2019-11-15 20:00:00 | 4.773 | 320.6 | 5.628 | 310.861 | 6.26 | 314.233 | 6.931 | 309.4 | 4.735 | 890.067 | 25.397 | 12.2686
2019-11-15 20:15:00 | 6.769 | 300 | 7.894 | 301.853 | 8.662 | 305.667 | 9.408 | 303.033 | 4.769 | 889.767 | 25.411 | 20.1865
2019-11-15 20:30:00 | 7.253 | 293.32 | 8.254 | 293.548 | 8.895 | 297.9 | 9.633 | 296.267 | 4.534 | 889.867 | 25.829 | 25.0887
2019-11-15 20:45:00 | 6.466 | 276.693 | 7.448 | 281.25 | 7.948 | 284.033 | 8.429 | 282.267 | 4.048 | 889.75 | 26.507 | 23.6491
2019-11-15 21:00:00 | 5.685 | 280.707 | 6.95 | 285.421 | 7.441 | 289.133 | 7.932 | 286.933 | 4.325 | 889.4 | 27 | 32.9809
2019-11-15 21:15:00 | 7.348 | 287.5 | 8.59 | 292.504 | 8.985 | 297.1 | 9.738 | 293.833 | 3.889 | 889.667 | 27.136 | 47.2577
2019-11-15 21:30:00 | 8.223 | 290.067 | 9.155 | 293.609 | 9.593 | 297.433 | 10.235 | 294.333 | 3.872 | 889.85 | 27.355 | 48.6141
2019-11-15 21:45:00 | 7.187 | 292.533 | 8.197 | 293.434 | 8.729 | 296.767 | 9.289 | 294.933 | 3.555 | 889.683 | 28.373 | 40.6217
2019-11-15 22:00:00 | 7.425 | 296.3 | 8.547 | 300.598 | 9.123 | 303.767 | 9.895 | 300.867 | 3.422 | 889.517 | 29.88 | 28.7716
2019-11-15 22:15:00 | 5.426 | 291.533 | 6.144 | 292.476 | 6.503 | 297.467 | 6.874 | 295.067 | 3.104 | 889.9 | 30.664 | 33.5224
2019-11-15 22:30:00 | 6.611 | 300.667 | 7.358 | 300.27 | 7.935 | 305.867 | 8.48 | 303.667 | 3.455 | 889.683 | 31.184 | 28.3722
2019-11-15 22:45:00 | 5.92 | 307.4 | 6.625 | 305.456 | 7.06 | 311.6 | 7.638 | 308.433 | 3.387 | 889.85 | 31.952 | 17.8551
2019-11-15 23:00:00 | 5.051 | 307.147 | 5.736 | 302.937 | 5.93 | 306.267 | 6.377 | 302.6 | 2.86 | 889.817 | 32.003 | 23.0835
2019-11-15 23:15:00 | 5.532 | 304.8 | 6.416 | 304.432 | 6.93 | 308.067 | 7.569 | 305.133 | 2.783 | 889.433 | 32.373 | 59.7757
2019-11-15 23:30:00 | 10.004 | 308.253 | 10.863 | 307.526 | 11.444 | 314.233 | 11.938 | 311.967 | 2.054 | 889.875 | 43.621 | 78.2625
2019-11-15 23:45:00 | 9.086 | 298.813 | 9.925 | 300.443 | 10.595 | 304.333 | 11.214 | 303 | 1.342 | 889.992 | 51.115 | 76.624