## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-16 00:00:00 | 10.083 | 284.933 | 11.334 | 288.584 | 11.625 | 291.867 | 12.258 | 289.5 | 0.965 | 890.1 | 56.901 | 76.6197
2019-11-16 00:15:00 | 9.478 | 294.093 | 10.696 | 294.168 | 11.17 | 298.067 | 12.11 | 295.367 | 0.465 | 889.933 | 70.784 | 74.0034
2019-11-16 00:30:00 | 8.783 | 270.573 | 10.116 | 281.88 | 10.762 | 285.6 | 11.482 | 284.267 | -0.645 | 889.954 | 87.648 | 72.8061
2019-11-16 00:45:00 | 9.5 | 267.58 | 10.887 | 277.56 | 11.742 | 279.6 | 12.567 | 277.167 | -1.048 | 889.592 | 91.179 | 77.7808
2019-11-16 01:00:00 | 9.068 | 254.46 | 10.298 | 259.717 | 10.875 | 265.95 | 11.174 | 263.833 | -1.059 | 890.542 | 92.235 | 79.2467
2019-11-16 01:15:00 | 10.101 | 247.707 | 10.974 | 259.872 | 11.581 | 264.733 | 11.761 | 262.35 | -0.795 | 890.208 | 89.568 | 78.8829
2019-11-16 01:30:00 | 10.157 | 271.413 | 11.157 | 273.618 | 11.514 | 278.233 | 11.757 | 274.633 | -0.289 | 889.742 | 86.571 | 72.9951
2019-11-16 01:45:00 | 8.165 | 253.32 | 8.977 | 263.255 | 9.554 | 268.233 | 9.687 | 265.9 | -0.598 | 889.871 | 83.755 | 77.5491
2019-11-16 02:00:00 | 10.471 | 252.767 | 11.471 | 262.893 | 11.892 | 267.633 | 12.379 | 265.083 | -0.558 | 889.479 | 81.787 | 78.9702
2019-11-16 02:15:00 | 9.209 | 265.073 | 10.728 | 267.585 | 11.148 | 271.8 | 11.375 | 268.4 | -0.525 | 890.15 | 80.56 | 77.4695
2019-11-16 02:30:00 | 10.318 | 250.18 | 11.74 | 262.386 | 12.269 | 268 | 12.602 | 264.033 | -0.518 | 890.092 | 80.277 | 79.2353
2019-11-16 02:45:00 | 12.05 | 256.84 | 13.758 | 266.83 | 14.344 | 270.233 | 14.704 | 266.667 | -0.782 | 889.804 | 82.165 | 79.2353
2019-11-16 03:00:00 | 11.972 | 251.113 | 13.375 | 264.004 | 13.881 | 268.033 | 14.072 | 265.767 | -1.182 | 890.158 | 80.037 | 79.2353
2019-11-16 03:15:00 | 12.082 | 252.58 | 13.673 | 261.127 | 14.32 | 265.267 | 14.522 | 259.75 | -1.292 | 890.017 | 80.075 | 79.5152
2019-11-16 03:30:00 | 11.674 | 258.48 | 12.805 | 262.944 | 13.636 | 268.85 | 14.121 | 262.667 | -1.72 | 889.85 | 80.101 | 79.3511
2019-11-16 03:45:00 | 12.272 | 252.127 | 14.557 | 266.632 | 15.426 | 271.967 | 15.982 | 268.1 | -1.996 | 890.025 | 81.685 | 79.3575
2019-11-16 04:00:00 | 15.067 | 256.393 | 16.743 | 263.363 | 17.14 | 266.267 | 17.404 | 262.3 | -2.467 | 889.483 | 79.573 | 78.9823
2019-11-16 04:15:00 | 15.704 | 247.493 | 17.066 | 256.587 | 18.152 | 260.35 | 18.225 | 256.867 | -2.65 | 889.658 | 75.403 | 79.1522
2019-11-16 04:30:00 | 14.939 | 247.933 | 16.429 | 256.612 | 16.902 | 260.333 | 17.258 | 256.567 | -2.691 | 889.958 | 73.584 | 79.2999
2019-11-16 04:45:00 | 14.563 | 247.1 | 16.033 | 255.123 | 16.437 | 258.183 | 16.632 | 253 | -2.74 | 889.683 | 72.309 | 78.6562
2019-11-16 05:00:00 | 13.468 | 243.74 | 15.499 | 251.366 | 15.76 | 258.217 | 15.857 | 253.717 | -2.781 | 890.117 | 72.299 | 77.3629
2019-11-16 05:15:00 | 14.864 | 247.093 | 17.135 | 253.519 | 17.944 | 259.117 | 18.204 | 256.867 | -2.834 | 889.967 | 71.605 | 78.5659
2019-11-16 05:30:00 | 15.47 | 246.8 | 17.373 | 255.681 | 18.524 | 260.133 | 18.626 | 255.4 | -3.689 | 890.125 | 71.045 | 78.9383
2019-11-16 05:45:00 | 16.625 | 247.567 | 19.052 | 255.277 | 19.94 | 260.167 | 20.48 | 257.733 | -3.823 | 889.717 | 71.643 | 78.4537
2019-11-16 06:00:00 | 18.245 | 246.44 | 20.832 | 258.777 | 21.658 | 262.167 | 22.106 | 259.433 | -4.079 | 889.9 | 70.997 | 75.3492
2019-11-16 06:15:00 | 19.333 | 256.467 | 22.682 | 264.207 | 23.803 | 267.7 | 25.056 | 265.367 | -4.444 | 890.242 | 68.699 | 58.2373
2019-11-16 06:30:00 | 20.291 | 252.953 | 22.955 | 262.186 | 24.001 | 266.533 | 24.499 | 262.9 | -4.464 | 890.333 | 65.707 | 39.4421
2019-11-16 06:45:00 | 19.535 | 247.04 | 22.503 | 258.462 | 23.348 | 264.2 | 24.025 | 260.683 | -4.729 | 889.9 | 63.339 | 24.4989
2019-11-16 07:00:00 | 14.747 | 274.613 | 16.692 | 280.554 | 17.716 | 281.367 | 18.442 | 279.967 | -4.709 | 889.675 | 67.835 | 66.1204
2019-11-16 07:15:00 | 12.801 | 302.867 | 14.082 | 303.882 | 15.273 | 306.167 | 17.15 | 304.867 | -6.893 | 889.733 | 71.957 | 79.1088
2019-11-16 07:30:00 | 13.714 | 303.187 | 15.028 | 305.279 | 15.966 | 309.267 | 17.427 | 305.867 | -8.01 | 889.742 | 72.981 | 78.9312
2019-11-16 07:45:00 | 15.297 | 290.853 | 17.532 | 297.078 | 18.849 | 302.2 | 20.465 | 299.667 | -8.508 | 890.025 | 73.669 | 78.7002
2019-11-16 08:00:00 | 17.147 | 283.44 | 19.6 | 291.297 | 20.785 | 293.8 | 22.384 | 292.033 | -8.724 | 889.85 | 72.587 | 78.4132
2019-11-16 08:15:00 | 15.123 | 266.207 | 17.407 | 279.24 | 18.371 | 281.2 | 19.127 | 280.533 | -9.108 | 889.792 | 73.168 | 77.6948
2019-11-16 08:30:00 | 13.38 | 264.3 | 15.375 | 274.483 | 16.319 | 278.1 | 16.838 | 277.533 | -9.091 | 889.508 | 72.832 | 78.1502
2019-11-16 08:45:00 | 11.356 | 265.113 | 12.994 | 275.784 | 14.029 | 278.6 | 14.746 | 274.6 | -9.274 | 890.067 | 70.08 | 78.2284
2019-11-16 09:00:00 | 10.581 | 277.493 | 12.899 | 281.352 | 14.019 | 281 | 14.681 | 281.333 | -9.224 | 890.25 | 69.803 | 78.2384
2019-11-16 09:15:00 | 10.231 | 280.653 | 12 | 282.148 | 12.599 | 282.233 | 13.617 | 280.9 | -9.391 | 889.742 | 68.715 | 78.2171
2019-11-16 09:30:00 | 10.576 | 273.547 | 12.033 | 280.078 | 12.526 | 281.233 | 13.401 | 279.867 | -9.074 | 890.325 | 67.472 | 78.4224
2019-11-16 09:45:00 | 12.081 | 294.747 | 12.731 | 296.039 | 13.37 | 301.767 | 13.984 | 298.9 | -9.778 | 889.875 | 70.816 | 79.1344
2019-11-16 10:00:00 | 10.699 | 297.733 | 11.792 | 297.036 | 12.638 | 299.567 | 13.211 | 296.3 | -10.399 | 890.15 | 75.728 | 79.1195
2019-11-16 10:15:00 | 10.317 | 275.093 | 11.429 | 281.644 | 11.814 | 282.233 | 12.311 | 280.867 | -10.062 | 890.1 | 74.576 | 79.187
2019-11-16 10:30:00 | 11.77 | 269.287 | 13.18 | 278.834 | 13.279 | 279.933 | 13.547 | 278.667 | -9.174 | 889.775 | 63.189 | 79.1358
2019-11-16 10:45:00 | 12.562 | 256.713 | 13.812 | 273.352 | 14.334 | 276.2 | 14.471 | 273.667 | -9.258 | 889.875 | 62.496 | 78.9454
2019-11-16 11:00:00 | 13.028 | 248.013 | 14.045 | 262.833 | 14.834 | 266.7 | 14.809 | 263.867 | -8.341 | 889.775 | 59.152 | 78.6668
2019-11-16 11:15:00 | 16.165 | 234.367 | 17.784 | 258.496 | 17.948 | 262.267 | 17.602 | 256.75 | -8.11 | 890.35 | 55.52 | 78.114
2019-11-16 11:30:00 | 15.973 | 248.893 | 17.236 | 260.19 | 17.545 | 264.767 | 17.415 | 260.45 | -7.506 | 890.142 | 50.661 | 75.1112
2019-11-16 11:45:00 | 17.313 | 247.587 | 19.043 | 255.662 | 19.547 | 260.267 | 19.15 | 256.483 | -7.639 | 890.175 | 47.115 | 73.6225
2019-11-16 12:00:00 | 17.176 | 240.113 | 18.93 | 264.083 | 19.432 | 268.2 | 19.721 | 265.167 | -8.227 | 890.283 | 48.299 | 70.8435
2019-11-16 12:15:00 | 16.018 | 245.56 | 17.643 | 267.439 | 17.852 | 269.8 | 18.108 | 266.3 | -8.424 | 889.867 | 49.6 | 62.7508
2019-11-16 12:30:00 | 15.22 | 244.833 | 17.311 | 266.465 | 17.621 | 270.167 | 17.781 | 268.733 | -7.99 | 889.8 | 49.323 | 59.1064
2019-11-16 12:45:00 | 14.66 | 256.433 | 15.724 | 271.286 | 15.939 | 273.3 | 16.506 | 271.1 | -8.03 | 889.983 | 50.352 | 60.3875
2019-11-16 13:00:00 | 14.383 | 260.827 | 15.715 | 276.001 | 16.229 | 277.3 | 16.873 | 275.767 | -8.291 | 889.575 | 49.525 | 64.6957
2019-11-16 13:15:00 | 16.611 | 252.267 | 18.216 | 271.955 | 18.603 | 275.867 | 19.167 | 273.067 | -8.25 | 889.525 | 47.531 | 69.0912
2019-11-16 13:30:00 | 15.008 | 250.26 | 16.496 | 268.846 | 16.704 | 273.533 | 17.018 | 271.167 | -8.271 | 890.183 | 47.627 | 67.0675
2019-11-16 13:45:00 | 14.61 | 239.167 | 16.256 | 267.874 | 16.887 | 270.333 | 17.165 | 268.567 | -8.331 | 889.8 | 47.152 | 63.9219
2019-11-16 14:00:00 | 16.103 | 266.307 | 17.379 | 275.057 | 17.466 | 277.833 | 17.843 | 274.567 | -8.317 | 889.617 | 44.603 | 60.5367
2019-11-16 14:15:00 | 14.688 | 268.42 | 16.151 | 278.847 | 16.257 | 281.433 | 16.649 | 279.167 | -8.541 | 889.992 | 44.261 | 59.5675
2019-11-16 14:30:00 | 15.523 | 256.18 | 17.139 | 275.877 | 17.316 | 276.967 | 17.834 | 273.333 | -8.11 | 890 | 43.648 | 62.4211
2019-11-16 14:45:00 | 16.425 | 246.007 | 18.302 | 268.47 | 18.655 | 271.9 | 19.147 | 268.433 | -8.758 | 890.192 | 44.08 | 63.2795
2019-11-16 15:00:00 | 17.045 | 256.36 | 19.301 | 272.125 | 20.092 | 274.7 | 20.411 | 272.667 | -8.688 | 889.8 | 43.248 | 61.3944
2019-11-16 15:15:00 | 16.073 | 260.733 | 17.576 | 276.954 | 18.761 | 279.033 | 19.24 | 275.533 | -8.07 | 889.35 | 40.069 | 59.7906
2019-11-16 15:30:00 | 17.875 | 248.233 | 19.981 | 270.617 | 20.757 | 272.6 | 20.922 | 270.367 | -8.574 | 889.65 | 40.435 | 64.5479
2019-11-16 15:45:00 | 19.192 | 258.933 | 20.592 | 273.915 | 21.112 | 275.433 | 21.34 | 274.467 | -9.358 | 889.85 | 42.427 | 70.1606
2019-11-16 16:00:00 | 16.448 | 264.347 | 18.02 | 276.124 | 18.634 | 277.033 | 19.159 | 275.233 | -9.524 | 889.558 | 44.565 | 72.1154
2019-11-16 16:15:00 | 15.926 | 257.82 | 17.421 | 276.566 | 17.592 | 276.633 | 18.077 | 274.967 | -9.849 | 890.083 | 43.472 | 73.9423
2019-11-16 16:30:00 | 16.436 | 249.853 | 17.983 | 270.471 | 18.865 | 272.2 | 18.985 | 270.733 | -9.891 | 890.217 | 43.408 | 72.6419
2019-11-16 16:45:00 | 14.591 | 266.22 | 15.827 | 275.919 | 16.577 | 278.767 | 16.841 | 276.1 | -10.485 | 890.083 | 44.981 | 72.6824
2019-11-16 17:00:00 | 13.272 | 259.4 | 15.009 | 275.153 | 15.327 | 276.4 | 15.759 | 274.867 | -10.266 | 889.692 | 44.309 | 73.0441
2019-11-16 17:15:00 | 13.938 | 246.233 | 15.461 | 269.064 | 15.978 | 272.6 | 16.081 | 271.833 | -10.233 | 889.625 | 44.672 | 76.0335
2019-11-16 17:30:00 | 13.908 | 248.76 | 15.47 | 269.484 | 15.825 | 273.033 | 16.089 | 271.067 | -10.628 | 889.692 | 46.048 | 76.2793
2019-11-16 17:45:00 | 12.127 | 245.24 | 13.442 | 263.723 | 13.855 | 267.5 | 14.248 | 263.467 | -10.984 | 890 | 47.467 | 77.7104
2019-11-16 18:00:00 | 13.139 | 247.6 | 14.247 | 259.057 | 14.961 | 262.95 | 14.912 | 260.583 | -11.107 | 889.967 | 47.493 | 76.7995
2019-11-16 18:15:00 | 11.598 | 234.107 | 12.934 | 253.901 | 13.434 | 258.45 | 13.642 | 254.867 | -11.611 | 889.925 | 49.621 | 75.7699
2019-11-16 18:30:00 | 9.736 | 238.52 | 10.918 | 253.098 | 11.262 | 257.233 | 11.407 | 254.1 | -12.016 | 889.667 | 51.936 | 74.2585
2019-11-16 18:45:00 | 9.01 | 246.167 | 10.013 | 254.756 | 10.426 | 258.183 | 10.508 | 254.85 | -12.403 | 890.3 | 51.483 | 74.2023
2019-11-16 19:00:00 | 12.361 | 229.647 | 14.111 | 254.406 | 14.929 | 259.667 | 15.355 | 255.333 | -12.653 | 889.767 | 50.219 | 72.3918
2019-11-16 19:15:00 | 11.602 | 235.707 | 13.789 | 252.785 | 14.703 | 257.05 | 15.404 | 254.65 | -12.52 | 889.758 | 46.464 | 70.6786
2019-11-16 19:30:00 | 12.062 | 238.46 | 14.241 | 257.553 | 15.095 | 260.567 | 15.744 | 258.2 | -12.386 | 889.692 | 44.011 | 68.0126
2019-11-16 19:45:00 | 9.877 | 234.04 | 11.722 | 259.128 | 12.898 | 262.933 | 13.513 | 259.483 | -11.849 | 889.708 | 42.709 | 69.735
2019-11-16 20:00:00 | 10.976 | 240.8 | 12.832 | 256.732 | 14.062 | 261.55 | 14.496 | 259.317 | -12.036 | 889.967 | 37.696 | 67.1024
2019-11-16 20:15:00 | 9.984 | 234.247 | 11.466 | 257.719 | 12.594 | 263.2 | 13.147 | 260.183 | -11.47 | 889.55 | 34.325 | 67.1869
2019-11-16 20:30:00 | 10.647 | 233.833 | 13.1 | 261.754 | 13.963 | 265.133 | 14.423 | 262.733 | -11.974 | 889.783 | 34.189 | 66.9354
2019-11-16 20:45:00 | 13.323 | 232.207 | 15.028 | 262.771 | 15.928 | 266.733 | 16.649 | 263.2 | -11.849 | 889.633 | 34.059 | 66.1552
2019-11-16 21:00:00 | 11.17 | 248.127 | 13.38 | 267.282 | 14.135 | 271 | 15.001 | 267.8 | -11.724 | 890.15 | 34.923 | 66.3328
2019-11-16 21:15:00 | 10.537 | 252.54 | 12.277 | 269.303 | 13.617 | 271.2 | 14.386 | 269.6 | -11.974 | 889.817 | 36.147 | 65.8866
2019-11-16 21:30:00 | 10.073 | 255.733 | 12.287 | 270.079 | 13.27 | 272.567 | 14.474 | 270.667 | -12.07 | 889.767 | 36.392 | 64.7589
2019-11-16 21:45:00 | 8.252 | 236.587 | 9.655 | 251.626 | 10.456 | 257.267 | 10.874 | 254.8 | -12.403 | 889.783 | 35.565 | 67.3965
2019-11-16 22:00:00 | 7.434 | 216.033 | 8.891 | 222.948 | 9.591 | 231.2 | 9.822 | 228.433 | -12.52 | 889.55 | 34.853 | 73.8009
2019-11-16 22:15:00 | 9.328 | 227.533 | 10.934 | 233.962 | 12.001 | 238 | 11.922 | 233.433 | -12.636 | 889.55 | 34.517 | 70.8996
2019-11-16 22:30:00 | 8.948 | 229.84 | 10.71 | 244.546 | 11.725 | 250.333 | 11.836 | 245.533 | -12.486 | 889.55 | 34.789 | 66.1232
2019-11-16 22:45:00 | 8.318 | 224.133 | 9.941 | 235.847 | 11.12 | 243.5 | 11.691 | 241.133 | -13.153 | 889.983 | 36.16 | 62.0659
2019-11-16 23:00:00 | 9.006 | 220.1 | 10.842 | 240.148 | 12.061 | 246.233 | 12.501 | 242.4 | -13.02 | 890.317 | 36.539 | 57.8678
2019-11-16 23:15:00 | 8.155 | 226.853 | 10.203 | 235.09 | 11.472 | 241.5 | 11.617 | 238.733 | -13.222 | 889.417 | 36.219 | 55.81
2019-11-16 23:30:00 | 9.132 | 223.133 | 10.932 | 233.127 | 11.846 | 238.933 | 11.872 | 237.533 | -13.203 | 889.583 | 35.968 | 57.3754
2019-11-16 23:45:00 | 11.288 | 221.067 | 13.294 | 239.334 | 14.253 | 246.167 | 14.302 | 242.1 | -13.186 | 889.783 | 35.248 | 61.6246