## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-17 00:00:00 | 10.857 | 227.467 | 13.011 | 245.116 | 13.631 | 251 | 13.46 | 245.833 | -12.986 | 889.65 | 34.352 | 72.4394
2019-11-17 00:15:00 | 9.445 | 233.56 | 11.121 | 245.075 | 11.766 | 251.5 | 11.76 | 248.05 | -13.353 | 889.283 | 34.677 | 79.8165
2019-11-17 00:30:00 | 8.096 | 233.907 | 10.17 | 246.799 | 11.126 | 252.8 | 10.909 | 248.733 | -13.334 | 889.783 | 33.376 | 79.0683
2019-11-17 00:45:00 | 7.391 | 233.96 | 8.99 | 239.244 | 10.097 | 244.833 | 10.159 | 240.2 | -13.541 | 889.817 | 32.267 | 79.5622
2019-11-17 01:00:00 | 7.704 | 224.647 | 9.921 | 237.195 | 11.445 | 244.033 | 11.794 | 241.233 | -13.653 | 889.5 | 31.269 | 79.4065
2019-11-17 01:15:00 | 8.34 | 226.467 | 10.039 | 237.98 | 11.106 | 243.933 | 11.43 | 237.3 | -13.003 | 889.833 | 28.949 | 78.2227
2019-11-17 01:30:00 | 6.702 | 227.633 | 8.373 | 231.318 | 9.783 | 238.033 | 10.434 | 233.233 | -13.02 | 889.383 | 28.651 | 75.4345
2019-11-17 01:45:00 | 7.297 | 235.7 | 8.723 | 240.075 | 9.571 | 245.3 | 10.064 | 241.167 | -13.053 | 890.117 | 27.664 | 72.001
2019-11-17 02:00:00 | 6.258 | 226.467 | 8.249 | 234.972 | 9.42 | 243.067 | 10.152 | 238.367 | -13.003 | 889.7 | 27.691 | 53.8908
2019-11-17 02:15:00 | 6.282 | 227.767 | 8.166 | 230.499 | 9.531 | 237.467 | 9.818 | 235.333 | -13.053 | 889.75 | 27.253 | 55.8342
2019-11-17 02:30:00 | 7.107 | 219.947 | 8.879 | 227.836 | 9.522 | 234.933 | 9.708 | 232.067 | -13.211 | 889.5 | 27.547 | 59.7842
2019-11-17 02:45:00 | 6.207 | 218.933 | 7.835 | 223.701 | 8.787 | 232.133 | 9.084 | 230.233 | -13.484 | 889.617 | 28 | 59.1497
2019-11-17 03:00:00 | 6.889 | 221.813 | 8.928 | 228.769 | 9.797 | 240.033 | 9.797 | 236.267 | -13.466 | 889.933 | 28.021 | 55.0497
2019-11-17 03:15:00 | 6.35 | 228.667 | 8.2 | 237.51 | 8.748 | 247.333 | 8.73 | 244.6 | -13.578 | 889.583 | 26.859 | 45.4102
2019-11-17 03:30:00 | 5.468 | 239.36 | 7.359 | 247.862 | 7.676 | 256.1 | 7.812 | 256.967 | -13.109 | 889.95 | 25.453 | 35.4495
2019-11-17 03:45:00 | 4.964 | 245.907 | 6.036 | 257.724 | 6.6 | 264.933 | 7.224 | 262.517 | -12.903 | 889.783 | 23.541 | 21.1543
2019-11-17 04:00:00 | 3.839 | 243.333 | 5.466 | 253.429 | 5.903 | 261.533 | 6.269 | 259.733 | -12.87 | 889.567 | 23.003 | 12.771
2019-11-17 04:15:00 | 3.501 | 214.533 | 4.251 | 235.59 | 4.381 | 250.267 | 4.709 | 251.65 | -14.166 | 889.9 | 25.275 | 13.0666
2019-11-17 04:30:00 | 5.188 | 206.007 | 6.049 | 215.172 | 5.719 | 224.533 | 5.159 | 226.633 | -14.412 | 889.75 | 27.275 | 20.1808
2019-11-17 04:45:00 | 6.082 | 211.233 | 5.657 | 218.202 | 5.363 | 231.567 | 5.469 | 233.1 | -13.999 | 889.9 | 26.107 | 21.872
2019-11-17 05:00:00 | 5.953 | 210.387 | 6.185 | 216.798 | 6.233 | 231.8 | 6.06 | 231.5 | -14.495 | 889.55 | 27.093 | 33.4805
2019-11-17 05:15:00 | 5.377 | 218.653 | 7.86 | 226.377 | 8.164 | 234.267 | 7.9 | 230.333 | -14.704 | 889.6 | 27.184 | 48.9644
2019-11-17 05:30:00 | 5.032 | 232.1 | 7.77 | 236.586 | 8.662 | 243.567 | 8.774 | 239.5 | -13.689 | 889.55 | 24.453 | 59.6592
2019-11-17 05:45:00 | 8.286 | 226.707 | 9.348 | 234.743 | 9.569 | 241.867 | 9.54 | 238.933 | -11.724 | 889.45 | 19.827 | 46.5286
2019-11-17 06:00:00 | 6.643 | 220.767 | 7.713 | 232.42 | 7.949 | 242.367 | 8.011 | 240.167 | -12.486 | 889.667 | 20.933 | 30.9367
2019-11-17 06:15:00 | 6.292 | 218.427 | 8.128 | 214.925 | 8.022 | 220.5 | 7.593 | 221.933 | -13.243 | 889.8 | 22.72 | 27.1685
2019-11-17 06:30:00 | 6.95 | 220.367 | 6.75 | 219.918 | 6.963 | 224.367 | 7.076 | 220.767 | -13.036 | 889.467 | 22.752 | 13.6521
2019-11-17 06:45:00 | 6.056 | 217.113 | 5.908 | 214.972 | 5.59 | 222.233 | 5.608 | 217.933 | -14.166 | 889.5 | 25.92 | 11.4067
2019-11-17 07:00:00 | 6.438 | 213.32 | 6.29 | 211.852 | 5.917 | 216.1 | 5.635 | 213.267 | -14.583 | 889.667 | 27.216 | 11.087
2019-11-17 07:15:00 | 5.272 | 210.28 | 5.754 | 206.383 | 5.592 | 214.267 | 5.578 | 212.067 | -14.92 | 890 | 28.757 | 19.8113
2019-11-17 07:30:00 | 5.536 | 214.9 | 7.606 | 209.518 | 7.674 | 214.467 | 7.587 | 212.6 | -15.408 | 889.633 | 30.539 | 25.9996
2019-11-17 07:45:00 | 5.65 | 212.62 | 7.676 | 207.285 | 8.736 | 213.667 | 8.298 | 212.533 | -14.599 | 889.65 | 28.939 | 32.0643
2019-11-17 08:00:00 | 5.221 | 210.64 | 7.55 | 209.246 | 7.75 | 213.167 | 7.679 | 212.1 | -14.362 | 889.767 | 28.848 | 25.6024
2019-11-17 08:15:00 | 6.898 | 212.827 | 7.635 | 213.064 | 7.454 | 218.2 | 7.5 | 216.1 | -14.328 | 889.833 | 29.056 | 31.7169
2019-11-17 08:30:00 | 7.291 | 210.887 | 8.423 | 211.213 | 8.432 | 215.167 | 8.454 | 212 | -13.691 | 889.75 | 27.44 | 27.4662
2019-11-17 08:45:00 | 6.622 | 214.933 | 7.625 | 213.942 | 7.403 | 217.967 | 7.51 | 214.2 | -13.999 | 889.667 | 27.589 | 20.8018
2019-11-17 09:00:00 | 5.847 | 215.9 | 6.686 | 213.918 | 6.636 | 216.067 | 6.943 | 213.267 | -13.203 | 889.7 | 26.187 | 11.9134
2019-11-17 09:15:00 | 5.884 | 204.9 | 6.538 | 212.135 | 5.878 | 214.9 | 5.246 | 210.467 | -13.186 | 889.833 | 26.816 | 11.9503
2019-11-17 09:30:00 | 5.377 | 209.2 | 6.106 | 202.799 | 5.357 | 204.9 | 4.783 | 200 | -12.42 | 889.967 | 25.909 | 11.7911
2019-11-17 09:45:00 | 5.038 | 214.62 | 4.835 | 206.596 | 4.368 | 206.567 | 4.974 | 201.367 | -11.003 | 889.317 | 24.491 | 8.4643
2019-11-17 10:00:00 | 4.026 | 216.82 | 5.097 | 212.381 | 5.132 | 212.5 | 5.082 | 203.1 | -9.828 | 889.833 | 24.053 | 5.3065
2019-11-17 10:15:00 | 3.619 | 215.547 | 4.09 | 211.84 | 3.717 | 211.933 | 3.737 | 204.1 | -7.9 | 890.25 | 21.653 | 1.5071
2019-11-17 10:30:00 | 3.092 | 212.14 | 2.838 | 206.546 | 2.97 | 209.267 | 3.715 | 204.367 | -7.111 | 889.333 | 18.896 | 0.36097
2019-11-17 10:45:00 | 2.647 | 108.502 | 2.266 | 98.847 | 2.61 | 108.8 | 2.792 | 132.267 | -6.694 | 889.733 | 18.435 | 2.585
2019-11-17 11:00:00 | 3.671 | 59.337 | 3.566 | 54.323 | 3.74 | 59.533 | 4.175 | 58.633 | -10.095 | 889.6 | 20.027 | 3.8257
2019-11-17 11:15:00 | 4.301 | 72.867 | 4.438 | 65.34 | 4.517 | 72.467 | 4.741 | 70.2 | -10.433 | 889.45 | 21.84 | 3.2295
2019-11-17 11:30:00 | 3.867 | 73.993 | 3.767 | 71.902 | 3.938 | 78.133 | 4.075 | 74.333 | -9.828 | 889.717 | 23.179 | 5.2674
2019-11-17 11:45:00 | 4.336 | 80.053 | 4.509 | 74.146 | 4.464 | 80.267 | 4.522 | 79.533 | -9.574 | 889.567 | 23.099 | 5.6746
2019-11-17 12:00:00 | 4.303 | 75.04 | 4.392 | 72.849 | 4.599 | 78.733 | 4.783 | 77.267 | -9.541 | 889.9 | 22.917 | 4.758
2019-11-17 12:15:00 | 3.903 | 74.567 | 4.219 | 71.872 | 4.376 | 76.633 | 4.523 | 76.2 | -9.241 | 889.683 | 22.971 | 4.8724
2019-11-17 12:30:00 | 3.628 | 81.63 | 3.732 | 76.829 | 3.823 | 82.733 | 4.026 | 77.567 | -8.958 | 889.883 | 22.741 | 2.7847
2019-11-17 12:45:00 | 3.344 | 59.313 | 3.138 | 57.404 | 3.047 | 61.4 | 3.397 | 57.6 | -8.774 | 889.417 | 21.915 | 2.4323
2019-11-17 13:00:00 | 3.157 | 53.257 | 3.053 | 49.631 | 3.107 | 52.267 | 3.35 | 49.6 | -8.708 | 889.5 | 20.987 | 3.8939
2019-11-17 13:15:00 | 3.148 | 63.4 | 3.254 | 58.842 | 3.53 | 63.1 | 3.857 | 58.633 | -8.01 | 889.533 | 21.072 | 4.2961
2019-11-17 13:30:00 | 3.101 | 78.088 | 3.328 | 64.978 | 3.498 | 69.833 | 3.702 | 57.867 | -7.672 | 889.933 | 20.648 | 3.8626
2019-11-17 13:45:00 | 3.22 | 50.004 | 3.185 | 48.171 | 3.382 | 51.133 | 3.694 | 50 | -7.286 | 889.9 | 22 | 5.5637
2019-11-17 14:00:00 | 4.1 | 58.977 | 4.144 | 49.675 | 4.344 | 50.833 | 4.603 | 46.367 | -7.19 | 889.517 | 21.947 | 6.0078
2019-11-17 14:15:00 | 3.924 | 41.981 | 3.946 | 38.024 | 4.05 | 39.833 | 4.238 | 36.833 | -7.556 | 889.533 | 21.861 | 4.3437
2019-11-17 14:30:00 | 2.287 | 39.567 | 2.191 | 44.764 | 2.03 | 43.9 | 2.417 | 41.267 | -7.606 | 889.883 | 21.147 | 0.87826
2019-11-17 14:45:00 | 2.387 | 94.212 | 2.317 | 93.907 | 2.303 | 92.667 | 2.778 | 84.433 | -7.552 | 889.333 | 20.899 | 0.18048
2019-11-17 15:00:00 | 2.461 | 98.217 | 2.669 | 87.141 | 2.758 | 92.467 | 3.018 | 89.267 | -6.942 | 890.033 | 21.061 | 0.16059
2019-11-17 15:15:00 | 2.019 | 71.683 | 1.562 | 84.48 | 1.679 | 97.8 | 2.043 | 93.733 | -6.545 | 889.95 | 20.757 | 0.18759
2019-11-17 15:30:00 | 2.115 | 109.633 | 2.133 | 101.568 | 2.321 | 98 | 2.492 | 92.467 | -6.445 | 889.817 | 21.035 | 0.22241
2019-11-17 15:45:00 | 2.21 | 83.653 | 2.09 | 81.492 | 2.343 | 86.167 | 2.471 | 82.7 | -6.412 | 890.1 | 21.227 | 0.26433
2019-11-17 16:00:00 | 1.762 | 119.393 | 1.481 | 122.771 | 1.59 | 126.1 | 2.09 | 128.733 | -6.462 | 889.583 | 21.264 | 0.23449
2019-11-17 16:15:00 | 1.416 | 122.66 | 0.973 | 111.411 | 0.969 | 120.6 | 1.233 | 100.233 | -6.237 | 890.017 | 21.259 | 0.23307
2019-11-17 16:30:00 | 0.984 | 99.787 | 0.766 | 104.403 | 0.903 | 103.167 | 1.576 | 94.333 | -6.136 | 889.783 | 20.853 | 0.25936
2019-11-17 16:45:00 | 2.478 | 37.389 | 2.32 | 33.446 | 2.157 | 40.8 | 2.469 | 46.4 | -5.763 | 889.5 | 20.523 | 0.35457
2019-11-17 17:00:00 | 2.99 | 20.731 | 2.874 | 22.455 | 2.91 | 30.433 | 3.051 | 26.167 | -5.78 | 889.9 | 21.088 | 0.54714
2019-11-17 17:15:00 | 2.334 | 18.001 | 2.163 | 19.098 | 2.386 | 23.067 | 2.674 | 19.2 | -6.067 | 889.617 | 21.888 | 0.11867
2019-11-17 17:30:00 | 2.125 | 18.648 | 1.883 | 13.88 | 2.096 | 19.7 | 2.254 | 17.9 | -6.378 | 889.85 | 23.381 | 0.29631
2019-11-17 17:45:00 | 1.365 | 27.542 | 0.6 | 28.924 | 0.74 | 22.533 | 1.139 | 18 | -6.933 | 889.3 | 23.845 | 0.23449
2019-11-17 18:00:00 | 1.151 | 3.108 | 0.287 | 8.032 | 0.454 | 14.067 | 1.122 | 8 | -6.667 | 890.35 | 24.016 | 0.23164
2019-11-17 18:15:00 | 1.828 | 21.065 | 1.587 | 18.025 | 1.043 | 33.133 | 1.232 | 14 | -7.051 | 889.483 | 24.667 | 0.23307
2019-11-17 18:30:00 | 0.489 | 21.064 | 0 | 13.036 | 0 | 27 | 0.064 | 14 | -7.032 | 890.167 | 25.355 | 0.23022
2019-11-17 18:45:00 | 1.126 | 66.3 | 0 | 61.095 | 0 | 45.567 | 0.584 | 14 | -7.622 | 890.233 | 26.261 | 0.22738
2019-11-17 19:00:00 | 1.272 | 106.1 | 0.439 | 94.297 | 0.276 | 92.433 | 0.598 | 13.833 | -7.639 | 889.733 | 26.715 | 0.2217
2019-11-17 19:15:00 | 1.115 | 127.987 | 0 | 116.257 | 0 | 105.3 | 0 | 14 | -7.522 | 889.8 | 27.296 | 0.22738
2019-11-17 19:30:00 | 2.693 | 159.233 | 2.054 | 148.337 | 0.997 | 139.933 | 1.175 | 92 | -7.606 | 889.967 | 27.595 | 0.23164
2019-11-17 19:45:00 | 2.699 | 154.033 | 2.057 | 148.021 | 1.542 | 141.967 | 1.619 | 95.967 | -8.09 | 889.5 | 28.16 | 0.24017
2019-11-17 20:00:00 | 2.627 | 144.427 | 2.11 | 140.477 | 1.294 | 141.867 | 1.144 | 99 | -8.311 | 889.533 | 27.861 | 0.23164
2019-11-17 20:15:00 | 1.953 | 144.66 | 0.605 | 141.577 | 0 | 142.067 | 0 | 99 | -7.909 | 889.517 | 26.704 | 0.23022
2019-11-17 20:30:00 | 0 | 128.4 | 0 | 141.386 | 0 | 142 | 0 | 97.933 | -8.541 | 889.767 | 27.248 | 0.23307
2019-11-17 20:45:00 | 1.983 | 304.827 | 0 | 144.359 | 0.662 | 142.467 | 1.657 | 330 | -9.374 | 889.5 | 30.453 | 0.2622
2019-11-17 21:00:00 | 2.302 | 263.993 | 1.151 | 223.417 | 1.545 | 289.3 | 2.464 | 287.133 | -9.224 | 889.717 | 30.672 | 1.2627
2019-11-17 21:15:00 | 3.471 | 235.367 | 2.532 | 230.64 | 2.86 | 257.9 | 3.54 | 279.767 | -9.912 | 889.567 | 31.339 | 3.3603
2019-11-17 21:30:00 | 5.409 | 231.253 | 4.145 | 232.81 | 3.48 | 262.667 | 3.958 | 292.367 | -10.462 | 889.533 | 32.416 | 4.4524
2019-11-17 21:45:00 | 5.152 | 241.233 | 4.344 | 252.315 | 3.789 | 275.8 | 4.1 | 290.467 | -9.704 | 889.867 | 32.051 | 4.0886
2019-11-17 22:00:00 | 4.582 | 239.687 | 3.731 | 269.162 | 3.718 | 286.667 | 4.276 | 295.467 | -8.431 | 889.9 | 30.16 | 5.2262
2019-11-17 22:15:00 | 4.947 | 246.767 | 3.899 | 270.702 | 4.041 | 286.8 | 4.698 | 291.367 | -9.445 | 890.117 | 32.907 | 4.7558
2019-11-17 22:30:00 | 4.658 | 245.02 | 3.979 | 261.528 | 3.961 | 278.267 | 4.342 | 282.733 | -7.863 | 889.85 | 32.909 | 4.8496
2019-11-17 22:45:00 | 4.544 | 241.927 | 3.677 | 254.424 | 3.702 | 268 | 4.028 | 271.533 | -9.137 | 889.85 | 34.323 | 6.2736
2019-11-17 23:00:00 | 4.912 | 235.3 | 4.378 | 244.599 | 4.188 | 254.367 | 4.212 | 256.067 | -7.806 | 889.85 | 33.173 | 6.4356
2019-11-17 23:15:00 | 4.842 | 240.867 | 4.242 | 245.269 | 4.182 | 256.433 | 4.251 | 257.8 | -6.678 | 890.2 | 31.941 | 4.4503
2019-11-17 23:30:00 | 4.552 | 236.533 | 3.762 | 240.598 | 3.728 | 249.267 | 3.721 | 254.433 | -6.512 | 889.483 | 31.616 | 4.1128
2019-11-17 23:45:00 | 4.738 | 226.56 | 3.582 | 228.782 | 3.125 | 234.2 | 3.121 | 234.033 | -7.104 | 889.75 | 29.797 | 5.3051