## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-18 00:00:00 | 4.335 | 238.633 | 3.213 | 240.743 | 2.964 | 244.533 | 3.115 | 234.633 | -8.708 | 889.617 | 30.107 | 3.7035
2019-11-18 00:15:00 | 4.218 | 260.34 | 4.344 | 277.613 | 4.057 | 287.267 | 3.793 | 292.5 | -9.662 | 889.167 | 29.707 | 2.2262
2019-11-18 00:30:00 | 5.033 | 253.487 | 3.439 | 275.518 | 3.068 | 292.067 | 3.443 | 301.2 | -8.891 | 889.467 | 28.315 | 1.4538
2019-11-18 00:45:00 | 4.517 | 244.94 | 2.369 | 267.792 | 2.091 | 295.267 | 2.642 | 310.133 | -9.433 | 889.6 | 28.296 | 0.25936
2019-11-18 01:00:00 | 2.717 | 263.427 | 1.704 | 294.975 | 1.908 | 310.333 | 2.252 | 314.467 | -8.384 | 890.133 | 26.907 | 0.27783
2019-11-18 01:15:00 | 2.362 | 264.267 | 1.648 | 290.988 | 1.191 | 294.233 | 2.091 | 314.933 | -7.572 | 889.7 | 28.021 | 0.25438
2019-11-18 01:30:00 | 1.699 | 252.1 | 0.773 | 264.37 | 1.27 | 290.933 | 2.173 | 302.9 | -7.622 | 889.783 | 29.067 | 0.27854
2019-11-18 01:45:00 | 2.449 | 235.247 | 0.93 | 261.818 | 1.66 | 278.867 | 2.426 | 291.767 | -7.933 | 889.65 | 28.616 | 0.23164
2019-11-18 02:00:00 | 3.192 | 230.86 | 1.99 | 259.927 | 2.107 | 272.6 | 2.41 | 283.433 | -8.077 | 889.517 | 27.653 | 0.18688
2019-11-18 02:15:00 | 2.589 | 251.02 | 2.009 | 267.24 | 1.821 | 285.1 | 2.181 | 300.8 | -7.606 | 889.7 | 26.723 | 0.16983
2019-11-18 02:30:00 | 2.568 | 281.8 | 2.606 | 297.318 | 2.549 | 302.167 | 2.85 | 299.467 | -7.556 | 890.117 | 26.413 | 0.95074
2019-11-18 02:45:00 | 2.849 | 295.4 | 2.823 | 312.856 | 3.072 | 326.167 | 3.08 | 322.533 | -9.258 | 889.617 | 28.976 | 0.88181
2019-11-18 03:00:00 | 3.23 | 276.6 | 2.53 | 294.583 | 2.601 | 302.2 | 2.425 | 308.1 | -9.058 | 889.5 | 31.456 | 1.2904
2019-11-18 03:15:00 | 3.258 | 255.853 | 1.967 | 272.214 | 2.099 | 288.6 | 2.817 | 285.2 | -9.274 | 889.65 | 32.155 | 1.3117
2019-11-18 03:30:00 | 3.076 | 273.2 | 2.389 | 285.329 | 2.536 | 293.033 | 3.164 | 292.167 | -9.308 | 889.867 | 32.779 | 1.301
2019-11-18 03:45:00 | 2.321 | 253.433 | 1.852 | 290.928 | 1.764 | 297.733 | 2.798 | 299.333 | -9.308 | 889.7 | 31.877 | 1.7302
2019-11-18 04:00:00 | 3.091 | 241.467 | 2.139 | 260.322 | 2.887 | 283.267 | 3.747 | 291.967 | -9.224 | 889.833 | 29.179 | 1.6173
2019-11-18 04:15:00 | 3.008 | 237.633 | 2.634 | 266.454 | 3.508 | 287.533 | 4.58 | 295.133 | -8.574 | 889.433 | 26.379 | 2.8707
2019-11-18 04:30:00 | 3.71 | 246.92 | 3.403 | 268.095 | 3.863 | 282.6 | 4.733 | 291.2 | -7.93 | 890.333 | 25.6 | 3.5933
2019-11-18 04:45:00 | 4.166 | 246.513 | 3.784 | 261.739 | 4.008 | 277.2 | 4.587 | 282.633 | -8.351 | 889.7 | 25.397 | 5.0585
2019-11-18 05:00:00 | 4.436 | 242.353 | 3.934 | 255.394 | 3.925 | 270.533 | 4.447 | 278.5 | -7.729 | 889.35 | 24.648 | 4.1462
2019-11-18 05:15:00 | 4.007 | 245.127 | 3.72 | 255.85 | 3.522 | 267.6 | 3.735 | 274.033 | -7.909 | 890 | 23.856 | 2.6518
2019-11-18 05:30:00 | 4.004 | 237.053 | 3.136 | 254.028 | 2.773 | 270 | 3.067 | 279 | -7.996 | 889.617 | 23.813 | 0.84628
2019-11-18 05:45:00 | 4.769 | 222.493 | 2.846 | 231.565 | 2.425 | 247 | 2.446 | 255 | -8.477 | 889.683 | 24.64 | 0.11369
2019-11-18 06:00:00 | 3.862 | 229.567 | 2.659 | 237.488 | 1.653 | 247 | 1.71 | 255.8 | -8.758 | 889.567 | 24.448 | 0.092374
2019-11-18 06:15:00 | 5.273 | 225.167 | 2.819 | 230.75 | 2.093 | 244.1 | 1.827 | 255.367 | -8.958 | 889.95 | 25.931 | 0.49527
2019-11-18 06:30:00 | 5.408 | 224.153 | 2.661 | 231.012 | 1.868 | 233.1 | 1.808 | 228.233 | -9.133 | 889.883 | 27.061 | 0.22525
2019-11-18 06:45:00 | 4.653 | 226.567 | 1.94 | 240.464 | 1.551 | 241.067 | 1.751 | 229.933 | -10.703 | 889.7 | 29.963 | 0.094505
2019-11-18 07:00:00 | 4.528 | 221.613 | 2.006 | 225.561 | 2.158 | 221.667 | 2.458 | 216.867 | -7.95 | 889.9 | 25.152 | 0.085268
2019-11-18 07:15:00 | 5.764 | 223.033 | 3.152 | 222.098 | 2.826 | 226.333 | 2.895 | 219.033 | -9.208 | 889.833 | 27.317 | 0.46542
2019-11-18 07:30:00 | 6.567 | 220.96 | 4.32 | 232.43 | 3.724 | 244 | 3.372 | 246.333 | -10.141 | 890.167 | 29.925 | 1.7366
2019-11-18 07:45:00 | 6.008 | 222.033 | 4.491 | 237.676 | 3.853 | 248.567 | 3.488 | 250.033 | -10.516 | 889.6 | 31.024 | 1.3586
2019-11-18 08:00:00 | 5.969 | 222.367 | 4.101 | 244.379 | 3.587 | 251.967 | 3.352 | 251.35 | -10.416 | 889.75 | 31.344 | 1.0794
2019-11-18 08:15:00 | 6.126 | 219.527 | 4.242 | 243.081 | 3.7 | 258.6 | 3.098 | 261.417 | -10.141 | 889.433 | 31.104 | 0.847
2019-11-18 08:30:00 | 5.749 | 222.967 | 4.204 | 238.456 | 3.485 | 253.333 | 3.141 | 254.383 | -9.174 | 889.833 | 30.368 | 0.51658
2019-11-18 08:45:00 | 5.586 | 225.5 | 3.724 | 242.781 | 3.308 | 252.1 | 3.194 | 250.8 | -9.308 | 889.8 | 30.923 | 0.16627
2019-11-18 09:00:00 | 5.056 | 221.7 | 2.89 | 242.639 | 2.484 | 257.933 | 2.663 | 268.6 | -9.324 | 889.85 | 31.077 | 0.16556
2019-11-18 09:15:00 | 1.186 | 151.958 | 2.59 | 245.727 | 2.48 | 284.567 | 2.639 | 296 | -8.824 | 889.8 | 31.149 | 0.27428
2019-11-18 09:30:00 | 0.998 | 194.46 | 3.063 | 229.935 | 2.332 | 265.4 | 2.207 | 269.333 | -9.424 | 889.633 | 32.843 | 0.26931
2019-11-18 09:45:00 | 2.413 | 231.533 | 2.683 | 281.804 | 2.552 | 293.533 | 2.681 | 289.667 | -8.641 | 889.8 | 32.872 | 0.4235
2019-11-18 10:00:00 | 3.301 | 270.613 | 3.612 | 285.318 | 3.213 | 287.133 | 2.815 | 282.133 | -8.571 | 889.65 | 31.533 | 0.26007
2019-11-18 10:15:00 | 3.278 | 266.067 | 2.295 | 270.818 | 2.349 | 279.033 | 2.708 | 282.767 | -5.569 | 889.233 | 23.917 | 0.20606
2019-11-18 10:30:00 | 2.917 | 246.133 | 1.617 | 269.234 | 1.666 | 290 | 2.222 | 284 | -5.535 | 889.617 | 26.744 | 0.2757
2019-11-18 10:45:00 | 2.597 | 241.633 | 0 | 268.839 | 0 | 291.8 | 1.425 | 282.067 | -5.302 | 890 | 25.568 | 0.23875
2019-11-18 11:00:00 | 2.021 | 243.733 | 0.456 | 268.976 | 1.186 | 264 | 2.016 | 255.833 | -3.472 | 889.917 | 23.419 | 0.22028
2019-11-18 11:15:00 | 0 | 255.413 | 0 | 269.085 | 0 | 278 | 0.808 | 256 | -1.276 | 889.6 | 22.781 | 0.22028
2019-11-18 11:30:00 | 0.908 | 6.958 | 0.053 | 184.203 | 0 | 277.933 | 0.192 | 257.333 | -0.888 | 889.967 | 17.76 | 0.22312
2019-11-18 11:45:00 | 1.472 | 277.643 | 0.774 | 328.144 | 0.89 | 290.067 | 1.304 | 309.067 | -1.149 | 889.3 | 16.407 | 0.22596
2019-11-18 12:00:00 | 1.389 | 160.124 | 0.893 | 183.525 | 0.817 | 244.333 | 1.253 | 80.141 | -1.266 | 889.333 | 16.544 | 0.23164
2019-11-18 12:15:00 | 1.928 | 329.96 | 1.516 | 320.61 | 1.543 | 319.867 | 1.925 | 315.167 | -0.389 | 889.233 | 14.303 | 0.26575
2019-11-18 12:30:00 | 2.427 | 16.306 | 2.496 | 131.176 | 2.607 | 134.5 | 2.616 | 187.167 | -0.056 | 890 | 14.225 | 0.1478
2019-11-18 12:45:00 | 2.639 | 240.581 | 2.587 | 275.178 | 2.775 | 278.567 | 3.039 | 302.1 | -0.309 | 889.6 | 14.056 | 1.1106
2019-11-18 13:00:00 | 2.976 | 287.223 | 3.01 | 260.572 | 3.056 | 287.067 | 3.362 | 299.667 | -0.229 | 889.467 | 13.747 | 1.6265
2019-11-18 13:15:00 | 3.463 | 336.747 | 3.426 | 334.207 | 3.463 | 327.6 | 3.745 | 339.567 | -0.192 | 889.267 | 13.463 | 2.3093
2019-11-18 13:30:00 | 3.32 | 243.642 | 3.336 | 299.402 | 3.451 | 257.533 | 3.541 | 303.567 | -0.083 | 889.467 | 13.297 | 2.3925
2019-11-18 13:45:00 | 2.46 | 272.813 | 2.444 | 315.553 | 2.424 | 296.667 | 2.674 | 319.367 | 0.249 | 889.433 | 13.576 | 0.81786
2019-11-18 14:00:00 | 1.824 | 304.893 | 1.553 | 293.648 | 1.621 | 301.033 | 2.304 | 308.7 | 0.682 | 889.3 | 13.5 | 0.23875
2019-11-18 14:15:00 | 2.067 | 252.228 | 1.433 | 300.563 | 1.366 | 317.9 | 1.792 | 309.167 | 1.015 | 889.367 | 13.463 | 0.24301
2019-11-18 14:30:00 | 0.759 | 288.202 | 0.667 | 306.705 | 1.056 | 313.333 | 1.754 | 300.5 | 1.239 | 889.3 | 13.483 | 0.23733
2019-11-18 14:45:00 | 2.17 | 288.52 | 2.096 | 305.255 | 1.993 | 314.733 | 2.426 | 320.7 | 1.918 | 889.567 | 12.931 | 0.24301
2019-11-18 15:00:00 | 2.348 | 315.72 | 2.317 | 330.094 | 2.4 | 337.233 | 2.562 | 333.767 | 1.379 | 889.533 | 13.124 | 0.17054
2019-11-18 15:15:00 | 2.672 | 307.613 | 2.434 | 312.822 | 2.536 | 320.967 | 2.822 | 324.133 | 1.339 | 889.433 | 13.183 | 0.28138
2019-11-18 15:30:00 | 2.116 | 180.69 | 1.726 | 223.63 | 1.946 | 191.734 | 2.267 | 134.567 | 1.892 | 889.6 | 13.603 | 0.36381
2019-11-18 15:45:00 | 3.442 | 239.907 | 3.377 | 318.009 | 3.386 | 321.067 | 3.423 | 343.433 | 1.389 | 889.533 | 13.408 | 0.5983
2019-11-18 16:00:00 | 3.479 | 321.534 | 3.5 | 342.658 | 3.526 | 300.333 | 3.745 | 323.467 | 1.366 | 889.633 | 13.584 | 1.3181
2019-11-18 16:15:00 | 2.888 | 284.6 | 2.662 | 316.993 | 2.67 | 294.467 | 2.81 | 343 | 1.729 | 889.267 | 13.184 | 0.086689
2019-11-18 16:30:00 | 1.776 | 183.207 | 1.48 | 264.242 | 1.707 | 323.067 | 2.092 | 331.5 | 1.676 | 889.333 | 13.253 | 0.21317
2019-11-18 16:45:00 | 1.97 | 323.533 | 1.576 | 312.38 | 1.844 | 307.133 | 2.223 | 296.467 | 2.23 | 889.367 | 13.185 | 0.22312
2019-11-18 17:00:00 | 1.998 | 328.227 | 1.443 | 314.16 | 1.376 | 313.967 | 2.201 | 313 | 2.344 | 889.267 | 13.308 | 0.22028
2019-11-18 17:15:00 | 1.887 | 60.102 | 1.516 | 53.27 | 1.333 | 18.033 | 1.764 | 120.2 | 1.9 | 889.8 | 13.863 | 0.40715
2019-11-18 17:30:00 | 2.407 | 133.561 | 1.89 | 131.532 | 1.87 | 249.233 | 2.063 | 233.467 | 1.982 | 889.533 | 14.281 | 0.16698
2019-11-18 17:45:00 | 3.039 | 72.853 | 2.767 | 67.999 | 2.652 | 71.333 | 2.481 | 71.267 | 0.565 | 889.467 | 16.773 | 0.22596
2019-11-18 18:00:00 | 2.895 | 80.467 | 2.648 | 74.732 | 2.742 | 78.067 | 2.793 | 75.267 | -0.662 | 889.8 | 19.651 | 0.2288
2019-11-18 18:15:00 | 1.853 | 72.907 | 1.113 | 73.302 | 0.487 | 87 | 1.152 | 75.2 | -1.032 | 889.283 | 20.4 | 0.21317
2019-11-18 18:30:00 | 0.243 | 76.183 | 0 | 66.234 | 0 | 87 | 0 | 75.133 | -1.516 | 889.25 | 20.861 | 0.21601
2019-11-18 18:45:00 | 0.036 | 20.187 | 0.436 | 8.03 | 0.223 | 17.133 | 0.914 | 75 | -2.025 | 889.85 | 22.027 | 0.21459
2019-11-18 19:00:00 | 0 | 94.22 | 0 | 8.032 | 0 | 16.9 | 0.396 | 75 | -2.197 | 889.717 | 22.608 | 0.22028
2019-11-18 19:15:00 | 0.652 | 94.08 | 0 | 8.04 | 0 | 17 | 1.166 | 75.033 | -2.842 | 889.583 | 24.032 | 0.21743
2019-11-18 19:30:00 | 0 | 94.167 | 0 | 8.034 | 0 | 17.033 | 0 | 75.033 | -2.245 | 889.667 | 23.563 | 0.22454
2019-11-18 19:45:00 | 0 | 94.24 | 0 | 75.253 | 0 | 61.067 | 0.037 | 74.967 | -2.427 | 890.033 | 23.835 | 0.22312
2019-11-18 20:00:00 | 0 | 94.03 | 0 | 75.242 | 0 | 61.033 | 1.511 | 172.367 | -3.093 | 889.433 | 24.384 | 0.32046
2019-11-18 20:15:00 | 0.666 | 94 | 1.087 | 282.013 | 1.492 | 294.667 | 2.089 | 302.733 | -3.538 | 889.517 | 24.749 | 1.2456
2019-11-18 20:30:00 | 1.77 | 232.533 | 0 | 283.202 | 0.886 | 292.533 | 1.898 | 292.567 | -3.321 | 889.917 | 24.139 | 1.8105
2019-11-18 20:45:00 | 2.017 | 266.8 | 1.861 | 293.741 | 2.615 | 303.7 | 3.139 | 302.933 | -3.287 | 889.567 | 23.389 | 2.9226
2019-11-18 21:00:00 | 2.729 | 252.28 | 2.146 | 281.767 | 2.474 | 296.667 | 3.107 | 306.633 | -2.938 | 890 | 23.723 | 4.8709
2019-11-18 21:15:00 | 3.546 | 279.613 | 4.076 | 296.096 | 4.168 | 304.2 | 4.509 | 303.3 | -2.895 | 889.467 | 25.141 | 7.5633
2019-11-18 21:30:00 | 3.6 | 272.067 | 3.764 | 284.649 | 4.15 | 296.233 | 4.725 | 297.267 | -2.801 | 889.867 | 24.584 | 7.6606
2019-11-18 21:45:00 | 3.939 | 264.333 | 4.547 | 282.041 | 5.052 | 291.8 | 5.752 | 293.167 | -2.842 | 889.767 | 25.235 | 4.348
2019-11-18 22:00:00 | 2.47 | 249.34 | 3.214 | 280.738 | 3.549 | 291 | 4.156 | 293.6 | -4.169 | 889.733 | 26.992 | 1.7885
2019-11-18 22:15:00 | 3.072 | 217.42 | 2.004 | 261.59 | 2.384 | 276.8 | 2.838 | 281.8 | -5.958 | 889.517 | 29.144 | 0.36807
2019-11-18 22:30:00 | 2.782 | 218.073 | 1.316 | 254.833 | 1.474 | 268 | 2.092 | 279 | -5.504 | 889.95 | 29.696 | 0.076031
2019-11-18 22:45:00 | 2.004 | 251.567 | 1.394 | 282.789 | 1.745 | 295.867 | 2.435 | 292.433 | -3.74 | 889.783 | 27.869 | 0.23662
2019-11-18 23:00:00 | 2.537 | 226.733 | 1.523 | 254.124 | 1.642 | 257.267 | 2.264 | 288.867 | -3.154 | 889.417 | 26.912 | 0.27215
2019-11-18 23:15:00 | 1.713 | 234.28 | 0.767 | 258.515 | 1.053 | 261.867 | 2.398 | 302.033 | -2.94 | 889.7 | 26.445 | 0.2487
2019-11-18 23:30:00 | 1.827 | 232.113 | 0.383 | 267.07 | 1.343 | 300.933 | 1.54 | 311.933 | -3.04 | 889.75 | 26.763 | 0.22738
2019-11-18 23:45:00 | 1.989 | 211.16 | 0.933 | 251.57 | 0 | 286 | 0.883 | 312 | -3.025 | 889.333 | 26.976 | 0.23449