## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-20 00:00:00 | 1.172 | 281.067 | 0.586 | 312.715 | 0 | 330.2 | 0.091 | 45.092 | -2.711 | 889.667 | 39.643 | 0.12009
2019-11-20 00:15:00 | 0.502 | 263.867 | 0.023 | 343.33 | 0.742 | 0 | 0.833 | 129.933 | -1.64 | 889.4 | 39.469 | 0.72549
2019-11-20 00:30:00 | 0.89 | 202.24 | 0 | 164.562 | 0.347 | 164.967 | 1.684 | 158.2 | -1.78 | 889.883 | 38.219 | 2.784
2019-11-20 00:45:00 | 1.023 | 237.407 | 0.993 | 329.441 | 0.762 | 210.7 | 1.29 | 0 | -2.18 | 889.917 | 39.293 | 1.2911
2019-11-20 01:00:00 | 1.566 | 235.187 | 0.043 | 269.968 | 0 | 300.133 | 0.342 | 128.317 | -1.74 | 889.717 | 39.005 | 0.93866
2019-11-20 01:15:00 | 1.367 | 186.387 | 0 | 219.449 | 0 | 220.067 | 0.235 | 192.033 | -1.905 | 889.917 | 39.888 | 1.2208
2019-11-20 01:30:00 | 2.093 | 189.64 | 1.846 | 185.227 | 1.09 | 197.6 | 0.954 | 191.067 | -0.998 | 890.083 | 38.992 | 1.63
2019-11-20 01:45:00 | 1.672 | 131.453 | 1.009 | 129.735 | 1.517 | 154.8 | 2.655 | 146.9 | -2.569 | 889.817 | 39.221 | 2.5019
2019-11-20 02:00:00 | 2.527 | 133.977 | 2.486 | 97.035 | 2.493 | 93.167 | 2.745 | 100.833 | -2.794 | 889.95 | 40.315 | 3.6765
2019-11-20 02:15:00 | 1.89 | 164.44 | 1.577 | 135.673 | 1.98 | 152.4 | 2.855 | 165.033 | -2.569 | 890.383 | 41.419 | 4.7544
2019-11-20 02:30:00 | 1.639 | 147.547 | 0.937 | 153.81 | 3.173 | 158.033 | 3.669 | 150.2 | -3.729 | 889.433 | 41.547 | 2.9439
2019-11-20 02:45:00 | 2.037 | 169.387 | 3.519 | 171.063 | 2.882 | 165.733 | 3.188 | 155.8 | -4.032 | 889.542 | 43.616 | 0.84131
2019-11-20 03:00:00 | 2.748 | 249.46 | 2.905 | 197.772 | 2.627 | 168.017 | 2.622 | 161.233 | -5.049 | 889.825 | 44.139 | 0.30341
2019-11-20 03:15:00 | 3.346 | 213.367 | 2.676 | 179.598 | 1.728 | 179.667 | 2.075 | 159.467 | -4.969 | 889.867 | 44.16 | 0.21672
2019-11-20 03:30:00 | 3.152 | 236.24 | 3.811 | 190.712 | 4.26 | 182.25 | 4.573 | 177.333 | -6.186 | 890.075 | 45.163 | 1.387
2019-11-20 03:45:00 | 1.596 | 277.253 | 0 | 154.57 | 0.257 | 172.8 | 2.11 | 171.233 | -6.074 | 890.317 | 47.947 | 2.3662
2019-11-20 04:00:00 | 3.977 | 201.6 | 3.905 | 169.296 | 3.511 | 162.6 | 4.025 | 156.6 | -4.437 | 890.008 | 43.349 | 5.2816
2019-11-20 04:15:00 | 2.398 | 226.93 | 1.553 | 229.96 | 2.287 | 154.351 | 3.145 | 157 | -4.028 | 889.533 | 38.504 | 4.3302
2019-11-20 04:30:00 | 1.967 | 237.713 | 0.513 | 232.363 | 0.824 | 213.267 | 2.169 | 145.808 | -2.72 | 889.667 | 37.451 | 4.0978
2019-11-20 04:45:00 | 4.125 | 216.613 | 3.613 | 201.294 | 3.639 | 187.767 | 3.252 | 179.733 | -2.622 | 890.1 | 37.184 | 6.113
2019-11-20 05:00:00 | 4.942 | 213.767 | 4.633 | 182.922 | 2.743 | 169.467 | 3.312 | 161.1 | -4.52 | 889.8 | 39.275 | 5.3278
2019-11-20 05:15:00 | 2.53 | 248.393 | 3.819 | 198.179 | 2.781 | 177.017 | 2.16 | 143.067 | -7.572 | 890.083 | 43.083 | 0.85481
2019-11-20 05:30:00 | 0.226 | 242.707 | 0 | 303.556 | 0.073 | 240.5 | 1.004 | 204.8 | -6.034 | 890.342 | 42.464 | 0.20749
2019-11-20 05:45:00 | 1.4 | 242.733 | 0.076 | 303.208 | 0 | 255.733 | 0 | 243.1 | -4.952 | 889.742 | 41.107 | 0.23449
2019-11-20 06:00:00 | 1.416 | 234.373 | 0 | 305.056 | 0 | 270 | 0 | 243.5 | -4.44 | 889.575 | 40.293 | 0.18475
2019-11-20 06:15:00 | 2.134 | 227.467 | 0 | 305.018 | 0 | 270 | 0 | 243.5 | -4.985 | 889.767 | 40.709 | 0.17906
2019-11-20 06:30:00 | 1.074 | 212.187 | 0 | 305.076 | 0 | 268.8 | 1.435 | 120.875 | -4.562 | 890.125 | 42.176 | 0.53364
2019-11-20 06:45:00 | 1.221 | 213.787 | 0 | 50.987 | 0.349 | 63 | 0.675 | 79 | -2.831 | 890.05 | 40.181 | 0.20322
2019-11-20 07:00:00 | 1.479 | 225.5 | 0 | 306.883 | 0 | 63 | 0.235 | 78.867 | -2.766 | 889.717 | 38.907 | 0.21885
2019-11-20 07:15:00 | 1.716 | 244 | 0 | 307.002 | 0 | 312.033 | 0.104 | 79.1 | -3.176 | 890.217 | 37.632 | 0.1613
2019-11-20 07:30:00 | 0 | 233.907 | 0.356 | 159.992 | 0.957 | 157.833 | 1.296 | 78.833 | -3.197 | 889.783 | 37.077 | 0.46968
2019-11-20 07:45:00 | 1.121 | 210.6 | 0 | 69.98 | 0 | 73.7 | 1.844 | 129.067 | -3.437 | 889.8 | 38.091 | 5.2468
2019-11-20 08:00:00 | 1.723 | 178.667 | 1.826 | 139.62 | 2.386 | 144.067 | 2.873 | 135.267 | -3.221 | 889.683 | 37.749 | 11.6725
2019-11-20 08:15:00 | 0.638 | 213.507 | 0.53 | 134.128 | 0.207 | 134.167 | 1.757 | 105.9 | -2.746 | 889.9 | 36.843 | 3.5926
2019-11-20 08:30:00 | 0.033 | 227.167 | 0.264 | 296.731 | 0.592 | 101.433 | 1.748 | 93.833 | -3.522 | 890.017 | 38.211 | 0.41923
2019-11-20 08:45:00 | 1.323 | 75.98 | 1.793 | 62.806 | 2.449 | 67.667 | 3.024 | 72.667 | -3.97 | 889.35 | 38.848 | 1.9093
2019-11-20 09:00:00 | 0 | 93.567 | 0 | 66.912 | 0.755 | 84.333 | 2.403 | 101.3 | -5.285 | 889.592 | 40.912 | 3.0213
2019-11-20 09:15:00 | 1.89 | 171.64 | 2.634 | 126.562 | 3.932 | 120.167 | 4.495 | 113.6 | -3.742 | 889.7 | 40.64 | 4.7445
2019-11-20 09:30:00 | 2.922 | 164.413 | 2.82 | 134.596 | 2.987 | 130.733 | 3.28 | 124.133 | -2.72 | 889.667 | 36.437 | 2.4984
2019-11-20 09:45:00 | 2.811 | 189.2 | 2.354 | 138.952 | 1.832 | 132.533 | 2.069 | 136.533 | -3.823 | 889.633 | 37.595 | 0.34036
2019-11-20 10:00:00 | 2.677 | 202.907 | 1.64 | 152.364 | 2.044 | 123.1 | 2.23 | 107.167 | -2.287 | 890.333 | 36.432 | 0.32402
2019-11-20 10:15:00 | 3.299 | 208.46 | 2.154 | 173.068 | 2.268 | 148.167 | 2.687 | 121.1 | -0.955 | 890.233 | 33.749 | 0.19612
2019-11-20 10:30:00 | 0.773 | 199.713 | 1.13 | 138.031 | 2.608 | 115.1 | 3.32 | 105.467 | -0.226 | 889.617 | 34.805 | 2.4749
2019-11-20 10:45:00 | 1.234 | 171.753 | 2.476 | 122.64 | 3.448 | 112.533 | 3.461 | 103.567 | 0.432 | 889.55 | 31.947 | 3.9827
2019-11-20 11:00:00 | 1.99 | 98.54 | 2.066 | 89.018 | 1.981 | 89.067 | 2.529 | 86.1 | 1.032 | 889.417 | 27.952 | 6.0419
2019-11-20 11:15:00 | 3.966 | 72.098 | 4.118 | 68.412 | 4.402 | 75 | 4.855 | 72.833 | 1.982 | 889.817 | 26.219 | 7.6699
2019-11-20 11:30:00 | 4.384 | 84.647 | 4.112 | 81.806 | 3.852 | 90.767 | 3.565 | 91.733 | 2.016 | 889.783 | 26.128 | 10.9847
2019-11-20 11:45:00 | 4.028 | 98.973 | 3.555 | 93.578 | 3.357 | 99.433 | 3.286 | 90.7 | 2.736 | 889.533 | 24.971 | 13.4432
2019-11-20 12:00:00 | 5.885 | 109.873 | 5.522 | 104.636 | 5.237 | 105.867 | 5.507 | 101.867 | 2.753 | 889.967 | 23.499 | 15.0164
2019-11-20 12:15:00 | 5.149 | 119.433 | 5.778 | 113.199 | 5.788 | 118.367 | 6.048 | 115.467 | 3.121 | 889.65 | 22.693 | 19.9527
2019-11-20 12:30:00 | 5.729 | 99.667 | 4.858 | 93.923 | 4.512 | 96.6 | 4.557 | 96.333 | 3.387 | 889.767 | 22.037 | 16.9477
2019-11-20 12:45:00 | 6.058 | 111.543 | 6.155 | 107.207 | 6.21 | 113.3 | 6.241 | 107.967 | 3.882 | 889.8 | 22.459 | 21.0456
2019-11-20 13:00:00 | 6.543 | 120.6 | 7.012 | 115.381 | 6.9 | 121.033 | 7.23 | 117.367 | 3.689 | 889.867 | 22.133 | 20.8175
2019-11-20 13:15:00 | 5.336 | 90.91 | 5.205 | 86.342 | 4.97 | 94.3 | 4.727 | 89.533 | 4.067 | 889.683 | 21.296 | 12.6602
2019-11-20 13:30:00 | 5.247 | 104.75 | 4.292 | 97.717 | 4.002 | 97.833 | 4.594 | 89.733 | 4.753 | 890.017 | 20.816 | 9.717
2019-11-20 13:45:00 | 4.845 | 77.232 | 4.977 | 71.009 | 5.126 | 77.333 | 5.274 | 73.267 | 4.752 | 889.8 | 20.109 | 17.8771
2019-11-20 14:00:00 | 5.863 | 81.012 | 5.874 | 75.368 | 5.879 | 77.733 | 6.144 | 73.567 | 5.131 | 889.633 | 20.232 | 25.7296
2019-11-20 14:15:00 | 6.623 | 71.323 | 6.727 | 67.098 | 6.942 | 72.267 | 7.2 | 68.367 | 5.386 | 889.9 | 20.008 | 28.2813
2019-11-20 14:30:00 | 6.717 | 54.1 | 6.486 | 48.412 | 6.493 | 53.8 | 6.545 | 51.2 | 3.488 | 889.75 | 20.4 | 26.1211
2019-11-20 14:45:00 | 5.85 | 55.123 | 5.741 | 48.443 | 5.872 | 51.267 | 6.141 | 49.4 | 2.419 | 889.983 | 20.885 | 20.2249
2019-11-20 15:00:00 | 5.367 | 61.093 | 5.123 | 54.504 | 5.051 | 62.867 | 5.057 | 59.367 | 2.508 | 889.683 | 20.779 | 14.6966
2019-11-20 15:15:00 | 4.956 | 69.858 | 4.61 | 64.228 | 4.262 | 64.4 | 4.616 | 56.967 | 2.438 | 889.017 | 20.581 | 10.8553
2019-11-20 15:30:00 | 4.7 | 68.17 | 4.604 | 64.034 | 4.556 | 67.267 | 4.802 | 65.167 | 2.245 | 889.65 | 20.624 | 9.4555
2019-11-20 15:45:00 | 4.8 | 78.3 | 4.772 | 74.853 | 4.753 | 79.633 | 4.886 | 77.833 | 2.523 | 889.55 | 20.837 | 7.8958
2019-11-20 16:00:00 | 3.786 | 77.288 | 3.817 | 71.814 | 4.006 | 77.9 | 4.043 | 74.333 | 2.589 | 889.733 | 21.44 | 5.8764
2019-11-20 16:15:00 | 3.998 | 68.713 | 3.97 | 68.217 | 4.054 | 76.333 | 4.337 | 75.367 | 2.164 | 889.9 | 21.899 | 5.9716
2019-11-20 16:30:00 | 4.09 | 81.427 | 4.065 | 75.496 | 4.238 | 78.833 | 4.398 | 75.1 | 2.326 | 889.783 | 22.4 | 5.504
2019-11-20 16:45:00 | 3.56 | 96.667 | 3.379 | 89.261 | 3.397 | 92.7 | 3.699 | 86.767 | 2.065 | 889.483 | 23.205 | 5.0592
2019-11-20 17:00:00 | 3.713 | 90.323 | 3.46 | 90.717 | 3.498 | 98.9 | 3.552 | 95.967 | 2.177 | 889.433 | 23.973 | 3.4427
2019-11-20 17:15:00 | 2.832 | 82.135 | 2.816 | 76.653 | 2.731 | 80.2 | 2.972 | 74.033 | 1.999 | 889.883 | 24.011 | 1.0651
2019-11-20 17:30:00 | 3.538 | 71.01 | 3.3 | 64.654 | 3.366 | 67.667 | 3.26 | 68.133 | 1.982 | 889.75 | 23.792 | 1.2271
2019-11-20 17:45:00 | 3.399 | 69.513 | 3.09 | 64.672 | 3.152 | 68.133 | 3.486 | 65.6 | 1.775 | 889.85 | 24.133 | 2.3221
2019-11-20 18:00:00 | 3.024 | 55.263 | 2.936 | 50.52 | 2.807 | 59.133 | 2.977 | 60.2 | 1.596 | 889.683 | 25.024 | 1.6698
2019-11-20 18:15:00 | 3.089 | 70.587 | 3.081 | 66.869 | 3.213 | 72.167 | 3.374 | 71.2 | 0.965 | 889.25 | 25.952 | 1.041
2019-11-20 18:30:00 | 2.634 | 74.287 | 2.669 | 71.219 | 2.906 | 79.2 | 2.91 | 77.033 | 0.932 | 889.317 | 26.64 | 0.62601
2019-11-20 18:45:00 | 1.798 | 88.123 | 1.622 | 81.963 | 1.574 | 90.867 | 1.37 | 74.3 | 0.449 | 889.383 | 27.013 | 0.11795
2019-11-20 19:00:00 | 0.333 | 80.367 | 1.61 | 73.933 | 2.102 | 82.033 | 2.143 | 80.2 | -0.233 | 889.833 | 28.256 | 0.11156
2019-11-20 19:15:00 | 1.228 | 80.4 | 1.628 | 65.864 | 2.222 | 68.867 | 2.371 | 72 | -0.558 | 889.65 | 29.552 | 0.22454
2019-11-20 19:30:00 | 0.084 | 87.313 | 1.446 | 60.446 | 2.062 | 71.1 | 2.162 | 77.167 | -0.708 | 889.317 | 30.245 | 0.28281
2019-11-20 19:45:00 | 0 | 85.287 | 0 | 59.131 | 1.187 | 67.867 | 1.541 | 76 | -1.129 | 889.917 | 31.136 | 0.22596
2019-11-20 20:00:00 | 1.147 | 193.06 | 0 | 59.135 | 0 | 68 | 1.145 | 77.2 | -1.985 | 890.05 | 32.555 | 0.22738
2019-11-20 20:15:00 | 1.394 | 197.387 | 0 | 59.719 | 1.119 | 75.9 | 1.662 | 79.1 | -2.044 | 889.583 | 32.475 | 0.20038
2019-11-20 20:30:00 | 3.182 | 169.993 | 2.341 | 134.376 | 2.62 | 132.667 | 2.765 | 126.433 | -1.162 | 889.583 | 30.763 | 1.4602
2019-11-20 20:45:00 | 3.822 | 177.193 | 2.74 | 150.637 | 2.967 | 146.033 | 2.845 | 139.567 | -1.489 | 890.283 | 30.256 | 0.82142
2019-11-20 21:00:00 | 3.834 | 181.393 | 3.248 | 147.191 | 2.964 | 145.033 | 2.959 | 139.367 | -1.359 | 889.533 | 29.717 | 0.29986
2019-11-20 21:15:00 | 2.594 | 176.427 | 1.96 | 135.564 | 1.377 | 132.5 | 2.016 | 124.067 | -1.959 | 889.717 | 30.219 | 0.16059
2019-11-20 21:30:00 | 2.176 | 183.907 | 1.65 | 137.078 | 2.184 | 136.667 | 2.262 | 128 | -2.561 | 889.783 | 31.285 | 0.26362
2019-11-20 21:45:00 | 1.994 | 184.04 | 1.652 | 150.112 | 1.462 | 140.267 | 2.174 | 123.967 | -1.082 | 889.817 | 30.048 | 0.28138
2019-11-20 22:00:00 | 1.026 | 197.713 | 0.506 | 126.37 | 2.047 | 106.733 | 2.398 | 104.6 | -1.559 | 890.05 | 30.059 | 0.22454
2019-11-20 22:15:00 | 1.304 | 344.413 | 0.996 | 6.115 | 2.04 | 36.74 | 2.532 | 50.767 | -1.58 | 889.25 | 30.661 | 0.26149
2019-11-20 22:30:00 | 0.103 | 288.467 | 0 | 27.054 | 0.971 | 63.429 | 1.67 | 69.067 | -1.6 | 889.433 | 30.288 | 0.25296
2019-11-20 22:45:00 | 0.618 | 242.727 | 0 | 27.068 | 0 | 85 | 1.191 | 71 | -2.349 | 889.9 | 30.597 | 0.23733
2019-11-20 23:00:00 | 2.292 | 260.28 | 0 | 4.018 | 0 | 85.208 | 1.233 | 71.033 | -2.197 | 889.683 | 30.949 | 0.24301
2019-11-20 23:15:00 | 3.147 | 285.5 | 2.166 | 310.627 | 1.496 | 319.033 | 1.997 | 301.241 | -3.221 | 889.517 | 30.72 | 0.26291
2019-11-20 23:30:00 | 3.15 | 305.84 | 2.201 | 337.76 | 1.962 | 344.833 | 1.812 | 272.333 | -1.879 | 889.717 | 30.093 | 0.31123
2019-11-20 23:45:00 | 3.193 | 291.213 | 2.462 | 317.575 | 1.973 | 327.767 | 2.036 | 340.567 | -2.032 | 890.083 | 29.965 | 0.26433