## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-21 00:00:00 | 3.034 | 283.307 | 1.876 | 303.197 | 1.594 | 320.233 | 1.568 | 331.067 | -2.214 | 889.417 | 30.381 | 0.23875
2019-11-21 00:15:00 | 3.805 | 262.02 | 2.044 | 291.267 | 0.267 | 320.3 | 0.946 | 0 | -2.557 | 889.617 | 31.259 | 0.24159
2019-11-21 00:30:00 | 4.781 | 243.533 | 1.788 | 269.159 | 0.323 | 296.4 | 0.37 | 326.033 | -4.636 | 889.917 | 34.317 | 0.23662
2019-11-21 00:45:00 | 3.863 | 231.753 | 0.326 | 259.67 | 0 | 296.067 | 0 | 325.933 | -2.882 | 889.583 | 32.229 | 0.23164
2019-11-21 01:00:00 | 3.402 | 240.767 | 1.485 | 260.482 | 1.11 | 273.933 | 0.742 | 317.333 | -2.801 | 889.8 | 31.624 | 0.2423
2019-11-21 01:15:00 | 4.383 | 254.9 | 3.086 | 280.15 | 3.061 | 289.7 | 3.104 | 290.167 | -3.238 | 889.867 | 32.661 | 0.27215
2019-11-21 01:30:00 | 4.715 | 245.007 | 2.848 | 262.09 | 2.392 | 276 | 2.524 | 282.067 | -4.507 | 889.95 | 36.163 | 0.23449
2019-11-21 01:45:00 | 5.596 | 222.053 | 2.647 | 236.533 | 2.041 | 247.367 | 1.736 | 269.467 | -5.644 | 889.717 | 39.461 | 0.24586
2019-11-21 02:00:00 | 4.936 | 219.227 | 2.725 | 218.075 | 1.447 | 209 | 1.53 | 203 | -6.459 | 890.017 | 43.221 | 0.23733
2019-11-21 02:15:00 | 5.758 | 223.04 | 3.292 | 224.329 | 2.892 | 224.567 | 2.776 | 215.167 | -5.918 | 889.992 | 43.883 | 0.1343
2019-11-21 02:30:00 | 5.199 | 220.14 | 2.661 | 223.174 | 2.678 | 213.9 | 2.717 | 201.733 | -5.671 | 890.025 | 43.445 | 0.22951
2019-11-21 02:45:00 | 4.814 | 216.033 | 2.573 | 219.536 | 2.046 | 208.467 | 2.256 | 198.3 | -5.352 | 889.692 | 43.637 | 0.18972
2019-11-21 03:00:00 | 5.685 | 219.633 | 3.302 | 225.767 | 2.982 | 231.6 | 3.176 | 218.9 | -4.752 | 889.758 | 44.267 | 0.20535
2019-11-21 03:15:00 | 4.304 | 217.333 | 1.641 | 225.998 | 1.564 | 226.567 | 1.914 | 219 | -3.622 | 890.042 | 41.728 | 0.24159
2019-11-21 03:30:00 | 5.306 | 219.7 | 1.932 | 240.916 | 1.919 | 235.6 | 1.995 | 220.767 | -5.185 | 890.258 | 44.352 | 0.2352
2019-11-21 03:45:00 | 4.378 | 224.927 | 2.844 | 242.556 | 2.022 | 247.833 | 1.67 | 238.533 | -6.226 | 889.808 | 47.648 | 0.21175
2019-11-21 04:00:00 | 4.104 | 202.007 | 2.519 | 238.168 | 2.269 | 248.733 | 2.196 | 247 | -6.585 | 878.633 | 49.44 | 0.25722
2019-11-21 04:15:00 | 4.009 | 200.9 | 2.906 | 234.47 | 1.722 | 257.667 | 1.455 | 247.1 | -6.88 | 875.9 | 50.08 | 0.26149
2019-11-21 04:30:00 | 5.107 | 235.113 | 2.515 | 275.246 | 2.027 | 311.4 | 2.46 | 313.9 | -5.808 | 880.617 | 48.891 | 0.14851
2019-11-21 04:45:00 | 3.918 | 259.2 | 3.36 | 297.608 | 3.874 | 322.567 | 4.286 | 331.2 | -5.319 | 889.525 | 46.939 | 1.4297
2019-11-21 05:00:00 | 3.571 | 286.773 | 3.986 | 316.881 | 4.189 | 335.967 | 4.178 | 340.7 | -4.249 | 888.05 | 44.053 | 0.51729
2019-11-21 05:15:00 | 3.673 | 264.427 | 2.843 | 304.57 | 2.474 | 324.367 | 1.98 | 334.633 | -4.619 | 887.183 | 42.715 | 0.26717
2019-11-21 05:30:00 | 3.13 | 258.3 | 1.704 | 293.707 | 0.503 | 326.467 | 0.108 | 340.533 | -4.023 | 889.733 | 42.075 | 0.23449
2019-11-21 05:45:00 | 4.091 | 243.5 | 0.81 | 269.133 | 0 | 322.933 | 0.739 | 342.167 | -3.522 | 885.667 | 41.104 | 0.23733
2019-11-21 06:00:00 | 3.606 | 235.233 | 0.48 | 216.456 | 0.766 | 175.867 | 2.224 | 136.967 | -2.809 | 889.183 | 38.56 | 0.28565
2019-11-21 06:15:00 | 3.772 | 233.293 | 1.139 | 199.48 | 1.477 | 160.8 | 2.259 | 134.867 | -2.276 | 889.433 | 36.987 | 0.24586
2019-11-21 06:30:00 | 4.256 | 226.587 | 1.797 | 215.774 | 1.651 | 181.567 | 2.455 | 141.267 | -2.221 | 889.85 | 37.659 | 0.25865
2019-11-21 06:45:00 | 5.442 | 209.107 | 4.389 | 212.51 | 3.411 | 212.4 | 3.112 | 196.767 | -3.761 | 880.217 | 40.555 | 0.17977
2019-11-21 07:00:00 | 5.478 | 205.187 | 4.234 | 208.014 | 3.486 | 202.2 | 4.036 | 183.133 | -3.116 | 882.383 | 39.317 | 1.1326
2019-11-21 07:15:00 | 5.262 | 208.42 | 4.289 | 210.013 | 3.659 | 202.667 | 3.051 | 192 | -2.005 | 883.983 | 37.605 | 1.1405
2019-11-21 07:30:00 | 5.618 | 205.273 | 4.983 | 195.361 | 4.229 | 203.267 | 2.86 | 206.3 | -3.626 | 884.267 | 38.245 | 0.1208
2019-11-21 07:45:00 | 5.103 | 212.767 | 3.134 | 205.282 | 3.054 | 211.233 | 3.158 | 207.133 | -3.608 | 871.1 | 40.037 | 0.20109
2019-11-21 08:00:00 | 3.874 | 204.373 | 2.51 | 193.696 | 2.316 | 203.9 | 2.498 | 197 | -4.614 | 862.025 | 43.179 | 0.24159
2019-11-21 08:15:00 | 4.572 | 218.467 | 2.107 | 200.313 | 1.679 | 210 | 2.099 | 202 | -3.342 | 861.933 | 40.853 | 0.2288
2019-11-21 08:30:00 | 4.37 | 221.047 | 1.422 | 207.498 | 1.259 | 211.733 | 1.29 | 202 | -4.049 | 868.108 | 42.688 | 0.2217
2019-11-21 08:45:00 | 4.76 | 217.413 | 0.509 | 221.51 | 0 | 214.067 | 0 | 202.033 | -3.866 | 873.733 | 42.021 | 0.22454
2019-11-21 09:00:00 | 5.002 | 223.333 | 1.517 | 238.129 | 0 | 218.133 | 0.312 | 202 | -1.346 | 888.433 | 37.941 | 0.2217
2019-11-21 09:15:00 | 4.815 | 223.58 | 1.756 | 241.765 | 0 | 221.067 | 0.598 | 202 | -1.699 | 890.083 | 37.584 | 0.23733
2019-11-21 09:30:00 | 4.985 | 228.453 | 2.508 | 244.179 | 1.813 | 267.8 | 1.966 | 256.667 | -2.857 | 889.567 | 39.115 | 0.22312
2019-11-21 09:45:00 | 5.143 | 222.767 | 2.71 | 240.875 | 1.403 | 258.067 | 0.69 | 260.8 | -3.858 | 886.308 | 41.216 | 0.22738
2019-11-21 10:00:00 | 5.136 | 227.16 | 3.452 | 223.972 | 2.413 | 233.033 | 1.606 | 237.967 | -1.566 | 889.733 | 37.664 | 0.23236
2019-11-21 10:15:00 | 5.04 | 223.64 | 3.92 | 227.942 | 2.498 | 230.6 | 1.922 | 227.3 | -1.082 | 889.433 | 36.427 | 1.4012
2019-11-21 10:30:00 | 5.092 | 218.04 | 4.852 | 222.68 | 3.941 | 231.2 | 3.318 | 233.633 | -0.875 | 889.7 | 35.659 | 1.7643
2019-11-21 10:45:00 | 2.683 | 291.347 | 3.342 | 276.649 | 3.959 | 296.367 | 4.329 | 301.5 | -0.442 | 889.933 | 35.336 | 13.5491
2019-11-21 11:00:00 | 4.997 | 315.12 | 6.273 | 310.502 | 7.219 | 315.433 | 7.615 | 315.333 | -1.079 | 889.5 | 35.683 | 21.8684
2019-11-21 11:15:00 | 4.291 | 330.667 | 4.609 | 322.74 | 5.288 | 323.567 | 5.79 | 319.733 | -0.662 | 889.967 | 34.392 | 15.177
2019-11-21 11:30:00 | 2.913 | 317.56 | 2.898 | 308.874 | 3.534 | 311.833 | 4.788 | 308.8 | -0.948 | 889.817 | 35.595 | 9.1151
2019-11-21 11:45:00 | 2.107 | 310.067 | 1.806 | 297.685 | 1.887 | 298.4 | 2.614 | 293.733 | -0.618 | 889.733 | 35.635 | 5.4174
2019-11-21 12:00:00 | 2.599 | 284.68 | 2.708 | 285.476 | 3.032 | 288.2 | 3.441 | 287.467 | -0.016 | 889.9 | 34.821 | 5.8977
2019-11-21 12:15:00 | 4.511 | 308.347 | 4.339 | 302.741 | 4.507 | 304.5 | 4.718 | 300.833 | 0.532 | 890 | 34.768 | 14.1552
2019-11-21 12:30:00 | 6.326 | 295.493 | 6.202 | 292.994 | 6.579 | 296.333 | 6.932 | 293.067 | 0.748 | 889.883 | 34.408 | 18.6893
2019-11-21 12:45:00 | 7.104 | 283.3 | 7.464 | 283.989 | 7.449 | 287.833 | 7.577 | 286.1 | 1.359 | 889.633 | 33.416 | 23.8104
2019-11-21 13:00:00 | 6.405 | 298.6 | 6.609 | 297.769 | 6.87 | 302.333 | 7.31 | 298.767 | 2.184 | 889.617 | 32.36 | 36.2204
2019-11-21 13:15:00 | 7.573 | 329.947 | 7.709 | 322.571 | 7.85 | 324 | 7.939 | 321.567 | 0.715 | 889.55 | 39.315 | 60.1111
2019-11-21 13:30:00 | 8.35 | 323.667 | 8.678 | 317.632 | 8.808 | 322.933 | 8.998 | 323.167 | 0.482 | 889.808 | 40.605 | 63.4181
2019-11-21 13:45:00 | 7.82 | 327.547 | 8.496 | 320.113 | 8.482 | 327.167 | 8.774 | 327.467 | 0.648 | 889.942 | 40.696 | 67.069
2019-11-21 14:00:00 | 11.058 | 319.24 | 11.278 | 310.61 | 11.389 | 314.467 | 11.471 | 312.133 | 0.868 | 889.8 | 40.168 | 75.1687
2019-11-21 14:15:00 | 9.026 | 299 | 9.567 | 296.538 | 9.805 | 300.1 | 10.195 | 298.6 | 1.983 | 888.417 | 37.123 | 76.5806
2019-11-21 14:30:00 | 9.777 | 271.38 | 10.328 | 277.789 | 10.472 | 281.3 | 10.658 | 278.7 | 1.559 | 889.817 | 37.435 | 67.2352
2019-11-21 14:45:00 | 11.15 | 261.46 | 11.759 | 275.644 | 11.824 | 280.033 | 11.798 | 277.033 | 1.58 | 889.583 | 37.299 | 58.324
2019-11-21 15:00:00 | 9.707 | 272.273 | 10.338 | 279.368 | 10.76 | 281.633 | 10.76 | 279.833 | 1.566 | 890.017 | 36.091 | 44.9135
2019-11-21 15:15:00 | 8.493 | 272.667 | 8.936 | 279.922 | 9.088 | 282 | 9.346 | 279.867 | 2.062 | 889.9 | 33.664 | 37.0333
2019-11-21 15:30:00 | 8.372 | 276.947 | 8.91 | 278.868 | 9.147 | 283.433 | 9.531 | 281.567 | 2.324 | 889.917 | 33.901 | 39.5601
2019-11-21 15:45:00 | 7.912 | 264.733 | 8.545 | 277.121 | 8.579 | 280.6 | 8.792 | 279.2 | 2.328 | 889.9 | 34.219 | 43.4313
2019-11-21 16:00:00 | 6.966 | 291.18 | 7.423 | 293.444 | 7.686 | 295.367 | 7.895 | 294.3 | 1.686 | 889.417 | 34.805 | 58.1876
2019-11-21 16:15:00 | 8.302 | 285.1 | 8.579 | 287.677 | 8.678 | 289.633 | 8.634 | 286.867 | 1.516 | 889.617 | 36.701 | 77.0851
2019-11-21 16:30:00 | 11.155 | 296.76 | 11.763 | 296.741 | 12.126 | 301.467 | 12.616 | 299.333 | 1.399 | 889.633 | 40.029 | 79.889
2019-11-21 16:45:00 | 12.777 | 283.647 | 13.967 | 286.512 | 14.212 | 290.3 | 14.559 | 288 | 0.366 | 889.5 | 39.667 | 79.872
2019-11-21 17:00:00 | 11.795 | 268.467 | 13.11 | 275.838 | 13.407 | 279.367 | 13.74 | 276 | 0.1 | 889.6 | 39.715 | 79.8791
2019-11-21 17:15:00 | 12.231 | 275.807 | 13.03 | 278.37 | 12.981 | 282.7 | 13.272 | 279.633 | 0.05 | 889.917 | 39.325 | 79.7441
2019-11-21 17:30:00 | 11.523 | 281.28 | 12.51 | 286.282 | 13.375 | 286.833 | 13.725 | 287.3 | -0.336 | 889.617 | 39.832 | 79.776
2019-11-21 17:45:00 | 11.064 | 277.207 | 12.449 | 282.904 | 12.931 | 284.8 | 13.118 | 283.8 | -0.938 | 889.475 | 41.179 | 79.2026
2019-11-21 18:00:00 | 9.342 | 286.333 | 10.256 | 287.005 | 10.868 | 289.433 | 11.446 | 286.467 | -1.216 | 890.075 | 42.416 | 79.555
2019-11-21 18:15:00 | 10.151 | 245.253 | 11.534 | 262.192 | 11.852 | 266.467 | 12.142 | 262.05 | -1.499 | 890.333 | 43.568 | 78.6881
2019-11-21 18:30:00 | 9.989 | 245.627 | 10.722 | 259.167 | 11.364 | 262.4 | 11.34 | 259.033 | -1.272 | 889.908 | 45.851 | 78.799
2019-11-21 18:45:00 | 11.258 | 238.78 | 11.941 | 258.885 | 12.354 | 264.033 | 12.425 | 261.05 | -1.72 | 889.842 | 48.523 | 75.5865
2019-11-21 19:00:00 | 8.978 | 257.933 | 10.033 | 266.66 | 10.437 | 270.6 | 10.812 | 265.833 | -1.78 | 890.117 | 51.381 | 72.6576
2019-11-21 19:15:00 | 9.391 | 243.673 | 10.5 | 263.926 | 10.743 | 269.067 | 11.103 | 265.4 | -1.352 | 889.992 | 53.403 | 76.5586
2019-11-21 19:30:00 | 10.499 | 252.807 | 11.836 | 269.642 | 12.114 | 273.2 | 12.363 | 267.8 | -1.893 | 890.033 | 55.227 | 77.8255
2019-11-21 19:45:00 | 7.931 | 252.553 | 8.766 | 267.366 | 9.096 | 271.233 | 9.235 | 267.75 | -1.882 | 889.55 | 56.304 | 67.8278
2019-11-21 20:00:00 | 7.722 | 246.18 | 8.545 | 265.71 | 8.877 | 271.533 | 9.46 | 265.333 | -1.906 | 890.075 | 57.893 | 75.1119
2019-11-21 20:15:00 | 8.854 | 253.44 | 9.751 | 268.953 | 10.69 | 273 | 10.969 | 269.9 | -1.799 | 890.092 | 58.587 | 79.4989
2019-11-21 20:30:00 | 10.714 | 269.513 | 12.32 | 277.532 | 12.937 | 279.633 | 13.51 | 277.067 | -1.809 | 890.217 | 60.389 | 79.8251
2019-11-21 20:45:00 | 10.883 | 260.987 | 11.75 | 276.312 | 12.234 | 278.5 | 12.52 | 277.967 | -2.476 | 889.725 | 63.536 | 79.6687
2019-11-21 21:00:00 | 10.144 | 262.38 | 11.216 | 271.303 | 11.48 | 274.8 | 11.724 | 269.9 | -2.618 | 889.783 | 61.509 | 79.4755
2019-11-21 21:15:00 | 10.026 | 256.647 | 10.877 | 270.792 | 11.185 | 273.133 | 11.666 | 271.367 | -2.536 | 889.975 | 59.979 | 79.0527
2019-11-21 21:30:00 | 9.447 | 249.353 | 10.386 | 263.691 | 10.61 | 268.133 | 10.803 | 264.833 | -2.74 | 889.967 | 59.04 | 79.5622
2019-11-21 21:45:00 | 8.84 | 245.467 | 10.033 | 253.964 | 10.514 | 256.983 | 10.731 | 251.233 | -3.354 | 889.842 | 59.573 | 79.4541
2019-11-21 22:00:00 | 9.922 | 237.233 | 10.56 | 258.041 | 10.873 | 260.333 | 11.098 | 256.017 | -3.287 | 889.708 | 61.659 | 78.4594
2019-11-21 22:15:00 | 10.09 | 235.367 | 11.646 | 257.968 | 12.232 | 262.367 | 12.43 | 258.833 | -3.739 | 889.925 | 60.64 | 79.7057
2019-11-21 22:30:00 | 9.87 | 251.4 | 11.209 | 261.487 | 11.907 | 265.067 | 12.428 | 258.6 | -3.722 | 889.542 | 60.181 | 79.7043
2019-11-21 22:45:00 | 11.372 | 236.233 | 12.536 | 251.932 | 12.758 | 255.233 | 12.698 | 250.25 | -3.907 | 889.683 | 59.52 | 79.6687
2019-11-21 23:00:00 | 9.445 | 231.247 | 10.539 | 245.161 | 11.011 | 251.417 | 11.322 | 246.05 | -3.863 | 889.875 | 59.584 | 79.1124
2019-11-21 23:15:00 | 8.226 | 239.047 | 9.652 | 254.726 | 10.035 | 257.3 | 10.232 | 254.117 | -4.172 | 889.9 | 59.685 | 77.9492
2019-11-21 23:30:00 | 10.347 | 232.56 | 11.871 | 255.925 | 12.829 | 260.9 | 12.907 | 258.5 | -4.345 | 889.517 | 60.293 | 77.6671
2019-11-21 23:45:00 | 13.74 | 234.227 | 15.814 | 253.026 | 16.824 | 257.767 | 17.229 | 254.533 | -4.673 | 889.342 | 59.904 | 75.6889