## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-22 00:00:00 | 12.346 | 233.8 | 14.472 | 250.964 | 15.589 | 256.417 | 16.017 | 252.317 | -4.952 | 889.833 | 59.291 | 73.744
2019-11-22 00:15:00 | 13.086 | 235.62 | 14.438 | 248.505 | 15.663 | 252.833 | 15.577 | 247.683 | -4.759 | 889.392 | 58.432 | 68.8759
2019-11-22 00:30:00 | 11.839 | 231.54 | 13.88 | 247.81 | 15.201 | 252.217 | 15.689 | 247.683 | -4.769 | 890.1 | 58.08 | 65.3018
2019-11-22 00:45:00 | 12.2 | 233.14 | 14.207 | 246.553 | 14.956 | 252.117 | 15.367 | 249.117 | -5.419 | 889.292 | 57.579 | 64.2743
2019-11-22 01:00:00 | 9.67 | 234.933 | 11.371 | 247.278 | 12.333 | 253.733 | 12.787 | 251.35 | -5.285 | 889.817 | 57.568 | 62.7729
2019-11-22 01:15:00 | 8.963 | 234.1 | 10.622 | 247.95 | 11.678 | 252.1 | 12.296 | 249.767 | -5.531 | 890.042 | 57.717 | 67.6374
2019-11-22 01:30:00 | 10.288 | 238.313 | 12.112 | 251.851 | 12.958 | 255.933 | 13.64 | 251.583 | -5.879 | 889.908 | 57.739 | 74.3466
2019-11-22 01:45:00 | 9.979 | 231.473 | 11.956 | 247.757 | 12.867 | 252.3 | 12.991 | 248.217 | -5.452 | 889.767 | 56.971 | 78.3002
2019-11-22 02:00:00 | 11.007 | 237.167 | 13.112 | 251.39 | 14.023 | 254.767 | 14.138 | 250.767 | -5.519 | 890.175 | 56.571 | 79.4271
2019-11-22 02:15:00 | 11.674 | 241.213 | 13.544 | 254.302 | 14.211 | 258.717 | 14.32 | 254.167 | -5.402 | 889.683 | 56.725 | 78.8303
2019-11-22 02:30:00 | 11.394 | 241.18 | 12.498 | 255.478 | 13.088 | 259.3 | 13.24 | 257.217 | -5.739 | 889.767 | 57.045 | 78.7151
2019-11-22 02:45:00 | 10.61 | 245.18 | 12.146 | 254.999 | 12.684 | 261.1 | 12.855 | 255.817 | -6.312 | 889.692 | 58.341 | 78.1694
2019-11-22 03:00:00 | 10.273 | 242.173 | 12.105 | 256.252 | 12.678 | 259.4 | 12.718 | 254.983 | -6.873 | 889.85 | 60.955 | 71.9747
2019-11-22 03:15:00 | 9.767 | 236.887 | 11.119 | 256.708 | 11.424 | 260.567 | 11.563 | 256.533 | -7.356 | 889.808 | 61.888 | 59.2783
2019-11-22 03:30:00 | 8.581 | 240.22 | 10.012 | 255.221 | 10.36 | 261.583 | 10.863 | 256.283 | -7.433 | 889.692 | 62.523 | 49.3069
2019-11-22 03:45:00 | 7.231 | 250.027 | 8.439 | 261.518 | 9.026 | 265 | 9.332 | 261.85 | -7.622 | 889.767 | 62.629 | 53.3437
2019-11-22 04:00:00 | 7.378 | 248.4 | 8.399 | 266.314 | 8.64 | 269.133 | 9.196 | 265.333 | -7.606 | 889.492 | 61.739 | 73.5365
2019-11-22 04:15:00 | 9.304 | 234.62 | 10.312 | 248.1 | 11.123 | 253 | 11.216 | 248.283 | -7.78 | 889.9 | 60.821 | 79.4598
2019-11-22 04:30:00 | 8.751 | 229.173 | 9.708 | 241.232 | 10.388 | 246.3 | 10.678 | 241.817 | -8.07 | 889.775 | 61.909 | 79.3149
2019-11-22 04:45:00 | 10.198 | 222.293 | 11.76 | 242.482 | 12.645 | 248.667 | 13.077 | 242.633 | -8.01 | 890.217 | 61.451 | 78.2014
2019-11-22 05:00:00 | 9.875 | 227.947 | 11.346 | 245.072 | 12.212 | 250.533 | 12.372 | 246.25 | -8.441 | 889.892 | 61.163 | 65.7068
2019-11-22 05:15:00 | 8.412 | 236.353 | 9.915 | 252.468 | 10.905 | 255.767 | 11.082 | 250.167 | -8.491 | 889.725 | 60.395 | 20.9646
2019-11-22 05:30:00 | 7.355 | 239.58 | 8.582 | 250.426 | 9.328 | 255.1 | 9.737 | 250.8 | -8.624 | 889.783 | 59.243 | 19.628
2019-11-22 05:45:00 | 5.044 | 235.313 | 6.853 | 243.112 | 7.758 | 247.35 | 7.86 | 245.383 | -8.958 | 889.458 | 59.541 | 28.9925
2019-11-22 06:00:00 | 3.644 | 233.2 | 4.113 | 226.042 | 5.079 | 227.367 | 5.446 | 224.067 | -9.124 | 889.792 | 59.008 | 39.8372
2019-11-22 06:15:00 | 4.638 | 229.28 | 5.15 | 237.025 | 5.788 | 248.733 | 6.562 | 251.417 | -9.891 | 890.35 | 58.987 | 37.4255
2019-11-22 06:30:00 | 4.686 | 243.18 | 5.768 | 250.996 | 6.099 | 256.567 | 6.106 | 251.483 | -9.995 | 889.758 | 58.304 | 33.6595
2019-11-22 06:45:00 | 4.942 | 262.893 | 6.031 | 268.022 | 6.187 | 272.6 | 6.248 | 266.333 | -9.808 | 889.442 | 59.728 | 30.1657
2019-11-22 07:00:00 | 5.239 | 258.807 | 7.613 | 268.082 | 8.153 | 271.6 | 8.482 | 266.033 | -10.02 | 889.35 | 58.715 | 31.5527
2019-11-22 07:15:00 | 6.152 | 263.207 | 7.885 | 273.45 | 8.666 | 277.5 | 8.862 | 272.167 | -9.62 | 889.608 | 59.088 | 23.1865
2019-11-22 07:30:00 | 4.722 | 265.213 | 6.258 | 270.987 | 6.733 | 274.833 | 7.109 | 269.3 | -9.499 | 889.933 | 60.363 | 18.2132
2019-11-22 07:45:00 | 4.052 | 271.88 | 5.697 | 273.912 | 6.391 | 274.9 | 7.008 | 270.983 | -9.745 | 889.742 | 60.907 | 12.4186
2019-11-22 08:00:00 | 3.425 | 279.6 | 5.343 | 278.136 | 5.973 | 281.167 | 6.497 | 275.367 | -9.537 | 890.183 | 60.912 | 8.8032
2019-11-22 08:15:00 | 2.323 | 320.227 | 4.01 | 300.947 | 5.133 | 302.133 | 5.793 | 296.333 | -9.683 | 889.592 | 60.704 | 10.8489
2019-11-22 08:30:00 | 3.945 | 298.4 | 5.461 | 298.113 | 6.233 | 301.533 | 6.895 | 296.8 | -10.266 | 889.967 | 63.376 | 13.704
2019-11-22 08:45:00 | 3.514 | 297.133 | 5.524 | 295.893 | 6.114 | 300.033 | 6.445 | 294.533 | -10.316 | 890.15 | 65.168 | 18.6133
2019-11-22 09:00:00 | 3.865 | 307.32 | 5.311 | 303.768 | 6.007 | 307.333 | 6.498 | 304.167 | -10.853 | 890 | 66.523 | 27.1721
2019-11-22 09:15:00 | 3.989 | 296.72 | 5.579 | 298.159 | 6.396 | 303.733 | 7.128 | 300.367 | -10.947 | 889.9 | 67.595 | 31.0816
2019-11-22 09:30:00 | 4.856 | 294.52 | 6.304 | 293.655 | 7.02 | 298.433 | 7.632 | 294.367 | -10.506 | 889.833 | 66.827 | 24.4748
2019-11-22 09:45:00 | 4.329 | 296 | 5.47 | 292.65 | 5.678 | 296.967 | 6.037 | 291.4 | -10.349 | 889.792 | 66.469 | 15.7206
2019-11-22 10:00:00 | 3.352 | 304.373 | 4.37 | 303.407 | 4.921 | 306.467 | 5.432 | 301.033 | -9.691 | 889.75 | 63.733 | 10.6251
2019-11-22 10:15:00 | 3.879 | 162.833 | 4.049 | 346.384 | 3.614 | 340.733 | 3.356 | 330.433 | -10.266 | 889.842 | 64.843 | 7.7111
2019-11-22 10:30:00 | 2.95 | 344.333 | 2.96 | 336.111 | 3.094 | 335.6 | 3.112 | 328.5 | -10.183 | 889.842 | 65.819 | 8.605
2019-11-22 10:45:00 | 4.204 | 271.373 | 4.343 | 346.328 | 4.167 | 322.3 | 3.9 | 338.433 | -9.808 | 889.783 | 63.893 | 14.637
2019-11-22 11:00:00 | 5.586 | 340.72 | 5.65 | 334.003 | 5.732 | 332.9 | 5.551 | 322.3 | -9.974 | 889.842 | 64.085 | 21.6865
2019-11-22 11:15:00 | 6.543 | 321.84 | 6.759 | 314.802 | 6.774 | 318.333 | 6.836 | 316.533 | -9.725 | 889.342 | 59.803 | 27.2751
2019-11-22 11:30:00 | 6.304 | 305.2 | 6.274 | 304.183 | 6.337 | 306.167 | 6.527 | 304.4 | -8.958 | 889.6 | 55.045 | 25.4845
2019-11-22 11:45:00 | 6.734 | 323.4 | 7.059 | 316.722 | 7.442 | 320.333 | 7.458 | 319.467 | -8.19 | 889.875 | 50.101 | 28.8092
2019-11-22 12:00:00 | 7.162 | 330.067 | 7.343 | 325.137 | 7.65 | 327.367 | 7.625 | 324.2 | -7.606 | 890.267 | 47.52 | 32.3699
2019-11-22 12:15:00 | 6.262 | 332 | 6.441 | 324.298 | 6.793 | 325.967 | 6.968 | 323.4 | -7.539 | 889.933 | 43.264 | 32.3862
2019-11-22 12:30:00 | 6.461 | 328.64 | 6.811 | 324.526 | 6.815 | 330.1 | 6.955 | 328.867 | -7.266 | 890.017 | 39.648 | 35.1134
2019-11-22 12:45:00 | 7.275 | 306.773 | 7.369 | 305.502 | 7.716 | 309.7 | 8.03 | 309.467 | -6.936 | 889.817 | 34.291 | 37.9841
2019-11-22 13:00:00 | 9.625 | 296.013 | 10.19 | 296.149 | 10.548 | 299.733 | 11.171 | 298.733 | -6.632 | 889.9 | 29.229 | 34.8867
2019-11-22 13:15:00 | 9.129 | 283.107 | 9.804 | 291.835 | 10.033 | 296.567 | 10.499 | 294.533 | -6.362 | 889.75 | 28.949 | 32.3706
2019-11-22 13:30:00 | 9.566 | 287.567 | 10.487 | 291.916 | 10.643 | 294.6 | 10.924 | 292.867 | -6.067 | 889.817 | 30.008 | 32.08
2019-11-22 13:45:00 | 9.62 | 280.707 | 10.206 | 284.108 | 10.409 | 287.467 | 10.841 | 287 | -5.898 | 889.65 | 29.589 | 32.0551
2019-11-22 14:00:00 | 10.229 | 267.413 | 10.845 | 282.132 | 11.125 | 283.933 | 11.489 | 281.6 | -5.739 | 889.5 | 31.128 | 32.1652
2019-11-22 14:15:00 | 10.536 | 285 | 11.167 | 284.805 | 11.421 | 288.7 | 11.899 | 286.167 | -5.918 | 889.533 | 31.605 | 31.8583
2019-11-22 14:30:00 | 10.295 | 282.913 | 11.221 | 287.644 | 11.46 | 290.267 | 11.531 | 288.067 | -6.057 | 889.917 | 31.723 | 32.1574
2019-11-22 14:45:00 | 10.185 | 278.107 | 10.934 | 285.658 | 11.249 | 289.867 | 11.665 | 287.767 | -5.958 | 889.8 | 32.563 | 31.9293
2019-11-22 15:00:00 | 10.535 | 281.153 | 11.429 | 286.213 | 12.025 | 290.233 | 12.278 | 285.1 | -6.107 | 889.567 | 33.869 | 31.9158
2019-11-22 15:15:00 | 11.484 | 275.873 | 12.386 | 283.77 | 13.112 | 287.867 | 13.533 | 286.067 | -6.093 | 889.667 | 34.605 | 31.9542
2019-11-22 15:30:00 | 12.428 | 266.94 | 13.314 | 279.328 | 13.731 | 282.167 | 14.019 | 280.067 | -6.378 | 889.5 | 35.424 | 32.1986
2019-11-22 15:45:00 | 11.728 | 268.24 | 12.749 | 277.314 | 12.675 | 281.233 | 13.172 | 277.533 | -6.428 | 889.867 | 35.832 | 33.8578
2019-11-22 16:00:00 | 10.337 | 264.987 | 11.508 | 277.588 | 11.698 | 281.533 | 11.831 | 278.067 | -6.72 | 889.8 | 37.387 | 34.2138
2019-11-22 16:15:00 | 10.467 | 263.967 | 11.575 | 276.539 | 12.016 | 280 | 12.1 | 276.167 | -6.512 | 889.483 | 37.603 | 34.0781
2019-11-22 16:30:00 | 11.64 | 269.12 | 12.803 | 275.272 | 13.259 | 278.333 | 13.27 | 276.067 | -6.78 | 889.583 | 38.573 | 34.665
2019-11-22 16:45:00 | 8.73 | 240.847 | 9.503 | 262.872 | 9.919 | 268.133 | 10.212 | 266.417 | -6.691 | 889.7 | 39.008 | 48.6916
2019-11-22 17:00:00 | 8.97 | 245.84 | 9.66 | 264.554 | 10.05 | 268.533 | 10.159 | 263.667 | -6.601 | 889.667 | 38.48 | 54.8998
2019-11-22 17:15:00 | 9.866 | 247.093 | 10.715 | 265.85 | 10.944 | 268.767 | 11.241 | 263.567 | -7.071 | 889.7 | 40.016 | 58.5258
2019-11-22 17:30:00 | 10.054 | 243.86 | 11.128 | 261.474 | 11.507 | 265.6 | 11.496 | 261.367 | -7.234 | 890.15 | 41.563 | 59.5334
2019-11-22 17:45:00 | 8.91 | 229.533 | 9.62 | 262.176 | 9.911 | 264.9 | 9.884 | 260.617 | -7.472 | 889.508 | 42.821 | 60.4408
2019-11-22 18:00:00 | 8.852 | 232.127 | 9.443 | 251.982 | 9.904 | 255.333 | 9.84 | 250.833 | -7.916 | 890.2 | 43.797 | 60.9467
2019-11-22 18:15:00 | 7.939 | 244.093 | 9.056 | 256.295 | 9.782 | 259.533 | 9.984 | 255.25 | -8.09 | 889.917 | 45.515 | 58.707
2019-11-22 18:30:00 | 7.916 | 231.067 | 9.187 | 252.416 | 9.675 | 255.15 | 9.764 | 251.25 | -8.411 | 890.15 | 46.597 | 59.8866
2019-11-22 18:45:00 | 7.966 | 239.733 | 9.322 | 254.435 | 9.551 | 256.883 | 9.835 | 252.917 | -8.674 | 889.758 | 48.283 | 58.7745
2019-11-22 19:00:00 | 8.791 | 232.76 | 9.955 | 251.395 | 10.499 | 256.167 | 10.539 | 250.783 | -8.874 | 889.567 | 48.853 | 59.1682
2019-11-22 19:15:00 | 7.782 | 241.653 | 9.2 | 252.807 | 10.102 | 256.55 | 10.303 | 251.117 | -9.308 | 889.517 | 50.256 | 60.2958
2019-11-22 19:30:00 | 7.585 | 228.553 | 8.719 | 257.973 | 9.166 | 261.083 | 9.383 | 256.517 | -9.274 | 889.733 | 50.203 | 58.6665
2019-11-22 19:45:00 | 8.116 | 242.193 | 9.439 | 258.618 | 9.818 | 262.767 | 10.052 | 257.433 | -9.141 | 889.725 | 49.861 | 53.2335
2019-11-22 20:00:00 | 7.516 | 236.773 | 8.706 | 263.893 | 9.094 | 268.033 | 9.182 | 262.05 | -9.158 | 889.925 | 50.053 | 43.1484
2019-11-22 20:15:00 | 6.662 | 243.86 | 8.22 | 261.765 | 8.563 | 265.9 | 8.718 | 261.767 | -9.295 | 890.258 | 50.24 | 35.2526
2019-11-22 20:30:00 | 6.289 | 248.133 | 7.566 | 255.166 | 7.999 | 259.5 | 7.97 | 254.883 | -9.787 | 889.692 | 51.707 | 39.0577
2019-11-22 20:45:00 | 5.794 | 239.367 | 6.962 | 249.788 | 7.483 | 254.367 | 7.492 | 249.767 | -10.016 | 890.058 | 52.693 | 39.0137
2019-11-22 21:00:00 | 4.399 | 253.347 | 5.817 | 260.092 | 6.691 | 267.167 | 7.182 | 262.833 | -10.078 | 889.833 | 53.883 | 32.512
2019-11-22 21:15:00 | 4.788 | 261.713 | 5.966 | 269.255 | 6.686 | 272.867 | 6.961 | 269.1 | -9.641 | 889.742 | 52.021 | 36.2758
2019-11-22 21:30:00 | 4.758 | 277.027 | 5.761 | 277.541 | 6.121 | 279.933 | 6.448 | 276.2 | -10.116 | 889.483 | 49.653 | 29.5489
2019-11-22 21:45:00 | 3.642 | 275.133 | 4.795 | 270.958 | 5.411 | 274.733 | 5.923 | 269.1 | -10.299 | 889.95 | 48.208 | 27.9622
2019-11-22 22:00:00 | 4.728 | 257.507 | 5.575 | 266.413 | 5.978 | 270.833 | 6.2 | 266.683 | -10.37 | 889.467 | 47.717 | 24.354
2019-11-22 22:15:00 | 4.137 | 253.647 | 5.287 | 258.24 | 5.676 | 263.8 | 6.017 | 261.183 | -11.311 | 889.667 | 47.824 | 22.9492
2019-11-22 22:30:00 | 4.634 | 254.067 | 5.674 | 260.976 | 6.333 | 266.033 | 6.627 | 261.683 | -11.176 | 890.017 | 48.475 | 32.1261
2019-11-22 22:45:00 | 4.916 | 244.913 | 6.349 | 263.982 | 6.928 | 268.1 | 7.286 | 264.133 | -11.328 | 889.6 | 47.675 | 35.6506
2019-11-22 23:00:00 | 5.052 | 250.847 | 6.247 | 267.544 | 6.722 | 271.933 | 6.785 | 265.9 | -10.778 | 890.458 | 45.2 | 38.4274
2019-11-22 23:15:00 | 5.614 | 250.62 | 7.162 | 261.287 | 7.707 | 267.633 | 7.923 | 261.5 | -11.395 | 889.825 | 45.925 | 47.7096
2019-11-22 23:30:00 | 6.408 | 247.347 | 7.973 | 259.121 | 8.442 | 263.933 | 8.508 | 258.667 | -11.395 | 889.575 | 46.907 | 58.3048
2019-11-22 23:45:00 | 6.725 | 245.767 | 8.062 | 257.549 | 8.654 | 261.933 | 9.079 | 256.933 | -11.495 | 889.583 | 48.267 | 59.5497