## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-23 00:00:00 | 7.958 | 234.853 | 9.452 | 256.594 | 10.192 | 263.067 | 10.352 | 260.083 | -11.62 | 889.592 | 46.379 | 59.8659
2019-11-23 00:15:00 | 6.748 | 230.567 | 8.558 | 246.704 | 9.635 | 252.233 | 9.762 | 247.633 | -11.89 | 889.792 | 45.237 | 67.5962
2019-11-23 00:30:00 | 8.239 | 234.553 | 9.488 | 247.42 | 10.131 | 251.933 | 10.267 | 248.6 | -11.703 | 890.042 | 43.808 | 66.7314
2019-11-23 00:45:00 | 8.015 | 227.433 | 9.698 | 246.308 | 10.482 | 251.067 | 10.669 | 247.85 | -11.311 | 890.075 | 42.043 | 64.9337
2019-11-23 01:00:00 | 7.79 | 225.1 | 10.023 | 246.848 | 10.84 | 252.233 | 11.124 | 247.9 | -11.295 | 890.15 | 42.539 | 65.3089
2019-11-23 01:15:00 | 9.071 | 219.233 | 11.159 | 249.618 | 11.958 | 255.2 | 12.032 | 250.85 | -11.478 | 890.55 | 43.227 | 66.3072
2019-11-23 01:30:00 | 7.762 | 231.413 | 9.678 | 251.825 | 10.765 | 257.117 | 11.229 | 253.183 | -11.778 | 889.542 | 43.285 | 67.1272
2019-11-23 01:45:00 | 8.902 | 228.92 | 10.635 | 252.415 | 11.218 | 256.8 | 11.623 | 252.367 | -11.545 | 890.133 | 44.581 | 67.5294
2019-11-23 02:00:00 | 8.82 | 226.62 | 10.696 | 249.212 | 11.592 | 253.617 | 11.786 | 249.767 | -11.632 | 890.083 | 45.109 | 67.4157
2019-11-23 02:15:00 | 9.337 | 227.833 | 11.224 | 245.689 | 12.445 | 250.7 | 12.362 | 246.967 | -11.495 | 889.767 | 45.536 | 67.2452
2019-11-23 02:30:00 | 9.662 | 222.087 | 11.178 | 245.683 | 11.737 | 250.467 | 11.794 | 245.483 | -11.757 | 889.642 | 45.472 | 67.2125
2019-11-23 02:45:00 | 8.268 | 225.313 | 10.516 | 245.22 | 11.454 | 251.2 | 11.846 | 246.267 | -12.249 | 889.975 | 45.44 | 63.2561
2019-11-23 03:00:00 | 8.481 | 230.167 | 9.828 | 248.069 | 10.472 | 253.133 | 10.855 | 247.667 | -12.166 | 889.625 | 45.568 | 60.0727
2019-11-23 03:15:00 | 8.796 | 228 | 10.352 | 243.178 | 11.119 | 247.8 | 11.304 | 244.2 | -12.386 | 889.542 | 44.875 | 54.8664
2019-11-23 03:30:00 | 8.32 | 228.153 | 9.81 | 241.184 | 10.353 | 247.833 | 10.851 | 244.25 | -11.911 | 889.983 | 44.48 | 56.4801
2019-11-23 03:45:00 | 7.942 | 225.367 | 9.158 | 233.432 | 9.988 | 239.6 | 10.228 | 236.033 | -12.37 | 890.108 | 45.216 | 56.397
2019-11-23 04:00:00 | 7.655 | 230.833 | 9.159 | 241.655 | 9.949 | 248.433 | 10.108 | 243.817 | -12.586 | 889.733 | 46.101 | 56.6492
2019-11-23 04:15:00 | 8.407 | 231.667 | 9.998 | 242.532 | 10.748 | 248.1 | 10.798 | 243.267 | -12.436 | 889.85 | 46.891 | 56.8823
2019-11-23 04:30:00 | 8.535 | 226.233 | 10.154 | 244.181 | 10.873 | 250 | 11.155 | 246.167 | -12.386 | 889.85 | 47.445 | 57.342
2019-11-23 04:45:00 | 8.475 | 228.833 | 10.274 | 247.437 | 10.983 | 251.867 | 10.92 | 246.783 | -12.453 | 889.767 | 48.821 | 57.7286
2019-11-23 05:00:00 | 7.925 | 230.94 | 9.536 | 247.882 | 10.484 | 252.367 | 10.817 | 246.717 | -12.736 | 889.758 | 50.405 | 58.3802
2019-11-23 05:15:00 | 9.262 | 228.607 | 11.266 | 245.235 | 12.079 | 250.067 | 12.358 | 244.867 | -13.259 | 889.867 | 53.291 | 58.8776
2019-11-23 05:30:00 | 9.243 | 228.173 | 11.3 | 246.425 | 12.376 | 251.333 | 12.747 | 246.75 | -13.14 | 889.533 | 54.112 | 58.329
2019-11-23 05:45:00 | 9.621 | 224.86 | 11.801 | 244.546 | 13.358 | 249.85 | 13.469 | 244.3 | -13.503 | 890.1 | 54.389 | 57.9474
2019-11-23 06:00:00 | 9.688 | 229.487 | 11.88 | 244.248 | 13.763 | 248.2 | 14.199 | 244.3 | -13.316 | 889.717 | 54.667 | 57.9439
2019-11-23 06:15:00 | 10.372 | 229.5 | 12.59 | 243.955 | 14.262 | 248.5 | 14.567 | 243.367 | -13.02 | 889.6 | 54.656 | 57.7605
2019-11-23 06:30:00 | 11.045 | 226.507 | 13.206 | 244.345 | 14.329 | 249.2 | 14.546 | 244.133 | -13.224 | 890.1 | 54.496 | 57.9048
2019-11-23 06:45:00 | 10.69 | 234.5 | 12.671 | 244.102 | 13.93 | 248.733 | 14.212 | 244.367 | -13.003 | 889.7 | 54.411 | 57.7769
2019-11-23 07:00:00 | 10.191 | 228.62 | 12.54 | 244.642 | 13.923 | 249.1 | 14.182 | 244.333 | -13.232 | 889.317 | 54.283 | 58.0817
2019-11-23 07:15:00 | 9.619 | 230.9 | 11.581 | 241.43 | 12.993 | 247 | 13.187 | 242.233 | -12.986 | 890.125 | 51.616 | 58.2203
2019-11-23 07:30:00 | 10.362 | 219.8 | 12.347 | 247.599 | 13.543 | 250.867 | 14.11 | 246.567 | -12.97 | 889.875 | 50.576 | 58.0334
2019-11-23 07:45:00 | 9.934 | 230.46 | 11.736 | 242.932 | 12.51 | 247.233 | 12.812 | 242.533 | -13.353 | 889.808 | 49.952 | 58.1101
2019-11-23 08:00:00 | 8.558 | 226.3 | 10.34 | 231.123 | 11.473 | 235.433 | 11.665 | 230.533 | -14.083 | 890.292 | 54.741 | 58.0085
2019-11-23 08:15:00 | 7.837 | 228 | 10.243 | 232.267 | 11.767 | 235.867 | 11.994 | 231.467 | -14.266 | 889.517 | 54.528 | 57.995
2019-11-23 08:30:00 | 8.439 | 223.6 | 10.627 | 230.862 | 12.179 | 237.9 | 12.313 | 231.533 | -14.033 | 889.933 | 54.261 | 58.0931
2019-11-23 08:45:00 | 9.446 | 222.8 | 11.653 | 232.464 | 13.002 | 238.133 | 13.279 | 234.3 | -13.766 | 889.908 | 51.179 | 57.9403
2019-11-23 09:00:00 | 9.534 | 220.833 | 11.831 | 236.689 | 13.13 | 242.733 | 13.515 | 238.233 | -13.833 | 890.108 | 51.701 | 57.3399
2019-11-23 09:15:00 | 10.046 | 223.1 | 12.25 | 235.131 | 13.763 | 242.6 | 14.125 | 239 | -13.036 | 890.05 | 47.936 | 57.3669
2019-11-23 09:30:00 | 8.934 | 223.267 | 11.118 | 231.574 | 12.779 | 236.933 | 13.176 | 233.8 | -12.703 | 890.058 | 47.371 | 57.914
2019-11-23 09:45:00 | 8.717 | 225.633 | 10.293 | 232.696 | 11.568 | 237.267 | 11.888 | 233.3 | -12.37 | 889.717 | 46.816 | 58.3894
2019-11-23 10:00:00 | 8.732 | 226.2 | 10.305 | 232.419 | 11.426 | 237.967 | 11.901 | 232.433 | -11.528 | 889.725 | 43.477 | 58.9088
2019-11-23 10:15:00 | 9.533 | 225.167 | 10.958 | 234.998 | 11.858 | 239.733 | 12.248 | 234.333 | -10.984 | 889.75 | 39.488 | 57.8003
2019-11-23 10:30:00 | 9.552 | 228.167 | 10.278 | 237.28 | 10.854 | 240.867 | 10.851 | 235.2 | -10.283 | 889.6 | 35.803 | 57.7634
2019-11-23 10:45:00 | 10.101 | 226.16 | 10.621 | 238.347 | 11.048 | 243.467 | 11.106 | 238.467 | -9.354 | 889.817 | 33.157 | 61.2054
2019-11-23 11:00:00 | 9.825 | 227.68 | 10.936 | 248.051 | 11.378 | 251.6 | 11.476 | 246.9 | -9.174 | 889.617 | 31.768 | 68.1618
2019-11-23 11:15:00 | 8.973 | 236.44 | 9.55 | 248.806 | 9.774 | 252.85 | 9.702 | 247.983 | -8.758 | 890.05 | 30.056 | 65.0332
2019-11-23 11:30:00 | 9.037 | 235.047 | 9.337 | 253.275 | 9.462 | 255.633 | 9.611 | 249.817 | -8.23 | 889.9 | 28.472 | 61.1606
2019-11-23 11:45:00 | 9.48 | 240.473 | 10.434 | 260.052 | 10.724 | 264.9 | 11.023 | 260.033 | -8.013 | 889.967 | 25.835 | 60.8501
2019-11-23 12:00:00 | 7.687 | 241.507 | 8.372 | 262.583 | 8.608 | 267.4 | 8.929 | 264.567 | -8.093 | 890.25 | 25.117 | 62.7601
2019-11-23 12:15:00 | 8.645 | 255.673 | 9.219 | 272.342 | 9.548 | 273.9 | 9.557 | 268.633 | -8.311 | 889.7 | 24.109 | 63.2745
2019-11-23 12:30:00 | 8.595 | 234.113 | 9.353 | 255.359 | 9.782 | 260 | 9.942 | 254.15 | -7.689 | 889.617 | 23.771 | 61.6587
2019-11-23 12:45:00 | 8.977 | 235.333 | 9.783 | 258.67 | 10.001 | 262.533 | 9.903 | 258.8 | -7.422 | 889.883 | 23.851 | 57.784
2019-11-23 13:00:00 | 7.48 | 242.7 | 8.161 | 265.121 | 8.381 | 267.6 | 8.448 | 264.183 | -7.456 | 889.667 | 23.709 | 53.9377
2019-11-23 13:15:00 | 8.389 | 237.26 | 8.662 | 256.003 | 8.576 | 260.8 | 8.572 | 257.067 | -7.249 | 889.767 | 23.875 | 51.1253
2019-11-23 13:30:00 | 8.028 | 257.94 | 8.452 | 272.938 | 8.814 | 277.533 | 8.753 | 274.667 | -7.572 | 889.833 | 23.592 | 49.7624
2019-11-23 13:45:00 | 8.57 | 266.567 | 8.903 | 272.475 | 9.392 | 278.367 | 9.619 | 274.267 | -7.406 | 889.667 | 23.339 | 41.1503
2019-11-23 14:00:00 | 8.116 | 262.053 | 8.648 | 280.314 | 9.081 | 282.633 | 9.156 | 279.4 | -7.25 | 889.933 | 24.051 | 36.3554
2019-11-23 14:15:00 | 6.908 | 263.447 | 7.236 | 275.117 | 7.253 | 280.167 | 7.542 | 279.1 | -7.572 | 889.45 | 24.517 | 41.4388
2019-11-23 14:30:00 | 7.394 | 260.693 | 7.791 | 269.301 | 7.841 | 273.05 | 8.011 | 270.633 | -7.489 | 889.683 | 24.491 | 35.6385
2019-11-23 14:45:00 | 6.704 | 253.247 | 7.076 | 266.376 | 7.33 | 270.733 | 7.266 | 267.733 | -7.522 | 889.817 | 24.24 | 31.7993
2019-11-23 15:00:00 | 7.953 | 275.52 | 8.328 | 279.19 | 8.427 | 281.967 | 8.495 | 278.233 | -7.131 | 889.717 | 24.357 | 33.2204
2019-11-23 15:15:00 | 7.116 | 299.253 | 7.225 | 297.99 | 7.489 | 302.5 | 7.593 | 298.967 | -7.304 | 889.533 | 24.931 | 29.9305
2019-11-23 15:30:00 | 5.789 | 269.527 | 6.345 | 273.216 | 6.686 | 277.533 | 6.909 | 274.433 | -7.231 | 889.617 | 24.461 | 30.6126
2019-11-23 15:45:00 | 7.156 | 306.173 | 7.381 | 305.28 | 7.742 | 310.167 | 7.954 | 306.233 | -7.051 | 889.767 | 25.44 | 27.4705
2019-11-23 16:00:00 | 6.622 | 304.8 | 6.785 | 300.85 | 7.026 | 303.3 | 7.398 | 300.533 | -7.19 | 889.8 | 25.979 | 27.5998
2019-11-23 16:15:00 | 6.308 | 303.267 | 6.421 | 300.035 | 6.379 | 302.5 | 6.67 | 304.3 | -7.104 | 889.783 | 25.997 | 21.4549
2019-11-23 16:30:00 | 5.436 | 261.573 | 5.624 | 275.374 | 5.91 | 280.4 | 6.121 | 279.433 | -7.43 | 889.367 | 25.536 | 23.3137
2019-11-23 16:45:00 | 6.265 | 288.553 | 6.704 | 290.942 | 6.926 | 293.4 | 7.183 | 290.233 | -7.48 | 889.45 | 25.613 | 19.2826
2019-11-23 17:00:00 | 6.076 | 285.947 | 6.414 | 286.671 | 6.613 | 290.7 | 6.778 | 287.3 | -7.489 | 889.65 | 25.835 | 17.077
2019-11-23 17:15:00 | 5.886 | 300.2 | 5.927 | 296.025 | 6.132 | 299.033 | 6.305 | 293.967 | -7.522 | 889.683 | 26.248 | 12.6175
2019-11-23 17:30:00 | 4.673 | 294.08 | 5.04 | 291.665 | 5.181 | 294.767 | 5.434 | 291.7 | -7.506 | 889.833 | 26.68 | 10.5356
2019-11-23 17:45:00 | 4.494 | 307.667 | 4.716 | 303.713 | 4.884 | 307.7 | 5.028 | 304.667 | -7.589 | 889.783 | 27.157 | 7.8631
2019-11-23 18:00:00 | 3.93 | 302.307 | 4.315 | 296.858 | 4.695 | 300.067 | 5.003 | 297.367 | -8.064 | 889.683 | 28.173 | 6.0903
2019-11-23 18:15:00 | 3.36 | 316.96 | 4.061 | 310.123 | 4.404 | 313.433 | 4.643 | 309.533 | -8.434 | 889.917 | 29.192 | 6.0739
2019-11-23 18:30:00 | 2.994 | 341.533 | 3.46 | 334.812 | 3.726 | 337.3 | 4.009 | 333.667 | -8.658 | 890.017 | 30.405 | 7.392
2019-11-23 18:45:00 | 3.148 | 338.4 | 3.8 | 332.775 | 3.966 | 333.867 | 4.05 | 329.9 | -9.291 | 889.983 | 32.349 | 8.6654
2019-11-23 19:00:00 | 4.096 | 334.853 | 4.571 | 329.692 | 4.815 | 334.4 | 5.114 | 331.7 | -9.662 | 889.8 | 33.715 | 4.8326
2019-11-23 19:15:00 | 1.917 | 333.4 | 3.556 | 330.333 | 3.843 | 334.633 | 4.087 | 335.933 | -10.366 | 889.717 | 34.565 | 2.4472
2019-11-23 19:30:00 | 1.157 | 325.293 | 2.834 | 330.171 | 3.058 | 338.8 | 3.313 | 338.233 | -10.966 | 889.417 | 36.733 | 0.36168
2019-11-23 19:45:00 | 1.046 | 299.013 | 1.912 | 321.175 | 2.107 | 333.933 | 2.733 | 336.067 | -11.038 | 889.767 | 37.872 | 0.26362
2019-11-23 20:00:00 | 0.362 | 282.933 | 0.321 | 314.94 | 0.799 | 333 | 1.816 | 330.8 | -10.687 | 889.767 | 37.525 | 0.24017
2019-11-23 20:15:00 | 1.043 | 219.347 | 0 | 315.102 | 0 | 338 | 0.424 | 331.133 | -11.87 | 889.867 | 38.661 | 0.21459
2019-11-23 20:30:00 | 1.014 | 214.4 | 0 | 314.914 | 0 | 338.067 | 0 | 331.067 | -11.89 | 889.817 | 39.856 | 0.21317
2019-11-23 20:45:00 | 1.639 | 216.6 | 0 | 314.755 | 0 | 338 | 0 | 331.067 | -11.411 | 889.8 | 40.555 | 0.21459
2019-11-23 21:00:00 | 1.875 | 193.24 | 0 | 311.944 | 0 | 337.933 | 0 | 330.867 | -11.47 | 889.733 | 40.379 | 0.2217
2019-11-23 21:15:00 | 2.862 | 187.4 | 0.958 | 178.463 | 0 | 338 | 0.175 | 331 | -11.445 | 889.7 | 39.008 | 0.2217
2019-11-23 21:30:00 | 2.395 | 183.1 | 0.472 | 169.466 | 0 | 338 | 0.397 | 331 | -11.361 | 889.967 | 38.512 | 0.22738
2019-11-23 21:45:00 | 1.008 | 186.533 | 0 | 169.552 | 0 | 338 | 0.367 | 331 | -11.632 | 889.5 | 39.643 | 0.2288
2019-11-23 22:00:00 | 1.619 | 182.88 | 0 | 169.491 | 0 | 136.4 | 1.077 | 330.267 | -10.939 | 889.817 | 39.056 | 0.22596
2019-11-23 22:15:00 | 1.895 | 168.933 | 0.447 | 143.204 | 0.998 | 94.033 | 1.289 | 62 | -11.084 | 889.533 | 38.347 | 0.28849
2019-11-23 22:30:00 | 3.646 | 172.14 | 2.59 | 142.308 | 2.233 | 139.8 | 2.409 | 105.933 | -11.42 | 889.517 | 36.747 | 0.18333
2019-11-23 22:45:00 | 3.81 | 171.24 | 3.036 | 150.158 | 2.871 | 142.967 | 3.005 | 123.9 | -11.811 | 889.533 | 36.933 | 1.6371
2019-11-23 23:00:00 | 4.193 | 167.733 | 4.25 | 139.91 | 3.77 | 142.7 | 3.29 | 141.167 | -12.486 | 889.867 | 38.907 | 4.9058
2019-11-23 23:15:00 | 3.899 | 160.233 | 4.192 | 136.462 | 3.166 | 138.767 | 2.872 | 134.633 | -12.82 | 889.867 | 40.208 | 8.0543
2019-11-23 23:30:00 | 4.312 | 163.4 | 5.139 | 140.214 | 4.867 | 143.533 | 4.089 | 139.7 | -13.17 | 890.008 | 42.496 | 9.2686
2019-11-23 23:45:00 | 3.798 | 168.8 | 4.278 | 141.832 | 3.405 | 138.733 | 3.094 | 136.767 | -13.086 | 890.033 | 42.485 | 8.4039