## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-24 00:00:00 | 3.746 | 162.893 | 4.165 | 136.123 | 3.385 | 136.9 | 3.235 | 132.167 | -13.109 | 889.733 | 41.547 | 6.9898
2019-11-24 00:15:00 | 3.707 | 168.5 | 4.299 | 140.484 | 3.551 | 140.533 | 2.912 | 133.667 | -12.703 | 889.675 | 41.104 | 7.0588
2019-11-24 00:30:00 | 3.364 | 172.333 | 3.276 | 134.749 | 2.806 | 135.467 | 3.105 | 128.833 | -12.62 | 889.558 | 40.704 | 7.0524
2019-11-24 00:45:00 | 3.631 | 178.2 | 3.68 | 147.659 | 3.584 | 141.867 | 2.816 | 136.3 | -12.636 | 889.517 | 40.32 | 5.5325
2019-11-24 01:00:00 | 3.455 | 173.34 | 3.191 | 139.328 | 2.657 | 135.467 | 3.397 | 125.033 | -12.14 | 889.45 | 38.053 | 4.3686
2019-11-24 01:15:00 | 3.064 | 166.333 | 3.33 | 128.014 | 3.754 | 124.867 | 4.22 | 117.333 | -11.461 | 889.75 | 35.835 | 3.7696
2019-11-24 01:30:00 | 3.078 | 173.747 | 3.092 | 132.236 | 3.445 | 115.967 | 3.299 | 106.533 | -11.87 | 889.667 | 35.152 | 4.4382
2019-11-24 01:45:00 | 2.924 | 162.247 | 3.37 | 120.149 | 3.349 | 111.1 | 3.01 | 103.067 | -11.87 | 889.883 | 34.149 | 7.1256
2019-11-24 02:00:00 | 3.019 | 154.127 | 3.718 | 113.076 | 3.414 | 110.433 | 3.004 | 100.267 | -12.428 | 889.817 | 33.872 | 11.7514
2019-11-24 02:15:00 | 3.16 | 128.32 | 3.824 | 100.926 | 3.011 | 95.867 | 3.347 | 90.433 | -11.62 | 889.567 | 32.987 | 8.8444
2019-11-24 02:30:00 | 2.896 | 137.253 | 3.875 | 105.006 | 3.418 | 104.333 | 3.178 | 98.567 | -12.47 | 889.6 | 33.259 | 13.2528
2019-11-24 02:45:00 | 3.846 | 118.89 | 4.424 | 103.099 | 3.272 | 102.233 | 3.29 | 93.3 | -11.276 | 889.7 | 31.328 | 19.0126
2019-11-24 03:00:00 | 3.851 | 119.953 | 4.542 | 102.552 | 3.598 | 102.833 | 3.161 | 94 | -11.303 | 889.667 | 31.408 | 21.2211
2019-11-24 03:15:00 | 4.308 | 111 | 4.392 | 97.252 | 3.29 | 98.867 | 3.625 | 87.9 | -11.445 | 890 | 32.229 | 23.8985
2019-11-24 03:30:00 | 4.386 | 105.567 | 4.903 | 91.479 | 3.838 | 95 | 4.084 | 85.067 | -11.361 | 889.333 | 32.021 | 20.8743
2019-11-24 03:45:00 | 3.947 | 106.74 | 4.438 | 90.69 | 3.768 | 95.1 | 3.966 | 85.233 | -11.732 | 889.633 | 32.741 | 18.9615
2019-11-24 04:00:00 | 3.98 | 113.2 | 4.315 | 98.231 | 3.143 | 98.767 | 3.238 | 93.7 | -12.336 | 889.6 | 34.011 | 24.393
2019-11-24 04:15:00 | 4.935 | 111.307 | 5.561 | 101.987 | 4.928 | 104.233 | 4.449 | 95.467 | -12.282 | 889.733 | 35.12 | 14.8651
2019-11-24 04:30:00 | 4.019 | 113.1 | 4.01 | 100.014 | 3.116 | 102.033 | 2.977 | 93.133 | -13.186 | 890.033 | 38.667 | 8.5886
2019-11-24 04:45:00 | 3.559 | 121.807 | 3.799 | 103.351 | 2.677 | 102.067 | 2.667 | 93.467 | -13.12 | 889.55 | 39.408 | 7.7885
2019-11-24 05:00:00 | 2.947 | 111.653 | 2.666 | 91.74 | 2.254 | 94.967 | 3.408 | 99.5 | -13.157 | 889.65 | 38.987 | 11.838
2019-11-24 05:15:00 | 1.882 | 148.627 | 2.376 | 102.226 | 2.188 | 99.9 | 2.995 | 98.333 | -14.195 | 889.817 | 39.813 | 11.1197
2019-11-24 05:30:00 | 0.433 | 141.347 | 2.114 | 80.709 | 3.964 | 80.4 | 4.702 | 79.267 | -14.849 | 890.158 | 42.549 | 12.1336
2019-11-24 05:45:00 | 1.476 | 82.967 | 3.166 | 80.04 | 4.272 | 83.633 | 4.494 | 83.1 | -14.166 | 889.683 | 42.357 | 14.0145
2019-11-24 06:00:00 | 3.471 | 74.1 | 4.572 | 73.296 | 5.116 | 81.433 | 4.898 | 82.967 | -13.966 | 889.683 | 41.643 | 12.7348
2019-11-24 06:15:00 | 3.612 | 76.733 | 5.171 | 76.423 | 4.969 | 84.867 | 4.144 | 84.933 | -14.149 | 890.25 | 43.275 | 14.2177
2019-11-24 06:30:00 | 3.784 | 87.98 | 4.741 | 81.337 | 4.036 | 88.167 | 3.382 | 87.3 | -14.537 | 890.142 | 45.12 | 16.3842
2019-11-24 06:45:00 | 2.945 | 94.933 | 4.061 | 86.799 | 3.057 | 94.5 | 2.775 | 89.7 | -15.441 | 889.708 | 46.677 | 14.6007
2019-11-24 07:00:00 | 2.665 | 100.967 | 3.278 | 87.223 | 2.707 | 93.633 | 2.625 | 93.4 | -15.358 | 890.233 | 47.285 | 9.285
2019-11-24 07:15:00 | 2.095 | 121.32 | 3.019 | 93.122 | 2.967 | 96.867 | 2.771 | 93.867 | -15.241 | 890.175 | 47.285 | 10.3075
2019-11-24 07:30:00 | 2.018 | 108.333 | 3.553 | 83.896 | 3.952 | 87.4 | 3.794 | 87.4 | -15.308 | 890.325 | 48.011 | 14.4174
2019-11-24 07:45:00 | 1.737 | 94.727 | 4.09 | 81.877 | 4.128 | 87.833 | 4.187 | 86.233 | -16.019 | 889.675 | 49.376 | 33.6375
2019-11-24 08:00:00 | 4.651 | 86.787 | 5.724 | 82.947 | 5.742 | 91.1 | 5.998 | 84.4 | -14.62 | 889.833 | 46.357 | 37.8775
2019-11-24 08:15:00 | 4.024 | 95.267 | 5.233 | 85.818 | 4.248 | 96.4 | 3.888 | 92.767 | -14.199 | 889.583 | 44.48 | 25.191
2019-11-24 08:30:00 | 3.647 | 87.733 | 4.715 | 82.49 | 3.982 | 91.633 | 3.565 | 91.767 | -15.124 | 890.225 | 46.069 | 18.759
2019-11-24 08:45:00 | 2.61 | 100.1 | 3.56 | 86.46 | 3.103 | 98.333 | 3.073 | 91.567 | -15.258 | 889.633 | 46.955 | 27.4634
2019-11-24 09:00:00 | 3.776 | 92.367 | 5.752 | 85.379 | 4.967 | 93.7 | 4.65 | 91 | -15.291 | 889.142 | 47.115 | 28.4532
2019-11-24 09:15:00 | 4.266 | 93.887 | 5.349 | 87.197 | 4.402 | 96.533 | 4.201 | 90.967 | -14.724 | 889.733 | 46.101 | 27.6311
2019-11-24 09:30:00 | 4.189 | 93.12 | 5.154 | 86.186 | 4.333 | 94.767 | 4.153 | 92.633 | -14.258 | 890.158 | 45.269 | 20.8153
2019-11-24 09:45:00 | 3.413 | 94.767 | 4.719 | 87.291 | 3.958 | 92.4 | 3.978 | 89.333 | -14.033 | 890 | 44.992 | 16.9506
2019-11-24 10:00:00 | 3.928 | 87.033 | 4.476 | 83.162 | 4.256 | 87.4 | 4.079 | 85.3 | -13.374 | 889.558 | 43.712 | 18.3156
2019-11-24 10:15:00 | 5.12 | 82.233 | 5.66 | 76.119 | 6.182 | 81.367 | 6.783 | 78.467 | -13.103 | 890.108 | 42.421 | 14.6277
2019-11-24 10:30:00 | 4.743 | 87.967 | 5.139 | 79.278 | 5.052 | 86.133 | 5.32 | 81.533 | -12.62 | 889.6 | 41.104 | 12.2999
2019-11-24 10:45:00 | 4.196 | 88.333 | 4.186 | 86.312 | 4.022 | 89.533 | 4.045 | 85.4 | -12.27 | 889.883 | 40.043 | 15.4328
2019-11-24 11:00:00 | 4.9 | 89.847 | 4.821 | 84.489 | 4.853 | 88.033 | 4.992 | 83.933 | -11.59 | 889.467 | 38.645 | 13.9392
2019-11-24 11:15:00 | 5.249 | 80.802 | 5.494 | 74.989 | 5.48 | 78.8 | 5.84 | 76 | -10.778 | 889.683 | 36.581 | 16.7843
2019-11-24 11:30:00 | 5.668 | 89.317 | 5.276 | 84.968 | 5.205 | 91.333 | 5.159 | 84.933 | -10.397 | 889.967 | 35.024 | 22.9321
2019-11-24 11:45:00 | 4.6 | 101.24 | 4.466 | 95.793 | 4.27 | 98.967 | 4.258 | 93.4 | -9.787 | 889.617 | 33.088 | 20.384
2019-11-24 12:00:00 | 4.911 | 108.167 | 5.152 | 99.275 | 5.302 | 98.4 | 5.13 | 93.033 | -9.141 | 889.633 | 31.451 | 40.3481
2019-11-24 12:15:00 | 8.849 | 100 | 8.256 | 95.428 | 7.661 | 98.767 | 7.631 | 94.6 | -8.891 | 889.933 | 29.173 | 65.4588
2019-11-24 12:30:00 | 8.808 | 96.683 | 8.038 | 92.912 | 7.229 | 96.567 | 7.117 | 93.933 | -8.391 | 889.633 | 27.76 | 75.1083
2019-11-24 12:45:00 | 9.073 | 91.53 | 8.55 | 89.429 | 8.31 | 92.367 | 8.673 | 82.9 | -7.976 | 889.733 | 26.315 | 76.5842
2019-11-24 13:00:00 | 10.532 | 92.14 | 10.519 | 85.225 | 9.932 | 90.133 | 9.859 | 86.167 | -8.15 | 889.717 | 25.936 | 76.3923
2019-11-24 13:15:00 | 9.961 | 85.317 | 10.246 | 79.437 | 10.244 | 86.333 | 10.172 | 82.3 | -8.09 | 889.783 | 26.048 | 75.8224
2019-11-24 13:30:00 | 10.678 | 85.862 | 10.864 | 82.325 | 10.824 | 87.633 | 10.995 | 83.367 | -7.572 | 889.617 | 25.328 | 74.9193
2019-11-24 13:45:00 | 9.866 | 91.16 | 9.737 | 88.638 | 8.966 | 92.433 | 9.474 | 85.6 | -7.333 | 889.55 | 24.693 | 69.8892
2019-11-24 14:00:00 | 10.481 | 94.853 | 9.905 | 94.75 | 9.353 | 97.9 | 9.059 | 93.267 | -7.21 | 889.633 | 24.363 | 64.7241
2019-11-24 14:15:00 | 10.011 | 94.94 | 9.687 | 90.147 | 9.175 | 94.633 | 9.084 | 87.2 | -6.899 | 889.783 | 23.835 | 63.0365
2019-11-24 14:30:00 | 10.84 | 98.627 | 11.235 | 93.091 | 11.433 | 97.3 | 11.466 | 94.7 | -6.803 | 889.4 | 23.659 | 63.0962
2019-11-24 14:45:00 | 11.218 | 102.87 | 11.17 | 99.227 | 10.82 | 105 | 10.319 | 97.3 | -6.896 | 889.55 | 22.784 | 63.6298
2019-11-24 15:00:00 | 9.91 | 94.837 | 9.352 | 92.109 | 8.434 | 94.4 | 8.316 | 89.633 | -6.498 | 889.933 | 22.709 | 63.7911
2019-11-24 15:15:00 | 9.838 | 92.967 | 9.651 | 85.856 | 9.307 | 92.367 | 9.37 | 87.067 | -6.345 | 889.783 | 22.331 | 63.2063
2019-11-24 15:30:00 | 8.494 | 95.3 | 8.24 | 88.573 | 7.674 | 91.167 | 8.144 | 85 | -6.545 | 889.95 | 21.963 | 60.0123
2019-11-24 15:45:00 | 7.774 | 92.633 | 7.648 | 85.322 | 7.652 | 87.067 | 7.974 | 83.933 | -6.428 | 889.6 | 21.76 | 53.7537
2019-11-24 16:00:00 | 7.085 | 87.963 | 7.354 | 83.132 | 7.476 | 88.167 | 7.552 | 82.933 | -6.409 | 889.6 | 21.413 | 48.3541
2019-11-24 16:15:00 | 7.391 | 85.633 | 7.495 | 81.152 | 7.509 | 86.533 | 7.478 | 82.333 | -6.345 | 889.867 | 21.232 | 46.0127
2019-11-24 16:30:00 | 6.831 | 91.42 | 6.676 | 85.706 | 6.429 | 89.9 | 6.768 | 87.067 | -6.283 | 890.15 | 21.387 | 55.427
2019-11-24 16:45:00 | 6.797 | 101.237 | 6.105 | 91.324 | 5.595 | 94.033 | 5.532 | 92.3 | -6.1 | 889.667 | 21.056 | 55.4363
2019-11-24 17:00:00 | 7.751 | 91.233 | 7.517 | 88.921 | 6.944 | 93 | 7.265 | 87.133 | -6.395 | 889.667 | 20.88 | 62.0744
2019-11-24 17:15:00 | 7.044 | 100.793 | 7.069 | 95.752 | 6.844 | 99.9 | 6.398 | 94.233 | -6.272 | 889.483 | 21.115 | 66.0259
2019-11-24 17:30:00 | 7.999 | 109.23 | 8.065 | 104.398 | 7.752 | 107.867 | 7.943 | 103.667 | -5.994 | 889.9 | 21.355 | 52.3396
2019-11-24 17:45:00 | 7.659 | 107.033 | 7.3 | 100.934 | 6.192 | 99.733 | 6.537 | 97.2 | -6.528 | 890.183 | 21.552 | 49.1847
2019-11-24 18:00:00 | 6.764 | 103.767 | 6.378 | 99.196 | 5.122 | 98.7 | 5.226 | 94.467 | -6.462 | 889.983 | 21.792 | 41.1184
2019-11-24 18:15:00 | 5.664 | 104.52 | 5.155 | 96.135 | 4.172 | 101.667 | 4.369 | 94.667 | -6.797 | 889.683 | 22.315 | 27.7306
2019-11-24 18:30:00 | 5.058 | 94.287 | 5.054 | 90.231 | 4.586 | 96.033 | 4.59 | 88.533 | -7.012 | 889.533 | 22.213 | 17.961
2019-11-24 18:45:00 | 4.635 | 77.917 | 5.156 | 75.698 | 5.544 | 80.433 | 5.919 | 77.467 | -7.273 | 889.617 | 22.859 | 16.1533
2019-11-24 19:00:00 | 4.11 | 69.275 | 4.773 | 65.341 | 5.128 | 71.167 | 5.582 | 69.2 | -7.826 | 889.667 | 23.819 | 10.8198
2019-11-24 19:15:00 | 3.776 | 65.327 | 4.041 | 60.758 | 4.476 | 68.533 | 4.682 | 66.833 | -8.227 | 889.633 | 24.603 | 6.1635
2019-11-24 19:30:00 | 2.718 | 45.633 | 3.008 | 46.017 | 2.774 | 62.9 | 3.571 | 66.433 | -9.058 | 889.817 | 26.565 | 4.9725
2019-11-24 19:45:00 | 2.712 | 43.077 | 3.134 | 43.408 | 2.822 | 57.067 | 2.636 | 56.433 | -9.745 | 889.817 | 28.117 | 4.5562
2019-11-24 20:00:00 | 2.127 | 50.753 | 2.376 | 54.872 | 2.448 | 61 | 3.084 | 60.9 | -9.683 | 889.567 | 29.008 | 3.2324
2019-11-24 20:15:00 | 1.39 | 49.873 | 1.917 | 58.925 | 2.59 | 64.9 | 2.886 | 62.033 | -10.091 | 890.2 | 29.349 | 2.0258
2019-11-24 20:30:00 | 0.426 | 34 | 1.597 | 63.315 | 2.34 | 67.633 | 2.78 | 63.533 | -10.249 | 890.067 | 29.792 | 1.3721
2019-11-24 20:45:00 | 0 | 32.952 | 0.237 | 53.568 | 2.252 | 71.1 | 3.048 | 70.2 | -10.834 | 889.833 | 30.283 | 0.60256
2019-11-24 21:00:00 | 0.585 | 296.04 | 0 | 34.118 | 1.325 | 44.179 | 2.328 | 53.333 | -10.528 | 889.3 | 30.891 | 0.37518
2019-11-24 21:15:00 | 0.971 | 295.733 | 0 | 34.12 | 0.287 | 38.262 | 2.136 | 53.667 | -10.249 | 889.967 | 30.661 | 0.20038
2019-11-24 21:30:00 | 1.942 | 295.467 | 0 | 336.61 | 0.083 | 30.386 | 1.747 | 32 | -10.349 | 889.85 | 30.08 | 0.24301
2019-11-24 21:45:00 | 0.1 | 294.16 | 0 | 333.203 | 0.223 | 86.283 | 2.162 | 72 | -10.508 | 890.083 | 30.107 | 0.24728
2019-11-24 22:00:00 | 1.543 | 234.093 | 0 | 281.916 | 0.423 | 111.1 | 2.277 | 93.7 | -10.947 | 889.767 | 30.813 | 0.23875
2019-11-24 22:15:00 | 2.348 | 223.2 | 0 | 189.44 | 0.49 | 128.033 | 1.762 | 96.9 | -10.493 | 890.083 | 30.523 | 0.22028
2019-11-24 22:30:00 | 2.412 | 218.2 | 0.602 | 181.102 | 0.696 | 147.867 | 1.889 | 96.767 | -10.366 | 889.4 | 30.288 | 0.22028
2019-11-24 22:45:00 | 3.164 | 222.373 | 1.892 | 204.092 | 1.35 | 183.4 | 1.418 | 133 | -10.647 | 889.85 | 30.069 | 0.22738
2019-11-24 23:00:00 | 2.68 | 228.933 | 1.647 | 212.839 | 0.807 | 190.767 | 1.024 | 133 | -10.47 | 889.65 | 30 | 0.24301
2019-11-24 23:15:00 | 3.303 | 226.7 | 2.43 | 214.166 | 1.997 | 208 | 2.012 | 173.233 | -10.349 | 889.417 | 30.043 | 0.2487
2019-11-24 23:30:00 | 3.226 | 231.853 | 2.266 | 222.987 | 1.834 | 215.7 | 1.724 | 187.9 | -11.432 | 889.367 | 30.72 | 0.23591
2019-11-24 23:45:00 | 3.353 | 234.667 | 2.264 | 224.04 | 1.378 | 218.9 | 1.649 | 198.333 | -11.278 | 889.75 | 31.141 | 0.24017