## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-25 00:00:00 | 3.561 | 226.22 | 2.29 | 221.914 | 1.737 | 213.767 | 1.741 | 202.033 | -11.349 | 889.417 | 31.253 | 0.24586
2019-11-25 00:15:00 | 4.135 | 233.153 | 2.977 | 230.309 | 2.415 | 229.033 | 2.096 | 216.967 | -12.12 | 889.45 | 32.283 | 0.23733
2019-11-25 00:30:00 | 3.393 | 238.473 | 2.553 | 232.983 | 2.106 | 233.2 | 1.654 | 216.167 | -11.69 | 889.717 | 32 | 0.23875
2019-11-25 00:45:00 | 3.759 | 243.9 | 3.211 | 244.552 | 2.662 | 243.067 | 2.188 | 217 | -11.328 | 889.417 | 32.213 | 0.2217
2019-11-25 01:00:00 | 3.364 | 254.787 | 2.846 | 252.604 | 2.364 | 250.833 | 1.777 | 227.333 | -11.411 | 889.533 | 31.861 | 0.24728
2019-11-25 01:15:00 | 3.641 | 265.76 | 3.022 | 266.541 | 2.6 | 272.5 | 2.206 | 245.217 | -10.928 | 889.9 | 31.379 | 0.2558
2019-11-25 01:30:00 | 3.59 | 267.667 | 2.929 | 278.895 | 2.463 | 285.033 | 2.205 | 258.4 | -10.416 | 889.883 | 30.005 | 0.22312
2019-11-25 01:45:00 | 3.09 | 257.493 | 2.399 | 270.475 | 1.996 | 274.567 | 1.819 | 258 | -10.966 | 889.8 | 30.485 | 0.21601
2019-11-25 02:00:00 | 2.757 | 263.293 | 2.208 | 277.285 | 1.785 | 276.833 | 1.683 | 258.333 | -11.078 | 889.85 | 30.757 | 0.21885
2019-11-25 02:15:00 | 2.772 | 265.627 | 2.178 | 286.177 | 1.653 | 296.2 | 1.78 | 261.967 | -10.685 | 889.617 | 30.976 | 0.22028
2019-11-25 02:30:00 | 1.914 | 265.48 | 0.748 | 290.94 | 0 | 292.067 | 0.034 | 265 | -10.928 | 889.833 | 30.976 | 0.21601
2019-11-25 02:45:00 | 1.76 | 274.433 | 1.5 | 315.022 | 0.967 | 312.033 | 0.769 | 265 | -10.283 | 889.717 | 30.525 | 0.21885
2019-11-25 03:00:00 | 1.537 | 269.92 | 1.625 | 330.291 | 0.919 | 312.333 | 0.504 | 264.967 | -10.422 | 889.6 | 29.992 | 0.2217
2019-11-25 03:15:00 | 2.15 | 259.293 | 1 | 334.945 | 0 | 312.5 | 0 | 264.967 | -10.76 | 889.833 | 30.219 | 0.23591
2019-11-25 03:30:00 | 2.237 | 242.9 | 0.077 | 315.047 | 0 | 312 | 0 | 265 | -10.891 | 890.133 | 30.565 | 0.23733
2019-11-25 03:45:00 | 2.803 | 234 | 0 | 314.904 | 0 | 312 | 0 | 264.933 | -11.361 | 889.317 | 30.949 | 0.24159
2019-11-25 04:00:00 | 4.083 | 238.6 | 2.153 | 282.824 | 1.741 | 312.067 | 1.35 | 265.033 | -12.536 | 889.65 | 32.107 | 0.27073
2019-11-25 04:15:00 | 4.511 | 242.52 | 3.122 | 282.31 | 3.178 | 312 | 2.501 | 296.2 | -13.316 | 889.95 | 34.035 | 0.27144
2019-11-25 04:30:00 | 3.714 | 233.433 | 2.168 | 271.185 | 1.88 | 309.6 | 1.338 | 302.8 | -12.986 | 889.8 | 34.192 | 0.25722
2019-11-25 04:45:00 | 3.468 | 234.993 | 1.406 | 272.927 | 0.896 | 310 | 0.461 | 302 | -12.053 | 889.367 | 32.579 | 0.23875
2019-11-25 05:00:00 | 4.117 | 231.1 | 1.823 | 259.894 | 0 | 308 | 0 | 303 | -12.42 | 889.383 | 32.704 | 0.2288
2019-11-25 05:15:00 | 3.756 | 229.133 | 1.061 | 250.586 | 0 | 291.867 | 0 | 302 | -12.553 | 889.4 | 33.357 | 0.21601
2019-11-25 05:30:00 | 4.096 | 224.5 | 1.417 | 237.52 | 0 | 292 | 0 | 302.133 | -12.886 | 889.533 | 33.797 | 0.21743
2019-11-25 05:45:00 | 3.93 | 226.633 | 1.454 | 240.523 | 0 | 258 | 0 | 302.133 | -12.92 | 889.933 | 34.256 | 0.21885
2019-11-25 06:00:00 | 4.185 | 226.92 | 2.103 | 233.406 | 0.867 | 257.867 | 0 | 302.133 | -13.105 | 889.3 | 34.56 | 0.23307
2019-11-25 06:15:00 | 4.586 | 219.867 | 3.182 | 220.39 | 2.608 | 226.4 | 1.829 | 229.067 | -13.849 | 889.517 | 36.133 | 0.24586
2019-11-25 06:30:00 | 4.011 | 226.733 | 2.289 | 227.853 | 1.933 | 234.833 | 1.555 | 227 | -12.536 | 889.883 | 33.771 | 0.2487
2019-11-25 06:45:00 | 5.006 | 226.833 | 3.009 | 233.717 | 2.458 | 236.433 | 2.287 | 227.667 | -14.083 | 889.833 | 35.963 | 0.23307
2019-11-25 07:00:00 | 3.531 | 238.113 | 2.774 | 240.286 | 2.018 | 241 | 1.65 | 227.833 | -12.699 | 889.7 | 35.605 | 0.24301
2019-11-25 07:15:00 | 3.516 | 241.953 | 2.342 | 246.053 | 1.904 | 246.933 | 1.485 | 228.1 | -12.236 | 890.117 | 33.365 | 0.23307
2019-11-25 07:30:00 | 3.565 | 242.367 | 1.756 | 248.486 | 0.891 | 252 | 0 | 228.1 | -12.553 | 889.817 | 33.371 | 0.23449
2019-11-25 07:45:00 | 3.673 | 242.633 | 1.13 | 255.459 | 0 | 251.867 | 0 | 228.067 | -12.503 | 889.55 | 33.107 | 0.22312
2019-11-25 08:00:00 | 2.742 | 243.413 | 0 | 259.145 | 0 | 252.067 | 0 | 228.1 | -12.182 | 890 | 33.16 | 0.22596
2019-11-25 08:15:00 | 3.715 | 246.427 | 1.216 | 259.097 | 0 | 252.133 | 0 | 228 | -11.849 | 889.883 | 32.741 | 0.25154
2019-11-25 08:30:00 | 3.296 | 244.847 | 0.296 | 260.397 | 0 | 252 | 0 | 227.833 | -12.282 | 889.75 | 32.645 | 0.2487
2019-11-25 08:45:00 | 4.133 | 241.933 | 1.626 | 272.283 | 0 | 251.867 | 0 | 228 | -12.453 | 889.633 | 33.925 | 0.24159
2019-11-25 09:00:00 | 4.817 | 238.613 | 2.721 | 266.453 | 1.583 | 276 | 0.581 | 228.083 | -13.67 | 889.683 | 37.539 | 0.2288
2019-11-25 09:15:00 | 4.964 | 231.76 | 2.249 | 250.507 | 1.147 | 262.067 | 0.366 | 228.017 | -14.245 | 889.517 | 40.091 | 0.23164
2019-11-25 09:30:00 | 4.754 | 230.06 | 2.624 | 245.456 | 1.66 | 253.3 | 1.266 | 228 | -13.32 | 889.808 | 40.336 | 0.24444
2019-11-25 09:45:00 | 4.406 | 226.28 | 2.524 | 225.513 | 1.942 | 229.067 | 1.834 | 225.333 | -12.566 | 889.683 | 40.053 | 0.26717
2019-11-25 10:00:00 | 4.22 | 221.1 | 2.839 | 224.631 | 2.47 | 223.967 | 2.611 | 214 | -11.478 | 890.033 | 36.901 | 0.2558
2019-11-25 10:15:00 | 3.862 | 223.6 | 3.387 | 228.148 | 2.885 | 224 | 2.632 | 214 | -10.78 | 890.083 | 35.328 | 0.24444
2019-11-25 10:30:00 | 3 | 227.827 | 3.107 | 232.037 | 2.372 | 238.133 | 1.954 | 217.467 | -9.645 | 889.583 | 33.632 | 0.23875
2019-11-25 10:45:00 | 2.454 | 244.147 | 2.721 | 250.22 | 2.564 | 260.933 | 2.302 | 253.067 | -7.849 | 890.183 | 31.285 | 0.26859
2019-11-25 11:00:00 | 1.838 | 266.273 | 1.566 | 272.896 | 1.834 | 281.433 | 2.209 | 268 | -6.774 | 889.933 | 28.936 | 0.20749
2019-11-25 11:15:00 | 2.66 | 320.267 | 2.563 | 311.325 | 2.573 | 312 | 2.802 | 299.467 | -7.372 | 889.633 | 28.355 | 1.2044
2019-11-25 11:30:00 | 3.39 | 329.88 | 3.339 | 323.373 | 3.329 | 325.867 | 3.49 | 322.833 | -7.326 | 889.383 | 28.296 | 2.5829
2019-11-25 11:45:00 | 3.79 | 339.547 | 3.697 | 333.857 | 3.522 | 335.7 | 3.601 | 332.267 | -7.21 | 889.683 | 26.851 | 3.9728
2019-11-25 12:00:00 | 4.193 | 276.707 | 4.319 | 330.787 | 4.516 | 312.3 | 4.497 | 335.733 | -6.933 | 889.717 | 24.672 | 2.411
2019-11-25 12:15:00 | 3.602 | 223 | 3.658 | 291.366 | 3.731 | 294.533 | 3.793 | 282.733 | -6.893 | 889.767 | 23.813 | 1.9107
2019-11-25 12:30:00 | 3.659 | 346.867 | 3.576 | 344.252 | 3.55 | 274.95 | 3.645 | 164 | -6.645 | 889.883 | 22.621 | 0.57769
2019-11-25 12:45:00 | 3.009 | 134.144 | 2.827 | 154.048 | 2.655 | 109.8 | 2.734 | 99.767 | -6.352 | 889.767 | 21.816 | 0.18333
2019-11-25 13:00:00 | 2.275 | 11.96 | 1.786 | 8.796 | 1.773 | 15.3 | 2.14 | 9.2 | -6.16 | 890.05 | 21.104 | 0.25012
2019-11-25 13:15:00 | 2.034 | 26.969 | 1.787 | 24.457 | 1.737 | 80.3 | 2.084 | 61.667 | -5.435 | 889.433 | 20.443 | 0.26504
2019-11-25 13:30:00 | 2 | 48.16 | 1.909 | 45.79 | 1.953 | 52.233 | 2.073 | 60.333 | -5.252 | 889.433 | 19.595 | 0.22028
2019-11-25 13:45:00 | 1.686 | 56.27 | 1.41 | 42.418 | 1.356 | 38.833 | 1.947 | 42.433 | -3.927 | 889.533 | 18.443 | 0.21459
2019-11-25 14:00:00 | 0.133 | 110.243 | 0 | 115.385 | 0 | 114.733 | 0.319 | 101.733 | -4.367 | 889.333 | 18.968 | 0.21317
2019-11-25 14:15:00 | 0.22 | 172.68 | 0.036 | 123.845 | 0 | 127.867 | 0.275 | 223.183 | -4.345 | 889.333 | 18.715 | 0.21317
2019-11-25 14:30:00 | 0.942 | 123.633 | 0.604 | 125.421 | 0.497 | 127.067 | 1.045 | 101.833 | -3.739 | 889.233 | 18.14 | 0.21175
2019-11-25 14:45:00 | 0.32 | 289.88 | 0.262 | 276.72 | 0.04 | 263.15 | 0.323 | 288.567 | -4.325 | 889.633 | 18.288 | 0.21601
2019-11-25 15:00:00 | 0.668 | 304.333 | 0 | 297.612 | 0 | 289.867 | 0.4 | 239.767 | -3.84 | 889.1 | 18.297 | 0.23307
2019-11-25 15:15:00 | 1.519 | 326.213 | 1.253 | 316.819 | 1.3 | 320.867 | 1.32 | 294.867 | -4.043 | 889.7 | 18.824 | 0.2288
2019-11-25 15:30:00 | 0.206 | 232.267 | 0.027 | 263.429 | 0 | 218.251 | 0.266 | 258.6 | -3.84 | 889.067 | 19.128 | 0.2288
2019-11-25 15:45:00 | 1.071 | 274.8 | 0.487 | 308.168 | 0.633 | 299.4 | 1.064 | 275.667 | -3.555 | 889.633 | 19.019 | 0.23307
2019-11-25 16:00:00 | 2.013 | 306.947 | 1.611 | 304.489 | 1.7 | 313.633 | 2.05 | 308.633 | -4.075 | 889.167 | 19.248 | 0.23449
2019-11-25 16:15:00 | 1.024 | 23.367 | 0.307 | 57.653 | 0.39 | 18.867 | 1.244 | 267.767 | -3.689 | 889.4 | 19.348 | 0.23449
2019-11-25 16:30:00 | 1.181 | 339.28 | 1.24 | 326.268 | 1.613 | 326.467 | 1.851 | 335.433 | -4.093 | 889.667 | 19.481 | 0.20251
2019-11-25 16:45:00 | 0.581 | 229.829 | 0 | 352.289 | 0.096 | 347.5 | 0.85 | 23.533 | -4.226 | 889.3 | 19.748 | 0.21459
2019-11-25 17:00:00 | 1.556 | 338.147 | 1.147 | 325.963 | 1.017 | 333.567 | 1.512 | 322 | -4.308 | 889.6 | 19.82 | 0.21743
2019-11-25 17:15:00 | 0.952 | 331.147 | 0.45 | 338.93 | 0.267 | 348.3 | 0.8 | 0 | -3.91 | 889.8 | 20.127 | 0.20464
2019-11-25 17:30:00 | 0.339 | 356.187 | 0 | 357.008 | 0 | 0 | 0.215 | 0 | -4.201 | 889.533 | 20.195 | 0.14282
2019-11-25 17:45:00 | 0.346 | 7.102 | 0 | 4.016 | 0 | 0.133 | 0.054 | 0 | -4.206 | 889.483 | 20.467 | 0.21317
2019-11-25 18:00:00 | 0.05 | 6.97 | 0 | 4.014 | 0 | 0.133 | 0 | 0 | -4.325 | 889.5 | 20.704 | 0.15064
2019-11-25 18:15:00 | 0 | 7.003 | 0 | 4.019 | 0 | 0 | 0 | 11.867 | -4.325 | 889.683 | 20.981 | 0.1748
2019-11-25 18:30:00 | 0 | 7.006 | 0 | 4.017 | 0 | 0 | 0 | 0 | -4.782 | 889.817 | 21.211 | 0.21246
2019-11-25 18:45:00 | 0 | 7.038 | 0 | 4.014 | 0 | 0.133 | 0 | 0 | -4.607 | 889.8 | 21.179 | 0.17835
2019-11-25 19:00:00 | 0 | 7.006 | 0 | 4.016 | 0 | 0 | 0 | 0 | -4.762 | 889.417 | 21.557 | 0.21885
2019-11-25 19:15:00 | 0 | 7.006 | 0 | 4.016 | 0 | 0.133 | 0 | 0 | -4.752 | 889.55 | 21.68 | 0.21459
2019-11-25 19:30:00 | 1.045 | 329.587 | 0.199 | 320.45 | 0.176 | 321.933 | 1.465 | 187.567 | -4.832 | 889.817 | 21.592 | 0.22312
2019-11-25 19:45:00 | 1.308 | 300.4 | 1.123 | 285.982 | 1.388 | 288 | 1.996 | 302 | -4.852 | 889.5 | 21.112 | 0.22454
2019-11-25 20:00:00 | 1.622 | 274.067 | 1.324 | 267.042 | 1.61 | 281.667 | 2.194 | 288.2 | -4.719 | 889.933 | 21.019 | 0.23875
2019-11-25 20:15:00 | 1.641 | 272.8 | 1.408 | 277.155 | 1.876 | 281.9 | 2.495 | 288.067 | -4.802 | 889.55 | 21.437 | 0.23875
2019-11-25 20:30:00 | 1.073 | 298.2 | 1.999 | 306.941 | 2.2 | 312 | 2.404 | 298 | -5.052 | 889.533 | 22.155 | 0.23093
2019-11-25 20:45:00 | 1.543 | 328.333 | 2.222 | 321.159 | 2.552 | 328.033 | 2.781 | 327 | -5.469 | 889.5 | 23.107 | 0.45192
2019-11-25 21:00:00 | 2.041 | 329.427 | 2.827 | 330.219 | 2.798 | 337.633 | 2.962 | 337 | -5.888 | 889.633 | 23.229 | 0.32686
2019-11-25 21:15:00 | 1.614 | 333.92 | 2.264 | 348.938 | 2.401 | 11.967 | 2.677 | 344.067 | -6.392 | 889.683 | 23.749 | 0.15277
2019-11-25 21:30:00 | 1.703 | 95.68 | 2.644 | 8.357 | 2.746 | 8.267 | 2.802 | 47.733 | -6.459 | 889.883 | 23.925 | 0.2487
2019-11-25 21:45:00 | 0 | 0 | 0.043 | 10.032 | 0.209 | 13 | 0.987 | 11.867 | -6.412 | 889.9 | 24.101 | 0.23875
2019-11-25 22:00:00 | 0 | 0 | 0.495 | 14.311 | 0.698 | 13.033 | 1.583 | 0 | -6.445 | 889.933 | 24.229 | 0.23307
2019-11-25 22:15:00 | 0 | 79.44 | 0 | 18.051 | 0 | 13.04 | 0 | 0 | -6.528 | 889.15 | 24.608 | 0.22454
2019-11-25 22:30:00 | 0.67 | 264 | 0.24 | 229.58 | 0.097 | 225.174 | 0.956 | 336 | -6.661 | 889.333 | 24.456 | 0.23875
2019-11-25 22:45:00 | 2.226 | 318.773 | 2.614 | 315.839 | 2.488 | 319.667 | 2.458 | 326.633 | -6.289 | 889.883 | 24.349 | 0.24017
2019-11-25 23:00:00 | 1.955 | 341.227 | 2.071 | 349.507 | 2.221 | 318.367 | 2.312 | 341.367 | -6.8 | 889.467 | 24.755 | 0.22028
2019-11-25 23:15:00 | 1.046 | 294.827 | 1.088 | 339.041 | 1.233 | 352.867 | 1.585 | 0 | -6.899 | 890.267 | 24.92 | 0.21743
2019-11-25 23:30:00 | 1.427 | 282.88 | 0.664 | 297.11 | 0.394 | 305.933 | 0.751 | 330.767 | -6.895 | 889.283 | 24.48 | 0.21317
2019-11-25 23:45:00 | 1.557 | 225.613 | 0 | 297.148 | 0 | 306.067 | 0 | 330.667 | -6.899 | 890.017 | 24.453 | 0.21317