## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-26 00:00:00 | 0.333 | 240.333 | 0 | 296.961 | 0 | 306.067 | 0 | 331.067 | -7.091 | 889.283 | 24.437 | 0.22596
2019-11-26 00:15:00 | 0.977 | 0 | 1.275 | 10.033 | 1.296 | 17.967 | 1.925 | 9.967 | -6.562 | 889.95 | 23.883 | 0.23164
2019-11-26 00:30:00 | 0.036 | 4.012 | 0.037 | 10.026 | 0.216 | 21 | 1.213 | 9.9 | -6.528 | 889.133 | 23.557 | 0.21743
2019-11-26 00:45:00 | 0 | 4.012 | 0 | 10.035 | 0 | 13.433 | 0.496 | 8 | -6.395 | 889.267 | 23.653 | 0.21601
2019-11-26 01:00:00 | 1.924 | 164.747 | 0.219 | 78.414 | 0 | 40.467 | 0.057 | 7.867 | -6.75 | 889.95 | 24.261 | 0.21459
2019-11-26 01:15:00 | 2.557 | 173.773 | 2.385 | 152.304 | 1.629 | 145.7 | 1.344 | 80.067 | -6.846 | 889.95 | 24.688 | 0.21885
2019-11-26 01:30:00 | 2.145 | 172.5 | 1.78 | 153.628 | 1.496 | 144.733 | 1.464 | 97.1 | -6.578 | 889.6 | 24.555 | 0.25722
2019-11-26 01:45:00 | 2.394 | 173.22 | 3.006 | 162.424 | 2.798 | 161.2 | 2.566 | 148.667 | -6.803 | 890.2 | 24.885 | 0.2288
2019-11-26 02:00:00 | 2.582 | 169.9 | 3.284 | 158.851 | 2.755 | 154.333 | 2.404 | 147.167 | -6.512 | 890.117 | 24.923 | 0.21743
2019-11-26 02:15:00 | 2.894 | 182.74 | 3.818 | 170.003 | 3.203 | 165.467 | 2.81 | 151.3 | -6.515 | 889.75 | 25.141 | 0.11227
2019-11-26 02:30:00 | 2.256 | 180.533 | 2.391 | 165.391 | 1.651 | 165.267 | 1.276 | 152.2 | -6.578 | 889.617 | 25.168 | 0.13003
2019-11-26 02:45:00 | 2.387 | 189.16 | 3.254 | 174.891 | 2.844 | 167.6 | 2.689 | 161.1 | -6.873 | 889.933 | 25.995 | 0.24301
2019-11-26 03:00:00 | 2.5 | 212.053 | 2.831 | 188.664 | 2.259 | 189.833 | 2.132 | 176.333 | -7.234 | 889.583 | 26.235 | 0.25651
2019-11-26 03:15:00 | 2.663 | 221.167 | 2.934 | 194.174 | 2.147 | 196 | 2.065 | 192 | -7.539 | 889.567 | 26.517 | 0.23022
2019-11-26 03:30:00 | 2.855 | 220.767 | 2.627 | 195.549 | 1.981 | 199.067 | 1.592 | 192.933 | -7.739 | 889.467 | 26.555 | 0.21885
2019-11-26 03:45:00 | 2.682 | 238.427 | 1.609 | 210.92 | 0.956 | 202.067 | 0.598 | 193.067 | -8.11 | 890.017 | 27.147 | 0.24728
2019-11-26 04:00:00 | 2.64 | 281.707 | 2.706 | 287.467 | 2.622 | 285.167 | 2.39 | 263.6 | -8.481 | 889.883 | 29.112 | 0.25012
2019-11-26 04:15:00 | 2.24 | 249.873 | 2.06 | 280.98 | 2.157 | 272.767 | 2.457 | 241.133 | -8.624 | 889.617 | 37.227 | 0.23093
2019-11-26 04:30:00 | 2.367 | 258.52 | 1.719 | 274.948 | 1.86 | 272.233 | 1.766 | 240.967 | -8.444 | 889.483 | 40.301 | 0.14567
2019-11-26 04:45:00 | 2.571 | 264.733 | 2.378 | 264.921 | 2.506 | 268.967 | 2.379 | 250.433 | -8.474 | 889.958 | 38.384 | 0.18759
2019-11-26 05:00:00 | 1.698 | 260.447 | 1.321 | 268.512 | 1.714 | 270.2 | 2.268 | 271.2 | -8.05 | 889.683 | 32.195 | 0.26149
2019-11-26 05:15:00 | 1.303 | 254.58 | 1.31 | 272.995 | 2.296 | 276.333 | 2.522 | 271.067 | -8.15 | 889.533 | 31.435 | 0.26433
2019-11-26 05:30:00 | 1.647 | 268.213 | 1.307 | 290.604 | 1.984 | 288.433 | 2.36 | 286.033 | -7.639 | 889.517 | 34.203 | 0.24728
2019-11-26 05:45:00 | 0.476 | 274.693 | 0.456 | 296.935 | 1.505 | 288.267 | 1.764 | 288 | -7.95 | 889.683 | 38.72 | 0.2288
2019-11-26 06:00:00 | 1.647 | 274.4 | 1.72 | 285.087 | 1.844 | 288.3 | 2.314 | 288.2 | -8.658 | 889.708 | 40.432 | 0.22312
2019-11-26 06:15:00 | 2.904 | 294.933 | 2.827 | 289.819 | 3.108 | 295.833 | 3.48 | 294.867 | -8.841 | 889.717 | 41.123 | 0.29702
2019-11-26 06:30:00 | 2.588 | 266.68 | 2.007 | 291.621 | 1.888 | 295.333 | 2.323 | 285.2 | -8.638 | 889.533 | 37.355 | 0.20251
2019-11-26 06:45:00 | 1.805 | 257.613 | 0.54 | 305.821 | 1.334 | 298.167 | 1.964 | 305.333 | -8.691 | 889.783 | 40.915 | 0.27002
2019-11-26 07:00:00 | 1.978 | 223.26 | 0.806 | 246.977 | 0.383 | 280.467 | 1.159 | 302.933 | -8.294 | 889.95 | 42.88 | 0.23449
2019-11-26 07:15:00 | 1.685 | 204.853 | 1.246 | 214.991 | 0.693 | 223.2 | 0.982 | 292.667 | -8.13 | 889.542 | 43.957 | 0.24301
2019-11-26 07:30:00 | 2.306 | 202.513 | 1.93 | 202.475 | 1.821 | 201.9 | 2.199 | 201.967 | -7.363 | 889.617 | 47.093 | 0.24586
2019-11-26 07:45:00 | 1.802 | 195.56 | 1.351 | 198.969 | 1.166 | 198.867 | 1.32 | 197 | -7.17 | 890.375 | 47.445 | 0.25012
2019-11-26 08:00:00 | 1.864 | 192.527 | 0.429 | 193.482 | 0 | 197.2 | 0 | 197 | -7.071 | 889.9 | 49.589 | 0.24301
2019-11-26 08:15:00 | 2.021 | 186.32 | 0.489 | 193.467 | 0 | 197 | 0.07 | 197 | -6.638 | 890.05 | 49.312 | 0.23591
2019-11-26 08:30:00 | 0.565 | 257.34 | 0 | 192.503 | 0 | 197.5 | 1.129 | 197 | -7.025 | 889.95 | 48.075 | 0.25296
2019-11-26 08:45:00 | 1.346 | 245 | 0.023 | 199.038 | 0 | 249.8 | 1.165 | 266 | -7.689 | 890.283 | 52.917 | 0.2487
2019-11-26 09:00:00 | 0.732 | 230.6 | 0 | 213.525 | 0 | 250 | 0 | 266 | -7.622 | 889.9 | 52.928 | 0.25722
2019-11-26 09:15:00 | 0.136 | 203.393 | 0 | 200.6 | 0.03 | 232.7 | 0.397 | 265.733 | -8.394 | 890.025 | 54.944 | 0.27712
2019-11-26 09:30:00 | 1.28 | 78.3 | 1.19 | 72.914 | 1.44 | 73.3 | 1.555 | 73.067 | -7.489 | 889.867 | 48.8 | 0.31265
2019-11-26 09:45:00 | 2.23 | 92.06 | 1.988 | 81.039 | 2.147 | 93.433 | 2.634 | 91.733 | -8.247 | 890.092 | 44.203 | 0.25865
2019-11-26 10:00:00 | 0.926 | 61.167 | 1.306 | 82.47 | 1.81 | 94.067 | 2.416 | 96 | -8.708 | 889.967 | 44.171 | 0.24728
2019-11-26 10:15:00 | 0.486 | 96.85 | 2.07 | 113.503 | 2.857 | 124.5 | 3.284 | 112.267 | -8.424 | 889.958 | 43.264 | 0.092374
2019-11-26 10:30:00 | 0 | 99.657 | 0.153 | 112.783 | 1.787 | 122.367 | 2.529 | 118.967 | -7.296 | 889.692 | 41.264 | 0.13359
2019-11-26 10:45:00 | 0.056 | 100.127 | 0.25 | 113.234 | 1.425 | 117.567 | 2.385 | 115.133 | -5.76 | 889.683 | 37.728 | 0.26362
2019-11-26 11:00:00 | 1.624 | 127.72 | 1.47 | 125.314 | 1.946 | 126.433 | 2.657 | 124.933 | -5.823 | 889.883 | 33.712 | 0.086689
2019-11-26 11:15:00 | 2.35 | 129.353 | 2.149 | 127.176 | 2.358 | 133.3 | 2.637 | 131.4 | -5.485 | 889.633 | 30.672 | 0.16272
2019-11-26 11:30:00 | 2.101 | 125.997 | 1.809 | 122.863 | 1.996 | 123.167 | 2.325 | 118.533 | -4.926 | 890.083 | 28.741 | 0.21175
2019-11-26 11:45:00 | 1.839 | 101.417 | 1.887 | 99.792 | 2.016 | 103.4 | 2.196 | 102.133 | -4.023 | 889.767 | 28.096 | 0.2217
2019-11-26 12:00:00 | 1.307 | 124.967 | 0.919 | 94.544 | 1.06 | 103.233 | 1.599 | 99.3 | -3.89 | 889.533 | 27.696 | 0.30057
2019-11-26 12:15:00 | 2.2 | 94.967 | 1.884 | 84.94 | 1.558 | 93.4 | 1.941 | 79.367 | -3.321 | 890.167 | 26.736 | 0.29418
2019-11-26 12:30:00 | 1.689 | 91.967 | 1.838 | 95.859 | 2.005 | 96.3 | 2.14 | 76 | -3.321 | 889.717 | 26.016 | 0.25865
2019-11-26 12:45:00 | 0.615 | 80.712 | 0.083 | 69.856 | 0.283 | 77.6 | 1.458 | 81.633 | -2.969 | 889.983 | 25.547 | 0.24728
2019-11-26 13:00:00 | 0.801 | 54.447 | 0 | 91.287 | 0 | 88.533 | 0.416 | 110.033 | -2.74 | 889.733 | 24.427 | 0.20109
2019-11-26 13:15:00 | 1.235 | 103.437 | 0.926 | 99.896 | 1.064 | 99.133 | 1.908 | 101.267 | -2.131 | 889.683 | 23.621 | 0.21957
2019-11-26 13:30:00 | 1.365 | 38.183 | 1.057 | 41.551 | 1.26 | 47.2 | 1.848 | 49.667 | -2.18 | 889.75 | 23.509 | 0.22099
2019-11-26 13:45:00 | 1.57 | 58.102 | 1.281 | 60.549 | 1.206 | 66.733 | 2.183 | 65.967 | -1.855 | 889.55 | 23.584 | 0.24301
2019-11-26 14:00:00 | 2.073 | 83.521 | 1.941 | 87.153 | 2.236 | 89.033 | 2.583 | 83.733 | -1.955 | 889.783 | 24.635 | 0.14709
2019-11-26 14:15:00 | 2.374 | 94.477 | 2.18 | 89.963 | 2.416 | 91.967 | 2.836 | 84.567 | -2.39 | 889.867 | 26.629 | 0.50237
2019-11-26 14:30:00 | 2.023 | 80.566 | 2.473 | 79.27 | 2.764 | 83.033 | 2.768 | 78.067 | -2.406 | 889.433 | 26.821 | 0.88039
2019-11-26 14:45:00 | 2.976 | 75.783 | 2.932 | 70.784 | 2.959 | 77.567 | 3.253 | 73.767 | -2.679 | 889.617 | 27.365 | 0.84557
2019-11-26 15:00:00 | 3.56 | 61.852 | 3.576 | 60.104 | 3.646 | 64.833 | 3.934 | 65.067 | -2.226 | 890.067 | 27.136 | 1.6506
2019-11-26 15:15:00 | 3.109 | 81.662 | 3.055 | 72.782 | 3.238 | 78.433 | 3.645 | 74.467 | -2.39 | 889.883 | 27.643 | 1.6236
2019-11-26 15:30:00 | 2.555 | 66.282 | 2.683 | 68.693 | 3.043 | 71.633 | 3.494 | 69.6 | -2.263 | 889.967 | 28.005 | 2.3555
2019-11-26 15:45:00 | 3.853 | 81.462 | 3.793 | 78.27 | 3.598 | 84.167 | 3.851 | 84.2 | -2.246 | 889.783 | 28.779 | 3.0512
2019-11-26 16:00:00 | 3.613 | 73.787 | 3.689 | 72.575 | 3.67 | 78.4 | 3.904 | 77.067 | -2.3 | 889.917 | 27.717 | 4.716
2019-11-26 16:15:00 | 3.069 | 56.663 | 2.861 | 48.14 | 3.051 | 55.233 | 3.174 | 54.767 | -2.548 | 889.917 | 27.632 | 7.9761
2019-11-26 16:30:00 | 4.461 | 84.083 | 4.817 | 77.378 | 4.835 | 82.8 | 4.908 | 80.7 | -2.406 | 889.7 | 28.347 | 13.8433
2019-11-26 16:45:00 | 5.298 | 95.067 | 5.405 | 88.662 | 5.327 | 92.967 | 5.521 | 88.733 | -2.801 | 889.867 | 27.755 | 16.515
2019-11-26 17:00:00 | 5.261 | 87.503 | 5.514 | 80.304 | 5.69 | 84.233 | 5.896 | 81.4 | -2.709 | 889.95 | 27.6 | 15.8684
2019-11-26 17:15:00 | 5.149 | 85 | 5.539 | 83.398 | 5.748 | 88.667 | 5.968 | 84.6 | -3.254 | 889.683 | 28.373 | 16.655
2019-11-26 17:30:00 | 5.72 | 81.6 | 5.832 | 77.408 | 6.056 | 84.133 | 6.028 | 80.667 | -3.371 | 889.45 | 29.077 | 16.5612
2019-11-26 17:45:00 | 5.399 | 77.9 | 5.429 | 72.797 | 5.526 | 79.3 | 5.773 | 74.867 | -3.689 | 889.883 | 31.163 | 14.4529
2019-11-26 18:00:00 | 5.276 | 73.597 | 5.567 | 68.585 | 5.744 | 72.867 | 5.701 | 69.6 | -4.451 | 889.567 | 30.341 | 12.4143
2019-11-26 18:15:00 | 3.824 | 76.532 | 4.176 | 72.348 | 4.327 | 77.133 | 4.504 | 72.733 | -4.935 | 889.933 | 30.784 | 10.5349
2019-11-26 18:30:00 | 3.79 | 84.267 | 4.231 | 81.078 | 4.502 | 85.333 | 4.836 | 80.867 | -5.152 | 890.15 | 31.669 | 8.2369
2019-11-26 18:45:00 | 3.12 | 79.35 | 3.78 | 74.547 | 4.184 | 79.633 | 4.439 | 74.367 | -5.634 | 889.933 | 32.667 | 6.6751
2019-11-26 19:00:00 | 3.347 | 82.27 | 3.701 | 76.866 | 3.96 | 80.6 | 4.34 | 74.9 | -5.819 | 889.733 | 33.701 | 5.6291
2019-11-26 19:15:00 | 3.11 | 84.867 | 3.6 | 80.474 | 3.92 | 84.3 | 4.29 | 78.833 | -6.495 | 889.617 | 34.261 | 3.3972
2019-11-26 19:30:00 | 2.435 | 82.667 | 2.713 | 75.656 | 3.058 | 81.4 | 3.495 | 77.367 | -6.428 | 889.917 | 35.211 | 2.1715
2019-11-26 19:45:00 | 2.459 | 71.733 | 2.842 | 66.324 | 3.069 | 73.367 | 3.201 | 71.6 | -6.428 | 889.9 | 36.4 | 1.3984
2019-11-26 20:00:00 | 2.25 | 42.812 | 2.201 | 45.531 | 1.98 | 56.133 | 2.434 | 59.833 | -7.23 | 889.617 | 37.083 | 0.1883
2019-11-26 20:15:00 | 1.743 | 43.483 | 2.332 | 47.912 | 2.166 | 66 | 2.7 | 64.433 | -7.506 | 889.917 | 37.216 | 0.13501
2019-11-26 20:30:00 | 1.347 | 35.15 | 1.039 | 46.606 | 1.557 | 65.3 | 2.406 | 66.267 | -7.489 | 889.65 | 38.811 | 0.081715
2019-11-26 20:45:00 | 0 | 22.139 | 0.869 | 51.668 | 1.64 | 70.333 | 2.325 | 72 | -7.766 | 890.042 | 40.645 | 0.19612
2019-11-26 21:00:00 | 0 | 23.065 | 0.45 | 57.094 | 1.811 | 80.867 | 2.546 | 78.067 | -8.046 | 889.717 | 41.675 | 1.1483
2019-11-26 21:15:00 | 0 | 310.8 | 1.28 | 77.797 | 2.576 | 81.367 | 3.394 | 73.333 | -8.674 | 890.058 | 44.885 | 0.80934
2019-11-26 21:30:00 | 0 | 310.8 | 0.133 | 59.424 | 1.98 | 72.633 | 2.93 | 68.833 | -8.608 | 889.925 | 53.216 | 0.11867
2019-11-26 21:45:00 | 0 | 85.2 | 0.82 | 70.273 | 1.853 | 82.367 | 2.956 | 76.833 | -8.641 | 889.883 | 54.997 | 0.2892
2019-11-26 22:00:00 | 0 | 87.203 | 0 | 69.835 | 1.43 | 72.233 | 2.326 | 72.533 | -8.788 | 890.058 | 56.512 | 0.22809
2019-11-26 22:15:00 | 0.452 | 87.2 | 0 | 54.2 | 0.535 | 60.933 | 2.16 | 62.967 | -8.591 | 889.708 | 56.096 | 0.21388
2019-11-26 22:30:00 | 0.14 | 275.12 | 0.027 | 46.316 | 1.267 | 52.554 | 2.704 | 64.667 | -8.311 | 889.808 | 54.24 | 0.37163
2019-11-26 22:45:00 | 0.32 | 341.307 | 0.783 | 47.56 | 2.184 | 70.962 | 3.559 | 73.967 | -8.448 | 889.942 | 52.299 | 0.38584
2019-11-26 23:00:00 | 0.462 | 310.867 | 0 | 28.092 | 0.876 | 77.808 | 2.661 | 82.233 | -8.808 | 889.7 | 54.123 | 0.19612
2019-11-26 23:15:00 | 1.086 | 302.067 | 0 | 35.794 | 0.515 | 67.508 | 2.564 | 70.9 | -8.641 | 889.967 | 54.699 | 0.26433
2019-11-26 23:30:00 | 1.031 | 278.4 | 0 | 35.109 | 0 | 69.133 | 1.799 | 72 | -8.858 | 889.692 | 56.309 | 0.23875
2019-11-26 23:45:00 | 1.39 | 278.6 | 0 | 35.099 | 0 | 69.267 | 0.598 | 72 | -9.158 | 889.725 | 56.341 | 0.23449