## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-27 00:00:00 | 1.904 | 290.533 | 1.132 | 344.5 | 0.103 | 62.438 | 0.668 | 47.917 | -8.924 | 889.625 | 56.688 | 0.22596
2019-11-27 00:15:00 | 2.103 | 294.867 | 0.78 | 328.929 | 0 | 22.948 | 1.121 | 72 | -8.908 | 890.075 | 56.587 | 0.20393
2019-11-27 00:30:00 | 2.152 | 292.467 | 0 | 328.814 | 0.163 | 72.79 | 2.256 | 95.767 | -9.058 | 890.15 | 56.576 | 0.24444
2019-11-27 00:45:00 | 1.718 | 306.933 | 0.301 | 26.734 | 1.077 | 59.704 | 2.328 | 71.867 | -9.224 | 890.125 | 57.003 | 0.089531
2019-11-27 01:00:00 | 1.146 | 339.053 | 1.023 | 19.314 | 2.274 | 57.054 | 2.988 | 71 | -9.27 | 890.167 | 57.717 | 0.16343
2019-11-27 01:15:00 | 0.963 | 332.107 | 1.116 | 22.268 | 2.563 | 56.467 | 2.782 | 69.3 | -9.933 | 890.2 | 58.315 | 0.44482
2019-11-27 01:30:00 | 1.231 | 310.387 | 0.28 | 13.113 | 1.289 | 61.562 | 2.872 | 72.067 | -9.662 | 889.883 | 59.851 | 1.0602
2019-11-27 01:45:00 | 0 | 0 | 0.797 | 57.8 | 2.251 | 78.5 | 3.364 | 78.433 | -9.787 | 889.925 | 60.907 | 3.091
2019-11-27 02:00:00 | 0.083 | 0.133 | 1.731 | 67.185 | 3.132 | 83.6 | 3.716 | 84.567 | -9.999 | 890.183 | 62.837 | 7.6798
2019-11-27 02:15:00 | 0 | 0 | 1.57 | 91.946 | 3.234 | 99.733 | 4.3 | 98.567 | -10.412 | 889.992 | 64.981 | 10.6251
2019-11-27 02:30:00 | 0 | 114.01 | 1.901 | 87.876 | 3.594 | 94.533 | 4.527 | 93.7 | -10.468 | 889.992 | 68.213 | 6.4825
2019-11-27 02:45:00 | 0.04 | 120.44 | 1.667 | 99.481 | 3.267 | 105.467 | 4.326 | 99.833 | -10.541 | 889.633 | 69.963 | 2.6909
2019-11-27 03:00:00 | 0.266 | 212.533 | 0.554 | 115.919 | 2.386 | 105.967 | 3.933 | 98.667 | -10.433 | 890.267 | 70.123 | 3.6338
2019-11-27 03:15:00 | 0.75 | 193.127 | 0.417 | 121.048 | 2.308 | 111.8 | 3.417 | 103.167 | -10.472 | 890.35 | 70.784 | 3.0647
2019-11-27 03:30:00 | 0 | 209.08 | 0.693 | 116.432 | 2.384 | 104.367 | 3.696 | 99.167 | -10.474 | 890 | 70.464 | 2.7478
2019-11-27 03:45:00 | 0.043 | 200.687 | 0.34 | 118.104 | 2.632 | 108.533 | 3.496 | 100.867 | -10.722 | 889.117 | 71.947 | 1.4517
2019-11-27 04:00:00 | 0.977 | 202.16 | 0.133 | 127.7 | 2.451 | 106.267 | 3.697 | 97.8 | -10.582 | 889.875 | 71.691 | 0.43771
2019-11-27 04:15:00 | 0.678 | 207.933 | 0 | 127.353 | 1.592 | 102.067 | 2.993 | 90.367 | -10.366 | 889.417 | 71.349 | 0.25083
2019-11-27 04:30:00 | 1.457 | 221.527 | 0 | 128.484 | 1.033 | 113.633 | 2.344 | 96.333 | -10.616 | 890.15 | 70.955 | 0.21033
2019-11-27 04:45:00 | 1.926 | 232.607 | 0 | 128.552 | 0.37 | 110.767 | 2.063 | 95.933 | -10.614 | 889.575 | 70.368 | 0.20038
2019-11-27 05:00:00 | 1.411 | 226.453 | 0 | 128.534 | 0.663 | 98.533 | 2.386 | 99.167 | -10.318 | 889.658 | 70.805 | 0.44553
2019-11-27 05:15:00 | 1.922 | 218.52 | 0 | 128.498 | 1.616 | 107.933 | 2.926 | 98.133 | -12.253 | 889.967 | 65.632 | 4.6947
2019-11-27 05:30:00 | 1.641 | 173.793 | 2.155 | 123.077 | 3.146 | 116.067 | 4.186 | 104.533 | -10.71 | 889.875 | 72.267 | 3.2182
2019-11-27 05:45:00 | 1.784 | 208.987 | 1.064 | 138.4 | 2.027 | 126.567 | 2.942 | 109.433 | -11.02 | 889.55 | 68.651 | 0.28352
2019-11-27 06:00:00 | 3.371 | 231.627 | 0.196 | 194.899 | 0.04 | 154.1 | 0.981 | 124 | -11.19 | 890.033 | 69.877 | 0.23875
2019-11-27 06:15:00 | 1.856 | 242.847 | 0 | 202.569 | 0 | 154.033 | 1.519 | 123 | -10.966 | 889.942 | 72.011 | 0.19825
2019-11-27 06:30:00 | 2.35 | 247.28 | 0 | 202.487 | 0 | 131.2 | 1.855 | 87 | -11.143 | 889.792 | 70.933 | 0.34676
2019-11-27 06:45:00 | 2.466 | 251.913 | 0 | 202.477 | 0.543 | 71.404 | 2.873 | 78.933 | -11.222 | 890.058 | 73.045 | 0.15348
2019-11-27 07:00:00 | 1.893 | 232.06 | 0 | 241.548 | 0.757 | 83.7 | 2.354 | 89.4 | -12.478 | 890.158 | 73.461 | 0.26575
2019-11-27 07:15:00 | 1.763 | 237.6 | 0 | 241.386 | 0.607 | 85.367 | 2.395 | 79.4 | -11.428 | 890.008 | 72.459 | 0.26717
2019-11-27 07:30:00 | 1.899 | 237.033 | 0 | 241.469 | 0.77 | 77.6 | 2.716 | 72 | -11.261 | 889.6 | 70.795 | 0.12648
2019-11-27 07:45:00 | 2.391 | 231.427 | 0 | 241.488 | 0 | 73.067 | 2.052 | 71.9 | -11.745 | 889.808 | 71.04 | 0.66793
2019-11-27 08:00:00 | 1.674 | 234.5 | 0.057 | 104.71 | 0.887 | 91.833 | 2.9 | 73.767 | -11.411 | 889.983 | 71.392 | 2.9048
2019-11-27 08:15:00 | 0.027 | 221.593 | 0.826 | 92.539 | 2.395 | 97.733 | 3.418 | 89.4 | -11.157 | 889.667 | 71.008 | 3.7418
2019-11-27 08:30:00 | 1.438 | 211.227 | 0.727 | 132.35 | 2.149 | 114.7 | 3.646 | 101.167 | -11.916 | 889.717 | 69.547 | 1.9107
2019-11-27 08:45:00 | 2.422 | 215.24 | 0.196 | 157.775 | 1.444 | 130.467 | 2.852 | 108.7 | -11.828 | 889.967 | 73.472 | 0.43131
2019-11-27 09:00:00 | 1.996 | 215.233 | 0.047 | 171.624 | 0.183 | 146.967 | 1.589 | 109.6 | -11.478 | 889.975 | 72.288 | 0.089532
2019-11-27 09:15:00 | 0 | 207.427 | 0 | 161.405 | 0.951 | 101 | 2.573 | 92 | -11.09 | 889.983 | 72.405 | 0.12151
2019-11-27 09:30:00 | 0.963 | 219.787 | 0 | 138.584 | 0.984 | 100 | 2.619 | 91.433 | -10.766 | 890.067 | 70.4 | 0.12293
2019-11-27 09:45:00 | 1.727 | 225.527 | 0 | 140.44 | 0.063 | 100 | 2.418 | 88.933 | -9.991 | 890.033 | 68.053 | 0.18475
2019-11-27 10:00:00 | 0.698 | 221.233 | 0 | 139.015 | 1.247 | 97.367 | 3.07 | 87.633 | -9.108 | 890.017 | 65.621 | 0.097348
2019-11-27 10:15:00 | 0 | 221.46 | 0.093 | 98.087 | 1.606 | 85.633 | 2.968 | 84.533 | -8.244 | 889.85 | 62.261 | 0.2217
2019-11-27 10:30:00 | 1.073 | 247.547 | 0 | 97.243 | 0.377 | 74.7 | 1.677 | 86.7 | -7.131 | 889.792 | 57.92 | 0.25936
2019-11-27 10:45:00 | 0 | 247.373 | 0 | 97.286 | 0 | 65.3 | 1.976 | 67.733 | -6.233 | 889.858 | 56.203 | 0.25438
2019-11-27 11:00:00 | 0.892 | 87.253 | 0.317 | 91.024 | 1.161 | 93.9 | 2.376 | 89.033 | -6.299 | 889.767 | 54.613 | 0.23307
2019-11-27 11:15:00 | 0.126 | 73.256 | 0 | 79.815 | 0 | 92 | 0.655 | 79.033 | -6.682 | 890.025 | 55.051 | 0.25012
2019-11-27 11:30:00 | 1.785 | 34.6 | 1.425 | 32.669 | 1.613 | 38.9 | 2.117 | 36.333 | -6.886 | 889.583 | 53.739 | 0.23378
2019-11-27 11:45:00 | 1.95 | 44.081 | 1.557 | 41.506 | 1.69 | 47.433 | 2.291 | 52 | -6.777 | 889.692 | 54.816 | 1.2286
2019-11-27 12:00:00 | 3.279 | 73.435 | 3.35 | 68.267 | 3.631 | 72.033 | 3.752 | 68.3 | -6.236 | 889.725 | 51.872 | 2.8813
2019-11-27 12:15:00 | 3.585 | 94.2 | 3.99 | 90.52 | 4.154 | 92.5 | 4.283 | 85.4 | -5.997 | 890.233 | 50.944 | 3.8314
2019-11-27 12:30:00 | 4.192 | 89.613 | 4.222 | 87.718 | 4.4 | 93.8 | 4.578 | 88.467 | -6.076 | 889.625 | 49.461 | 7.0126
2019-11-27 12:45:00 | 4.261 | 101.567 | 4.156 | 96.145 | 4.265 | 102 | 4.424 | 95.267 | -5.602 | 890.183 | 45.643 | 18.1216
2019-11-27 13:00:00 | 4.558 | 106.453 | 4.946 | 97.637 | 5.132 | 96.533 | 5.325 | 94.2 | -4.772 | 889.792 | 39.952 | 37.6899
2019-11-27 13:15:00 | 7.472 | 96.867 | 7.716 | 92.75 | 7.858 | 98.4 | 7.946 | 93.467 | -3.89 | 889.7 | 32.021 | 41.8964
2019-11-27 13:30:00 | 7.863 | 85.533 | 8.297 | 81.509 | 8.725 | 86.267 | 8.913 | 83.7 | -3.588 | 889.6 | 31.392 | 40.8078
2019-11-27 13:45:00 | 7.229 | 79.077 | 7.478 | 75.167 | 7.788 | 79.933 | 8.075 | 75.833 | -3.3 | 889.867 | 29.115 | 38.4608
2019-11-27 14:00:00 | 7.483 | 83.89 | 7.605 | 79.368 | 7.866 | 85.233 | 7.978 | 81.4 | -2.838 | 889.983 | 28.464 | 39.3199
2019-11-27 14:15:00 | 7.054 | 82.433 | 7.345 | 77.844 | 7.638 | 80.767 | 7.641 | 78.133 | -3.372 | 889.5 | 30.459 | 40.125
2019-11-27 14:30:00 | 7.688 | 76.5 | 7.824 | 73.754 | 8.031 | 77.833 | 8.203 | 73.9 | -3.522 | 889.417 | 32.16 | 39.6724
2019-11-27 14:45:00 | 7.198 | 80.333 | 7.441 | 76.573 | 7.631 | 80.567 | 8.136 | 76.6 | -3.287 | 889.583 | 31.995 | 44.6087
2019-11-27 15:00:00 | 7.76 | 81.843 | 7.971 | 79.545 | 8.178 | 82.167 | 8.311 | 77.667 | -3.284 | 889.417 | 32.496 | 49.4427
2019-11-27 15:15:00 | 7.869 | 84.897 | 8.285 | 81.646 | 8.555 | 86.7 | 8.802 | 85.167 | -3.16 | 889.433 | 32.827 | 48.4464
2019-11-27 15:30:00 | 7.846 | 87.233 | 8.288 | 83.924 | 8.541 | 88.433 | 8.737 | 85.867 | -2.801 | 889.033 | 30.731 | 46.9038
2019-11-27 15:45:00 | 6.565 | 91.077 | 6.956 | 87.333 | 7.496 | 90.633 | 7.921 | 86.567 | -2.307 | 889.533 | 28.736 | 36.4229
2019-11-27 16:00:00 | 5.977 | 99.247 | 6.084 | 95.875 | 6.27 | 100.633 | 6.488 | 95.4 | -2.361 | 889.933 | 28.587 | 30.9416
2019-11-27 16:15:00 | 6.758 | 96.19 | 6.99 | 91.071 | 7.171 | 94.367 | 7.385 | 90.8 | -2.423 | 889.633 | 27.195 | 32.3564
2019-11-27 16:30:00 | 6.627 | 79.027 | 6.74 | 79.652 | 6.993 | 84.5 | 7.031 | 80.1 | -2.214 | 889.65 | 26.981 | 33.3405
2019-11-27 16:45:00 | 6.788 | 80.573 | 7.208 | 75.168 | 7.356 | 80.667 | 7.539 | 79.267 | -2.329 | 889.967 | 26.832 | 30.7505
2019-11-27 17:00:00 | 6.644 | 78.62 | 6.911 | 74.792 | 7.142 | 80.667 | 7.256 | 76.667 | -2.37 | 889.367 | 27.141 | 26.5183
2019-11-27 17:15:00 | 5.242 | 90.047 | 5.456 | 84.792 | 5.733 | 89.333 | 6.185 | 84.4 | -2.263 | 889.533 | 27.963 | 29.1304
2019-11-27 17:30:00 | 6.15 | 79.24 | 6.697 | 74.77 | 6.99 | 81.167 | 7.504 | 76.367 | -2.54 | 890.1 | 27.536 | 21.9615
2019-11-27 17:45:00 | 4.802 | 79.277 | 5.226 | 74.701 | 5.329 | 79.8 | 5.446 | 75.633 | -2.781 | 889.433 | 27.525 | 16.3558
2019-11-27 18:00:00 | 4.43 | 73.81 | 4.992 | 70.757 | 5.262 | 75.9 | 5.49 | 71.733 | -3.15 | 890.033 | 27.648 | 17.1083
2019-11-27 18:15:00 | 4.606 | 76.333 | 5.053 | 70.492 | 5.201 | 75.833 | 5.133 | 73.167 | -3.304 | 889.633 | 28.704 | 17.9148
2019-11-27 18:30:00 | 3.89 | 75.733 | 4.379 | 70.984 | 4.6 | 76.533 | 4.921 | 71.6 | -3.706 | 890.083 | 29.835 | 13.8127
2019-11-27 18:45:00 | 3.485 | 75.615 | 3.934 | 71.886 | 4.544 | 79.1 | 4.827 | 74.7 | -4.305 | 889.85 | 30.347 | 8.1637
2019-11-27 19:00:00 | 3.055 | 71.377 | 3.456 | 68.56 | 3.849 | 72.667 | 4.077 | 69.733 | -4.285 | 889.633 | 31.067 | 4.1319
2019-11-27 19:15:00 | 1.6 | 42.473 | 1.924 | 56.071 | 2.363 | 64.133 | 3.047 | 66.767 | -4.5 | 889.633 | 31.797 | 1.9626
2019-11-27 19:30:00 | 0.773 | 20.658 | 1.367 | 55.637 | 2.421 | 70.367 | 2.946 | 73.533 | -5.052 | 890.017 | 32.917 | 1.549
2019-11-27 19:45:00 | 1.776 | 7.609 | 2.572 | 27.138 | 2.939 | 43.167 | 2.681 | 43.8 | -5.419 | 890 | 33.952 | 0.61038
2019-11-27 20:00:00 | 1.811 | 33.593 | 2.136 | 41.553 | 2.066 | 53.567 | 2.136 | 60.833 | -5.809 | 889.85 | 34.853 | 0.77097
2019-11-27 20:15:00 | 1.68 | 9.186 | 2.449 | 31.102 | 2.722 | 50.333 | 2.527 | 52.4 | -5.958 | 889.7 | 35.531 | 2.5296
2019-11-27 20:30:00 | 2.316 | 13.298 | 2.647 | 36.941 | 2.504 | 51.533 | 2.647 | 55.3 | -6.084 | 890.183 | 36.363 | 2.293
2019-11-27 20:45:00 | 2.231 | 25.801 | 2.16 | 42.291 | 2.257 | 51.933 | 2.563 | 56.6 | -6.356 | 889.383 | 37.659 | 1.387
2019-11-27 21:00:00 | 1.608 | 4.042 | 2.358 | 27.137 | 2.42 | 44.833 | 2.336 | 46.767 | -6.342 | 889.95 | 38.011 | 0.38726
2019-11-27 21:15:00 | 2.016 | 337.333 | 2.126 | 247.228 | 1.82 | 8.556 | 2.349 | 23.333 | -6.445 | 889.517 | 38.051 | 0.30128
2019-11-27 21:30:00 | 2.234 | 309.453 | 1.657 | 343.907 | 1.18 | 81.633 | 1.309 | 13.602 | -6.359 | 889.683 | 38.109 | 0.25083
2019-11-27 21:45:00 | 0.946 | 340.653 | 0.676 | 3.476 | 1.393 | 22.073 | 2.093 | 33.867 | -6.259 | 889.733 | 37.429 | 0.24159
2019-11-27 22:00:00 | 1.999 | 313.4 | 2.11 | 339.979 | 2.031 | 12.936 | 2.253 | 10.6 | -6.245 | 890.1 | 37.499 | 0.24159
2019-11-27 22:15:00 | 2.983 | 317.733 | 2.714 | 335.315 | 2.205 | 278.833 | 1.836 | 344.8 | -6.395 | 889.967 | 37.861 | 0.23733
2019-11-27 22:30:00 | 3.369 | 338.573 | 3.262 | 340.306 | 2.944 | 348.033 | 2.528 | 281.3 | -6.356 | 889.9 | 37.773 | 0.2423
2019-11-27 22:45:00 | 1.944 | 19.05 | 2.163 | 31.109 | 2.428 | 45.333 | 2.69 | 51.233 | -6.462 | 890.2 | 37.936 | 0.1613
2019-11-27 23:00:00 | 1.988 | 71.798 | 1.619 | 18.615 | 2.075 | 37.933 | 2.146 | 48.4 | -5.988 | 889.75 | 38.229 | 0.16485
2019-11-27 23:15:00 | 1.208 | 33.476 | 1.064 | 43.482 | 1.665 | 60.571 | 2.53 | 64.167 | -6.213 | 889.717 | 38.629 | 0.24515
2019-11-27 23:30:00 | 0.951 | 142.208 | 0.027 | 44.715 | 0.723 | 55.888 | 2.052 | 64.7 | -6.037 | 889.433 | 38.944 | 0.21885
2019-11-27 23:45:00 | 2.159 | 310.133 | 1.436 | 290.16 | 0.256 | 13.494 | 1.176 | 61 | -6.512 | 889.567 | 38.384 | 0.21459