## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-28 00:00:00 | 1.183 | 316.453 | 0.04 | 358.969 | 0.46 | 24.008 | 1.344 | 30 | -6.509 | 889.467 | 39.323 | 0.21175
2019-11-28 00:15:00 | 1.978 | 285.547 | 0.423 | 331.736 | 0 | 24.048 | 0.171 | 38 | -6.05 | 889.867 | 38.955 | 0.21885
2019-11-28 00:30:00 | 3.242 | 284.6 | 2.293 | 290.85 | 1.067 | 296.767 | 0.232 | 37.088 | -6.395 | 889.667 | 38.381 | 0.27215
2019-11-28 00:45:00 | 2.615 | 311 | 3.287 | 317.435 | 2.968 | 325.133 | 2.461 | 316.967 | -7.091 | 889.367 | 38.616 | 0.25083
2019-11-28 01:00:00 | 2.377 | 327.347 | 3.367 | 333.559 | 3.398 | 344.533 | 3.242 | 351.667 | -7.012 | 889.917 | 38.736 | 0.25296
2019-11-28 01:15:00 | 2.556 | 304.867 | 3.104 | 318.658 | 3.358 | 335.167 | 3.597 | 344.367 | -7.289 | 889.85 | 38.749 | 1.1803
2019-11-28 01:30:00 | 3.394 | 303.813 | 3.87 | 303.115 | 4.102 | 310.6 | 4.203 | 312.233 | -7.46 | 889.75 | 40.603 | 1.5178
2019-11-28 01:45:00 | 2.544 | 297.533 | 3.382 | 303.201 | 3.869 | 311.367 | 4.344 | 312.2 | -7.756 | 889.783 | 41.435 | 2.8714
2019-11-28 02:00:00 | 2.976 | 294.24 | 3.539 | 297.834 | 3.91 | 305.767 | 4.261 | 307.033 | -7.266 | 889.842 | 41.387 | 2.6774
2019-11-28 02:15:00 | 2.892 | 288.907 | 3.695 | 286.403 | 3.835 | 294.033 | 4.219 | 296.1 | -7.051 | 889.517 | 40.733 | 2.121
2019-11-28 02:30:00 | 2.511 | 274.247 | 2.979 | 281.945 | 3.364 | 289.967 | 3.904 | 292.633 | -6.866 | 889.2 | 40.397 | 1.4254
2019-11-28 02:45:00 | 2.771 | 272.087 | 3.276 | 277.15 | 3.464 | 280.567 | 3.713 | 283.367 | -6.671 | 890 | 39.792 | 1.2691
2019-11-28 03:00:00 | 2.861 | 286.267 | 3.416 | 285.343 | 3.603 | 289.967 | 3.844 | 289.167 | -6.528 | 889.633 | 39.195 | 1.9036
2019-11-28 03:15:00 | 3.321 | 278.887 | 3.965 | 281.101 | 4.172 | 284.833 | 4.313 | 283.8 | -6.678 | 890.233 | 39.115 | 3.4356
2019-11-28 03:30:00 | 5.051 | 254.893 | 5.328 | 258.785 | 5.298 | 265.667 | 5.138 | 260.967 | -7.045 | 890.042 | 58.987 | 6.312
2019-11-28 03:45:00 | 3.93 | 262.833 | 4.304 | 265.092 | 4.482 | 269.867 | 4.531 | 264.167 | -7.859 | 889.942 | 77.893 | 2.8707
2019-11-28 04:00:00 | 3.172 | 269.267 | 3.354 | 268.65 | 3.474 | 273.533 | 3.677 | 268.133 | -8.391 | 890.354 | 82.336 | 1.8034
2019-11-28 04:15:00 | 2.913 | 271.253 | 2.91 | 266.967 | 3.106 | 270.367 | 3.576 | 267.867 | -8.418 | 889.458 | 84.235 | 1.0879
2019-11-28 04:30:00 | 2.48 | 272.947 | 2.707 | 271.35 | 3.107 | 274.533 | 3.421 | 268.633 | -8.17 | 889.929 | 85.152 | 0.64164
2019-11-28 04:45:00 | 2.732 | 278.907 | 2.979 | 275.052 | 3.124 | 278.333 | 3.47 | 274.033 | -8.431 | 889.508 | 86.144 | 0.62672
2019-11-28 05:00:00 | 2.324 | 289.133 | 2.543 | 276.937 | 2.738 | 283.133 | 3.242 | 276.3 | -8.24 | 890.475 | 86.037 | 0.14211
2019-11-28 05:15:00 | 1.787 | 290.427 | 2.055 | 278.874 | 2.424 | 290.033 | 2.834 | 284.5 | -8.484 | 889.596 | 86.805 | 0.23733
2019-11-28 05:30:00 | 1.493 | 300.067 | 1.784 | 280.875 | 2.064 | 302.3 | 2.652 | 293 | -8.19 | 890.321 | 87.253 | 0.20606
2019-11-28 05:45:00 | 1.701 | 304.427 | 1.777 | 282.842 | 2.198 | 302.5 | 2.771 | 292.967 | -8.351 | 889.479 | 87.392 | 0.28138
2019-11-28 06:00:00 | 1.519 | 324.733 | 1.588 | 307.456 | 1.918 | 307.9 | 2.456 | 303.7 | -8.391 | 889.767 | 87.509 | 0.24444
2019-11-28 06:15:00 | 0.698 | 324.92 | 1.002 | 312.96 | 1.312 | 308 | 2.004 | 305 | -8.21 | 889.617 | 87.872 | 0.23022
2019-11-28 06:30:00 | 0 | 334.947 | 0 | 314.936 | 0 | 311 | 1.256 | 304 | -8.17 | 889.408 | 88.043 | 0.23733
2019-11-28 06:45:00 | 0.096 | 334.947 | 0.66 | 315.226 | 0.801 | 310.933 | 1.399 | 303.9 | -8.17 | 889.692 | 88.299 | 0.22028
2019-11-28 07:00:00 | 0.266 | 334.947 | 0.404 | 314.955 | 0.606 | 311.067 | 1.643 | 304.067 | -8.17 | 889.775 | 88.427 | 0.21601
2019-11-28 07:15:00 | 0 | 334.813 | 0 | 315.037 | 0 | 311 | 0.985 | 304 | -8.371 | 889.8 | 88.491 | 0.21459
2019-11-28 07:30:00 | 0.03 | 334.853 | 0 | 315.129 | 0 | 310.967 | 0.027 | 304 | -8.21 | 889.85 | 88.576 | 0.23164
2019-11-28 07:45:00 | 1.979 | 278.587 | 2.069 | 287.119 | 1.974 | 276 | 2.322 | 271.933 | -8.11 | 889.9 | 88.533 | 0.24444
2019-11-28 08:00:00 | 0.63 | 278.827 | 0.43 | 287.086 | 0.337 | 276 | 1.613 | 272.067 | -8.601 | 890.304 | 88.832 | 0.21885
2019-11-28 08:15:00 | 1.624 | 278.333 | 1.518 | 286.93 | 1.476 | 276 | 2.043 | 271.733 | -8.491 | 890.121 | 88.832 | 0.2217
2019-11-28 08:30:00 | 2.153 | 277.92 | 2.192 | 286.983 | 2.164 | 276.067 | 2.598 | 272 | -8.494 | 889.921 | 89.344 | 0.25438
2019-11-28 08:45:00 | 1.678 | 273.2 | 2.112 | 287.015 | 2.358 | 280.467 | 2.777 | 275 | -8.524 | 889.767 | 88.491 | 0.23449
2019-11-28 09:00:00 | 2.047 | 274.333 | 2.52 | 286.806 | 2.478 | 292.167 | 2.753 | 294.8 | -8.908 | 889.012 | 87.829 | 0.20535
2019-11-28 09:15:00 | 2.227 | 281.84 | 2.865 | 289.09 | 3.011 | 292.7 | 3.298 | 296.767 | -8.414 | 889.692 | 87.765 | 0.061109
2019-11-28 09:30:00 | 1.864 | 294.147 | 2.212 | 292.129 | 2.466 | 288.9 | 3.043 | 286.867 | -8.488 | 889.621 | 88.789 | 0.13927
2019-11-28 09:45:00 | 1.824 | 283.413 | 2.339 | 274.72 | 2.561 | 282.833 | 3.062 | 283 | -8.271 | 889.671 | 89.408 | 0.10943
2019-11-28 10:00:00 | 2.081 | 280.987 | 2.417 | 282.576 | 2.665 | 282.5 | 3.134 | 282.867 | -8.21 | 889.758 | 87.787 | 0.15419
2019-11-28 10:15:00 | 2.256 | 279.813 | 2.65 | 274.685 | 2.768 | 278.667 | 3.133 | 274.067 | -8.271 | 890.017 | 84.725 | 0.24372
2019-11-28 10:30:00 | 2.733 | 264.373 | 2.998 | 262.414 | 2.889 | 266.267 | 3.003 | 264 | -8.013 | 889.942 | 80.155 | 0.38868
2019-11-28 10:45:00 | 2.225 | 283.6 | 2.63 | 281.938 | 2.72 | 288.6 | 3.133 | 283 | -8.391 | 890.092 | 77.856 | 0.72549
2019-11-28 11:00:00 | 2.007 | 273.333 | 2.284 | 274.953 | 2.327 | 279.867 | 2.78 | 278.2 | -8.073 | 889.842 | 77.152 | 1.0133
2019-11-28 11:15:00 | 2.364 | 283.92 | 2.562 | 278.95 | 2.654 | 282.9 | 3.155 | 278.033 | -8.311 | 890.092 | 75.083 | 1.1369
2019-11-28 11:30:00 | 2.682 | 275.6 | 3.287 | 268.463 | 3.429 | 273.233 | 3.603 | 270.3 | -7.94 | 889.483 | 72.075 | 0.88892
2019-11-28 11:45:00 | 2.722 | 240.967 | 2.91 | 251.509 | 2.555 | 265.467 | 2.862 | 264.233 | -4.919 | 890.125 | 59.531 | 0.52795
2019-11-28 12:00:00 | 3.125 | 240.833 | 2.664 | 253.843 | 2.464 | 268.067 | 3.036 | 264.033 | -5.419 | 889.392 | 54.069 | 0.43629
2019-11-28 12:15:00 | 2.983 | 247.167 | 3.019 | 255.539 | 2.762 | 267.867 | 3.076 | 264.867 | -5.135 | 889.875 | 51.397 | 0.93368
2019-11-28 12:30:00 | 3.007 | 248.06 | 3.334 | 258.977 | 2.944 | 267.867 | 3.247 | 264.8 | -4.682 | 889.808 | 48.512 | 1.969
2019-11-28 12:45:00 | 2.613 | 256.133 | 2.854 | 269.774 | 2.711 | 282.533 | 3.17 | 274 | -3.538 | 889.858 | 45.371 | 1.9917
2019-11-28 13:00:00 | 2.85 | 258.467 | 3.085 | 273.043 | 3.081 | 279.767 | 3.451 | 274.9 | -2.801 | 889.883 | 43.904 | 2.1118
2019-11-28 13:15:00 | 2.274 | 262.833 | 2.872 | 270.904 | 2.974 | 277.6 | 3.208 | 274.6 | -2.537 | 890.008 | 43.131 | 1.2563
2019-11-28 13:30:00 | 2.369 | 256.88 | 3.055 | 266.814 | 3.03 | 274.2 | 3.392 | 274.967 | -2.23 | 889.858 | 42.683 | 1.5476
2019-11-28 13:45:00 | 2.436 | 257.06 | 3.097 | 263.577 | 3.239 | 273.167 | 3.546 | 274.267 | -2.131 | 889.533 | 42.037 | 1.6016
2019-11-28 14:00:00 | 2.204 | 256.36 | 2.924 | 265.262 | 2.916 | 274.7 | 3.262 | 274.433 | -2.23 | 889.65 | 43.627 | 1.0154
2019-11-28 14:15:00 | 2.04 | 255.593 | 2.537 | 264.591 | 2.633 | 269.2 | 3.004 | 268.933 | -1.992 | 889.442 | 44.043 | 1.9356
2019-11-28 14:30:00 | 2.529 | 266.547 | 3.015 | 273.502 | 3.143 | 278.367 | 3.561 | 277.5 | -3.348 | 889.967 | 45.643 | 3.1855
2019-11-28 14:45:00 | 2.557 | 266.627 | 3.126 | 274.122 | 3.174 | 280.067 | 3.686 | 277.633 | -5.152 | 890.208 | 52.821 | 2.5566
2019-11-28 15:00:00 | 2.284 | 255.027 | 2.862 | 262.102 | 2.987 | 267.9 | 3.299 | 266.4 | -4.351 | 889.908 | 48.869 | 1.1966
2019-11-28 15:15:00 | 2.195 | 245.867 | 2.542 | 252.968 | 2.69 | 258.5 | 3.152 | 262.033 | -3.89 | 889.867 | 46.075 | 1.0758
2019-11-28 15:30:00 | 2.542 | 234.807 | 3.061 | 246.12 | 3.101 | 258.433 | 3.437 | 257.167 | -4.259 | 889.875 | 47.157 | 2.7307
2019-11-28 15:45:00 | 3.194 | 235.467 | 3.384 | 244.084 | 3.432 | 253.933 | 3.7 | 255.967 | -4.852 | 889.85 | 48.357 | 4.5924
2019-11-28 16:00:00 | 3.112 | 231.033 | 3.368 | 241.994 | 3.511 | 252 | 3.74 | 252.6 | -5.419 | 889.85 | 49.973 | 4.6755
2019-11-28 16:15:00 | 3.476 | 230.28 | 3.921 | 239.458 | 3.975 | 249.133 | 4.004 | 249.333 | -6.037 | 890.15 | 52.512 | 6.0071
2019-11-28 16:30:00 | 4.071 | 221.293 | 4.248 | 230.67 | 4.199 | 240.933 | 4.425 | 240.867 | -6.425 | 890.25 | 54.816 | 11.3158
2019-11-28 16:45:00 | 4.82 | 228.347 | 5.217 | 236.367 | 5.329 | 248.033 | 5.435 | 247.567 | -6.651 | 889.858 | 56.651 | 12.3468
2019-11-28 17:00:00 | 4.524 | 238.987 | 5.105 | 246.896 | 5.086 | 256.5 | 5.21 | 254.517 | -7.068 | 889.767 | 57.952 | 12.6829
2019-11-28 17:15:00 | 4.73 | 236.973 | 5.33 | 251.608 | 5.387 | 259.8 | 5.461 | 258.1 | -7.736 | 890.017 | 59.296 | 16.0076
2019-11-28 17:30:00 | 5.279 | 228.64 | 5.592 | 244.493 | 5.477 | 254.333 | 5.485 | 252.667 | -8.488 | 889.775 | 61.685 | 17.7926
2019-11-28 17:45:00 | 5.016 | 226.673 | 5.591 | 244.7 | 5.51 | 253.667 | 5.548 | 250.85 | -9.299 | 889.967 | 64.235 | 17.3009
2019-11-28 18:00:00 | 4.392 | 225.82 | 5.666 | 248.03 | 5.527 | 259.267 | 5.551 | 256.483 | -9.878 | 889.367 | 66.763 | 16.8518
2019-11-28 18:15:00 | 5.851 | 220.227 | 6.031 | 234.617 | 5.548 | 247.667 | 5.523 | 245.8 | -10.947 | 889.4 | 68.992 | 20.1836
2019-11-28 18:30:00 | 6.036 | 221.26 | 6.565 | 234.697 | 5.862 | 245.1 | 5.741 | 243.467 | -11.207 | 890.125 | 70.56 | 26.2668
2019-11-28 18:45:00 | 6.31 | 222.847 | 6.83 | 239.254 | 6.605 | 246.967 | 6.315 | 243.733 | -11.561 | 889.842 | 70.741 | 21.2815
2019-11-28 19:00:00 | 5.538 | 236.133 | 6.086 | 253.558 | 5.874 | 260.2 | 6.239 | 257.667 | -11.478 | 889.85 | 71.899 | 18.8087
2019-11-28 19:15:00 | 6.763 | 219.1 | 6.639 | 234.686 | 5.837 | 251.133 | 5.558 | 250.717 | -12.386 | 889.5 | 71.093 | 23.3471
2019-11-28 19:30:00 | 6.294 | 228.567 | 6.884 | 240.121 | 6.26 | 248.5 | 5.702 | 246.433 | -11.995 | 889.817 | 72.149 | 31.2301
2019-11-28 19:45:00 | 5.995 | 232.267 | 7.49 | 239.925 | 7.477 | 247.8 | 6.938 | 244.5 | -11.786 | 889.558 | 71.968 | 28.0923
2019-11-28 20:00:00 | 6.285 | 216.98 | 6.946 | 228.606 | 6.721 | 237.333 | 6.463 | 235.067 | -12.616 | 889.633 | 70.4 | 21.3923
2019-11-28 20:15:00 | 6.154 | 220.5 | 6.745 | 236.496 | 6.446 | 243.633 | 5.918 | 238.4 | -12.82 | 889.7 | 71.328 | 24.4776
2019-11-28 20:30:00 | 6.179 | 218.033 | 7.082 | 232.117 | 6.782 | 241.633 | 6.04 | 238.133 | -13.153 | 889.942 | 72.448 | 24.5813
2019-11-28 20:45:00 | 6.44 | 222.5 | 7.398 | 234.584 | 7.054 | 242.367 | 6.486 | 238.867 | -13.02 | 889.717 | 72.469 | 29.2711
2019-11-28 21:00:00 | 6.634 | 226.967 | 7.187 | 239.095 | 7.041 | 245.033 | 6.712 | 240.767 | -12.686 | 889.892 | 72.64 | 30.0058
2019-11-28 21:15:00 | 7.287 | 214.433 | 7.691 | 224.43 | 6.975 | 234.833 | 5.98 | 234.467 | -12.603 | 889.767 | 71.851 | 26.3549
2019-11-28 21:30:00 | 6.491 | 217.233 | 7.75 | 226.68 | 7.177 | 237.1 | 6.204 | 236.2 | -12.553 | 889.9 | 72.192 | 27.3014
2019-11-28 21:45:00 | 6.334 | 223.2 | 7.588 | 232.477 | 7.427 | 238.7 | 6.912 | 235.833 | -12.099 | 890.017 | 71.349 | 26.3826
2019-11-28 22:00:00 | 6.321 | 218.1 | 7.711 | 227.824 | 7.47 | 235.033 | 6.929 | 232.067 | -12.203 | 889.883 | 71.381 | 26.0906
2019-11-28 22:15:00 | 6.653 | 222.733 | 7.681 | 230.197 | 7.295 | 238.933 | 6.741 | 235.967 | -12.203 | 889.625 | 71.883 | 22.0546
2019-11-28 22:30:00 | 6.591 | 220.873 | 7.373 | 225.594 | 6.96 | 234.633 | 6.184 | 233.433 | -11.932 | 889.508 | 71.477 | 18.4641
2019-11-28 22:45:00 | 6.361 | 218.593 | 7.21 | 223.428 | 6.547 | 234.1 | 5.936 | 231.867 | -11.953 | 889.55 | 71.125 | 22.9463
2019-11-28 23:00:00 | 6.517 | 218.167 | 8.466 | 222.744 | 7.377 | 232.8 | 6.477 | 232.3 | -12.42 | 890.042 | 71.616 | 28.9698
2019-11-28 23:15:00 | 7.031 | 222.527 | 8.668 | 223.43 | 7.683 | 230.4 | 6.843 | 230.6 | -12.161 | 889.992 | 71.893 | 26.4011
2019-11-28 23:30:00 | 6.691 | 223.06 | 7.535 | 228.691 | 7.086 | 242.367 | 6.65 | 239.9 | -12.161 | 889.758 | 71.04 | 27.3575
2019-11-28 23:45:00 | 6.55 | 220.467 | 7.571 | 231.889 | 7.299 | 243.6 | 6.858 | 242.533 | -12.42 | 890.15 | 70.88 | 28.9265