## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-29 00:00:00 | 6.304 | 224.56 | 7.373 | 236.981 | 7.182 | 248.4 | 6.77 | 248.233 | -12.461 | 889.933 | 70.571 | 29.9177
2019-11-29 00:15:00 | 6.843 | 224.7 | 7.449 | 234.133 | 7.149 | 243.9 | 6.725 | 245.967 | -12.503 | 889.975 | 71.104 | 29.3549
2019-11-29 00:30:00 | 6.424 | 222.867 | 7.448 | 236.698 | 7.226 | 248.967 | 6.747 | 250.867 | -12.57 | 889.767 | 70.379 | 29.3443
2019-11-29 00:45:00 | 6.992 | 219.067 | 7.807 | 232.366 | 7.531 | 244.2 | 6.958 | 244.667 | -13.203 | 890 | 70.912 | 27.7959
2019-11-29 01:00:00 | 6.551 | 216.867 | 7.986 | 225.248 | 7.416 | 236.8 | 6.552 | 238.467 | -12.87 | 889.842 | 71.061 | 27.7348
2019-11-29 01:15:00 | 6.812 | 219.273 | 8.016 | 222.798 | 7.413 | 230.967 | 6.758 | 230.433 | -12.086 | 889.875 | 70.496 | 26.8139
2019-11-29 01:30:00 | 6.874 | 222.113 | 7.6 | 229.953 | 7.19 | 239.3 | 6.63 | 238.367 | -12.178 | 889.683 | 69.547 | 25.5072
2019-11-29 01:45:00 | 7.51 | 222.5 | 7.567 | 228.967 | 7.049 | 237.433 | 6.374 | 237.8 | -12.353 | 889.908 | 68.896 | 29.2682
2019-11-29 02:00:00 | 7.652 | 217.48 | 8.005 | 222.087 | 7.23 | 229.2 | 6.51 | 229.2 | -12.111 | 889.675 | 68.373 | 27.813
2019-11-29 02:15:00 | 7.472 | 216.667 | 8.59 | 217.364 | 7.693 | 225.033 | 6.774 | 223.167 | -12.52 | 889.925 | 68.469 | 28.8916
2019-11-29 02:30:00 | 7.404 | 221.567 | 8.811 | 220.694 | 8.104 | 227.933 | 6.996 | 227.033 | -12.503 | 890.092 | 68.853 | 32.7919
2019-11-29 02:45:00 | 7.054 | 228.5 | 8.246 | 234.279 | 8.033 | 245.433 | 7.619 | 244.4 | -12.486 | 889.6 | 69.003 | 36.8642
2019-11-29 03:00:00 | 7.16 | 231.367 | 7.654 | 239.586 | 7.419 | 252.333 | 7.227 | 254.433 | -12.553 | 889.408 | 69.163 | 37.5606
2019-11-29 03:15:00 | 7.565 | 223.033 | 7.364 | 233.367 | 7.032 | 247.167 | 6.772 | 249.9 | -12.253 | 889.767 | 68.181 | 38.3344
2019-11-29 03:30:00 | 7.251 | 226.873 | 7.145 | 234.476 | 7.115 | 243.667 | 6.736 | 243.733 | -11.57 | 889.975 | 67.435 | 46.5158
2019-11-29 03:45:00 | 6.988 | 229.487 | 6.615 | 233.301 | 6.461 | 244.333 | 6.594 | 243.567 | -10.451 | 890.242 | 65.163 | 50.0587
2019-11-29 04:00:00 | 6.985 | 229.867 | 6.519 | 236.108 | 6.698 | 246.767 | 6.74 | 244.767 | -9.428 | 889.892 | 62.603 | 39.0925
2019-11-29 04:15:00 | 6.843 | 230.46 | 6.791 | 241.996 | 6.92 | 251.967 | 6.9 | 250.6 | -10.439 | 889.583 | 61.184 | 35.3201
2019-11-29 04:30:00 | 7.102 | 231.147 | 7.523 | 248.761 | 7.584 | 258.8 | 7.659 | 257.267 | -11.886 | 889.917 | 64.501 | 38.5895
2019-11-29 04:45:00 | 8.284 | 230.267 | 7.428 | 243.219 | 7.331 | 257.767 | 7.433 | 259.067 | -12.486 | 889.858 | 66.336 | 35.367
2019-11-29 05:00:00 | 7.639 | 228.447 | 6.97 | 237.348 | 6.495 | 246.633 | 5.793 | 247.533 | -11.082 | 890.142 | 62.699 | 42.2361
2019-11-29 05:15:00 | 6.327 | 231.433 | 7.431 | 244.568 | 7.644 | 255.1 | 7.511 | 255.65 | -12.836 | 889.942 | 65.376 | 51.6248
2019-11-29 05:30:00 | 7.458 | 222.333 | 7.767 | 231.391 | 7.727 | 240.6 | 7.481 | 239.667 | -12.62 | 890.117 | 66.731 | 54.2638
2019-11-29 05:45:00 | 7.783 | 220.013 | 8.376 | 226.602 | 8.252 | 237.467 | 7.784 | 238.467 | -12.078 | 889.925 | 67.648 | 52.2977
2019-11-29 06:00:00 | 7.262 | 221.367 | 8.155 | 227.291 | 8.176 | 237.133 | 7.905 | 236.667 | -11.995 | 890.05 | 66.475 | 49.6139
2019-11-29 06:15:00 | 7.315 | 224.92 | 8.319 | 232.554 | 8.547 | 241.367 | 8.434 | 239.833 | -11.807 | 889.908 | 66.315 | 44.4644
2019-11-29 06:30:00 | 6.935 | 214.947 | 6.792 | 229.499 | 7.105 | 240.267 | 7.209 | 238.767 | -10.618 | 890.267 | 62.155 | 33.0826
2019-11-29 06:45:00 | 4.08 | 203.627 | 4.592 | 216.37 | 6.132 | 235.5 | 6.653 | 239.5 | -10.76 | 889.858 | 59.765 | 27.1579
2019-11-29 07:00:00 | 5.243 | 219.947 | 5.649 | 226.964 | 5.694 | 234.667 | 5.478 | 234.6 | -11.159 | 890.042 | 60.213 | 19.6315
2019-11-29 07:15:00 | 4.723 | 213.633 | 5.121 | 221.601 | 5.008 | 236.667 | 4.705 | 240.767 | -11.428 | 890.025 | 59.851 | 22.2635
2019-11-29 07:30:00 | 5.323 | 218.847 | 4.932 | 226.456 | 5.151 | 244.3 | 5.374 | 249.933 | -10.062 | 889.783 | 55.531 | 31.1441
2019-11-29 07:45:00 | 4.845 | 217.847 | 5.786 | 221.661 | 6.05 | 232.367 | 6.367 | 241.233 | -10.491 | 890.2 | 53.077 | 33.877
2019-11-29 08:00:00 | 5.744 | 214.833 | 6.923 | 223.996 | 6.857 | 238.933 | 6.53 | 242.433 | -11.428 | 889.725 | 56.021 | 27.8961
2019-11-29 08:15:00 | 5.605 | 215.153 | 6.017 | 218.981 | 6.088 | 231.7 | 5.829 | 238.2 | -10.909 | 889.708 | 54.933 | 22.7161
2019-11-29 08:30:00 | 6.167 | 203.687 | 5.59 | 213.378 | 5.603 | 221.067 | 5.229 | 222.933 | -10.368 | 889.833 | 52.64 | 18.3603
2019-11-29 08:45:00 | 5.726 | 201.367 | 5.499 | 207.997 | 5.732 | 216.967 | 5.722 | 216.967 | -11.345 | 890.042 | 55.893 | 17.3947
2019-11-29 09:00:00 | 5.39 | 194.867 | 4.625 | 203.731 | 4.868 | 209.933 | 5.117 | 211.3 | -11.445 | 889.933 | 57.013 | 18.9501
2019-11-29 09:15:00 | 5.8 | 206.507 | 5.35 | 211.507 | 5.187 | 214.4 | 5.214 | 215.467 | -10.928 | 889.775 | 55.627 | 23.2448
2019-11-29 09:30:00 | 6.361 | 218.167 | 7.148 | 216.866 | 6.765 | 223.667 | 6.334 | 222.567 | -10.499 | 889.875 | 54.155 | 27.2751
2019-11-29 09:45:00 | 6.779 | 216.8 | 7.558 | 217.327 | 6.979 | 225.533 | 6.372 | 224.867 | -10.924 | 889.808 | 55.115 | 32.556
2019-11-29 10:00:00 | 7.255 | 217.7 | 7.704 | 222.91 | 7.18 | 231.1 | 7.019 | 229.233 | -10.399 | 890.008 | 54.272 | 32.6576
2019-11-29 10:15:00 | 7.237 | 223.413 | 7.563 | 226.945 | 7.383 | 234 | 7.144 | 231.967 | -9.683 | 889.725 | 52.992 | 31.3452
2019-11-29 10:30:00 | 6.58 | 219.3 | 7.119 | 227.031 | 7.168 | 235.267 | 6.983 | 232.6 | -9.224 | 889.825 | 51.307 | 30.0214
2019-11-29 10:45:00 | 6.701 | 222.867 | 7.575 | 226.864 | 7.529 | 235.267 | 7.402 | 232.233 | -8.758 | 889.992 | 50.24 | 29.1432
2019-11-29 11:00:00 | 6.016 | 218.093 | 7.566 | 226.472 | 7.784 | 235.933 | 7.659 | 233.933 | -7.809 | 889.65 | 48.619 | 30.7775
2019-11-29 11:15:00 | 4.917 | 223 | 6.934 | 231.176 | 7.531 | 241.5 | 7.34 | 239.767 | -6.893 | 890.242 | 46.901 | 28.9343
2019-11-29 11:30:00 | 6.122 | 228.64 | 6.83 | 234.616 | 7.096 | 242.033 | 7.025 | 238.967 | -5.918 | 889.817 | 43.093 | 36.3355
2019-11-29 11:45:00 | 6.258 | 231.667 | 7.342 | 234.866 | 7.834 | 240.533 | 7.785 | 236.567 | -5.019 | 889.483 | 39.467 | 37.8561
2019-11-29 12:00:00 | 4.91 | 229.533 | 6.282 | 229.321 | 6.978 | 233.933 | 7.194 | 229.233 | -4.008 | 889.633 | 36.741 | 37.0511
2019-11-29 12:15:00 | 6.257 | 231.333 | 7.462 | 239.824 | 8.06 | 244.367 | 8.078 | 238.233 | -3.958 | 889.633 | 36.304 | 38.377
2019-11-29 12:30:00 | 6.401 | 240.54 | 7.373 | 246.578 | 7.705 | 250.833 | 7.739 | 245.767 | -3.147 | 889.567 | 34.4 | 46.211
2019-11-29 12:45:00 | 6.063 | 246.333 | 7.04 | 251.456 | 7.333 | 255.167 | 7.594 | 250.233 | -2.7 | 889.717 | 33.8 | 59.9363
2019-11-29 13:00:00 | 5.992 | 237.833 | 7.252 | 246.755 | 7.544 | 251.833 | 7.536 | 248.55 | -2.512 | 889.933 | 33.184 | 49.292
2019-11-29 13:15:00 | 5.422 | 234.067 | 6.579 | 242.607 | 7.194 | 250.5 | 7.322 | 246.9 | -2.598 | 889.8 | 34.875 | 41.0828
2019-11-29 13:30:00 | 6.708 | 243.473 | 8.006 | 253.72 | 8.1 | 258.333 | 8.089 | 254.267 | -2.76 | 889.633 | 35.408 | 40.9834
2019-11-29 13:45:00 | 6.667 | 241.88 | 8.026 | 254.04 | 8.237 | 258.5 | 8.203 | 256.133 | -2.744 | 889.833 | 36.851 | 35.8467
2019-11-29 14:00:00 | 6.135 | 247.84 | 7.423 | 257.864 | 7.854 | 261.9 | 7.796 | 259.7 | -2.902 | 889.8 | 38.419 | 33.116
2019-11-29 14:15:00 | 7.183 | 241.087 | 8.318 | 254.732 | 8.524 | 259.967 | 8.586 | 257.2 | -3.217 | 889.7 | 39.995 | 30.845
2019-11-29 14:30:00 | 6.068 | 239.1 | 6.826 | 248.616 | 7.134 | 254.167 | 7.171 | 252.917 | -3.488 | 889.383 | 38.592 | 22.4816
2019-11-29 14:45:00 | 4.341 | 239.567 | 5.032 | 247.015 | 5.42 | 254.133 | 5.71 | 252.95 | -3.254 | 889.7 | 38.736 | 25.3722
2019-11-29 15:00:00 | 3.868 | 234.153 | 4.528 | 238.422 | 4.798 | 247.067 | 4.943 | 245.5 | -2.847 | 890.017 | 39.099 | 25.1562
2019-11-29 15:15:00 | 4.516 | 244.7 | 5.019 | 247.401 | 5.169 | 254.2 | 5.048 | 252.967 | -2.7 | 889.517 | 38.155 | 19.2784
2019-11-29 15:30:00 | 4.238 | 241.207 | 4.102 | 243.788 | 4.196 | 252.4 | 4.163 | 252.25 | -3.062 | 890.05 | 38.357 | 14.001
2019-11-29 15:45:00 | 3.906 | 242.233 | 3.846 | 250.49 | 4.035 | 262.967 | 4.295 | 267.1 | -3.487 | 889.492 | 40.352 | 11.2135
2019-11-29 16:00:00 | 4.249 | 241.233 | 4.746 | 259.46 | 5.26 | 271.333 | 5.361 | 270.333 | -3.388 | 889.833 | 40.84 | 9.9778
2019-11-29 16:15:00 | 4.209 | 240.32 | 5.265 | 260.943 | 5.425 | 273.6 | 5.774 | 276.033 | -4.265 | 889.758 | 44.805 | 10.0765
2019-11-29 16:30:00 | 4.575 | 246.5 | 5.383 | 264.684 | 5.443 | 275.667 | 5.701 | 276.133 | -4.835 | 889.925 | 44.624 | 10.1107
2019-11-29 16:45:00 | 5.079 | 245.493 | 5.007 | 261.419 | 5.328 | 272.733 | 5.71 | 271.233 | -4.849 | 889.95 | 41.856 | 11.0848
2019-11-29 17:00:00 | 5.729 | 237.173 | 5.552 | 243.491 | 5.379 | 254.4 | 5.122 | 258.7 | -5.488 | 889.825 | 43.968 | 10.5889
2019-11-29 17:15:00 | 5.368 | 238.22 | 5.516 | 247.807 | 5.421 | 256.233 | 5.287 | 256.9 | -5.958 | 889.808 | 44.789 | 13.6692
2019-11-29 17:30:00 | 5.446 | 235.1 | 6.044 | 245.644 | 6.215 | 255.633 | 6.275 | 256.283 | -6.328 | 889.792 | 44.651 | 15.1088
2019-11-29 17:45:00 | 5.401 | 236.907 | 5.966 | 245.367 | 6.008 | 253.8 | 5.87 | 252.433 | -6.747 | 889.633 | 45.589 | 14.6732
2019-11-29 18:00:00 | 5.961 | 227.267 | 6.054 | 237.702 | 6.146 | 248.633 | 6.172 | 247.567 | -7.739 | 890.225 | 47.573 | 20.1304
2019-11-29 18:15:00 | 6.238 | 222.56 | 5.968 | 236.969 | 6.035 | 249.867 | 6.072 | 250.283 | -9.508 | 889.625 | 53.675 | 25.0439
2019-11-29 18:30:00 | 7.25 | 226.327 | 6.771 | 234.431 | 6.761 | 246.6 | 6.379 | 246.267 | -9.32 | 889.633 | 54.165 | 28.7531
2019-11-29 18:45:00 | 7.982 | 227.147 | 7.466 | 239.677 | 7.365 | 252.333 | 7.336 | 252.717 | -10.651 | 889.767 | 54.005 | 31.3779
2019-11-29 19:00:00 | 7.128 | 226.793 | 7.445 | 241.065 | 6.982 | 253.267 | 7.017 | 254.417 | -11.628 | 889.883 | 55.392 | 30.511
2019-11-29 19:15:00 | 5.904 | 221.38 | 7.128 | 234.177 | 6.997 | 243.6 | 6.516 | 244.333 | -11.645 | 890.367 | 56.608 | 35.4829
2019-11-29 19:30:00 | 5.854 | 221.833 | 7.238 | 232.216 | 7.366 | 241.567 | 7.008 | 240.067 | -10.516 | 889.908 | 52.085 | 43.7418
2019-11-29 19:45:00 | 7.287 | 216.94 | 8.241 | 226.889 | 7.965 | 237.633 | 7.61 | 236.567 | -10.995 | 889.758 | 51.403 | 48.6184
2019-11-29 20:00:00 | 6.848 | 219.233 | 8.856 | 228.033 | 8.722 | 236.867 | 8.182 | 234.9 | -11.445 | 890.167 | 52.907 | 52.2394
2019-11-29 20:15:00 | 6.568 | 214.12 | 8.18 | 225.175 | 8.779 | 234.767 | 8.364 | 231.833 | -11.153 | 889.933 | 51.648 | 54.8437
2019-11-29 20:30:00 | 6.549 | 216.267 | 8.488 | 225.531 | 9.067 | 232.933 | 8.646 | 230.933 | -11.361 | 889.725 | 51.477 | 56.3963
2019-11-29 20:45:00 | 7.518 | 219.433 | 8.532 | 227.446 | 9.027 | 235 | 8.911 | 231.467 | -11.195 | 889.633 | 49.408 | 57.7037
2019-11-29 21:00:00 | 7.626 | 217.227 | 9.059 | 226.108 | 9.368 | 234.1 | 9.182 | 231.733 | -11.745 | 889.8 | 51.179 | 52.6445
2019-11-29 21:15:00 | 7.715 | 218.4 | 8.594 | 227.689 | 8.874 | 236.9 | 8.835 | 234.467 | -11.461 | 889.883 | 51.072 | 44.6136
2019-11-29 21:30:00 | 6.532 | 220.047 | 8.421 | 223.759 | 8.279 | 233.167 | 8.025 | 231.1 | -12.111 | 890.208 | 53.504 | 40.9016
2019-11-29 21:45:00 | 7.235 | 217.533 | 8.233 | 224.959 | 8.345 | 232.5 | 8.272 | 230.2 | -12.336 | 889.967 | 53.813 | 39.8479
2019-11-29 22:00:00 | 6.379 | 217.3 | 7.98 | 225.404 | 8.036 | 234.5 | 7.944 | 232.5 | -12.603 | 890.025 | 54.816 | 37.6295
2019-11-29 22:15:00 | 7.073 | 218.433 | 7.799 | 229.255 | 7.779 | 238.867 | 7.569 | 237.2 | -12.536 | 889.758 | 55.509 | 34.2507
2019-11-29 22:30:00 | 6.83 | 219.5 | 7.828 | 227.402 | 7.649 | 237.767 | 7.211 | 237.167 | -12.52 | 889.975 | 55.307 | 33.1188
2019-11-29 22:45:00 | 6.939 | 219.567 | 7.649 | 227.98 | 7.4 | 239.067 | 6.872 | 237.867 | -12.636 | 889.933 | 54.645 | 33.1025
2019-11-29 23:00:00 | 7.305 | 217.267 | 7.764 | 226.189 | 7.493 | 237.333 | 7.099 | 234.6 | -12.786 | 889.417 | 54.219 | 34.7751
2019-11-29 23:15:00 | 7.562 | 215.967 | 8.24 | 221.929 | 7.998 | 231.2 | 7.504 | 229.533 | -13.12 | 889.825 | 53.365 | 33.0612
2019-11-29 23:30:00 | 7.069 | 217.4 | 7.974 | 223.158 | 7.582 | 231.067 | 7.251 | 229.7 | -13.103 | 889.742 | 53.419 | 34.1854
2019-11-29 23:45:00 | 7.327 | 218.467 | 8.174 | 222.594 | 7.637 | 230.033 | 7.076 | 229.3 | -12.886 | 889.883 | 52.171 | 37.5357