## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-11-30 00:00:00 | 7.467 | 216.867 | 8.688 | 219.428 | 7.887 | 226.567 | 7.329 | 226.8 | -12.736 | 889.808 | 51.051 | 35.9454
2019-11-30 00:15:00 | 7.59 | 216.267 | 8.717 | 217.746 | 8.345 | 224.233 | 7.843 | 222.967 | -13.003 | 889.758 | 51.296 | 35.3606
2019-11-30 00:30:00 | 7.132 | 215.833 | 8.603 | 216.606 | 8.185 | 222.3 | 7.81 | 220 | -13.003 | 890.192 | 50.037 | 34.2863
2019-11-30 00:45:00 | 7.377 | 216.1 | 8.197 | 216.273 | 8.009 | 221.733 | 7.547 | 220.733 | -13.186 | 889.867 | 51.243 | 30.1579
2019-11-30 01:00:00 | 7.283 | 220.467 | 8.028 | 222.431 | 7.311 | 228.467 | 6.723 | 227.733 | -12.903 | 889.683 | 49.579 | 29.3464
2019-11-30 01:15:00 | 7.718 | 218.033 | 7.598 | 223.01 | 6.886 | 230.133 | 6.616 | 230 | -12.853 | 890.008 | 48.352 | 32.3194
2019-11-30 01:30:00 | 7.712 | 218.7 | 7.58 | 222.938 | 7.075 | 230.467 | 6.82 | 229.3 | -12.703 | 889.858 | 47.691 | 33.1444
2019-11-30 01:45:00 | 7.692 | 219.2 | 7.891 | 222.969 | 7.471 | 231.033 | 7.087 | 231.233 | -13.17 | 889.708 | 48.235 | 29.7266
2019-11-30 02:00:00 | 6.763 | 217.333 | 7.831 | 223.503 | 7.694 | 230.433 | 7.447 | 228.933 | -12.986 | 889.85 | 48.395 | 29.7088
2019-11-30 02:15:00 | 6.99 | 219.633 | 8.13 | 225.727 | 8.005 | 233.3 | 7.609 | 231.867 | -12.903 | 889.833 | 48.181 | 34.4689
2019-11-30 02:30:00 | 7.598 | 217.833 | 8.684 | 222.685 | 8.162 | 229.133 | 7.834 | 228.233 | -12.82 | 889.7 | 47.136 | 35.0487
2019-11-30 02:45:00 | 7.326 | 214.7 | 8.574 | 220.872 | 7.894 | 229.667 | 7.627 | 231.367 | -12.52 | 890.125 | 46.731 | 36.9594
2019-11-30 03:00:00 | 7.867 | 218.233 | 8.196 | 227.464 | 8.149 | 236.6 | 7.81 | 236.967 | -12.97 | 889.667 | 46.549 | 43.9606
2019-11-30 03:15:00 | 7.559 | 221.567 | 7.932 | 230.652 | 7.906 | 240.8 | 7.391 | 237.367 | -12.92 | 890.108 | 46.091 | 43.1584
2019-11-30 03:30:00 | 7.094 | 221.867 | 7.88 | 227.763 | 8.05 | 236.367 | 7.776 | 234.467 | -12.67 | 890.1 | 45.365 | 35.2178
2019-11-30 03:45:00 | 6.72 | 215.433 | 7.351 | 224.351 | 7.326 | 234.333 | 7.078 | 233 | -12.836 | 889.642 | 46.848 | 30.1259
2019-11-30 04:00:00 | 7.147 | 215.147 | 7.29 | 222.362 | 7.471 | 230.867 | 7.394 | 228.233 | -13.372 | 890.15 | 48.267 | 24.948
2019-11-30 04:15:00 | 6.848 | 213.1 | 6.926 | 221.744 | 6.943 | 229.333 | 6.93 | 227.133 | -12.67 | 890.142 | 45.845 | 31.1207
2019-11-30 04:30:00 | 6.383 | 217.193 | 7.663 | 225.232 | 7.981 | 235.767 | 7.993 | 233.033 | -12.174 | 890.133 | 44.096 | 40.115
2019-11-30 04:45:00 | 7.494 | 214.88 | 7.811 | 222.625 | 8.083 | 233.933 | 8.035 | 231.967 | -13.372 | 889.75 | 47.701 | 41.4246
2019-11-30 05:00:00 | 6.639 | 216.533 | 7.529 | 223.168 | 7.712 | 234.667 | 7.726 | 233.567 | -13.003 | 890.275 | 46.699 | 41.2974
2019-11-30 05:15:00 | 7.394 | 219.367 | 8.149 | 224.004 | 8.006 | 233.5 | 7.976 | 232.333 | -12.953 | 889.45 | 46.293 | 39.0598
2019-11-30 05:30:00 | 6.794 | 220.62 | 7.686 | 223.32 | 7.244 | 230.967 | 7.059 | 230.367 | -13.155 | 889.875 | 47.179 | 35.7387
2019-11-30 05:45:00 | 6.278 | 218.633 | 7.168 | 223.968 | 7.15 | 232.567 | 7.062 | 231.6 | -12.553 | 889.942 | 45.184 | 38.8424
2019-11-30 06:00:00 | 6.502 | 217.567 | 7.894 | 224.022 | 7.832 | 233.633 | 7.583 | 232.333 | -13.07 | 889.792 | 46.229 | 43.5087
2019-11-30 06:15:00 | 6.831 | 220.08 | 8.538 | 223.782 | 8.377 | 232.767 | 8.15 | 230.467 | -13.245 | 890.225 | 47.52 | 50.7075
2019-11-30 06:30:00 | 8.138 | 220.3 | 8.991 | 223.934 | 8.643 | 231.7 | 8.414 | 230.4 | -12.903 | 889.7 | 47.467 | 51.9872
2019-11-30 06:45:00 | 7.337 | 220.7 | 8.944 | 221.304 | 8.489 | 228.2 | 8.029 | 227.2 | -12.553 | 890.25 | 46.795 | 48.5317
2019-11-30 07:00:00 | 6.936 | 217.033 | 9.041 | 219.844 | 8.602 | 226.467 | 8.003 | 224.533 | -13.053 | 890.167 | 47.861 | 46.8121
2019-11-30 07:15:00 | 7.579 | 220.3 | 8.815 | 221.233 | 8.541 | 227.6 | 7.946 | 226.6 | -12.67 | 890.192 | 47.893 | 42.5836
2019-11-30 07:30:00 | 7.013 | 219.133 | 8.452 | 220.726 | 7.982 | 226.267 | 7.526 | 225.667 | -13.003 | 889.833 | 48.16 | 40.8327
2019-11-30 07:45:00 | 7.855 | 217.167 | 8.703 | 218.319 | 8.255 | 223.967 | 7.697 | 221.6 | -12.403 | 890.1 | 47.392 | 37.9499
2019-11-30 08:00:00 | 8.122 | 215.833 | 8.384 | 218.465 | 8.08 | 222.3 | 7.54 | 220.067 | -12.42 | 890.167 | 47.232 | 33.5089
2019-11-30 08:15:00 | 7.502 | 217.9 | 8.276 | 219.583 | 7.7 | 225.133 | 7.062 | 222.3 | -12.686 | 889.95 | 47.701 | 27.9572
2019-11-30 08:30:00 | 5.978 | 224.64 | 7.79 | 222.758 | 6.776 | 229.5 | 6.143 | 227.4 | -13.157 | 889.792 | 48.427 | 26.7123
2019-11-30 08:45:00 | 7.737 | 221.707 | 7.617 | 222.572 | 6.939 | 230.433 | 6.374 | 232.8 | -13.395 | 889.867 | 50.613 | 24.4868
2019-11-30 09:00:00 | 7.395 | 223.767 | 6.839 | 226.954 | 6.447 | 236.667 | 5.983 | 238.667 | -12.97 | 890 | 48.032 | 24.938
2019-11-30 09:15:00 | 6.852 | 219.5 | 7.228 | 224.679 | 6.678 | 234.367 | 6.234 | 234.533 | -12.97 | 889.825 | 47.851 | 26.2192
2019-11-30 09:30:00 | 7.593 | 219.133 | 7.692 | 223.089 | 6.984 | 231.567 | 6.354 | 233.067 | -12.503 | 889.458 | 46.955 | 25.0766
2019-11-30 09:45:00 | 6.982 | 219.527 | 6.979 | 226.02 | 6.595 | 235.733 | 6.234 | 236 | -11.745 | 889.842 | 45.333 | 26.6832
2019-11-30 10:00:00 | 6.8 | 222.133 | 7.428 | 223.148 | 6.65 | 232.9 | 5.845 | 235.733 | -11.411 | 890.283 | 45.088 | 25.1761
2019-11-30 10:15:00 | 6.574 | 223.193 | 7.096 | 226.222 | 6.35 | 236.1 | 5.777 | 237.267 | -10.556 | 890 | 44.245 | 20.7606
2019-11-30 10:30:00 | 6.648 | 226.467 | 6.237 | 232.585 | 6.097 | 242.067 | 5.694 | 241.333 | -9.72 | 890.1 | 42.763 | 15.7568
2019-11-30 10:45:00 | 6.231 | 225.76 | 6.054 | 233.151 | 5.759 | 241.9 | 5.302 | 239.367 | -8.444 | 889.917 | 40.491 | 14.8963
2019-11-30 11:00:00 | 6.12 | 227.84 | 6.226 | 233.654 | 5.889 | 241.267 | 5.427 | 237.533 | -8.17 | 889.792 | 40.683 | 15.4626
2019-11-30 11:15:00 | 5.648 | 229.8 | 6.117 | 232.864 | 5.779 | 240.7 | 5.434 | 237.7 | -7.639 | 890.1 | 41.259 | 16.1164
2019-11-30 11:30:00 | 5.996 | 226.933 | 6.278 | 227.8 | 6.158 | 234.433 | 5.71 | 231.333 | -7.223 | 889.75 | 41.323 | 15.4541
2019-11-30 11:45:00 | 5.655 | 228.367 | 5.814 | 230.306 | 5.736 | 237.233 | 5.497 | 233.8 | -6.378 | 889.833 | 40.08 | 13.7146
2019-11-30 12:00:00 | 5.285 | 223.02 | 5.777 | 221.238 | 5.35 | 228.5 | 5.09 | 227.167 | -5.645 | 889.45 | 37.899 | 11.1324
2019-11-30 12:15:00 | 3.838 | 234.007 | 4.794 | 230.731 | 4.901 | 240.3 | 4.639 | 238.933 | -4.507 | 889.55 | 37.925 | 6.7362
2019-11-30 12:30:00 | 3.781 | 243.367 | 3.983 | 251.229 | 4.038 | 266.067 | 4.03 | 269.5 | -3.38 | 889.683 | 34.8 | 4.4609
2019-11-30 12:45:00 | 3.065 | 265.92 | 3.684 | 273.852 | 3.831 | 277.3 | 3.882 | 273.567 | -1.86 | 889.517 | 31.563 | 4.8105
2019-11-30 13:00:00 | 3.798 | 244.32 | 4.118 | 251.186 | 4.584 | 263.133 | 4.977 | 265.083 | -1.64 | 889.883 | 29.427 | 6.5344
2019-11-30 13:15:00 | 3.415 | 243.907 | 4.118 | 250.589 | 4.52 | 262.033 | 4.82 | 267.267 | -1.95 | 889.7 | 29 | 5.914
2019-11-30 13:30:00 | 3.176 | 260.873 | 4.366 | 272.444 | 5.24 | 282.2 | 5.828 | 282.8 | -1.972 | 889.767 | 31.848 | 7.252
2019-11-30 13:45:00 | 4.136 | 285.533 | 4.684 | 278.74 | 4.881 | 280.9 | 5.14 | 275.067 | -4.969 | 889.45 | 34.739 | 5.8963
2019-11-30 14:00:00 | 2.486 | 287.547 | 2.758 | 282.346 | 3.034 | 285.533 | 3.531 | 279.667 | -4.523 | 889.667 | 34.416 | 5.2141
2019-11-30 14:15:00 | 2.437 | 258.173 | 2.986 | 274.726 | 3.937 | 286.767 | 4.888 | 289.4 | -3.049 | 889.717 | 35.451 | 6.4363
2019-11-30 14:30:00 | 3.44 | 290.6 | 4.531 | 291.472 | 4.97 | 297.267 | 5.618 | 296.133 | -4.004 | 889.967 | 33.656 | 11.5929
2019-11-30 14:45:00 | 4.756 | 281.7 | 5.687 | 284.777 | 6.077 | 288.4 | 6.506 | 286.733 | -4.404 | 889.267 | 34.715 | 13.7402
2019-11-30 15:00:00 | 4.33 | 276.08 | 5.033 | 282.722 | 5.546 | 287.233 | 5.96 | 285.467 | -4.358 | 889.733 | 36.76 | 19.2564
2019-11-30 15:15:00 | 5.352 | 264.367 | 6.483 | 278.148 | 6.984 | 281.033 | 7.203 | 278.933 | -4.285 | 890.017 | 36.181 | 22.0411
2019-11-30 15:30:00 | 5.545 | 255.673 | 6.444 | 271.984 | 6.803 | 277.5 | 6.977 | 274.033 | -4.424 | 889.8 | 37.152 | 22.2919
2019-11-30 15:45:00 | 4.555 | 283.407 | 5.791 | 283.53 | 6.102 | 287.367 | 6.285 | 284.5 | -4.64 | 889.567 | 37.536 | 14.1339
2019-11-30 16:00:00 | 3.334 | 286.66 | 4.971 | 285.234 | 5.365 | 288.767 | 5.732 | 285.567 | -5.085 | 889.983 | 41.435 | 18.5067
2019-11-30 16:15:00 | 5.578 | 268.273 | 6.643 | 278.911 | 7.115 | 281.367 | 7.408 | 280.367 | -4.985 | 890.05 | 37.88 | 27.0129
2019-11-30 16:30:00 | 5.668 | 278.627 | 7.009 | 280.022 | 7.556 | 283.433 | 8.1 | 278.9 | -4.952 | 889.617 | 36.699 | 27.2808
2019-11-30 16:45:00 | 5.424 | 272.787 | 6.405 | 274.712 | 6.962 | 278.467 | 7.335 | 276.167 | -4.796 | 889.717 | 35.691 | 26.1339
2019-11-30 17:00:00 | 5.562 | 263.8 | 6.593 | 275.654 | 7.114 | 280.033 | 7.588 | 277.833 | -4.919 | 889.483 | 36.608 | 28.4241
2019-11-30 17:15:00 | 4.957 | 251.347 | 6.22 | 268.633 | 6.517 | 274.7 | 6.701 | 270.733 | -5.052 | 889.833 | 37.427 | 27.4805
2019-11-30 17:30:00 | 5.712 | 255.04 | 6.616 | 263.804 | 6.897 | 269.933 | 7.05 | 267.333 | -5.169 | 889.65 | 37.288 | 26.3045
2019-11-30 17:45:00 | 5.863 | 251.247 | 6.43 | 257.604 | 6.571 | 262.2 | 6.64 | 260.1 | -5.302 | 889.283 | 37.501 | 28.1264
2019-11-30 18:00:00 | 5.565 | 249.127 | 6.676 | 255.63 | 7.097 | 261.067 | 7.365 | 257.75 | -5.848 | 889.767 | 38.349 | 32.3471
2019-11-30 18:15:00 | 5.22 | 248.38 | 6.763 | 257.626 | 7.035 | 262 | 7.243 | 259.95 | -7.059 | 890.042 | 41.389 | 40.783
2019-11-30 18:30:00 | 6.129 | 230.12 | 6.956 | 246.404 | 7.24 | 255.033 | 7.366 | 251.867 | -8.063 | 890.042 | 44.864 | 43.3417
2019-11-30 18:45:00 | 6.526 | 236.687 | 7.072 | 242.384 | 7.175 | 249.333 | 7.168 | 245.767 | -8.414 | 889.85 | 44.544 | 47.3763
2019-11-30 19:00:00 | 7.104 | 232.193 | 7.513 | 240.544 | 7.659 | 246.933 | 7.417 | 243.633 | -8.227 | 889.733 | 43.296 | 50.5959
2019-11-30 19:15:00 | 7.334 | 237.733 | 7.536 | 243.027 | 7.494 | 251.467 | 7.732 | 249.7 | -8.658 | 889.992 | 44.416 | 53.6094
2019-11-30 19:30:00 | 7.402 | 234.4 | 8.175 | 240.518 | 8.255 | 247.2 | 8.086 | 243.867 | -8.891 | 889.667 | 44.128 | 59.8041
2019-11-30 19:45:00 | 8.355 | 233.933 | 8.824 | 239.887 | 8.829 | 245.2 | 8.6 | 244.033 | -8.608 | 889.95 | 42.032 | 61.5926
2019-11-30 20:00:00 | 8.472 | 234.9 | 8.825 | 237.945 | 9.022 | 244.967 | 8.717 | 241.267 | -9.274 | 890.167 | 42.944 | 63.3982
2019-11-30 20:15:00 | 6.168 | 233.927 | 8.12 | 240.316 | 8.768 | 247.567 | 8.947 | 243.167 | -9.937 | 889.617 | 45.845 | 63.4415
2019-11-30 20:30:00 | 7.076 | 231.333 | 8.888 | 242.102 | 9.341 | 248.767 | 9.293 | 245.533 | -9.108 | 889.792 | 43.093 | 58.2672
2019-11-30 20:45:00 | 5.393 | 240.433 | 7.103 | 243.613 | 8.042 | 251.1 | 8.115 | 248.6 | -9.208 | 890.125 | 43.125 | 49.3119
2019-11-30 21:00:00 | 6.437 | 224.013 | 7.654 | 232.75 | 7.841 | 240.833 | 7.566 | 239.033 | -9.854 | 889.917 | 44.309 | 41.377
2019-11-30 21:15:00 | 6.154 | 219.367 | 7.55 | 232.072 | 7.861 | 241.767 | 7.636 | 240.467 | -10.416 | 889.583 | 46.539 | 36.2147
2019-11-30 21:30:00 | 5.595 | 214.06 | 7.538 | 219.778 | 7.731 | 231.367 | 7.43 | 231.7 | -10.76 | 890.125 | 48.576 | 33.4762
2019-11-30 21:45:00 | 6.392 | 218.133 | 7.796 | 222.869 | 7.608 | 230.867 | 7.453 | 229.367 | -11.395 | 889.842 | 50.763 | 30.8834
2019-11-30 22:00:00 | 6.143 | 218.26 | 7.486 | 223.064 | 7.187 | 232.033 | 7.036 | 230.5 | -10.997 | 889.875 | 49.877 | 32.7145
2019-11-30 22:15:00 | 6.368 | 217.633 | 7.744 | 222.064 | 7.226 | 230.067 | 7.111 | 228.533 | -11.261 | 889.85 | 50.411 | 32.2363
2019-11-30 22:30:00 | 6.694 | 213.8 | 7.836 | 219.288 | 7.366 | 230.5 | 7.083 | 230.9 | -11.495 | 889.733 | 50.453 | 34.5414
2019-11-30 22:45:00 | 6.928 | 217.5 | 8.342 | 217.468 | 7.965 | 224.233 | 7.487 | 221.767 | -11.428 | 890.175 | 48.245 | 38.0729
2019-11-30 23:00:00 | 7.244 | 215.88 | 8.18 | 217.514 | 8.23 | 223.567 | 7.755 | 220.4 | -11.082 | 890.092 | 47.285 | 36.0961
2019-11-30 23:15:00 | 6.683 | 219.393 | 8.352 | 221.51 | 7.765 | 227.4 | 7.429 | 226.467 | -11.207 | 890.008 | 47.136 | 33.8763
2019-11-30 23:30:00 | 7.244 | 220.053 | 8.043 | 223.006 | 7.697 | 229.333 | 7.474 | 227.6 | -11.203 | 889.867 | 47.445 | 29.9056
2019-11-30 23:45:00 | 7.05 | 216.133 | 7.904 | 219.43 | 7.31 | 224.367 | 6.821 | 222.967 | -11.295 | 889.992 | 47.083 | 25.9876