## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-01 00:00:00 | 7.208 | 219.773 | 7.271 | 224.019 | 7.14 | 229.267 | 6.828 | 227.333 | -11.205 | 889.742 | 46.048 | 24.9736
2019-12-01 00:15:00 | 7.172 | 220.633 | 7.198 | 227.078 | 7.016 | 233.833 | 6.696 | 231.533 | -11.561 | 889.6 | 46.976 | 25.925
2019-12-01 00:30:00 | 7.164 | 219.26 | 7.593 | 226.731 | 7.084 | 234.767 | 6.65 | 232.733 | -11.524 | 889.892 | 47.797 | 25.5442
2019-12-01 00:45:00 | 7.293 | 215.52 | 8.39 | 219.808 | 7.464 | 224.333 | 6.686 | 222.167 | -11.807 | 889.667 | 49.429 | 23.907
2019-12-01 01:00:00 | 7.18 | 212.8 | 8.072 | 214.993 | 7.791 | 220.333 | 6.967 | 218.133 | -12.453 | 889.967 | 50.421 | 24.1841
2019-12-01 01:15:00 | 6.741 | 214.14 | 8.133 | 218.079 | 7.332 | 222.367 | 6.505 | 220.533 | -12.036 | 889.533 | 49.813 | 22.2436
2019-12-01 01:30:00 | 7.226 | 215.607 | 7.824 | 219.978 | 6.957 | 223.967 | 6.43 | 221.867 | -12.14 | 889.275 | 49.835 | 20.6199
2019-12-01 01:45:00 | 6.727 | 215.627 | 8.194 | 219.171 | 7.228 | 223.467 | 6.248 | 220.8 | -11.953 | 890.058 | 49.899 | 17.7883
2019-12-01 02:00:00 | 7.007 | 216.147 | 7.598 | 219.016 | 6.978 | 224.033 | 6.3 | 221.033 | -12.349 | 889.7 | 50.827 | 17.2987
2019-12-01 02:15:00 | 6.836 | 217.073 | 7.266 | 217.104 | 6.734 | 220.567 | 6.202 | 218.967 | -12.14 | 889.925 | 49.973 | 15.9949
2019-12-01 02:30:00 | 7.069 | 215.78 | 7.442 | 215.555 | 6.868 | 219.533 | 6.383 | 217.633 | -12.078 | 889.75 | 50.603 | 15.6893
2019-12-01 02:45:00 | 7.456 | 216.167 | 7.521 | 218.307 | 6.571 | 222.367 | 5.81 | 220.7 | -11.995 | 890.108 | 50.453 | 15.6829
2019-12-01 03:00:00 | 7.075 | 216.72 | 7.351 | 218.914 | 6.985 | 224.733 | 6.071 | 221.4 | -11.911 | 889.925 | 49.952 | 12.9295
2019-12-01 03:15:00 | 7.225 | 215.607 | 7.202 | 220.199 | 6.29 | 224.867 | 5.115 | 223.467 | -12.036 | 889.867 | 50.592 | 9.7355
2019-12-01 03:30:00 | 7.551 | 217.633 | 6.55 | 219.739 | 5.652 | 226.433 | 4.457 | 227.533 | -12.132 | 889.867 | 50.443 | 9.1741
2019-12-01 03:45:00 | 7.418 | 218.093 | 6.928 | 217.23 | 6.074 | 222.4 | 5.076 | 223.067 | -12.057 | 889.817 | 49.621 | 9.0555
2019-12-01 04:00:00 | 6.855 | 214.833 | 7.014 | 214.892 | 6.367 | 217.867 | 5.734 | 215.167 | -12.42 | 890.033 | 50.197 | 9.8101
2019-12-01 04:15:00 | 5.892 | 212.567 | 6.652 | 212.354 | 6.141 | 213.733 | 6.094 | 212 | -12.62 | 890.283 | 50.741 | 8.2682
2019-12-01 04:30:00 | 7.084 | 214.92 | 6.319 | 214.466 | 5.986 | 220.4 | 5.147 | 218.6 | -11.566 | 889.533 | 47.36 | 7.257
2019-12-01 04:45:00 | 6.478 | 215.6 | 6.245 | 214.381 | 5.746 | 221 | 5.018 | 218.733 | -12.636 | 889.675 | 49.813 | 7.3622
2019-12-01 05:00:00 | 6.684 | 215.767 | 6.566 | 215.179 | 5.691 | 223.3 | 4.753 | 223.267 | -12.453 | 889.917 | 50.304 | 6.8392
2019-12-01 05:15:00 | 6.338 | 216.38 | 6.576 | 216.974 | 5.732 | 224.733 | 4.641 | 223.267 | -12.161 | 889.783 | 48.8 | 6.8804
2019-12-01 05:30:00 | 6.792 | 216.833 | 6.137 | 222.132 | 5.194 | 230.933 | 4.412 | 232.233 | -12.52 | 889.708 | 50.293 | 9.0889
2019-12-01 05:45:00 | 7.82 | 215.813 | 6.915 | 216.469 | 5.826 | 224.7 | 4.736 | 224.867 | -12.332 | 889.675 | 49.685 | 9.6886
2019-12-01 06:00:00 | 6.997 | 216.5 | 7.055 | 214.755 | 6.269 | 222.2 | 5.337 | 219.567 | -12.403 | 889.9 | 49.845 | 9.7646
2019-12-01 06:15:00 | 7.185 | 217.467 | 6.96 | 214.884 | 6.316 | 222.933 | 5.402 | 220.267 | -12.37 | 889.842 | 49.973 | 9.5067
2019-12-01 06:30:00 | 7.458 | 215.353 | 6.917 | 214.161 | 6.314 | 220.733 | 5.384 | 218.167 | -12.32 | 889.583 | 49.792 | 6.9977
2019-12-01 06:45:00 | 7.73 | 215.667 | 6.106 | 212.88 | 5.8 | 220.033 | 5.295 | 216.767 | -11.89 | 889.533 | 47.872 | 5.0763
2019-12-01 07:00:00 | 7.478 | 213.833 | 5.698 | 213.15 | 5.168 | 220.467 | 4.424 | 218.867 | -12.216 | 889.725 | 48.235 | 3.9081
2019-12-01 07:15:00 | 7.5 | 217.133 | 5.621 | 211.942 | 4.946 | 217.4 | 4.806 | 218.533 | -12.536 | 889.933 | 48.587 | 2.6042
2019-12-01 07:30:00 | 7.025 | 219.04 | 5.469 | 209.202 | 4.715 | 212.1 | 4.402 | 216.5 | -12.136 | 889.908 | 48.363 | 1.6933
2019-12-01 07:45:00 | 6.676 | 218.867 | 4.815 | 209.37 | 3.497 | 211.7 | 2.889 | 209.133 | -11.445 | 889.992 | 46.048 | 1.7764
2019-12-01 08:00:00 | 6.689 | 216.393 | 5.701 | 206.121 | 4.634 | 210.3 | 3.287 | 201.967 | -12.478 | 889.692 | 48.053 | 1.9953
2019-12-01 08:15:00 | 6.793 | 214.4 | 5.102 | 203.646 | 4.617 | 206.567 | 4.467 | 201.4 | -12.536 | 889.708 | 47.893 | 0.77807
2019-12-01 08:30:00 | 6.044 | 216.6 | 5.808 | 201.229 | 4.567 | 201.867 | 4.184 | 192.9 | -12.686 | 889.717 | 49.685 | 0.17196
2019-12-01 08:45:00 | 5.829 | 219.1 | 6.028 | 200.754 | 4.138 | 195.833 | 3.148 | 181.967 | -12.703 | 889.608 | 49.525 | 0.17551
2019-12-01 09:00:00 | 4.852 | 217 | 5.369 | 196.385 | 3.628 | 188.7 | 2.805 | 173.733 | -12.786 | 890.042 | 50.069 | 0.24586
2019-12-01 09:15:00 | 5.195 | 211.8 | 4.018 | 185.983 | 3.012 | 173.067 | 2.812 | 155 | -13.103 | 889.892 | 50.667 | 0.2558
2019-12-01 09:30:00 | 4.62 | 207.627 | 2.952 | 195.463 | 1.474 | 181.733 | 1.519 | 146.733 | -9.404 | 890.05 | 42.613 | 0.24159
2019-12-01 09:45:00 | 3.582 | 199.98 | 2.1 | 175.365 | 1.577 | 141.5 | 1.852 | 124.233 | -8.768 | 889.642 | 40.176 | 0.24301
2019-12-01 10:00:00 | 3.364 | 188.02 | 2.446 | 169.117 | 1.794 | 147.333 | 1.685 | 119.567 | -8.464 | 889.65 | 37.995 | 0.21743
2019-12-01 10:15:00 | 2.509 | 191.433 | 2.549 | 171.546 | 1.716 | 151.233 | 0.758 | 134 | -10.383 | 889.75 | 41.093 | 0.21459
2019-12-01 10:30:00 | 2.241 | 203.78 | 0.858 | 167.097 | 0.263 | 138.2 | 0 | 134.1 | -6.518 | 890 | 35.835 | 0.21317
2019-12-01 10:45:00 | 2.612 | 216.347 | 0.971 | 207.36 | 1.1 | 194.667 | 0.027 | 134.033 | -4.926 | 889.95 | 33.525 | 0.21104
2019-12-01 11:00:00 | 2.356 | 231.133 | 0 | 209.534 | 0 | 199 | 0 | 134 | -4.486 | 889.783 | 31.232 | 0.083847
2019-12-01 11:15:00 | 2.013 | 189.84 | 2.646 | 169.428 | 2.724 | 159.833 | 2.046 | 141.333 | -4.54 | 889.633 | 30.229 | 0.34391
2019-12-01 11:30:00 | 3.105 | 188.3 | 2.287 | 150.971 | 2.279 | 149.233 | 2.23 | 138.467 | -4.969 | 889.833 | 32.88 | 2.0784
2019-12-01 11:45:00 | 2.912 | 164.387 | 2.781 | 144.931 | 2.097 | 148.167 | 1.727 | 137.867 | -5.809 | 889.7 | 32.859 | 3
2019-12-01 12:00:00 | 2.066 | 161.487 | 2.76 | 144.185 | 2.595 | 144.333 | 2.314 | 132.833 | -6.222 | 889.55 | 33.328 | 4.1049
2019-12-01 12:15:00 | 1.693 | 162.167 | 1.886 | 136.091 | 2.352 | 131.167 | 2.544 | 130.467 | -5.219 | 889.6 | 31.168 | 5.1388
2019-12-01 12:30:00 | 1.169 | 119.78 | 3.075 | 114.159 | 3.468 | 120.8 | 3.464 | 117.867 | -5.269 | 889.433 | 33.259 | 5.1274
2019-12-01 12:45:00 | 2.956 | 121.213 | 3.126 | 119.259 | 2.982 | 124.633 | 2.809 | 122.167 | -5.202 | 889.4 | 33.408 | 4.3472
2019-12-01 13:00:00 | 3.26 | 103.933 | 3.657 | 102.839 | 3.879 | 109.667 | 4.086 | 109.667 | -4.819 | 889.683 | 33.461 | 4.1845
2019-12-01 13:15:00 | 3.27 | 107.8 | 3.664 | 106.115 | 3.746 | 114.2 | 3.818 | 112.833 | -5.069 | 889.65 | 33.691 | 4.3586
2019-12-01 13:30:00 | 3.625 | 101.367 | 3.486 | 102.101 | 3.644 | 108.733 | 4.076 | 108.5 | -4.902 | 889.8 | 31.776 | 4.3714
2019-12-01 13:45:00 | 3.479 | 107.967 | 3.529 | 106.914 | 3.823 | 113.667 | 4.045 | 113.233 | -5.019 | 889.75 | 34.347 | 5.1125
2019-12-01 14:00:00 | 3.407 | 105.7 | 3.632 | 106.916 | 3.913 | 112.667 | 3.915 | 111.6 | -4.769 | 889.833 | 35.573 | 5.3847
2019-12-01 14:15:00 | 2.956 | 106.12 | 3.32 | 107.888 | 3.695 | 113.133 | 4.021 | 108.633 | -4.64 | 889.633 | 33.883 | 1.9533
2019-12-01 14:30:00 | 2.992 | 94.973 | 2.626 | 90.276 | 2.371 | 95 | 2.351 | 86.333 | -4.494 | 889.633 | 32.896 | 0.72833
2019-12-01 14:45:00 | 3.376 | 77.667 | 3.104 | 73.506 | 2.886 | 80.7 | 2.474 | 84.033 | -4.952 | 889.883 | 39.115 | 1.8709
2019-12-01 15:00:00 | 3.115 | 78.333 | 2.87 | 73.083 | 2.946 | 77.167 | 2.88 | 76.5 | -5.285 | 890.133 | 40.587 | 2.2255
2019-12-01 15:15:00 | 3.002 | 87.067 | 2.882 | 82.723 | 2.705 | 87.833 | 2.565 | 82.767 | -5.602 | 889.6 | 39.163 | 3.0874
2019-12-01 15:30:00 | 2.927 | 93.813 | 2.751 | 92.076 | 2.369 | 96.167 | 2.406 | 95.333 | -5.481 | 889.933 | 37.84 | 4.1987
2019-12-01 15:45:00 | 3.819 | 99.76 | 3.467 | 100.224 | 3.447 | 107.067 | 3.957 | 105.4 | -6.489 | 889.95 | 43.552 | 4.2144
2019-12-01 16:00:00 | 3.297 | 98.29 | 2.923 | 98.75 | 2.534 | 106.2 | 3.003 | 102.933 | -6.352 | 889.8 | 45.12 | 3.5621
2019-12-01 16:15:00 | 3 | 99.593 | 2.755 | 96.866 | 2.689 | 106.7 | 2.74 | 104.367 | -5.974 | 889.642 | 45.835 | 2.9162
2019-12-01 16:30:00 | 2.252 | 104.76 | 1.534 | 99.055 | 1.901 | 102.8 | 2.711 | 104.933 | -6.222 | 889.967 | 44.363 | 3.0029
2019-12-01 16:45:00 | 3.026 | 107.267 | 3.404 | 105.033 | 3.858 | 113.867 | 4.247 | 110.533 | -6.412 | 889.925 | 44.288 | 5.0585
2019-12-01 17:00:00 | 3.27 | 119.537 | 3.399 | 112.178 | 3.597 | 116.933 | 3.799 | 112.667 | -5.819 | 889.533 | 44.032 | 5.8728
2019-12-01 17:15:00 | 2.862 | 122.633 | 3.247 | 113.788 | 3.528 | 118.933 | 3.782 | 114.467 | -6.462 | 889.625 | 47.349 | 3.6438
2019-12-01 17:30:00 | 2.019 | 128.3 | 3.161 | 111.808 | 3.389 | 112.2 | 3.28 | 107.467 | -7.006 | 889.708 | 47.84 | 1.8681
2019-12-01 17:45:00 | 2.21 | 132.697 | 2.525 | 107.582 | 2.432 | 109.167 | 2.152 | 102.3 | -7.091 | 890.042 | 46.635 | 1.0026
2019-12-01 18:00:00 | 2.654 | 143.84 | 2.588 | 115.6 | 2.791 | 116.1 | 2.932 | 110.133 | -7.243 | 890.108 | 45.387 | 0.51445
2019-12-01 18:15:00 | 2.668 | 160.2 | 2.534 | 125.946 | 2.835 | 127.1 | 2.893 | 120.433 | -7.506 | 889.825 | 45.856 | 0.63738
2019-12-01 18:30:00 | 2.822 | 157.233 | 2.546 | 126.451 | 2.749 | 128.9 | 2.902 | 123.7 | -7.472 | 889.958 | 45.365 | 0.94576
2019-12-01 18:45:00 | 2.818 | 158.913 | 2.371 | 132.318 | 2.4 | 133.167 | 2.308 | 127.733 | -7.782 | 889.792 | 45.931 | 0.84486
2019-12-01 19:00:00 | 2.874 | 159.847 | 2.57 | 128.921 | 2.713 | 128.3 | 2.795 | 124.967 | -7.682 | 889.775 | 46.037 | 1.4254
2019-12-01 19:15:00 | 2.768 | 161.387 | 2.672 | 123.366 | 2.671 | 127.4 | 2.776 | 123.833 | -7.93 | 889.675 | 45.781 | 1.6954
2019-12-01 19:30:00 | 2.608 | 158.747 | 2.421 | 126.532 | 2.79 | 127.9 | 2.652 | 124.633 | -8.368 | 890.058 | 46.752 | 0.94079
2019-12-01 19:45:00 | 2.591 | 143.457 | 2.835 | 108.962 | 3.031 | 114.2 | 2.994 | 111.267 | -8.17 | 889.658 | 45.792 | 1.4922
2019-12-01 20:00:00 | 2.284 | 132.173 | 2.533 | 95.337 | 1.896 | 97.133 | 1.894 | 95.733 | -8.708 | 890.108 | 45.739 | 1.7537
2019-12-01 20:15:00 | 1.947 | 148.98 | 3.15 | 90.847 | 2.76 | 90.5 | 2.109 | 85.067 | -9.458 | 890.083 | 47.136 | 0.62956
2019-12-01 20:30:00 | 1.426 | 150.073 | 2.003 | 92.794 | 2.723 | 87.833 | 2.295 | 88.3 | -10.087 | 889.758 | 49.909 | 0.11085
2019-12-01 20:45:00 | 2.106 | 165.26 | 1.655 | 114.703 | 0.976 | 99.533 | 1.26 | 90.333 | -9.766 | 889.692 | 49.707 | 0.27428
2019-12-01 21:00:00 | 2.62 | 153.3 | 2.292 | 110.274 | 2.736 | 115.5 | 2.99 | 114.733 | -9.341 | 889.642 | 49.227 | 1.7473
2019-12-01 21:15:00 | 2.881 | 164.367 | 1.812 | 132.225 | 2.01 | 141.833 | 2.05 | 134.433 | -9.041 | 890.183 | 47.499 | 3.1961
2019-12-01 21:30:00 | 2.665 | 166.667 | 2.044 | 134.144 | 1.674 | 137.533 | 2.247 | 126.7 | -8.874 | 889.483 | 47.04 | 4.0275
2019-12-01 21:45:00 | 3.16 | 176.7 | 2.338 | 138.323 | 2.426 | 134.8 | 3.38 | 122.5 | -8.724 | 889.808 | 47.861 | 2.325
2019-12-01 22:00:00 | 3.523 | 182.333 | 2.557 | 151.062 | 2.52 | 141.533 | 2.704 | 126.967 | -7.639 | 889.833 | 49.333 | 0.68143
2019-12-01 22:15:00 | 3.224 | 198.26 | 1.948 | 137.487 | 2.375 | 113.067 | 2.203 | 106.333 | -9.27 | 889.808 | 51.029 | 0.18972
2019-12-01 22:30:00 | 2.207 | 198.953 | 0.817 | 124.812 | 1.597 | 104.933 | 1.418 | 111.433 | -8.581 | 890.1 | 51.008 | 0.27854
2019-12-01 22:45:00 | 1.28 | 112.797 | 1.83 | 95.523 | 2.175 | 92.267 | 2.412 | 96.033 | -7.976 | 889.567 | 49.376 | 0.18617
2019-12-01 23:00:00 | 1.486 | 106.99 | 1.775 | 86.207 | 3.037 | 79.033 | 3.367 | 84.5 | -8.334 | 889.558 | 51.403 | 0.7262
2019-12-01 23:15:00 | 1.02 | 95.067 | 2.622 | 80.615 | 3.024 | 83.7 | 2.766 | 78.8 | -8.608 | 889.65 | 48.992 | 1.1021
2019-12-01 23:30:00 | 0.835 | 134.173 | 1.93 | 89.548 | 1.57 | 89.5 | 1.855 | 92.533 | -9.645 | 890.092 | 51.019 | 0.86476
2019-12-01 23:45:00 | 1.269 | 124.253 | 2.439 | 85.909 | 2.295 | 87.467 | 2.368 | 80.767 | -9.058 | 889.825 | 51.872 | 1.2286