## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-02 00:00:00 | 2.03 | 134.207 | 2.329 | 100.631 | 2.32 | 96.867 | 2.369 | 86.467 | -9.224 | 890.058 | 52.949 | 2.1772
2019-12-02 00:15:00 | 1.413 | 187.393 | 1.512 | 115.108 | 2.2 | 106.467 | 1.742 | 96.867 | -9.662 | 890.042 | 52.181 | 0.42066
2019-12-02 00:30:00 | 0 | 214.72 | 0.057 | 118.261 | 1.157 | 93.133 | 1.813 | 83.333 | -10.066 | 889.575 | 54.293 | 0.80223
2019-12-02 00:45:00 | 1.254 | 212.013 | 0.903 | 111.716 | 1.512 | 104.767 | 1.468 | 77.8 | -10.353 | 889.617 | 52.725 | 0.23875
2019-12-02 01:00:00 | 1.61 | 186.667 | 1.344 | 125.39 | 2.667 | 118.667 | 2.784 | 109.1 | -10.841 | 889.917 | 55.349 | 0.63667
2019-12-02 01:15:00 | 1.696 | 175.86 | 2.653 | 117.049 | 2.88 | 119.367 | 2.694 | 110.2 | -9.695 | 890.042 | 52.949 | 0.89958
2019-12-02 01:30:00 | 2.041 | 202.393 | 1.822 | 141.367 | 1.947 | 140.267 | 2.994 | 137.533 | -10.649 | 889.767 | 54.752 | 0.16343
2019-12-02 01:45:00 | 3.663 | 206.153 | 2.31 | 156.809 | 2.585 | 144.633 | 1.984 | 137.2 | -11.707 | 889.725 | 51.627 | 0.13572
2019-12-02 02:00:00 | 2.326 | 180.94 | 2.105 | 143.866 | 1.984 | 133.633 | 2.266 | 112.433 | -9.349 | 889.8 | 52.736 | 0.30625
2019-12-02 02:15:00 | 2.256 | 172.973 | 1.76 | 144.093 | 2.494 | 129.067 | 2.029 | 108.7 | -8.738 | 889.567 | 50.677 | 0.32331
2019-12-02 02:30:00 | 2.234 | 214.807 | 1.277 | 157.885 | 1.585 | 131.167 | 1.488 | 115.233 | -9.849 | 890.367 | 50.016 | 0.28281
2019-12-02 02:45:00 | 2.134 | 172.707 | 1.99 | 131.168 | 2.867 | 111.833 | 3.114 | 104.667 | -9.183 | 889.708 | 49.696 | 1.9576
2019-12-02 03:00:00 | 3.675 | 204.193 | 2.083 | 148.856 | 2.519 | 129.867 | 3.024 | 118.333 | -9.462 | 890.333 | 46.08 | 2.1907
2019-12-02 03:15:00 | 3.75 | 205.3 | 2.842 | 177.198 | 2.548 | 164.533 | 2.4 | 138.967 | -8.524 | 890.242 | 44.704 | 2.8664
2019-12-02 03:30:00 | 2.701 | 220.033 | 1.538 | 178.167 | 1.611 | 154.4 | 2.181 | 139.4 | -8.674 | 890.025 | 45.429 | 1.9008
2019-12-02 03:45:00 | 4.407 | 226.5 | 1.717 | 186.11 | 1.686 | 156.133 | 2.294 | 141.233 | -8.19 | 889.75 | 43.989 | 0.99692
2019-12-02 04:00:00 | 2.096 | 226.887 | 0.06 | 173.432 | 1.646 | 135.333 | 2.843 | 114.333 | -7.249 | 890.183 | 42.229 | 0.98484
2019-12-02 04:15:00 | 2.094 | 232.333 | 0.027 | 141.534 | 1.291 | 140.267 | 2.156 | 112.5 | -7.223 | 889.2 | 41.632 | 0.86334
2019-12-02 04:30:00 | 3.227 | 208.593 | 1.49 | 161.804 | 2.16 | 149.3 | 2.906 | 132.267 | -7.586 | 889.917 | 42.325 | 2.0436
2019-12-02 04:45:00 | 3.898 | 166.733 | 2.953 | 139.4 | 3.093 | 130.9 | 4.132 | 121.467 | -6.345 | 889.65 | 40.005 | 5.3825
2019-12-02 05:00:00 | 5.172 | 187.993 | 5.149 | 156.175 | 3.83 | 144.733 | 3.309 | 130.067 | -9.545 | 889.942 | 43.584 | 6.0412
2019-12-02 05:15:00 | 3.981 | 197.167 | 3.97 | 165.785 | 3.479 | 152.333 | 2.773 | 135.967 | -9.141 | 890.358 | 45.035 | 3.3127
2019-12-02 05:30:00 | 4.252 | 180.487 | 2.67 | 155.097 | 2.694 | 141.7 | 3.179 | 125.133 | -10.097 | 889.783 | 49.12 | 2.8238
2019-12-02 05:45:00 | 5.768 | 198.48 | 3.487 | 173.993 | 3.362 | 164.667 | 3.22 | 145.333 | -11.126 | 889.992 | 49.173 | 3.776
2019-12-02 06:00:00 | 4.794 | 178.3 | 2.773 | 167.208 | 2.537 | 157.433 | 2.509 | 139.6 | -8.974 | 889.608 | 45.461 | 8.0123
2019-12-02 06:15:00 | 5.906 | 190.187 | 4.389 | 165.673 | 3.365 | 163.533 | 2.906 | 150.2 | -10.391 | 889.717 | 46.944 | 8.4145
2019-12-02 06:30:00 | 4.652 | 206.767 | 4.117 | 172.21 | 3.176 | 163.733 | 2.983 | 150.833 | -11.753 | 889.917 | 50.795 | 7.5015
2019-12-02 06:45:00 | 5.063 | 213.88 | 4.477 | 189.062 | 4.257 | 186.333 | 3.297 | 175.9 | -12.09 | 889.475 | 52.448 | 3.2913
2019-12-02 07:00:00 | 3.926 | 202.053 | 3.56 | 187.646 | 4.031 | 186.833 | 3.628 | 184.067 | -8.812 | 890.042 | 48.757 | 0.69778
2019-12-02 07:15:00 | 3.789 | 198.52 | 2.368 | 169.686 | 2.27 | 151.733 | 1.771 | 151.833 | -8.814 | 890.025 | 43.872 | 0.23804
2019-12-02 07:30:00 | 2.397 | 189.647 | 1.624 | 158.416 | 1.427 | 133.067 | 2.071 | 113.7 | -7.032 | 890.175 | 43.872 | 0.16769
2019-12-02 07:45:00 | 2.525 | 201.273 | 0.036 | 144.933 | 1.723 | 114.8 | 2.234 | 98.367 | -7.343 | 889.775 | 44.725 | 0.27073
2019-12-02 08:00:00 | 3.3 | 217.913 | 0.352 | 209.455 | 0.406 | 192.6 | 0.279 | 96.167 | -8.734 | 889.5 | 47.893 | 0.23875
2019-12-02 08:15:00 | 4.188 | 211.98 | 2.061 | 215.283 | 1.711 | 215.833 | 1.384 | 191.333 | -8.05 | 890.4 | 50.944 | 0.23307
2019-12-02 08:30:00 | 4.036 | 213.693 | 1.094 | 214.34 | 1.131 | 231 | 1.071 | 224.133 | -7.826 | 889.867 | 51.061 | 0.22454
2019-12-02 08:45:00 | 4.979 | 212.253 | 2.862 | 209.007 | 1.537 | 224.1 | 1.1 | 226 | -8.013 | 889.508 | 50.667 | 0.22596
2019-12-02 09:00:00 | 3.443 | 205.387 | 1.546 | 168.588 | 1.363 | 173 | 1.481 | 179.367 | -8.614 | 889.858 | 53.525 | 0.22454
2019-12-02 09:15:00 | 3.268 | 205.107 | 0.844 | 159.012 | 1.267 | 124 | 1.384 | 120.6 | -6.78 | 890.058 | 52.192 | 0.23022
2019-12-02 09:30:00 | 3.889 | 171.48 | 2.128 | 132.376 | 1.908 | 102.7 | 1.898 | 74.333 | -12.028 | 890.192 | 51.253 | 0.2487
2019-12-02 09:45:00 | 2.113 | 151.573 | 1.01 | 101.37 | 1.633 | 74.867 | 2.411 | 47.167 | -6.266 | 890.083 | 46.933 | 0.24159
2019-12-02 10:00:00 | 1.471 | 131.92 | 1.465 | 70.742 | 2.372 | 50.5 | 2.692 | 42 | -6.017 | 889.875 | 43.968 | 0.55566
2019-12-02 10:15:00 | 0.635 | 150.193 | 0 | 61.169 | 0.875 | 35.367 | 1.458 | 42.2 | -5.135 | 889.25 | 40.949 | 2.6675
2019-12-02 10:30:00 | 1.546 | 229.653 | 1.013 | 205.908 | 1.97 | 185.55 | 2.466 | 149.567 | -4.909 | 889.75 | 40.992 | 5.271
2019-12-02 10:45:00 | 0.98 | 212.127 | 1.08 | 196.44 | 2.673 | 181.833 | 3.212 | 154.133 | -2.639 | 889.9 | 38.197 | 2.8082
2019-12-02 11:00:00 | 2.471 | 223.3 | 1.843 | 189.09 | 2.486 | 161.967 | 3.178 | 149.6 | -2.148 | 889.533 | 36.597 | 0.43984
2019-12-02 11:15:00 | 3.407 | 217.027 | 2.125 | 224.385 | 1.183 | 203.533 | 1.293 | 144.233 | -4.087 | 889.367 | 37.723 | 0.089531
2019-12-02 11:30:00 | 3.378 | 221.827 | 2.389 | 238.91 | 0.873 | 221 | 0.638 | 130.967 | -3.193 | 889.867 | 37.845 | 0.13288
2019-12-02 11:45:00 | 1.533 | 194.227 | 0 | 217.568 | 1.184 | 185 | 2.025 | 174.1 | -1.62 | 889.717 | 35.024 | 0.16627
2019-12-02 12:00:00 | 0 | 209.46 | 0 | 158.811 | 0.429 | 185 | 2.033 | 179.667 | 0.432 | 889.6 | 30.832 | 0.12222
2019-12-02 12:15:00 | 0 | 227.8 | 0 | 154.396 | 0 | 185 | 0.695 | 191.533 | -0.419 | 890.133 | 27.531 | 0.16343
2019-12-02 12:30:00 | 0 | 334.773 | 0 | 232.163 | 0.362 | 204.067 | 1.393 | 192.867 | -1.456 | 890.333 | 26.707 | 0.19256
2019-12-02 12:45:00 | 0.731 | 338.507 | 0 | 351.014 | 0 | 204.2 | 0.299 | 193 | -2.679 | 890.15 | 28.107 | 0.25083
2019-12-02 13:00:00 | 0 | 339.4 | 0 | 351.092 | 1.411 | 181.367 | 1.519 | 155.167 | 0.566 | 889.95 | 23.877 | 0.17196
2019-12-02 13:15:00 | 0.637 | 39.393 | 0.849 | 45.146 | 0.804 | 53.967 | 0.618 | 92.267 | -0.512 | 889.733 | 26.443 | 0.20251
2019-12-02 13:30:00 | 3.026 | 38.635 | 2.285 | 39.471 | 1.664 | 48.067 | 0.034 | 48 | -3.576 | 889.733 | 31.099 | 0.22312
2019-12-02 13:45:00 | 0.957 | 30.014 | 0.818 | 29.1 | 0.596 | 48.033 | 0 | 47.867 | -4.156 | 888.983 | 33.877 | 0.21885
2019-12-02 14:00:00 | 0.979 | 27 | 0.519 | 25.063 | 0 | 48.033 | 0.054 | 48 | -3.622 | 889.65 | 36.085 | 0.19327
2019-12-02 14:15:00 | 1.025 | 9.5 | 0.4 | 19.344 | 1.183 | 39.533 | 0.634 | 48 | -3.588 | 889.267 | 34.651 | 0.22312
2019-12-02 14:30:00 | 1.044 | 0 | 0.14 | 14.03 | 1.318 | 31 | 1.038 | 48 | -4.291 | 889.733 | 35.232 | 0.22028
2019-12-02 14:45:00 | 1.171 | 0 | 0.427 | 14.032 | 0.933 | 31.767 | 0.614 | 47.967 | -4.401 | 889.783 | 37.563 | 0.22596
2019-12-02 15:00:00 | 2.053 | 22.325 | 1.733 | 18.193 | 1.879 | 16.467 | 1.91 | 23 | -4.835 | 889.833 | 39.723 | 0.22454
2019-12-02 15:15:00 | 2.453 | 69.1 | 1.896 | 50.547 | 1.884 | 42.133 | 1.215 | 23.033 | -5.402 | 890.183 | 42.784 | 0.23307
2019-12-02 15:30:00 | 1.496 | 98.007 | 0.89 | 83.237 | 1.273 | 69 | 0.833 | 25.3 | -5.822 | 889.758 | 44.299 | 0.22525
2019-12-02 15:45:00 | 0.615 | 90.17 | 0 | 83.258 | 1.413 | 99.033 | 2.431 | 86.867 | -6.017 | 889.75 | 42.677 | 0.12293
2019-12-02 16:00:00 | 0 | 90.1 | 0 | 83.328 | 0.09 | 99 | 1.73 | 87 | -4.819 | 890.2 | 41.557 | 0.24301
2019-12-02 16:15:00 | 1.248 | 167.267 | 1.399 | 128.859 | 2.396 | 130.267 | 3.271 | 117.533 | -3.287 | 889.483 | 39.061 | 0.16272
2019-12-02 16:30:00 | 2.129 | 187.073 | 1.684 | 151.957 | 2.428 | 142.967 | 3.073 | 128.1 | -4.325 | 889.475 | 41.589 | 0.32544
2019-12-02 16:45:00 | 2.382 | 201.8 | 1.894 | 164.339 | 2.241 | 146.6 | 2.046 | 133.167 | -4.602 | 889.675 | 44.235 | 0.25936
2019-12-02 17:00:00 | 2.576 | 185.233 | 2.343 | 150.152 | 2.761 | 142.033 | 2.843 | 136.133 | -4.271 | 889.7 | 47.029 | 0.12009
2019-12-02 17:15:00 | 2.304 | 203.4 | 2.307 | 167.071 | 2.31 | 143.133 | 2.21 | 127.733 | -5.002 | 889.933 | 52.8 | 0.23946
2019-12-02 17:30:00 | 3.23 | 202.933 | 2.827 | 168.986 | 2.884 | 151.733 | 2.983 | 141.733 | -5.102 | 889.675 | 53.045 | 0.21601
2019-12-02 17:45:00 | 2.931 | 205.367 | 2.516 | 178.497 | 2.286 | 154.367 | 2.428 | 133.033 | -5.169 | 889.95 | 52.853 | 0.17835
2019-12-02 18:00:00 | 2.261 | 218.527 | 1.581 | 183.451 | 1.544 | 144.1 | 1.869 | 127 | -5.697 | 889.858 | 54.933 | 0.25012
2019-12-02 18:15:00 | 2.802 | 199.06 | 1.79 | 157.544 | 2.097 | 135.7 | 2.365 | 127 | -5.598 | 890.025 | 53.024 | 0.21601
2019-12-02 18:30:00 | 2.98 | 197.86 | 1.729 | 153.349 | 2.307 | 141.233 | 2.388 | 129.833 | -5.498 | 890.058 | 52.139 | 0.24301
2019-12-02 18:45:00 | 2.657 | 210 | 1.625 | 175.778 | 2.03 | 143.9 | 2.046 | 130 | -5.535 | 890.125 | 51.136 | 0.23022
2019-12-02 19:00:00 | 3.525 | 197.213 | 2.478 | 157.479 | 2.832 | 144 | 2.982 | 133.767 | -5.888 | 889.942 | 50.485 | 0.19185
2019-12-02 19:15:00 | 3.01 | 195.86 | 1.68 | 143.208 | 1.406 | 138.7 | 1.623 | 133.967 | -5.448 | 889.967 | 49.44 | 0.1343
2019-12-02 19:30:00 | 3.902 | 207.367 | 1.867 | 162.489 | 1.553 | 148 | 1.724 | 147 | -6.528 | 890.008 | 50.699 | 0.11937
2019-12-02 19:45:00 | 4.439 | 198.613 | 2.781 | 165.444 | 2.617 | 163.367 | 3.071 | 158 | -6.169 | 889.733 | 48.768 | 0.14993
2019-12-02 20:00:00 | 4.236 | 211.427 | 2.058 | 166.576 | 2.35 | 158.233 | 2.566 | 158.033 | -6.325 | 889.542 | 48.565 | 0.18759
2019-12-02 20:15:00 | 5.171 | 216.9 | 2.98 | 195.173 | 2.338 | 171.033 | 2.658 | 168 | -9.075 | 889.108 | 58.976 | 0.15064
2019-12-02 20:30:00 | 5.386 | 217.18 | 3.494 | 199.777 | 3.041 | 192.7 | 2.494 | 173.9 | -7.082 | 890.067 | 53.365 | 0.14211
2019-12-02 20:45:00 | 5.369 | 218.327 | 3.279 | 205.354 | 3.006 | 196.833 | 2.485 | 170.867 | -7.026 | 890.133 | 56.48 | 0.17551
2019-12-02 21:00:00 | 7.12 | 217.487 | 4.401 | 212.343 | 3.759 | 203.333 | 3.477 | 189.6 | -8.514 | 890.067 | 55.744 | 0.23378
2019-12-02 21:15:00 | 7.586 | 216.2 | 4.914 | 210.058 | 3.823 | 201.533 | 3.384 | 185 | -8.157 | 889.75 | 58.528 | 0.42776
2019-12-02 21:30:00 | 7.085 | 218.267 | 4.096 | 210.533 | 3.587 | 204.9 | 3.322 | 192.033 | -8.391 | 890.083 | 58.069 | 0.29631
2019-12-02 21:45:00 | 7.412 | 219.093 | 4.474 | 214.088 | 3.012 | 207.967 | 2.349 | 188 | -8.444 | 889.817 | 57.472 | 0.72336
2019-12-02 22:00:00 | 7.178 | 220.2 | 4.442 | 215.276 | 3.2 | 208.733 | 2.214 | 188.733 | -9.008 | 890.25 | 61.216 | 0.85836
2019-12-02 22:15:00 | 7.294 | 220.94 | 4.542 | 232.161 | 3.552 | 233.4 | 2.77 | 217.6 | -9.641 | 889.875 | 62.656 | 1.1
2019-12-02 22:30:00 | 7.3 | 219.773 | 4.635 | 229.229 | 3.988 | 244.067 | 3.14 | 252.067 | -9.399 | 889.8 | 62.901 | 1.7409
2019-12-02 22:45:00 | 6.289 | 219.233 | 5.073 | 225.486 | 4.269 | 233.8 | 3.729 | 234.6 | -9.024 | 889.867 | 61.227 | 2.4081
2019-12-02 23:00:00 | 5.5 | 221.707 | 3.887 | 231.45 | 3.825 | 244.9 | 3.684 | 247.733 | -8.014 | 889.767 | 58.187 | 1.7977
2019-12-02 23:15:00 | 5.784 | 222.48 | 4.078 | 224.217 | 3.674 | 232.9 | 3.387 | 235.667 | -7.41 | 889.883 | 54.869 | 1.0694
2019-12-02 23:30:00 | 6.943 | 219.687 | 4.489 | 219.125 | 3.271 | 225.2 | 2.64 | 221.267 | -8.147 | 889.758 | 57.653 | 0.63525
2019-12-02 23:45:00 | 6.03 | 220.28 | 4.714 | 226.514 | 3.846 | 236.067 | 3.159 | 230.233 | -9.324 | 890.133 | 59.189 | 1.0218