## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-03 00:00:00 | 6.274 | 227.773 | 4.172 | 236.196 | 3.582 | 242.9 | 2.961 | 241.1 | -9.52 | 889.858 | 61.184 | 1.9605
2019-12-03 00:15:00 | 4.992 | 219.173 | 3.749 | 236.449 | 3.133 | 245.6 | 2.729 | 241.467 | -10.741 | 890.125 | 63.979 | 2.2134
2019-12-03 00:30:00 | 6.292 | 223.127 | 5.069 | 233.234 | 4.461 | 238.733 | 3.93 | 234.4 | -11.174 | 889.575 | 66.517 | 3.3681
2019-12-03 00:45:00 | 6.419 | 226.38 | 5.024 | 230.115 | 4.658 | 236.867 | 4.153 | 231 | -10.028 | 890.183 | 64.075 | 5.438
2019-12-03 01:00:00 | 6.78 | 214.333 | 5.672 | 223.86 | 5.269 | 229.1 | 4.647 | 229.9 | -10.316 | 890.025 | 63.488 | 6.2601
2019-12-03 01:15:00 | 7.021 | 216.5 | 5.8 | 222.224 | 5.313 | 229.467 | 4.774 | 230.167 | -10.416 | 889.917 | 64.085 | 4.9043
2019-12-03 01:30:00 | 6.49 | 215.487 | 5.671 | 227.489 | 5.178 | 236.9 | 4.486 | 236.133 | -10.251 | 889.8 | 64.096 | 3.7923
2019-12-03 01:45:00 | 7.201 | 217.173 | 5.629 | 227.714 | 4.415 | 241.1 | 3.259 | 247.433 | -10.928 | 889.858 | 64.501 | 3.378
2019-12-03 02:00:00 | 7.324 | 219.633 | 5.728 | 226.214 | 4.566 | 238.1 | 3.397 | 242.733 | -10.366 | 889.958 | 64.139 | 3.6651
2019-12-03 02:15:00 | 7.213 | 220.233 | 5.182 | 227.472 | 4.04 | 243.4 | 3.278 | 247.633 | -9.874 | 889.908 | 63.019 | 2.8764
2019-12-03 02:30:00 | 6.942 | 217.28 | 4.647 | 226.42 | 3.127 | 237.433 | 2.088 | 235.433 | -9.82 | 889.892 | 62.965 | 3.3297
2019-12-03 02:45:00 | 7.592 | 217.2 | 5.426 | 222.812 | 4.315 | 234.233 | 3.495 | 232.533 | -10.183 | 889.575 | 63.723 | 4.9661
2019-12-03 03:00:00 | 7.327 | 218.54 | 5.703 | 224.798 | 4.783 | 234.967 | 3.938 | 234.633 | -9.778 | 889.775 | 62.219 | 8.1992
2019-12-03 03:15:00 | 7.195 | 218.2 | 7.477 | 217.342 | 6.1 | 221.667 | 5.208 | 220.767 | -10.299 | 890.117 | 64.021 | 10.5263
2019-12-03 03:30:00 | 7.898 | 214.7 | 6.966 | 215.388 | 6.341 | 220.4 | 5.644 | 217.767 | -10.433 | 890.075 | 64.437 | 11.7919
2019-12-03 03:45:00 | 7.595 | 215.367 | 7.31 | 214.627 | 7.007 | 219.9 | 6.207 | 214.7 | -10.216 | 889.95 | 63.979 | 11.8189
2019-12-03 04:00:00 | 7.717 | 215.193 | 7.029 | 215.319 | 6.329 | 221.867 | 5.612 | 220.4 | -10.191 | 889.583 | 64.235 | 12.3482
2019-12-03 04:15:00 | 7.454 | 213.047 | 7.596 | 215.538 | 6.713 | 218.7 | 5.684 | 214.8 | -10.145 | 890.067 | 63.573 | 13.1981
2019-12-03 04:30:00 | 7.075 | 211.033 | 7.745 | 212.707 | 7.337 | 216.3 | 6.682 | 212.533 | -10.249 | 890.058 | 64.757 | 15.7952
2019-12-03 04:45:00 | 7.342 | 213.74 | 7.74 | 213.872 | 7.369 | 216.367 | 7.191 | 213 | -10.304 | 890.142 | 63.883 | 16.7644
2019-12-03 05:00:00 | 6.4 | 215.2 | 7.89 | 214.784 | 7.373 | 221 | 6.476 | 218.6 | -10.703 | 889.883 | 65.163 | 16.5214
2019-12-03 05:15:00 | 7.695 | 213.8 | 7.963 | 213.18 | 7.273 | 219.733 | 6.414 | 218.233 | -10.984 | 890.25 | 65.045 | 20.7024
2019-12-03 05:30:00 | 7.373 | 212.813 | 8.02 | 213.801 | 7.621 | 218.733 | 7.002 | 217.067 | -10.458 | 890.233 | 63.968 | 19.1377
2019-12-03 05:45:00 | 6.634 | 212.627 | 7.849 | 211.063 | 7.62 | 216.4 | 6.974 | 214.667 | -10.616 | 889.408 | 64.213 | 18.0754
2019-12-03 06:00:00 | 6.247 | 212.393 | 7.401 | 210.244 | 7.131 | 213.467 | 6.776 | 212.167 | -10.87 | 889.833 | 65.333 | 17.875
2019-12-03 06:15:00 | 7.817 | 215.067 | 7.722 | 212.219 | 7.445 | 216.533 | 7.047 | 215.3 | -10.316 | 889.642 | 65.141 | 20.9582
2019-12-03 06:30:00 | 7.432 | 212.1 | 8.167 | 211.285 | 7.719 | 216.833 | 7.028 | 215.567 | -10.449 | 890.092 | 64.747 | 16.7239
2019-12-03 06:45:00 | 7.309 | 215.567 | 7.379 | 211.436 | 7.212 | 216.4 | 6.475 | 217.9 | -10.233 | 889.383 | 63.808 | 15.1692
2019-12-03 07:00:00 | 6.92 | 214.48 | 8.447 | 213.808 | 7.591 | 220.333 | 6.884 | 218.333 | -10.651 | 890.1 | 63.925 | 17.2533
2019-12-03 07:15:00 | 6.964 | 213.333 | 8.092 | 210.272 | 7.451 | 213.633 | 6.961 | 214.1 | -10.366 | 889.525 | 64.064 | 19.5036
2019-12-03 07:30:00 | 8.145 | 213.613 | 8.013 | 212.453 | 7.858 | 215.933 | 6.925 | 213.133 | -9.908 | 889.958 | 63.413 | 21.3426
2019-12-03 07:45:00 | 7.512 | 215 | 8.575 | 214.876 | 8.152 | 219.233 | 6.977 | 215.9 | -10.249 | 890.175 | 62.944 | 24.1515
2019-12-03 08:00:00 | 7.579 | 215.967 | 8.443 | 216.95 | 7.737 | 221.1 | 6.733 | 220.233 | -10.183 | 890.142 | 62.549 | 24.1529
2019-12-03 08:15:00 | 6.969 | 218.1 | 7.897 | 220.812 | 7.087 | 226.367 | 6.441 | 226.467 | -10.797 | 889.892 | 63.488 | 25.2514
2019-12-03 08:30:00 | 7.215 | 213.54 | 8.309 | 216.982 | 7.641 | 223.933 | 6.802 | 222.7 | -10.834 | 889.833 | 64.704 | 27.1515
2019-12-03 08:45:00 | 6.962 | 213.847 | 8.739 | 215.486 | 7.825 | 220.6 | 7.153 | 220 | -10.778 | 889.7 | 64.8 | 28.4767
2019-12-03 09:00:00 | 7.458 | 213.68 | 8.722 | 212.924 | 8.367 | 217.7 | 7.568 | 214.867 | -10.872 | 889.917 | 65.301 | 26.3478
2019-12-03 09:15:00 | 7.407 | 216.033 | 8.48 | 215.535 | 7.691 | 219.667 | 6.84 | 218.433 | -10.349 | 889.692 | 64.021 | 23.7628
2019-12-03 09:30:00 | 7.917 | 214.56 | 8.548 | 213.43 | 8.058 | 216.7 | 7.377 | 213.533 | -10.074 | 889.675 | 62.368 | 25.9854
2019-12-03 09:45:00 | 7.635 | 216.047 | 8.362 | 214.106 | 7.736 | 217.667 | 7.079 | 214.533 | -9.374 | 890.367 | 60.512 | 22.9819
2019-12-03 10:00:00 | 7.589 | 214.667 | 8.28 | 213.886 | 7.67 | 216.7 | 7.068 | 214.067 | -9.274 | 889.842 | 59.84 | 23.1332
2019-12-03 10:15:00 | 6.73 | 214.3 | 8.02 | 214.827 | 7.646 | 219.6 | 6.789 | 216.433 | -8.641 | 889.792 | 59.275 | 23.0707
2019-12-03 10:30:00 | 6.912 | 214.487 | 8.655 | 212.515 | 8.119 | 215.667 | 7.464 | 213.267 | -8.03 | 889.817 | 58.059 | 23.5283
2019-12-03 10:45:00 | 6.385 | 214.5 | 7.998 | 213.566 | 7.711 | 217.467 | 7.257 | 214.1 | -6.478 | 889.708 | 55.125 | 20.4871
2019-12-03 11:00:00 | 6.158 | 213.887 | 8.295 | 213.557 | 7.782 | 216.8 | 7.173 | 214.167 | -6.057 | 889.85 | 53.696 | 20.3421
2019-12-03 11:15:00 | 5.838 | 212.6 | 7.966 | 212.865 | 7.673 | 216.033 | 7.162 | 214.033 | -5.485 | 889.867 | 52.363 | 20.6746
2019-12-03 11:30:00 | 5.681 | 210.273 | 6.839 | 205.956 | 7.349 | 212.3 | 7.145 | 210.667 | -4.39 | 889.608 | 50.325 | 23.249
2019-12-03 11:45:00 | 4.908 | 202.267 | 6.42 | 201.926 | 7.2 | 207.567 | 7.386 | 203.533 | -3.354 | 889.9 | 49.973 | 21.3198
2019-12-03 12:00:00 | 4.777 | 206.093 | 5.981 | 205.739 | 6.876 | 211.833 | 7.001 | 209.633 | -2.849 | 890.05 | 48.128 | 20.8594
2019-12-03 12:15:00 | 5.52 | 210.42 | 6.695 | 205.503 | 7.088 | 210.967 | 7.206 | 207.267 | -2.679 | 889.733 | 46.784 | 18.2793
2019-12-03 12:30:00 | 5.202 | 207.293 | 5.899 | 204.627 | 6.532 | 209.667 | 6.68 | 207.867 | -1.643 | 889.858 | 44.939 | 12.9316
2019-12-03 12:45:00 | 4.513 | 210.667 | 5.94 | 209.826 | 6.149 | 212 | 6.146 | 211.9 | -1.299 | 890.167 | 45.088 | 9.5479
2019-12-03 13:00:00 | 4.357 | 213.32 | 5.376 | 213.554 | 5.816 | 217.033 | 5.628 | 215.633 | -0.485 | 889.892 | 42.325 | 7.1177
2019-12-03 13:15:00 | 3.73 | 213.187 | 4.628 | 213.522 | 4.708 | 219 | 4.658 | 217.133 | 0 | 889.575 | 41.952 | 4.4744
2019-12-03 13:30:00 | 3.382 | 212.167 | 3.953 | 210.898 | 4.292 | 216.4 | 4.463 | 214 | 0.782 | 889.883 | 39.819 | 3.609
2019-12-03 13:45:00 | 2.354 | 211.127 | 3.541 | 207.817 | 3.933 | 211.833 | 4.229 | 209.033 | 1.519 | 889.8 | 39.04 | 4.1263
2019-12-03 14:00:00 | 1.906 | 212.113 | 3.812 | 209.106 | 4.389 | 212 | 4.507 | 207.267 | 2.34 | 889.667 | 40.256 | 2.4173
2019-12-03 14:15:00 | 2.933 | 218.553 | 3.481 | 217.308 | 3.834 | 219.8 | 3.807 | 219.333 | 2.062 | 889.8 | 39.312 | 0.39294
2019-12-03 14:30:00 | 1.97 | 226.247 | 2.386 | 224.617 | 2.666 | 238.3 | 2.624 | 239.4 | 2.183 | 889.8 | 36.571 | 0.15632
2019-12-03 14:45:00 | 0.117 | 230 | 1.182 | 240.49 | 1.344 | 251 | 1.398 | 247 | 3.572 | 890.033 | 33.909 | 0.22596
2019-12-03 15:00:00 | 0.695 | 244.8 | 0 | 241.352 | 0.416 | 251.033 | 0.749 | 247.033 | 1.549 | 889.45 | 33.168 | 0.16769
2019-12-03 15:15:00 | 0 | 321.24 | 0 | 241.586 | 0.588 | 251.5 | 0.47 | 247 | 0.249 | 889.35 | 36.704 | 0.21743
2019-12-03 15:30:00 | 0 | 321.987 | 0 | 241.477 | 0 | 251.5 | 0.924 | 247 | 1.015 | 889.683 | 37.701 | 0.22738
2019-12-03 15:45:00 | 0 | 320.813 | 0 | 241.549 | 0 | 251.367 | 0 | 247 | 1.696 | 889.717 | 36.155 | 0.13998
2019-12-03 16:00:00 | 0.729 | 139.64 | 0.15 | 241.49 | 0.753 | 251.217 | 0.87 | 139.967 | 0.598 | 889.617 | 36.709 | 0.17622
2019-12-03 16:15:00 | 0.991 | 16.832 | 0 | 241.555 | 0.09 | 251 | 0 | 0 | 0.053 | 889.883 | 39.184 | 0.21033
2019-12-03 16:30:00 | 0.505 | 41.187 | 0 | 241.615 | 0 | 251 | 0 | 0 | -0.086 | 889.567 | 40.928 | 0.21601
2019-12-03 16:45:00 | 0 | 41.187 | 0 | 197.681 | 0 | 251.067 | 0 | 0 | -0.206 | 889.717 | 42.933 | 0.20038
2019-12-03 17:00:00 | 1.087 | 99.807 | 0.027 | 147.504 | 0.093 | 245.733 | 0 | 0 | -1.012 | 889.658 | 48.661 | 0.21317
2019-12-03 17:15:00 | 1.295 | 109.263 | 0.362 | 141.958 | 0 | 199.033 | 0 | 0 | -1.222 | 889.833 | 49.792 | 0.21317
2019-12-03 17:30:00 | 0.549 | 109.163 | 0 | 124.203 | 0 | 199 | 0 | 0 | -1.566 | 889.992 | 51.563 | 0.21459
2019-12-03 17:45:00 | 1.408 | 132.65 | 0.499 | 124.278 | 0.483 | 199 | 0 | 0 | -2.403 | 889.975 | 56.149 | 0.21601
2019-12-03 18:00:00 | 0.283 | 183.187 | 0 | 124.253 | 0 | 199 | 0 | 0 | -2.679 | 889.975 | 55.84 | 0.22028
2019-12-03 18:15:00 | 0 | 183 | 0 | 124.214 | 0.432 | 67.933 | 0.285 | 0 | -3.421 | 889.658 | 60.544 | 0.18404
2019-12-03 18:30:00 | 0 | 183.053 | 0 | 123.79 | 0 | 68 | 0.84 | 0 | -4.133 | 889.442 | 64.949 | 0.19398
2019-12-03 18:45:00 | 0 | 213.067 | 0 | 130.534 | 0 | 68.1 | 0 | 0 | -4.105 | 889.75 | 62.933 | 0.22312
2019-12-03 19:00:00 | 0.665 | 222.667 | 0 | 130.474 | 0 | 68 | 0 | 0 | -4.338 | 889.6 | 60.587 | 0.22028
2019-12-03 19:15:00 | 0.928 | 226.7 | 0 | 130.568 | 0 | 68 | 0 | 0 | -4.785 | 889.867 | 60.331 | 0.2288
2019-12-03 19:30:00 | 2.398 | 205.2 | 0 | 130.456 | 0 | 68 | 0 | 0 | -5.418 | 890.075 | 60.064 | 0.23164
2019-12-03 19:45:00 | 3.237 | 211.547 | 2.266 | 206.084 | 2.212 | 203.133 | 2.133 | 175.833 | -5.921 | 889.825 | 57.291 | 0.23164
2019-12-03 20:00:00 | 5.718 | 221.567 | 2.872 | 218.608 | 2.1 | 217.1 | 2.042 | 196.767 | -6.826 | 889.817 | 56.32 | 0.20606
2019-12-03 20:15:00 | 6.733 | 222.327 | 3.165 | 246.175 | 2.468 | 248.5 | 2.066 | 232.967 | -7.502 | 889.917 | 57.845 | 0.79441
2019-12-03 20:30:00 | 6.84 | 220.4 | 4.333 | 232.577 | 3.64 | 245.533 | 3.288 | 240.4 | -8.591 | 889.85 | 60.672 | 1.3991
2019-12-03 20:45:00 | 6.861 | 220.233 | 4.28 | 229.398 | 3.855 | 237.233 | 3.476 | 235.033 | -8.708 | 889.567 | 62.795 | 0.5514
2019-12-03 21:00:00 | 7.127 | 222.633 | 5.651 | 221.452 | 4.27 | 233.233 | 3.552 | 234.7 | -8.591 | 889.9 | 60.544 | 0.71554
2019-12-03 21:15:00 | 7.149 | 225.333 | 4.522 | 227.656 | 3.653 | 237.2 | 3.285 | 235 | -9.324 | 890.067 | 61.301 | 1.1341
2019-12-03 21:30:00 | 6.65 | 223.42 | 5.048 | 225.124 | 3.963 | 237.7 | 3.136 | 241.9 | -9.295 | 890.15 | 61.621 | 2.0223
2019-12-03 21:45:00 | 7.132 | 219.667 | 5.998 | 220.378 | 5.254 | 224.333 | 4.435 | 219.8 | -8.741 | 889.9 | 60.725 | 1.8326
2019-12-03 22:00:00 | 7.322 | 220.633 | 5.144 | 215.21 | 4.869 | 220.667 | 4.637 | 216 | -8.19 | 889.883 | 58.155 | 2.509
2019-12-03 22:15:00 | 6.259 | 219.373 | 5.765 | 219.682 | 5.029 | 222.767 | 4.389 | 216.233 | -8.237 | 889.925 | 56.928 | 3.5578
2019-12-03 22:30:00 | 4.9 | 222.82 | 5.796 | 224.588 | 4.886 | 229.7 | 4.324 | 225.7 | -9.416 | 889.85 | 58.261 | 4.5171
2019-12-03 22:45:00 | 5.692 | 231.107 | 5.703 | 229.213 | 5.024 | 240.5 | 4.48 | 241.2 | -9.954 | 890.3 | 60.459 | 4.7288
2019-12-03 23:00:00 | 6.699 | 226.233 | 5.1 | 234.406 | 4.773 | 245.833 | 4.378 | 245.467 | -9.158 | 889.992 | 59.061 | 3.96
2019-12-03 23:15:00 | 6.636 | 222.267 | 4.745 | 229.906 | 4.237 | 243.267 | 3.871 | 243.433 | -9.241 | 889.725 | 58.123 | 2.7428
2019-12-03 23:30:00 | 6.656 | 220.067 | 4.632 | 228.27 | 4.014 | 238.233 | 3.48 | 241.433 | -9.158 | 889.792 | 56.885 | 1.2264
2019-12-03 23:45:00 | 6.82 | 224.173 | 4.245 | 228.526 | 3.528 | 238.933 | 2.929 | 239.933 | -8.371 | 889.833 | 53.248 | 0.80791