## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-04 00:00:00 | 6.82 | 221.433 | 4.601 | 222.245 | 3.67 | 226.833 | 2.949 | 223.633 | -8.874 | 889.8 | 53.451 | 1.9697
2019-12-04 00:15:00 | 6.839 | 221.667 | 5.023 | 225.419 | 4.295 | 231.367 | 3.63 | 227.233 | -9.158 | 889.825 | 53.429 | 2.9268
2019-12-04 00:30:00 | 5.175 | 216.347 | 4.607 | 227.412 | 3.807 | 233.167 | 3.348 | 231.733 | -10.124 | 889.692 | 55.275 | 4.4233
2019-12-04 00:45:00 | 3.095 | 202 | 6.296 | 223.35 | 4.92 | 232.233 | 4.312 | 229.467 | -11.428 | 889.775 | 60.672 | 4.3259
2019-12-04 01:00:00 | 2.036 | 165.553 | 3.315 | 229.864 | 5.533 | 226.9 | 4.639 | 224 | -10.133 | 889.975 | 57.701 | 3.2174
2019-12-04 01:15:00 | 1.635 | 220.793 | 5.983 | 222.026 | 4.931 | 232.633 | 4.256 | 230.5 | -10.616 | 889.558 | 59.755 | 2.4898
2019-12-04 01:30:00 | 4.966 | 219.26 | 4.932 | 223.481 | 4.324 | 227.233 | 4.238 | 222.467 | -10.843 | 889.917 | 62.56 | 2.6007
2019-12-04 01:45:00 | 6.167 | 219 | 5.671 | 224.998 | 5.071 | 228.3 | 4.664 | 220.6 | -9.962 | 889.958 | 57.664 | 3.6886
2019-12-04 02:00:00 | 5.14 | 208.213 | 5.403 | 223.275 | 4.769 | 227.9 | 4.242 | 221.533 | -10.905 | 889.608 | 58.592 | 4.7466
2019-12-04 02:15:00 | 4.744 | 209.713 | 6.316 | 220.936 | 5.057 | 226.633 | 4.115 | 222.533 | -10.872 | 889.667 | 60.139 | 6.1265
2019-12-04 02:30:00 | 5.69 | 217.513 | 5.162 | 223.284 | 4.517 | 228.9 | 3.774 | 224.933 | -10.982 | 889.9 | 62.112 | 6.6125
2019-12-04 02:45:00 | 6.69 | 219.587 | 5.489 | 224.093 | 4.772 | 229.267 | 4.116 | 226.7 | -9.312 | 889.858 | 57.963 | 5.8934
2019-12-04 03:00:00 | 7.091 | 219.933 | 5.978 | 225.02 | 5.31 | 229.5 | 4.631 | 224.333 | -9.008 | 890.233 | 55.669 | 5.7073
2019-12-04 03:15:00 | 6.512 | 221.433 | 5.319 | 225.699 | 4.824 | 230.367 | 4.23 | 225.1 | -9.258 | 890.125 | 55.179 | 6.0022
2019-12-04 03:30:00 | 5.488 | 222.647 | 5.939 | 227.456 | 5.146 | 232.467 | 4.604 | 227.4 | -9.787 | 890.175 | 55.925 | 5.4692
2019-12-04 03:45:00 | 5.917 | 224.433 | 4.955 | 227.529 | 4.573 | 234.033 | 4.103 | 231.6 | -8.908 | 890.367 | 54.699 | 5.3449
2019-12-04 04:00:00 | 5.939 | 222.267 | 4.975 | 225.793 | 4.593 | 233.7 | 3.99 | 232.5 | -9.241 | 890.083 | 54.581 | 4.7757
2019-12-04 04:15:00 | 5.958 | 221.833 | 4.956 | 225.83 | 4.499 | 234.5 | 3.885 | 232.9 | -9.224 | 889.458 | 54.507 | 4.9917
2019-12-04 04:30:00 | 6.462 | 219.367 | 5.613 | 221.583 | 4.638 | 228.9 | 4.014 | 230.067 | -9.191 | 889.633 | 54.24 | 4.3181
2019-12-04 04:45:00 | 6.558 | 220.833 | 5.183 | 223.713 | 4.289 | 230.3 | 3.689 | 230.5 | -9.158 | 889.817 | 54.304 | 3.3247
2019-12-04 05:00:00 | 6.209 | 220.853 | 4.73 | 226.543 | 3.981 | 235.433 | 3.526 | 234.367 | -9.724 | 890.15 | 55.52 | 2.8117
2019-12-04 05:15:00 | 5.146 | 224.533 | 5.074 | 233.07 | 4.443 | 246.1 | 4.023 | 248.267 | -10.199 | 889.85 | 56.277 | 2.7542
2019-12-04 05:30:00 | 5.694 | 227.767 | 4.927 | 230.69 | 4.159 | 247.067 | 3.809 | 253.033 | -10.449 | 889.825 | 57.547 | 2.1161
2019-12-04 05:45:00 | 4.836 | 230.947 | 5.112 | 229.702 | 4.052 | 246.567 | 3.667 | 252.6 | -10.574 | 889.325 | 57.28 | 1.1127
2019-12-04 06:00:00 | 4.729 | 234.9 | 4.754 | 229.391 | 3.69 | 245.567 | 3.327 | 251.6 | -11.245 | 889.85 | 58.208 | 1.2449
2019-12-04 06:15:00 | 4.574 | 237.393 | 3.861 | 233.689 | 3.165 | 252.933 | 3.08 | 259.7 | -10.76 | 890.067 | 57.92 | 0.88252
2019-12-04 06:30:00 | 5.569 | 232.027 | 4.58 | 235.075 | 3.947 | 254.9 | 3.657 | 261 | -10.853 | 889.825 | 58.677 | 0.40502
2019-12-04 06:45:00 | 5.287 | 225.3 | 3.472 | 236.105 | 2.606 | 255.3 | 2.354 | 258.2 | -11.411 | 890.033 | 58.464 | 0.15064
2019-12-04 07:00:00 | 5.426 | 227.933 | 4.531 | 230.724 | 3.743 | 242.467 | 3.552 | 245.567 | -11.461 | 889.733 | 59.808 | 0.26646
2019-12-04 07:15:00 | 6.618 | 220.067 | 4.908 | 226.654 | 3.993 | 240.667 | 3.71 | 241.3 | -11.561 | 889.85 | 59.456 | 0.27996
2019-12-04 07:30:00 | 7.287 | 218.933 | 3.963 | 228.25 | 3.352 | 238.767 | 3.132 | 239.233 | -10.291 | 890.058 | 55.744 | 0.085979
2019-12-04 07:45:00 | 6.905 | 222.8 | 3.316 | 233.826 | 3.191 | 250.467 | 2.863 | 246.217 | -10.266 | 889.683 | 53.376 | 0.11867
2019-12-04 08:00:00 | 6.71 | 220.84 | 3.241 | 231.536 | 2.783 | 244.033 | 2.043 | 249.733 | -9.999 | 889.625 | 51.765 | 0.18404
2019-12-04 08:15:00 | 7.092 | 217.713 | 4.307 | 223.162 | 2.76 | 229.333 | 1.61 | 241.133 | -9.683 | 890.075 | 51.2 | 0.3361
2019-12-04 08:30:00 | 6.87 | 213.6 | 5.079 | 213.685 | 3.66 | 220.067 | 2.718 | 214.3 | -10.366 | 890.05 | 53.845 | 0.15561
2019-12-04 08:45:00 | 6.452 | 214.593 | 4.527 | 212.561 | 3.564 | 213.8 | 2.609 | 212.2 | -11.04 | 889.858 | 56.533 | 0.13359
2019-12-04 09:00:00 | 7.551 | 219.733 | 4.632 | 217.958 | 3.578 | 225.067 | 2.485 | 219.233 | -10.333 | 889.5 | 53.824 | 0.19967
2019-12-04 09:15:00 | 7.323 | 221.767 | 5.648 | 221.203 | 4.503 | 226.933 | 3.428 | 221.067 | -10.449 | 889.75 | 54.421 | 0.66367
2019-12-04 09:30:00 | 7.555 | 220.533 | 5.103 | 221.772 | 4.007 | 227.533 | 3.185 | 225.2 | -9.912 | 890.167 | 52.459 | 0.45974
2019-12-04 09:45:00 | 7.374 | 217.567 | 4.691 | 219.038 | 4.366 | 224.067 | 3.454 | 218.7 | -8.808 | 889.725 | 49.653 | 0.15064
2019-12-04 10:00:00 | 6.696 | 218.853 | 4.665 | 217.715 | 3.676 | 218.567 | 2.923 | 212.467 | -8.614 | 890.1 | 48.853 | 0.30412
2019-12-04 10:15:00 | 7.002 | 220.44 | 5.84 | 218.826 | 4.688 | 222.333 | 3.54 | 217.7 | -7.92 | 889.567 | 47.328 | 0.60043
2019-12-04 10:30:00 | 6.514 | 218.787 | 4.94 | 218.378 | 3.641 | 222.8 | 2.515 | 216.167 | -7.15 | 889.917 | 46.443 | 0.32331
2019-12-04 10:45:00 | 6.074 | 219.833 | 4.506 | 223.082 | 3.271 | 228.633 | 1.905 | 228.7 | -6.195 | 889.742 | 45.664 | 0.11653
2019-12-04 11:00:00 | 5.332 | 220.767 | 3.532 | 226.624 | 2.105 | 235.267 | 1.187 | 245.2 | -5.285 | 890.183 | 45.195 | 0.22596
2019-12-04 11:15:00 | 5.141 | 215.127 | 4.174 | 218.77 | 3.071 | 224.133 | 2.085 | 230.267 | -4.582 | 889.917 | 44.501 | 0.25296
2019-12-04 11:30:00 | 4.489 | 213.4 | 3.347 | 214.842 | 2.308 | 221.967 | 1.448 | 224 | -3.538 | 890.258 | 43.467 | 0.24017
2019-12-04 11:45:00 | 4.162 | 216.533 | 2.221 | 212.039 | 1.456 | 216 | 0.722 | 223.5 | -1.9 | 889.783 | 41.291 | 0.2217
2019-12-04 12:00:00 | 3.804 | 220.393 | 2.073 | 217.036 | 1.008 | 218.7 | 0.128 | 224.067 | -1.152 | 889.55 | 39.392 | 0.23022
2019-12-04 12:15:00 | 3.545 | 220.933 | 1.282 | 218.77 | 0.437 | 211.967 | 0.467 | 212.033 | -0.299 | 889.683 | 36.917 | 0.2082
2019-12-04 12:30:00 | 3.19 | 234.027 | 2.033 | 236.617 | 1.54 | 247.5 | 0.782 | 226 | 0.515 | 889.9 | 36.395 | 0.22596
2019-12-04 12:45:00 | 2.6 | 222.66 | 1.605 | 227.907 | 0.974 | 244.033 | 0.527 | 221 | 1.519 | 889.583 | 33.008 | 0.21459
2019-12-04 13:00:00 | 0.13 | 224.113 | 0 | 227.486 | 0 | 244 | 0.534 | 221 | 3.895 | 889.85 | 28.853 | 0.22454
2019-12-04 13:15:00 | 0.037 | 222.68 | 0.12 | 213.505 | 0.668 | 244 | 1.138 | 192.1 | 6.118 | 889.85 | 24.523 | 0.21601
2019-12-04 13:30:00 | 1.894 | 53.713 | 1.524 | 48.427 | 1.756 | 49 | 1.693 | 48 | -0.026 | 889.967 | 31.307 | 0.22312
2019-12-04 13:45:00 | 0.659 | 27.378 | 0.027 | 31.062 | 0.506 | 41.033 | 0.638 | 48 | 0.216 | 889.85 | 34.949 | 0.21317
2019-12-04 14:00:00 | 1.162 | 32.188 | 0 | 32.116 | 0.117 | 63 | 0.977 | 47.933 | -0.203 | 889.367 | 34.864 | 0.21885
2019-12-04 14:15:00 | 1.536 | 38.195 | 1.09 | 32.141 | 1.5 | 54 | 1.475 | 47.867 | -0.349 | 889.517 | 36.869 | 0.21459
2019-12-04 14:30:00 | 0.462 | 38.14 | 0 | 32.128 | 0.033 | 51.067 | 0 | 48 | -1.039 | 889.717 | 36.128 | 0.22454
2019-12-04 14:45:00 | 1.031 | 38.2 | 0 | 32.121 | 0.14 | 51 | 0.752 | 48 | -0.459 | 889.483 | 35.168 | 0.20891
2019-12-04 15:00:00 | 0.13 | 52.197 | 0 | 32.12 | 0.2 | 51.1 | 0.46 | 48 | -0.565 | 889.883 | 36.107 | 0.22028
2019-12-04 15:15:00 | 0.828 | 37.89 | 0 | 32.134 | 0 | 51 | 0.084 | 48 | -0.518 | 889.783 | 35.648 | 0.21317
2019-12-04 15:30:00 | 0.462 | 64.367 | 0 | 62.215 | 0.789 | 54.167 | 1.017 | 48 | -1.028 | 889.783 | 36.416 | 0.22028
2019-12-04 15:45:00 | 0.19 | 63.513 | 0 | 69.282 | 0.126 | 107 | 0.625 | 75 | -0.899 | 889.617 | 37.04 | 0.21743
2019-12-04 16:00:00 | 0.991 | 41.143 | 0.204 | 69.246 | 1.158 | 95.067 | 1.134 | 75 | -1.082 | 889.9 | 34.896 | 0.2487
2019-12-04 16:15:00 | 0.479 | 46.223 | 0.1 | 68.477 | 0.576 | 89.133 | 1.111 | 75 | -1.443 | 890.083 | 37.675 | 0.23875
2019-12-04 16:30:00 | 1.828 | 134.053 | 1.844 | 128.52 | 2.157 | 128.967 | 2.266 | 121.067 | -1.64 | 889.95 | 38.688 | 0.22951
2019-12-04 16:45:00 | 1.712 | 150.46 | 1.423 | 136.334 | 1.616 | 127 | 1.873 | 121 | -1.889 | 889.533 | 38.245 | 0.21033
2019-12-04 17:00:00 | 1.375 | 157.38 | 0.657 | 140.563 | 1.61 | 128 | 1.805 | 120.667 | -2.082 | 889.65 | 37.381 | 0.22312
2019-12-04 17:15:00 | 1.766 | 157.393 | 1.411 | 135.51 | 1.898 | 124.033 | 2.512 | 117 | -2.098 | 889.233 | 39.099 | 0.17693
2019-12-04 17:30:00 | 1.532 | 157.347 | 1.353 | 128.154 | 1.99 | 122.133 | 2.527 | 115.667 | -2.532 | 890 | 39.883 | 0.068925
2019-12-04 17:45:00 | 1.984 | 152.493 | 2.529 | 125.179 | 2.996 | 120.9 | 3.274 | 110.067 | -2.842 | 889.933 | 42.379 | 0.071057
2019-12-04 18:00:00 | 1.943 | 152.733 | 2.147 | 126.151 | 2.515 | 121.1 | 3.008 | 119.4 | -3.387 | 890 | 43.168 | 0.08811
2019-12-04 18:15:00 | 1.562 | 164.167 | 1.156 | 131.436 | 1.263 | 113.1 | 1.894 | 121 | -3.288 | 889.792 | 44.523 | 0.16698
2019-12-04 18:30:00 | 2.012 | 169.767 | 1.181 | 135.164 | 1.596 | 113 | 1.977 | 119.967 | -3.723 | 889.617 | 46.933 | 0.13288
2019-12-04 18:45:00 | 2.103 | 177.927 | 1.036 | 130.498 | 1.639 | 113 | 2.408 | 104 | -4.302 | 889.975 | 50.027 | 0.19327
2019-12-04 19:00:00 | 2.47 | 180.453 | 0.544 | 139.738 | 2.034 | 113 | 2.351 | 122.367 | -4.762 | 890.25 | 50.763 | 0.22028
2019-12-04 19:15:00 | 2.998 | 191.767 | 0.61 | 137.934 | 1.547 | 123 | 2.34 | 130 | -5.285 | 889.8 | 51.733 | 0.086689
2019-12-04 19:30:00 | 3.174 | 184.44 | 1.423 | 141.44 | 1.92 | 123.067 | 2.203 | 128.933 | -5.554 | 889.583 | 52.149 | 0.12648
2019-12-04 19:45:00 | 2.517 | 184.607 | 1.662 | 136.723 | 1.824 | 127.6 | 2.164 | 128 | -6.116 | 890.158 | 52.693 | 0.25367
2019-12-04 20:00:00 | 2.884 | 186.94 | 1.807 | 154.899 | 1.75 | 141.033 | 2.172 | 135.9 | -6.199 | 890.133 | 53.557 | 0.26291
2019-12-04 20:15:00 | 3.136 | 186.793 | 1.568 | 145.549 | 2.167 | 125.367 | 3.135 | 117.033 | -5.763 | 889.908 | 50.432 | 0.27712
2019-12-04 20:30:00 | 3.409 | 201.433 | 1.685 | 159.116 | 2.081 | 132.333 | 2.551 | 123.4 | -6.395 | 890.175 | 51.701 | 0.19896
2019-12-04 20:45:00 | 3.123 | 203.633 | 1.962 | 163.194 | 1.97 | 141.833 | 2.639 | 121 | -5.469 | 889.667 | 49.12 | 0.11369
2019-12-04 21:00:00 | 3.408 | 209.7 | 2.043 | 169.356 | 1.903 | 151.867 | 2.626 | 130.233 | -5.152 | 890.008 | 48.181 | 0.39934
2019-12-04 21:15:00 | 2.407 | 192.667 | 2.603 | 153.788 | 2.572 | 143.467 | 2.675 | 126.567 | -5.085 | 889.833 | 47.157 | 0.97063
2019-12-04 21:30:00 | 3.457 | 199.167 | 3.054 | 158.542 | 3.522 | 152.667 | 3.083 | 143.667 | -5.185 | 890.15 | 47.275 | 0.26859
2019-12-04 21:45:00 | 4.072 | 208.727 | 2.955 | 176.577 | 2.462 | 161.067 | 2.137 | 141.7 | -6.84 | 889.95 | 49.163 | 0.1144
2019-12-04 22:00:00 | 3.699 | 215.087 | 1.86 | 170.65 | 1.391 | 153.133 | 1.679 | 125.533 | -5.859 | 890.117 | 46.859 | 0.14496
2019-12-04 22:15:00 | 2.53 | 208.433 | 0.383 | 153.763 | 1.226 | 114.5 | 2.167 | 97.767 | -5.202 | 889.8 | 44.928 | 0.89673
2019-12-04 22:30:00 | 2.14 | 183.667 | 1.947 | 130.694 | 2.516 | 123.867 | 2.97 | 107.733 | -4.852 | 889.875 | 43.883 | 3.9394
2019-12-04 22:45:00 | 3.45 | 185.933 | 2.493 | 150.587 | 2.901 | 131.267 | 3.581 | 109.8 | -5.285 | 889.958 | 44.608 | 4.6905
2019-12-04 23:00:00 | 3.353 | 202.467 | 2.46 | 152.511 | 2.362 | 133.1 | 2.94 | 117.6 | -6.544 | 890.3 | 45.355 | 4.8752
2019-12-04 23:15:00 | 3.48 | 211 | 3.018 | 144.496 | 3.601 | 125.4 | 3.848 | 114.467 | -9.993 | 889.808 | 49.291 | 4.0339
2019-12-04 23:30:00 | 3.615 | 196.4 | 2.904 | 134.922 | 3.133 | 129.467 | 3.162 | 124.867 | -9.428 | 889.783 | 54.763 | 3.3148
2019-12-04 23:45:00 | 4.045 | 185.547 | 2.906 | 133.768 | 2.43 | 136.767 | 2.391 | 126.2 | -8.25 | 890.008 | 51.157 | 1.279