## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-05 00:00:00 | 3.139 | 185.18 | 2.004 | 124.653 | 2.175 | 107.067 | 2.035 | 95.5 | -7.557 | 889.792 | 50.133 | 0.13643
2019-12-05 00:15:00 | 3.545 | 188.367 | 1.832 | 124.322 | 2.124 | 107.133 | 2.426 | 100.433 | -6.695 | 889.5 | 46.464 | 0.51658
2019-12-05 00:30:00 | 2.921 | 186.187 | 1.914 | 120.271 | 3.06 | 106.2 | 3.326 | 100.9 | -6.223 | 889.683 | 43.627 | 1.2321
2019-12-05 00:45:00 | 2.143 | 177.56 | 1.698 | 123.124 | 2.367 | 104.867 | 2.984 | 101.233 | -5.978 | 889.817 | 44 | 2.0898
2019-12-05 01:00:00 | 2.646 | 167.753 | 2.996 | 111.144 | 2.518 | 97.733 | 2.336 | 93.167 | -6.19 | 890.042 | 43.221 | 3.8207
2019-12-05 01:15:00 | 2.7 | 181.86 | 2.428 | 115.998 | 2.435 | 96.233 | 2.129 | 88.367 | -6.806 | 890.042 | 44.779 | 4.3593
2019-12-05 01:30:00 | 2.814 | 165.22 | 3.158 | 104.372 | 2.793 | 95.067 | 3.256 | 87.267 | -7.168 | 890.142 | 45.749 | 7.2677
2019-12-05 01:45:00 | 3.354 | 169.127 | 3.06 | 137.274 | 3.988 | 125.467 | 4.466 | 109.767 | -8.577 | 890 | 47.605 | 9.7845
2019-12-05 02:00:00 | 3.16 | 170.413 | 3.828 | 130.403 | 4.89 | 119.6 | 5.197 | 114.2 | -10.095 | 889.917 | 55.168 | 10.3217
2019-12-05 02:15:00 | 4.382 | 164.807 | 5.196 | 122.863 | 5.213 | 119.233 | 5.09 | 110.767 | -8.806 | 889.658 | 56.469 | 10.1568
2019-12-05 02:30:00 | 4.849 | 149.727 | 5.349 | 115.966 | 5.672 | 116.2 | 5.709 | 108.567 | -8.127 | 889.683 | 51.061 | 8.9389
2019-12-05 02:45:00 | 4.264 | 151.607 | 4.834 | 115.44 | 4.611 | 114.8 | 4.444 | 105.5 | -7.028 | 889.733 | 46.08 | 5.0827
2019-12-05 03:00:00 | 3.681 | 156.107 | 4.097 | 112.667 | 3.853 | 111.333 | 3.671 | 103.933 | -7.574 | 890.125 | 49.045 | 3.3958
2019-12-05 03:15:00 | 3.115 | 142.633 | 3.444 | 102.344 | 2.646 | 102.333 | 2.506 | 93.667 | -6.212 | 889.967 | 44.619 | 1.959
2019-12-05 03:30:00 | 2.231 | 129.137 | 3.296 | 90.782 | 2.542 | 95.1 | 2.395 | 85.667 | -6.723 | 889.958 | 44.288 | 1.726
2019-12-05 03:45:00 | 3.044 | 114.487 | 2.777 | 90.747 | 2.262 | 97.167 | 3.02 | 100.4 | -5.918 | 889.708 | 43.957 | 2.5104
2019-12-05 04:00:00 | 3.448 | 120.503 | 3.834 | 100.577 | 3.591 | 108.4 | 3.98 | 107.833 | -6.591 | 889.767 | 43.819 | 2.5936
2019-12-05 04:15:00 | 2.964 | 129.733 | 3.381 | 100.425 | 2.582 | 106.167 | 2.973 | 106.467 | -7.506 | 889.617 | 46.283 | 2.4699
2019-12-05 04:30:00 | 2.866 | 131.623 | 3.374 | 105.538 | 2.891 | 107.833 | 3.415 | 108 | -7.41 | 889.692 | 46.443 | 3.9621
2019-12-05 04:45:00 | 2.08 | 120.273 | 3.003 | 91.794 | 2.367 | 94.9 | 3.263 | 108.1 | -8.291 | 890.183 | 47.477 | 4.0175
2019-12-05 05:00:00 | 2.154 | 159.833 | 2.371 | 121.066 | 3.057 | 103.6 | 3.926 | 107.033 | -7.672 | 890.05 | 47.968 | 5.0521
2019-12-05 05:15:00 | 2.947 | 158.04 | 3.101 | 111.254 | 3.511 | 110.367 | 4.012 | 106.967 | -8.421 | 889.592 | 49.408 | 5.9673
2019-12-05 05:30:00 | 2.407 | 153.22 | 3.521 | 105.043 | 3.164 | 102.8 | 3.129 | 99.733 | -8.013 | 889.967 | 48.107 | 5.2696
2019-12-05 05:45:00 | 2.346 | 153.287 | 3.325 | 105.889 | 3.23 | 107.1 | 3.669 | 102.7 | -7.846 | 889.9 | 48.043 | 5.627
2019-12-05 06:00:00 | 2.247 | 148.9 | 3.517 | 105.457 | 3.983 | 108.167 | 4.361 | 102.333 | -7.622 | 890.033 | 45.973 | 5.4458
2019-12-05 06:15:00 | 0.762 | 146.87 | 2.841 | 89.487 | 3.449 | 88.267 | 3.414 | 85.9 | -8.053 | 890.292 | 47.264 | 3.1514
2019-12-05 06:30:00 | 0 | 118.223 | 0.167 | 51.942 | 2.085 | 61.867 | 2.836 | 70.4 | -8.317 | 890.058 | 49.365 | 0.44695
2019-12-05 06:45:00 | 1.595 | 322.667 | 0.383 | 25.055 | 1.656 | 32.696 | 2.003 | 61.2 | -7.556 | 890.175 | 48.96 | 0.10303
2019-12-05 07:00:00 | 1.556 | 0 | 1.917 | 10.502 | 2.258 | 38.5 | 2.732 | 61.533 | -7.826 | 889.658 | 48.917 | 0.15135
2019-12-05 07:15:00 | 0.689 | 0 | 1.48 | 20.066 | 2.772 | 41.933 | 2.779 | 67.033 | -8.311 | 889.45 | 49.461 | 0.32189
2019-12-05 07:30:00 | 0.103 | 0.268 | 1.866 | 37.523 | 2.403 | 73.833 | 3.138 | 75.5 | -8.874 | 889.667 | 51.349 | 1.4169
2019-12-05 07:45:00 | 0.186 | 340.533 | 0.21 | 73.365 | 2.253 | 91.817 | 2.582 | 95.6 | -9.141 | 889.617 | 52.96 | 1.3614
2019-12-05 08:00:00 | 0.106 | 298.267 | 0.033 | 119.077 | 1.49 | 113.775 | 2.754 | 112.767 | -9.108 | 890.05 | 52.651 | 0.39792
2019-12-05 08:15:00 | 1.876 | 286.853 | 0 | 133.477 | 0.113 | 118 | 1.964 | 113.233 | -8.244 | 889.683 | 51.701 | 0.2757
2019-12-05 08:30:00 | 1.834 | 279.04 | 0 | 111.246 | 0 | 102.2 | 1.486 | 93.367 | -9.62 | 889.767 | 50.869 | 0.2288
2019-12-05 08:45:00 | 2.827 | 287.94 | 1.377 | 0 | 0.06 | 91.4 | 0.876 | 89.6 | -10.016 | 889.875 | 51.989 | 0.25509
2019-12-05 09:00:00 | 2.023 | 318.133 | 1.956 | 3.212 | 2.257 | 39.933 | 2.992 | 57.533 | -10.797 | 890 | 54.357 | 0.847
2019-12-05 09:15:00 | 1.13 | 287.78 | 0.03 | 46.048 | 1.771 | 71.583 | 2.395 | 79.9 | -10.487 | 890.092 | 55.275 | 0.39508
2019-12-05 09:30:00 | 1.787 | 250.673 | 0 | 45.134 | 0.307 | 77.179 | 2.138 | 106.6 | -10.137 | 890.025 | 54.581 | 0.29986
2019-12-05 09:45:00 | 2.688 | 226.267 | 0.146 | 76.814 | 0.18 | 114.067 | 2.576 | 115.267 | -9.058 | 890.05 | 52.224 | 0.1748
2019-12-05 10:00:00 | 2.266 | 220.8 | 1.584 | 194.52 | 1.814 | 172.8 | 2.527 | 132.267 | -7.606 | 889.608 | 48.149 | 1.1966
2019-12-05 10:15:00 | 3.306 | 213.953 | 2.017 | 179.388 | 2.694 | 144.8 | 3.873 | 119.6 | -7.433 | 890.1 | 45.771 | 4.5043
2019-12-05 10:30:00 | 3.039 | 198.44 | 2.901 | 157.579 | 3.71 | 128.5 | 4.645 | 115.433 | -8.17 | 889.892 | 47.243 | 5.0386
2019-12-05 10:45:00 | 2.721 | 187.693 | 2.656 | 136.988 | 3.568 | 127.567 | 4.27 | 114.067 | -6.774 | 889.583 | 47.616 | 2.5772
2019-12-05 11:00:00 | 1.396 | 188.133 | 1.414 | 129.02 | 2.567 | 115.333 | 3.333 | 104.867 | -5.152 | 890.158 | 43.659 | 1.4076
2019-12-05 11:15:00 | 0 | 121 | 1.74 | 90.818 | 2.112 | 89.5 | 2.228 | 83.133 | -3.572 | 889.433 | 37.792 | 2.0088
2019-12-05 11:30:00 | 1.583 | 23.655 | 2.292 | 55.839 | 3.178 | 74.967 | 3.68 | 74.333 | -4.504 | 889.45 | 35.92 | 2.2902
2019-12-05 11:45:00 | 1.57 | 3.242 | 2.46 | 32.256 | 2.893 | 64.367 | 3.382 | 74.067 | -6.395 | 889.65 | 39.909 | 0.73899
2019-12-05 12:00:00 | 1.499 | 27.796 | 2.127 | 19.83 | 2.581 | 46.533 | 2.881 | 67.133 | -6.902 | 889.925 | 43.125 | 0.86831
2019-12-05 12:15:00 | 2.732 | 38.838 | 3.221 | 39.314 | 3.161 | 53.133 | 3.151 | 60.1 | -5.859 | 890.025 | 42.176 | 1.4879
2019-12-05 12:30:00 | 2.99 | 55.623 | 2.743 | 54.957 | 2.831 | 61.667 | 3.115 | 59.2 | -5.385 | 889.917 | 40.224 | 0.69849
2019-12-05 12:45:00 | 3.203 | 67.937 | 3.136 | 65.098 | 3.42 | 72.033 | 3.539 | 71.7 | -5.445 | 889.75 | 41.813 | 0.50308
2019-12-05 13:00:00 | 2.72 | 81.833 | 2.771 | 72.234 | 2.846 | 75.567 | 2.963 | 72.667 | -5.997 | 890.317 | 45.515 | 0.15419
2019-12-05 13:15:00 | 1.835 | 88.733 | 1.474 | 81.791 | 1.904 | 86.267 | 2.085 | 75.133 | -5.469 | 889.733 | 44.8 | 0.29702
2019-12-05 13:30:00 | 1.995 | 101.333 | 1.762 | 97.381 | 2.199 | 93.767 | 2.232 | 79.833 | -5.452 | 889.892 | 43.723 | 0.23733
2019-12-05 13:45:00 | 1.921 | 73.328 | 1.683 | 77.397 | 1.999 | 81.2 | 2.113 | 73.7 | -5.352 | 889.95 | 43.904 | 0.22951
2019-12-05 14:00:00 | 2.137 | 77.167 | 1.78 | 72.215 | 2.024 | 78.033 | 2.148 | 75.8 | -4.985 | 889.725 | 44.395 | 0.24444
2019-12-05 14:15:00 | 1.97 | 76.767 | 1.446 | 71.277 | 1.891 | 81.867 | 2.117 | 79.333 | -4.935 | 889.675 | 45.813 | 0.23449
2019-12-05 14:30:00 | 2.186 | 102.567 | 2.038 | 100.664 | 2.31 | 106.567 | 2.552 | 99.333 | -5.335 | 889.8 | 45.824 | 0.21885
2019-12-05 14:45:00 | 2.103 | 109.567 | 1.875 | 106.23 | 1.967 | 114.133 | 2.189 | 111.567 | -5.585 | 890.275 | 46.453 | 0.22454
2019-12-05 15:00:00 | 2.316 | 96.7 | 2.06 | 92.738 | 2.209 | 100.7 | 2.407 | 98.933 | -5.469 | 889.708 | 46.304 | 0.19185
2019-12-05 15:15:00 | 2.426 | 105.967 | 2.131 | 107.349 | 2.653 | 111.4 | 2.835 | 109.633 | -5.252 | 889.85 | 46.805 | 0.23733
2019-12-05 15:30:00 | 2.195 | 105.9 | 2.038 | 102.437 | 2.281 | 107.2 | 2.608 | 102.5 | -5.352 | 890.192 | 46.347 | 0.22951
2019-12-05 15:45:00 | 1.866 | 107.067 | 1.521 | 97.8 | 1.79 | 100.467 | 1.766 | 103.567 | -4.985 | 890.067 | 45.888 | 0.22738
2019-12-05 16:00:00 | 2.435 | 94.367 | 2.173 | 87.965 | 2.531 | 92.467 | 2.662 | 90.9 | -4.952 | 890.092 | 47.168 | 0.23307
2019-12-05 16:15:00 | 2.538 | 95.733 | 2.438 | 94.537 | 2.648 | 100.633 | 2.94 | 95.3 | -4.735 | 890.017 | 47.701 | 0.20962
2019-12-05 16:30:00 | 2.339 | 92.167 | 2.022 | 88.308 | 2.235 | 94.233 | 2.529 | 87.567 | -4.785 | 889.717 | 48.757 | 0.22596
2019-12-05 16:45:00 | 1.918 | 79.95 | 1.751 | 80.035 | 2.118 | 88.367 | 2.448 | 85.133 | -4.57 | 889.883 | 47.883 | 0.2217
2019-12-05 17:00:00 | 1.242 | 75.833 | 0.633 | 85.55 | 1.497 | 85.9 | 1.879 | 81.733 | -4.437 | 889.392 | 48.149 | 0.2217
2019-12-05 17:15:00 | 0 | 47.027 | 0 | 85.24 | 0 | 83 | 0.456 | 79.867 | -4.358 | 890.042 | 48.949 | 0.22312
2019-12-05 17:30:00 | 0 | 47.047 | 0 | 85.265 | 0 | 83.1 | 0 | 79.967 | -4.796 | 889.633 | 49.408 | 0.22738
2019-12-05 17:45:00 | 0.056 | 116.298 | 0 | 85.27 | 0 | 83.133 | 0.255 | 79.633 | -5.152 | 890.092 | 51.563 | 0.22028
2019-12-05 18:00:00 | 0.739 | 278.52 | 0 | 85.251 | 0 | 83.175 | 0.333 | 79.867 | -5.663 | 889.7 | 53.6 | 0.22596
2019-12-05 18:15:00 | 1.341 | 258.533 | 0 | 85.227 | 0 | 83.092 | 0 | 79.8 | -6.362 | 889.625 | 56.875 | 0.22738
2019-12-05 18:30:00 | 1.276 | 251.407 | 0 | 86.264 | 0 | 83.133 | 0.554 | 79.6 | -6.465 | 889.95 | 60.939 | 0.22312
2019-12-05 18:45:00 | 2.261 | 250.933 | 0 | 111.514 | 0 | 83 | 0 | 79.767 | -6.445 | 889.5 | 61.92 | 0.20535
2019-12-05 19:00:00 | 2.939 | 238.913 | 0.665 | 241.921 | 0.04 | 222.6 | 0 | 80 | -6.883 | 890.025 | 61.525 | 0.13714
2019-12-05 19:15:00 | 1.47 | 231.333 | 0 | 233.55 | 0 | 238.133 | 1.213 | 79.967 | -6.512 | 889.9 | 60.832 | 0.21743
2019-12-05 19:30:00 | 1.672 | 216.56 | 0 | 233.481 | 0.147 | 186.233 | 1.502 | 72 | -6.591 | 889.883 | 61.131 | 0.2288
2019-12-05 19:45:00 | 2.367 | 217.587 | 0 | 233.43 | 0 | 94 | 0.853 | 72 | -6.654 | 890.042 | 61.003 | 0.22596
2019-12-05 20:00:00 | 3.403 | 225.667 | 0.536 | 233.473 | 0 | 94 | 0 | 72 | -6.826 | 889.817 | 60.608 | 0.2217
2019-12-05 20:15:00 | 3.493 | 232.613 | 0.043 | 233.504 | 0 | 94 | 0 | 71.867 | -6.601 | 890.358 | 60.331 | 0.2288
2019-12-05 20:30:00 | 3.194 | 232.627 | 0 | 233.501 | 0 | 94 | 0 | 71.867 | -6.823 | 890.092 | 60.213 | 0.23022
2019-12-05 20:45:00 | 2.599 | 234.767 | 0 | 233.474 | 0 | 93.933 | 0.084 | 72 | -6.478 | 890.283 | 59.861 | 0.23022
2019-12-05 21:00:00 | 2.696 | 242.647 | 0 | 233.525 | 0 | 94.1 | 0 | 71.967 | -6.933 | 889.925 | 59.744 | 0.2288
2019-12-05 21:15:00 | 3.029 | 239.653 | 0.036 | 233.458 | 0 | 94.067 | 0 | 72 | -7.051 | 890.05 | 60.32 | 0.23164
2019-12-05 21:30:00 | 2.534 | 263.247 | 1.071 | 245.366 | 1.49 | 0 | 1.728 | 32.4 | -7.439 | 889.742 | 60.939 | 0.24301
2019-12-05 21:45:00 | 2.633 | 258 | 0.792 | 245.442 | 1.121 | 0 | 1.99 | 28.067 | -7.589 | 889.942 | 62.357 | 0.24159
2019-12-05 22:00:00 | 2.347 | 246.087 | 0 | 315.04 | 1.39 | 0 | 2.446 | 28.133 | -7.612 | 890 | 62.091 | 0.24301
2019-12-05 22:15:00 | 2.4 | 235.3 | 0 | 315.01 | 1.017 | 3.1 | 2.312 | 39.2 | -7.772 | 889.9 | 61.931 | 0.24444
2019-12-05 22:30:00 | 1.952 | 241.547 | 0.043 | 314.801 | 0.934 | 29 | 2.431 | 58.3 | -7.413 | 889.592 | 60.992 | 0.24017
2019-12-05 22:45:00 | 2.837 | 221.393 | 0 | 310.74 | 0 | 46.9 | 1.562 | 71.133 | -8.21 | 890.025 | 62.283 | 0.23307
2019-12-05 23:00:00 | 2.475 | 229.407 | 0 | 252.53 | 0 | 47 | 1.266 | 73 | -7.736 | 889.6 | 60.875 | 0.23022
2019-12-05 23:15:00 | 2.735 | 228.167 | 0.329 | 242.204 | 0 | 47 | 0.064 | 72.967 | -7.639 | 889.442 | 61.653 | 0.22454
2019-12-05 23:30:00 | 2.358 | 223.86 | 0.047 | 216.592 | 0 | 186.267 | 0.953 | 73 | -7.486 | 889.65 | 60.491 | 0.24017
2019-12-05 23:45:00 | 2.464 | 230 | 0 | 216.474 | 0 | 186.633 | 0.03 | 73 | -7.722 | 889.725 | 61.387 | 0.23449