## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-06 00:00:00 | 3.125 | 232.98 | 0.056 | 216.43 | 0 | 187.2 | 0 | 72.967 | -8.016 | 889.625 | 62.059 | 0.23164
2019-12-06 00:15:00 | 4.341 | 232.273 | 1.546 | 244.291 | 0.313 | 200.133 | 0 | 73 | -8.354 | 889.708 | 60.683 | 0.22738
2019-12-06 00:30:00 | 4.675 | 248.767 | 3.139 | 256.74 | 1.809 | 265.933 | 0.415 | 320.35 | -10.349 | 889.9 | 64.197 | 0.2288
2019-12-06 00:45:00 | 4.941 | 242.94 | 2.893 | 259.492 | 1.793 | 266.333 | 0.04 | 338 | -9.745 | 890.033 | 63.168 | 0.23875
2019-12-06 01:00:00 | 4.603 | 244.6 | 2.687 | 266.436 | 1.277 | 274.533 | 0.047 | 227.8 | -9.533 | 890.017 | 63.477 | 0.22738
2019-12-06 01:15:00 | 4.54 | 239.12 | 1.886 | 268.207 | 0.283 | 270.133 | 0.181 | 96.75 | -9.724 | 889.817 | 62.901 | 0.23875
2019-12-06 01:30:00 | 4.616 | 243.033 | 1.969 | 266.946 | 0 | 260 | 0.198 | 97.333 | -9.124 | 889.992 | 60.501 | 0.25296
2019-12-06 01:45:00 | 4.116 | 243.433 | 0.526 | 258.199 | 0.03 | 248.233 | 1.592 | 120.492 | -9.374 | 889.733 | 61.2 | 0.25794
2019-12-06 02:00:00 | 3.357 | 250.413 | 0 | 250.441 | 0.03 | 107 | 1.632 | 111.767 | -8.391 | 889.825 | 59.84 | 0.16983
2019-12-06 02:15:00 | 2.73 | 247.8 | 0 | 250.513 | 0.987 | 120.467 | 2.219 | 108.533 | -8.291 | 889.742 | 59.051 | 0.07532
2019-12-06 02:30:00 | 2.325 | 238.193 | 0 | 250.51 | 0.616 | 129.3 | 2.243 | 121.067 | -7.569 | 889.833 | 57.899 | 0.066083
2019-12-06 02:45:00 | 1.82 | 247.1 | 0 | 142.634 | 1.022 | 106.4 | 3.036 | 106.733 | -7.589 | 889.783 | 56.917 | 0.81786
2019-12-06 03:00:00 | 1.995 | 235.667 | 0 | 130.478 | 1.309 | 116 | 2.835 | 111.2 | -7.99 | 889.858 | 56.875 | 2.4131
2019-12-06 03:15:00 | 1.831 | 224.86 | 0.197 | 133.541 | 2.023 | 115.1 | 2.921 | 103.5 | -7.993 | 889.725 | 56.768 | 3.6658
2019-12-06 03:30:00 | 2.515 | 220.06 | 0.78 | 158.498 | 2.094 | 132.8 | 3.303 | 108.767 | -7.676 | 889.8 | 55.029 | 5.9652
2019-12-06 03:45:00 | 2.321 | 205.367 | 1.846 | 146.198 | 3.472 | 129.633 | 4.855 | 114.767 | -7.639 | 889.558 | 53.792 | 9.8072
2019-12-06 04:00:00 | 2.041 | 189.907 | 2.34 | 121.372 | 3.727 | 110.267 | 4.492 | 102 | -7.786 | 889.642 | 52.917 | 9.7539
2019-12-06 04:15:00 | 2.026 | 195.767 | 1.74 | 137.47 | 3.601 | 106.9 | 3.474 | 96.333 | -8.708 | 889.45 | 54.507 | 8.0301
2019-12-06 04:30:00 | 2.05 | 196.6 | 1.951 | 135.155 | 3.422 | 114.1 | 4.268 | 102.8 | -8.291 | 889.633 | 53.867 | 4.0588
2019-12-06 04:45:00 | 3.202 | 212.067 | 1.767 | 170.774 | 2.558 | 144.567 | 3.644 | 118.667 | -7.522 | 889.817 | 53.291 | 0.67646
2019-12-06 05:00:00 | 2.608 | 219.147 | 0.283 | 165.095 | 1.23 | 132.133 | 2.458 | 106.733 | -7.883 | 889.758 | 52.736 | 0.085979
2019-12-06 05:15:00 | 2.669 | 226.147 | 0.26 | 137.286 | 1.463 | 125.933 | 2.361 | 103.367 | -7.9 | 889.483 | 53.355 | 0.13927
2019-12-06 05:30:00 | 2.914 | 239.12 | 0 | 141.516 | 0 | 118 | 0.658 | 100 | -7.863 | 890.125 | 53.867 | 0.27428
2019-12-06 05:45:00 | 3.917 | 234.3 | 0 | 179.58 | 0 | 118.133 | 1.324 | 93.867 | -8.591 | 889.8 | 53.611 | 0.23946
2019-12-06 06:00:00 | 4.055 | 245.067 | 0 | 233.585 | 0 | 118 | 1.26 | 79.3 | -8.791 | 889.95 | 54.997 | 0.23164
2019-12-06 06:15:00 | 4.693 | 241.213 | 1.76 | 278.047 | 0 | 335.8 | 0.057 | 75.025 | -9.545 | 890.108 | 55.291 | 0.2288
2019-12-06 06:30:00 | 3.996 | 253.227 | 1.56 | 283.32 | 0.267 | 316.233 | 0 | 75 | -9.058 | 889.558 | 56.171 | 0.2288
2019-12-06 06:45:00 | 4.083 | 256.427 | 1.772 | 313.398 | 0.868 | 331.633 | 0.473 | 41.382 | -9.787 | 889.817 | 57.093 | 0.23022
2019-12-06 07:00:00 | 3.39 | 260.333 | 1.013 | 327.046 | 0.073 | 23.019 | 1.212 | 71.033 | -9.537 | 889.85 | 57.611 | 0.23164
2019-12-06 07:15:00 | 4.351 | 255.113 | 1.666 | 313.754 | 0.073 | 23.017 | 0.913 | 69 | -9.562 | 889.75 | 55.504 | 0.22454
2019-12-06 07:30:00 | 4.543 | 255.2 | 1.841 | 301.586 | 0 | 23.088 | 1.092 | 69 | -10.283 | 890.025 | 58.155 | 0.22454
2019-12-06 07:45:00 | 4.084 | 258.2 | 1.687 | 305.205 | 0.366 | 14.023 | 1.299 | 69.067 | -10.249 | 890.017 | 59.131 | 0.2217
2019-12-06 08:00:00 | 4.015 | 259.213 | 1.41 | 312.127 | 0 | 14.016 | 1.394 | 70.1 | -10.278 | 889.733 | 58.843 | 0.21104
2019-12-06 08:15:00 | 3.403 | 253.253 | 0.35 | 332.958 | 0.866 | 47.683 | 2.153 | 72.733 | -10.045 | 890.1 | 58.891 | 0.13785
2019-12-06 08:30:00 | 2.168 | 252.767 | 0 | 327.333 | 1.861 | 82.55 | 3.394 | 93.867 | -9.274 | 889.708 | 58.971 | 0.982
2019-12-06 08:45:00 | 2.825 | 243.567 | 0 | 87.944 | 0.812 | 115.3 | 3.372 | 113.5 | -8.691 | 889.875 | 57.525 | 1.414
2019-12-06 09:00:00 | 2.84 | 228.733 | 0 | 161.57 | 0 | 125 | 1.815 | 118.3 | -8.791 | 889.95 | 57.099 | 4.1504
2019-12-06 09:15:00 | 3.575 | 223.513 | 1.466 | 178.733 | 2.458 | 153.733 | 3.539 | 129.567 | -8.2 | 889.675 | 55.52 | 7.1817
2019-12-06 09:30:00 | 2.417 | 219.28 | 0.307 | 160.839 | 1.764 | 141.667 | 2.902 | 116.567 | -8.05 | 889.767 | 53.323 | 3.8015
2019-12-06 09:45:00 | 3.584 | 218.267 | 1.442 | 192.738 | 1.43 | 164.9 | 2.311 | 132.2 | -8.674 | 889.917 | 52.928 | 0.52866
2019-12-06 10:00:00 | 3.175 | 223.153 | 0.373 | 197.116 | 0.607 | 170.867 | 1.848 | 133.633 | -12.284 | 890.025 | 59.968 | 0.13856
2019-12-06 10:15:00 | 2.568 | 222.787 | 0.063 | 186.385 | 1.493 | 142.667 | 2.557 | 124.4 | -7.051 | 890.008 | 54.763 | 0.93511
2019-12-06 10:30:00 | 2.367 | 207.653 | 0.934 | 153.389 | 2.307 | 134.733 | 3.901 | 116.533 | -5.511 | 889.9 | 48.757 | 3.0945
2019-12-06 10:45:00 | 1.461 | 212.247 | 0.57 | 143.426 | 2.586 | 117.067 | 3.168 | 106.367 | -4.46 | 890.383 | 45.376 | 2.0244
2019-12-06 11:00:00 | 2.714 | 219.827 | 1.093 | 179.24 | 1.818 | 147.233 | 2.842 | 111.767 | -4.866 | 890.2 | 45.099 | 1.0509
2019-12-06 11:15:00 | 2.602 | 219.007 | 0.25 | 145.376 | 1.873 | 119.267 | 2.492 | 100.433 | -4.49 | 889.508 | 44.149 | 0.47253
2019-12-06 11:30:00 | 2.053 | 221.5 | 0.113 | 175.34 | 1.1 | 129.033 | 1.918 | 107.367 | -3.622 | 889.825 | 43.403 | 0.12364
2019-12-06 11:45:00 | 1.081 | 215.067 | 0.083 | 139.312 | 1.558 | 108.633 | 2.261 | 99.267 | -2.23 | 889.867 | 41.104 | 0.22312
2019-12-06 12:00:00 | 0 | 210.58 | 0.3 | 111.188 | 1.94 | 103.2 | 2.851 | 102.633 | 0.666 | 889.533 | 37.243 | 0.34605
2019-12-06 12:15:00 | 0 | 147.293 | 0.296 | 76.746 | 1.84 | 99.667 | 2.989 | 93.667 | 1.62 | 890 | 34.363 | 0.33112
2019-12-06 12:30:00 | 2.367 | 55.717 | 2.826 | 62.767 | 3.098 | 74.433 | 3.414 | 74.367 | -1.286 | 889.633 | 35.477 | 0.48887
2019-12-06 12:45:00 | 1.954 | 52.733 | 2.152 | 54.626 | 2.379 | 65.8 | 2.456 | 68.633 | -3.204 | 890.067 | 39.781 | 0.1684
2019-12-06 13:00:00 | 3.079 | 78.323 | 2.803 | 74.427 | 2.75 | 83.2 | 3.026 | 78.5 | -2.888 | 889.55 | 41.067 | 1.0836
2019-12-06 13:15:00 | 3.417 | 85.963 | 3.233 | 81.252 | 3.598 | 84 | 3.91 | 78.133 | -3.076 | 890.058 | 43.083 | 1.3799
2019-12-06 13:30:00 | 3.425 | 82.267 | 3.593 | 77.002 | 3.509 | 81.2 | 3.544 | 81.567 | -3.337 | 889.8 | 44.779 | 1.1142
2019-12-06 13:45:00 | 3.284 | 73.8 | 3.203 | 69.63 | 3.41 | 76.333 | 3.437 | 73.433 | -3.254 | 889.983 | 45.451 | 1.2591
2019-12-06 14:00:00 | 2.934 | 74.7 | 2.647 | 74.525 | 2.984 | 82.733 | 3.195 | 76.233 | -3.404 | 889.483 | 45.525 | 1.8027
2019-12-06 14:15:00 | 3.452 | 79.253 | 3.471 | 76.381 | 3.51 | 78.633 | 3.583 | 76.2 | -3.097 | 889.675 | 45.387 | 2.4408
2019-12-06 14:30:00 | 3.456 | 85.403 | 3.394 | 81.088 | 3.354 | 87.3 | 3.474 | 81.433 | -3.843 | 889.875 | 46.123 | 2.0017
2019-12-06 14:45:00 | 2.912 | 81.533 | 2.86 | 79.721 | 3.029 | 88.333 | 3.075 | 85.6 | -3.622 | 889.85 | 46.048 | 1.1966
2019-12-06 15:00:00 | 2.716 | 83.433 | 2.439 | 81.287 | 2.522 | 89.133 | 2.569 | 87.467 | -3.437 | 889.608 | 45.227 | 0.44482
2019-12-06 15:15:00 | 2.651 | 83.667 | 2.653 | 79.561 | 2.653 | 81.667 | 2.55 | 84.333 | -3.287 | 889.758 | 44.533 | 0.22809
2019-12-06 15:30:00 | 2.702 | 82.463 | 2.598 | 80.42 | 2.537 | 86.2 | 2.679 | 81 | -3.16 | 889.808 | 43.925 | 0.17551
2019-12-06 15:45:00 | 2.405 | 78.3 | 2.071 | 76.154 | 2.224 | 78.733 | 2.552 | 75.1 | -2.968 | 890.067 | 43.147 | 0.2622
2019-12-06 16:00:00 | 2.049 | 88.05 | 1.757 | 81.019 | 1.928 | 86.2 | 2.117 | 82.2 | -3.019 | 889.967 | 43.744 | 0.29986
2019-12-06 16:15:00 | 2.171 | 80.4 | 1.927 | 76.795 | 2.267 | 83.567 | 2.478 | 75.233 | -3.187 | 890.05 | 42.933 | 0.21672
2019-12-06 16:30:00 | 2.51 | 77.553 | 2.31 | 74.802 | 2.347 | 80.167 | 2.335 | 78.633 | -2.844 | 889.617 | 43.637 | 0.25438
2019-12-06 16:45:00 | 2.517 | 75.5 | 2.272 | 71.238 | 2.459 | 73.933 | 2.579 | 75.533 | -3.204 | 889.875 | 44.373 | 0.21388
2019-12-06 17:00:00 | 1.647 | 66.368 | 1.359 | 60.456 | 1.785 | 66.067 | 1.952 | 70.9 | -3.508 | 890.067 | 46.208 | 0.23093
2019-12-06 17:15:00 | 1.885 | 58 | 1.849 | 55.128 | 2.2 | 63 | 2.369 | 70.9 | -3.672 | 889.942 | 46.176 | 0.20322
2019-12-06 17:30:00 | 1.152 | 55 | 0.968 | 55.112 | 1.463 | 61 | 1.635 | 62.933 | -3.706 | 890.333 | 47.883 | 0.22525
2019-12-06 17:45:00 | 0.653 | 55.025 | 0.849 | 55.154 | 1.547 | 60.833 | 2.006 | 63 | -4.305 | 889.375 | 49.963 | 0.17267
2019-12-06 18:00:00 | 0 | 56.045 | 1.498 | 56.143 | 2.226 | 68 | 2.583 | 64.933 | -4.859 | 889.792 | 52.341 | 0.24444
2019-12-06 18:15:00 | 0 | 56.05 | 1.478 | 69.046 | 2 | 77.433 | 2.252 | 66.867 | -4.885 | 889.725 | 55.307 | 0.19541
2019-12-06 18:30:00 | 0.68 | 91.37 | 1.2 | 81.354 | 2.358 | 82.267 | 2.773 | 76.2 | -5.152 | 890.05 | 56.139 | 0.18901
2019-12-06 18:45:00 | 0.473 | 140.567 | 1.771 | 90.161 | 2.921 | 87.433 | 3.134 | 80 | -5.052 | 889.958 | 54.773 | 0.18901
2019-12-06 19:00:00 | 0.13 | 140.2 | 1.164 | 85.252 | 2.44 | 82 | 2.926 | 76.567 | -5.235 | 890.083 | 54.677 | 0.13145
2019-12-06 19:15:00 | 0.403 | 154.233 | 1.597 | 85.187 | 3.018 | 82 | 3.271 | 76 | -5.501 | 890.008 | 55.765 | 0.15206
2019-12-06 19:30:00 | 0 | 144.62 | 0.396 | 79.708 | 2.236 | 75.7 | 2.738 | 70.167 | -5.809 | 889.708 | 56.341 | 0.26717
2019-12-06 19:45:00 | 0 | 145.027 | 0.027 | 79.354 | 1.893 | 72.033 | 2.614 | 65.4 | -6.325 | 890.075 | 58.112 | 0.22454
2019-12-06 20:00:00 | 0 | 149.933 | 0 | 94.283 | 1.603 | 86.667 | 2.336 | 72 | -6.562 | 889.725 | 58.635 | 0.23733
2019-12-06 20:15:00 | 0 | 161.473 | 0 | 94.25 | 1.627 | 78 | 2.358 | 71 | -6.913 | 889.517 | 58.763 | 0.2487
2019-12-06 20:30:00 | 0.409 | 171.807 | 0 | 94.206 | 0.925 | 79 | 2.291 | 75 | -6.896 | 889.908 | 59.093 | 0.24017
2019-12-06 20:45:00 | 1.223 | 213.4 | 0 | 94.267 | 0.407 | 78.867 | 1.747 | 75 | -6.578 | 890.008 | 58.912 | 0.23449
2019-12-06 21:00:00 | 0.908 | 216.4 | 0 | 94.277 | 0.61 | 79 | 2.351 | 75 | -6.695 | 890.108 | 58.176 | 0.23591
2019-12-06 21:15:00 | 1.367 | 218.3 | 0 | 94.247 | 0.334 | 79.033 | 2.022 | 75 | -6.677 | 890.083 | 57.952 | 0.23449
2019-12-06 21:30:00 | 2.766 | 234.033 | 0 | 94.231 | 0 | 79.033 | 1.038 | 75 | -6.86 | 889.75 | 57.845 | 0.23307
2019-12-06 21:45:00 | 3.072 | 235.167 | 0.093 | 94.254 | 0 | 79 | 0.413 | 75 | -6.562 | 889.975 | 57.899 | 0.23449
2019-12-06 22:00:00 | 2.926 | 238.027 | 0.076 | 252.239 | 0 | 79 | 1.03 | 75 | -6.773 | 889.85 | 57.728 | 0.23449
2019-12-06 22:15:00 | 2.982 | 237.733 | 0.06 | 252.456 | 0 | 79.1 | 1.108 | 75.033 | -6.528 | 890.225 | 57.813 | 0.23449
2019-12-06 22:30:00 | 3.275 | 238.433 | 0.744 | 252.412 | 0 | 79 | 0.151 | 75 | -6.462 | 889.867 | 57.717 | 0.23449
2019-12-06 22:45:00 | 3.367 | 234.733 | 0.352 | 245.556 | 0 | 79 | 0 | 75 | -6.395 | 889.733 | 56.576 | 0.23449
2019-12-06 23:00:00 | 3.761 | 229.093 | 1.227 | 231.379 | 0.137 | 207 | 0 | 75 | -6.74 | 889.75 | 56.171 | 0.23449
2019-12-06 23:15:00 | 3.466 | 231 | 0.921 | 225.454 | 0.04 | 207 | 0 | 74.967 | -6.528 | 889.842 | 56.203 | 0.23449
2019-12-06 23:30:00 | 4.305 | 234.427 | 1.743 | 241.497 | 0.777 | 230.133 | 0 | 75.067 | -7.586 | 889.958 | 56.981 | 0.23449
2019-12-06 23:45:00 | 4.864 | 234.88 | 2.563 | 247.245 | 1.757 | 254 | 0.504 | 75.033 | -8.518 | 890.067 | 58.933 | 0.23022