## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-07 00:00:00 | 4.336 | 237.987 | 2.511 | 257.51 | 1.785 | 254.5 | 1.012 | 258 | -8.23 | 890 | 60.235 | 0.26575
2019-12-07 00:15:00 | 5.336 | 252.013 | 4.122 | 284.009 | 3.548 | 291.333 | 3.314 | 286.667 | -9.578 | 889.708 | 62.907 | 1.9249
2019-12-07 00:30:00 | 4.821 | 252.267 | 4.467 | 288.899 | 4.448 | 302.833 | 4.235 | 302.733 | -9.808 | 889.992 | 64.64 | 2.1736
2019-12-07 00:45:00 | 4.896 | 248.02 | 3.554 | 286.359 | 3.254 | 311.867 | 3.346 | 312.733 | -9.724 | 889.892 | 65.28 | 2.2781
2019-12-07 01:00:00 | 4.061 | 260.28 | 3.392 | 292.047 | 3.332 | 314 | 3.313 | 316.233 | -8.824 | 889.983 | 64.411 | 1.193
2019-12-07 01:15:00 | 4.96 | 249.207 | 3.646 | 279.067 | 3.464 | 307.6 | 3.452 | 312.833 | -9.099 | 889.433 | 63.925 | 1.996
2019-12-07 01:30:00 | 4.853 | 255.4 | 4.015 | 283.933 | 4.038 | 300.533 | 4.104 | 308 | -9.849 | 890.142 | 66.16 | 3.7696
2019-12-07 01:45:00 | 4.757 | 253.96 | 3.939 | 286.789 | 3.985 | 302.033 | 3.948 | 302 | -8.974 | 890.233 | 64.437 | 7.0069
2019-12-07 02:00:00 | 5.948 | 255.88 | 6.284 | 278.366 | 5.916 | 291.5 | 6.174 | 295.467 | -9.174 | 889.85 | 64.464 | 18.7561
2019-12-07 02:15:00 | 5.73 | 260.08 | 6.625 | 281.319 | 6.714 | 288.933 | 7.018 | 289.367 | -9.224 | 889.742 | 64.501 | 19.6372
2019-12-07 02:30:00 | 5.564 | 265.173 | 5.502 | 283.177 | 5.862 | 292.233 | 6.508 | 291.633 | -8.631 | 889.942 | 63.984 | 19.0574
2019-12-07 02:45:00 | 5.073 | 260.767 | 6.406 | 293.818 | 6.414 | 302.9 | 6.759 | 301.533 | -8.341 | 889.717 | 64.165 | 24.9317
2019-12-07 03:00:00 | 4.464 | 290.587 | 6.137 | 303.724 | 6.865 | 311.667 | 7.52 | 311.033 | -7.217 | 889.658 | 64.475 | 23.7095
2019-12-07 03:15:00 | 3.965 | 264.82 | 5.525 | 293.703 | 5.646 | 298.867 | 5.972 | 292.5 | -8.35 | 889.992 | 64.283 | 12.2345
2019-12-07 03:30:00 | 5.272 | 270.593 | 5.642 | 282.724 | 5.776 | 298.3 | 5.764 | 296.1 | -8.858 | 889.375 | 68.715 | 11.8608
2019-12-07 03:45:00 | 4.496 | 234.087 | 4.576 | 255.086 | 4.832 | 269.667 | 5.098 | 272.3 | -9.162 | 889.942 | 68.043 | 10.0588
2019-12-07 04:00:00 | 5.699 | 239.113 | 5.085 | 255.435 | 5.122 | 263.333 | 5.538 | 256.5 | -9.683 | 889.783 | 71.307 | 16.1533
2019-12-07 04:15:00 | 5.824 | 229.127 | 5.657 | 240.315 | 5.832 | 251.9 | 5.963 | 251.567 | -9.204 | 889.733 | 69.696 | 11.9283
2019-12-07 04:30:00 | 6.288 | 216.387 | 4.986 | 219.255 | 5.576 | 221.633 | 6.287 | 215.233 | -7.94 | 889.767 | 66.773 | 25.9065
2019-12-07 04:45:00 | 6.556 | 220.027 | 6.695 | 232.283 | 7.504 | 245.8 | 7.973 | 244.9 | -7.221 | 889.558 | 64.128 | 32.9682
2019-12-07 05:00:00 | 5.748 | 221.233 | 7.037 | 243.151 | 7.818 | 256.333 | 8.172 | 254.933 | -7.67 | 889.825 | 59.072 | 34.1747
2019-12-07 05:15:00 | 5.385 | 221.273 | 6.071 | 233.263 | 6.757 | 247.233 | 7.256 | 245.983 | -8.07 | 889.817 | 63.211 | 44.4779
2019-12-07 05:30:00 | 4.791 | 223.767 | 6.639 | 235.532 | 7.181 | 244.5 | 7.149 | 242.9 | -7.246 | 889.467 | 61.845 | 47.2484
2019-12-07 05:45:00 | 5.487 | 226.3 | 7.092 | 236.864 | 7.736 | 245.267 | 7.923 | 243.733 | -6.578 | 890.092 | 60.587 | 59.1824
2019-12-07 06:00:00 | 5.008 | 229.88 | 6.94 | 237.741 | 8.899 | 247.833 | 9.841 | 243.233 | -6.037 | 889.617 | 59.424 | 74.7871
2019-12-07 06:15:00 | 10.421 | 221.533 | 13.099 | 239.534 | 14.8 | 246.267 | 15.055 | 243.433 | -5.452 | 889.975 | 58.795 | 76.1457
2019-12-07 06:30:00 | 10.918 | 224.333 | 13.408 | 237.838 | 14.363 | 244.7 | 14.738 | 242.533 | -5.085 | 890.008 | 57.077 | 76.5586
2019-12-07 06:45:00 | 9.459 | 225.833 | 11.971 | 233.925 | 13.49 | 241.5 | 13.841 | 237.533 | -5.683 | 889.55 | 57.856 | 77.2357
2019-12-07 07:00:00 | 8.893 | 223.093 | 11.28 | 232.717 | 12.641 | 240.7 | 13.193 | 236.9 | -5.697 | 889.892 | 57.675 | 77.2621
2019-12-07 07:15:00 | 10.468 | 229.267 | 12.547 | 236.652 | 13.412 | 242.533 | 13.608 | 237.5 | -4.635 | 890.058 | 56.608 | 79.1152
2019-12-07 07:30:00 | 9.706 | 220.827 | 11.621 | 224.918 | 12.309 | 231.433 | 12.309 | 229.4 | -4.966 | 890.375 | 56.309 | 79.5124
2019-12-07 07:45:00 | 8.759 | 215.067 | 11.088 | 218.556 | 11.804 | 223.933 | 12.017 | 221.167 | -5.485 | 890.175 | 57.813 | 79.5124
2019-12-07 08:00:00 | 8.193 | 213.367 | 10.012 | 214.947 | 10.99 | 221.7 | 10.786 | 220.433 | -4.935 | 889.608 | 57.088 | 75.9688
2019-12-07 08:15:00 | 6.602 | 199.667 | 7.016 | 203.75 | 7.244 | 210.9 | 7.309 | 213.5 | -5.002 | 890.158 | 58.176 | 61.9913
2019-12-07 08:30:00 | 5.049 | 205.367 | 7.025 | 212.062 | 7.832 | 219.967 | 7.54 | 220.667 | -5.219 | 890.1 | 60.064 | 53.7203
2019-12-07 08:45:00 | 5.871 | 220.033 | 8.671 | 232.077 | 10.229 | 239.7 | 10.249 | 235.533 | -5.102 | 889.733 | 61.269 | 67.8478
2019-12-07 09:00:00 | 8.338 | 215.927 | 9.829 | 224.742 | 10.363 | 231.033 | 10.409 | 228.033 | -2.462 | 889.792 | 54.027 | 79.8307
2019-12-07 09:15:00 | 6.726 | 215.9 | 8.536 | 218.198 | 9.548 | 225.733 | 9.584 | 223.167 | -2.598 | 889.783 | 54.763 | 78.6192
2019-12-07 09:30:00 | 7.38 | 212.107 | 8.804 | 214.875 | 9.25 | 223.6 | 9.471 | 223.6 | -2.561 | 890.042 | 56.32 | 73.194
2019-12-07 09:45:00 | 7.264 | 219.08 | 9.026 | 229.359 | 9.932 | 238.7 | 9.776 | 236.033 | -2.821 | 889.867 | 57.845 | 60.9325
2019-12-07 10:00:00 | 6.946 | 217.653 | 8.406 | 227.366 | 9.172 | 235.867 | 9.454 | 233.9 | -2.131 | 890.033 | 57.301 | 56.2435
2019-12-07 10:15:00 | 5.043 | 225.92 | 6.696 | 229.711 | 7.571 | 239.633 | 7.615 | 239.733 | -2.048 | 889.717 | 56.373 | 44.2036
2019-12-07 10:30:00 | 6.443 | 222.007 | 7.732 | 229.251 | 7.87 | 236.933 | 7.54 | 234.4 | -2.114 | 889.808 | 54.859 | 40.2877
2019-12-07 10:45:00 | 6.029 | 235.387 | 7.503 | 244.054 | 8.511 | 249.333 | 8.685 | 244.383 | -1.286 | 889.9 | 53.643 | 44.5824
2019-12-07 11:00:00 | 8.83 | 229.473 | 10.365 | 238.228 | 10.973 | 245 | 10.967 | 240.567 | -0.212 | 889.792 | 51.904 | 76.9764
2019-12-07 11:15:00 | 10.012 | 230.907 | 10.784 | 238.008 | 11.291 | 242.567 | 11.219 | 238.1 | 0.05 | 889.408 | 51.157 | 78.5347
2019-12-07 11:30:00 | 7.619 | 244.28 | 8.501 | 250.121 | 8.772 | 254.4 | 8.926 | 250.283 | 0.549 | 890.217 | 53.856 | 60.0159
2019-12-07 11:45:00 | 4.073 | 266.613 | 4.806 | 262.185 | 5.154 | 266.6 | 5.312 | 261.617 | 0.798 | 890.092 | 55.845 | 25.1654
2019-12-07 12:00:00 | 4.886 | 252.927 | 5.817 | 258.836 | 6.481 | 264.167 | 6.827 | 258.683 | 0.15 | 889.492 | 59.925 | 24.1642
2019-12-07 12:15:00 | 4.179 | 251.327 | 4.681 | 262.323 | 5.374 | 265.517 | 5.77 | 261.033 | 1.015 | 889.942 | 58.891 | 28.0816
2019-12-07 12:30:00 | 6.934 | 252.58 | 8.289 | 260.18 | 8.646 | 262.9 | 8.478 | 257.233 | 0.598 | 889.817 | 62.283 | 51.6852
2019-12-07 12:45:00 | 9.38 | 250.947 | 10.61 | 257.199 | 11.227 | 259.15 | 11.534 | 253.85 | 0.532 | 889.892 | 64.581 | 76.3838
2019-12-07 13:00:00 | 11.469 | 241.98 | 12.861 | 251.874 | 13.48 | 255.483 | 13.476 | 250.85 | 0.918 | 889.892 | 63.632 | 79.0989
2019-12-07 13:15:00 | 11.533 | 237.2 | 12.666 | 247.199 | 13.416 | 250.8 | 13.353 | 245.233 | 1.523 | 889.717 | 61.131 | 79.199
2019-12-07 13:30:00 | 9.801 | 234.927 | 11.07 | 247.135 | 11.692 | 252.083 | 11.905 | 248.183 | 1.216 | 889.875 | 58.677 | 79.4527
2019-12-07 13:45:00 | 11.503 | 239.28 | 12.915 | 249.471 | 13.495 | 254.8 | 13.92 | 250.217 | 0.865 | 889.783 | 53.525 | 79.5295
2019-12-07 14:00:00 | 11.008 | 230.2 | 12.213 | 249.705 | 12.672 | 254.6 | 12.782 | 250.7 | 1.226 | 889.992 | 50.485 | 79.5124
2019-12-07 14:15:00 | 11.216 | 226.487 | 12.568 | 246.204 | 12.804 | 249.683 | 12.983 | 245.367 | 2.23 | 890.158 | 46.485 | 79.5224
2019-12-07 14:30:00 | 9.902 | 233.607 | 10.881 | 246.705 | 11.504 | 251.217 | 11.768 | 246.917 | 2.499 | 889.925 | 45.445 | 79.4932
2019-12-07 14:45:00 | 10.232 | 224.833 | 11.01 | 243.69 | 11.549 | 247.933 | 11.478 | 242.767 | 2.332 | 889.783 | 44.043 | 78.9908
2019-12-07 15:00:00 | 8.778 | 232.907 | 9.845 | 249.86 | 10.288 | 253.567 | 10.467 | 247.367 | 2.381 | 889.508 | 43.563 | 77.9335
2019-12-07 15:15:00 | 10.553 | 227.873 | 11.239 | 249.401 | 11.732 | 254.5 | 12.234 | 250.067 | 2.14 | 889.317 | 44.011 | 79.3007
2019-12-07 15:30:00 | 8.7 | 226.32 | 9.602 | 242.205 | 10.104 | 247.133 | 10.224 | 242.833 | 1.722 | 889.633 | 44.043 | 70.8812
2019-12-07 15:45:00 | 9.039 | 221.673 | 9.92 | 248.463 | 10.333 | 253.5 | 10.624 | 249 | 1.762 | 890.017 | 42.32 | 71.7999
2019-12-07 16:00:00 | 8.526 | 232.553 | 9.458 | 246.851 | 9.936 | 251.167 | 9.767 | 245.4 | 1.848 | 890.217 | 41.739 | 77.2557
2019-12-07 16:15:00 | 8.624 | 238.927 | 9.864 | 252.012 | 10.249 | 256.133 | 10.281 | 253.333 | 1.499 | 889.642 | 42.773 | 75.8025
2019-12-07 16:30:00 | 9.767 | 245.867 | 10.848 | 257.03 | 11.218 | 262.6 | 11.313 | 259.667 | 1.961 | 889.908 | 42.507 | 79.6474
2019-12-07 16:45:00 | 8.756 | 236.767 | 10.629 | 258.742 | 11.369 | 262.5 | 11.681 | 259.683 | 1.065 | 890.342 | 44.96 | 79.2076
2019-12-07 17:00:00 | 8.837 | 230.46 | 10.413 | 254.632 | 10.981 | 258.633 | 11.029 | 256.033 | 0.649 | 889.625 | 44.672 | 74.7935
2019-12-07 17:15:00 | 8.525 | 240.56 | 9.8 | 252.889 | 10.435 | 258.5 | 10.656 | 253.733 | 0.366 | 889.892 | 44.949 | 68.952
2019-12-07 17:30:00 | 7.687 | 236.153 | 9.024 | 254.025 | 9.33 | 260.433 | 9.604 | 256.75 | 0.598 | 890.475 | 45.547 | 62.1582
2019-12-07 17:45:00 | 6.592 | 233.2 | 7.585 | 241.981 | 8.168 | 248.233 | 8.279 | 246.033 | 0.043 | 889.95 | 47.819 | 61.7866
2019-12-07 18:00:00 | 6.332 | 221.133 | 7.656 | 248.515 | 8.094 | 253.667 | 8.248 | 250.667 | -0.658 | 889.533 | 48.859 | 61.2643
2019-12-07 18:15:00 | 7.163 | 223.66 | 8.472 | 244.065 | 8.879 | 249.967 | 8.816 | 247.35 | -1.236 | 890 | 50.421 | 66.5609
2019-12-07 18:30:00 | 7.391 | 226.773 | 8.416 | 245.911 | 9.165 | 251.833 | 9.444 | 248.65 | -1.526 | 890.142 | 51.253 | 77.25
2019-12-07 18:45:00 | 8.055 | 220.98 | 9.949 | 247.65 | 10.752 | 253.867 | 10.986 | 251.383 | -1.976 | 890.017 | 51.648 | 78.8402
2019-12-07 19:00:00 | 8.725 | 222.573 | 10.472 | 245.189 | 11.184 | 250.967 | 11.106 | 247.417 | -1.68 | 889.933 | 49.92 | 79.1927
2019-12-07 19:15:00 | 9.988 | 216.733 | 11.915 | 245.103 | 12.631 | 249.767 | 12.724 | 246.183 | -1.332 | 889.567 | 48.736 | 79.1927
2019-12-07 19:30:00 | 9.449 | 221.96 | 11.264 | 243.182 | 12.016 | 249.9 | 12.063 | 246.483 | -1.72 | 889.758 | 48.8 | 78.8928
2019-12-07 19:45:00 | 8.573 | 220.967 | 9.971 | 239.55 | 11.037 | 245.6 | 11.455 | 243.2 | -1.865 | 889.383 | 49.429 | 79.0378
2019-12-07 20:00:00 | 8.842 | 211.9 | 10.353 | 243.762 | 11.378 | 250.567 | 11.625 | 246.767 | -1.7 | 889.967 | 48.139 | 79.1074
2019-12-07 20:15:00 | 8.631 | 220.107 | 9.882 | 243.004 | 10.515 | 250.967 | 10.588 | 249.2 | -1.849 | 889.775 | 48.992 | 79.1543
2019-12-07 20:30:00 | 7.757 | 220.34 | 8.938 | 239.328 | 9.75 | 247.8 | 9.799 | 245.45 | -2.223 | 889.425 | 49.515 | 77.5598
2019-12-07 20:45:00 | 7.038 | 223.1 | 8.124 | 242.156 | 8.674 | 248.733 | 8.951 | 244.7 | -2.801 | 890.183 | 51.317 | 75.5268
2019-12-07 21:00:00 | 8.307 | 215.1 | 10.148 | 229.299 | 10.968 | 237.367 | 10.922 | 233 | -3.388 | 889.783 | 54.368 | 78.9582
2019-12-07 21:15:00 | 9.532 | 221.533 | 11.694 | 230.64 | 12.772 | 237.5 | 12.541 | 233.033 | -3.471 | 889.833 | 54.421 | 78.9923
2019-12-07 21:30:00 | 8.177 | 216.26 | 9.746 | 238.909 | 10.699 | 243.9 | 10.942 | 239.9 | -2.842 | 890.2 | 50.933 | 79.4698
2019-12-07 21:45:00 | 8.846 | 218.847 | 10.748 | 240.151 | 11.527 | 248.133 | 11.457 | 245.567 | -3.04 | 889.767 | 52.491 | 79.4698
2019-12-07 22:00:00 | 9.103 | 214.7 | 11.336 | 233.842 | 12.945 | 241.5 | 13.159 | 237.967 | -3.371 | 890.075 | 53.205 | 79.3781
2019-12-07 22:15:00 | 8.635 | 222.753 | 10.568 | 232.039 | 11.657 | 239.033 | 11.834 | 234.567 | -2.484 | 890.008 | 51.435 | 62.7636
2019-12-07 22:30:00 | 7.362 | 215.953 | 8.483 | 223.292 | 9.463 | 231.167 | 9.788 | 226.767 | -2.585 | 889.575 | 51.403 | 67.5145
2019-12-07 22:45:00 | 7.627 | 212.827 | 9.607 | 220.286 | 9.995 | 226.067 | 10.073 | 223.233 | -4.018 | 889.708 | 55.307 | 52.972
2019-12-07 23:00:00 | 5.486 | 219.827 | 7.448 | 223.597 | 7.765 | 228.8 | 7.804 | 225.167 | -3.869 | 890.042 | 55.04 | 41.0111
2019-12-07 23:15:00 | 6.888 | 218.227 | 7.784 | 225.289 | 8.024 | 231.633 | 8.114 | 228.2 | -4.384 | 889.833 | 57.344 | 48.5097
2019-12-07 23:30:00 | 6.279 | 214.133 | 8.08 | 226.556 | 8.457 | 233.833 | 8.605 | 230.633 | -4.969 | 889.683 | 59.136 | 67.4989
2019-12-07 23:45:00 | 6.642 | 210.9 | 9.713 | 215.146 | 10.724 | 220.8 | 9.839 | 217.2 | -5.485 | 890.117 | 60.587 | 79.5025