## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-08 00:00:00 | 7.319 | 217.047 | 9.54 | 220.963 | 10.407 | 225.133 | 10.336 | 221.433 | -4.443 | 889.792 | 59.424 | 79.3618
2019-12-08 00:15:00 | 7.813 | 220.24 | 9.85 | 227.511 | 10.835 | 233.933 | 11.055 | 229 | -4.127 | 889.592 | 57.909 | 79.3845
2019-12-08 00:30:00 | 9.602 | 219.633 | 11.904 | 228.719 | 12.901 | 234.267 | 12.894 | 230.967 | -3.689 | 889.767 | 56.875 | 79.3845
2019-12-08 00:45:00 | 9.495 | 217.1 | 11.517 | 223.56 | 12.788 | 232.767 | 13.01 | 229.867 | -3.371 | 889.608 | 56.427 | 79.3845
2019-12-08 01:00:00 | 9.813 | 214.8 | 12.677 | 223.84 | 14.027 | 229.967 | 13.847 | 227.167 | -3.655 | 889.9 | 57.131 | 79.3845
2019-12-08 01:15:00 | 9.06 | 221.167 | 11.393 | 225.309 | 13.057 | 229.867 | 13.551 | 227.033 | -3.723 | 889.975 | 58.592 | 79.3845
2019-12-08 01:30:00 | 8.612 | 219.78 | 11.125 | 225.642 | 12.67 | 231.033 | 12.513 | 228.333 | -3.19 | 890.05 | 58.155 | 79.2573
2019-12-08 01:45:00 | 7.957 | 211.707 | 10.147 | 214.581 | 10.591 | 223.133 | 10.268 | 221.267 | -3.213 | 889.983 | 58.432 | 77.1171
2019-12-08 02:00:00 | 7.828 | 218.333 | 8.975 | 222.466 | 9.26 | 229.3 | 9.214 | 226.567 | -3.237 | 889.958 | 58.816 | 65.8319
2019-12-08 02:15:00 | 5.709 | 213.2 | 7.293 | 218.951 | 7.714 | 229.767 | 7.827 | 230.6 | -3.722 | 889.95 | 60.16 | 57.7513
2019-12-08 02:30:00 | 5.042 | 213.833 | 7.085 | 221.103 | 7.932 | 231.133 | 8.183 | 231.033 | -3.874 | 889.942 | 60.107 | 54.8543
2019-12-08 02:45:00 | 6.172 | 212.753 | 7.476 | 220.944 | 8.069 | 233.4 | 8.165 | 231.2 | -4.133 | 889.442 | 60.949 | 57.1068
2019-12-08 03:00:00 | 6.539 | 214.453 | 7.178 | 221.822 | 7.5 | 233.6 | 7.555 | 233.667 | -4.348 | 890.158 | 60.405 | 58.3645
2019-12-08 03:15:00 | 6.797 | 224.733 | 8.595 | 225.063 | 8.514 | 233.367 | 8.337 | 231.1 | -4.172 | 889.625 | 60.501 | 41.9405
2019-12-08 03:30:00 | 5.272 | 229.167 | 7.6 | 237.244 | 8.586 | 244.867 | 8.802 | 241.333 | -3.874 | 889.992 | 59.083 | 46.2984
2019-12-08 03:45:00 | 5.91 | 215.067 | 8.244 | 230.419 | 8.955 | 239.133 | 8.853 | 235.7 | -3.89 | 890.117 | 58.752 | 67.727
2019-12-08 04:00:00 | 7.287 | 217.847 | 9.408 | 231.161 | 10.093 | 239.533 | 9.921 | 235.1 | -4.328 | 890.017 | 60.245 | 78.7372
2019-12-08 04:15:00 | 8.786 | 222.567 | 10.702 | 233.967 | 11.412 | 240.333 | 11.413 | 236.367 | -2.969 | 889.75 | 55.605 | 79.5849
2019-12-08 04:30:00 | 8.304 | 225 | 10.215 | 237.537 | 10.967 | 245.567 | 10.914 | 241.8 | -2.23 | 889.95 | 52.896 | 76.8769
2019-12-08 04:45:00 | 7.937 | 220.04 | 9.757 | 234.025 | 10.486 | 241.4 | 10.502 | 239.633 | -3.012 | 889.967 | 54.795 | 72.5446
2019-12-08 05:00:00 | 7.551 | 215.267 | 10.005 | 232.21 | 10.532 | 241.367 | 10.525 | 239.6 | -3.638 | 889.892 | 57.003 | 73.2601
2019-12-08 05:15:00 | 8 | 223.74 | 10.109 | 239.504 | 10.619 | 247.1 | 10.763 | 242.817 | -2.666 | 890.058 | 54.069 | 72.8189
2019-12-08 05:30:00 | 8.016 | 222.8 | 10.392 | 242.314 | 11.286 | 248.5 | 11.207 | 244.217 | -1.9 | 890.108 | 50.955 | 74.569
2019-12-08 05:45:00 | 8.763 | 227.967 | 10.72 | 242.154 | 11.532 | 249.433 | 11.583 | 247.333 | -1.839 | 889.992 | 51.413 | 78.6746
2019-12-08 06:00:00 | 8.804 | 219.713 | 10.833 | 241.186 | 11.331 | 250.433 | 11.644 | 247.967 | -1.66 | 890.233 | 51.339 | 78.9347
2019-12-08 06:15:00 | 9.597 | 220.833 | 11.368 | 239.517 | 12.155 | 247.767 | 12.326 | 245.15 | -2.23 | 890.317 | 51.851 | 78.9688
2019-12-08 06:30:00 | 10.704 | 225.167 | 12.148 | 237.081 | 12.721 | 245.133 | 12.728 | 241.8 | -2.021 | 889.808 | 52.075 | 78.9688
2019-12-08 06:45:00 | 9.478 | 221.093 | 11.356 | 243.231 | 11.853 | 250.167 | 11.909 | 246.35 | -2.024 | 890.083 | 51.808 | 79.0399
2019-12-08 07:00:00 | 9.092 | 228.053 | 10.649 | 236.029 | 11.251 | 242.167 | 11.106 | 238.133 | -2.39 | 890.133 | 52.288 | 78.696
2019-12-08 07:15:00 | 8.601 | 228.047 | 10.049 | 237.653 | 10.652 | 244.3 | 10.672 | 240.4 | -2.622 | 890.158 | 52.224 | 76.4762
2019-12-08 07:30:00 | 7.931 | 223.88 | 10.346 | 237.347 | 10.84 | 244.4 | 10.752 | 239.467 | -2.348 | 889.633 | 52.917 | 76.1195
2019-12-08 07:45:00 | 7.752 | 223.873 | 9.838 | 235.911 | 10.383 | 243.767 | 10.27 | 239.833 | -2.862 | 889.725 | 53.877 | 67.0143
2019-12-08 08:00:00 | 6.971 | 230.093 | 8.248 | 237.672 | 8.565 | 245.367 | 8.383 | 241.1 | -2.271 | 889.742 | 52.011 | 43.7787
2019-12-08 08:15:00 | 4.99 | 233.853 | 6.952 | 239.307 | 7.466 | 247.2 | 7.398 | 242.7 | -2.679 | 889.683 | 52.203 | 35.625
2019-12-08 08:30:00 | 5.03 | 220.873 | 6.273 | 234.505 | 7.583 | 247.433 | 7.588 | 244.533 | -4.026 | 889.883 | 56.619 | 33.9359
2019-12-08 08:45:00 | 6.023 | 215.967 | 6.868 | 227.275 | 7.242 | 241.033 | 7.224 | 240.967 | -4.919 | 890.225 | 59.872 | 47.1276
2019-12-08 09:00:00 | 6.83 | 214.2 | 9.14 | 221.815 | 8.86 | 230.333 | 8.421 | 229.8 | -5.169 | 890.225 | 60.821 | 53.8467
2019-12-08 09:15:00 | 7.103 | 219.2 | 9.071 | 226.693 | 9.055 | 232.933 | 8.715 | 230.167 | -4.553 | 889.892 | 58.912 | 59.0616
2019-12-08 09:30:00 | 7.31 | 225.367 | 9.203 | 235.118 | 9.137 | 242.233 | 8.7 | 239.167 | -3.922 | 889.608 | 56.693 | 61.8754
2019-12-08 09:45:00 | 7.926 | 219.293 | 8.929 | 230.386 | 8.814 | 238.133 | 8.601 | 236.8 | -2.541 | 889.617 | 52.053 | 48.3804
2019-12-08 10:00:00 | 6.048 | 217.587 | 7.863 | 224.388 | 7.826 | 231.633 | 7.521 | 229.7 | -2.814 | 889.825 | 52.565 | 39.4684
2019-12-08 10:15:00 | 5.753 | 216.293 | 7.436 | 222.338 | 7.422 | 227.833 | 7.17 | 226.033 | -2.353 | 889.692 | 52.341 | 36.9573
2019-12-08 10:30:00 | 5.634 | 220.62 | 7.474 | 226.93 | 7.518 | 233.567 | 7.281 | 230.333 | -1.379 | 889.775 | 51.125 | 24.5714
2019-12-08 10:45:00 | 4.321 | 231.607 | 5.839 | 234.278 | 6.24 | 239.8 | 5.836 | 234.767 | -0.07 | 889.658 | 48.587 | 24.2047
2019-12-08 11:00:00 | 4.474 | 232.533 | 5.602 | 232.664 | 5.955 | 236.9 | 5.806 | 230.933 | 1.499 | 889.65 | 44.149 | 20.4302
2019-12-08 11:15:00 | 4.339 | 234.387 | 4.437 | 235.836 | 4.491 | 241.767 | 4.386 | 239.867 | 1.992 | 889.7 | 42.283 | 10.9861
2019-12-08 11:30:00 | 4.027 | 235.393 | 4.348 | 238.937 | 4.136 | 248.767 | 3.769 | 248.233 | 2.79 | 889.892 | 40.864 | 6.2004
2019-12-08 11:45:00 | 3.785 | 237.467 | 3.296 | 246.052 | 3.142 | 257.4 | 3.133 | 256.85 | 3.187 | 889.767 | 40.107 | 3.7475
2019-12-08 12:00:00 | 2.418 | 278.72 | 2.148 | 277.014 | 2.198 | 279.767 | 2.436 | 280.8 | 2.54 | 889.867 | 36.829 | 0.91521
2019-12-08 12:15:00 | 0.12 | 278.293 | 0.063 | 249.018 | 1.19 | 266.8 | 2.296 | 273.467 | 4.375 | 889.6 | 35.523 | 2.0237
2019-12-08 12:30:00 | 2.109 | 246.853 | 2.084 | 254.37 | 2.456 | 264.4 | 3.099 | 263.717 | 7.206 | 889.45 | 30.075 | 10.7423
2019-12-08 12:45:00 | 4.642 | 254.473 | 5.247 | 263.67 | 5.28 | 271.9 | 5.664 | 274.2 | 4.06 | 889.733 | 36.765 | 20.1559
2019-12-08 13:00:00 | 4.585 | 266.407 | 4.961 | 275.422 | 5.855 | 281.8 | 6.275 | 282.3 | 4.218 | 889.533 | 37.707 | 15.3795
2019-12-08 13:15:00 | 3.138 | 268.88 | 3.325 | 274.858 | 3.837 | 283.933 | 4.434 | 285.133 | 4.142 | 889.575 | 40.171 | 6.5329
2019-12-08 13:30:00 | 3.113 | 257.413 | 3.346 | 256.309 | 3.598 | 261.45 | 3.82 | 256.783 | 5.455 | 889.683 | 37.765 | 8.163
2019-12-08 13:45:00 | 4.436 | 274.227 | 4.836 | 276.58 | 5.037 | 281.033 | 5.316 | 279.467 | 4.497 | 890.033 | 37.792 | 22.0084
2019-12-08 14:00:00 | 6.888 | 260.64 | 7.505 | 267.926 | 7.883 | 271.4 | 8.163 | 268.183 | 5.104 | 889.85 | 36.648 | 35.0835
2019-12-08 14:15:00 | 7.156 | 254.62 | 8.135 | 265.207 | 8.497 | 271.5 | 8.773 | 268.467 | 5.3 | 889.917 | 35.693 | 40.3069
2019-12-08 14:30:00 | 6.92 | 263.633 | 7.757 | 269.86 | 7.907 | 272.767 | 8.111 | 270.033 | 4.934 | 889.75 | 35.384 | 40.8498
2019-12-08 14:45:00 | 7.459 | 258.453 | 8.027 | 263.908 | 8.123 | 267.7 | 8.299 | 262.133 | 5.163 | 890.017 | 34.931 | 60.492
2019-12-08 15:00:00 | 8.532 | 244.167 | 9.175 | 256.471 | 9.503 | 261.533 | 9.299 | 255.95 | 5.547 | 889.917 | 33.451 | 64.4356
2019-12-08 15:15:00 | 9.11 | 248.793 | 9.96 | 257.011 | 10.271 | 261.183 | 9.939 | 255.383 | 5.69 | 889.967 | 32.643 | 66.9176
2019-12-08 15:30:00 | 8.231 | 246.66 | 8.48 | 256.194 | 8.787 | 261.7 | 8.785 | 256.05 | 5.695 | 889.7 | 31.773 | 59.6293
2019-12-08 15:45:00 | 8.657 | 255.207 | 9.48 | 264.853 | 9.732 | 269.833 | 9.545 | 263.95 | 5.904 | 889.85 | 30.928 | 57.9162
2019-12-08 16:00:00 | 7.84 | 252.92 | 8.495 | 263.117 | 8.666 | 267.3 | 8.799 | 264.233 | 5.921 | 889.683 | 30.544 | 42.0926
2019-12-08 16:15:00 | 7.4 | 260.18 | 7.933 | 268.119 | 8.189 | 270.833 | 8.327 | 266.5 | 6.041 | 889.883 | 30.651 | 44.1781
2019-12-08 16:30:00 | 8.005 | 258.587 | 8.882 | 272.476 | 9.005 | 279 | 8.956 | 275.567 | 6.024 | 889.783 | 28.987 | 40.39
2019-12-08 16:45:00 | 7.116 | 258.647 | 7.736 | 268.788 | 8.14 | 274.067 | 8.54 | 270.233 | 5.723 | 889.717 | 30.587 | 44.4232
2019-12-08 17:00:00 | 7.056 | 261.42 | 7.617 | 271.844 | 7.943 | 277.267 | 8.246 | 275.267 | 5.952 | 889.8 | 30.621 | 46.1186
2019-12-08 17:15:00 | 7.711 | 260.34 | 8.627 | 274.393 | 9.221 | 277.767 | 9.497 | 275.867 | 5.776 | 889.8 | 31.283 | 50.7451
2019-12-08 17:30:00 | 6.301 | 254.973 | 7.467 | 268.393 | 7.862 | 273.367 | 8.116 | 269.233 | 4.938 | 889.667 | 32.635 | 41.1695
2019-12-08 17:45:00 | 6.223 | 242.653 | 7.116 | 252.782 | 7.429 | 258.067 | 7.486 | 253.433 | 4.919 | 889.883 | 34.227 | 57.2646
2019-12-08 18:00:00 | 7.149 | 247.773 | 8.496 | 263.73 | 9.193 | 267.533 | 9.393 | 263.483 | 4.226 | 889.767 | 32.837 | 46.2742
2019-12-08 18:15:00 | 6.421 | 234.247 | 7.963 | 246.463 | 8.475 | 252.733 | 8.736 | 248 | 3.695 | 890.017 | 35.957 | 61.1293
2019-12-08 18:30:00 | 7.378 | 218.267 | 8.877 | 247.103 | 9.29 | 252.933 | 9.519 | 248.75 | 3.522 | 889.183 | 36.144 | 72.2312
2019-12-08 18:45:00 | 6.854 | 225.42 | 8.668 | 246.868 | 9.35 | 251.7 | 9.633 | 247.667 | 3.267 | 889.567 | 36.005 | 62.3636
2019-12-08 19:00:00 | 6.767 | 230.553 | 7.776 | 244.376 | 8.221 | 250.967 | 8.429 | 245.417 | 3.149 | 889.75 | 34.992 | 48.6155
2019-12-08 19:15:00 | 6.136 | 238.907 | 7.13 | 248.652 | 7.534 | 253.867 | 7.975 | 249.217 | 2.827 | 890.05 | 35.493 | 35.1773
2019-12-08 19:30:00 | 5.869 | 231 | 6.764 | 243.153 | 7.252 | 250.833 | 7.345 | 246.567 | 1.392 | 889.542 | 40.661 | 27.0911
2019-12-08 19:45:00 | 5.756 | 228.98 | 5.729 | 249.353 | 6.338 | 258.533 | 6.653 | 254.933 | 0.342 | 890.125 | 47.083 | 21.5963
2019-12-08 20:00:00 | 5.925 | 232.533 | 5.254 | 245.08 | 5.93 | 256.767 | 6.455 | 254.017 | -0.053 | 889.75 | 45.291 | 20.4146
2019-12-08 20:15:00 | 6.092 | 231.6 | 4.643 | 237.875 | 4.505 | 245.167 | 4.855 | 243.6 | 0.05 | 889.867 | 45.376 | 20.0046
2019-12-08 20:30:00 | 5.934 | 230.56 | 4.91 | 239.366 | 5.148 | 249.3 | 5.742 | 246.333 | -0.688 | 889.883 | 46.325 | 18.393
2019-12-08 20:45:00 | 6.087 | 224.307 | 4.507 | 233.396 | 4.424 | 239.367 | 4.362 | 234.9 | -0.432 | 889.758 | 45.323 | 18.7902
2019-12-08 21:00:00 | 5.396 | 229.22 | 4.181 | 236.35 | 3.517 | 251.433 | 3.73 | 256.333 | 0 | 889.992 | 43.605 | 12.6147
2019-12-08 21:15:00 | 5.306 | 217.82 | 3.176 | 230.058 | 3.145 | 260.133 | 3.93 | 267.267 | -0.595 | 890.033 | 45.643 | 7.3991
2019-12-08 21:30:00 | 4.904 | 213.427 | 3.887 | 213.472 | 3.166 | 227.967 | 3.286 | 243.567 | 0.865 | 889.95 | 39.317 | 6.3397
2019-12-08 21:45:00 | 4.905 | 217.307 | 4.467 | 217.881 | 4.198 | 226.6 | 4.122 | 227.4 | -0.912 | 889.733 | 44.992 | 6.3297
2019-12-08 22:00:00 | 5.329 | 216.28 | 4.58 | 219.224 | 4.264 | 228.6 | 4.253 | 234.1 | -1.169 | 889.65 | 46.037 | 4.9804
2019-12-08 22:15:00 | 2.884 | 270.367 | 3.606 | 241.143 | 4.358 | 234.75 | 4.031 | 239.033 | -3.404 | 889.767 | 51.669 | 3.3368
2019-12-08 22:30:00 | 3.485 | 220.167 | 3.818 | 227.59 | 3.528 | 243.867 | 3.382 | 250.2 | -3.271 | 890.075 | 53.12 | 4.2066
2019-12-08 22:45:00 | 5.262 | 224.167 | 3.388 | 245.556 | 3.431 | 266.833 | 4.156 | 276.233 | -3.471 | 890.058 | 53.109 | 6.3752
2019-12-08 23:00:00 | 5.251 | 223.52 | 4.265 | 243.582 | 4.233 | 270.8 | 4.435 | 278.367 | -2.074 | 889.717 | 47.056 | 10.6379
2019-12-08 23:15:00 | 4.769 | 244.76 | 4.82 | 275.065 | 5.015 | 297.733 | 5.297 | 293.5 | -1.789 | 890.242 | 45.419 | 12.5181
2019-12-08 23:30:00 | 5.175 | 241.78 | 5.096 | 274.399 | 4.978 | 291.567 | 4.754 | 284.633 | -3.992 | 889.85 | 51.269 | 12.641
2019-12-08 23:45:00 | 5.186 | 231.633 | 4.705 | 252.722 | 4.206 | 267.167 | 4.238 | 274.6 | -3.404 | 889.892 | 50.629 | 9.189