## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-09 00:00:00 | 5.148 | 232.56 | 4.258 | 246.333 | 3.491 | 262.267 | 3.559 | 264.033 | -3.06 | 889.95 | 49.088 | 7.5611
2019-12-09 00:15:00 | 4.979 | 231.72 | 3.427 | 241.284 | 3.344 | 244.733 | 3.267 | 244.033 | -4.067 | 889.508 | 51.765 | 9.5308
2019-12-09 00:30:00 | 5.212 | 229.92 | 3.8 | 260.928 | 3.694 | 269.867 | 3.74 | 273.567 | -4.348 | 889.908 | 53.056 | 10.2187
2019-12-09 00:45:00 | 5.122 | 223.633 | 4.908 | 251.135 | 4.696 | 257.6 | 4.88 | 256.767 | -5.219 | 889.45 | 55.856 | 12.3724
2019-12-09 01:00:00 | 4.669 | 229.633 | 5.077 | 246.141 | 5.069 | 253.367 | 5.174 | 250.3 | -4.387 | 890.025 | 53.088 | 9.6431
2019-12-09 01:15:00 | 5.047 | 219.1 | 4.334 | 237.888 | 4.82 | 247.533 | 5.11 | 244.367 | -3.521 | 889.8 | 49.621 | 8.9503
2019-12-09 01:30:00 | 4.031 | 235.053 | 4.439 | 245.746 | 4.302 | 253.233 | 4.483 | 251.033 | -3.351 | 889.833 | 48.736 | 9.3297
2019-12-09 01:45:00 | 4.955 | 223.847 | 4.095 | 234.85 | 3.948 | 243.5 | 3.895 | 239.167 | -2.72 | 889.792 | 45.76 | 14.7428
2019-12-09 02:00:00 | 4.09 | 228.76 | 4.392 | 240.142 | 4.551 | 249.9 | 4.706 | 247.967 | -3.093 | 889.833 | 46.411 | 19.1526
2019-12-09 02:15:00 | 5.003 | 221.567 | 5.723 | 245.015 | 6.164 | 252.2 | 6.585 | 248.083 | -4.305 | 890.083 | 50.539 | 34.2891
2019-12-09 02:30:00 | 1.94 | 250.653 | 5.804 | 249.513 | 8.048 | 252.833 | 8.781 | 250.4 | -4.583 | 889.942 | 51.851 | 47.6968
2019-12-09 02:45:00 | 3.269 | 224.927 | 7.377 | 243.218 | 9.896 | 251.567 | 10.293 | 248 | -5.316 | 889.45 | 54.475 | 47.4111
2019-12-09 03:00:00 | 2.938 | 235.233 | 6.655 | 247.163 | 8.79 | 256.233 | 9.119 | 253.833 | -3.505 | 889.658 | 49.109 | 52.6388
2019-12-09 03:15:00 | 6.087 | 274.207 | 7.149 | 269.122 | 8.067 | 265.233 | 8.726 | 258.65 | -3.468 | 890.025 | 50.203 | 48.1594
2019-12-09 03:30:00 | 6.607 | 257.167 | 8.595 | 263.715 | 8.936 | 268.1 | 9.143 | 262.467 | -4.029 | 889.8 | 50.219 | 61.4214
2019-12-09 03:45:00 | 7.698 | 235.12 | 7.957 | 254.917 | 7.91 | 261.4 | 8.113 | 258.45 | -2.984 | 889.8 | 46.32 | 66.5552
2019-12-09 04:00:00 | 7.366 | 248.573 | 7.829 | 256.599 | 7.921 | 260.733 | 8.065 | 256.35 | -2.346 | 890.117 | 45.376 | 73.8307
2019-12-09 04:15:00 | 6.221 | 248.533 | 8.871 | 253.871 | 9.024 | 259 | 8.856 | 255.767 | -3.126 | 889.783 | 47.163 | 71.0233
2019-12-09 04:30:00 | 5.904 | 240.733 | 8.445 | 252.32 | 8.285 | 259.3 | 8.092 | 256.667 | -3.287 | 889.783 | 47.552 | 56.2456
2019-12-09 04:45:00 | 7.029 | 238.86 | 7.261 | 253.74 | 7.699 | 262.6 | 8.116 | 258.983 | -2.639 | 889.883 | 46.597 | 51.2283
2019-12-09 05:00:00 | 7.009 | 233.42 | 7.748 | 250.829 | 7.796 | 257 | 7.905 | 255.817 | -2.315 | 890.367 | 46.325 | 49.3489
2019-12-09 05:15:00 | 3.348 | 268.673 | 6 | 255.541 | 6.632 | 263.033 | 6.654 | 261.8 | -2.696 | 889.825 | 46.72 | 31.7339
2019-12-09 05:30:00 | 1.821 | 281.107 | 3.783 | 262.723 | 5.337 | 263.267 | 5.63 | 261.4 | -3.25 | 889.425 | 49.221 | 28.2017
2019-12-09 05:45:00 | 2.053 | 252.167 | 3.729 | 253.286 | 5.023 | 264.433 | 5.65 | 266.733 | -3.19 | 889.95 | 48.405 | 32.3969
2019-12-09 06:00:00 | 3.307 | 231.933 | 5.388 | 243.153 | 5.904 | 255.3 | 6.35 | 255.667 | -3.455 | 890.067 | 49.536 | 54.4187
2019-12-09 06:15:00 | 6.345 | 228.407 | 6.87 | 241.586 | 7.183 | 251.033 | 7.206 | 250.133 | -3.13 | 889.883 | 47.957 | 63.3783
2019-12-09 06:30:00 | 6.95 | 225.5 | 7.475 | 238.57 | 7.965 | 248.6 | 8.248 | 247.75 | -3.171 | 889.842 | 47.669 | 70.41
2019-12-09 06:45:00 | 6.633 | 217.467 | 7.993 | 235.278 | 8.316 | 245.867 | 8.618 | 244 | -3.187 | 890.333 | 47.509 | 79.1834
2019-12-09 07:00:00 | 7.151 | 209.467 | 9.373 | 233.94 | 10.074 | 246.233 | 10.163 | 244.5 | -3.421 | 889.625 | 47.84 | 79.9174
2019-12-09 07:15:00 | 8.332 | 214.66 | 10.06 | 233.549 | 10.402 | 242.667 | 10.409 | 241.067 | -3.043 | 889.483 | 46.485 | 79.9174
2019-12-09 07:30:00 | 8.196 | 218.527 | 9.585 | 234.032 | 10.272 | 245.933 | 10.541 | 243.617 | -2.067 | 889.95 | 43.979 | 79.8393
2019-12-09 07:45:00 | 7.254 | 222.74 | 8.822 | 237.525 | 9.605 | 247.7 | 9.963 | 247 | -1.636 | 890.008 | 43.637 | 79.899
2019-12-09 08:00:00 | 7.999 | 223.42 | 8.989 | 236.587 | 9.67 | 247.8 | 9.956 | 246.417 | -1.686 | 889.908 | 43.829 | 79.8876
2019-12-09 08:15:00 | 8.038 | 218.767 | 9.192 | 236.422 | 9.719 | 245.8 | 9.93 | 243.167 | -1.446 | 889.717 | 44.224 | 79.3049
2019-12-09 08:30:00 | 8.17 | 219.067 | 9.826 | 234.174 | 10.394 | 242.667 | 10.247 | 241.233 | -1.446 | 889.933 | 42.923 | 79.5167
2019-12-09 08:45:00 | 8.474 | 221.033 | 10.121 | 234.715 | 10.579 | 242.567 | 10.706 | 241.133 | -1.028 | 890.275 | 41.104 | 79.6162
2019-12-09 09:00:00 | 8.481 | 219.693 | 10.605 | 235.878 | 11.237 | 241.933 | 11.251 | 238.367 | -0.752 | 889.75 | 39.824 | 79.5536
2019-12-09 09:15:00 | 8.209 | 216.493 | 10.162 | 236.079 | 10.949 | 243.5 | 11.106 | 239 | -0.955 | 889.617 | 39.355 | 79.214
2019-12-09 09:30:00 | 8.898 | 223.333 | 10.837 | 234.344 | 12.044 | 241.433 | 12.08 | 236.3 | -0.735 | 889.833 | 38.443 | 79.4001
2019-12-09 09:45:00 | 8.486 | 219.713 | 10.692 | 231.152 | 11.517 | 238.767 | 11.764 | 235.733 | 0.116 | 890.3 | 36.549 | 79.5124
2019-12-09 10:00:00 | 8.468 | 219.46 | 10.221 | 229.492 | 11.546 | 235.333 | 11.874 | 232.433 | 0.316 | 889.7 | 35.467 | 78.6135
2019-12-09 10:15:00 | 7.04 | 221.213 | 8.74 | 226.58 | 10.053 | 233.133 | 10.441 | 230.467 | 0.898 | 889.783 | 35.253 | 75.6221
2019-12-09 10:30:00 | 8.005 | 214.693 | 9.677 | 226.042 | 10.64 | 232.167 | 10.752 | 229 | 1.499 | 889.483 | 34.512 | 67.2011
2019-12-09 10:45:00 | 6.7 | 215.813 | 8.427 | 227.601 | 9.469 | 232.533 | 9.801 | 229.033 | 2.164 | 890.217 | 32.64 | 58.1812
2019-12-09 11:00:00 | 8.115 | 223.733 | 8.919 | 234.81 | 9.445 | 240.2 | 9.658 | 234.633 | 2.234 | 889.483 | 30.725 | 36.6652
2019-12-09 11:15:00 | 6.287 | 228.733 | 6.969 | 235.966 | 7.63 | 241 | 7.997 | 236.733 | 2.8 | 889.467 | 30.997 | 29.7592
2019-12-09 11:30:00 | 5.904 | 227.367 | 6.385 | 234.552 | 7.05 | 239.433 | 7.216 | 235.167 | 3.119 | 889.967 | 30.827 | 24.7021
2019-12-09 11:45:00 | 5.257 | 230.833 | 5.714 | 234.692 | 6.24 | 239.867 | 6.471 | 234.567 | 3.722 | 889.667 | 30.485 | 22.9115
2019-12-09 12:00:00 | 5.046 | 240.333 | 5.367 | 248.53 | 5.57 | 253.1 | 5.806 | 249.1 | 3.874 | 889.433 | 29.899 | 21.16
2019-12-09 12:15:00 | 6.117 | 260.04 | 6.788 | 266.47 | 6.991 | 269.133 | 7.128 | 264.283 | 4.067 | 889.867 | 28.243 | 22.5434
2019-12-09 12:30:00 | 6.683 | 259.073 | 7.022 | 263.681 | 7.372 | 268.433 | 7.309 | 262.05 | 4.448 | 889.85 | 26.565 | 26.7464
2019-12-09 12:45:00 | 5.878 | 264.687 | 6.401 | 265.388 | 6.558 | 269.333 | 6.604 | 265.067 | 4.819 | 889.65 | 25.984 | 26.7472
2019-12-09 13:00:00 | 6.194 | 279.987 | 6.519 | 283.059 | 6.658 | 286 | 6.893 | 283.633 | 4.819 | 889.833 | 26.715 | 32.5724
2019-12-09 13:15:00 | 7.193 | 281.9 | 7.587 | 288.936 | 7.684 | 292.833 | 7.653 | 289.767 | 4.647 | 889.517 | 27.389 | 28.1946
2019-12-09 13:30:00 | 7.014 | 258.367 | 7.531 | 272.54 | 7.826 | 277.767 | 7.856 | 272.033 | 4.676 | 889.983 | 27.267 | 25.024
2019-12-09 13:45:00 | 4.994 | 288.44 | 5.404 | 284.362 | 5.604 | 288.6 | 5.96 | 283.167 | 5.276 | 889.5 | 26.699 | 17.443
2019-12-09 14:00:00 | 5.421 | 264.473 | 5.799 | 267.596 | 5.976 | 270.967 | 6.112 | 268.117 | 5.124 | 889.867 | 26.261 | 19.9286
2019-12-09 14:15:00 | 6.125 | 291.347 | 6.491 | 296.936 | 6.516 | 299.033 | 6.842 | 297.933 | 5.64 | 889.667 | 26.069 | 19.3686
2019-12-09 14:30:00 | 4.535 | 313.08 | 4.667 | 308.686 | 4.898 | 315.7 | 5.259 | 311.5 | 4.788 | 889.733 | 26.328 | 16.5235
2019-12-09 14:45:00 | 5.47 | 306.627 | 5.863 | 303.752 | 6.081 | 307.833 | 6.454 | 305.233 | 5.14 | 889.567 | 26.291 | 19.3573
2019-12-09 15:00:00 | 6.046 | 316.36 | 6.358 | 309.475 | 6.759 | 312.4 | 7.033 | 308.233 | 5.14 | 889.817 | 27.365 | 23.8225
2019-12-09 15:15:00 | 6.643 | 279.213 | 7.014 | 283.914 | 7.298 | 286.367 | 7.652 | 282.433 | 5.67 | 889.75 | 28.528 | 32.4907
2019-12-09 15:30:00 | 7.576 | 289.36 | 8.288 | 289.809 | 8.532 | 292.867 | 8.784 | 290.733 | 5.67 | 889.85 | 28.803 | 33.7896
2019-12-09 15:45:00 | 7.036 | 297.587 | 7.493 | 295.653 | 7.416 | 298.067 | 7.455 | 294.233 | 5.726 | 889.467 | 28.36 | 33.3824
2019-12-09 16:00:00 | 6.598 | 272.7 | 6.801 | 277.86 | 7.058 | 283.033 | 7.3 | 280.9 | 5.528 | 889.683 | 28.115 | 31.1228
2019-12-09 16:15:00 | 7.511 | 263.787 | 7.944 | 276.959 | 7.891 | 280.467 | 8.248 | 278.9 | 5.24 | 889.9 | 29.171 | 32.485
2019-12-09 16:30:00 | 6.459 | 284.74 | 6.922 | 287.067 | 7.203 | 291.4 | 7.652 | 289.733 | 5.458 | 889.767 | 29.096 | 24.2836
2019-12-09 16:45:00 | 6.142 | 289.673 | 6.503 | 288.877 | 6.777 | 294.033 | 7.08 | 291.433 | 5.114 | 889.567 | 29.048 | 19.5754
2019-12-09 17:00:00 | 6.027 | 276.487 | 6.487 | 280.514 | 6.633 | 283.1 | 6.808 | 281.667 | 4.828 | 889.583 | 28.843 | 14.9446
2019-12-09 17:15:00 | 4.653 | 279.94 | 5.354 | 280.966 | 5.816 | 284.433 | 6.199 | 282.4 | 5.239 | 889.667 | 29.296 | 11.5687
2019-12-09 17:30:00 | 3.714 | 282.96 | 4.298 | 282.538 | 4.564 | 285.733 | 4.922 | 282.9 | 4.759 | 890.15 | 29.691 | 7.4354
2019-12-09 17:45:00 | 3.406 | 276.573 | 4.078 | 278.22 | 4.364 | 282.833 | 4.612 | 279.6 | 4.265 | 889.4 | 30.728 | 6.2302
2019-12-09 18:00:00 | 3.104 | 268.2 | 3.451 | 270.448 | 3.621 | 276.2 | 3.904 | 270.733 | 3.788 | 889.583 | 31.76 | 7.4958
2019-12-09 18:15:00 | 2.723 | 258.767 | 2.983 | 267.798 | 3.336 | 273.167 | 3.869 | 271.3 | 3.354 | 889.567 | 33.144 | 6.9657
2019-12-09 18:30:00 | 3.565 | 267.28 | 3.691 | 271.255 | 4.128 | 274.6 | 4.448 | 270.667 | 2.962 | 890 | 34.043 | 6.6474
2019-12-09 18:45:00 | 3.911 | 263.153 | 3.578 | 273.156 | 3.991 | 275.6 | 4.417 | 270 | 2.729 | 889.85 | 33.941 | 3.4804
2019-12-09 19:00:00 | 3.552 | 250.307 | 3.196 | 266.826 | 3.682 | 271.967 | 4.159 | 268.367 | 2.425 | 889.633 | 35.181 | 3.1471
2019-12-09 19:15:00 | 5.298 | 226.24 | 4.325 | 233.738 | 4.074 | 250.2 | 3.985 | 260.633 | 0.183 | 889.933 | 43.125 | 3.8044
2019-12-09 19:30:00 | 4.471 | 234.833 | 4.183 | 238.879 | 3.956 | 246.133 | 3.767 | 247 | 0.116 | 889.55 | 41.675 | 2.8288
2019-12-09 19:45:00 | 4.27 | 224.867 | 4.629 | 244.78 | 3.934 | 254.367 | 3.75 | 247.4 | -0.302 | 890.192 | 44.107 | 3.5351
2019-12-09 20:00:00 | 5.721 | 215.98 | 4.355 | 232.41 | 4.138 | 240.333 | 4.308 | 237.033 | -1.66 | 889.617 | 50.059 | 4.1518
2019-12-09 20:15:00 | 5.551 | 219.713 | 5.188 | 229.444 | 4.874 | 237.633 | 4.442 | 232.633 | -2.164 | 889.858 | 49.739 | 6.0626
2019-12-09 20:30:00 | 5.81 | 216.74 | 6.004 | 226.704 | 5.475 | 235.367 | 4.91 | 233.4 | -2.114 | 890.233 | 49.28 | 6.5614
2019-12-09 20:45:00 | 5.671 | 215.687 | 5.869 | 229.363 | 5.242 | 241.333 | 4.676 | 240.267 | -2.398 | 890.05 | 49.451 | 6.4576
2019-12-09 21:00:00 | 6.061 | 213.86 | 5.707 | 227.28 | 5.022 | 238.267 | 4.511 | 237.6 | -2.74 | 889.933 | 49.813 | 4.0524
2019-12-09 21:15:00 | 5.904 | 216.233 | 5.579 | 232.047 | 4.824 | 244.333 | 4.2 | 246.267 | -2.984 | 890.067 | 50.165 | 4.662
2019-12-09 21:30:00 | 6.196 | 214.227 | 5.981 | 223.477 | 4.844 | 235.567 | 4.16 | 237.333 | -2.942 | 890.175 | 50.272 | 6.5003
2019-12-09 21:45:00 | 6.37 | 214.167 | 6.241 | 213.132 | 5.44 | 221.1 | 4.472 | 223.033 | -3.187 | 890.208 | 49.867 | 5.3442
2019-12-09 22:00:00 | 6.3 | 215.8 | 5.771 | 213.456 | 5.323 | 216.767 | 5.074 | 214.8 | -2.801 | 889.675 | 49.12 | 3.7646
2019-12-09 22:15:00 | 5.648 | 213.56 | 4.761 | 208.821 | 4.468 | 211.833 | 4.352 | 206.067 | -3.043 | 889.667 | 49.685 | 1.7835
2019-12-09 22:30:00 | 6.131 | 213.933 | 4.22 | 212.556 | 3.597 | 212.033 | 3.82 | 206.333 | -3.588 | 889.867 | 50.315 | 1.3607
2019-12-09 22:45:00 | 6.478 | 212.933 | 6.28 | 218.91 | 5.17 | 222.033 | 4.49 | 216.367 | -3.287 | 889.7 | 48.789 | 3.2835
2019-12-09 23:00:00 | 5.152 | 215.2 | 5.952 | 218.687 | 4.544 | 229.467 | 3.684 | 227.233 | -3.237 | 889.642 | 49.408 | 1.4346
2019-12-09 23:15:00 | 5.11 | 219.8 | 5.876 | 217.078 | 4.536 | 220.233 | 3.654 | 221.233 | -3.187 | 889.758 | 50.197 | 0.73117
2019-12-09 23:30:00 | 5.972 | 217.533 | 5.711 | 223.675 | 5.218 | 226 | 4.352 | 221.133 | -3.538 | 889.883 | 51.019 | 1.6791
2019-12-09 23:45:00 | 5.903 | 221.3 | 5.109 | 224.809 | 4.392 | 227.933 | 3.702 | 221.433 | -3.907 | 889.892 | 50.656 | 0.67433