## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-10 00:00:00 | 3.178 | 181.373 | 3.244 | 202.787 | 3.933 | 222.233 | 3.75 | 220.367 | -4.225 | 890.225 | 50.965 | 0.43984
2019-12-10 00:15:00 | 1.406 | 119.4 | 0.765 | 111.731 | 0.353 | 123.733 | 0.501 | 195.633 | -3.655 | 890.042 | 50.667 | 1.0388
2019-12-10 00:30:00 | 2.065 | 181.68 | 0.353 | 144.546 | 0 | 123 | 1.159 | 144 | -2.72 | 889.858 | 47.787 | 0.58835
2019-12-10 00:45:00 | 2.844 | 191.933 | 1.47 | 170.926 | 0.757 | 153.933 | 1.001 | 144 | -2.7 | 889.817 | 44.341 | 0.20464
2019-12-10 01:00:00 | 2.708 | 223.447 | 1.513 | 212.096 | 0.203 | 233 | 0 | 144 | -2.536 | 889.542 | 42.635 | 0.42989
2019-12-10 01:15:00 | 3.391 | 203.193 | 1.718 | 202.584 | 0.093 | 213.167 | 0 | 145 | -1.885 | 889.8 | 41.013 | 1.1632
2019-12-10 01:30:00 | 3.725 | 190.74 | 2.753 | 162.419 | 2.656 | 148.833 | 2.879 | 145 | -1.836 | 889.883 | 42.336 | 0.78802
2019-12-10 01:45:00 | 4.869 | 206.033 | 3.318 | 184.293 | 3.031 | 170.067 | 2.886 | 161.967 | -2.851 | 889.867 | 43.712 | 1.2883
2019-12-10 02:00:00 | 4.446 | 205.96 | 3.6 | 171.56 | 2.416 | 163.133 | 2.532 | 154.1 | -4.434 | 890.042 | 46.976 | 4.0417
2019-12-10 02:15:00 | 5.202 | 194.98 | 3.742 | 168.357 | 3.067 | 160.6 | 3.314 | 151.167 | -4.46 | 889.825 | 48.192 | 3.0796
2019-12-10 02:30:00 | 3.86 | 195.773 | 2.475 | 152.934 | 2.192 | 139.767 | 2.304 | 127.667 | -4.44 | 889.75 | 47.893 | 3.1599
2019-12-10 02:45:00 | 4.401 | 212.74 | 3.933 | 194.22 | 2.674 | 172.067 | 2.478 | 142.533 | -6.515 | 889.742 | 54.112 | 4.6798
2019-12-10 03:00:00 | 4.446 | 195.933 | 2.565 | 162.113 | 2.285 | 159.167 | 2.85 | 145.633 | -5.235 | 889.867 | 51.541 | 4.5995
2019-12-10 03:15:00 | 4.467 | 224.873 | 2.894 | 198.308 | 1.104 | 167.5 | 1.367 | 140 | -5.472 | 889.933 | 51.371 | 1.2748
2019-12-10 03:30:00 | 4.925 | 222.9 | 3.988 | 212.982 | 4.235 | 207.7 | 3.473 | 189.967 | -4.703 | 889.883 | 48.267 | 1.4439
2019-12-10 03:45:00 | 5.556 | 213.827 | 4.005 | 217.206 | 3.447 | 201.533 | 4.213 | 186.733 | -6.16 | 890.333 | 53.024 | 3.1649
2019-12-10 04:00:00 | 5.416 | 215.22 | 5.077 | 214.721 | 4.256 | 217.733 | 4.634 | 202.1 | -4.614 | 889.933 | 53.045 | 1.6876
2019-12-10 04:15:00 | 4.951 | 214.72 | 4.393 | 218.243 | 4.203 | 224.4 | 3.993 | 213.067 | -4.099 | 889.825 | 47.456 | 0.21672
2019-12-10 04:30:00 | 5.479 | 211.633 | 4.419 | 206.291 | 4.598 | 212.733 | 3.894 | 212.567 | -5.002 | 889.65 | 49.259 | 0.21246
2019-12-10 04:45:00 | 4.966 | 209.6 | 3.736 | 205.519 | 4.05 | 213.5 | 4.062 | 209.367 | -4.503 | 889.942 | 47.755 | 0.54998
2019-12-10 05:00:00 | 5.627 | 217.893 | 3.995 | 212.494 | 4.606 | 219 | 5.003 | 214.067 | -3.919 | 889.992 | 46.155 | 0.49242
2019-12-10 05:15:00 | 5.448 | 214.3 | 4.805 | 216.094 | 4.374 | 217.7 | 4.185 | 212.067 | -6.528 | 889.775 | 54.411 | 0.82497
2019-12-10 05:30:00 | 5.211 | 215.06 | 4.293 | 225.873 | 3.547 | 229.033 | 3.32 | 221.8 | -7.17 | 890.258 | 56.619 | 0.4036
2019-12-10 05:45:00 | 5.638 | 216.38 | 4.035 | 223.864 | 3.146 | 234 | 2.948 | 231 | -7.197 | 889.858 | 57.888 | 0.30696
2019-12-10 06:00:00 | 6.181 | 219.753 | 4.412 | 223.952 | 3.705 | 234 | 3.184 | 228.933 | -7.051 | 889.792 | 56.725 | 0.545
2019-12-10 06:15:00 | 6.558 | 220.667 | 4.422 | 225.513 | 3.64 | 238 | 3.238 | 227.9 | -7.556 | 889.442 | 57.707 | 0.13074
2019-12-10 06:30:00 | 6.204 | 223.533 | 4.386 | 223.446 | 3.699 | 231.4 | 3.32 | 230.1 | -7.706 | 890.092 | 57.877 | 0.27357
2019-12-10 06:45:00 | 5.86 | 223.633 | 3.964 | 228.267 | 3.79 | 235.667 | 3.469 | 227 | -7.572 | 890 | 57.781 | 0.48247
2019-12-10 07:00:00 | 5.082 | 216.287 | 3.905 | 231.171 | 3.365 | 238 | 3.26 | 231.733 | -8.03 | 890.25 | 60.245 | 0.80152
2019-12-10 07:15:00 | 4.827 | 212.18 | 4.93 | 222.454 | 4.239 | 230.7 | 3.779 | 229.033 | -7.883 | 889.65 | 59.733 | 0.43487
2019-12-10 07:30:00 | 4.606 | 218.12 | 4.064 | 219.273 | 4.352 | 227.233 | 4.148 | 226.867 | -6.406 | 889.875 | 56.917 | 0.084557
2019-12-10 07:45:00 | 4.874 | 221.8 | 3.111 | 222.526 | 2.942 | 226.567 | 2.955 | 218.2 | -5.302 | 889.9 | 50.667 | 0.10658
2019-12-10 08:00:00 | 5.97 | 223.407 | 3.84 | 231.051 | 3.372 | 241 | 3.327 | 234.333 | -7.769 | 890.083 | 55.733 | 0.13785
2019-12-10 08:15:00 | 6.342 | 221.52 | 3.703 | 230.904 | 2.901 | 241.1 | 2.854 | 234.967 | -8.13 | 889.917 | 57.824 | 0.15135
2019-12-10 08:30:00 | 6.721 | 218.567 | 4.168 | 232.8 | 3.257 | 245.4 | 2.993 | 238 | -7.99 | 890.425 | 58.229 | 0.18546
2019-12-10 08:45:00 | 6.263 | 217.413 | 4.489 | 228.254 | 3.597 | 239 | 3.092 | 241.633 | -8.25 | 889.925 | 57.717 | 0.27499
2019-12-10 09:00:00 | 7.075 | 216.733 | 4.724 | 222.773 | 3.542 | 233.8 | 2.601 | 237.267 | -7.722 | 889.717 | 55.765 | 0.92516
2019-12-10 09:15:00 | 6.951 | 215.5 | 4.824 | 225.969 | 3.746 | 234.9 | 3.081 | 234.8 | -7.722 | 890.083 | 55.029 | 1.171
2019-12-10 09:30:00 | 6.282 | 221.2 | 3.73 | 234.964 | 2.896 | 246.233 | 2.744 | 238 | -7.356 | 889.908 | 53.931 | 0.4775
2019-12-10 09:45:00 | 4.922 | 227.447 | 4.595 | 234.229 | 3.881 | 253.4 | 3.379 | 254.2 | -7.131 | 889.825 | 54.603 | 0.096637
2019-12-10 10:00:00 | 4.945 | 224.133 | 3.373 | 251.066 | 2.434 | 273.267 | 2.223 | 269.367 | -6.378 | 889.8 | 54.037 | 0.19825
2019-12-10 10:15:00 | 4.799 | 221.32 | 3.677 | 250.688 | 2.484 | 273.2 | 2.252 | 288.633 | -5.809 | 889.85 | 51.36 | 0.12293
2019-12-10 10:30:00 | 3.823 | 226.793 | 3.098 | 258.684 | 2.428 | 280.6 | 2.646 | 293.167 | -4.516 | 889.5 | 48.891 | 0.23449
2019-12-10 10:45:00 | 2.846 | 241.487 | 2.473 | 276.675 | 2.621 | 286.8 | 2.861 | 289.933 | -2.797 | 889.708 | 46.368 | 0.13714
2019-12-10 11:00:00 | 2.067 | 248.833 | 2.793 | 260.657 | 2.636 | 273 | 3.003 | 267.967 | -0.865 | 890.175 | 43.093 | 0.18333
2019-12-10 11:15:00 | 2.271 | 275.867 | 2.754 | 282.112 | 2.71 | 278.733 | 3.179 | 269.1 | -0.292 | 889.9 | 42.021 | 0.23804
2019-12-10 11:30:00 | 2.297 | 289.187 | 2.153 | 286.907 | 2.421 | 291.233 | 2.85 | 280.333 | -1.099 | 889.867 | 40.877 | 0.23378
2019-12-10 11:45:00 | 2.463 | 276.127 | 2.069 | 271.254 | 2.34 | 271.633 | 2.34 | 261.317 | -0.895 | 889.9 | 39.723 | 0.21957
2019-12-10 12:00:00 | 1.57 | 288.3 | 1.01 | 275.072 | 0.952 | 266.467 | 1.834 | 252.183 | 0.532 | 889.9 | 37.717 | 0.21743
2019-12-10 12:15:00 | 1.517 | 295.267 | 0.819 | 293.867 | 1.112 | 286.067 | 1.672 | 279.167 | 0.782 | 889.583 | 35.664 | 0.22312
2019-12-10 12:30:00 | 0.469 | 286.72 | 0.236 | 286.26 | 0.136 | 280.933 | 0.643 | 267.833 | 1.733 | 889.6 | 34.224 | 0.21885
2019-12-10 12:45:00 | 0.526 | 330.12 | 0.15 | 306.514 | 0.067 | 318.533 | 0.93 | 282 | 2.18 | 889.817 | 33.093 | 0.22312
2019-12-10 13:00:00 | 1.119 | 128.539 | 0.677 | 281.239 | 0.803 | 302.433 | 1.35 | 352.133 | 2.479 | 889.75 | 32.363 | 0.21033
2019-12-10 13:15:00 | 1.76 | 76.39 | 1.297 | 109.488 | 1.28 | 186.067 | 1.8 | 316.767 | 2.557 | 889.8 | 32.749 | 0.16343
2019-12-10 13:30:00 | 1.486 | 9.967 | 1 | 166.428 | 1.569 | 77.067 | 1.834 | 62.37 | 2.517 | 889.633 | 32.709 | 0.2487
2019-12-10 13:45:00 | 2.487 | 20.86 | 2.236 | 24.412 | 2.346 | 11.067 | 2.54 | 21.333 | 2.86 | 889.667 | 33.568 | 0.23164
2019-12-10 14:00:00 | 2.289 | 43.795 | 2.097 | 100.064 | 2.05 | 100.9 | 2.154 | 86.671 | 2.659 | 889.783 | 34.64 | 0.23733
2019-12-10 14:15:00 | 2.093 | 34.586 | 1.951 | 64.167 | 2.061 | 66 | 2.474 | 51.533 | 2.395 | 889.667 | 35.008 | 0.21459
2019-12-10 14:30:00 | 2.305 | 37.648 | 1.73 | 22.879 | 1.615 | 21.667 | 2.31 | 21.833 | 2.364 | 889.717 | 34.901 | 0.20464
2019-12-10 14:45:00 | 1.597 | 22.81 | 1.447 | 17.296 | 1.576 | 18.1 | 1.932 | 12.1 | 2.436 | 890 | 33.819 | 0.20038
2019-12-10 15:00:00 | 0.845 | 41.255 | 0.22 | 166.098 | 0.123 | 6.8 | 1.29 | 17 | 2.696 | 889.717 | 33.581 | 0.20322
2019-12-10 15:15:00 | 2.014 | 37.133 | 1.75 | 27.876 | 1.74 | 28.633 | 2.257 | 22.667 | 3.204 | 890.033 | 33.2 | 0.21246
2019-12-10 15:30:00 | 2.197 | 17.735 | 1.976 | 22.81 | 2.16 | 32.2 | 2.42 | 37.733 | 3.1 | 889.767 | 33.115 | 0.21743
2019-12-10 15:45:00 | 2.114 | 57.087 | 2.048 | 53.517 | 2.085 | 59.3 | 2.339 | 60.233 | 3.08 | 890.017 | 33.253 | 0.21459
2019-12-10 16:00:00 | 1.618 | 78.233 | 1.689 | 65.276 | 1.599 | 64.1 | 1.962 | 58.1 | 3.121 | 889.933 | 33.755 | 0.19754
2019-12-10 16:15:00 | 1.543 | 88.533 | 0.927 | 80.396 | 0.819 | 89.033 | 1.451 | 85.4 | 3.455 | 889.717 | 34.437 | 0.18972
2019-12-10 16:30:00 | 1.422 | 65.733 | 0.76 | 68.26 | 1.084 | 70.867 | 1.766 | 67.633 | 3.388 | 889.65 | 34.88 | 0.19185
2019-12-10 16:45:00 | 1.526 | 114.7 | 1.088 | 107.834 | 1.21 | 106.1 | 1.474 | 101 | 3.071 | 890.267 | 34.896 | 0.19043
2019-12-10 17:00:00 | 1.042 | 73.733 | 0.337 | 76.256 | 0.23 | 85 | 1.044 | 71.033 | 3.171 | 889.667 | 35.179 | 0.15917
2019-12-10 17:15:00 | 0.772 | 94.8 | 0.146 | 70.916 | 0.06 | 73.067 | 0.353 | 71.033 | 3.288 | 889.85 | 35.077 | 0.16911
2019-12-10 17:30:00 | 2.211 | 57.925 | 2.033 | 53.721 | 2.062 | 61.767 | 2.281 | 60.8 | 3.002 | 889.567 | 36.251 | 0.14638
2019-12-10 17:45:00 | 3.024 | 47.8 | 2.606 | 42.632 | 2.151 | 47.733 | 1.948 | 49.967 | 2.328 | 889.75 | 39.019 | 0.065372
2019-12-10 18:00:00 | 2.136 | 55.965 | 1.464 | 48.764 | 1.659 | 50.833 | 2.028 | 55.533 | 1.585 | 889.417 | 41.296 | 0.085978
2019-12-10 18:15:00 | 2.701 | 59.63 | 3.05 | 53.304 | 3.175 | 59.767 | 3.128 | 56.133 | 1.432 | 890.008 | 43.371 | 0.0874
2019-12-10 18:30:00 | 2.115 | 69.52 | 2.29 | 61.67 | 2.488 | 68.867 | 2.57 | 68.6 | 0.399 | 889.742 | 45.216 | 0.33823
2019-12-10 18:45:00 | 2.643 | 76.253 | 3.345 | 66.471 | 2.872 | 69.733 | 2.968 | 69.733 | -0.133 | 890.05 | 47.36 | 0.22241
2019-12-10 19:00:00 | 2.644 | 92.183 | 2.95 | 80.575 | 2.795 | 83.567 | 2.745 | 76.233 | -0.316 | 889.942 | 47.499 | 0.081005
2019-12-10 19:15:00 | 2.381 | 96.89 | 2.6 | 85.181 | 2.496 | 91.8 | 2.64 | 89.9 | -0.269 | 889.65 | 47.893 | 0.13003
2019-12-10 19:30:00 | 2.169 | 98.3 | 2.971 | 82.281 | 2.851 | 83 | 2.97 | 82.167 | -0.969 | 889.767 | 50.123 | 0.22241
2019-12-10 19:45:00 | 1.547 | 118.35 | 2.508 | 85.648 | 2.4 | 93.967 | 2.578 | 87.1 | -1.212 | 889.833 | 51.573 | 0.23307
2019-12-10 20:00:00 | 1.632 | 136.767 | 1.962 | 89.237 | 2.009 | 94 | 2.204 | 93 | -1.493 | 889.683 | 52.459 | 0.22028
2019-12-10 20:15:00 | 2.071 | 160.707 | 1.663 | 108.356 | 1.701 | 107.233 | 2.076 | 96.033 | -1.289 | 890 | 52.608 | 0.22028
2019-12-10 20:30:00 | 1.768 | 191.627 | 0.546 | 130.274 | 1.001 | 116 | 2.041 | 96 | -1.643 | 889.933 | 53.845 | 0.21743
2019-12-10 20:45:00 | 2.174 | 197.427 | 0.477 | 165.427 | 0 | 128 | 1.398 | 96 | -2.124 | 889.725 | 53.867 | 0.21317
2019-12-10 21:00:00 | 1.942 | 197.427 | 0.06 | 165.445 | 0 | 127.967 | 1.279 | 96.1 | -2.18 | 889.667 | 53.877 | 0.21175
2019-12-10 21:15:00 | 1.34 | 213.3 | 0 | 166.535 | 0 | 134.1 | 1.002 | 96 | -2.173 | 889.867 | 52.533 | 0.20891
2019-12-10 21:30:00 | 3.203 | 217.72 | 0 | 166.47 | 0 | 134 | 0.655 | 96.1 | -2.691 | 889.925 | 50.261 | 0.22596
2019-12-10 21:45:00 | 3.789 | 216.12 | 1.353 | 209.746 | 0.283 | 190.467 | 1.883 | 96 | -3.132 | 889.892 | 49.888 | 0.22028
2019-12-10 22:00:00 | 3.076 | 216.133 | 0.741 | 202.828 | 0 | 190 | 1.68 | 97 | -1.8 | 889.792 | 45.653 | 0.21885
2019-12-10 22:15:00 | 2.922 | 227.273 | 0 | 202.49 | 0 | 190.267 | 1.552 | 96.867 | -2.071 | 889.542 | 46.315 | 0.21885
2019-12-10 22:30:00 | 3.944 | 220.813 | 0 | 202.501 | 0 | 190 | 0 | 97.067 | -2.821 | 889.767 | 46.24 | 0.21601
2019-12-10 22:45:00 | 3.028 | 222.467 | 0 | 202.548 | 0 | 190.067 | 0.77 | 97.067 | -1.6 | 889.583 | 44.053 | 0.21601
2019-12-10 23:00:00 | 2.894 | 221.147 | 0 | 202.543 | 0 | 140.167 | 1.425 | 96 | -1.729 | 889.875 | 43.531 | 0.20891
2019-12-10 23:15:00 | 2.336 | 227.5 | 0 | 202.483 | 0 | 140.267 | 0.614 | 96 | -2.23 | 890.083 | 44.949 | 0.21743
2019-12-10 23:30:00 | 2.152 | 235.273 | 0 | 202.449 | 0 | 140.367 | 0 | 96.1 | -2.094 | 890.35 | 45.429 | 0.22028
2019-12-10 23:45:00 | 2.533 | 229.413 | 0 | 202.461 | 0 | 140.467 | 0.222 | 96 | -2.348 | 889.667 | 45.984 | 0.21743