## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-11 00:00:00 | 3.371 | 227.527 | 0 | 202.629 | 0 | 140.467 | 0 | 96.133 | -2.925 | 889.692 | 45.408 | 0.21743
2019-12-11 00:15:00 | 3.6 | 222.9 | 0 | 213.549 | 0 | 140.1 | 0 | 96 | -3.036 | 889.842 | 45.344 | 0.21601
2019-12-11 00:30:00 | 3.459 | 230.987 | 0.023 | 219.162 | 0 | 140.6 | 0.121 | 96 | -3.1 | 889.633 | 45.835 | 0.21459
2019-12-11 00:45:00 | 2.963 | 241.46 | 0.874 | 269.506 | 0.44 | 293.933 | 1.448 | 305.775 | -2.943 | 890.192 | 45.509 | 0.21743
2019-12-11 01:00:00 | 4.673 | 227.787 | 1.912 | 271.575 | 1.019 | 306 | 1.543 | 329 | -5.644 | 889.592 | 48.923 | 0.21885
2019-12-11 01:15:00 | 3.864 | 232.933 | 2.203 | 259.966 | 1.367 | 290.4 | 1.378 | 328.733 | -3.622 | 889.492 | 47.344 | 0.21601
2019-12-11 01:30:00 | 3.627 | 222.107 | 1.916 | 245.151 | 0.969 | 267.467 | 0.529 | 328.067 | -3.247 | 889.758 | 45.611 | 0.21743
2019-12-11 01:45:00 | 3.107 | 217.207 | 0.335 | 243.422 | 0 | 258 | 0 | 328.567 | -2.205 | 889.8 | 42.581 | 0.21317
2019-12-11 02:00:00 | 3.487 | 203.373 | 0.765 | 223.376 | 0 | 258 | 0.054 | 328.067 | -3.893 | 890.4 | 42.763 | 0.21743
2019-12-11 02:15:00 | 3.106 | 211.167 | 1.597 | 206.352 | 0.856 | 210.4 | 0.955 | 286.067 | -2.902 | 889.383 | 40.821 | 0.23164
2019-12-11 02:30:00 | 4.215 | 212.4 | 2.5 | 198.317 | 2.347 | 218.933 | 1.944 | 220.633 | -3.622 | 889.65 | 42.293 | 0.25296
2019-12-11 02:45:00 | 5 | 214.76 | 2.418 | 198.915 | 1.266 | 202.7 | 1.62 | 220 | -4.633 | 889.725 | 43.861 | 0.088821
2019-12-11 03:00:00 | 5.764 | 217.687 | 2.928 | 225.692 | 1.68 | 220.3 | 2.366 | 203.6 | -6.339 | 889.583 | 49.6 | 0.11795
2019-12-11 03:15:00 | 5.9 | 217.993 | 2.863 | 220.653 | 1.49 | 228 | 1.532 | 217 | -8.21 | 889.642 | 57.035 | 0.22383
2019-12-11 03:30:00 | 5.733 | 220.573 | 3.002 | 203.78 | 1.641 | 204 | 2.136 | 200.933 | -8.454 | 889.833 | 60.256 | 0.23591
2019-12-11 03:45:00 | 5.628 | 213.26 | 2.768 | 206.071 | 2.134 | 201.3 | 1.952 | 173 | -8.11 | 889.925 | 59.893 | 0.21885
2019-12-11 04:00:00 | 5.567 | 221.133 | 1.663 | 200.561 | 1.29 | 209.033 | 1.438 | 185.1 | -8.19 | 889.608 | 59.029 | 0.22028
2019-12-11 04:15:00 | 5.606 | 217.16 | 2.191 | 215.921 | 1.498 | 209.033 | 1.7 | 185.033 | -8.277 | 889.783 | 59.659 | 0.2217
2019-12-11 04:30:00 | 5.813 | 220.647 | 2.492 | 223.48 | 0.791 | 222.1 | 1.007 | 185 | -8.534 | 890.092 | 58.763 | 0.23307
2019-12-11 04:45:00 | 5.444 | 218.56 | 0.489 | 217.667 | 0 | 223.9 | 0 | 185 | -7.452 | 889.583 | 56.043 | 0.21601
2019-12-11 05:00:00 | 5.703 | 221.133 | 1.889 | 226.597 | 0 | 224 | 0.168 | 184.833 | -8.491 | 889.958 | 58.389 | 0.21885
2019-12-11 05:15:00 | 5.279 | 214.887 | 2.092 | 204.075 | 0.187 | 206.567 | 0 | 157 | -7.89 | 889.642 | 57.013 | 0.21459
2019-12-11 05:30:00 | 4.887 | 215.853 | 0.336 | 202.536 | 0 | 159.233 | 0.171 | 133.133 | -8.598 | 889.933 | 59.04 | 0.21601
2019-12-11 05:45:00 | 4.274 | 213.967 | 0.066 | 202.16 | 0 | 175 | 0.37 | 130.9 | -8.608 | 890.175 | 57.771 | 0.21459
2019-12-11 06:00:00 | 3.96 | 220.053 | 0 | 216.516 | 0 | 175 | 0 | 130 | -6.189 | 889.933 | 50.144 | 0.22028
2019-12-11 06:15:00 | 3.968 | 220.367 | 0.901 | 223.35 | 0 | 234.4 | 0 | 130 | -8.391 | 889.858 | 55.211 | 0.22028
2019-12-11 06:30:00 | 4.227 | 223.627 | 1.08 | 225.976 | 0.153 | 243 | 0.05 | 130.133 | -7.96 | 890.225 | 55.061 | 0.21459
2019-12-11 06:45:00 | 4.864 | 218.167 | 1.44 | 227.865 | 0 | 224.067 | 0 | 130.033 | -8.474 | 889.925 | 54.517 | 0.21743
2019-12-11 07:00:00 | 3.94 | 215.533 | 0 | 214.55 | 0 | 223.967 | 0 | 131 | -9.191 | 890.183 | 58.208 | 0.21459
2019-12-11 07:15:00 | 2.654 | 218.8 | 0 | 203.427 | 0 | 224.067 | 0 | 131 | -7.556 | 889.792 | 55.52 | 0.23022
2019-12-11 07:30:00 | 2.388 | 207.733 | 0 | 203.573 | 0 | 157.6 | 1.485 | 113.4 | -6.312 | 889.833 | 50.837 | 0.22596
2019-12-11 07:45:00 | 2.694 | 214.027 | 0 | 203.541 | 1.546 | 70.633 | 2.62 | 80.333 | -5.978 | 889.783 | 49.643 | 0.22596
2019-12-11 08:00:00 | 2.341 | 226.333 | 0 | 203.465 | 1.704 | 66.3 | 2.749 | 69 | -5.733 | 889.658 | 47.925 | 0.23449
2019-12-11 08:15:00 | 2.088 | 224.107 | 0 | 106.711 | 2.144 | 63.1 | 2.651 | 69 | -5.438 | 889.767 | 48.128 | 0.24586
2019-12-11 08:30:00 | 1.922 | 224.58 | 0 | 94.268 | 2.185 | 65.033 | 2.979 | 69 | -5.905 | 890.092 | 49.099 | 0.2558
2019-12-11 08:45:00 | 2.588 | 226.96 | 0 | 94.296 | 1.322 | 65.033 | 2.524 | 69.067 | -5.978 | 889.983 | 49.397 | 0.12435
2019-12-11 09:00:00 | 2.032 | 229.98 | 0 | 111.276 | 1.854 | 65 | 2.186 | 69 | -5.822 | 889.658 | 49.109 | 0.10232
2019-12-11 09:15:00 | 1.754 | 240.947 | 0 | 111.216 | 0.083 | 65 | 1.549 | 92.067 | -5.839 | 889.442 | 48.971 | 0.1684
2019-12-11 09:30:00 | 2.43 | 237.207 | 0 | 111.255 | 0 | 65 | 1.694 | 111.067 | -6.664 | 889.433 | 50.304 | 0.20891
2019-12-11 09:45:00 | 2.944 | 244.567 | 0 | 162.591 | 0 | 65 | 2.068 | 112.333 | -5.169 | 889.808 | 46.944 | 0.19541
2019-12-11 10:00:00 | 4.614 | 214.2 | 1.832 | 239.86 | 0 | 281.467 | 0.155 | 113.142 | -7.823 | 890.125 | 51.531 | 0.23449
2019-12-11 10:15:00 | 2.698 | 213.887 | 1.096 | 224.517 | 0 | 253.8 | 1.182 | 113 | -4.729 | 889.95 | 45.867 | 0.2487
2019-12-11 10:30:00 | 2.251 | 213.887 | 0 | 220.492 | 1.268 | 213.967 | 2.398 | 167.2 | -3.184 | 889.858 | 42.699 | 0.24444
2019-12-11 10:45:00 | 2.116 | 209.54 | 1.09 | 220.496 | 1.314 | 196.533 | 2.23 | 162.1 | -2.28 | 890 | 41.781 | 0.22596
2019-12-11 11:00:00 | 0.516 | 209.747 | 0 | 220.474 | 0.08 | 179.967 | 1.894 | 140.567 | -0.615 | 889.875 | 40.469 | 0.22596
2019-12-11 11:15:00 | 0.07 | 210.273 | 0 | 220.52 | 0 | 151 | 1.632 | 127 | 0.998 | 889.592 | 40.128 | 0.22312
2019-12-11 11:30:00 | 0 | 210.307 | 0 | 220.506 | 0 | 151.067 | 0.118 | 114.267 | 2.122 | 889.633 | 35.648 | 0.21885
2019-12-11 11:45:00 | 0.987 | 43.866 | 0 | 308.09 | 0.194 | 91.483 | 1.024 | 104.067 | -0.023 | 889.417 | 35.088 | 0.21885
2019-12-11 12:00:00 | 1.59 | 22.939 | 0.709 | 19.59 | 0.393 | 39.033 | 1.654 | 62.1 | -1.115 | 889.9 | 35.173 | 0.22312
2019-12-11 12:15:00 | 1.724 | 28.27 | 1.163 | 25.903 | 0.97 | 43.1 | 1.316 | 63 | -0.798 | 889.767 | 34.613 | 0.25438
2019-12-11 12:30:00 | 2.149 | 49.31 | 1.774 | 44.61 | 1.564 | 46.367 | 2.1 | 49 | -0.026 | 889.683 | 33.84 | 0.2153
2019-12-11 12:45:00 | 2.443 | 62.82 | 2.158 | 54.055 | 2.147 | 59.533 | 2.461 | 56.333 | -0.199 | 889.567 | 33.317 | 0.28352
2019-12-11 13:00:00 | 2.623 | 65.442 | 2.422 | 65.758 | 2.401 | 72.967 | 2.983 | 67.1 | 0.1 | 889.85 | 32.795 | 0.68712
2019-12-11 13:15:00 | 3.26 | 79.517 | 2.988 | 75.967 | 3.141 | 80.533 | 3.333 | 74.733 | 0.416 | 889.533 | 36.544 | 1.478
2019-12-11 13:30:00 | 3.292 | 81.917 | 3.465 | 76.658 | 3.516 | 79.533 | 3.543 | 72.433 | 0.15 | 889.45 | 38.987 | 2.7684
2019-12-11 13:45:00 | 3.717 | 66.482 | 3.636 | 65.587 | 3.9 | 74.667 | 4.022 | 73.067 | 0.233 | 889.917 | 37.963 | 2.6987
2019-12-11 14:00:00 | 3.412 | 78.622 | 3.484 | 73.426 | 3.676 | 79.2 | 3.994 | 73.3 | 0.233 | 890.05 | 40.389 | 2.8046
2019-12-11 14:15:00 | 3.434 | 86.372 | 3.626 | 80.455 | 3.534 | 83.333 | 3.597 | 77.067 | 0.15 | 889.808 | 41.573 | 2.131
2019-12-11 14:30:00 | 3.069 | 66.112 | 2.919 | 60.918 | 3.269 | 66.833 | 3.689 | 71.533 | -0.036 | 889.592 | 42.155 | 1.495
2019-12-11 14:45:00 | 3.144 | 75.925 | 3.162 | 67.744 | 3.439 | 71.1 | 3.323 | 67.167 | -0.116 | 889.65 | 41.749 | 1.8127
2019-12-11 15:00:00 | 2.74 | 61.078 | 2.488 | 59.138 | 2.749 | 63.233 | 2.855 | 63.133 | -0.033 | 890.033 | 41.675 | 2.3776
2019-12-11 15:15:00 | 3.509 | 76.588 | 3.315 | 73.032 | 3.338 | 75.5 | 3.664 | 68.633 | 0.033 | 890.1 | 42.187 | 3.0384
2019-12-11 15:30:00 | 3.315 | 84.187 | 3.362 | 75.749 | 3.66 | 77.067 | 4.029 | 73.567 | 0.034 | 890.1 | 42.016 | 3.0142
2019-12-11 15:45:00 | 3.37 | 75.45 | 3.343 | 69.24 | 3.29 | 76.2 | 3.43 | 73.8 | 0.382 | 890.083 | 41.088 | 3.1869
2019-12-11 16:00:00 | 3.342 | 70.743 | 3.09 | 68.445 | 3.236 | 79.767 | 3.344 | 78.267 | 0.083 | 889.667 | 41.216 | 3.9159
2019-12-11 16:15:00 | 3.758 | 69.358 | 3.787 | 67.552 | 3.769 | 73.7 | 3.764 | 72.233 | 0.133 | 889.717 | 41.76 | 4.1497
2019-12-11 16:30:00 | 3.209 | 71.755 | 3.079 | 66.177 | 3.198 | 69.867 | 3.627 | 68.1 | 0.067 | 890.067 | 42.347 | 5.3605
2019-12-11 16:45:00 | 3.842 | 74.13 | 3.815 | 73.051 | 4.056 | 77.233 | 4.111 | 72.5 | 0.067 | 889.742 | 42.805 | 5.1886
2019-12-11 17:00:00 | 3.757 | 71.837 | 3.88 | 68.418 | 3.919 | 73.833 | 4.161 | 70.633 | -0.08 | 890.675 | 43.616 | 3.6559
2019-12-11 17:15:00 | 3.36 | 75.793 | 3.501 | 72.472 | 3.677 | 76.8 | 3.902 | 74 | -0.605 | 889.925 | 44.587 | 3.1855
2019-12-11 17:30:00 | 3.111 | 77.82 | 3.323 | 76.3 | 3.355 | 82.367 | 3.576 | 78.033 | -0.412 | 890.225 | 44.96 | 1.8929
2019-12-11 17:45:00 | 3.067 | 76.413 | 3.084 | 71.146 | 3.179 | 76.067 | 3.336 | 72.367 | -0.608 | 889.55 | 46.027 | 0.8001
2019-12-11 18:00:00 | 2.612 | 71.793 | 2.52 | 69.643 | 2.66 | 77 | 2.865 | 74.933 | -1.065 | 890.017 | 47.456 | 0.19896
2019-12-11 18:15:00 | 2.206 | 69.43 | 2.191 | 62.982 | 2.244 | 68.967 | 2.512 | 71.033 | -1.519 | 889.7 | 49.312 | 0.16769
2019-12-11 18:30:00 | 2.071 | 75.097 | 2.098 | 79.481 | 1.929 | 86.733 | 2.313 | 78.8 | -1.859 | 889.708 | 51.029 | 0.06253
2019-12-11 18:45:00 | 2.12 | 76.06 | 2.018 | 73.142 | 2.238 | 82.367 | 2.689 | 77.133 | -2.221 | 890.208 | 51.723 | 0.17196
2019-12-11 19:00:00 | 1.576 | 93.16 | 1.645 | 82.332 | 1.104 | 90.533 | 1.417 | 88.033 | -2.882 | 889.375 | 53.44 | 0.23591
2019-12-11 19:15:00 | 1.885 | 98.07 | 2.118 | 86.238 | 2.438 | 94 | 2.649 | 84.9 | -2.962 | 890.067 | 54.336 | 0.29489
2019-12-11 19:30:00 | 1.453 | 114.3 | 2.313 | 89.218 | 2.206 | 94 | 2.244 | 86.033 | -3.254 | 889.683 | 56.075 | 0.28138
2019-12-11 19:45:00 | 1.077 | 133 | 1.412 | 87.29 | 1.58 | 90.867 | 2.053 | 86.033 | -3.271 | 889.892 | 56.853 | 0.2288
2019-12-11 20:00:00 | 1.106 | 168.067 | 1.027 | 88.224 | 1.627 | 91.667 | 1.846 | 86.033 | -4.156 | 889.775 | 59.285 | 0.22738
2019-12-11 20:15:00 | 2.108 | 189 | 0.03 | 90.511 | 1.108 | 91.833 | 1.635 | 87 | -3.823 | 889.7 | 59.989 | 0.22454
2019-12-11 20:30:00 | 2.239 | 190.4 | 0 | 93.235 | 0.65 | 92 | 1.5 | 86.967 | -4.189 | 889.675 | 59.627 | 0.22312
2019-12-11 20:45:00 | 2.252 | 192.107 | 0 | 116.226 | 0 | 92 | 1.532 | 90 | -4.308 | 889.892 | 59.2 | 0.22312
2019-12-11 21:00:00 | 2.104 | 192.073 | 0.027 | 116.317 | 0.353 | 92.067 | 1.502 | 93.8 | -4.091 | 889.5 | 59.019 | 0.22028
2019-12-11 21:15:00 | 2.078 | 192.127 | 0.043 | 117.237 | 1.062 | 116.033 | 1.774 | 106.767 | -4.186 | 890.258 | 59.093 | 0.21885
2019-12-11 21:30:00 | 1.692 | 211.693 | 0 | 116.43 | 0 | 116.033 | 1.093 | 106.067 | -4.583 | 890.133 | 59.723 | 0.22312
2019-12-11 21:45:00 | 2.173 | 216.6 | 0 | 116.82 | 0.643 | 116 | 1.252 | 106.033 | -4.902 | 889.842 | 59.637 | 0.22312
2019-12-11 22:00:00 | 1.973 | 218.5 | 0 | 116.799 | 0 | 116.033 | 1.616 | 106.067 | -4.869 | 889.567 | 59.563 | 0.22454
2019-12-11 22:15:00 | 2.204 | 223.8 | 0 | 116.312 | 0 | 116 | 1.48 | 106.133 | -4.919 | 889.308 | 59.957 | 0.21885
2019-12-11 22:30:00 | 2.094 | 225.667 | 0 | 116.434 | 0 | 116 | 1.385 | 105.967 | -4.885 | 889.358 | 59.755 | 0.21885
2019-12-11 22:45:00 | 1.467 | 230.733 | 0 | 116.256 | 0 | 116.033 | 1.141 | 106.033 | -4.952 | 889.442 | 59.797 | 0.22454
2019-12-11 23:00:00 | 1.183 | 230.233 | 0 | 116.254 | 0 | 116 | 1.238 | 106 | -4.852 | 889.992 | 60.139 | 0.21885
2019-12-11 23:15:00 | 1.32 | 225.767 | 0 | 116.245 | 0 | 116 | 1.235 | 106.033 | -5.219 | 889.958 | 60.832 | 0.22028
2019-12-11 23:30:00 | 1.867 | 223.133 | 0 | 116.307 | 0 | 116.067 | 1.085 | 106.1 | -4.869 | 889.475 | 60.64 | 0.2217
2019-12-11 23:45:00 | 1.603 | 235.467 | 0 | 116.326 | 0 | 116 | 0.416 | 106 | -4.935 | 889.875 | 60.085 | 0.22738