## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-12 00:00:00 | 1.425 | 238.127 | 0 | 116.246 | 0 | 116 | 1.279 | 106 | -4.732 | 890.067 | 60.619 | 0.23591
2019-12-12 00:15:00 | 0.555 | 243.2 | 0 | 116.225 | 0 | 115.667 | 1.507 | 104 | -5.069 | 889.583 | 62.048 | 0.23164
2019-12-12 00:30:00 | 0.269 | 244.94 | 0 | 116.221 | 0 | 116 | 1.586 | 104 | -5.537 | 889.817 | 63.04 | 0.23307
2019-12-12 00:45:00 | 1.11 | 245.02 | 0 | 116.242 | 0 | 116.067 | 1.496 | 104.067 | -5.578 | 889.983 | 63.552 | 0.25012
2019-12-12 01:00:00 | 1.234 | 240.7 | 0 | 116.251 | 0.25 | 113 | 2.465 | 104 | -5.352 | 890.058 | 64 | 0.24586
2019-12-12 01:15:00 | 2.173 | 257.38 | 0 | 93.23 | 0 | 111.133 | 1.559 | 103.867 | -5.419 | 889.917 | 63.563 | 0.22312
2019-12-12 01:30:00 | 2.166 | 255.493 | 0 | 36.901 | 0 | 111.2 | 1.082 | 104 | -5.535 | 889.933 | 63.04 | 0.21885
2019-12-12 01:45:00 | 3.2 | 260.167 | 0.728 | 303.184 | 0 | 111.183 | 0.218 | 104 | -5.372 | 890.125 | 61.013 | 0.22028
2019-12-12 02:00:00 | 4.29 | 257.767 | 2.11 | 286.12 | 0 | 341.3 | 1.199 | 103.483 | -6.057 | 889.642 | 57.941 | 0.22028
2019-12-12 02:15:00 | 3.982 | 246.887 | 2.103 | 287.574 | 0.688 | 320.4 | 0.819 | 34.525 | -6.922 | 889.875 | 57.333 | 0.2288
2019-12-12 02:30:00 | 4.51 | 237.927 | 2.824 | 282.179 | 2.074 | 304.133 | 1.81 | 317.3 | -9.237 | 889.742 | 59.621 | 0.24799
2019-12-12 02:45:00 | 4.632 | 236.207 | 2.914 | 264.387 | 1.863 | 275.933 | 1.521 | 287.267 | -8.07 | 890 | 59.109 | 0.21104
2019-12-12 03:00:00 | 5.769 | 230.567 | 3.564 | 252.415 | 2.565 | 265.4 | 2.157 | 270.367 | -8.741 | 889.958 | 58.741 | 0.25865
2019-12-12 03:15:00 | 5.956 | 229.7 | 3.787 | 254.293 | 2.282 | 261.933 | 1.858 | 258.333 | -9.224 | 890.058 | 60.299 | 0.23093
2019-12-12 03:30:00 | 6.034 | 229.033 | 3.124 | 253.549 | 1.485 | 264 | 1.306 | 258.433 | -9.291 | 889.908 | 60.619 | 0.23946
2019-12-12 03:45:00 | 5.865 | 229.273 | 3.43 | 258.219 | 1.736 | 275.333 | 1.077 | 258.1 | -9.537 | 890.167 | 61.349 | 0.22312
2019-12-12 04:00:00 | 5.433 | 223.72 | 3.299 | 257.981 | 1.897 | 273.333 | 1.367 | 258 | -9.724 | 889.983 | 61.413 | 0.20038
2019-12-12 04:15:00 | 5.762 | 227.34 | 3.309 | 255.123 | 2.28 | 264.733 | 1.903 | 264.433 | -9.591 | 889.858 | 60.352 | 0.18901
2019-12-12 04:30:00 | 5.806 | 220.947 | 3.012 | 252.394 | 2.103 | 263.367 | 2.012 | 264.8 | -9.724 | 889.433 | 61.163 | 0.23378
2019-12-12 04:45:00 | 5.639 | 229.633 | 2.691 | 266.96 | 1.733 | 281.867 | 1.781 | 264.3 | -9.191 | 889.917 | 60.357 | 0.23662
2019-12-12 05:00:00 | 6.056 | 223.653 | 3.318 | 252.774 | 2.484 | 278.333 | 2.314 | 264.433 | -9.912 | 889.708 | 60.059 | 0.18546
2019-12-12 05:15:00 | 6.142 | 219.007 | 3.601 | 246.668 | 2.618 | 256.867 | 2.13 | 264.4 | -9.983 | 890.05 | 59.936 | 0.21885
2019-12-12 05:30:00 | 5.994 | 223.807 | 4.089 | 251.173 | 3.032 | 255.667 | 2.425 | 248.133 | -9.983 | 889.958 | 60.064 | 0.21388
2019-12-12 05:45:00 | 5.916 | 219.7 | 3.192 | 260.921 | 1.867 | 264 | 1.839 | 248.4 | -10.383 | 889.917 | 61.829 | 0.081715
2019-12-12 06:00:00 | 5.499 | 221.48 | 4.146 | 256.878 | 2.951 | 271.4 | 2.19 | 264.6 | -10.474 | 889.708 | 62.544 | 0.13003
2019-12-12 06:15:00 | 5.748 | 219.227 | 3.603 | 255.415 | 2.383 | 271 | 2.59 | 284.6 | -10.549 | 889.683 | 62.437 | 0.24941
2019-12-12 06:30:00 | 5.838 | 224.733 | 3.254 | 253.104 | 2.496 | 270.6 | 2.475 | 276.9 | -10.333 | 889.683 | 60.853 | 0.24159
2019-12-12 06:45:00 | 5.779 | 223.467 | 3.014 | 251.72 | 1.968 | 264.8 | 2.104 | 276.933 | -9.291 | 889.842 | 57.248 | 0.23164
2019-12-12 07:00:00 | 5.901 | 218.887 | 2.607 | 244.94 | 1.397 | 264.267 | 1.593 | 276.667 | -9.758 | 890.242 | 57.44 | 0.22312
2019-12-12 07:15:00 | 5.56 | 213.493 | 2.495 | 245.403 | 2.016 | 267.2 | 2.068 | 271.4 | -10.158 | 890.25 | 59.28 | 0.2288
2019-12-12 07:30:00 | 5.582 | 216.267 | 2.54 | 250.885 | 1.968 | 275.933 | 2.498 | 287.667 | -10.016 | 890.192 | 57.413 | 0.2622
2019-12-12 07:45:00 | 5.33 | 217.9 | 2.545 | 248.237 | 2.409 | 282.8 | 2.438 | 281.7 | -8.558 | 889.75 | 53.515 | 0.24728
2019-12-12 08:00:00 | 5.292 | 226.467 | 3.31 | 232.223 | 2.476 | 241.767 | 2.801 | 253.667 | -8.758 | 890.1 | 53.333 | 0.24444
2019-12-12 08:15:00 | 4.914 | 220.14 | 3.694 | 224.519 | 3.166 | 232.267 | 2.428 | 236.6 | -7.619 | 889.942 | 51.851 | 0.22738
2019-12-12 08:30:00 | 3.429 | 214.927 | 1.134 | 210.08 | 1.314 | 206.033 | 1.451 | 216.667 | -6.076 | 889.992 | 48.448 | 0.21459
2019-12-12 08:45:00 | 2.628 | 217.38 | 0.806 | 197.546 | 0.26 | 196 | 0.729 | 212 | -5.74 | 889.492 | 47.157 | 0.21743
2019-12-12 09:00:00 | 1.949 | 207.627 | 1.473 | 197.534 | 1.068 | 195.9 | 1.064 | 211.667 | -6.375 | 889.725 | 49.557 | 0.22028
2019-12-12 09:15:00 | 2.847 | 196.367 | 1.716 | 167.406 | 0.117 | 186.067 | 0.846 | 212.033 | -6.743 | 889.933 | 51.467 | 0.22028
2019-12-12 09:30:00 | 2.408 | 214.433 | 0.585 | 162.491 | 0 | 185.567 | 0 | 212 | -5.997 | 890.058 | 49.995 | 0.21459
2019-12-12 09:45:00 | 2.906 | 216.4 | 1.528 | 178.514 | 0.13 | 186 | 0 | 212 | -5.185 | 889.975 | 48.768 | 0.21601
2019-12-12 10:00:00 | 2.333 | 206.2 | 1.47 | 180.458 | 0.343 | 186 | 0 | 212 | -4.156 | 889.967 | 45.408 | 0.21601
2019-12-12 10:15:00 | 2.942 | 218.233 | 0.754 | 180.593 | 0 | 186 | 0 | 212.033 | -4.47 | 889.908 | 44.48 | 0.21317
2019-12-12 10:30:00 | 2.592 | 215.287 | 0.858 | 181.999 | 0 | 185.933 | 0.124 | 212 | -4.082 | 890.075 | 44.843 | 0.21601
2019-12-12 10:45:00 | 2.415 | 202.853 | 0.836 | 180.549 | 0.278 | 185.833 | 0.406 | 212.033 | -2.234 | 889.9 | 43.2 | 0.21459
2019-12-12 11:00:00 | 2.026 | 167.907 | 1.417 | 151.51 | 1.298 | 144.533 | 1.454 | 187.933 | -2.431 | 889.85 | 43.563 | 0.23733
2019-12-12 11:15:00 | 1.334 | 153.907 | 1.247 | 126.045 | 1.066 | 123.7 | 1.246 | 134 | -3.047 | 889.35 | 42.656 | 0.24444
2019-12-12 11:30:00 | 1.499 | 113.18 | 1.001 | 107.887 | 0.687 | 100.067 | 1.373 | 94 | -2.346 | 889.95 | 40.283 | 0.23307
2019-12-12 11:45:00 | 1.58 | 73.817 | 1.071 | 77.277 | 0.933 | 78.733 | 1.75 | 80.433 | -1.913 | 890.1 | 40.203 | 0.25154
2019-12-12 12:00:00 | 1.8 | 65.763 | 1.406 | 65.144 | 1.503 | 61.967 | 2.056 | 62 | -1.519 | 889.85 | 39.744 | 0.21175
2019-12-12 12:15:00 | 1.61 | 61.187 | 1.322 | 54.321 | 1.356 | 56.6 | 1.814 | 51.433 | -1.048 | 889.633 | 39.152 | 0.20749
2019-12-12 12:30:00 | 2.383 | 52.387 | 2.124 | 49.909 | 2.111 | 56.067 | 2.273 | 53.7 | -1.099 | 889.733 | 37.541 | 0.24017
2019-12-12 12:45:00 | 2.73 | 41.475 | 2.466 | 44.213 | 2.434 | 56.7 | 2.664 | 57.667 | -1.115 | 889.533 | 36.304 | 0.57556
2019-12-12 13:00:00 | 2.627 | 72.842 | 2.489 | 69.436 | 2.72 | 73.667 | 2.937 | 67.333 | -0.326 | 889.717 | 33.723 | 1.3408
2019-12-12 13:15:00 | 3.479 | 78.973 | 3.407 | 78.146 | 3.333 | 81.833 | 3.35 | 78.867 | 0.266 | 889.733 | 35.952 | 1.2605
2019-12-12 13:30:00 | 2.994 | 86.32 | 2.34 | 79.577 | 2.697 | 83.267 | 3.07 | 77.2 | 0.033 | 889.583 | 36.901 | 2.0805
2019-12-12 13:45:00 | 3.307 | 79.998 | 3.245 | 73.122 | 3.238 | 78.067 | 3.588 | 71.933 | -0.05 | 889.8 | 37.845 | 2.1942
2019-12-12 14:00:00 | 3.336 | 74.05 | 3.237 | 71.137 | 3.412 | 79.233 | 3.601 | 76.867 | 0.067 | 889.183 | 38.128 | 2.5587
2019-12-12 14:15:00 | 3.635 | 74.148 | 3.447 | 72.981 | 3.593 | 83.967 | 3.849 | 77.067 | 0.1 | 889.933 | 40.331 | 2.0727
2019-12-12 14:30:00 | 3.31 | 82.503 | 3.3 | 77.802 | 3.283 | 82.933 | 3.781 | 79.3 | 0.216 | 890.217 | 39.237 | 1.9335
2019-12-12 14:45:00 | 3.176 | 85.967 | 3.096 | 79.647 | 3.028 | 85.933 | 3.446 | 81.867 | -0.033 | 889.567 | 38.523 | 1.7615
2019-12-12 15:00:00 | 3.387 | 85.11 | 2.912 | 85.283 | 2.914 | 90.833 | 3.081 | 81.967 | 0.515 | 889.9 | 37.92 | 2.0528
2019-12-12 15:15:00 | 2.98 | 98.957 | 3.071 | 92.348 | 2.926 | 97.533 | 3.136 | 90 | 0.782 | 889.7 | 36.411 | 2.735
2019-12-12 15:30:00 | 3.497 | 82.773 | 3.842 | 78.183 | 3.602 | 82.733 | 3.591 | 78.967 | 1.092 | 889.9 | 36.336 | 4.321
2019-12-12 15:45:00 | 4.161 | 68.855 | 4.147 | 64.364 | 4.079 | 72.4 | 4.37 | 69.033 | 0.998 | 889.833 | 38.528 | 6.388
2019-12-12 16:00:00 | 4.517 | 76.458 | 4.563 | 69.789 | 4.756 | 76.1 | 4.873 | 73.067 | 0.698 | 890.017 | 39.957 | 6.5202
2019-12-12 16:15:00 | 4.281 | 69.753 | 4.45 | 63.989 | 4.638 | 69.067 | 4.78 | 65.3 | 0.565 | 889.95 | 40.107 | 6.15
2019-12-12 16:30:00 | 4.076 | 82.44 | 4.178 | 77.701 | 4.208 | 87.2 | 4.275 | 83.033 | 0.499 | 889.483 | 39.067 | 5.7563
2019-12-12 16:45:00 | 3.975 | 86.208 | 4.05 | 78.864 | 3.953 | 84.533 | 4.172 | 80.633 | 0.366 | 889.75 | 38.677 | 5.6696
2019-12-12 17:00:00 | 3.804 | 80.743 | 3.886 | 75.52 | 3.808 | 81.333 | 4.106 | 77.167 | 0.382 | 889.85 | 39.024 | 5.7513
2019-12-12 17:15:00 | 3.747 | 76.07 | 3.806 | 70.698 | 3.843 | 76 | 4.026 | 74.633 | 0.116 | 889.808 | 41.504 | 5.7101
2019-12-12 17:30:00 | 3.964 | 80.4 | 4.016 | 75.603 | 3.815 | 81.767 | 4.147 | 75.967 | -0.133 | 890.092 | 42.976 | 5.072
2019-12-12 17:45:00 | 3.307 | 74.753 | 3.587 | 72.854 | 3.574 | 78.567 | 3.838 | 74.933 | -1.249 | 889.783 | 44.544 | 4.8688
2019-12-12 18:00:00 | 3.141 | 80.753 | 3.527 | 76.483 | 3.44 | 85.367 | 3.285 | 83.367 | -1.412 | 890.017 | 46.304 | 5.5012
2019-12-12 18:15:00 | 3.306 | 83.793 | 3.881 | 79.317 | 3.831 | 85.333 | 3.682 | 81.9 | -1.766 | 889.675 | 48.352 | 4.5476
2019-12-12 18:30:00 | 3.086 | 88.14 | 3.33 | 83.158 | 2.951 | 91 | 2.772 | 87.367 | -2.082 | 889.558 | 49.781 | 5.2824
2019-12-12 18:45:00 | 3.278 | 89.51 | 3.367 | 84.687 | 2.881 | 90.533 | 2.887 | 86.8 | -2.578 | 890.192 | 51.296 | 3.4896
2019-12-12 19:00:00 | 2.827 | 96.91 | 3.072 | 89.145 | 1.948 | 98.9 | 2.188 | 91.2 | -3.167 | 889.633 | 52.267 | 1.711
2019-12-12 19:15:00 | 2.686 | 87.7 | 3.011 | 77.824 | 2.894 | 86.233 | 2.754 | 87.5 | -3.605 | 890.292 | 53.845 | 1.4638
2019-12-12 19:30:00 | 2.428 | 86.227 | 3.036 | 77.66 | 3.068 | 87.167 | 2.738 | 81.333 | -4.348 | 890.017 | 55.797 | 0.95998
2019-12-12 19:45:00 | 2.09 | 106.467 | 2.156 | 95.767 | 1.719 | 104.4 | 2.19 | 103.133 | -4.055 | 890 | 55.861 | 0.40929
2019-12-12 20:00:00 | 1.653 | 110.97 | 1.949 | 91.902 | 1.426 | 100.5 | 1.696 | 98.833 | -4.424 | 889.608 | 57.813 | 0.10303
2019-12-12 20:15:00 | 1.2 | 131.333 | 1.476 | 90.256 | 1.614 | 91.467 | 2.039 | 96 | -4.819 | 889.55 | 59.424 | 0.096637
2019-12-12 20:30:00 | 1.017 | 135.2 | 2.134 | 90.65 | 2.676 | 91.833 | 2.868 | 92.867 | -4.835 | 889.9 | 60.181 | 0.12435
2019-12-12 20:45:00 | 1.339 | 171.567 | 0.71 | 109.846 | 2.294 | 95.2 | 2.784 | 93.267 | -4.835 | 889.633 | 60.875 | 0.2018
2019-12-12 21:00:00 | 1.606 | 191.767 | 0 | 110.241 | 0.904 | 92.033 | 2.275 | 93 | -5.235 | 889.458 | 61.984 | 0.12435
2019-12-12 21:15:00 | 1.247 | 193.467 | 0 | 110.222 | 1.071 | 116 | 2.453 | 93.833 | -5.235 | 889.775 | 61.973 | 0.27712
2019-12-12 21:30:00 | 1.054 | 195.133 | 0.187 | 116.352 | 1.708 | 99.533 | 2.862 | 86.867 | -5.352 | 889.692 | 62.656 | 0.45476
2019-12-12 21:45:00 | 1.64 | 207.067 | 0 | 121.19 | 0.354 | 105.067 | 2.006 | 83 | -5.502 | 889.942 | 62.912 | 0.23591
2019-12-12 22:00:00 | 1.51 | 207 | 0 | 121.263 | 0.437 | 93.4 | 2.453 | 91.133 | -5.385 | 889.517 | 62.347 | 0.15135
2019-12-12 22:15:00 | 0.908 | 178.2 | 0.29 | 121.234 | 2.014 | 105.033 | 3.222 | 97.5 | -4.885 | 889.975 | 61.333 | 0.10658
2019-12-12 22:30:00 | 1.169 | 183.167 | 0.047 | 117.253 | 1.796 | 104.067 | 2.846 | 100.333 | -5.235 | 889.717 | 61.941 | 0.13927
2019-12-12 22:45:00 | 1.12 | 151.667 | 1.49 | 110.201 | 2.503 | 103.167 | 3.247 | 104.6 | -5.219 | 889.458 | 61.813 | 0.28494
2019-12-12 23:00:00 | 0.489 | 168.267 | 1.33 | 104.788 | 2.009 | 111.467 | 3.085 | 108.867 | -5.285 | 889.975 | 61.451 | 0.13145
2019-12-12 23:15:00 | 0 | 169.2 | 0.826 | 105.506 | 2.099 | 109.233 | 3.002 | 105.967 | -5.302 | 889.758 | 62.283 | 0.1414
2019-12-12 23:30:00 | 0 | 169.333 | 0.851 | 73.505 | 1.749 | 90.6 | 2.176 | 93.4 | -6.181 | 890.15 | 64.245 | 0.18119
2019-12-12 23:45:00 | 0.12 | 201.853 | 0.29 | 81.694 | 2.206 | 75.133 | 2.351 | 82.8 | -6.588 | 890.175 | 65.589 | 0.12648