## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-13 00:00:00 | 0.256 | 199.153 | 0.303 | 83.514 | 2.572 | 81.8 | 3.494 | 81.2 | -6.273 | 889.533 | 65.771 | 0.10943
2019-12-13 00:15:00 | 1.873 | 227.9 | 0 | 79.224 | 0.557 | 98.467 | 1.972 | 88.067 | -6.146 | 889.883 | 64.853 | 0.18262
2019-12-13 00:30:00 | 2.085 | 231.887 | 0 | 79.257 | 0 | 99.033 | 1.776 | 77.5 | -5.958 | 889.833 | 63.445 | 0.26859
2019-12-13 00:45:00 | 2.613 | 246.467 | 0 | 28.053 | 0 | 86 | 1.529 | 73.1 | -6.345 | 890.158 | 62.709 | 0.2153
2019-12-13 01:00:00 | 0.845 | 245.467 | 0 | 28.064 | 0.476 | 79.433 | 2.782 | 73.6 | -6.512 | 889.933 | 64 | 0.36168
2019-12-13 01:15:00 | 0 | 244.867 | 0.073 | 28.073 | 1.067 | 72.533 | 2.375 | 80.7 | -6.495 | 890.05 | 65.664 | 0.38442
2019-12-13 01:30:00 | 0.991 | 297.373 | 0 | 29.19 | 0.373 | 68.521 | 2.197 | 79 | -6.272 | 890.167 | 64.821 | 0.84557
2019-12-13 01:45:00 | 0.538 | 277.893 | 0 | 30.048 | 0.625 | 75.75 | 2.001 | 85.267 | -6.269 | 890.058 | 63.648 | 1.171
2019-12-13 02:00:00 | 1.493 | 247.58 | 0 | 30.064 | 0.31 | 71.225 | 2.542 | 82.533 | -7.656 | 890.067 | 64.917 | 1.1348
2019-12-13 02:15:00 | 0.629 | 255.567 | 0 | 37.74 | 0.632 | 89.333 | 1.979 | 90.3 | -7.522 | 889.808 | 66.528 | 2.9957
2019-12-13 02:30:00 | 0.593 | 328.107 | 0.48 | 65.772 | 2.637 | 80.367 | 3.492 | 85.5 | -7.25 | 889.875 | 67.243 | 5.384
2019-12-13 02:45:00 | 0.303 | 196.4 | 3.301 | 72.662 | 4.413 | 83.592 | 4.747 | 83.1 | -7.716 | 890.458 | 67.2 | 5.5446
2019-12-13 03:00:00 | 0.273 | 183.967 | 1.924 | 75.656 | 3.47 | 86.233 | 4.112 | 85.367 | -8.724 | 890.108 | 68.085 | 2.7918
2019-12-13 03:15:00 | 1.966 | 213 | 0.15 | 116.024 | 2.02 | 109.767 | 3.225 | 96.633 | -8.841 | 890.042 | 69.248 | 1.9157
2019-12-13 03:30:00 | 2.548 | 234.833 | 0.064 | 184.061 | 0.487 | 117.533 | 1.76 | 102.667 | -8.357 | 889.583 | 71.808 | 1.4865
2019-12-13 03:45:00 | 1.99 | 239.507 | 0 | 141.951 | 0.2 | 115.433 | 1.815 | 100.467 | -7.679 | 889.925 | 69.717 | 2.4969
2019-12-13 04:00:00 | 1.727 | 230.533 | 0 | 118.238 | 0.307 | 130.033 | 2.266 | 108.467 | -7.722 | 889.983 | 67.424 | 1.2307
2019-12-13 04:15:00 | 1.922 | 227.013 | 0 | 188.512 | 0.2 | 79.867 | 1.518 | 98.567 | -7.147 | 890 | 65.749 | 0.93013
2019-12-13 04:30:00 | 1.959 | 232.727 | 0 | 181.875 | 0.373 | 93.2 | 2.313 | 85.133 | -7.32 | 889.85 | 65.173 | 1.5512
2019-12-13 04:45:00 | 0.03 | 214.48 | 0.034 | 77.293 | 1.195 | 89.8 | 2.782 | 80.233 | -7.032 | 890.2 | 65.248 | 0.6722
2019-12-13 05:00:00 | 0.146 | 228.48 | 0 | 72.122 | 0.535 | 81.4 | 2.408 | 78.3 | -7.164 | 889.458 | 65.365 | 0.24372
2019-12-13 05:15:00 | 0.103 | 231.293 | 0 | 72.225 | 0.093 | 76.9 | 2.067 | 78.967 | -7.536 | 889.783 | 66.379 | 0.27641
2019-12-13 05:30:00 | 1.444 | 243.387 | 0 | 62.104 | 0.21 | 72 | 2.114 | 72.067 | -8.13 | 889.708 | 66.645 | 0.1414
2019-12-13 05:45:00 | 1.32 | 214.06 | 0 | 201.767 | 0.036 | 79 | 1.691 | 87.333 | -8.21 | 889.758 | 68.288 | 0.24728
2019-12-13 06:00:00 | 1.553 | 225.22 | 0 | 151.21 | 0.133 | 113.133 | 1.62 | 94.6 | -8.23 | 890.058 | 67.605 | 0.23733
2019-12-13 06:15:00 | 0.711 | 221.46 | 0 | 138.588 | 0.417 | 119.5 | 2.002 | 105.5 | -7.976 | 890.15 | 68.32 | 0.23022
2019-12-13 06:30:00 | 0.423 | 221.547 | 0 | 128.537 | 0.05 | 132.833 | 1.943 | 121.6 | -7.9 | 889.942 | 69.312 | 0.30767
2019-12-13 06:45:00 | 0.027 | 221.48 | 0 | 128.531 | 0.867 | 118 | 2.576 | 114.733 | -8.15 | 890.183 | 70.56 | 3.9415
2019-12-13 07:00:00 | 1.308 | 124.577 | 2.502 | 104.98 | 2.896 | 107.2 | 3.41 | 100.733 | -7.622 | 890.175 | 70.763 | 4.7864
2019-12-13 07:15:00 | 2.679 | 193.733 | 2.149 | 126.997 | 3.316 | 113.4 | 3.689 | 104.033 | -8.874 | 889.725 | 66.688 | 2.8323
2019-12-13 07:30:00 | 2.97 | 207.713 | 1.802 | 164.509 | 1.924 | 134.3 | 3.378 | 114.867 | -11.836 | 889.5 | 66.859 | 0.79441
2019-12-13 07:45:00 | 2.843 | 204.867 | 1.851 | 170.67 | 1.493 | 158.9 | 2.538 | 134.6 | -8.774 | 890.033 | 71.189 | 0.1144
2019-12-13 08:00:00 | 2.108 | 206.1 | 1.219 | 153.473 | 1.737 | 147.233 | 2.277 | 130.033 | -8.09 | 889.45 | 67.051 | 0.29418
2019-12-13 08:15:00 | 3.348 | 226.167 | 0 | 152.464 | 0 | 142.933 | 1.279 | 118.467 | -9.108 | 889.817 | 66.219 | 0.22738
2019-12-13 08:30:00 | 2.76 | 232.733 | 0 | 152.496 | 0 | 143.433 | 0 | 123 | -9.224 | 890.1 | 66.4 | 0.23449
2019-12-13 08:45:00 | 4.08 | 231.333 | 0 | 152.465 | 0 | 143.933 | 1.074 | 123 | -9.291 | 890.125 | 66.155 | 0.23164
2019-12-13 09:00:00 | 4.045 | 240.76 | 0.84 | 203.909 | 0 | 143.767 | 0.496 | 133 | -9.27 | 889.767 | 66.4 | 0.23022
2019-12-13 09:15:00 | 4.853 | 241.64 | 2.437 | 247.56 | 0 | 144.033 | 0.044 | 133 | -10.834 | 890.075 | 64.928 | 0.22596
2019-12-13 09:30:00 | 3.98 | 247.467 | 1.562 | 248.7 | 0 | 144 | 0.369 | 130 | -9.516 | 889.6 | 66.379 | 0.22312
2019-12-13 09:45:00 | 3.312 | 253.98 | 0.759 | 257.102 | 0 | 132.1 | 1.007 | 130 | -8.941 | 889.583 | 63.264 | 0.26078
2019-12-13 10:00:00 | 3.062 | 257.107 | 1.293 | 317.299 | 0.4 | 56.604 | 2.063 | 46.342 | -8.457 | 889.525 | 62 | 0.25012
2019-12-13 10:15:00 | 2.637 | 249.413 | 0 | 284.916 | 0.036 | 42.117 | 1.126 | 70.533 | -7.689 | 889.867 | 59.371 | 0.23449
2019-12-13 10:30:00 | 2.456 | 252.587 | 0 | 285.008 | 0 | 47 | 0.682 | 68.833 | -7.366 | 890.008 | 58.656 | 0.22738
2019-12-13 10:45:00 | 2.353 | 248.6 | 0 | 285.057 | 0 | 47 | 1.111 | 69 | -6.278 | 889.692 | 57.259 | 0.23449
2019-12-13 11:00:00 | 2.619 | 247 | 0 | 285.078 | 0 | 47.067 | 0 | 69 | -5.519 | 890.308 | 58.016 | 0.22028
2019-12-13 11:15:00 | 2.178 | 247.133 | 0.904 | 285.012 | 0 | 47.067 | 0 | 69 | -4.969 | 889.95 | 60.309 | 0.21459
2019-12-13 11:30:00 | 1.226 | 298.12 | 0.077 | 284.901 | 0 | 42.946 | 0 | 69 | -4.401 | 889.383 | 55.819 | 0.21459
2019-12-13 11:45:00 | 1.278 | 257.947 | 0.322 | 338.884 | 0.077 | 354.6 | 0.276 | 32.073 | -4.424 | 890.008 | 54.635 | 0.21743
2019-12-13 12:00:00 | 1.052 | 245.64 | 0.43 | 347.824 | 0.666 | 345.233 | 1.27 | 0 | -4.128 | 890.333 | 53.2 | 0.22028
2019-12-13 12:15:00 | 1.512 | 275.133 | 0.619 | 336.352 | 0.617 | 277.133 | 1.447 | 341.567 | -3.739 | 890.083 | 51.504 | 0.24586
2019-12-13 12:30:00 | 2.007 | 107.867 | 1.741 | 94.537 | 1.825 | 36.667 | 2.143 | 20.669 | -3.622 | 889.917 | 50.373 | 0.24444
2019-12-13 12:45:00 | 1.857 | 43.468 | 1.614 | 24.213 | 1.684 | 30.301 | 2.254 | 29.1 | -3.217 | 890.067 | 47.52 | 0.19967
2019-12-13 13:00:00 | 2.809 | 46.924 | 2.446 | 50.358 | 2.502 | 58.433 | 2.8 | 60.1 | -2.801 | 889.95 | 44.48 | 0.24657
2019-12-13 13:15:00 | 2.581 | 79.712 | 2.573 | 78.038 | 2.681 | 84.833 | 3.14 | 76.133 | -2.456 | 889.708 | 44.021 | 0.67148
2019-12-13 13:30:00 | 3.532 | 100.493 | 3.305 | 95.177 | 3.195 | 97.933 | 3.252 | 95.033 | -2.246 | 889.858 | 43.243 | 1.7281
2019-12-13 13:45:00 | 2.741 | 81.872 | 2.662 | 83.812 | 2.794 | 89.633 | 2.996 | 86.7 | -1.886 | 889.75 | 42.443 | 4.9342
2019-12-13 14:00:00 | 3.868 | 88.307 | 3.743 | 80.972 | 3.977 | 87.233 | 4.437 | 84.767 | -1.099 | 889.733 | 40.917 | 10.2648
2019-12-13 14:15:00 | 3.857 | 106.713 | 4.088 | 101.117 | 4.115 | 111.567 | 4.165 | 109.033 | -0.478 | 889.9 | 39.611 | 20.8693
2019-12-13 14:30:00 | 5.865 | 90.12 | 5.94 | 84.329 | 6.104 | 85.2 | 6.218 | 83.1 | -0.392 | 889.283 | 37.216 | 27.5032
2019-12-13 14:45:00 | 5.419 | 90.263 | 5.311 | 84.17 | 5.176 | 86.233 | 5.442 | 81.767 | -0.096 | 889.717 | 36.976 | 26.7088
2019-12-13 15:00:00 | 5.917 | 82.08 | 6.105 | 78.496 | 6.1 | 82.2 | 6.162 | 78.3 | -0.312 | 889.45 | 36.848 | 25.9208
2019-12-13 15:15:00 | 6.057 | 88.067 | 5.811 | 83.054 | 5.735 | 87.167 | 6.101 | 85.133 | -0.518 | 889.7 | 36.437 | 21.7064
2019-12-13 15:30:00 | 5.952 | 81.377 | 5.982 | 75.139 | 5.957 | 81 | 5.985 | 80.133 | -0.183 | 890 | 36.219 | 21.5657
2019-12-13 15:45:00 | 5.15 | 91.147 | 5.198 | 83.094 | 5.267 | 88.333 | 5.505 | 82.567 | 0.067 | 889.967 | 35.413 | 22.0496
2019-12-13 16:00:00 | 5.382 | 98.377 | 5.433 | 94.838 | 5.452 | 101.367 | 5.463 | 96.2 | -0.096 | 889.717 | 34.965 | 23.3322
2019-12-13 16:15:00 | 5.508 | 79.493 | 5.697 | 73.591 | 5.869 | 77.267 | 6.166 | 73.533 | -0.033 | 889.983 | 34.309 | 17.6242
2019-12-13 16:30:00 | 5.242 | 79.643 | 5.583 | 74.092 | 5.819 | 78.8 | 5.832 | 74.667 | 0.033 | 889.833 | 34.597 | 15.0377
2019-12-13 16:45:00 | 4.934 | 76.913 | 4.849 | 69.632 | 5.032 | 78.4 | 5.058 | 72.067 | -0.366 | 889.533 | 35.52 | 12.1734
2019-12-13 17:00:00 | 4.629 | 76.5 | 4.916 | 72.1 | 5.094 | 77 | 5.264 | 74.333 | -0.578 | 889.533 | 36.048 | 10.7146
2019-12-13 17:15:00 | 4.544 | 76.24 | 4.809 | 73.2 | 5.074 | 78.033 | 5.362 | 72.7 | -0.695 | 890.2 | 36.325 | 8.5502
2019-12-13 17:30:00 | 4.221 | 69.98 | 4.362 | 64.383 | 4.401 | 71.833 | 4.62 | 69.333 | -0.959 | 889.817 | 37.44 | 6.9017
2019-12-13 17:45:00 | 3.519 | 70.832 | 3.573 | 68.028 | 3.695 | 74.167 | 3.896 | 71.467 | -1.499 | 889.383 | 39.077 | 4.3245
2019-12-13 18:00:00 | 3.172 | 68.558 | 3.427 | 64.781 | 3.536 | 71.267 | 3.661 | 68.267 | -1.915 | 889.383 | 40.555 | 3.3716
2019-12-13 18:15:00 | 2.896 | 61.207 | 3.019 | 61.053 | 2.961 | 67.8 | 3.2 | 62.8 | -2.23 | 889.458 | 41.92 | 3.3269
2019-12-13 18:30:00 | 2.004 | 38.222 | 1.63 | 50.164 | 1.776 | 55.867 | 2.251 | 59.433 | -2.781 | 890.058 | 44.043 | 2.5239
2019-12-13 18:45:00 | 2.053 | 25.333 | 2.73 | 32.901 | 3.525 | 42.9 | 3.158 | 48.467 | -3.605 | 889.675 | 45.771 | 0.77167
2019-12-13 19:00:00 | 1.926 | 35.524 | 2.066 | 46.688 | 1.825 | 57.967 | 2.009 | 59.367 | -4.364 | 889.508 | 48.48 | 0.95927
2019-12-13 19:15:00 | 1.732 | 59.043 | 2.251 | 63.33 | 2.458 | 76.833 | 2.65 | 76.167 | -4.706 | 889.958 | 50.133 | 2.0606
2019-12-13 19:30:00 | 1.046 | 69.9 | 2.252 | 67.558 | 2.584 | 76.6 | 2.791 | 74.8 | -4.919 | 889.642 | 50.688 | 0.87187
2019-12-13 19:45:00 | 0 | 75.1 | 0.443 | 66.254 | 1.474 | 80.067 | 1.859 | 75.933 | -5.185 | 889.575 | 51.819 | 0.1947
2019-12-13 20:00:00 | 0.519 | 196.707 | 0 | 66.22 | 0 | 75.967 | 1.074 | 76 | -5.369 | 889.65 | 54.315 | 0.1549
2019-12-13 20:15:00 | 0.07 | 326.4 | 0 | 66.229 | 1.271 | 60.833 | 1.982 | 62.267 | -5.452 | 889.675 | 53.963 | 0.24301
2019-12-13 20:30:00 | 0 | 326.573 | 0 | 66.295 | 1.253 | 81.767 | 2.291 | 79.9 | -5.809 | 889.525 | 54.315 | 1.1412
2019-12-13 20:45:00 | 0.917 | 168.78 | 1.367 | 114.996 | 2.195 | 114.133 | 3.124 | 102.267 | -6.037 | 890.25 | 55.136 | 1.6691
2019-12-13 21:00:00 | 1.207 | 197.52 | 0.53 | 118.276 | 1.695 | 125.5 | 2.606 | 109.633 | -5.958 | 889.717 | 54.741 | 1.7281
2019-12-13 21:15:00 | 2.476 | 198.1 | 1.99 | 143.202 | 2.598 | 133.133 | 3.281 | 117.633 | -6.312 | 890.3 | 54.229 | 3.5209
2019-12-13 21:30:00 | 2.345 | 188.66 | 2.038 | 140.629 | 2.633 | 127.133 | 3.332 | 112.433 | -7.088 | 890.433 | 55.968 | 1.8631
2019-12-13 21:45:00 | 1.801 | 187.3 | 1.189 | 136.118 | 1.87 | 120.133 | 2.311 | 109.9 | -6.495 | 890.233 | 55.147 | 0.61393
2019-12-13 22:00:00 | 1.25 | 175.267 | 1.02 | 120.216 | 1.05 | 99.733 | 1.945 | 79.3 | -6.562 | 889.742 | 54.965 | 0.10943
2019-12-13 22:15:00 | 0.227 | 168.407 | 0.854 | 116.296 | 1.424 | 89 | 1.899 | 96.967 | -6.448 | 889.983 | 55.691 | 0.30483
2019-12-13 22:30:00 | 0.289 | 182.5 | 0 | 116.249 | 1.201 | 89 | 2.27 | 93.033 | -7.009 | 889.65 | 57.024 | 0.24657
2019-12-13 22:45:00 | 1.322 | 182.56 | 0.39 | 116.23 | 2.214 | 89 | 2.567 | 86 | -7.254 | 890.225 | 58.272 | 0.25154
2019-12-13 23:00:00 | 1.278 | 208.8 | 0 | 116.228 | 0.063 | 64.5 | 2.108 | 72 | -7.422 | 889.875 | 58.187 | 0.24159
2019-12-13 23:15:00 | 1.194 | 194.42 | 0 | 116.229 | 1.5 | 60.667 | 2.649 | 67.8 | -7.863 | 890.05 | 58.635 | 0.22312
2019-12-13 23:30:00 | 1.401 | 187.267 | 0 | 116.248 | 1.539 | 104.367 | 2.248 | 113 | -7.606 | 890.1 | 58.315 | 1.6663
2019-12-13 23:45:00 | 2.394 | 189.253 | 1.382 | 147.207 | 1.827 | 131.367 | 3.469 | 107.8 | -7.483 | 890.067 | 58.016 | 4.5988