## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-14 00:00:00 | 3.308 | 192.993 | 2.481 | 158.257 | 2.951 | 133.133 | 4.231 | 112.067 | -7.452 | 890 | 57.675 | 3.4988
2019-12-14 00:15:00 | 3.586 | 196.6 | 2.667 | 155.941 | 2.752 | 137.533 | 3.901 | 123 | -7.589 | 889.717 | 57.056 | 3.6793
2019-12-14 00:30:00 | 3.292 | 194.573 | 2.742 | 156.902 | 3.137 | 131.3 | 3.988 | 120.8 | -6.995 | 890.025 | 55.253 | 3.6083
2019-12-14 00:45:00 | 2.64 | 179.527 | 2.699 | 135.975 | 3.512 | 123.033 | 4.232 | 115.3 | -6.823 | 890.225 | 55.36 | 4.9974
2019-12-14 01:00:00 | 2.79 | 180.633 | 2.7 | 135.763 | 3.226 | 123.5 | 4.003 | 115.4 | -6.478 | 889.692 | 53.781 | 6.9323
2019-12-14 01:15:00 | 3.631 | 177.433 | 3.422 | 137.938 | 3.081 | 134.067 | 4.035 | 123.5 | -6.412 | 889.933 | 53.675 | 9.1741
2019-12-14 01:30:00 | 3.383 | 176.82 | 3.587 | 138.513 | 3.017 | 137.033 | 3.424 | 128.2 | -6.936 | 889.708 | 54.357 | 8.8935
2019-12-14 01:45:00 | 3.65 | 176.147 | 3.758 | 138.822 | 3.26 | 135.733 | 3.809 | 126.233 | -6.933 | 890.083 | 55.019 | 7.0154
2019-12-14 02:00:00 | 3.565 | 176.313 | 3.549 | 139.072 | 3.183 | 134.933 | 3.423 | 127.533 | -6.734 | 890.308 | 55.339 | 6.2871
2019-12-14 02:15:00 | 3.767 | 174.067 | 3.464 | 137.688 | 2.947 | 136.2 | 3.353 | 126.733 | -6.512 | 889.617 | 54.357 | 5.7343
2019-12-14 02:30:00 | 3.206 | 161.533 | 3.638 | 122.667 | 4.022 | 120.633 | 4.303 | 115.767 | -5.898 | 890.092 | 53.248 | 5.099
2019-12-14 02:45:00 | 3.146 | 166.367 | 3.39 | 127.808 | 3.698 | 125.733 | 4.122 | 117.8 | -5.997 | 890.1 | 53.141 | 4.7864
2019-12-14 03:00:00 | 3.197 | 166.127 | 3.057 | 127.323 | 3.226 | 127.467 | 3.823 | 123.733 | -6.16 | 890.117 | 53.461 | 3.2039
2019-12-14 03:15:00 | 3.122 | 175.313 | 2.857 | 128.185 | 2.984 | 120.167 | 3.488 | 112.1 | -6.12 | 889.325 | 53.76 | 1.5917
2019-12-14 03:30:00 | 2.547 | 181.867 | 2.049 | 127.922 | 2.382 | 111.8 | 2.244 | 102.5 | -7.091 | 890.033 | 55.797 | 0.19541
2019-12-14 03:45:00 | 2.376 | 180.5 | 1.658 | 133.523 | 2.29 | 112 | 2.431 | 101.733 | -6.428 | 889.525 | 55.2 | 0.068214
2019-12-14 04:00:00 | 1.602 | 180.947 | 1.164 | 116.791 | 1.118 | 99.067 | 1.619 | 90.933 | -6.037 | 889.733 | 54.08 | 0.27925
2019-12-14 04:15:00 | 1.386 | 181.453 | 1.273 | 120.463 | 2.074 | 105.5 | 2.404 | 101.4 | -6.157 | 889.8 | 54.56 | 0.54216
2019-12-14 04:30:00 | 1.463 | 187.093 | 1.24 | 120.491 | 2.027 | 106.8 | 2.411 | 104.967 | -6.11 | 889.75 | 54.475 | 0.67575
2019-12-14 04:45:00 | 1.601 | 202.567 | 0.397 | 135.638 | 2.067 | 113.667 | 3.017 | 103.967 | -6.312 | 890.233 | 54.741 | 0.41639
2019-12-14 05:00:00 | 1.451 | 204.3 | 0.147 | 137.369 | 1.985 | 108.033 | 2.902 | 106.6 | -6.595 | 890.217 | 55.339 | 0.32118
2019-12-14 05:15:00 | 2.027 | 208.867 | 0.63 | 144.442 | 1.806 | 121.467 | 2.989 | 107.2 | -6.662 | 889.608 | 55.125 | 0.11085
2019-12-14 05:30:00 | 1.709 | 210.687 | 0.43 | 153.493 | 1.293 | 127.833 | 2.792 | 104.833 | -6.422 | 889.867 | 55.125 | 0.22667
2019-12-14 05:45:00 | 1.8 | 220.367 | 0 | 148.15 | 0.35 | 111.333 | 1.421 | 106.9 | -6.395 | 889.683 | 54.955 | 0.27286
2019-12-14 06:00:00 | 2.323 | 221.433 | 0 | 148.405 | 0 | 112.933 | 1.519 | 99.967 | -6.578 | 889.975 | 55.371 | 0.22312
2019-12-14 06:15:00 | 2.716 | 226.787 | 0 | 148.577 | 0 | 113 | 1.031 | 100 | -6.222 | 889.942 | 54.965 | 0.22454
2019-12-14 06:30:00 | 2.472 | 230.967 | 0 | 148.536 | 0 | 113.033 | 0 | 100 | -6.428 | 889.85 | 55.019 | 0.22028
2019-12-14 06:45:00 | 2.394 | 234.373 | 0 | 148.433 | 0 | 113.033 | 0 | 99.967 | -6.415 | 889.625 | 55.189 | 0.22596
2019-12-14 07:00:00 | 2.303 | 234.387 | 0 | 148.537 | 0 | 112.767 | 0 | 100 | -6.803 | 889.825 | 55.925 | 0.22596
2019-12-14 07:15:00 | 2.773 | 223.4 | 0 | 148.587 | 0 | 113.033 | 1.265 | 100 | -6.992 | 890.158 | 56.363 | 0.2217
2019-12-14 07:30:00 | 3.122 | 226.84 | 0 | 148.518 | 0 | 112.867 | 0.94 | 100 | -7.012 | 889.708 | 56.405 | 0.22312
2019-12-14 07:45:00 | 2.383 | 226.407 | 0 | 148.496 | 0 | 113 | 1.139 | 100 | -7.21 | 890.192 | 56.587 | 0.22738
2019-12-14 08:00:00 | 2.35 | 219.513 | 0 | 148.445 | 0 | 113 | 1.248 | 100 | -7.131 | 890.517 | 56.309 | 0.22738
2019-12-14 08:15:00 | 3.136 | 216.22 | 0 | 148.457 | 0 | 113 | 1.596 | 102 | -7.051 | 890.325 | 55.829 | 0.22738
2019-12-14 08:30:00 | 2.475 | 224.407 | 0 | 148.572 | 0 | 113.033 | 1.371 | 102 | -7.21 | 890.108 | 55.584 | 0.2288
2019-12-14 08:45:00 | 2.052 | 216.86 | 0 | 148.546 | 0.433 | 113 | 1.685 | 102.033 | -7.27 | 889.983 | 56.117 | 0.23164
2019-12-14 09:00:00 | 2.353 | 217.033 | 0 | 147.502 | 0.74 | 99.933 | 1.734 | 100.333 | -7.24 | 889.967 | 56.171 | 0.23164
2019-12-14 09:15:00 | 1.827 | 216.6 | 0 | 147.466 | 0.027 | 93 | 1.743 | 97 | -7.572 | 890.2 | 57.621 | 0.2217
2019-12-14 09:30:00 | 1.833 | 212.573 | 0.49 | 146.287 | 1.266 | 98.2 | 1.706 | 97.067 | -7.36 | 889.842 | 57.685 | 0.23591
2019-12-14 09:45:00 | 2.278 | 212.86 | 0.372 | 135.446 | 1.491 | 131.8 | 1.971 | 116.633 | -6.873 | 890.017 | 56.064 | 0.24017
2019-12-14 10:00:00 | 1.604 | 206.553 | 1.544 | 122.208 | 2.061 | 124 | 2.612 | 122.833 | -6.24 | 889.858 | 54.571 | 0.24159
2019-12-14 10:15:00 | 1.2 | 210.52 | 1.261 | 121.226 | 1.884 | 122.633 | 2.044 | 123 | -5.561 | 889.55 | 51.52 | 0.23307
2019-12-14 10:30:00 | 2.343 | 212.327 | 1.422 | 142.855 | 1.263 | 126.7 | 1.991 | 123.033 | -6.011 | 889.8 | 51.424 | 0.23449
2019-12-14 10:45:00 | 1.508 | 215.6 | 0.057 | 151.456 | 0 | 131 | 1.686 | 122.833 | -5.152 | 889.925 | 50.667 | 0.21601
2019-12-14 11:00:00 | 1.131 | 222.8 | 0 | 151.491 | 0 | 131 | 1.123 | 123.033 | -3.588 | 889.925 | 48.203 | 0.22454
2019-12-14 11:15:00 | 0.156 | 234.307 | 0 | 151.504 | 0 | 131 | 0.793 | 123 | -2.623 | 889.858 | 47.467 | 0.2352
2019-12-14 11:30:00 | 0.179 | 234.187 | 0 | 86.267 | 0.13 | 83.5 | 1.333 | 123 | -2.711 | 890.308 | 45.504 | 0.16769
2019-12-14 11:45:00 | 1.316 | 45.967 | 0.103 | 52.111 | 0.067 | 51 | 1.653 | 80.833 | -3.387 | 890.008 | 42.315 | 0.22809
2019-12-14 12:00:00 | 1.913 | 52.633 | 1.514 | 55.052 | 1.537 | 62.2 | 1.961 | 66 | -3.321 | 889.892 | 42.123 | 0.20962
2019-12-14 12:15:00 | 2.398 | 67.967 | 2.269 | 64.095 | 2.247 | 69.3 | 2.227 | 67.5 | -3.672 | 890 | 43.68 | 0.55211
2019-12-14 12:30:00 | 2.87 | 77.633 | 2.709 | 74.135 | 2.92 | 79.333 | 3.008 | 74.567 | -3.588 | 889.808 | 44.064 | 2.5765
2019-12-14 12:45:00 | 3.353 | 81.333 | 2.956 | 76.215 | 3.003 | 84.5 | 3.425 | 79.7 | -3.79 | 889.925 | 44.896 | 2.9034
2019-12-14 13:00:00 | 3.011 | 84.7 | 2.871 | 80.286 | 2.962 | 90.733 | 3.32 | 90 | -3.237 | 889.617 | 43.701 | 2.897
2019-12-14 13:15:00 | 3.327 | 97.867 | 2.663 | 90.834 | 2.501 | 99.467 | 3.105 | 97.567 | -3.538 | 890.117 | 43.573 | 2.1324
2019-12-14 13:30:00 | 3.324 | 106.543 | 3.285 | 101.404 | 2.947 | 99.133 | 3.073 | 95.9 | -3.234 | 890.192 | 42.56 | 3.3738
2019-12-14 13:45:00 | 2.583 | 91.393 | 2.473 | 88.46 | 2.598 | 94.267 | 2.944 | 92.667 | -2.882 | 889.758 | 42.709 | 3.7468
2019-12-14 14:00:00 | 3.818 | 119.59 | 4.035 | 109.756 | 3.997 | 115.567 | 4.292 | 109.467 | -2.589 | 890.142 | 41.909 | 2.7847
2019-12-14 14:15:00 | 2.816 | 82.79 | 2.46 | 83.888 | 2.466 | 92.933 | 2.469 | 92.3 | -2.25 | 890.45 | 41.269 | 4.1646
2019-12-14 14:30:00 | 3.676 | 101.837 | 3.786 | 96.642 | 3.477 | 98.167 | 3.381 | 95.033 | -2.16 | 889.475 | 40.848 | 7.3977
2019-12-14 14:45:00 | 4.035 | 99.95 | 3.511 | 95.77 | 3.599 | 97.8 | 3.821 | 91.8 | -2.021 | 889.308 | 40.907 | 10.3451
2019-12-14 15:00:00 | 3.783 | 109.343 | 3.537 | 100.35 | 3.493 | 104.167 | 3.922 | 96.367 | -1.813 | 889.733 | 40.181 | 26.1489
2019-12-14 15:15:00 | 5.723 | 101.9 | 5.484 | 94.861 | 5.136 | 95.5 | 5.156 | 88.2 | -0.842 | 889.483 | 38.208 | 32.5887
2019-12-14 15:30:00 | 6.507 | 102.787 | 6.925 | 99.209 | 6.278 | 105.233 | 6.347 | 99.267 | -1.249 | 889.733 | 37.979 | 34.8355
2019-12-14 15:45:00 | 6.294 | 100.973 | 5.842 | 97.01 | 5.056 | 100.6 | 5.36 | 95.333 | -1.246 | 889.883 | 37.936 | 35.1333
2019-12-14 16:00:00 | 6.132 | 103.617 | 5.76 | 97.329 | 5.185 | 98.533 | 5.315 | 91.667 | -1.185 | 889.567 | 38.176 | 32.0515
2019-12-14 16:15:00 | 5.288 | 106.953 | 5.547 | 102.086 | 5.31 | 106.833 | 5.449 | 101.7 | -1.8 | 890.35 | 38.587 | 25.0922
2019-12-14 16:30:00 | 5.864 | 105.043 | 5.531 | 96.645 | 5.075 | 100.967 | 5.655 | 96.1 | -1.706 | 889.733 | 39.109 | 23.1687
2019-12-14 16:45:00 | 4.304 | 99.833 | 4.086 | 96.498 | 3.732 | 100.067 | 4.005 | 95.5 | -1.7 | 889.617 | 39.595 | 14.8032
2019-12-14 17:00:00 | 4.43 | 103.5 | 4.132 | 99.231 | 3.599 | 100.967 | 3.514 | 91.867 | -2.008 | 890.067 | 39.115 | 10.7253
2019-12-14 17:15:00 | 4.117 | 89.133 | 4.303 | 85.883 | 4.249 | 89.9 | 4.519 | 86.133 | -1.782 | 890.25 | 39.525 | 7.5348
2019-12-14 17:30:00 | 4.11 | 80.61 | 4.169 | 75.872 | 4.062 | 81.133 | 4.259 | 77.967 | -2.005 | 889.883 | 40.256 | 4.2236
2019-12-14 17:45:00 | 3.195 | 71.15 | 3.25 | 67.05 | 3.453 | 71.133 | 3.646 | 69.8 | -2.882 | 889.967 | 41.611 | 1.7046
2019-12-14 18:00:00 | 2.437 | 56.54 | 2.371 | 52.068 | 2.471 | 61.833 | 2.538 | 61.3 | -2.862 | 889.817 | 43.317 | 0.5713
2019-12-14 18:15:00 | 2.511 | 61.467 | 2.525 | 58.346 | 2.569 | 64.7 | 2.82 | 60.233 | -3.271 | 890.108 | 44.864 | 0.14496
2019-12-14 18:30:00 | 2.042 | 46.6 | 1.906 | 47.132 | 1.79 | 56.5 | 2.022 | 60.967 | -3.572 | 889.725 | 46.272 | 0.20038
2019-12-14 18:45:00 | 2.69 | 48.073 | 2.833 | 46.522 | 2.883 | 52 | 2.84 | 51.767 | -3.852 | 889.808 | 47.296 | 0.29133
2019-12-14 19:00:00 | 1.586 | 36.308 | 1.984 | 41.77 | 2.008 | 45.433 | 2.105 | 45 | -4.127 | 890.05 | 48.203 | 0.23307
2019-12-14 19:15:00 | 0 | 38.02 | 0 | 41.122 | 0 | 44.867 | 0 | 45.067 | -4.246 | 889.633 | 49.323 | 0.22454
2019-12-14 19:30:00 | 0.895 | 186.99 | 0 | 41.108 | 0 | 44.867 | 0 | 45.067 | -4.586 | 889.825 | 50.059 | 0.21885
2019-12-14 19:45:00 | 0.103 | 350.24 | 0 | 41.104 | 0 | 44.125 | 0 | 44.867 | -4.364 | 889.817 | 49.717 | 0.22738
2019-12-14 20:00:00 | 0 | 350.213 | 0 | 41.123 | 0 | 44.125 | 0 | 45 | -4.325 | 889.65 | 49.653 | 0.23307
2019-12-14 20:15:00 | 0.306 | 349.96 | 0 | 41.126 | 0 | 44.125 | 0 | 45 | -4.444 | 889.417 | 49.557 | 0.23022
2019-12-14 20:30:00 | 0.333 | 329.6 | 0 | 41.085 | 0 | 44.121 | 0 | 45.033 | -4.835 | 889.95 | 49.835 | 0.22738
2019-12-14 20:45:00 | 0 | 314.173 | 0 | 41.124 | 0 | 44 | 0 | 45.067 | -4.265 | 889.567 | 49.845 | 0.2288
2019-12-14 21:00:00 | 0 | 314.333 | 0 | 41.12 | 0 | 43.8 | 0.665 | 45 | -4.57 | 890.067 | 50.283 | 0.22738
2019-12-14 21:15:00 | 0.911 | 282.653 | 0 | 41.125 | 0 | 44.054 | 0 | 45 | -4.583 | 889.983 | 50.976 | 0.2288
2019-12-14 21:30:00 | 1.712 | 267.14 | 1.042 | 192.201 | 0.817 | 206.146 | 1.548 | 29.667 | -4.806 | 889.675 | 51.36 | 0.23022
2019-12-14 21:45:00 | 2.556 | 271.733 | 1.951 | 282.117 | 1.48 | 293.467 | 0.833 | 11.867 | -4.952 | 889.825 | 51.36 | 0.26859
2019-12-14 22:00:00 | 2.962 | 273.773 | 2.826 | 274.026 | 2.717 | 286.033 | 2.744 | 298.333 | -4.779 | 889.925 | 51.92 | 0.27428
2019-12-14 22:15:00 | 2.426 | 255.773 | 1.712 | 277.03 | 1.718 | 295.567 | 1.788 | 296.433 | -4.829 | 889.733 | 51.957 | 0.26291
2019-12-14 22:30:00 | 3.204 | 262.907 | 3.569 | 272.278 | 3.217 | 275.367 | 3.046 | 276 | -5.252 | 889.158 | 53.483 | 0.24017
2019-12-14 22:45:00 | 3.332 | 273.733 | 3.483 | 284.518 | 3.426 | 296.667 | 3.54 | 301.167 | -4.636 | 889.508 | 52.037 | 0.63525
2019-12-14 23:00:00 | 3.538 | 255.06 | 3.038 | 275.218 | 2.824 | 281.8 | 2.892 | 292.667 | -5.135 | 889.95 | 52.256 | 1.1618
2019-12-14 23:15:00 | 3.92 | 263.947 | 4.001 | 284.548 | 4.159 | 298.933 | 4.358 | 303.233 | -4.969 | 889.658 | 51.552 | 3.8967
2019-12-14 23:30:00 | 3.383 | 292.333 | 3.804 | 295.927 | 3.802 | 301.867 | 4.053 | 301.833 | -4.885 | 890.083 | 51.568 | 3.8449
2019-12-14 23:45:00 | 3.526 | 260.627 | 4.271 | 289.063 | 4.366 | 300.967 | 4.451 | 303.967 | -5.319 | 890.05 | 52.448 | 4.6279