## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-15 00:00:00 | 4.19 | 261.72 | 3.786 | 279.277 | 3.759 | 286.567 | 4.115 | 293.3 | -6.037 | 890.158 | 54.048 | 3.8939
2019-12-15 00:15:00 | 3.47 | 275.2 | 3.314 | 282.835 | 3.43 | 288.7 | 3.814 | 292.7 | -4.902 | 889.733 | 51.339 | 3.8733
2019-12-15 00:30:00 | 2.821 | 272.933 | 2.685 | 286.272 | 2.965 | 296.3 | 3.601 | 300.667 | -5.069 | 890.133 | 51.717 | 1.6911
2019-12-15 00:45:00 | 3.597 | 237.88 | 3.069 | 259.1 | 2.85 | 274 | 3.063 | 275.067 | -5.592 | 889.792 | 52.768 | 2.3562
2019-12-15 01:00:00 | 4.055 | 233.8 | 3.918 | 258.243 | 3.529 | 270.067 | 3.681 | 268.333 | -5.997 | 889.6 | 54.619 | 3.9252
2019-12-15 01:15:00 | 4.284 | 238.133 | 4.272 | 254.871 | 3.987 | 261.933 | 4.098 | 262.867 | -5.997 | 889.867 | 55.621 | 5.8103
2019-12-15 01:30:00 | 4.191 | 243.933 | 4.789 | 257.304 | 4.504 | 265.2 | 4.675 | 265.033 | -5.534 | 889.567 | 57.216 | 12.0192
2019-12-15 01:45:00 | 4.209 | 250.78 | 4.983 | 261.004 | 5.308 | 268.2 | 5.744 | 264.8 | -5.585 | 889.767 | 57.296 | 13.3416
2019-12-15 02:00:00 | 4.269 | 241.233 | 5.262 | 256.274 | 5.662 | 262.867 | 6.071 | 260.4 | -5.302 | 890.275 | 56.864 | 14.897
2019-12-15 02:15:00 | 4.618 | 236.967 | 5.496 | 249.783 | 5.628 | 256.167 | 5.923 | 254.3 | -5.052 | 890.117 | 56.896 | 18.5707
2019-12-15 02:30:00 | 3.689 | 241.887 | 5.393 | 253.902 | 5.904 | 260.733 | 6.123 | 257.667 | -5.319 | 889.858 | 57.685 | 22.8142
2019-12-15 02:45:00 | 4.787 | 262.24 | 6.148 | 276.292 | 6.735 | 279.433 | 7.243 | 273.7 | -4.812 | 889.958 | 57.296 | 16.0723
2019-12-15 03:00:00 | 4.022 | 266.42 | 5.088 | 275.741 | 5.567 | 279.833 | 6.019 | 276.067 | -4.729 | 890.083 | 57.04 | 13.0879
2019-12-15 03:15:00 | 3.866 | 272.347 | 5.182 | 276.602 | 5.673 | 279.633 | 6.16 | 275.667 | -5.102 | 890.05 | 57.104 | 17.9027
2019-12-15 03:30:00 | 6.011 | 243.46 | 7.266 | 266.053 | 8.078 | 270.833 | 8.29 | 267.1 | -4.985 | 889.65 | 56.939 | 31.5328
2019-12-15 03:45:00 | 7.573 | 247.993 | 8.734 | 268.666 | 9.118 | 270.967 | 9.328 | 267.233 | -4.69 | 889.85 | 56.843 | 38.2498
2019-12-15 04:00:00 | 6.502 | 243.4 | 7.482 | 265.014 | 7.828 | 268.733 | 7.981 | 264.4 | -5.152 | 890.133 | 57.835 | 34.0248
2019-12-15 04:15:00 | 5.582 | 249.453 | 6.712 | 267.613 | 7.096 | 272.9 | 7.383 | 268.233 | -5.338 | 889.867 | 59.643 | 22.7772
2019-12-15 04:30:00 | 4.408 | 257.813 | 5.411 | 263.91 | 5.414 | 270.633 | 5.492 | 266.8 | -6.13 | 890.358 | 61.419 | 15.2061
2019-12-15 04:45:00 | 3.951 | 258.8 | 4.907 | 269.231 | 5.139 | 274.733 | 5.409 | 268.667 | -6.618 | 890.1 | 63.499 | 17.4629
2019-12-15 05:00:00 | 4.487 | 251.187 | 5.008 | 260.649 | 5.026 | 265.967 | 5.25 | 261.183 | -7.108 | 889.917 | 65.44 | 28.7062
2019-12-15 05:15:00 | 5.897 | 251.987 | 7.322 | 262.684 | 7.774 | 267.7 | 7.964 | 261.617 | -7.289 | 889.842 | 66.139 | 40.7318
2019-12-15 05:30:00 | 6.638 | 243.853 | 7.936 | 260.347 | 8.57 | 264.233 | 8.786 | 259.317 | -6.826 | 889.975 | 65.061 | 54.1054
2019-12-15 05:45:00 | 6.793 | 235.06 | 8.214 | 255.096 | 8.66 | 259.733 | 8.66 | 254.933 | -6.574 | 889.55 | 63.893 | 61.6495
2019-12-15 06:00:00 | 6.28 | 236.913 | 7.444 | 250.238 | 7.737 | 254.767 | 7.921 | 251.133 | -6.75 | 890.358 | 63.125 | 53.9462
2019-12-15 06:15:00 | 5.153 | 237.793 | 6.018 | 251.456 | 6.232 | 257.133 | 6.364 | 253.083 | -6.856 | 889.967 | 62.933 | 50.4509
2019-12-15 06:30:00 | 5.909 | 228.98 | 6.978 | 246.974 | 7.387 | 252.467 | 7.634 | 249.5 | -7.131 | 889.75 | 63.456 | 70.2537
2019-12-15 06:45:00 | 8.175 | 222.913 | 9.007 | 250.794 | 9.568 | 254.817 | 9.541 | 252.033 | -6.893 | 890.1 | 62.128 | 79.4257
2019-12-15 07:00:00 | 9.399 | 225.227 | 10.573 | 254.685 | 11.189 | 260.7 | 11.429 | 256.667 | -6.678 | 890.158 | 62.08 | 78.9482
2019-12-15 07:15:00 | 9.332 | 237.053 | 10.761 | 259.832 | 11.798 | 263.533 | 12.37 | 261.717 | -6.452 | 890 | 61.088 | 77.3416
2019-12-15 07:30:00 | 8.833 | 238.14 | 10.454 | 263.237 | 11.004 | 267.533 | 11.609 | 265.033 | -6.378 | 889.725 | 60.976 | 76.123
2019-12-15 07:45:00 | 9.378 | 246.747 | 10.658 | 263.879 | 11.072 | 267.767 | 11.508 | 264.633 | -5.697 | 889.783 | 59.915 | 76.2403
2019-12-15 08:00:00 | 9.307 | 242.76 | 10.682 | 264.669 | 11.191 | 267.517 | 11.521 | 263.8 | -5.485 | 889.925 | 57.888 | 72.4842
2019-12-15 08:15:00 | 8.551 | 236.327 | 9.911 | 260.924 | 10.762 | 265.467 | 11.128 | 261.633 | -5.069 | 889.842 | 56.325 | 72.9787
2019-12-15 08:30:00 | 8.421 | 233.84 | 9.735 | 257.91 | 10.453 | 262.767 | 10.684 | 260.45 | -5.102 | 889.908 | 55.387 | 76.1799
2019-12-15 08:45:00 | 8.044 | 236.74 | 9.644 | 257.159 | 10.485 | 262 | 10.87 | 258.6 | -5.052 | 890.075 | 55.253 | 76.8187
2019-12-15 09:00:00 | 9.113 | 234.247 | 10.369 | 257.61 | 10.962 | 262.867 | 11.436 | 261.033 | -4.869 | 889.65 | 55.669 | 78.5105
2019-12-15 09:15:00 | 9.309 | 231.627 | 10.666 | 260.1 | 11.302 | 262.767 | 11.638 | 260.717 | -5.052 | 890.192 | 55.424 | 79.6297
2019-12-15 09:30:00 | 9.327 | 231.833 | 10.658 | 256.076 | 11.412 | 262.1 | 11.96 | 259.217 | -4.952 | 890.05 | 55.205 | 79.7668
2019-12-15 09:45:00 | 8.864 | 227.813 | 10.279 | 257.04 | 11.397 | 262.2 | 11.654 | 259.733 | -4.935 | 889.558 | 54.651 | 79.3007
2019-12-15 10:00:00 | 7.678 | 239.567 | 9.248 | 256.663 | 10.199 | 260.967 | 10.741 | 258.517 | -4.51 | 889.758 | 53.931 | 77.596
2019-12-15 10:15:00 | 8.418 | 230.153 | 9.851 | 255.529 | 10.495 | 259.717 | 10.917 | 256.683 | -4.345 | 889.892 | 53.339 | 78.8139
2019-12-15 10:30:00 | 9.191 | 226.933 | 10.138 | 257.508 | 10.596 | 262.033 | 10.733 | 258.25 | -4.069 | 890.025 | 53.088 | 75.1339
2019-12-15 10:45:00 | 9.034 | 237.1 | 10.061 | 263.686 | 10.32 | 268.133 | 10.653 | 263.233 | -3.806 | 890.158 | 53.499 | 60.8011
2019-12-15 11:00:00 | 7.462 | 239.5 | 8.378 | 260.018 | 8.653 | 263.467 | 8.781 | 260.967 | -3.907 | 890.258 | 53.627 | 65.0097
2019-12-15 11:15:00 | 9.512 | 224.1 | 10.492 | 254.288 | 10.991 | 259.5 | 11.234 | 256.167 | -3.739 | 890.183 | 54.155 | 76.7575
2019-12-15 11:30:00 | 10.54 | 232.5 | 12.184 | 258.656 | 12.823 | 264.533 | 12.914 | 259.983 | -3.739 | 889.817 | 57.093 | 79.2374
2019-12-15 11:45:00 | 11.178 | 231.967 | 11.651 | 260.306 | 12.178 | 264.067 | 12.321 | 259.967 | -3.622 | 889.533 | 54.672 | 79.3021
2019-12-15 12:00:00 | 9.605 | 233.767 | 10.202 | 260.119 | 10.38 | 265.017 | 10.468 | 261.75 | -3.689 | 889.95 | 51.52 | 79.5792
2019-12-15 12:15:00 | 10.347 | 235.487 | 11.013 | 260.611 | 11.33 | 265.4 | 11.281 | 261.817 | -3.967 | 889.783 | 61.083 | 79.5977
2019-12-15 12:30:00 | 10.82 | 230.087 | 11.89 | 254.902 | 12.29 | 259.233 | 12.224 | 253.867 | -4.113 | 890.008 | 61.189 | 79.5124
2019-12-15 12:45:00 | 10.755 | 230.467 | 11.771 | 259.08 | 11.853 | 261.867 | 12.08 | 256.15 | -3.857 | 889.708 | 57.237 | 79.5124
2019-12-15 13:00:00 | 11.085 | 238.4 | 11.971 | 255.491 | 12.652 | 258.85 | 12.527 | 255.117 | -3.857 | 890.383 | 58.443 | 79.538
2019-12-15 13:15:00 | 11.559 | 213.267 | 12.77 | 252.747 | 13.159 | 257.067 | 13.337 | 253.417 | -3.337 | 889.283 | 58.352 | 79.555
2019-12-15 13:30:00 | 11.059 | 237.967 | 11.643 | 255.101 | 12.052 | 259.567 | 12.348 | 256.7 | -3.874 | 890 | 64.688 | 79.555
2019-12-15 13:45:00 | 11.227 | 224.7 | 11.922 | 248.77 | 12.028 | 253.333 | 12.28 | 248.333 | -3.857 | 890.033 | 65.435 | 79.555
2019-12-15 14:00:00 | 11.128 | 229.733 | 11.86 | 248.073 | 12.264 | 250.9 | 12.134 | 245.517 | -3.487 | 889.992 | 61.819 | 79.555
2019-12-15 14:15:00 | 11.361 | 211.4 | 12.485 | 249.552 | 12.791 | 251.883 | 12.898 | 248.017 | -3.304 | 889.942 | 58.085 | 79.555
2019-12-15 14:30:00 | 11.092 | 217.027 | 12.451 | 251.087 | 12.705 | 254.717 | 12.752 | 249.1 | -2.908 | 889.95 | 55.099 | 79.555
2019-12-15 14:45:00 | 10.364 | 224.993 | 11.448 | 250.142 | 12.058 | 254.717 | 12.039 | 249.867 | -2.74 | 889.925 | 54.08 | 79.555
2019-12-15 15:00:00 | 10.983 | 228.293 | 11.783 | 256.49 | 12.152 | 259.8 | 12.245 | 254.8 | -2.683 | 890.15 | 54.085 | 79.4868
2019-12-15 15:15:00 | 10.209 | 246.2 | 10.888 | 268.936 | 11.034 | 271.667 | 11.117 | 266.067 | -2.164 | 889.975 | 54.309 | 79.4158
2019-12-15 15:30:00 | 9.216 | 243.373 | 10.256 | 264.427 | 10.217 | 268.6 | 10.07 | 263.65 | -2.76 | 889.433 | 60.064 | 77.8447
2019-12-15 15:45:00 | 9.32 | 235.233 | 10.06 | 266.794 | 10.25 | 270.767 | 10.384 | 266.467 | -3.388 | 890.008 | 65.104 | 77.7047
2019-12-15 16:00:00 | 11.196 | 249.167 | 12.692 | 267.713 | 13.632 | 270.933 | 13.578 | 266.067 | -3.522 | 890.15 | 60.277 | 78.681
2019-12-15 16:15:00 | 11.808 | 224.933 | 13.302 | 257.256 | 13.7 | 261.2 | 13.87 | 257.083 | -3.874 | 890 | 60.155 | 78.681
2019-12-15 16:30:00 | 11.3 | 231.4 | 12.53 | 257.709 | 12.715 | 262.55 | 12.696 | 258.25 | -3.806 | 889.758 | 57.275 | 78.681
2019-12-15 16:45:00 | 10.09 | 236.567 | 11.368 | 259.486 | 12.152 | 262.7 | 12.172 | 258.8 | -3.471 | 889.85 | 56.891 | 78.681
2019-12-15 17:00:00 | 9.596 | 227.4 | 10.39 | 250.24 | 10.72 | 253.933 | 10.709 | 248.8 | -3.221 | 889.892 | 56.528 | 78.9752
2019-12-15 17:15:00 | 9.318 | 210.067 | 10.273 | 246.385 | 10.807 | 251.817 | 10.723 | 246.817 | -3.321 | 889.967 | 58.677 | 78.9965
2019-12-15 17:30:00 | 9.455 | 218.9 | 10.472 | 248.092 | 10.815 | 252.7 | 10.998 | 248.617 | -3.656 | 889.85 | 57.909 | 79.0221
2019-12-15 17:45:00 | 8.878 | 232.7 | 10.007 | 252.167 | 10.611 | 255.483 | 10.554 | 250.817 | -3.706 | 890.325 | 58.731 | 77.7076
2019-12-15 18:00:00 | 7.684 | 221.333 | 8.766 | 246.532 | 9.63 | 251.733 | 9.751 | 245.567 | -3.823 | 889.858 | 59.653 | 76.9174
2019-12-15 18:15:00 | 7.249 | 216.993 | 8.418 | 244.31 | 9.009 | 249.133 | 9.186 | 244.433 | -4.218 | 889.725 | 61.056 | 77.6635
2019-12-15 18:30:00 | 8.676 | 221.633 | 9.948 | 246.879 | 10.621 | 250.133 | 10.394 | 245.5 | -4.305 | 889.617 | 62.096 | 79.371
2019-12-15 18:45:00 | 8.866 | 219.127 | 10.529 | 248.273 | 11.243 | 252.3 | 11.472 | 246.717 | -4.616 | 890.108 | 63.125 | 79.7121
2019-12-15 19:00:00 | 9.241 | 209.833 | 11.124 | 240.76 | 11.834 | 245.8 | 11.846 | 240.9 | -5.069 | 889.833 | 64.427 | 79.6829
2019-12-15 19:15:00 | 9.462 | 213.3 | 11.368 | 242.827 | 12.736 | 247.367 | 12.873 | 240.9 | -5.202 | 889.917 | 65.824 | 79.6829
2019-12-15 19:30:00 | 10.291 | 224.833 | 11.578 | 237.024 | 12.485 | 243.1 | 12.926 | 237.6 | -5.269 | 889.825 | 66.453 | 79.6829
2019-12-15 19:45:00 | 9.625 | 217.093 | 11.373 | 237.834 | 12.737 | 243.133 | 12.936 | 238.667 | -5.73 | 889.933 | 68.075 | 79.6829
2019-12-15 20:00:00 | 9.734 | 212.453 | 11.618 | 238.91 | 12.917 | 244.233 | 13.277 | 237.667 | -5.511 | 889.883 | 68 | 79.6829
2019-12-15 20:15:00 | 9.092 | 210.44 | 11.095 | 238.977 | 12.085 | 242.633 | 12.461 | 237.267 | -5.587 | 889.8 | 68.309 | 79.6829
2019-12-15 20:30:00 | 10.559 | 216.033 | 12.625 | 236.858 | 13.761 | 243.267 | 14.203 | 238.4 | -5.335 | 890.333 | 66.005 | 79.619
2019-12-15 20:45:00 | 9.553 | 220.333 | 11.254 | 239.456 | 12.393 | 244.6 | 12.898 | 240.967 | -4.852 | 889.625 | 64.085 | 79.6758
2019-12-15 21:00:00 | 11.495 | 214.3 | 12.924 | 240.805 | 13.791 | 243.533 | 14.07 | 237.767 | -5.369 | 889.783 | 63.659 | 79.6616
2019-12-15 21:15:00 | 9.918 | 213.2 | 10.956 | 235.954 | 11.95 | 240.933 | 12.088 | 233.533 | -5.002 | 889.825 | 63.296 | 79.6616
2019-12-15 21:30:00 | 10.151 | 215.94 | 11.88 | 236.535 | 13.373 | 241.867 | 13.837 | 237.633 | -5.736 | 890.3 | 65.419 | 79.6616
2019-12-15 21:45:00 | 9.679 | 222.1 | 11.491 | 235.846 | 12.8 | 241.067 | 12.848 | 234.7 | -5.452 | 889.542 | 64.544 | 79.6616
2019-12-15 22:00:00 | 9.003 | 216.38 | 10.674 | 238.525 | 11.84 | 243.467 | 12.198 | 239.733 | -5.592 | 889.767 | 66.955 | 79.6616
2019-12-15 22:15:00 | 10.001 | 221.973 | 11.755 | 247.844 | 12.782 | 252.267 | 13.176 | 248.167 | -5.819 | 890.033 | 68.107 | 79.6616
2019-12-15 22:30:00 | 9.85 | 217.233 | 12.047 | 247.976 | 13.281 | 253.333 | 13.935 | 250.283 | -5.651 | 889.883 | 67.861 | 79.663
2019-12-15 22:45:00 | 7.438 | 219.7 | 9.211 | 246.046 | 10.848 | 251.433 | 11.23 | 249.883 | -5.369 | 890.283 | 67.189 | 79.2509
2019-12-15 23:00:00 | 6.916 | 219.467 | 8.232 | 238.464 | 9.552 | 246.7 | 9.656 | 243.267 | -6.096 | 889.725 | 67.947 | 77.429
2019-12-15 23:15:00 | 6.832 | 217.567 | 7.795 | 227.357 | 8.411 | 234.367 | 8.376 | 230.633 | -6.195 | 889.867 | 68.309 | 70.1209
2019-12-15 23:30:00 | 4.872 | 218.133 | 5.271 | 224.289 | 5.543 | 233.033 | 5.65 | 230.3 | -5.865 | 889.7 | 67.776 | 71.834
2019-12-15 23:45:00 | 6.829 | 212.247 | 8.57 | 244.024 | 9.53 | 248.333 | 9.98 | 241.533 | -5.839 | 889.317 | 68.352 | 78.4622