## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-16 00:00:00 | 10.916 | 215.247 | 12.594 | 243.001 | 13.811 | 248.833 | 13.904 | 245.017 | -5.508 | 889.7 | 66.805 | 79.2765
2019-12-16 00:15:00 | 10.299 | 220.48 | 12.229 | 246.746 | 13.124 | 252.45 | 13.878 | 248.083 | -5.766 | 889.608 | 67.008 | 78.259
2019-12-16 00:30:00 | 9.318 | 213.807 | 10.922 | 240.271 | 11.538 | 245.733 | 11.556 | 242.5 | -5.967 | 889.842 | 68.011 | 78.2803
2019-12-16 00:45:00 | 10.135 | 212.9 | 11.612 | 240.276 | 12.438 | 247.433 | 12.471 | 244.1 | -5.585 | 890.075 | 67.669 | 79.2865
2019-12-16 01:00:00 | 10.024 | 217.233 | 11.889 | 235.485 | 12.56 | 243.233 | 12.536 | 238.533 | -5.435 | 889.767 | 66.261 | 79.2353
2019-12-16 01:15:00 | 8.856 | 217.5 | 10.642 | 241.795 | 11.031 | 247.967 | 10.996 | 245.483 | -5.269 | 890.042 | 66.795 | 79.2353
2019-12-16 01:30:00 | 9.056 | 220.773 | 10.78 | 241.794 | 11.651 | 247.233 | 11.658 | 244 | -5.736 | 889.542 | 68.331 | 79.2566
2019-12-16 01:45:00 | 8.891 | 210.48 | 10.664 | 240.062 | 11.778 | 244.767 | 11.838 | 241.1 | -5.938 | 889.425 | 68.853 | 79.2992
2019-12-16 02:00:00 | 10.092 | 219.967 | 11.638 | 234.98 | 12.319 | 240.867 | 12.177 | 237.667 | -5.435 | 889.967 | 67.755 | 79.2992
2019-12-16 02:15:00 | 9.155 | 220.133 | 10.84 | 229.761 | 11.706 | 233.367 | 11.916 | 229.533 | -5.435 | 889.983 | 66.133 | 79.2992
2019-12-16 02:30:00 | 8.482 | 216.733 | 10.058 | 226.127 | 11.042 | 234.733 | 11.579 | 230.233 | -5.402 | 889.983 | 64.523 | 78.1069
2019-12-16 02:45:00 | 6.543 | 213.193 | 8.06 | 218.015 | 9.19 | 228.6 | 9.875 | 227.1 | -5.514 | 890.075 | 65.611 | 70.4271
2019-12-16 03:00:00 | 6.446 | 218.08 | 8.18 | 231.285 | 9.292 | 239.1 | 10.394 | 236.5 | -6.186 | 890.125 | 67.424 | 64.2693
2019-12-16 03:15:00 | 7.571 | 216.333 | 9.387 | 242.924 | 10.077 | 248.1 | 10.287 | 241.467 | -5.302 | 889.925 | 65.515 | 65.699
2019-12-16 03:30:00 | 8.184 | 218.4 | 9.655 | 246.175 | 10.564 | 249.933 | 10.874 | 244.967 | -5.519 | 889.633 | 64.725 | 72.0309
2019-12-16 03:45:00 | 8.686 | 221.027 | 10.13 | 243.262 | 10.963 | 249.133 | 11.226 | 244.2 | -5.845 | 889.825 | 65.707 | 78.8672
2019-12-16 04:00:00 | 7.355 | 221.073 | 8.889 | 236.159 | 9.864 | 242 | 9.883 | 238.633 | -5.786 | 889.775 | 66.293 | 78.3023
2019-12-16 04:15:00 | 7.284 | 212.9 | 9.044 | 241.816 | 10.031 | 247.767 | 9.999 | 242.617 | -6.312 | 889.817 | 67.36 | 75.2717
2019-12-16 04:30:00 | 8.214 | 217.533 | 10.242 | 240.091 | 11.668 | 245.467 | 12.076 | 240.9 | -6.113 | 889.583 | 67.723 | 73.3951
2019-12-16 04:45:00 | 9.047 | 209.98 | 10.613 | 242.094 | 11.314 | 247.133 | 11.278 | 242.7 | -5.69 | 890.208 | 66.88 | 78.0288
2019-12-16 05:00:00 | 8.363 | 220.427 | 10.193 | 244.482 | 11.132 | 250.233 | 11.232 | 245.917 | -6.078 | 890.208 | 67.829 | 79.9203
2019-12-16 05:15:00 | 8.591 | 221.087 | 10.071 | 244.122 | 10.345 | 250.133 | 10.3 | 247.6 | -6.057 | 889.792 | 67.989 | 79.5934
2019-12-16 05:30:00 | 8.356 | 221.653 | 9.934 | 237.354 | 10.391 | 245.1 | 10.489 | 241.567 | -6.256 | 889.95 | 68.469 | 79.6687
2019-12-16 05:45:00 | 8.197 | 215.7 | 9.707 | 237.571 | 10.188 | 245.1 | 10.506 | 242.733 | -6.495 | 890.192 | 69.152 | 79.5508
2019-12-16 06:00:00 | 7.597 | 224.893 | 9.265 | 241.124 | 9.97 | 249.467 | 10.064 | 245.8 | -6.823 | 889.867 | 70.283 | 78.7208
2019-12-16 06:15:00 | 7.29 | 225.94 | 8.718 | 240.198 | 9.494 | 247.933 | 9.673 | 244.817 | -6.83 | 889.875 | 71.563 | 78.6406
2019-12-16 06:30:00 | 8.297 | 228.4 | 9.257 | 244.978 | 9.796 | 252 | 9.94 | 248.567 | -6.876 | 889.817 | 71.787 | 79.6218
2019-12-16 06:45:00 | 8.414 | 216.7 | 9.852 | 249.443 | 10.401 | 254.9 | 10.639 | 252.3 | -6.512 | 889.942 | 71.6 | 79.4925
2019-12-16 07:00:00 | 7.924 | 224.3 | 9.086 | 251.08 | 9.88 | 256.5 | 10.179 | 252.983 | -6.478 | 890.058 | 71.211 | 74.294
2019-12-16 07:15:00 | 7.327 | 232.213 | 9.102 | 256.461 | 9.985 | 261.7 | 10.256 | 258 | -6.204 | 889.8 | 70.901 | 67.8364
2019-12-16 07:30:00 | 7.537 | 239.753 | 8.847 | 256.913 | 9.424 | 262.633 | 9.6 | 260.467 | -6.213 | 890.133 | 70.752 | 69.3875
2019-12-16 07:45:00 | 6.519 | 233.827 | 7.923 | 251.294 | 8.536 | 258.517 | 9.006 | 256.933 | -6.269 | 889.308 | 70.747 | 66.843
2019-12-16 08:00:00 | 6.358 | 227.86 | 7.72 | 250.464 | 8.546 | 258.9 | 8.975 | 257 | -6.558 | 889.633 | 71.205 | 66.3378
2019-12-16 08:15:00 | 5.89 | 223.793 | 7.361 | 242.006 | 8.063 | 249.733 | 8.221 | 247.083 | -6.658 | 889.825 | 72.053 | 69.5524
2019-12-16 08:30:00 | 6.938 | 219.373 | 8.199 | 237.842 | 8.703 | 247 | 9.066 | 244.867 | -6.962 | 889.742 | 72.149 | 72.4259
2019-12-16 08:45:00 | 6.671 | 219.1 | 7.769 | 235.492 | 8.538 | 243.867 | 8.74 | 242 | -6.545 | 889.925 | 71.04 | 71.7552
2019-12-16 09:00:00 | 6.203 | 221.273 | 7.56 | 234.095 | 8.302 | 241.633 | 8.785 | 239.267 | -6.78 | 889.933 | 70.795 | 76.5174
2019-12-16 09:15:00 | 7.365 | 220.627 | 8.376 | 235.533 | 8.955 | 243.433 | 9.01 | 239.067 | -7.17 | 889.8 | 71.2 | 78.0358
2019-12-16 09:30:00 | 8.192 | 218.507 | 9.627 | 235.428 | 10.2 | 242.067 | 10.283 | 237.867 | -7.012 | 889.6 | 70.336 | 79.8592
2019-12-16 09:45:00 | 8.202 | 217.627 | 9.746 | 240.068 | 10.569 | 246.2 | 10.546 | 242.9 | -6.11 | 889.85 | 68.256 | 79.8677
2019-12-16 10:00:00 | 8.093 | 216.28 | 9.4 | 240.883 | 10.336 | 248.267 | 10.512 | 244.8 | -5.938 | 890.017 | 66.965 | 79.8961
2019-12-16 10:15:00 | 7.995 | 213.553 | 9.495 | 238.221 | 10.204 | 245.767 | 10.538 | 243.833 | -5.461 | 890.158 | 66.528 | 79.8961
2019-12-16 10:30:00 | 7.382 | 215.833 | 8.847 | 237.805 | 9.651 | 244.233 | 9.403 | 239.7 | -5.069 | 890.1 | 65.749 | 78.33
2019-12-16 10:45:00 | 7.206 | 221.613 | 8.472 | 240.804 | 9.119 | 246.467 | 9.315 | 239.733 | -4.345 | 889.617 | 62.251 | 70.0647
2019-12-16 11:00:00 | 7.233 | 213.267 | 7.808 | 244.81 | 8.293 | 249.467 | 8.328 | 244.967 | -3.655 | 889.817 | 59.403 | 65.7502
2019-12-16 11:15:00 | 6.701 | 217.567 | 7.272 | 248.615 | 7.58 | 253.4 | 7.892 | 247.833 | -3.404 | 889.808 | 56.635 | 61.4327
2019-12-16 11:30:00 | 7.384 | 232.433 | 8.309 | 255.997 | 8.396 | 260.917 | 8.604 | 256.35 | -2.821 | 889.85 | 53.36 | 67.0228
2019-12-16 11:45:00 | 9.56 | 236.62 | 10.328 | 262.906 | 10.562 | 267.333 | 10.5 | 264.483 | -2.992 | 890.308 | 51.835 | 76.3738
2019-12-16 12:00:00 | 9.653 | 235.747 | 9.891 | 261.121 | 9.795 | 266.133 | 9.546 | 263.167 | -2.862 | 890.108 | 50.912 | 73.1067
2019-12-16 12:15:00 | 8.435 | 233.393 | 9.238 | 259.137 | 9.337 | 264.733 | 9.244 | 260.8 | -2.524 | 889.917 | 49.653 | 76.5515
2019-12-16 12:30:00 | 8.756 | 235.587 | 9.584 | 260.427 | 9.705 | 264.917 | 9.703 | 260.55 | -2.267 | 889.75 | 48.768 | 78.8736
2019-12-16 12:45:00 | 9.958 | 234.333 | 10.637 | 263.897 | 10.691 | 268.8 | 10.463 | 263.867 | -2.7 | 889.717 | 48.811 | 79.6403
2019-12-16 13:00:00 | 9.438 | 246.08 | 10.284 | 266.092 | 10.948 | 270.25 | 11.125 | 268.717 | -2.814 | 889.867 | 48.144 | 79.6403
2019-12-16 13:15:00 | 9.523 | 252.567 | 10.47 | 270.72 | 10.678 | 274.467 | 10.638 | 271.933 | -2.523 | 889.85 | 48.357 | 79.6403
2019-12-16 13:30:00 | 9.981 | 252.287 | 10.525 | 272.621 | 10.679 | 277.167 | 10.726 | 271.933 | -2.589 | 889.675 | 48.043 | 79.4428
2019-12-16 13:45:00 | 9.83 | 263 | 10.836 | 278.248 | 11.062 | 281.1 | 11.194 | 276.367 | -3.06 | 889.85 | 48.928 | 79.4378
2019-12-16 14:00:00 | 10.502 | 234.633 | 11.166 | 262.988 | 11.154 | 268.6 | 11.077 | 266.133 | -2.18 | 889.858 | 48.213 | 79.1067
2019-12-16 14:15:00 | 9.524 | 252.94 | 10.448 | 274.602 | 10.53 | 276.833 | 10.798 | 272.533 | -2.618 | 889.925 | 49.141 | 77.3153
2019-12-16 14:30:00 | 8.51 | 255.747 | 9.255 | 269.072 | 9.315 | 272.367 | 9.638 | 268.733 | -2.508 | 890.167 | 48.645 | 72.7521
2019-12-16 14:45:00 | 8.05 | 247.927 | 8.468 | 272.17 | 8.45 | 276.267 | 8.599 | 270.633 | -2.7 | 889.9 | 48.251 | 65.6748
2019-12-16 15:00:00 | 7.962 | 258.26 | 8.66 | 273.795 | 8.938 | 278.2 | 9.001 | 274.25 | -2.324 | 890.133 | 48.165 | 62.5235
2019-12-16 15:15:00 | 8.567 | 222.853 | 9.19 | 260.574 | 9.261 | 264.133 | 9.291 | 259.383 | -2.552 | 890.208 | 48.283 | 63.7854
2019-12-16 15:30:00 | 9.196 | 239.42 | 10.036 | 271.549 | 10.038 | 275.533 | 10.126 | 270.033 | -2.809 | 889.958 | 48.795 | 70.069
2019-12-16 15:45:00 | 9.005 | 272.8 | 9.449 | 280.171 | 9.424 | 283.9 | 9.482 | 279 | -2.676 | 889.75 | 49.403 | 70.2779
2019-12-16 16:00:00 | 8.766 | 244.96 | 9.692 | 270.927 | 10.102 | 273.767 | 10.075 | 269.5 | -2.855 | 889.958 | 49.755 | 69.6291
2019-12-16 16:15:00 | 8.024 | 266.067 | 8.604 | 279.097 | 8.766 | 283.8 | 9.268 | 277.533 | -3.237 | 889.983 | 50.747 | 74.4233
2019-12-16 16:30:00 | 8.94 | 273.067 | 9.123 | 281.176 | 9.039 | 283.567 | 9.158 | 279.3 | -3.338 | 889.9 | 51.392 | 73.9757
2019-12-16 16:45:00 | 8.539 | 237.633 | 9.346 | 268.417 | 9.435 | 273.067 | 9.45 | 269.833 | -3.287 | 889.458 | 51.237 | 71.6685
2019-12-16 17:00:00 | 7.51 | 251.833 | 7.921 | 272.723 | 8.09 | 275.783 | 8.625 | 271.15 | -3.404 | 889.825 | 52.725 | 67.0938
2019-12-16 17:15:00 | 7.893 | 257.567 | 8.829 | 274.714 | 9.218 | 278.5 | 9.559 | 273.8 | -3.706 | 889.633 | 53.445 | 61.9102
2019-12-16 17:30:00 | 7.222 | 255.12 | 8.33 | 272.615 | 8.679 | 276.9 | 8.839 | 271.9 | -3.762 | 889.7 | 54.267 | 56.3224
2019-12-16 17:45:00 | 7.209 | 267.54 | 8.026 | 278.168 | 8.51 | 280.867 | 8.869 | 277.267 | -4.093 | 890.025 | 55.915 | 45.2638
2019-12-16 18:00:00 | 4.931 | 265.28 | 5.701 | 273.108 | 5.925 | 278.033 | 6.23 | 274.667 | -4.364 | 890.508 | 57.344 | 39.7029
2019-12-16 18:15:00 | 5.74 | 258.3 | 6.381 | 277.808 | 6.662 | 280 | 6.895 | 278.733 | -4.885 | 889.608 | 58.555 | 34.8071
2019-12-16 18:30:00 | 5.079 | 282.02 | 5.721 | 283.657 | 6.018 | 287.9 | 6.282 | 283.633 | -4.852 | 889.958 | 60.048 | 22.7651
2019-12-16 18:45:00 | 4.527 | 280.427 | 5.142 | 282.053 | 5.272 | 285.867 | 5.5 | 282.267 | -5.375 | 889.625 | 62.139 | 19.1341
2019-12-16 19:00:00 | 4.725 | 277.36 | 5.478 | 277.076 | 5.57 | 280.267 | 5.64 | 275.8 | -6.021 | 889.65 | 64.608 | 27.3391
2019-12-16 19:15:00 | 5.258 | 252.2 | 5.827 | 263.7 | 5.863 | 269.733 | 6.031 | 263.467 | -6.428 | 889.958 | 64.144 | 41.7081
2019-12-16 19:30:00 | 7.254 | 226.853 | 7.987 | 252.023 | 8.19 | 256.367 | 8.08 | 253.083 | -6.869 | 889.875 | 64.661 | 52.4419
2019-12-16 19:45:00 | 7.187 | 216 | 8.922 | 249.693 | 9.345 | 253.7 | 9.566 | 249.467 | -6.495 | 889.442 | 64.288 | 47.0658
2019-12-16 20:00:00 | 6.308 | 224.533 | 7.806 | 250.384 | 7.835 | 256.733 | 7.83 | 254.3 | -7.032 | 889.625 | 64.181 | 38.3294
2019-12-16 20:15:00 | 5.628 | 220.66 | 6.997 | 241.298 | 7.403 | 248.9 | 7.234 | 244.617 | -7.071 | 889.558 | 64.267 | 37.0695
2019-12-16 20:30:00 | 6.164 | 221.24 | 7.577 | 229.646 | 7.362 | 238.433 | 7.184 | 239.3 | -8.053 | 890.025 | 65.515 | 35.0721
2019-12-16 20:45:00 | 6.455 | 223.333 | 7.57 | 238.791 | 7.697 | 244.433 | 7.638 | 240.2 | -8.09 | 890.067 | 66.283 | 32.6562
2019-12-16 21:00:00 | 5.058 | 217.48 | 6.898 | 229.856 | 7.801 | 235.567 | 7.569 | 231.367 | -8.417 | 890.092 | 66.837 | 32.664
2019-12-16 21:15:00 | 5.548 | 221.9 | 7.072 | 225.059 | 7.29 | 228.167 | 7.298 | 222.567 | -8.608 | 889.842 | 68.011 | 32.8673
2019-12-16 21:30:00 | 5.544 | 213.067 | 7.579 | 222.286 | 7.385 | 226.667 | 7.178 | 222.667 | -8.608 | 889.558 | 68.661 | 32.0551
2019-12-16 21:45:00 | 5.738 | 214.233 | 7.802 | 221.329 | 7.624 | 226.233 | 7.454 | 221.733 | -8.891 | 889.867 | 68.704 | 31.8675
2019-12-16 22:00:00 | 4.97 | 216.4 | 7.085 | 218.266 | 7.511 | 222.333 | 7.513 | 218.5 | -8.858 | 889.458 | 68.352 | 32.0061
2019-12-16 22:15:00 | 5.163 | 216.567 | 7.369 | 213.381 | 7.828 | 216.8 | 7.529 | 213.567 | -9.091 | 889.717 | 68.459 | 31.9528
2019-12-16 22:30:00 | 5.536 | 215.5 | 7.314 | 212.924 | 7.755 | 218.633 | 7.399 | 216.067 | -8.874 | 890.058 | 67.499 | 27.5281
2019-12-16 22:45:00 | 6.007 | 220.467 | 7.194 | 218.06 | 6.99 | 224.067 | 6.847 | 221.267 | -8.724 | 889.967 | 66.08 | 22.5605
2019-12-16 23:00:00 | 6.02 | 222.033 | 6.869 | 221.29 | 6.601 | 227.633 | 6.123 | 225.2 | -9.041 | 889.867 | 65.973 | 20.7422
2019-12-16 23:15:00 | 5.227 | 222.927 | 6.533 | 224.109 | 6.18 | 231.133 | 5.66 | 228.133 | -9.337 | 889.808 | 67.232 | 16.9882
2019-12-16 23:30:00 | 4.659 | 226.42 | 6.135 | 226.333 | 5.475 | 234.2 | 4.806 | 232.367 | -10.033 | 889.758 | 68.939 | 13.8759
2019-12-16 23:45:00 | 4.489 | 225.693 | 5.782 | 226.141 | 5.057 | 234.267 | 4.746 | 234.8 | -9.974 | 889.992 | 68.384 | 11.2461