## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-17 00:00:00 | 4.596 | 229.733 | 5.487 | 227.407 | 5.366 | 239.233 | 4.86 | 239.867 | -10.333 | 889.825 | 69.312 | 16.8419
2019-12-17 00:15:00 | 5.455 | 216.433 | 6.425 | 223.476 | 6.02 | 232.967 | 5.501 | 230.133 | -10.266 | 889.758 | 69.301 | 24.7597
2019-12-17 00:30:00 | 6.174 | 214.7 | 7.745 | 221.172 | 7.028 | 228.167 | 6.528 | 225.267 | -10.56 | 890.292 | 70.027 | 28.5754
2019-12-17 00:45:00 | 6.638 | 212 | 7.928 | 214.439 | 7.392 | 220.3 | 6.801 | 218.2 | -10.383 | 889.908 | 67.563 | 37.1726
2019-12-17 01:00:00 | 6.66 | 214.94 | 8.708 | 212.662 | 8.668 | 215.667 | 8.296 | 212.467 | -10.054 | 889.892 | 65.856 | 39.3291
2019-12-17 01:15:00 | 7.185 | 215.033 | 8.611 | 214.934 | 8.465 | 219.633 | 7.799 | 219.8 | -9.391 | 889.675 | 62.389 | 31.5932
2019-12-17 01:30:00 | 7.194 | 211.667 | 8.127 | 220.172 | 7.638 | 228.733 | 7.146 | 229.067 | -9.158 | 889.783 | 61.013 | 30.3774
2019-12-17 01:45:00 | 6.346 | 215.893 | 8.394 | 218.678 | 7.936 | 225.5 | 7.188 | 223.833 | -9.491 | 889.883 | 61.355 | 30.182
2019-12-17 02:00:00 | 6.098 | 213.127 | 8.4 | 217.172 | 8.065 | 223.467 | 7.412 | 222.467 | -9.937 | 889.975 | 63.371 | 30.3639
2019-12-17 02:15:00 | 6.821 | 212.967 | 8.95 | 213.875 | 8.178 | 220.233 | 7.502 | 219.8 | -10.249 | 889.808 | 63.36 | 28.1725
2019-12-17 02:30:00 | 7.378 | 212.74 | 8.598 | 213.838 | 7.816 | 220.567 | 7.11 | 220.867 | -9.966 | 890.008 | 63.765 | 25.3225
2019-12-17 02:45:00 | 6.143 | 216.253 | 8.391 | 214.052 | 7.907 | 222.767 | 7.17 | 222.1 | -10.049 | 889.867 | 63.733 | 24.3746
2019-12-17 03:00:00 | 6.764 | 213.573 | 8.144 | 211.796 | 7.791 | 217.1 | 7.134 | 216.4 | -10.104 | 889.925 | 64.032 | 24.4854
2019-12-17 03:15:00 | 6.524 | 214.033 | 8.489 | 213.436 | 7.952 | 218.5 | 7.069 | 218.2 | -10.366 | 890.033 | 63.307 | 21.0171
2019-12-17 03:30:00 | 6.216 | 214.76 | 7.725 | 216.501 | 7.035 | 224.1 | 6.186 | 223.9 | -10.506 | 890.133 | 63.029 | 18.3348
2019-12-17 03:45:00 | 6.264 | 214.567 | 7.719 | 217.069 | 6.938 | 225.5 | 6.141 | 225.633 | -10.299 | 889.692 | 62.923 | 16.0958
2019-12-17 04:00:00 | 6.31 | 218.067 | 7.427 | 218.12 | 6.702 | 224.567 | 5.783 | 225.533 | -10.703 | 890 | 63.573 | 16.6095
2019-12-17 04:15:00 | 6.214 | 216.833 | 7.507 | 213.772 | 6.894 | 222 | 6.093 | 220.7 | -10.366 | 889.842 | 63.115 | 18.5536
2019-12-17 04:30:00 | 5.809 | 213.54 | 7.569 | 210.02 | 7.465 | 213.267 | 6.914 | 214.2 | -10.674 | 889.917 | 63.648 | 20.4757
2019-12-17 04:45:00 | 5.36 | 213.433 | 7.641 | 209.811 | 7.325 | 213.4 | 7.191 | 212.133 | -10.703 | 890.067 | 64.715 | 18.2665
2019-12-17 05:00:00 | 5.947 | 216.533 | 7.783 | 214.155 | 7.382 | 219.733 | 7.034 | 218.267 | -10.984 | 889.858 | 65.28 | 15.587
2019-12-17 05:15:00 | 6.071 | 217.107 | 6.871 | 218.009 | 6.282 | 224.467 | 5.544 | 222.433 | -10.995 | 889.917 | 65.408 | 12.6843
2019-12-17 05:30:00 | 6.316 | 217.453 | 6.917 | 217.488 | 5.89 | 224.167 | 5.115 | 225.333 | -11.036 | 889.467 | 64.203 | 9.2708
2019-12-17 05:45:00 | 6.454 | 215.867 | 5.988 | 214.211 | 5.384 | 219.267 | 4.608 | 219.233 | -11.078 | 889.525 | 63.861 | 5.9951
2019-12-17 06:00:00 | 6.2 | 213.5 | 5.401 | 213.496 | 4.819 | 216.8 | 4.238 | 216 | -11.101 | 889.992 | 62.933 | 7.8191
2019-12-17 06:15:00 | 4.788 | 208.827 | 7.143 | 212.838 | 5.759 | 221.333 | 5.022 | 220.4 | -11.849 | 889.825 | 65.696 | 8.5801
2019-12-17 06:30:00 | 6.12 | 214.78 | 6.91 | 216.053 | 5.972 | 223.467 | 5.2 | 220.133 | -12.078 | 890.217 | 68.277 | 10.6322
2019-12-17 06:45:00 | 5.932 | 217.247 | 6.378 | 225.414 | 5.566 | 234.6 | 5.145 | 234.233 | -11.749 | 890.033 | 68.075 | 14.06
2019-12-17 07:00:00 | 6.11 | 217.033 | 6.5 | 226.428 | 6.181 | 235.467 | 5.813 | 232.833 | -11.753 | 889.9 | 68.683 | 13.9044
2019-12-17 07:15:00 | 6.696 | 215.413 | 6.874 | 227.828 | 6.152 | 242.167 | 5.457 | 243.5 | -12.078 | 889.833 | 68.192 | 13.2556
2019-12-17 07:30:00 | 6.436 | 215.113 | 6.411 | 220.676 | 5.698 | 231.633 | 5.122 | 231.833 | -11.578 | 890.017 | 67.851 | 10.974
2019-12-17 07:45:00 | 6.121 | 215.913 | 6.35 | 222.172 | 5.624 | 228.667 | 5.195 | 228.267 | -11.974 | 889.792 | 67.968 | 13.6116
2019-12-17 08:00:00 | 6.513 | 215.54 | 7.146 | 220.832 | 6.386 | 226.767 | 5.893 | 226.3 | -11.828 | 889.667 | 68.427 | 18.5515
2019-12-17 08:15:00 | 6.062 | 218.767 | 7.286 | 223.522 | 6.525 | 228.833 | 6.146 | 226.033 | -11.495 | 889.65 | 66.731 | 18.1763
2019-12-17 08:30:00 | 5.993 | 218.7 | 6.679 | 224.406 | 6.516 | 231.533 | 6.103 | 228.133 | -11.378 | 890.042 | 65.259 | 19.8063
2019-12-17 08:45:00 | 6.165 | 218.753 | 7.178 | 227.483 | 6.97 | 234.967 | 6.691 | 232.467 | -11.053 | 889.85 | 63.861 | 21.4847
2019-12-17 09:00:00 | 6.542 | 218.533 | 6.879 | 225.557 | 6.758 | 233.8 | 6.419 | 231.267 | -11.228 | 890.075 | 63.115 | 20.6711
2019-12-17 09:15:00 | 6.243 | 216.167 | 7.271 | 221.962 | 6.512 | 230.667 | 6.033 | 230.3 | -11.328 | 889.925 | 62.709 | 19.4752
2019-12-17 09:30:00 | 6.743 | 214.78 | 7.269 | 220.185 | 6.711 | 227.3 | 6.266 | 227 | -10.966 | 890.033 | 61.877 | 17.9319
2019-12-17 09:45:00 | 6.7 | 216.5 | 7.35 | 220.524 | 6.744 | 228.3 | 6.122 | 226.967 | -10.333 | 890.033 | 60.277 | 17.7443
2019-12-17 10:00:00 | 6.428 | 220.16 | 7.348 | 220.446 | 6.533 | 228.1 | 5.945 | 228 | -9.354 | 889.717 | 58.528 | 14.5112
2019-12-17 10:15:00 | 5.875 | 216.8 | 6.941 | 220.53 | 6.279 | 227.367 | 5.632 | 226.9 | -8.674 | 889.75 | 55.552 | 13.596
2019-12-17 10:30:00 | 5.382 | 219.767 | 6.807 | 219.644 | 6.248 | 226.033 | 5.371 | 225.7 | -7.606 | 889.575 | 53.557 | 11.9659
2019-12-17 10:45:00 | 4.93 | 218.267 | 6.232 | 222.399 | 5.61 | 233.867 | 5.002 | 235.167 | -6.612 | 889.592 | 51.253 | 10.1263
2019-12-17 11:00:00 | 4.87 | 217 | 6.119 | 218.27 | 5.942 | 228.833 | 5.371 | 228.667 | -5.469 | 889.8 | 49.12 | 9.0597
2019-12-17 11:15:00 | 4.774 | 216.553 | 5.487 | 219.932 | 5.761 | 227.167 | 5.234 | 227.3 | -4.463 | 889.533 | 46.741 | 7.1284
2019-12-17 11:30:00 | 4.082 | 221.1 | 4.104 | 224.102 | 4.465 | 230.267 | 4.787 | 228.2 | -3.354 | 889.967 | 43.68 | 5.4074
2019-12-17 11:45:00 | 3.452 | 221.107 | 3.61 | 223.693 | 3.734 | 226.567 | 4.014 | 224.067 | -2.28 | 889.85 | 41.355 | 4.6663
2019-12-17 12:00:00 | 3.726 | 236.707 | 3.871 | 244.333 | 3.967 | 248.3 | 3.892 | 243.983 | -1.76 | 889.633 | 39.824 | 4.0637
2019-12-17 12:15:00 | 3.535 | 254.433 | 3.607 | 258.553 | 3.729 | 266.017 | 3.734 | 263.583 | -0.835 | 889.767 | 38.053 | 1.7096
2019-12-17 12:30:00 | 3.433 | 183.723 | 3.304 | 203.847 | 3.311 | 192.533 | 3.366 | 227.4 | -1.952 | 890 | 38.101 | 0.14993
2019-12-17 12:45:00 | 1.877 | 14.668 | 1.824 | 10.154 | 1.478 | 5.767 | 1.846 | 73.9 | -2.418 | 889.933 | 38.635 | 0.17054
2019-12-17 13:00:00 | 3.037 | 34.161 | 2.955 | 18.911 | 3.016 | 29.7 | 2.939 | 35.533 | -2.462 | 889.883 | 37.712 | 0.23662
2019-12-17 13:15:00 | 2.684 | 111.101 | 2.752 | 141.806 | 2.807 | 111.2 | 2.704 | 111.7 | -2.287 | 889.583 | 37.435 | 0.1748
2019-12-17 13:30:00 | 3.231 | 177.054 | 3.058 | 211.109 | 2.916 | 95.967 | 3.127 | 71.433 | -2.698 | 889.283 | 38.475 | 0.1144
2019-12-17 13:45:00 | 2.876 | 197.37 | 2.847 | 228.307 | 2.926 | 232.002 | 3.196 | 262.833 | -2.304 | 889.867 | 39.077 | 0.11724
2019-12-17 14:00:00 | 1.902 | 100.943 | 1.616 | 104.85 | 2.236 | 184 | 2.693 | 194.433 | -2.054 | 889.933 | 40.389 | 0.8271
2019-12-17 14:15:00 | 3.401 | 320.067 | 3.48 | 326.542 | 3.699 | 315.867 | 4.254 | 322.8 | -1.975 | 890.033 | 41.483 | 3.5422
2019-12-17 14:30:00 | 4.27 | 323.693 | 4.472 | 318.595 | 4.544 | 320.833 | 4.887 | 319.167 | -2.051 | 889.808 | 42.864 | 7.2286
2019-12-17 14:45:00 | 2.591 | 238.148 | 2.715 | 314.511 | 2.553 | 298.933 | 2.888 | 294.967 | -1.72 | 889.65 | 43.28 | 5.0919
2019-12-17 15:00:00 | 5.092 | 338.747 | 5.14 | 333.865 | 5.267 | 327.633 | 5.244 | 338.067 | -1.526 | 890.317 | 42.677 | 9.8527
2019-12-17 15:15:00 | 5.13 | 242.202 | 5.39 | 295.362 | 5.448 | 267.867 | 5.664 | 289.233 | -1.432 | 889.8 | 43.131 | 11.1836
2019-12-17 15:30:00 | 4.818 | 40.983 | 4.815 | 95.454 | 4.941 | 131.433 | 4.971 | 153.933 | -2.064 | 889.692 | 45.013 | 9.4321
2019-12-17 15:45:00 | 6.724 | 310.307 | 7.088 | 307.212 | 7.019 | 311.467 | 7.211 | 308.467 | -1.065 | 889.517 | 40.995 | 17.0337
2019-12-17 16:00:00 | 6.338 | 298.507 | 6.613 | 305.49 | 6.801 | 312.2 | 7.238 | 307.833 | -1.379 | 889.908 | 43.643 | 27.6766
2019-12-17 16:15:00 | 6.966 | 318.32 | 7.104 | 312.138 | 7.647 | 314.433 | 7.982 | 311.033 | -1.62 | 889.9 | 44.245 | 24.4485
2019-12-17 16:30:00 | 6.87 | 321.747 | 7.367 | 318.843 | 7.626 | 321.133 | 7.818 | 319 | -1.58 | 889.925 | 45.419 | 29.2284
2019-12-17 16:45:00 | 7.156 | 324.667 | 7.4 | 316.54 | 7.782 | 320.367 | 8.09 | 317.133 | -2.091 | 889.933 | 47.653 | 37.4845
2019-12-17 17:00:00 | 6.353 | 316.813 | 6.884 | 312.805 | 6.993 | 316.4 | 6.996 | 312.9 | -2.381 | 889.617 | 48.539 | 28.5584
2019-12-17 17:15:00 | 6.065 | 315.867 | 6.551 | 313.024 | 6.585 | 316.033 | 6.698 | 312.167 | -3.004 | 889.933 | 49.877 | 22.9961
2019-12-17 17:30:00 | 6.67 | 315.867 | 6.868 | 311.405 | 7.024 | 316.733 | 7.136 | 315.667 | -3.002 | 889.6 | 50.709 | 23.988
2019-12-17 17:45:00 | 6.505 | 309.013 | 6.976 | 306.644 | 7.159 | 311.367 | 7.56 | 308.267 | -3.113 | 889.942 | 50.293 | 24.3994
2019-12-17 18:00:00 | 5.455 | 304.667 | 6.292 | 302.75 | 6.75 | 307.7 | 7.449 | 304.267 | -3.505 | 889.542 | 51.819 | 20.74
2019-12-17 18:15:00 | 4.681 | 310.08 | 5.683 | 305.615 | 6.057 | 308.733 | 6.605 | 304.067 | -3.843 | 889.817 | 53.429 | 19.7488
2019-12-17 18:30:00 | 4.687 | 301.673 | 5.897 | 301.793 | 6.342 | 306.167 | 6.946 | 301.467 | -4.166 | 889.958 | 55.045 | 17.3982
2019-12-17 18:45:00 | 4.417 | 286.653 | 5.72 | 290.441 | 6.075 | 294.233 | 6.5 | 290.233 | -4.766 | 890.317 | 56.485 | 11.983
2019-12-17 19:00:00 | 3.999 | 286.393 | 5.227 | 287.063 | 5.468 | 289.6 | 5.921 | 286.4 | -5.235 | 890.2 | 58.277 | 7.2997
2019-12-17 19:15:00 | 3.292 | 276.207 | 4.656 | 286.613 | 5.18 | 287.833 | 5.654 | 283.467 | -5.442 | 889.925 | 60.208 | 4.694
2019-12-17 19:30:00 | 2.731 | 286.333 | 3.74 | 289.095 | 4.132 | 290.167 | 4.864 | 287.133 | -5.997 | 890.083 | 61.675 | 4.1518
2019-12-17 19:45:00 | 2.724 | 273.087 | 3.647 | 282.671 | 4 | 285.933 | 4.603 | 283.167 | -6.395 | 890.15 | 62.587 | 5.6682
2019-12-17 20:00:00 | 3.613 | 216.187 | 2.873 | 232.223 | 3.063 | 248.6 | 3.646 | 267.667 | -7.15 | 889.733 | 64.277 | 7.9072
2019-12-17 20:15:00 | 4.358 | 231.7 | 3.956 | 244.416 | 4.455 | 258.133 | 5.067 | 260.25 | -6.644 | 890.567 | 65.141 | 9.3482
2019-12-17 20:30:00 | 5.462 | 224.793 | 4.787 | 234.228 | 5.112 | 251.267 | 5.537 | 254.1 | -7.452 | 889.992 | 66.283 | 11.7087
2019-12-17 20:45:00 | 5.114 | 215.973 | 5.346 | 239.302 | 5.809 | 252.367 | 6.438 | 252.533 | -7.97 | 889.775 | 67.552 | 15.1976
2019-12-17 21:00:00 | 5.176 | 216.533 | 5.626 | 233.603 | 5.98 | 245.267 | 6.296 | 246.5 | -8.658 | 889.9 | 68.843 | 16.37
2019-12-17 21:15:00 | 5.541 | 216.133 | 6.12 | 228.072 | 5.79 | 241.2 | 5.837 | 242.733 | -8.908 | 890.033 | 70.219 | 18.7696
2019-12-17 21:30:00 | 5.182 | 215.467 | 6.292 | 230.251 | 6.089 | 242.133 | 6.022 | 243.533 | -9.324 | 890.158 | 69.835 | 19.9996
2019-12-17 21:45:00 | 5.37 | 219.853 | 6.219 | 232.718 | 6.085 | 242.167 | 5.965 | 241.5 | -9.966 | 889.917 | 71.573 | 17.0031
2019-12-17 22:00:00 | 4.617 | 222.54 | 5.756 | 233.979 | 5.774 | 243.867 | 5.639 | 240.933 | -10.02 | 890.017 | 71.957 | 16.083
2019-12-17 22:15:00 | 5.203 | 227.2 | 5.937 | 239.389 | 5.882 | 247.467 | 5.761 | 244.033 | -10.516 | 889.775 | 72.48 | 16.4731
2019-12-17 22:30:00 | 5.014 | 223.167 | 5.997 | 235.601 | 5.824 | 245.267 | 5.446 | 244 | -10.299 | 889.883 | 72.437 | 15.3283
2019-12-17 22:45:00 | 4.964 | 221.033 | 5.942 | 232.975 | 5.602 | 243.667 | 5.287 | 245.033 | -10.543 | 889.825 | 73.035 | 14.1907
2019-12-17 23:00:00 | 5.228 | 218.093 | 5.847 | 232.108 | 5.347 | 246.333 | 4.871 | 248.467 | -10.389 | 890.183 | 73.227 | 13.1888
2019-12-17 23:15:00 | 5.349 | 219.653 | 5.377 | 235.631 | 5.031 | 250.033 | 4.931 | 253.433 | -10.816 | 889.9 | 73.824 | 14.1083
2019-12-17 23:30:00 | 4.845 | 225.107 | 5.727 | 240.709 | 5.476 | 253.233 | 5.228 | 256.8 | -10.614 | 889.85 | 73.365 | 17.5517
2019-12-17 23:45:00 | 5.297 | 223.54 | 6.244 | 238.001 | 5.929 | 251.033 | 5.69 | 253.633 | -10.647 | 889.65 | 73.589 | 21.516