## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-19 00:00:00 | 2.289 | 206.5 | 1.432 | 149.57 | 1.603 | 120 | 2.012 | 109.033 | -9.258 | 890.167 | 70.507 | 0.22738
2019-12-19 00:15:00 | 2.185 | 214.1 | 1.165 | 149.338 | 1.779 | 121 | 2.07 | 109 | -9.141 | 889.925 | 70.251 | 0.23733
2019-12-19 00:30:00 | 2.228 | 219.767 | 0.116 | 142.446 | 1.52 | 116.033 | 1.947 | 108.867 | -9.341 | 889.717 | 70.645 | 0.22028
2019-12-19 00:45:00 | 2.491 | 222.8 | 0.043 | 142.481 | 1.383 | 115.933 | 1.985 | 108.867 | -9.124 | 889.9 | 69.685 | 0.22738
2019-12-19 01:00:00 | 3.471 | 222.453 | 0 | 152.073 | 0 | 116.067 | 1.722 | 108.733 | -9.724 | 889.975 | 68.192 | 0.22454
2019-12-19 01:15:00 | 3.302 | 224.267 | 0.03 | 173.48 | 0.09 | 123.367 | 1.91 | 109.033 | -9.912 | 889.892 | 69.323 | 0.22596
2019-12-19 01:30:00 | 2.563 | 225.46 | 0 | 173.583 | 0.03 | 128 | 2.181 | 108.8 | -9.37 | 889.65 | 69.269 | 0.22454
2019-12-19 01:45:00 | 3.341 | 228.813 | 0.087 | 183.908 | 0 | 127.967 | 0.941 | 108.867 | -9.578 | 889.892 | 67.627 | 0.22454
2019-12-19 02:00:00 | 2.474 | 232.4 | 0 | 195.44 | 0 | 128 | 0.534 | 108.733 | -9.312 | 890.083 | 68.725 | 0.2217
2019-12-19 02:15:00 | 2.554 | 229.7 | 0 | 195.43 | 0 | 127.933 | 0 | 108.733 | -9.174 | 890.217 | 68.032 | 0.22454
2019-12-19 02:30:00 | 2.022 | 233.347 | 0 | 262.928 | 0 | 78 | 0.356 | 108.6 | -9.324 | 889.708 | 68.384 | 0.2288
2019-12-19 02:45:00 | 1.827 | 235.413 | 0 | 262.866 | 0 | 73.767 | 1.228 | 107.4 | -9.391 | 889.867 | 67.968 | 0.23164
2019-12-19 03:00:00 | 2.019 | 228.613 | 0 | 262.758 | 0 | 33.733 | 0.94 | 107.1 | -9.924 | 890.158 | 67.616 | 0.22738
2019-12-19 03:15:00 | 1.197 | 227.273 | 0 | 263.121 | 0 | 16.967 | 0.141 | 107 | -9.954 | 890.017 | 68.096 | 0.2288
2019-12-19 03:30:00 | 0.682 | 235.3 | 0 | 340.99 | 0.06 | 16.867 | 1.269 | 106.867 | -10.466 | 890.092 | 69.728 | 0.2288
2019-12-19 03:45:00 | 0 | 236.1 | 0 | 340.964 | 0 | 17 | 1.259 | 107.1 | -10.316 | 889.633 | 71.371 | 0.22738
2019-12-19 04:00:00 | 0.063 | 236.9 | 0 | 341.256 | 0 | 17.033 | 1.49 | 106.867 | -10.797 | 889.875 | 73.653 | 0.2288
2019-12-19 04:15:00 | 1.467 | 244.467 | 0 | 340.915 | 0 | 17 | 1.347 | 107 | -10.687 | 889.858 | 73.152 | 0.22454
2019-12-19 04:30:00 | 1.833 | 237.84 | 0 | 341.067 | 0 | 16.867 | 0.752 | 107.067 | -10.928 | 889.667 | 73.131 | 0.22596
2019-12-19 04:45:00 | 1.843 | 226.82 | 0 | 340.778 | 0 | 16.967 | 0 | 107 | -10.722 | 890.025 | 72.757 | 0.2217
2019-12-19 05:00:00 | 1.684 | 233.967 | 0 | 340.788 | 0 | 17 | 0 | 107.133 | -10.399 | 889.483 | 72.576 | 0.23164
2019-12-19 05:15:00 | 2.029 | 228.8 | 0 | 340.873 | 0 | 17 | 0 | 107.067 | -10.249 | 889.717 | 72.651 | 0.22738
2019-12-19 05:30:00 | 2.115 | 232.5 | 0 | 341.168 | 0 | 17 | 0 | 106.967 | -10.433 | 889.308 | 71.893 | 0.22454
2019-12-19 05:45:00 | 3.72 | 214.72 | 0 | 341.03 | 0 | 16.867 | 0 | 106.867 | -12.995 | 889.867 | 62.603 | 0.2288
2019-12-19 06:00:00 | 3.041 | 224.233 | 0.03 | 241.417 | 0 | 17 | 0 | 107.067 | -12.62 | 889.517 | 73.547 | 0.22454
2019-12-19 06:15:00 | 1.732 | 236.433 | 0 | 241.47 | 0 | 17.033 | 0 | 107.067 | -11.395 | 890.058 | 70.208 | 0.22596
2019-12-19 06:30:00 | 1.414 | 213.233 | 0 | 241.482 | 0 | 17.033 | 0 | 107.1 | -11.178 | 889.742 | 71.04 | 0.23022
2019-12-19 06:45:00 | 1.144 | 214.74 | 0 | 241.572 | 0 | 16.833 | 0 | 107.067 | -11.603 | 890.108 | 71.701 | 0.23022
2019-12-19 07:00:00 | 1.88 | 229.147 | 0 | 241.536 | 0 | 16.867 | 0.03 | 107.067 | -11.974 | 890.158 | 71.733 | 0.24586
2019-12-19 07:15:00 | 1.833 | 223.953 | 0 | 241.628 | 0 | 16.767 | 0 | 107.067 | -12.016 | 890.092 | 70.869 | 0.23022
2019-12-19 07:30:00 | 2.183 | 229.14 | 0 | 241.515 | 0 | 16.967 | 1.044 | 107 | -12.157 | 890.042 | 71.221 | 0.23591
2019-12-19 07:45:00 | 1.697 | 221.353 | 0 | 241.385 | 0 | 17 | 0 | 107 | -11.516 | 890.417 | 70.677 | 0.24017
2019-12-19 08:00:00 | 1.635 | 235.033 | 1.282 | 244.645 | 0.053 | 288 | 0.43 | 258.533 | -11.511 | 889.625 | 71.168 | 0.23164
2019-12-19 08:15:00 | 1.898 | 232.233 | 0 | 250.43 | 0 | 288 | 0 | 311.467 | -11.478 | 890.192 | 71.179 | 0.22596
2019-12-19 08:30:00 | 1.969 | 233.933 | 0 | 250.391 | 0 | 288 | 0 | 311.867 | -11.311 | 890.192 | 70.517 | 0.23733
2019-12-19 08:45:00 | 3.553 | 229.78 | 0.432 | 250.52 | 0 | 288.067 | 0 | 311 | -12.316 | 889.9 | 67.104 | 0.23307
2019-12-19 09:00:00 | 4.293 | 226.667 | 1.907 | 250.358 | 0.06 | 274.267 | 0.127 | 310.367 | -13.578 | 889.633 | 66.651 | 0.24017
2019-12-19 09:15:00 | 3.154 | 231.113 | 1.377 | 267.546 | 0.927 | 274 | 1.727 | 308.067 | -13.261 | 889.658 | 69.637 | 0.24017
2019-12-19 09:30:00 | 2.165 | 234.433 | 2.388 | 275.422 | 2.164 | 286.467 | 2.101 | 279.167 | -13.197 | 889.583 | 71.461 | 0.24017
2019-12-19 09:45:00 | 2.14 | 225.033 | 1.696 | 303.024 | 0.783 | 312 | 1.162 | 317 | -12.286 | 890.008 | 70.891 | 0.23164
2019-12-19 10:00:00 | 1.692 | 255.14 | 1.33 | 316.285 | 1.054 | 344.233 | 1.637 | 330.867 | -10.614 | 889.633 | 69.6 | 0.24301
2019-12-19 10:15:00 | 1.2 | 258.26 | 1.25 | 316.937 | 1.086 | 342.7 | 1.802 | 344.2 | -9.324 | 889.767 | 64.864 | 0.2288
2019-12-19 10:30:00 | 2.394 | 221.173 | 0 | 327.12 | 0.937 | 350.067 | 1.4 | 0 | -9.591 | 889.692 | 60.149 | 0.23449
2019-12-19 10:45:00 | 2.425 | 203.833 | 0.409 | 248.857 | 0 | 349.867 | 0 | 0 | -10.183 | 890.025 | 64.885 | 0.23733
2019-12-19 11:00:00 | 1.44 | 210.14 | 0 | 207.48 | 0 | 350 | 0 | 0.134 | -9.641 | 889.992 | 68.661 | 0.23022
2019-12-19 11:15:00 | 0 | 209.567 | 0 | 207.561 | 0 | 350 | 0.175 | 0 | -7.357 | 890.175 | 66.677 | 0.21957
2019-12-19 11:30:00 | 0 | 236.667 | 0.52 | 247.95 | 0.86 | 314.7 | 1.327 | 281.5 | -5.671 | 889.967 | 59.616 | 0.21601
2019-12-19 11:45:00 | 1.149 | 348.067 | 0.819 | 333.778 | 0.216 | 341.733 | 1.152 | 320.267 | -7.606 | 889.617 | 55.499 | 0.22028
2019-12-19 12:00:00 | 0.745 | 85.164 | 0.553 | 56.891 | 0.034 | 2.406 | 1.132 | 0 | -7.187 | 889.558 | 53.979 | 0.17409
2019-12-19 12:15:00 | 0.993 | 53.398 | 0.764 | 42.296 | 0.363 | 23.367 | 0.993 | 16.8 | -6.425 | 889.783 | 50.155 | 0.21885
2019-12-19 12:30:00 | 1.689 | 48.656 | 1.734 | 45.188 | 1.587 | 56.967 | 1.985 | 49.8 | -6.383 | 889.492 | 46.987 | 0.23591
2019-12-19 12:45:00 | 2.114 | 65.763 | 2.018 | 64.686 | 2.086 | 67.867 | 2.434 | 63.5 | -6.512 | 889.992 | 46.123 | 0.22596
2019-12-19 13:00:00 | 0.666 | 91.87 | 0.546 | 90.324 | 0.44 | 96.533 | 1.041 | 66.567 | -5.803 | 889.717 | 44.608 | 0.22028
2019-12-19 13:15:00 | 1.401 | 64.805 | 1.236 | 66.739 | 0.944 | 76.4 | 0.974 | 76.7 | -5.585 | 889.7 | 43.008 | 0.2217
2019-12-19 13:30:00 | 0.713 | 59.832 | 0.47 | 62.772 | 0.633 | 61.833 | 1.676 | 57.767 | -5.285 | 889.708 | 43.744 | 0.23164
2019-12-19 13:45:00 | 1.744 | 90.502 | 1.339 | 79.912 | 0.917 | 80.333 | 1.152 | 63.567 | -5.369 | 889.692 | 43.563 | 0.23022
2019-12-19 14:00:00 | 1.351 | 60.465 | 1.197 | 62.147 | 1.199 | 66.3 | 2.129 | 62.833 | -5.085 | 888.983 | 43.669 | 0.23164
2019-12-19 14:15:00 | 2.287 | 78.423 | 2.137 | 76.741 | 1.75 | 76.3 | 1.972 | 75.267 | -4.969 | 889.742 | 45.141 | 0.25509
2019-12-19 14:30:00 | 2.522 | 68.972 | 2.294 | 63.175 | 2.41 | 71.933 | 2.479 | 62.433 | -5.469 | 890.158 | 48.384 | 0.19043
2019-12-19 14:45:00 | 2.466 | 74.028 | 2.537 | 70.304 | 2.687 | 77.667 | 2.869 | 73.633 | -5.485 | 889.617 | 48.853 | 0.10872
2019-12-19 15:00:00 | 2.846 | 68.081 | 2.784 | 68.719 | 2.718 | 77.1 | 2.802 | 81.833 | -5.485 | 889.883 | 48.491 | 0.21317
2019-12-19 15:15:00 | 2.352 | 75.78 | 2.278 | 55.389 | 2.124 | 67.733 | 2.358 | 74.833 | -5.485 | 889.992 | 47.829 | 0.17409
2019-12-19 15:30:00 | 3.127 | 37.306 | 2.87 | 36.972 | 2.759 | 47.167 | 3.004 | 47.967 | -5.135 | 889.958 | 48.448 | 0.13074
2019-12-19 15:45:00 | 2.341 | 63.677 | 2.09 | 57.023 | 2.117 | 61.933 | 2.484 | 55.333 | -5.469 | 889.933 | 48.939 | 0.2558
2019-12-19 16:00:00 | 2.3 | 51.025 | 2.056 | 45.204 | 2.321 | 49 | 2.59 | 49.9 | -5.452 | 890.267 | 48.896 | 0.1947
2019-12-19 16:15:00 | 2.369 | 53.137 | 2.272 | 49.903 | 2.205 | 53.6 | 2.269 | 51 | -5.595 | 889.625 | 49.44 | 0.19612
2019-12-19 16:30:00 | 2.461 | 55.39 | 2.016 | 54.059 | 1.877 | 62 | 2.221 | 57.967 | -5.319 | 890.267 | 50.176 | 0.0874
2019-12-19 16:45:00 | 2.439 | 70.922 | 2.381 | 60.48 | 2.584 | 62.267 | 2.892 | 60 | -5.763 | 889.925 | 51.072 | 0.19683
2019-12-19 17:00:00 | 1.993 | 70.297 | 1.531 | 68.384 | 1.437 | 67 | 1.89 | 63 | -5.859 | 889.917 | 52.363 | 0.21459
2019-12-19 17:15:00 | 1.891 | 50.172 | 1.702 | 49.876 | 1.823 | 55.767 | 2.08 | 57.067 | -6.213 | 889.942 | 53.12 | 0.21317
2019-12-19 17:30:00 | 1.426 | 78.967 | 1.067 | 71.003 | 0.771 | 76 | 1.515 | 68.633 | -6.512 | 889.667 | 54.112 | 0.21459
2019-12-19 17:45:00 | 1.774 | 81.213 | 1.638 | 73.28 | 1.64 | 81.267 | 1.984 | 72.033 | -6.724 | 889.85 | 55.744 | 0.22738
2019-12-19 18:00:00 | 2.567 | 79.263 | 2.391 | 73.245 | 2.439 | 78.833 | 2.436 | 71.967 | -7.071 | 890.05 | 57.205 | 0.22454
2019-12-19 18:15:00 | 2.008 | 82.253 | 2.338 | 73.239 | 2.085 | 85 | 2.2 | 83 | -7.376 | 889.933 | 58.709 | 0.21601
2019-12-19 18:30:00 | 1.905 | 80.3 | 1.954 | 73.303 | 1.601 | 85.933 | 1.794 | 83 | -7.589 | 890.092 | 60.491 | 0.21743
2019-12-19 18:45:00 | 1.71 | 80.257 | 1.918 | 73.239 | 1.571 | 86 | 1.578 | 83.067 | -8.033 | 890.092 | 61.792 | 0.21601
2019-12-19 19:00:00 | 1.45 | 96.537 | 1.916 | 79.864 | 1.727 | 96 | 1.808 | 86.667 | -8.17 | 889.575 | 63.2 | 0.21317
2019-12-19 19:15:00 | 1.168 | 107.8 | 1.541 | 97.219 | 1.542 | 97.533 | 1.764 | 87.2 | -8.24 | 890.017 | 64.459 | 0.21743
2019-12-19 19:30:00 | 1.691 | 144.427 | 1.827 | 104.538 | 1.627 | 123.5 | 2.009 | 88.6 | -8.627 | 890.4 | 63.989 | 0.25154
2019-12-19 19:45:00 | 2.009 | 151.233 | 1.96 | 114.429 | 1.876 | 126.167 | 2.327 | 113.867 | -8.841 | 890.083 | 64.832 | 0.24301
2019-12-19 20:00:00 | 2.119 | 161.833 | 1.694 | 124.879 | 1.726 | 139.9 | 2.227 | 124.033 | -8.824 | 889.742 | 65.216 | 0.2288
2019-12-19 20:15:00 | 2.288 | 167.4 | 1.814 | 134.482 | 2.089 | 147 | 2.41 | 130.833 | -8.641 | 889.75 | 64.736 | 0.21743
2019-12-19 20:30:00 | 2.355 | 169.753 | 2.193 | 134.544 | 2.042 | 147.033 | 2.246 | 130.8 | -8.514 | 889.917 | 64.629 | 0.21601
2019-12-19 20:45:00 | 2.03 | 189.4 | 1.099 | 138.488 | 0.886 | 147 | 1.429 | 131 | -9.158 | 889.467 | 64.949 | 0.21317
2019-12-19 21:00:00 | 1.122 | 189.36 | 0 | 138.585 | 0 | 147.067 | 0 | 130.867 | -9.404 | 890.308 | 66.997 | 0.21317
2019-12-19 21:15:00 | 2.538 | 210.9 | 1.135 | 138.949 | 0.363 | 147 | 1.204 | 131.067 | -9.091 | 889.642 | 66.133 | 0.21317
2019-12-19 21:30:00 | 2.628 | 214.167 | 1.589 | 180.401 | 1.064 | 172.833 | 1.573 | 131 | -9.108 | 889.867 | 65.792 | 0.21459
2019-12-19 21:45:00 | 3.197 | 219.067 | 1.343 | 182.448 | 0.644 | 184.833 | 1.363 | 131 | -8.891 | 889.817 | 63.627 | 0.21601
2019-12-19 22:00:00 | 4.179 | 215 | 2.807 | 194.347 | 2.07 | 202.5 | 1.313 | 134.6 | -9.058 | 889.658 | 63.851 | 0.21601
2019-12-19 22:15:00 | 4.658 | 217.18 | 2.799 | 204.984 | 1.639 | 208.5 | 0.92 | 157 | -9.358 | 889.725 | 62.101 | 0.22312
2019-12-19 22:30:00 | 4.14 | 213.253 | 2.27 | 203.401 | 0.974 | 209 | 0.164 | 157 | -9.028 | 889.342 | 63.957 | 0.21885
2019-12-19 22:45:00 | 3.712 | 216.713 | 1.741 | 204.53 | 0.19 | 209 | 0.162 | 157 | -7.8 | 889.858 | 60.299 | 0.21317
2019-12-19 23:00:00 | 2.566 | 216.973 | 0.269 | 204.496 | 0 | 208.867 | 0 | 157 | -8.17 | 890.267 | 62.485 | 0.21459
2019-12-19 23:15:00 | 2.235 | 220.433 | 0 | 204.481 | 0 | 209.033 | 0 | 156.833 | -7.539 | 889.925 | 61.547 | 0.21885
2019-12-19 23:30:00 | 2.354 | 223.313 | 0 | 204.48 | 0 | 209.033 | 0 | 157 | -8.134 | 889.958 | 61.579 | 0.23449
2019-12-19 23:45:00 | 2.31 | 219.793 | 0 | 204.566 | 0 | 209.1 | 0 | 157 | -8.11 | 889.725 | 61.472 | 0.23591