## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-20 00:00:00 | 2.455 | 224.273 | 0 | 204.499 | 0 | 208.933 | 0 | 157 | -8.671 | 890.008 | 62.144 | 0.22738
2019-12-20 00:15:00 | 1.4 | 220.687 | 0 | 204.396 | 0 | 209 | 0.393 | 140.433 | -8.297 | 889.85 | 62.176 | 0.21459
2019-12-20 00:30:00 | 1.823 | 222.933 | 0 | 204.507 | 0 | 219.067 | 0.03 | 51.008 | -9.091 | 889.867 | 63.488 | 0.21743
2019-12-20 00:45:00 | 0.063 | 223.347 | 0 | 204.513 | 0 | 348 | 1.145 | 51.225 | -9.308 | 890.125 | 65.184 | 0.23307
2019-12-20 01:00:00 | 0 | 247.1 | 1.575 | 24.723 | 0.957 | 23 | 1.519 | 51 | -9.67 | 889.825 | 65.589 | 0.26433
2019-12-20 01:15:00 | 0.499 | 232.64 | 0 | 27.064 | 0.885 | 40.967 | 2.149 | 51.467 | -10.928 | 889.842 | 67.936 | 0.25012
2019-12-20 01:30:00 | 0 | 217.567 | 0 | 26.068 | 0.312 | 48.733 | 2.076 | 54.533 | -11.161 | 890.217 | 71.115 | 0.23449
2019-12-20 01:45:00 | 1.167 | 239.9 | 0 | 27.067 | 0.027 | 49 | 2.201 | 61 | -11.461 | 890.192 | 73.024 | 0.23164
2019-12-20 02:00:00 | 0.518 | 243.827 | 0 | 27.061 | 0.802 | 79.2 | 2.463 | 72 | -11.157 | 889.758 | 74.24 | 0.23733
2019-12-20 02:15:00 | 1.081 | 242.347 | 0 | 27.06 | 0.117 | 58 | 1.839 | 68.867 | -10.778 | 890.142 | 72.384 | 0.23733
2019-12-20 02:30:00 | 0.103 | 220.74 | 0 | 27.067 | 0 | 58 | 0.121 | 69 | -11.022 | 889.867 | 71.104 | 0.043345
2019-12-20 02:45:00 | 1.544 | 216.42 | 0.163 | 83.701 | 0 | 167.267 | 1.214 | 87 | -10.909 | 890.067 | 70.795 | 0.18261
2019-12-20 03:00:00 | 0.552 | 199.96 | 0 | 166.584 | 0 | 173.1 | 1.188 | 89 | -11.224 | 890.05 | 69.92 | 0.26717
2019-12-20 03:15:00 | 1.558 | 232.213 | 0.936 | 193.736 | 0.14 | 209.4 | 0 | 88.9 | -11.209 | 890 | 70.411 | 0.26007
2019-12-20 03:30:00 | 1.77 | 233.487 | 1.54 | 230.468 | 1.01 | 229.5 | 0.064 | 89 | -11.003 | 889.717 | 72.213 | 0.26859
2019-12-20 03:45:00 | 1.466 | 235.3 | 0.86 | 234.391 | 0.688 | 236.933 | 1.132 | 89 | -11.018 | 889.667 | 71.765 | 0.26007
2019-12-20 04:00:00 | 0.758 | 232.9 | 0 | 237.514 | 0 | 237.1 | 0 | 89 | -11.168 | 889.792 | 69.056 | 0.25012
2019-12-20 04:15:00 | 0 | 228.107 | 0.177 | 237.504 | 0 | 236.833 | 0.685 | 88.5 | -11.453 | 889.917 | 72.085 | 0.18262
2019-12-20 04:30:00 | 0.053 | 96.21 | 0.644 | 200.292 | 0.153 | 237 | 1.605 | 86.033 | -10.976 | 889.9 | 73.323 | 0.23236
2019-12-20 04:45:00 | 0 | 96.187 | 0.842 | 23.115 | 2.025 | 71.1 | 3.177 | 70.767 | -11.932 | 889.458 | 74.603 | 0.27357
2019-12-20 05:00:00 | 0.053 | 221.88 | 0.146 | 60.138 | 1.845 | 68.767 | 2.925 | 71 | -11.645 | 890.283 | 75.52 | 0.17267
2019-12-20 05:15:00 | 1.084 | 245.067 | 0 | 72.197 | 0.563 | 92.867 | 2.574 | 78.667 | -11.874 | 890.208 | 74.325 | 0.27783
2019-12-20 05:30:00 | 0.442 | 265.093 | 0 | 72.237 | 0.23 | 81.85 | 2.13 | 72 | -11.076 | 889.858 | 71.211 | 0.11795
2019-12-20 05:45:00 | 0 | 259.093 | 0.217 | 72.256 | 1.77 | 86.183 | 2.934 | 87.033 | -11.378 | 889.825 | 69.547 | 0.18048
2019-12-20 06:00:00 | 0.243 | 195.813 | 1.627 | 105.859 | 2.946 | 98.267 | 3.448 | 89.633 | -11.628 | 889.825 | 72.331 | 1.1611
2019-12-20 06:15:00 | 1.33 | 128.59 | 2.715 | 96.987 | 3.113 | 91.6 | 3.587 | 83.633 | -10.891 | 890.1 | 71.829 | 2.2539
2019-12-20 06:30:00 | 1.374 | 134.133 | 2.548 | 102.477 | 1.957 | 96.4 | 2.069 | 96.5 | -11.428 | 889.492 | 67.403 | 2.509
2019-12-20 06:45:00 | 3.172 | 162.907 | 2.845 | 132.091 | 3.135 | 125.567 | 3.878 | 122.433 | -11.674 | 889.908 | 63.989 | 2.1551
2019-12-20 07:00:00 | 2.376 | 187.807 | 2.307 | 133.502 | 2.453 | 139.133 | 2.751 | 138.667 | -12.257 | 889.733 | 61.749 | 0.13074
2019-12-20 07:15:00 | 2.358 | 205.933 | 1.22 | 134.785 | 1.004 | 141.067 | 1.804 | 138 | -12.536 | 889.942 | 70.037 | 0.2622
2019-12-20 07:30:00 | 2.334 | 216.933 | 1.294 | 158.51 | 1.602 | 147.067 | 2.262 | 139.133 | -11.478 | 889.75 | 69.227 | 0.21885
2019-12-20 07:45:00 | 1.814 | 228.6 | 0 | 157.9 | 0.407 | 123 | 2.166 | 110.033 | -10.891 | 890.075 | 70.261 | 0.21672
2019-12-20 08:00:00 | 0.283 | 228.12 | 0 | 157.674 | 0 | 116.867 | 1.686 | 96.1 | -10.816 | 889.8 | 72.427 | 0.18119
2019-12-20 08:15:00 | 0.03 | 203.287 | 1.592 | 93.668 | 2.283 | 93.1 | 2.951 | 86.933 | -10.639 | 890.117 | 72.896 | 0.90455
2019-12-20 08:30:00 | 1.492 | 159.04 | 0.757 | 94.651 | 1.059 | 87.7 | 1.879 | 92.5 | -10.42 | 889.725 | 65.237 | 0.83492
2019-12-20 08:45:00 | 1.784 | 165.54 | 1.493 | 93.713 | 1.576 | 88 | 1.952 | 85.133 | -11.272 | 889.517 | 60.811 | 0.58337
2019-12-20 09:00:00 | 0 | 82.928 | 1.595 | 63.098 | 1.557 | 83.8 | 2.046 | 97.433 | -11.411 | 889.817 | 62.357 | 0.74112
2019-12-20 09:15:00 | 0.61 | 92.633 | 2.514 | 84.53 | 2.591 | 87.433 | 2.745 | 85.333 | -11.528 | 890 | 62.048 | 1.085
2019-12-20 09:30:00 | 0 | 100.3 | 1.248 | 74.012 | 2.119 | 82.733 | 2.03 | 85.133 | -11.478 | 889.717 | 61.44 | 0.90029
2019-12-20 09:45:00 | 0.16 | 212.6 | 0 | 79.247 | 0.881 | 94.167 | 2.695 | 97.233 | -11.361 | 889.667 | 60.992 | 0.27357
2019-12-20 10:00:00 | 0.146 | 224.433 | 0 | 79.248 | 0.07 | 100 | 2.374 | 105.867 | -11.511 | 889.8 | 59.904 | 0.25083
2019-12-20 10:15:00 | 2.291 | 301.293 | 0.765 | 298.962 | 0 | 100.05 | 1.034 | 106 | -11.766 | 889.95 | 58.827 | 0.25012
2019-12-20 10:30:00 | 0 | 303.013 | 0 | 298.928 | 0 | 100.25 | 1.849 | 104 | -11.657 | 889.667 | 61.013 | 0.27002
2019-12-20 10:45:00 | 0.037 | 298.4 | 1.06 | 300.876 | 1.223 | 93.267 | 2.327 | 102.867 | -11.461 | 889.758 | 60.213 | 0.27286
2019-12-20 11:00:00 | 1.354 | 190.867 | 1.556 | 157.008 | 2.154 | 101.333 | 3.068 | 103.333 | -11.445 | 889.417 | 57.973 | 0.10303
2019-12-20 11:15:00 | 0.96 | 134.073 | 2.097 | 116.355 | 2.1 | 103.067 | 2.267 | 107.267 | -10.52 | 889.792 | 57.141 | 0.90953
2019-12-20 11:30:00 | 2.645 | 111.597 | 3.123 | 97.189 | 2.1 | 92.5 | 2.14 | 90.133 | -10.743 | 889.583 | 61.6 | 1.7018
2019-12-20 11:45:00 | 2.491 | 99.533 | 2.434 | 92.016 | 1.575 | 92.433 | 2.225 | 86.667 | -10.083 | 890.175 | 59.819 | 1.8361
2019-12-20 12:00:00 | 2.86 | 81.833 | 2.726 | 77.61 | 2.673 | 81.1 | 2.478 | 80.3 | -9.445 | 889.75 | 59.445 | 0.70488
2019-12-20 12:15:00 | 2.848 | 33.555 | 2.409 | 33.664 | 1.958 | 38.767 | 2.083 | 46.467 | -9.191 | 890.158 | 60.32 | 0.15775
2019-12-20 12:30:00 | 2.644 | 12.128 | 2.214 | 10.996 | 2.145 | 18.5 | 2.358 | 21 | -9.295 | 889.85 | 62.688 | 0.12577
2019-12-20 12:45:00 | 3.005 | 43.464 | 3.016 | 33.98 | 2.783 | 1.967 | 2.94 | 3.567 | -9.274 | 889.85 | 62.565 | 0.13643
2019-12-20 13:00:00 | 2.839 | 24.225 | 2.488 | 15.806 | 2.615 | 15.8 | 2.767 | 29.067 | -8.774 | 890.125 | 63.296 | 0.55211
2019-12-20 13:15:00 | 2.935 | 53.667 | 2.878 | 55.019 | 2.687 | 57.733 | 2.785 | 54.067 | -8.891 | 889.533 | 61.259 | 0.22099
2019-12-20 13:30:00 | 2.2 | 55.095 | 2.014 | 48.633 | 1.788 | 59.967 | 2.208 | 58.433 | -8.608 | 889.575 | 59.787 | 0.23946
2019-12-20 13:45:00 | 1.804 | 26.292 | 1.423 | 29.181 | 1.229 | 42.733 | 1.904 | 47.133 | -8.808 | 889.875 | 59.776 | 0.28565
2019-12-20 14:00:00 | 1.68 | 54.978 | 1.283 | 48.008 | 0.91 | 45.1 | 1.381 | 40.9 | -8.17 | 890.2 | 59.04 | 0.24586
2019-12-20 14:15:00 | 1.386 | 40.211 | 1.203 | 22.158 | 1.219 | 23.733 | 1.676 | 17.4 | -8.13 | 889.558 | 57.408 | 0.23875
2019-12-20 14:30:00 | 1.341 | 54.681 | 0.751 | 31.436 | 0.2 | 37.633 | 0.997 | 32.467 | -8.534 | 889.833 | 57.973 | 0.25154
2019-12-20 14:45:00 | 2.032 | 54.7 | 1.882 | 50.7 | 1.484 | 57.6 | 1.695 | 52.8 | -8.824 | 890.025 | 58.837 | 0.25865
2019-12-20 15:00:00 | 1.767 | 22.35 | 1.658 | 19.048 | 1.629 | 20.4 | 2.065 | 15.6 | -8.608 | 890 | 59.797 | 0.26433
2019-12-20 15:15:00 | 1.376 | 40.185 | 1.1 | 35.095 | 0.536 | 35.5 | 1.596 | 17.6 | -8.708 | 889.625 | 59.947 | 0.23449
2019-12-20 15:30:00 | 0.106 | 85.532 | 0.03 | 68.163 | 0 | 67.833 | 0.191 | 71.775 | -8.658 | 889.625 | 59.797 | 0.23307
2019-12-20 15:45:00 | 0.857 | 329.08 | 0.816 | 321.045 | 0.383 | 326.967 | 1.484 | 344.8 | -8.371 | 890.225 | 59.243 | 0.25865
2019-12-20 16:00:00 | 1.506 | 309.88 | 1.459 | 306.233 | 1.316 | 313.9 | 1.747 | 310.233 | -8.621 | 889.817 | 60.144 | 0.30412
2019-12-20 16:15:00 | 3.331 | 303.767 | 3.375 | 303.285 | 3.309 | 306.333 | 3.688 | 302.367 | -8.371 | 889.742 | 61.024 | 3.2579
2019-12-20 16:30:00 | 3.95 | 316.8 | 4.26 | 309.861 | 4.367 | 313.733 | 4.532 | 308.033 | -8.09 | 889.975 | 61.605 | 5.4991
2019-12-20 16:45:00 | 4.93 | 315.44 | 5.162 | 311.772 | 5.186 | 317.9 | 5.494 | 315.133 | -8.13 | 890.042 | 62.581 | 9.2153
2019-12-20 17:00:00 | 4.003 | 304.627 | 4.184 | 301.834 | 4.252 | 303.767 | 4.41 | 300.167 | -7.749 | 889.9 | 61.691 | 5.4024
2019-12-20 17:15:00 | 4.217 | 309.533 | 4.321 | 304.634 | 4.614 | 308.933 | 4.986 | 305.133 | -8.291 | 889.65 | 61.664 | 8.4728
2019-12-20 17:30:00 | 3.513 | 301.507 | 3.776 | 297.517 | 3.712 | 301.367 | 4.009 | 297.933 | -8.03 | 890.008 | 63.008 | 8.416
2019-12-20 17:45:00 | 4.46 | 302.513 | 4.828 | 299.772 | 5.026 | 304.1 | 5.41 | 300.8 | -8.09 | 889.942 | 63.349 | 7.5817
2019-12-20 18:00:00 | 3.524 | 291.447 | 3.81 | 292.965 | 3.988 | 298.1 | 4.433 | 294.633 | -8.25 | 890.342 | 63.109 | 7.6414
2019-12-20 18:15:00 | 3.963 | 309.427 | 4.334 | 304.586 | 4.392 | 308.367 | 4.715 | 305.867 | -8.25 | 890.042 | 63.04 | 6.4811
2019-12-20 18:30:00 | 4.101 | 310.8 | 4.567 | 307.517 | 4.632 | 312 | 4.871 | 309.267 | -8.591 | 889.608 | 64.549 | 2.5602
2019-12-20 18:45:00 | 2.445 | 302.133 | 2.659 | 300.364 | 2.679 | 305.033 | 3.184 | 302.667 | -9.374 | 890.125 | 65.488 | 0.27144
2019-12-20 19:00:00 | 2.952 | 317.213 | 2.975 | 309.063 | 2.817 | 311.7 | 2.912 | 303.833 | -9.283 | 890.042 | 65.76 | 0.22809
2019-12-20 19:15:00 | 1.817 | 286.48 | 1.788 | 290.386 | 1.564 | 295.667 | 2.059 | 291.867 | -9.849 | 890.125 | 66.288 | 0.26575
2019-12-20 19:30:00 | 0.14 | 282.227 | 0 | 289.026 | 0 | 274.1 | 0.924 | 274 | -9.666 | 889.992 | 66.549 | 0.24159
2019-12-20 19:45:00 | 0 | 282.24 | 0 | 289.072 | 0 | 274 | 1.508 | 217 | -9.828 | 889.808 | 66.357 | 0.27854
2019-12-20 20:00:00 | 0.617 | 249.313 | 0.426 | 278.141 | 0.672 | 234.967 | 2.246 | 202.9 | -9.437 | 889.533 | 66.389 | 0.33397
2019-12-20 20:15:00 | 1.415 | 200.4 | 1.742 | 203.362 | 2.766 | 191.867 | 3.514 | 190.567 | -9.391 | 889.483 | 66.379 | 1.3998
2019-12-20 20:30:00 | 1.191 | 236.033 | 2.417 | 212.489 | 3.081 | 209.967 | 3.746 | 198.733 | -9.191 | 889.942 | 66.709 | 2.9844
2019-12-20 20:45:00 | 2.66 | 217.9 | 3.323 | 207.118 | 3.806 | 211.267 | 4.276 | 212.5 | -9.174 | 889.867 | 66.592 | 6.2629
2019-12-20 21:00:00 | 2.423 | 228.367 | 3.355 | 224.544 | 3.91 | 234.533 | 4.326 | 236.033 | -8.524 | 889.792 | 64.971 | 10.6393
2019-12-20 21:15:00 | 2.528 | 236.693 | 3.97 | 256.919 | 4.697 | 270.533 | 5.279 | 271.633 | -8.311 | 889.983 | 64.448 | 8.7293
2019-12-20 21:30:00 | 3.192 | 261.833 | 3.316 | 273.806 | 3.45 | 287.333 | 3.872 | 288.7 | -7.722 | 889.842 | 69.712 | 4.4304
2019-12-20 21:45:00 | 0.84 | 352.8 | 2.153 | 329.045 | 2.952 | 333.233 | 3.208 | 318.333 | -8.724 | 889.9 | 64.608 | 1.1177
2019-12-20 22:00:00 | 1.86 | 281.347 | 2.285 | 297.653 | 1.969 | 300.467 | 2.793 | 287.8 | -10.137 | 890.083 | 66.795 | 0.79512
2019-12-20 22:15:00 | 2.447 | 256.913 | 2.114 | 276.06 | 2.697 | 274.033 | 3.164 | 266.333 | -10.51 | 889.975 | 69.605 | 4.5157
2019-12-20 22:30:00 | 2.966 | 278.507 | 3.356 | 292.016 | 3.043 | 287.6 | 3.383 | 278.967 | -10.722 | 889.925 | 72.208 | 14.8366
2019-12-20 22:45:00 | 4.425 | 262.32 | 4.327 | 265.028 | 4.378 | 261.733 | 4.445 | 247.183 | -9.366 | 890.283 | 71.781 | 16.9783
2019-12-20 23:00:00 | 4.432 | 282.333 | 4.261 | 283.311 | 4.149 | 280.2 | 4.416 | 267.6 | -8.29 | 889.575 | 75.173 | 11.5737
2019-12-20 23:15:00 | 4.651 | 260.687 | 4.383 | 273.105 | 4.31 | 270.9 | 4.543 | 257.567 | -8.691 | 889.742 | 72.453 | 7.7551
2019-12-20 23:30:00 | 3.864 | 278.733 | 3.928 | 276.825 | 3.869 | 272.367 | 4.295 | 256.283 | -8.758 | 890.3 | 74.496 | 9.4264
2019-12-20 23:45:00 | 3.501 | 261.087 | 4.262 | 251.018 | 4.514 | 248.367 | 4.97 | 237.933 | -9.291 | 889.592 | 74.677 | 10.2982