## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-22 00:00:00 | 2.744 | 139.867 | 2.912 | 113.119 | 2.871 | 109.367 | 3.296 | 104.4 | -8.673 | 862.1 | 65.899 | 1.1966
2019-12-22 00:15:00 | 2.075 | 160.933 | 2.132 | 118.856 | 1.237 | 107.933 | 1.472 | 106.1 | -8.938 | 863.542 | 65.152 | 0.25012
2019-12-22 00:30:00 | 1.259 | 169.407 | 1.474 | 106.452 | 1.187 | 89.967 | 2.288 | 77.967 | -9.638 | 864.7 | 66.827 | 0.6587
2019-12-22 00:45:00 | 1.832 | 157.967 | 2.312 | 103.393 | 1.847 | 99.4 | 2.58 | 89.433 | -9.021 | 865.292 | 67.179 | 1.6052
2019-12-22 01:00:00 | 1.546 | 158 | 2.204 | 101.6 | 1.507 | 91.633 | 2.439 | 79.9 | -9.239 | 862.008 | 65.888 | 1.0204
2019-12-22 01:15:00 | 0 | 180.387 | 0 | 97.927 | 0.897 | 77.7 | 1.991 | 76.133 | -9.344 | 861.733 | 66.955 | 0.22241
2019-12-22 01:30:00 | 0 | 180.133 | 0 | 97.272 | 0 | 68 | 1.528 | 78 | -9.823 | 861.592 | 69.323 | 0.14993
2019-12-22 01:45:00 | 0.116 | 238.047 | 0 | 82.538 | 0.488 | 67.667 | 2.759 | 62.033 | -9.698 | 861.592 | 70.741 | 0.18404
2019-12-22 02:00:00 | 1.014 | 258.667 | 0 | 79.252 | 0.403 | 49.862 | 2.429 | 57.367 | -9.377 | 862.067 | 70.315 | 0.071057
2019-12-22 02:15:00 | 1.533 | 262.633 | 0 | 79.202 | 1.164 | 44.542 | 2.181 | 51.767 | -9.568 | 862.117 | 69.515 | 0.24728
2019-12-22 02:30:00 | 2.653 | 266.507 | 0.043 | 253.762 | 0.264 | 23.069 | 2.619 | 35 | -9.389 | 861.725 | 68.213 | 0.2757
2019-12-22 02:45:00 | 2.438 | 281.467 | 1.477 | 325.952 | 1.224 | 62.172 | 2.744 | 20.5 | -9.273 | 861.842 | 67.883 | 0.23875
2019-12-22 03:00:00 | 2.395 | 263.18 | 0.393 | 296.864 | 0 | 350.5 | 1.454 | 45.121 | -10.073 | 861.958 | 67.232 | 0.22454
2019-12-22 03:15:00 | 2.002 | 256.633 | 0.033 | 297.082 | 0 | 334.2 | 0.463 | 45.125 | -10.381 | 862.05 | 69.504 | 0.22028
2019-12-22 03:30:00 | 2.889 | 253.067 | 1.33 | 271.829 | 0 | 334.133 | 0.03 | 45.054 | -10 | 861.983 | 70.443 | 0.21885
2019-12-22 03:45:00 | 3.522 | 259.667 | 1.634 | 279.011 | 0.424 | 300.4 | 0.148 | 0 | -10.348 | 861.708 | 69.941 | 0.25865
2019-12-22 04:00:00 | 3.729 | 257.513 | 2.779 | 279.128 | 2.143 | 298 | 2.016 | 297.133 | -10.144 | 861.917 | 70 | 0.1947
2019-12-22 04:15:00 | 4.001 | 255.067 | 3.426 | 292.98 | 3.096 | 304.333 | 3.094 | 298.667 | -10.264 | 861.8 | 67.563 | 0.13145
2019-12-22 04:30:00 | 4.316 | 254.827 | 3.51 | 284.947 | 3.135 | 288.267 | 2.801 | 287.933 | -11.327 | 862.7 | 68.853 | 0.17267
2019-12-22 04:45:00 | 4.307 | 252.62 | 4.038 | 285.654 | 4.051 | 290.3 | 3.866 | 288 | -10.685 | 861.767 | 70.32 | 0.25154
2019-12-22 05:00:00 | 3.68 | 262.1 | 3.376 | 288.905 | 2.885 | 288.667 | 2.151 | 287.1 | -10.464 | 861.667 | 69.952 | 0.23662
2019-12-22 05:15:00 | 3.594 | 258.88 | 3.735 | 287.191 | 2.896 | 288.433 | 2.238 | 287.267 | -11.038 | 862.158 | 69.696 | 0.26291
2019-12-22 05:30:00 | 4.18 | 230.32 | 3.309 | 267.456 | 2.656 | 277 | 2.167 | 280.667 | -10.831 | 861.783 | 68.843 | 0.25154
2019-12-22 05:45:00 | 4.069 | 223.207 | 2.795 | 238.04 | 1.765 | 231.033 | 1.493 | 223.8 | -10.535 | 861.767 | 70.069 | 0.24017
2019-12-22 06:00:00 | 4.683 | 215.567 | 3.085 | 219.546 | 2.187 | 212 | 2.076 | 202 | -11.527 | 861.8 | 68.843 | 0.2217
2019-12-22 06:15:00 | 3.28 | 218.907 | 2.144 | 213.475 | 1.586 | 212.033 | 1.562 | 202 | -10.302 | 861.858 | 72.661 | 0.23591
2019-12-22 06:30:00 | 3.907 | 223.773 | 1.664 | 220.006 | 0.727 | 212 | 0.971 | 202.067 | -10.179 | 861.758 | 65.344 | 0.21885
2019-12-22 06:45:00 | 3.73 | 229.8 | 1.321 | 220.939 | 0 | 211.833 | 0 | 202 | -11.527 | 862.25 | 70.496 | 0.22312
2019-12-22 07:00:00 | 3.096 | 226.573 | 0 | 221.508 | 0 | 212 | 0 | 201.933 | -9.379 | 861.683 | 68.597 | 0.21885
2019-12-22 07:15:00 | 3.35 | 221.353 | 0 | 221.475 | 0 | 212 | 0 | 202 | -9.635 | 862.375 | 64.779 | 0.22028
2019-12-22 07:30:00 | 2.891 | 222.2 | 0 | 221.438 | 0 | 212 | 0 | 202 | -9.339 | 861.95 | 65.408 | 0.21601
2019-12-22 07:45:00 | 2.737 | 221.267 | 0 | 221.498 | 0 | 211.833 | 0 | 202.067 | -9.189 | 862.017 | 65.109 | 0.22312
2019-12-22 08:00:00 | 1.32 | 212.4 | 0 | 178.6 | 0 | 115.6 | 1.563 | 140 | -9.073 | 861.825 | 64.715 | 0.23307
2019-12-22 08:15:00 | 2.176 | 220.233 | 0 | 175.516 | 0 | 115.733 | 1 | 116.867 | -9.337 | 865.417 | 64.523 | 0.24017
2019-12-22 08:30:00 | 1.836 | 197.5 | 0.888 | 147.139 | 0.983 | 116.033 | 1.906 | 117 | -9.305 | 863.992 | 65.12 | 0.26291
2019-12-22 08:45:00 | 1.763 | 166.6 | 2.262 | 121.3 | 2.139 | 115.567 | 2.17 | 117 | -9.25 | 872.558 | 64.779 | 0.23022
2019-12-22 09:00:00 | 1.263 | 171.353 | 1.611 | 115.915 | 1.67 | 113.6 | 1.89 | 116.9 | -9.838 | 872.95 | 66.752 | 0.2288
2019-12-22 09:15:00 | 0.917 | 216.013 | 0.344 | 114.318 | 0 | 112.667 | 1.106 | 117 | -10.181 | 885.275 | 68.107 | 0.22596
2019-12-22 09:30:00 | 0.562 | 215.933 | 0 | 114.218 | 0.632 | 74.033 | 1.75 | 117 | -10.234 | 887.158 | 69.493 | 0.24159
2019-12-22 09:45:00 | 0.821 | 235.5 | 0 | 114.234 | 0.923 | 50.833 | 1.941 | 72 | -10.266 | 889.592 | 69.525 | 0.27712
2019-12-22 10:00:00 | 0 | 237 | 1.212 | 62.118 | 1.717 | 55.1 | 2.375 | 63 | -10.249 | 889.867 | 69.643 | 0.2082
2019-12-22 10:15:00 | 0 | 216.227 | 1.596 | 62.141 | 2.344 | 66 | 2.842 | 63.1 | -9.87 | 889.767 | 69.856 | 0.13145
2019-12-22 10:30:00 | 0 | 125.2 | 0.703 | 69.827 | 1.896 | 72.133 | 1.986 | 52.733 | -9.041 | 889.592 | 68.693 | 0.26007
2019-12-22 10:45:00 | 0 | 125.2 | 0.748 | 71.944 | 1.949 | 71 | 2.821 | 53.9 | -9.258 | 889.575 | 65.845 | 0.25509
2019-12-22 11:00:00 | 0 | 125.22 | 0 | 68.292 | 1.314 | 87.133 | 2.34 | 53.967 | -8.337 | 889.825 | 64.693 | 0.23875
2019-12-22 11:15:00 | 0.522 | 171.6 | 0.32 | 82.939 | 0.476 | 89.867 | 2.187 | 66.833 | -7.472 | 890.308 | 63.84 | 0.2288
2019-12-22 11:30:00 | 0.466 | 179.5 | 0.06 | 159.491 | 0 | 142.167 | 0.181 | 83 | -6.81 | 890.025 | 59.605 | 0.2288
2019-12-22 11:45:00 | 1.584 | 326.013 | 1.373 | 319.384 | 1.196 | 327.633 | 1.701 | 50.04 | -6.747 | 889.583 | 57.797 | 0.25438
2019-12-22 12:00:00 | 0.136 | 294.4 | 0 | 311.125 | 0 | 309.4 | 0.437 | 334.733 | -7.489 | 889.55 | 59.904 | 0.22028
2019-12-22 12:15:00 | 0.959 | 293.547 | 0.493 | 296.253 | 0.07 | 302.2 | 0.822 | 316.167 | -6.034 | 889.667 | 56.965 | 0.22028
2019-12-22 12:30:00 | 1.598 | 271.38 | 1.126 | 274.204 | 0.83 | 275.9 | 1.823 | 280.233 | -5.285 | 889.967 | 53.787 | 0.22738
2019-12-22 12:45:00 | 0.486 | 239.447 | 0.243 | 257.711 | 0.326 | 251.083 | 1.041 | 268.033 | -4.494 | 889.958 | 50.875 | 0.23022
2019-12-22 13:00:00 | 0.992 | 271.08 | 0.808 | 261.855 | 0.576 | 255.983 | 1.477 | 250.183 | -4.364 | 890.075 | 48.528 | 0.21885
2019-12-22 13:15:00 | 1.453 | 341.747 | 1.186 | 323.245 | 0.813 | 341.333 | 1.622 | 325.567 | -4.557 | 889.717 | 46.683 | 0.23875
2019-12-22 13:30:00 | 1.998 | 67.509 | 1.584 | 73.06 | 1.277 | 141.033 | 1.631 | 171.568 | -4.819 | 890.292 | 48.453 | 0.24728
2019-12-22 13:45:00 | 1.594 | 336.2 | 1.359 | 332.691 | 0.779 | 329.833 | 1.324 | 322.567 | -4.952 | 889.842 | 48.864 | 0.2487
2019-12-22 14:00:00 | 2.119 | 19.388 | 1.964 | 55.869 | 1.984 | 24.367 | 2.348 | 31.4 | -4.676 | 889.792 | 49.472 | 0.19967
2019-12-22 14:15:00 | 2.682 | 62.004 | 2.524 | 107.328 | 2.635 | 61.734 | 2.856 | 73.267 | -4.899 | 889.642 | 50.139 | 0.078873
2019-12-22 14:30:00 | 2.891 | 287.4 | 2.559 | 265.535 | 2.526 | 153.774 | 2.701 | 117.667 | -5.135 | 889.683 | 51.019 | 0.18972
2019-12-22 14:45:00 | 2.07 | 187.151 | 2.272 | 333.952 | 2.078 | 239.233 | 2.44 | 280.733 | -5.435 | 889.625 | 50.896 | 0.1748
2019-12-22 15:00:00 | 3.04 | 270.354 | 3.068 | 301.547 | 3.347 | 283.533 | 3.379 | 295.267 | -5.219 | 889.975 | 50.336 | 0.26362
2019-12-22 15:15:00 | 3.412 | 299.893 | 3.518 | 308.984 | 3.709 | 329.4 | 4.01 | 343.533 | -5.252 | 889.875 | 50.581 | 0.85836
2019-12-22 15:30:00 | 3.539 | 214.188 | 3.688 | 300.393 | 3.821 | 250.633 | 3.99 | 274.1 | -5.152 | 889.558 | 50.117 | 3.199
2019-12-22 15:45:00 | 3.576 | 317.867 | 3.462 | 314.323 | 3.574 | 320.667 | 3.91 | 321.5 | -5.252 | 889.642 | 49.141 | 4.7132
2019-12-22 16:00:00 | 3.913 | 289.413 | 4.197 | 329.321 | 4.222 | 319.267 | 4.646 | 330.133 | -5.502 | 890.175 | 48.939 | 6.5017
2019-12-22 16:15:00 | 4.037 | 330.293 | 4.104 | 323.756 | 4.353 | 329.467 | 4.544 | 329.2 | -5.425 | 889.7 | 49.499 | 4.7942
2019-12-22 16:30:00 | 4.008 | 303.68 | 4.44 | 336.024 | 4.465 | 326.4 | 4.527 | 337.367 | -5.564 | 890.167 | 49.749 | 3.5571
2019-12-22 16:45:00 | 3.33 | 312.293 | 3.234 | 308.854 | 3.29 | 314.533 | 3.392 | 312.4 | -6.037 | 890.05 | 50.299 | 2.5161
2019-12-22 17:00:00 | 3.007 | 328.613 | 3.047 | 324.089 | 3.071 | 326.667 | 3.345 | 323.8 | -5.455 | 890.35 | 50.544 | 2.6227
2019-12-22 17:15:00 | 3.653 | 326.813 | 3.714 | 321.477 | 3.639 | 327.8 | 3.77 | 326.067 | -5.753 | 889.975 | 51.504 | 4.1064
2019-12-22 17:30:00 | 3.972 | 314.213 | 4.249 | 311.7 | 4.225 | 316.167 | 4.531 | 315.433 | -6.116 | 890.108 | 52.784 | 5.0038
2019-12-22 17:45:00 | 3.642 | 307.56 | 3.832 | 304.338 | 4.007 | 309.767 | 4.344 | 308.2 | -6.319 | 889.65 | 54.032 | 6.1592
2019-12-22 18:00:00 | 3.728 | 311.067 | 4.046 | 305.892 | 4.038 | 310.333 | 4.354 | 307.8 | -6.562 | 889.625 | 55.744 | 3.9799
2019-12-22 18:15:00 | 2.725 | 319.533 | 3.333 | 315.748 | 3.569 | 319.167 | 3.789 | 315.867 | -6.959 | 889.633 | 57.429 | 1.0047
2019-12-22 18:30:00 | 1.282 | 303.013 | 1.327 | 299.404 | 1.391 | 306.467 | 2.184 | 301.333 | -7.21 | 889.883 | 59.52 | 0.13856
2019-12-22 18:45:00 | 2.326 | 303.013 | 2.944 | 298.69 | 3.091 | 305.1 | 3.616 | 302.833 | -7.111 | 889.508 | 61.712 | 0.13288
2019-12-22 19:00:00 | 1.286 | 306.187 | 1.66 | 303.122 | 1.894 | 310.867 | 2.465 | 300 | -7.569 | 889.433 | 61.931 | 0.25083
2019-12-22 19:15:00 | 0.414 | 305.04 | 1.099 | 299.085 | 1.261 | 311.067 | 1.919 | 298 | -7.946 | 889.733 | 63.392 | 0.24444
2019-12-22 19:30:00 | 0.413 | 305.08 | 0.78 | 299.252 | 0.949 | 299 | 1.887 | 296 | -7.719 | 889.6 | 64.213 | 0.22738
2019-12-22 19:45:00 | 0.476 | 275.167 | 0 | 298.892 | 0 | 298.467 | 0.104 | 296 | -8.083 | 890.167 | 64.629 | 0.22596
2019-12-22 20:00:00 | 1.55 | 214.867 | 0.223 | 297.045 | 0 | 298.067 | 1.188 | 296.067 | -8.19 | 889.967 | 65.536 | 0.23164
2019-12-22 20:15:00 | 1.554 | 210.447 | 1.317 | 212.942 | 1.553 | 222.867 | 1.987 | 230.333 | -8.25 | 889.492 | 65.76 | 0.24728
2019-12-22 20:30:00 | 1.514 | 195.587 | 0.836 | 204.53 | 1.427 | 211 | 2.012 | 203 | -8.13 | 890.242 | 64.032 | 0.23449
2019-12-22 20:45:00 | 1.174 | 186.327 | 0.033 | 204.476 | 0.14 | 210 | 1.327 | 202.167 | -7.726 | 889.767 | 62.197 | 0.22738
2019-12-22 21:00:00 | 0 | 173.587 | 0 | 204.487 | 0 | 162.067 | 0.732 | 202.133 | -7.483 | 890.033 | 62.005 | 0.23164
2019-12-22 21:15:00 | 2.34 | 203.767 | 0.954 | 204.546 | 1.454 | 196.2 | 2.267 | 206.8 | -7.622 | 889.942 | 59.979 | 0.43345
2019-12-22 21:30:00 | 2.586 | 222.353 | 3.437 | 237.148 | 3.73 | 246.733 | 4.118 | 245.2 | -7.996 | 889.792 | 58.144 | 2.3257
2019-12-22 21:45:00 | 2.561 | 241.187 | 3.344 | 248.878 | 3.23 | 256.533 | 3.221 | 253.017 | -8.13 | 889.9 | 59.957 | 0.81289
2019-12-22 22:00:00 | 0.81 | 233.44 | 2.056 | 237.534 | 1.852 | 250.267 | 2.29 | 248 | -8.387 | 889.717 | 60.981 | 0.2757
2019-12-22 22:15:00 | 1.239 | 227.387 | 0.726 | 237.574 | 0 | 250.133 | 0.531 | 248 | -8.598 | 889.942 | 62.059 | 0.2217
2019-12-22 22:30:00 | 1.58 | 206.26 | 0.382 | 234.71 | 0 | 250.5 | 0 | 248.133 | -8.377 | 889.925 | 61.557 | 0.21317
2019-12-22 22:45:00 | 1.406 | 203.647 | 0.382 | 213.546 | 0 | 218.833 | 0.077 | 248 | -8.134 | 889.508 | 61.024 | 0.2217
2019-12-22 23:00:00 | 0.917 | 151.993 | 0 | 159.504 | 0.183 | 66 | 1.414 | 248 | -7.519 | 889.933 | 59.307 | 0.22454
2019-12-22 23:15:00 | 0.897 | 169.42 | 0.157 | 159.424 | 0.433 | 66.367 | 1.216 | 248 | -7.746 | 889.883 | 59.424 | 0.23022
2019-12-22 23:30:00 | 1.075 | 128.253 | 1.202 | 87.035 | 0.732 | 73 | 1.862 | 63.733 | -7.809 | 889.642 | 58.955 | 0.26433
2019-12-22 23:45:00 | 0 | 103.3 | 0.593 | 79.299 | 1.193 | 67.133 | 1.993 | 64.867 | -7.606 | 890.042 | 59.275 | 0.23875