## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-23 00:00:00 | 1.324 | 185.6 | 0.067 | 80.421 | 0.087 | 68.2 | 1.699 | 65 | -7.639 | 890.083 | 59.776 | 0.22454
2019-12-23 00:15:00 | 0.75 | 129.683 | 0.983 | 89.294 | 0.956 | 103.1 | 1.815 | 83 | -7.589 | 890.333 | 68.544 | 0.22738
2019-12-23 00:30:00 | 1.083 | 120.22 | 1.185 | 91.511 | 1.232 | 103 | 1.729 | 82.967 | -8.271 | 890 | 77.035 | 0.22312
2019-12-23 00:45:00 | 0.363 | 121.207 | 0.539 | 96.35 | 0 | 103 | 0.968 | 83 | -8.601 | 889.742 | 81.749 | 0.22738
2019-12-23 01:00:00 | 0 | 121.21 | 0 | 96.3 | 0 | 102.967 | 0.477 | 83.067 | -8.431 | 889.788 | 84.267 | 0.2288
2019-12-23 01:15:00 | 0.376 | 144.633 | 0.21 | 138.368 | 0 | 142 | 0.987 | 82.8 | -8.741 | 889.629 | 85.675 | 0.22596
2019-12-23 01:30:00 | 0.92 | 144.833 | 1.214 | 138.395 | 1.149 | 146.567 | 1.565 | 83.8 | -8.658 | 890.379 | 86.443 | 0.23164
2019-12-23 01:45:00 | 0.534 | 157.4 | 0.715 | 140.435 | 0.586 | 155.067 | 1.079 | 137 | -8.691 | 890.538 | 86.699 | 0.22738
2019-12-23 02:00:00 | 1.352 | 147.433 | 1.418 | 140.537 | 1.659 | 155 | 1.606 | 137 | -8.691 | 889.838 | 87.104 | 0.27002
2019-12-23 02:15:00 | 1.597 | 158.28 | 2.162 | 148.521 | 1.662 | 158.4 | 2.237 | 146.833 | -8.568 | 890.338 | 87.04 | 0.23591
2019-12-23 02:30:00 | 2.114 | 176.267 | 2.307 | 163.959 | 1.938 | 175.3 | 2.392 | 169.9 | -8.674 | 889.671 | 86.848 | 0.26859
2019-12-23 02:45:00 | 2.086 | 192.4 | 2.028 | 188.483 | 2.112 | 190.067 | 2.014 | 182 | -8.791 | 889.967 | 86.827 | 0.23449
2019-12-23 03:00:00 | 1.928 | 190.667 | 1.803 | 189.51 | 1.076 | 196.867 | 1.102 | 189 | -8.841 | 890.062 | 86.443 | 0.22312
2019-12-23 03:15:00 | 1.514 | 195 | 1.065 | 190.143 | 0.033 | 199.933 | 0.807 | 189 | -8.824 | 889.8 | 86.827 | 0.23022
2019-12-23 03:30:00 | 2.112 | 205.627 | 0.91 | 197.433 | 0 | 226.8 | 0.08 | 188.9 | -8.461 | 889.962 | 87.979 | 0.21885
2019-12-23 03:45:00 | 2.111 | 227.833 | 1.48 | 226.414 | 0 | 235.7 | 1.32 | 189 | -8.674 | 889.871 | 87.339 | 0.23733
2019-12-23 04:00:00 | 1.538 | 218.893 | 1.265 | 221.657 | 0.667 | 230.033 | 1.435 | 213.9 | -8.311 | 889.696 | 87.339 | 0.25865
2019-12-23 04:15:00 | 1.268 | 251.547 | 1.782 | 273.716 | 2.023 | 279.7 | 2.492 | 277.483 | -7.993 | 890.333 | 87.371 | 0.69067
2019-12-23 04:30:00 | 2.004 | 290.88 | 2.45 | 284.477 | 3.08 | 284.9 | 3.729 | 284.133 | -8.271 | 889.462 | 86.581 | 1.9313
2019-12-23 04:45:00 | 2.882 | 291.467 | 3.982 | 286.148 | 4.309 | 289.133 | 5.054 | 286.533 | -8.574 | 889.696 | 86.517 | 3.572
2019-12-23 05:00:00 | 3.618 | 291.333 | 4.118 | 284.682 | 4.36 | 285.8 | 4.829 | 282.4 | -8.307 | 889.546 | 86.933 | 6.9898
2019-12-23 05:15:00 | 3.358 | 274.933 | 3.569 | 275.937 | 3.599 | 279.467 | 4.04 | 275.6 | -8.371 | 889.958 | 86.443 | 9.5891
2019-12-23 05:30:00 | 2.154 | 278.98 | 3.017 | 278.303 | 3.431 | 279.667 | 3.991 | 272.267 | -7.993 | 889.771 | 86.005 | 7.132
2019-12-23 05:45:00 | 2.029 | 299.32 | 2.576 | 295.606 | 2.735 | 296.867 | 3.164 | 286.5 | -8.11 | 890.004 | 86.496 | 4.441
2019-12-23 06:00:00 | 2.147 | 312.533 | 2.446 | 311.096 | 2.277 | 304.867 | 2.65 | 286.9 | -8.658 | 890.154 | 87.136 | 2.6888
2019-12-23 06:15:00 | 2.156 | 303.133 | 2.217 | 289.369 | 2.347 | 284.033 | 3.004 | 272.967 | -8.974 | 890.229 | 88.128 | 2.1573
2019-12-23 06:30:00 | 1.765 | 300.467 | 2.185 | 294.033 | 2.158 | 291 | 2.558 | 272.467 | -8.974 | 890.342 | 88.256 | 3.4718
2019-12-23 06:45:00 | 1.815 | 273.733 | 3.101 | 269.945 | 3.761 | 273.267 | 4.753 | 269.6 | -9.291 | 889.454 | 88.725 | 11.0266
2019-12-23 07:00:00 | 4.226 | 279.773 | 5.288 | 282.689 | 5.574 | 284.733 | 6.042 | 280.567 | -8.758 | 889.979 | 84.256 | 21.9437
2019-12-23 07:15:00 | 5.827 | 279.16 | 6.518 | 281.921 | 6.693 | 283.867 | 7.033 | 280.433 | -8.05 | 889.408 | 74.859 | 21.5735
2019-12-23 07:30:00 | 5.319 | 256.18 | 6.261 | 268.272 | 6.414 | 273.733 | 6.679 | 268.467 | -8.541 | 889.933 | 78.448 | 19.0155
2019-12-23 07:45:00 | 4.79 | 253.253 | 5.599 | 261.909 | 5.755 | 265.733 | 6.105 | 259.95 | -8.808 | 889.333 | 79.349 | 19.4717
2019-12-23 08:00:00 | 4.949 | 255.073 | 5.893 | 267.969 | 6.284 | 272.767 | 6.581 | 268.6 | -8.741 | 889.717 | 77.131 | 18.722
2019-12-23 08:15:00 | 4.387 | 255.087 | 5.356 | 267.648 | 5.64 | 272.267 | 6.193 | 269.267 | -8.724 | 889.792 | 75.317 | 16.2336
2019-12-23 08:30:00 | 4.456 | 263.727 | 5.611 | 270.377 | 5.811 | 274.267 | 6.114 | 268 | -8.541 | 890.008 | 72.144 | 14.4757
2019-12-23 08:45:00 | 3.689 | 269.553 | 4.852 | 267.288 | 5.268 | 271.5 | 5.632 | 264.133 | -8.641 | 889.592 | 71.301 | 16.9214
2019-12-23 09:00:00 | 5.558 | 267.433 | 5.91 | 269.783 | 6.178 | 274 | 6.538 | 268.367 | -8.427 | 889.8 | 69.52 | 18.7796
2019-12-23 09:15:00 | 4.3 | 275.747 | 5.013 | 271.488 | 5.508 | 275.567 | 5.843 | 270.1 | -8.521 | 889.792 | 68.581 | 20.5794
2019-12-23 09:30:00 | 4.808 | 279.507 | 5.408 | 276.694 | 5.672 | 279.633 | 6.077 | 274.433 | -8.494 | 890.117 | 68.251 | 27.042
2019-12-23 09:45:00 | 5.19 | 264.827 | 5.901 | 268.582 | 6.22 | 270.1 | 6.477 | 264.283 | -8.604 | 890.092 | 67.275 | 36.6858
2019-12-23 10:00:00 | 6.875 | 244.133 | 7.565 | 264.561 | 7.999 | 268.5 | 8.447 | 265.5 | -8.541 | 889.708 | 64.613 | 43.9386
2019-12-23 10:15:00 | 6.118 | 249.213 | 6.938 | 264.991 | 7.138 | 269.333 | 7.428 | 264.433 | -8.23 | 889.842 | 62.645 | 38.4282
2019-12-23 10:30:00 | 6.419 | 245.28 | 7.279 | 265.238 | 7.677 | 268.7 | 7.955 | 261.783 | -7.769 | 889.658 | 61.285 | 33.0904
2019-12-23 10:45:00 | 4.942 | 245.687 | 5.89 | 261.069 | 6.285 | 265.367 | 6.754 | 259.767 | -7.772 | 889.708 | 60.992 | 30.0797
2019-12-23 11:00:00 | 4.673 | 261.407 | 5.615 | 270.768 | 6.236 | 274.367 | 6.714 | 269 | -7.782 | 890.158 | 62.304 | 51.3299
2019-12-23 11:15:00 | 7.613 | 238.36 | 8.6 | 261.238 | 9.041 | 265.15 | 9.142 | 259.583 | -7.17 | 889.983 | 61.888 | 50.6911
2019-12-23 11:30:00 | 5.452 | 243.54 | 6.43 | 259.242 | 6.921 | 262.233 | 7.516 | 256.333 | -6.595 | 889.533 | 59.803 | 54.9865
2019-12-23 11:45:00 | 6.462 | 243.72 | 7.381 | 268.542 | 7.858 | 271.9 | 8.312 | 266.267 | -6.478 | 889.875 | 58.155 | 47.446
2019-12-23 12:00:00 | 5.662 | 237.827 | 6.557 | 256.586 | 6.901 | 262.2 | 7.223 | 255.95 | -4.586 | 889.975 | 56.304 | 46.7112
2019-12-23 12:15:00 | 7.291 | 235.02 | 8.138 | 259.428 | 8.522 | 262.1 | 8.478 | 257.183 | -4.026 | 889.85 | 53.168 | 55.5677
2019-12-23 12:30:00 | 6.209 | 214.68 | 7.086 | 245.693 | 7.479 | 250.533 | 7.652 | 246.183 | -4.44 | 890.025 | 51.947 | 58.8292
2019-12-23 12:45:00 | 6.562 | 217.36 | 8.003 | 251.602 | 8.814 | 255.183 | 8.972 | 252.033 | -5.495 | 890.033 | 55.787 | 64.906
2019-12-23 13:00:00 | 8.648 | 202.567 | 9.376 | 248.356 | 9.53 | 253.067 | 9.614 | 247.6 | -5.369 | 889.592 | 54.944 | 65.9363
2019-12-23 13:15:00 | 6.897 | 218.26 | 7.595 | 252.135 | 7.826 | 257.667 | 8.143 | 253.7 | -4.384 | 889.975 | 52.96 | 53.6769
2019-12-23 13:30:00 | 7.226 | 230.333 | 7.945 | 257.108 | 8.126 | 260.6 | 8.474 | 256.25 | -3.321 | 889.367 | 50.203 | 49.6317
2019-12-23 13:45:00 | 7.017 | 222.44 | 7.939 | 260.616 | 8.339 | 263.467 | 8.749 | 259.6 | -3.35 | 890.125 | 50.587 | 37.1292
2019-12-23 14:00:00 | 6.747 | 236.467 | 7.542 | 265.677 | 7.657 | 270.633 | 7.77 | 267.467 | -3.354 | 889.858 | 50.635 | 29.9468
2019-12-23 14:15:00 | 6.414 | 246 | 7.141 | 266.857 | 7.262 | 270.233 | 7.382 | 265.817 | -3.606 | 889.867 | 51.296 | 36.4961
2019-12-23 14:30:00 | 6.215 | 237.533 | 6.785 | 264.367 | 7.108 | 269.133 | 7.242 | 265.95 | -3.387 | 889.867 | 51.333 | 35.8275
2019-12-23 14:45:00 | 7.179 | 241.733 | 7.878 | 266.667 | 8.223 | 269.567 | 8.389 | 264.633 | -3.706 | 890.442 | 51.227 | 34.5826
2019-12-23 15:00:00 | 7.029 | 250.9 | 7.477 | 270.266 | 7.75 | 273.5 | 7.766 | 269.633 | -3.883 | 889.542 | 50.219 | 33.0669
2019-12-23 15:15:00 | 7.333 | 255.967 | 8.048 | 275.24 | 8.144 | 279.7 | 8.319 | 276.7 | -3.962 | 889.6 | 52.805 | 36.2368
2019-12-23 15:30:00 | 6.048 | 262.833 | 6.386 | 278.66 | 6.673 | 281.3 | 6.8 | 276.867 | -4.543 | 890.342 | 52.683 | 28.9506
2019-12-23 15:45:00 | 7.135 | 240.033 | 7.474 | 265.707 | 7.693 | 271.633 | 7.74 | 268.333 | -4.305 | 889.883 | 50.72 | 29.0387
2019-12-23 16:00:00 | 5.601 | 240.233 | 6.132 | 260.931 | 6.278 | 264.05 | 6.326 | 258.633 | -4.246 | 890.025 | 51.941 | 23.9198
2019-12-23 16:15:00 | 5.93 | 255.227 | 6.712 | 270.774 | 6.883 | 275.5 | 7.101 | 269.533 | -4.503 | 890.008 | 52.8 | 21.7945
2019-12-23 16:30:00 | 5.909 | 242.687 | 6.239 | 260.594 | 6.3 | 265.467 | 6.295 | 261.683 | -3.913 | 889.883 | 50.085 | 24.4961
2019-12-23 16:45:00 | 6.306 | 261.473 | 6.714 | 274.174 | 6.966 | 277.833 | 7.202 | 272.7 | -3.853 | 889.717 | 47.061 | 27.3504
2019-12-23 17:00:00 | 6.611 | 235.067 | 7.043 | 257.872 | 7.251 | 261.983 | 7.419 | 256.7 | -3.806 | 890.042 | 48.011 | 26.3052
2019-12-23 17:15:00 | 5.035 | 239.16 | 6.007 | 256.387 | 6.187 | 260.617 | 6.263 | 256.2 | -4.238 | 889.75 | 48.544 | 20.5148
2019-12-23 17:30:00 | 4.873 | 245.513 | 6.035 | 254.806 | 6.261 | 260.283 | 6.366 | 256.067 | -4.325 | 889.858 | 49.92 | 21.953
2019-12-23 17:45:00 | 5.159 | 246.013 | 6.01 | 252.242 | 6.117 | 256.633 | 6.135 | 252.833 | -4.802 | 890.133 | 50.448 | 23.7322
2019-12-23 18:00:00 | 5.479 | 248.36 | 6.22 | 256.508 | 6.487 | 261.467 | 6.725 | 256.7 | -4.985 | 889.35 | 49.637 | 20.1517
2019-12-23 18:15:00 | 4.779 | 237.1 | 5.477 | 250.273 | 5.793 | 255.533 | 6.014 | 251.683 | -5.385 | 889.625 | 49.947 | 21.5863
2019-12-23 18:30:00 | 5.631 | 232.053 | 6.055 | 247.838 | 6.288 | 253.2 | 6.379 | 248.45 | -5.974 | 890.125 | 51.093 | 31.1058
2019-12-23 18:45:00 | 5.575 | 232.3 | 6.203 | 241.428 | 6.444 | 248 | 6.629 | 243 | -6.528 | 890.108 | 50.4 | 22.1455
2019-12-23 19:00:00 | 5.068 | 232.68 | 5.498 | 241.357 | 5.823 | 248.667 | 6.042 | 244.117 | -6.601 | 890.167 | 50.453 | 19.4297
2019-12-23 19:15:00 | 5.495 | 214.187 | 5.458 | 225.578 | 5.72 | 239.567 | 5.799 | 237 | -7.93 | 889.917 | 53.472 | 27.2545
2019-12-23 19:30:00 | 6.08 | 221.053 | 6.958 | 237.971 | 7.284 | 246.933 | 7.33 | 243.433 | -9.262 | 890.275 | 57.952 | 30.4805
2019-12-23 19:45:00 | 6.04 | 210.247 | 6.871 | 224.818 | 6.64 | 237.367 | 6.531 | 235.533 | -9.716 | 890.308 | 59.925 | 24.1202
2019-12-23 20:00:00 | 6.704 | 210.18 | 7.127 | 227.789 | 7.038 | 237.433 | 6.892 | 235.233 | -10.162 | 890.083 | 62.752 | 22.6749
2019-12-23 20:15:00 | 5.716 | 213.807 | 6.75 | 226.928 | 6.456 | 238.7 | 6.18 | 239.767 | -10.554 | 889.792 | 63.307 | 25.0425
2019-12-23 20:30:00 | 6.544 | 208.7 | 7.699 | 222.733 | 7.35 | 229 | 7.086 | 226.733 | -10.095 | 889.525 | 62.261 | 24.452
2019-12-23 20:45:00 | 6.924 | 214.74 | 6.906 | 224.295 | 6.578 | 231.767 | 6.365 | 231.533 | -9.849 | 889.65 | 60.747 | 24.5281
2019-12-23 21:00:00 | 5.717 | 214.233 | 7.328 | 223.237 | 7.045 | 229.833 | 6.636 | 228.033 | -10.078 | 889.992 | 61.109 | 26.755
2019-12-23 21:15:00 | 5.923 | 221.767 | 7.43 | 230.833 | 7.245 | 240.133 | 6.794 | 238.3 | -10.116 | 889.842 | 62.133 | 26.3563
2019-12-23 21:30:00 | 5.814 | 211.493 | 6.54 | 233.385 | 6.289 | 244.433 | 6.21 | 243.6 | -10.208 | 889.942 | 61.589 | 21.8229
2019-12-23 21:45:00 | 6.23 | 212.64 | 7.687 | 224.892 | 7.384 | 233.767 | 6.872 | 232.6 | -10.464 | 889.933 | 62.88 | 33.8912
2019-12-23 22:00:00 | 6.808 | 214.44 | 8.468 | 220.132 | 7.76 | 227.867 | 7.107 | 228.667 | -10.547 | 889.958 | 62.965 | 34.8647
2019-12-23 22:15:00 | 6.905 | 211.833 | 8.33 | 217.747 | 8.151 | 223.867 | 7.322 | 224.567 | -10.149 | 889.367 | 61.856 | 30.4293
2019-12-23 22:30:00 | 6.659 | 213.813 | 7.688 | 218.189 | 7.133 | 224.9 | 6.256 | 227 | -10.028 | 889.967 | 60.256 | 22.5989
2019-12-23 22:45:00 | 6.914 | 211.347 | 7.48 | 218.947 | 6.837 | 225.433 | 5.98 | 228.367 | -10.524 | 890.008 | 60.128 | 14.2987
2019-12-23 23:00:00 | 6.516 | 214.913 | 6.742 | 216.137 | 6.041 | 225.967 | 5.478 | 230.4 | -11.209 | 890.125 | 62.699 | 11.546
2019-12-23 23:15:00 | 5.976 | 217.267 | 6.405 | 217.605 | 5.945 | 226.167 | 5.14 | 228.933 | -11.395 | 890.608 | 64.992 | 10.5356
2019-12-23 23:30:00 | 6.56 | 213.26 | 6.106 | 212.703 | 5.743 | 219.967 | 5.219 | 221.7 | -11.695 | 889.95 | 67.189 | 7.6357
2019-12-23 23:45:00 | 6.039 | 213.687 | 6.463 | 215.073 | 5.666 | 221.433 | 5.324 | 221.633 | -11.449 | 889.725 | 65.792 | 7.1888