## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-24 00:00:00 | 6.057 | 213.587 | 6.63 | 215.215 | 5.888 | 226.433 | 5.489 | 228.233 | -12.016 | 889.642 | 68.075 | 5.3662
2019-12-24 00:15:00 | 6.105 | 219.773 | 5.607 | 218.299 | 4.838 | 227.7 | 4.419 | 224.633 | -11.724 | 889.958 | 67.616 | 5.7691
2019-12-24 00:30:00 | 5.891 | 222.247 | 5.603 | 221.848 | 5.071 | 228.433 | 4.671 | 227.933 | -12.366 | 890.308 | 67.755 | 5.3378
2019-12-24 00:45:00 | 7.45 | 213.647 | 5.994 | 215.664 | 4.97 | 221.767 | 3.921 | 228 | -12.078 | 889.692 | 68.395 | 5.5282
2019-12-24 01:00:00 | 6.494 | 213.32 | 5.667 | 216.148 | 5.296 | 224.7 | 4.222 | 226.633 | -11.499 | 889.917 | 67.04 | 5.288
2019-12-24 01:15:00 | 6.408 | 214.7 | 6.278 | 214.366 | 5.459 | 222.767 | 4.362 | 224.667 | -11.428 | 889.908 | 66.752 | 2.4529
2019-12-24 01:30:00 | 6.403 | 213.56 | 5.871 | 220.133 | 4.52 | 229.533 | 3.423 | 234.533 | -11.047 | 890.033 | 66.187 | 3.7738
2019-12-24 01:45:00 | 6.468 | 216.6 | 6.163 | 220.975 | 5.23 | 228.033 | 4.066 | 232.533 | -11.328 | 889.942 | 65.803 | 5.5488
2019-12-24 02:00:00 | 6.422 | 218.213 | 5.313 | 226.697 | 4.566 | 238.2 | 3.959 | 243.4 | -12.078 | 889.825 | 67.403 | 6.9806
2019-12-24 02:15:00 | 6.906 | 217.333 | 6.302 | 227.126 | 5.716 | 237.2 | 5.051 | 238.767 | -12.32 | 890.067 | 68.565 | 12.0462
2019-12-24 02:30:00 | 7.186 | 214.713 | 7.541 | 226.291 | 6.702 | 233.767 | 5.956 | 230.667 | -12.182 | 890.133 | 68.811 | 10.5974
2019-12-24 02:45:00 | 6.3 | 216.747 | 6.614 | 227.291 | 5.925 | 235.8 | 5.101 | 236.9 | -11.974 | 889.6 | 67.595 | 10.4297
2019-12-24 03:00:00 | 6.532 | 217.78 | 7.244 | 220.281 | 6.194 | 226.4 | 5.372 | 225.6 | -12.466 | 889.617 | 68.96 | 9.0661
2019-12-24 03:15:00 | 5.208 | 224.327 | 5.482 | 233.745 | 5 | 242.833 | 4.438 | 242.633 | -11.782 | 890.192 | 68.672 | 6.874
2019-12-24 03:30:00 | 5.38 | 218.407 | 5.578 | 225.474 | 5.083 | 230.067 | 4.405 | 228.667 | -11.795 | 890.033 | 68.693 | 7.5064
2019-12-24 03:45:00 | 6.5 | 219.947 | 6.467 | 229.305 | 6.281 | 233.867 | 5.61 | 229.667 | -11.974 | 889.925 | 68.373 | 12.4328
2019-12-24 04:00:00 | 5.997 | 223.933 | 6.556 | 230.718 | 6.219 | 239.633 | 5.533 | 237.967 | -12.47 | 889.992 | 68.405 | 11.7741
2019-12-24 04:15:00 | 5.772 | 224.6 | 6.156 | 240.252 | 5.999 | 247.267 | 5.574 | 244.267 | -12.653 | 889.633 | 68.171 | 16.8973
2019-12-24 04:30:00 | 6.028 | 220.433 | 6.326 | 239.205 | 6.368 | 246.8 | 6.097 | 243.1 | -12.736 | 890.158 | 68.352 | 19.4745
2019-12-24 04:45:00 | 6.252 | 227.447 | 6.657 | 237.858 | 6.582 | 244.067 | 6.322 | 241.867 | -12.799 | 889.558 | 69.216 | 14.8039
2019-12-24 05:00:00 | 5.178 | 230.133 | 6.301 | 245.381 | 5.978 | 253.6 | 5.581 | 253.933 | -12.686 | 889.842 | 69.589 | 11.7705
2019-12-24 05:15:00 | 5.876 | 232.6 | 6.164 | 246.374 | 5.687 | 255.8 | 5.189 | 261.967 | -11.682 | 889.558 | 69.419 | 15.9451
2019-12-24 05:30:00 | 6.578 | 214.887 | 6.849 | 234.343 | 6.118 | 243 | 5.66 | 242.833 | -11.911 | 889.833 | 68.64 | 23.615
2019-12-24 05:45:00 | 6.231 | 216.047 | 6.89 | 237.011 | 6.629 | 246.4 | 6.558 | 246.5 | -11.766 | 889.85 | 70.08 | 26.8985
2019-12-24 06:00:00 | 5.816 | 222.52 | 6.075 | 239.607 | 5.912 | 250.033 | 5.898 | 251.017 | -11.482 | 889.892 | 70.859 | 21.6225
2019-12-24 06:15:00 | 5.388 | 222.767 | 5.784 | 239.451 | 5.896 | 249.867 | 6.185 | 249.133 | -11.361 | 890.183 | 70.475 | 27.1657
2019-12-24 06:30:00 | 5.466 | 227.56 | 6.922 | 253.049 | 7.3 | 261.8 | 7.57 | 260.083 | -10.853 | 890.167 | 71.067 | 41.0196
2019-12-24 06:45:00 | 6.057 | 233.82 | 7.554 | 257.905 | 8.033 | 266.133 | 8.661 | 265.267 | -9.828 | 890.058 | 68.469 | 49.2728
2019-12-24 07:00:00 | 6.527 | 239.127 | 8.124 | 261.178 | 8.789 | 266.633 | 9.04 | 263.9 | -9.891 | 889.975 | 67.563 | 55.4143
2019-12-24 07:15:00 | 7.897 | 235 | 9.646 | 259.361 | 10.301 | 263.633 | 10.472 | 261.117 | -9.499 | 889.833 | 66.917 | 65.1312
2019-12-24 07:30:00 | 7.991 | 210.04 | 9.45 | 254.48 | 9.886 | 259.033 | 10.235 | 257.433 | -9.624 | 889.583 | 67.115 | 73.9202
2019-12-24 07:45:00 | 7.468 | 217.367 | 9.333 | 249.423 | 10.205 | 255.667 | 10.32 | 253.35 | -9.912 | 889.767 | 67.664 | 74.4191
2019-12-24 08:00:00 | 7.739 | 217.667 | 9.15 | 246.379 | 9.741 | 253.133 | 9.925 | 250.567 | -10.51 | 890.567 | 67.968 | 75.1474
2019-12-24 08:15:00 | 7.204 | 213.967 | 8.811 | 247.81 | 9.362 | 254.367 | 9.506 | 251.85 | -10.299 | 889.675 | 68.427 | 70.2082
2019-12-24 08:30:00 | 8.689 | 209.8 | 9.903 | 241.165 | 10.201 | 248.933 | 10.26 | 247.9 | -10.703 | 890.067 | 69.216 | 57.6803
2019-12-24 08:45:00 | 7.165 | 220.373 | 8.657 | 249.845 | 9.275 | 256.633 | 9.842 | 254.367 | -10.647 | 890.175 | 69.909 | 59.5895
2019-12-24 09:00:00 | 6.622 | 227.3 | 8.744 | 253.824 | 9.875 | 259.133 | 10.417 | 258.117 | -10.333 | 889.758 | 72.096 | 61.405
2019-12-24 09:15:00 | 7.286 | 234.167 | 8.934 | 255.294 | 9.66 | 260.7 | 10.01 | 257.433 | -9.828 | 889.875 | 70.411 | 59.8745
2019-12-24 09:30:00 | 5.766 | 239.953 | 7.258 | 254.443 | 7.963 | 259.733 | 8.414 | 257.75 | -9.662 | 889.833 | 69.115 | 58.1336
2019-12-24 09:45:00 | 5.782 | 229.54 | 6.944 | 249.12 | 7.804 | 255.867 | 8.166 | 253.783 | -9.849 | 889.9 | 68.651 | 53.5732
2019-12-24 10:00:00 | 5.681 | 233.307 | 6.97 | 249.394 | 7.688 | 256.3 | 8.119 | 253.567 | -9.433 | 889.85 | 67.808 | 44.8332
2019-12-24 10:15:00 | 6.443 | 227.413 | 7.822 | 255.487 | 8.404 | 262.133 | 8.726 | 257.917 | -8.741 | 889.875 | 65.984 | 40.1747
2019-12-24 10:30:00 | 6.53 | 236.1 | 7.679 | 255.058 | 8.191 | 260.283 | 8.586 | 256.7 | -8.624 | 889.842 | 62.843 | 39.4805
2019-12-24 10:45:00 | 8.49 | 239.8 | 10.133 | 271.416 | 10.838 | 273.733 | 11.199 | 269.667 | -8.17 | 889.908 | 60.763 | 64.5557
2019-12-24 11:00:00 | 9.469 | 235.733 | 10.706 | 268.567 | 11.335 | 273.733 | 11.683 | 271.3 | -8.07 | 890.083 | 60.165 | 79.6726
2019-12-24 11:15:00 | 10.496 | 233.48 | 11.237 | 265.761 | 12.098 | 268.267 | 12.222 | 264.867 | -8.17 | 889.85 | 59.995 | 79.754
2019-12-24 11:30:00 | 10.916 | 233.033 | 11.902 | 265.78 | 11.9 | 269.1 | 12.037 | 263.683 | -7.97 | 889.792 | 60.149 | 79.641
2019-12-24 11:45:00 | 9.106 | 223.88 | 9.814 | 263.595 | 9.864 | 267.667 | 10.208 | 262.8 | -8.21 | 889.808 | 59.989 | 77.0645
2019-12-24 12:00:00 | 10.262 | 238.893 | 11.367 | 265.012 | 11.653 | 267.167 | 11.77 | 263.65 | -8.13 | 890.208 | 60.736 | 79.3966
2019-12-24 12:15:00 | 9.847 | 224.693 | 10.694 | 260.422 | 10.95 | 263.35 | 10.967 | 259.917 | -7.753 | 889.708 | 60.779 | 79.2261
2019-12-24 12:30:00 | 7.716 | 229.153 | 8.565 | 259.514 | 8.95 | 264.433 | 9.248 | 261.45 | -7.739 | 889.75 | 61.035 | 67.0896
2019-12-24 12:45:00 | 6.89 | 234.387 | 7.487 | 261.696 | 7.656 | 266.133 | 8.075 | 262 | -7.439 | 890.05 | 59.669 | 61.5287
2019-12-24 13:00:00 | 6.661 | 245.073 | 7.183 | 265.026 | 7.463 | 268.433 | 7.524 | 265.567 | -7.128 | 889.808 | 60.016 | 64.3525
2019-12-24 13:15:00 | 9.107 | 231.387 | 9.932 | 264.992 | 10.127 | 271.8 | 10.362 | 265.1 | -6.992 | 889.967 | 58.24 | 76.4712
2019-12-24 13:30:00 | 9.856 | 251.573 | 11.11 | 270.226 | 11.044 | 274.233 | 11.078 | 270.767 | -7.526 | 889.708 | 58.949 | 79.6531
2019-12-24 13:45:00 | 9.468 | 237.387 | 10.311 | 267.078 | 10.566 | 272.133 | 10.66 | 269.4 | -7.472 | 889.95 | 60.512 | 79.2687
2019-12-24 14:00:00 | 10.883 | 245.887 | 11.885 | 273.787 | 11.963 | 276.967 | 12.336 | 274.067 | -7.456 | 889.883 | 58.373 | 79.8961
2019-12-24 14:15:00 | 10.773 | 244.147 | 11.8 | 267.021 | 12.123 | 271.933 | 12.342 | 266.867 | -7.789 | 889.8 | 58.341 | 79.8109
2019-12-24 14:30:00 | 10.984 | 230.14 | 12.207 | 265.132 | 12.566 | 269.367 | 12.696 | 266.133 | -7.436 | 890.175 | 57.659 | 79.7895
2019-12-24 14:45:00 | 9.778 | 226.34 | 10.772 | 267.683 | 11.212 | 272.033 | 11.673 | 267.867 | -7.539 | 890.058 | 56.944 | 79.8279
2019-12-24 15:00:00 | 10.479 | 245.72 | 11.282 | 271.187 | 11.315 | 275.267 | 11.299 | 271.933 | -7.407 | 889.717 | 57.424 | 79.6744
2019-12-24 15:15:00 | 9.165 | 254.847 | 10.113 | 276.164 | 10.246 | 280.133 | 10.59 | 275.667 | -7.489 | 889.942 | 57.285 | 79.9359
2019-12-24 15:30:00 | 10.993 | 243.413 | 12.251 | 270.763 | 12.545 | 274.683 | 12.91 | 270.767 | -7.656 | 889.758 | 55.2 | 79.9387
2019-12-24 15:45:00 | 11.284 | 247.533 | 12.765 | 267.726 | 13.272 | 273.167 | 13.815 | 269.367 | -7.799 | 890 | 54.059 | 79.9387
2019-12-24 16:00:00 | 11.449 | 225.56 | 12.64 | 266.599 | 13.242 | 268.8 | 13.248 | 266.433 | -7.679 | 889.783 | 53.968 | 79.9387
2019-12-24 16:15:00 | 10.763 | 237.273 | 11.947 | 267.542 | 12.483 | 271 | 12.989 | 267.667 | -7.639 | 889.383 | 52.267 | 79.9387
2019-12-24 16:30:00 | 12.102 | 231.507 | 13.197 | 263.6 | 13.547 | 266.5 | 13.73 | 262.867 | -8.023 | 889.708 | 51.531 | 79.9387
2019-12-24 16:45:00 | 11.002 | 244.88 | 12.118 | 261.59 | 12.591 | 264.8 | 12.838 | 261.75 | -8.03 | 890.05 | 52.709 | 79.8158
2019-12-24 17:00:00 | 10.752 | 210.327 | 12.024 | 256.374 | 12.675 | 258.55 | 12.985 | 255.733 | -8.17 | 889.983 | 53.259 | 79.5089
2019-12-24 17:15:00 | 11.45 | 205.413 | 12.569 | 254.491 | 12.871 | 257.617 | 13.016 | 254.683 | -8.407 | 889.817 | 54.181 | 79.7256
2019-12-24 17:30:00 | 12.243 | 220.053 | 13.498 | 257.225 | 13.85 | 260.567 | 13.906 | 256.55 | -8.598 | 889.908 | 54.699 | 79.7256
2019-12-24 17:45:00 | 12.31 | 217.173 | 13.519 | 251.225 | 14.066 | 255.05 | 14.268 | 252.233 | -8.674 | 889.525 | 54.293 | 79.7256
2019-12-24 18:00:00 | 12.466 | 210.767 | 13.801 | 253.773 | 14.358 | 256.467 | 14.758 | 252.433 | -8.741 | 890.167 | 55.717 | 79.7256
2019-12-24 18:15:00 | 11.339 | 198.767 | 13.34 | 247.172 | 14.081 | 251.967 | 14.502 | 247.483 | -9.241 | 890.108 | 56.704 | 79.7256
2019-12-24 18:30:00 | 10.331 | 199.367 | 11.859 | 245.034 | 12.968 | 252.233 | 13.167 | 248.233 | -9.224 | 889.625 | 56.885 | 79.7256
2019-12-24 18:45:00 | 10.042 | 206.193 | 11.798 | 246.662 | 12.55 | 251.6 | 12.745 | 247.2 | -9.558 | 890.058 | 59.179 | 79.7256
2019-12-24 19:00:00 | 9.424 | 217.447 | 11.14 | 252.01 | 11.954 | 255.25 | 12.175 | 252.033 | -9.924 | 889.592 | 61.125 | 79.7256
2019-12-24 19:15:00 | 8.337 | 228.067 | 9.855 | 261.625 | 10.662 | 265.667 | 10.96 | 262.467 | -10.399 | 889.942 | 62.464 | 77.2429
2019-12-24 19:30:00 | 8.321 | 272.68 | 9.488 | 280.397 | 10.116 | 282.167 | 10.628 | 278.867 | -10.693 | 890.092 | 63.403 | 62.9889
2019-12-24 19:45:00 | 7.231 | 247.453 | 8.739 | 269.372 | 9.441 | 271.867 | 9.724 | 268.267 | -11.04 | 889.867 | 64.011 | 72.303
2019-12-24 20:00:00 | 8.743 | 223.753 | 10.238 | 261.342 | 10.984 | 264.667 | 11.372 | 260.817 | -10.816 | 889.592 | 63.483 | 78.8047
2019-12-24 20:15:00 | 8.646 | 228.533 | 9.895 | 256.833 | 10.538 | 261.533 | 10.93 | 257.217 | -11.257 | 889.517 | 64.181 | 78.5986
2019-12-24 20:30:00 | 7.987 | 234.86 | 9.789 | 258.149 | 10.525 | 262.667 | 10.807 | 258.767 | -11.261 | 890.258 | 64.213 | 75.5553
2019-12-24 20:45:00 | 8.761 | 228.853 | 10.179 | 261.596 | 11.003 | 265.2 | 11.55 | 260.817 | -11.395 | 890.033 | 63.637 | 76.214
2019-12-24 21:00:00 | 8.1 | 218.993 | 9.731 | 253.664 | 10.616 | 259.833 | 10.782 | 255.617 | -11.361 | 889.875 | 63.296 | 79.2388
2019-12-24 21:15:00 | 8.811 | 216.887 | 10.302 | 252.193 | 11.107 | 257.167 | 11.359 | 253.05 | -11.211 | 890.1 | 63.648 | 79.4549
2019-12-24 21:30:00 | 8.221 | 219.02 | 9.567 | 239.654 | 10.161 | 244.7 | 10.338 | 242.7 | -11.653 | 889.642 | 63.467 | 79.4392
2019-12-24 21:45:00 | 7.782 | 210.747 | 9.585 | 245.051 | 10.338 | 250 | 10.792 | 247.917 | -11.766 | 890.275 | 64.373 | 79.4058
2019-12-24 22:00:00 | 9.227 | 199.553 | 10.165 | 239.167 | 10.836 | 245.933 | 10.815 | 241.433 | -12.016 | 890.033 | 65.248 | 79.3845
2019-12-24 22:15:00 | 9.77 | 210.24 | 11.007 | 229.174 | 12.045 | 233.833 | 11.834 | 233.2 | -12.14 | 890.308 | 65.397 | 79.3845
2019-12-24 22:30:00 | 8.346 | 216.04 | 9.686 | 237.679 | 10.346 | 243.3 | 10.413 | 238.033 | -11.932 | 889.333 | 64.139 | 79.3845
2019-12-24 22:45:00 | 8.046 | 216.267 | 9.342 | 237.739 | 9.97 | 243.833 | 10.039 | 240.133 | -12.22 | 890 | 64.149 | 79.3845
2019-12-24 23:00:00 | 7.567 | 215.22 | 9.076 | 232.406 | 9.913 | 238.4 | 9.978 | 234.667 | -12.236 | 889.533 | 64.373 | 79.3845
2019-12-24 23:15:00 | 8.836 | 215.2 | 10.662 | 229.644 | 11.248 | 235.467 | 11.272 | 231.8 | -12.52 | 889.733 | 64.128 | 78.2895
2019-12-24 23:30:00 | 8.792 | 216.567 | 10.072 | 234.466 | 10.73 | 239.467 | 10.527 | 236.133 | -12.236 | 890.008 | 64.256 | 59.0666
2019-12-24 23:45:00 | 3.995 | 236.073 | 4.896 | 244.166 | 6.034 | 247.117 | 6.7 | 243.283 | -12.057 | 889.95 | 63.76 | 61.2899