## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-25 00:00:00 | 6.977 | 213.9 | 8.37 | 240.265 | 9.349 | 244.067 | 9.469 | 241.833 | -12.62 | 890.092 | 65.931 | 78.0202
2019-12-25 00:15:00 | 9.274 | 212.487 | 10.886 | 228.617 | 11.759 | 233.5 | 11.869 | 230.767 | -12.12 | 889.808 | 62.155 | 79.619
2019-12-25 00:30:00 | 8.218 | 210.5 | 9.654 | 242.302 | 10.476 | 247.767 | 10.914 | 243.5 | -12.403 | 890.117 | 61.131 | 79.619
2019-12-25 00:45:00 | 9.284 | 214.653 | 11.084 | 235.548 | 11.897 | 241.833 | 12.168 | 237.8 | -11.807 | 889.717 | 61.141 | 79.619
2019-12-25 01:00:00 | 8.492 | 223.153 | 10.292 | 233.63 | 11.331 | 240.133 | 11.371 | 235.633 | -12.016 | 889.717 | 60.245 | 79.5018
2019-12-25 01:15:00 | 8.659 | 212.64 | 10.33 | 235.934 | 11.182 | 242.533 | 11.52 | 236.367 | -12.274 | 889.558 | 61.141 | 79.5607
2019-12-25 01:30:00 | 8.659 | 214.567 | 10.414 | 233.597 | 11.254 | 238.467 | 11.364 | 234.633 | -12.203 | 890.092 | 60.629 | 74.0354
2019-12-25 01:45:00 | 6.551 | 223.2 | 8.438 | 232.536 | 9.102 | 239.7 | 9.46 | 234.433 | -12.62 | 889.908 | 61.941 | 61.0931
2019-12-25 02:00:00 | 6.323 | 221 | 7.882 | 232.956 | 8.709 | 240.133 | 8.825 | 237.167 | -13.053 | 889.717 | 63.371 | 57.3662
2019-12-25 02:15:00 | 6.162 | 213.18 | 7.706 | 225.516 | 8.639 | 234.433 | 8.52 | 232.933 | -13.56 | 890.025 | 64.96 | 50.9206
2019-12-25 02:30:00 | 6.059 | 212.967 | 7.915 | 216.019 | 8.147 | 224.133 | 8.29 | 224 | -14.233 | 889.7 | 66.933 | 53.9839
2019-12-25 02:45:00 | 6.125 | 213.307 | 8.418 | 215.604 | 9.046 | 221.267 | 8.496 | 219.067 | -14.516 | 890.283 | 67.957 | 52.1783
2019-12-25 03:00:00 | 7.005 | 211.933 | 8.538 | 220.487 | 8.504 | 227.1 | 8.547 | 224.167 | -14.166 | 889.783 | 68 | 43.3765
2019-12-25 03:15:00 | 5.981 | 214.013 | 7.767 | 218.513 | 7.511 | 225.333 | 7.421 | 223.133 | -14.316 | 890 | 67.168 | 32.4971
2019-12-25 03:30:00 | 6.238 | 214 | 7.32 | 221.774 | 7.454 | 230.033 | 7.52 | 227.767 | -14.578 | 889.867 | 67.989 | 32.1169
2019-12-25 03:45:00 | 6.328 | 216.02 | 7.157 | 217.925 | 7.225 | 224.333 | 6.964 | 223.267 | -14.599 | 889.858 | 68.277 | 31.5101
2019-12-25 04:00:00 | 6.34 | 213.927 | 7.068 | 217.675 | 7.112 | 223.367 | 6.993 | 220.633 | -14.849 | 889.758 | 67.968 | 30.403
2019-12-25 04:15:00 | 5.742 | 216.46 | 6.463 | 227.291 | 6.61 | 237.133 | 6.395 | 235.8 | -14.745 | 889.825 | 67.904 | 28.1079
2019-12-25 04:30:00 | 4.99 | 229.167 | 5.705 | 239.118 | 5.806 | 246.833 | 5.796 | 243.65 | -15.058 | 889.65 | 69.099 | 17.5624
2019-12-25 04:45:00 | 5.343 | 216.933 | 5.595 | 222.573 | 5.561 | 231.333 | 5.624 | 230.567 | -15.091 | 890.333 | 68.416 | 18.0399
2019-12-25 05:00:00 | 5.117 | 221.167 | 6.256 | 232.257 | 6.563 | 239.833 | 6.677 | 235.767 | -15.291 | 890.008 | 69.259 | 29.9106
2019-12-25 05:15:00 | 5.665 | 226.867 | 7.279 | 238.674 | 7.852 | 243.167 | 7.951 | 238.2 | -14.804 | 889.3 | 69.611 | 41.3656
2019-12-25 05:30:00 | 5.147 | 221.807 | 7.456 | 230.359 | 8.416 | 237.367 | 8.518 | 233.733 | -13.81 | 890.267 | 67.712 | 55.5706
2019-12-25 05:45:00 | 7.002 | 217.433 | 8.069 | 225.122 | 8.365 | 231.633 | 8.51 | 229.933 | -14.116 | 890.058 | 66.56 | 42.6439
2019-12-25 06:00:00 | 5.238 | 222.433 | 5.981 | 229.093 | 6.48 | 237.6 | 6.605 | 234.867 | -14.183 | 889.775 | 65.845 | 33.6361
2019-12-25 06:15:00 | 5.054 | 238.6 | 6.599 | 242.034 | 7.213 | 247.167 | 7.305 | 241.533 | -13.983 | 890.292 | 65.749 | 30.3462
2019-12-25 06:30:00 | 4.436 | 238.28 | 5.735 | 247.954 | 5.652 | 255.733 | 5.429 | 253.467 | -14.283 | 889.958 | 65.984 | 21.8791
2019-12-25 06:45:00 | 4.352 | 242.373 | 4.772 | 247.768 | 4.585 | 256.767 | 4.345 | 258.467 | -14.412 | 889.767 | 67.136 | 20.0238
2019-12-25 07:00:00 | 5.096 | 232.7 | 5.217 | 244.526 | 5.09 | 254.967 | 5.152 | 256.417 | -14.033 | 890.358 | 67.467 | 22.2734
2019-12-25 07:15:00 | 5.702 | 223.567 | 6.328 | 231.812 | 6.354 | 241.533 | 6.223 | 240.8 | -13.816 | 889.95 | 66.496 | 30.9914
2019-12-25 07:30:00 | 6.565 | 215.64 | 7.249 | 231.117 | 7.558 | 243.467 | 7.63 | 245.5 | -14.724 | 889.7 | 66.325 | 37.8249
2019-12-25 07:45:00 | 6.617 | 214.4 | 6.679 | 225.307 | 6.898 | 238.067 | 6.867 | 240.5 | -13.999 | 890.067 | 65.707 | 34.7822
2019-12-25 08:00:00 | 6.103 | 214.9 | 6.838 | 225.25 | 6.975 | 234.533 | 7.063 | 235.833 | -14.199 | 889.708 | 65.291 | 36.634
2019-12-25 08:15:00 | 6.572 | 215.667 | 6.794 | 232.025 | 7.231 | 244.667 | 7.408 | 243.367 | -14.578 | 890.283 | 65.525 | 41.6563
2019-12-25 08:30:00 | 5.653 | 221.08 | 7.168 | 237.99 | 7.365 | 248.833 | 7.624 | 247.567 | -14.333 | 889.817 | 65.675 | 45.2936
2019-12-25 08:45:00 | 6.217 | 216.367 | 7.149 | 237.875 | 7.67 | 249.267 | 7.935 | 248.533 | -14.016 | 889.775 | 66.357 | 49.9514
2019-12-25 09:00:00 | 6.101 | 224.9 | 7.004 | 238.292 | 7.355 | 248.8 | 7.344 | 247.867 | -14.066 | 889.925 | 65.067 | 49.5265
2019-12-25 09:15:00 | 5.959 | 224.433 | 7.228 | 240.588 | 7.614 | 250.333 | 7.894 | 248.6 | -13.899 | 889.817 | 65.845 | 50.0708
2019-12-25 09:30:00 | 6.555 | 212.453 | 7.026 | 225.011 | 7.362 | 239.267 | 7.737 | 241.2 | -13.316 | 890 | 63.424 | 41.1176
2019-12-25 09:45:00 | 6.562 | 213.6 | 7.144 | 227.573 | 7.307 | 235.9 | 7.422 | 235.967 | -12.62 | 889.842 | 60.608 | 24.1024
2019-12-25 10:00:00 | 5.572 | 213.947 | 5.802 | 222.08 | 6.071 | 228.633 | 6.106 | 227.4 | -13.305 | 890.075 | 61.088 | 14.9915
2019-12-25 10:15:00 | 5.647 | 212.867 | 5.292 | 224.385 | 5.412 | 233.767 | 5.504 | 233.3 | -12.903 | 889.642 | 61.632 | 13.493
2019-12-25 10:30:00 | 4.778 | 211.167 | 4.601 | 229.477 | 4.893 | 240.833 | 5 | 239.7 | -12.953 | 890 | 63.403 | 12.5699
2019-12-25 10:45:00 | 3.636 | 213.533 | 3.765 | 234.041 | 4.701 | 249.7 | 5.177 | 251.333 | -11.578 | 890.042 | 60.651 | 10.7502
2019-12-25 11:00:00 | 2.81 | 242.553 | 4.323 | 259.181 | 5.163 | 269.4 | 5.542 | 266.067 | -10.816 | 889.717 | 60.976 | 8.6817
2019-12-25 11:15:00 | 2.523 | 258.553 | 4.404 | 274.967 | 5.114 | 281.933 | 5.616 | 278.733 | -8.841 | 889.617 | 57.093 | 9.533
2019-12-25 11:30:00 | 4.262 | 290.587 | 5.068 | 290.092 | 5.367 | 290.6 | 5.635 | 288 | -8.741 | 889.642 | 53.285 | 10.2961
2019-12-25 11:45:00 | 4.776 | 283.027 | 5.247 | 283.067 | 5.439 | 285.9 | 5.516 | 280.9 | -8.431 | 889.992 | 50.128 | 14.7308
2019-12-25 12:00:00 | 6.16 | 267.513 | 6.682 | 274.622 | 6.98 | 279.433 | 7.119 | 275.133 | -7.976 | 889.533 | 48.48 | 27.0761
2019-12-25 12:15:00 | 7.317 | 255.733 | 7.953 | 277.265 | 8.103 | 281.967 | 8.235 | 277.067 | -7.759 | 889.983 | 47.845 | 42.7996
2019-12-25 12:30:00 | 7.296 | 252.507 | 7.752 | 272.906 | 7.747 | 275.933 | 7.778 | 269.933 | -7.772 | 889.692 | 47.008 | 43.0369
2019-12-25 12:45:00 | 7.595 | 274.787 | 8.107 | 281.403 | 8.391 | 283.133 | 8.703 | 282.4 | -7.289 | 889.692 | 45.472 | 44.4729
2019-12-25 13:00:00 | 8.334 | 261.167 | 8.747 | 278.371 | 8.745 | 280.7 | 8.892 | 276.8 | -6.644 | 890.033 | 45.088 | 40.2479
2019-12-25 13:15:00 | 7.984 | 278.687 | 8.607 | 285.254 | 8.749 | 289.3 | 9.093 | 285.867 | -6.635 | 889.95 | 44.8 | 38.075
2019-12-25 13:30:00 | 8.256 | 282.773 | 9.132 | 286.344 | 9.247 | 287.467 | 9.725 | 285 | -6.883 | 889.867 | 44.976 | 45.6873
2019-12-25 13:45:00 | 8.626 | 282.567 | 9.654 | 286.184 | 10.048 | 290.2 | 10.467 | 286.8 | -6.883 | 889.842 | 44.8 | 55.0419
2019-12-25 14:00:00 | 7.476 | 289.187 | 8.196 | 288.266 | 8.399 | 291.333 | 8.806 | 286.8 | -6.591 | 889.608 | 44.832 | 51.7555
2019-12-25 14:15:00 | 7.772 | 288.487 | 8.435 | 290.446 | 8.581 | 293.633 | 8.871 | 291.533 | -6.662 | 889.758 | 44.096 | 44.1823
2019-12-25 14:30:00 | 6.161 | 292.6 | 6.226 | 291.207 | 6.18 | 293.267 | 6.276 | 291 | -6.296 | 889.875 | 43.467 | 39.8408
2019-12-25 14:45:00 | 7.14 | 290.733 | 7.936 | 293.32 | 8.308 | 297.1 | 8.816 | 294.3 | -6.096 | 890.017 | 43.771 | 48.0094
2019-12-25 15:00:00 | 8.631 | 298.147 | 9.282 | 295.86 | 9.302 | 298.867 | 8.963 | 296.5 | -5.967 | 889.683 | 43.616 | 46.7148
2019-12-25 15:15:00 | 8.115 | 288.08 | 8.616 | 293.848 | 8.897 | 298.467 | 9.413 | 294.867 | -5.908 | 889.958 | 44.16 | 43.0362
2019-12-25 15:30:00 | 7.141 | 285.973 | 7.684 | 289.549 | 7.785 | 294.967 | 8.098 | 293.3 | -5.694 | 889.858 | 43.365 | 48.2098
2019-12-25 15:45:00 | 8.161 | 275.4 | 8.892 | 287.976 | 9.461 | 290.2 | 9.913 | 289.233 | -5.219 | 890.225 | 42.347 | 54.4692
2019-12-25 16:00:00 | 8.823 | 279.667 | 9.636 | 283.656 | 9.88 | 288.2 | 10.207 | 286.833 | -5.405 | 890.05 | 42.267 | 52.4888
2019-12-25 16:15:00 | 7.406 | 255.02 | 8 | 276.131 | 8.146 | 280.2 | 8.423 | 277.75 | -5.385 | 889.725 | 42.331 | 58.7404
2019-12-25 16:30:00 | 8.886 | 263.487 | 9.651 | 282.245 | 9.969 | 284.333 | 10.168 | 282.667 | -5.548 | 890.233 | 41.357 | 45.4066
2019-12-25 16:45:00 | 7.861 | 248.773 | 8.522 | 271.992 | 8.859 | 275.733 | 8.872 | 271.9 | -5.637 | 889.825 | 42.501 | 37.9137
2019-12-25 17:00:00 | 5.675 | 249.62 | 6.436 | 269.606 | 6.589 | 275.233 | 6.861 | 271.817 | -5.625 | 889.883 | 43.493 | 27.7903
2019-12-25 17:15:00 | 5.396 | 279.567 | 5.907 | 287.529 | 6.071 | 291.133 | 6.4 | 289.533 | -5.839 | 889.758 | 45.221 | 20.438
2019-12-25 17:30:00 | 5.603 | 282.047 | 6.02 | 283.252 | 6.288 | 287.067 | 6.618 | 284.767 | -5.879 | 889.975 | 45.488 | 17.762
2019-12-25 17:45:00 | 4.559 | 263.66 | 5.34 | 274.563 | 5.485 | 277.833 | 5.588 | 274 | -6.017 | 889.75 | 46.352 | 22.2464
2019-12-25 18:00:00 | 4.9 | 254.947 | 5.824 | 267.034 | 6.057 | 271.7 | 6.107 | 266.633 | -6.356 | 890.025 | 47.392 | 22.8227
2019-12-25 18:15:00 | 5.147 | 245.187 | 6.2 | 265.999 | 6.463 | 271.333 | 6.555 | 267.167 | -6.972 | 889.775 | 48.885 | 20.3343
2019-12-25 18:30:00 | 4.733 | 242.64 | 5.667 | 262.259 | 5.853 | 266.633 | 5.975 | 263.3 | -7.422 | 890.192 | 50.869 | 20.5723
2019-12-25 18:45:00 | 4.876 | 240.447 | 5.719 | 258.287 | 6.059 | 264.933 | 6.301 | 260.7 | -7.436 | 889.825 | 50.917 | 18.0591
2019-12-25 19:00:00 | 4.344 | 237.433 | 5.019 | 253.569 | 5.22 | 260.567 | 5.551 | 256.35 | -8.09 | 890.017 | 52.635 | 17.4103
2019-12-25 19:15:00 | 4.081 | 234.167 | 4.875 | 252.558 | 5.193 | 259.4 | 5.379 | 256.717 | -8.741 | 890.325 | 54.955 | 18.3788
2019-12-25 19:30:00 | 5.532 | 236.067 | 5.624 | 244.29 | 5.887 | 250.4 | 6.232 | 245.917 | -8.874 | 890.017 | 55.979 | 22.8113
2019-12-25 19:45:00 | 5.327 | 231.233 | 5.734 | 238.618 | 5.878 | 244.6 | 6.142 | 240.133 | -8.808 | 889.767 | 55.157 | 25.9414
2019-12-25 20:00:00 | 5.087 | 213.3 | 6.04 | 233.492 | 7.024 | 244.9 | 7.36 | 241.733 | -10.366 | 890.175 | 58.741 | 18.4811
2019-12-25 20:15:00 | 2.913 | 227.133 | 4.927 | 233.279 | 5.624 | 240.9 | 5.452 | 236.367 | -10.199 | 889.983 | 59.797 | 18.5806
2019-12-25 20:30:00 | 4.537 | 234.16 | 6.342 | 246.689 | 6.351 | 253.533 | 6.136 | 249.967 | -10.422 | 889.483 | 62.027 | 21.7327
2019-12-25 20:45:00 | 5.345 | 239.08 | 5.841 | 249.971 | 5.949 | 255.567 | 5.843 | 252.783 | -9.941 | 889.992 | 60.811 | 21.4179
2019-12-25 21:00:00 | 5.167 | 232.06 | 5.569 | 237.536 | 5.823 | 243.467 | 5.913 | 239.067 | -9.662 | 889.75 | 59.008 | 18.3866
2019-12-25 21:15:00 | 4.098 | 233.267 | 4.996 | 234.194 | 5.659 | 239.533 | 5.858 | 235.933 | -9.341 | 889.767 | 58.485 | 15.965
2019-12-25 21:30:00 | 3.646 | 233.76 | 4.911 | 238.124 | 5.641 | 245.4 | 5.881 | 244.1 | -9.662 | 890.258 | 59.861 | 15.0747
2019-12-25 21:45:00 | 4.61 | 227.88 | 5.199 | 226.108 | 5.438 | 231.6 | 5.447 | 229.4 | -9.891 | 889.833 | 61.099 | 13.3906
2019-12-25 22:00:00 | 4.646 | 221.333 | 5.639 | 223.193 | 5.747 | 228.167 | 5.592 | 225.4 | -10.266 | 889.65 | 61.525 | 16.9271
2019-12-25 22:15:00 | 3.869 | 233.433 | 4.989 | 231.94 | 5.484 | 241.733 | 5.104 | 238.667 | -10.399 | 889.65 | 63.008 | 17.6142
2019-12-25 22:30:00 | 4.713 | 228.733 | 5.725 | 229.628 | 5.453 | 240.1 | 5.168 | 237.7 | -10.366 | 889.683 | 63.243 | 20.1517
2019-12-25 22:45:00 | 3.525 | 240.24 | 4.947 | 234.214 | 5.531 | 242.8 | 5.123 | 242.067 | -10.63 | 890.4 | 63.04 | 20.3108
2019-12-25 23:00:00 | 5.229 | 225.713 | 5.91 | 228.396 | 5.532 | 238.867 | 5.082 | 238.3 | -10.778 | 889.892 | 64.235 | 21.4222
2019-12-25 23:15:00 | 3.867 | 237.367 | 5.056 | 241.82 | 5.265 | 251.6 | 5.344 | 247.683 | -10.433 | 889.967 | 63.339 | 19.3182
2019-12-25 23:30:00 | 4.697 | 218.727 | 5.757 | 229.653 | 5.814 | 250 | 5.539 | 252.217 | -10.649 | 889.95 | 63.552 | 24.4257
2019-12-25 23:45:00 | 6.253 | 218.107 | 6.718 | 229.752 | 6.3 | 237.367 | 5.843 | 235.5 | -10.928 | 889.567 | 64.117 | 27.231