## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-26 00:00:00 | 5.799 | 230.153 | 6.469 | 236.367 | 6.288 | 243.433 | 5.956 | 240.767 | -10.909 | 889.508 | 64.405 | 34.0177
2019-12-26 00:15:00 | 6.276 | 233.967 | 7.153 | 244.478 | 6.784 | 251.5 | 6.523 | 249.267 | -10.266 | 889.417 | 63.733 | 35.9582
2019-12-26 00:30:00 | 4.954 | 243.3 | 6.093 | 246.681 | 6.045 | 254.433 | 5.835 | 251.233 | -9.912 | 889.458 | 63.637 | 28.6131
2019-12-26 00:45:00 | 3.329 | 243.227 | 4.613 | 249.632 | 4.309 | 260.967 | 4.137 | 259.567 | -9.766 | 889.608 | 62.155 | 24.0584
2019-12-26 01:00:00 | 5.158 | 239.08 | 5.403 | 248.84 | 5.016 | 254.5 | 4.778 | 250.983 | -9.82 | 889.775 | 63.179 | 31.665
2019-12-26 01:15:00 | 5.536 | 239.633 | 5.429 | 251.641 | 5.363 | 257.5 | 5.553 | 254.717 | -9.191 | 889.658 | 59.755 | 37.3403
2019-12-26 01:30:00 | 5.855 | 247.893 | 7.137 | 259.528 | 7.091 | 264.667 | 7.026 | 259.15 | -9.312 | 890.067 | 60.187 | 31.2195
2019-12-26 01:45:00 | 5.572 | 264.38 | 6.73 | 270.647 | 7.125 | 268.567 | 7.322 | 257 | -9.149 | 890.092 | 58.96 | 27.8222
2019-12-26 02:00:00 | 4.717 | 249.2 | 6.69 | 253.645 | 6.371 | 258.75 | 6.261 | 256.367 | -10.416 | 889.675 | 62.128 | 29.7386
2019-12-26 02:15:00 | 5.969 | 236.433 | 7.17 | 249.295 | 6.969 | 254.683 | 6.93 | 250.417 | -10.016 | 889.642 | 63.627 | 36.9637
2019-12-26 02:30:00 | 5.137 | 235.613 | 7.259 | 242.706 | 7.452 | 247.817 | 7.388 | 242.4 | -9.974 | 889.833 | 63.093 | 42.8564
2019-12-26 02:45:00 | 5.78 | 224.967 | 7.477 | 240.294 | 7.846 | 246.167 | 7.821 | 240.933 | -10.449 | 889.825 | 64.107 | 54.2383
2019-12-26 03:00:00 | 6.349 | 214.413 | 9.016 | 234.213 | 9.456 | 241.667 | 9.395 | 236.267 | -9.766 | 890.133 | 64.501 | 64.5159
2019-12-26 03:15:00 | 7.316 | 219.247 | 9.279 | 235.535 | 9.741 | 240.833 | 9.656 | 236.367 | -8.351 | 890.167 | 59.776 | 70.0789
2019-12-26 03:30:00 | 6.386 | 209.887 | 8.634 | 238.495 | 9.175 | 244.667 | 9.115 | 240.733 | -8.23 | 889.875 | 58.603 | 67.6161
2019-12-26 03:45:00 | 7.265 | 212.4 | 9.26 | 237.925 | 9.735 | 245.067 | 9.79 | 240.867 | -8.19 | 889.742 | 58.421 | 75.2533
2019-12-26 04:00:00 | 7.198 | 223.433 | 9.032 | 240.9 | 9.646 | 248.033 | 9.595 | 245.1 | -8.691 | 890.1 | 58.112 | 74.5598
2019-12-26 04:15:00 | 7.239 | 214.867 | 9.37 | 238.674 | 9.975 | 246.833 | 10.121 | 244.733 | -8.508 | 890.042 | 58.368 | 75.1446
2019-12-26 04:30:00 | 7.733 | 222.5 | 9.176 | 242.633 | 9.485 | 250.4 | 9.497 | 247.567 | -7.772 | 890.408 | 57.323 | 75.0728
2019-12-26 04:45:00 | 6.883 | 218.587 | 8.246 | 236.928 | 8.655 | 244.933 | 8.665 | 242.367 | -8.03 | 889.683 | 57.291 | 66.8913
2019-12-26 05:00:00 | 6.733 | 222.147 | 8.01 | 234.204 | 8.31 | 241.967 | 8.235 | 238.333 | -8.15 | 890.067 | 58.133 | 58.0924
2019-12-26 05:15:00 | 6.507 | 210.567 | 7.78 | 223.929 | 8.172 | 232.667 | 8.021 | 231.033 | -8.874 | 889.775 | 59.168 | 58.788
2019-12-26 05:30:00 | 6.375 | 214.567 | 7.667 | 226.851 | 7.98 | 237.1 | 8.003 | 234.2 | -8.974 | 889.958 | 60.896 | 55.373
2019-12-26 05:45:00 | 5.369 | 214.12 | 7.205 | 230.369 | 7.683 | 239.7 | 7.519 | 234.733 | -9.345 | 889.817 | 61.28 | 45.4486
2019-12-26 06:00:00 | 5.925 | 214.24 | 7.136 | 229.158 | 7.364 | 235.633 | 7.294 | 232.767 | -9.849 | 889.783 | 62.613 | 42.1053
2019-12-26 06:15:00 | 6.693 | 207.513 | 7.115 | 220.566 | 7.309 | 229.967 | 7.262 | 227.8 | -10.524 | 890.158 | 63.541 | 42.6375
2019-12-26 06:30:00 | 6.103 | 204.333 | 7.012 | 218.685 | 7.498 | 233.533 | 7.608 | 231.7 | -9.962 | 889.633 | 63.541 | 43.9571
2019-12-26 06:45:00 | 5.447 | 204.967 | 6.347 | 225.848 | 7.637 | 238.4 | 8.007 | 237.667 | -10.083 | 889.675 | 64.736 | 40.1534
2019-12-26 07:00:00 | 6.087 | 209.933 | 6.327 | 227.053 | 7.425 | 239.7 | 7.879 | 238 | -9.912 | 889.875 | 64.288 | 37.5741
2019-12-26 07:15:00 | 5.51 | 213.367 | 6.489 | 229.924 | 6.939 | 239.733 | 6.96 | 236.967 | -9.599 | 889.917 | 64.011 | 43.6863
2019-12-26 07:30:00 | 6.703 | 212.66 | 7.78 | 225.526 | 8.305 | 234.7 | 8.328 | 232 | -10.274 | 889.958 | 66.016 | 49.1456
2019-12-26 07:45:00 | 7.698 | 211.333 | 8.092 | 220.758 | 8.542 | 227.5 | 8.766 | 226.967 | -9.324 | 889.867 | 64.149 | 44.8993
2019-12-26 08:00:00 | 6.19 | 212.687 | 6.986 | 219.93 | 6.995 | 228.467 | 7.092 | 227.2 | -9.162 | 890.042 | 60.405 | 24.8329
2019-12-26 08:15:00 | 4.795 | 217.067 | 5.604 | 228.463 | 6.143 | 241.567 | 6.362 | 240.133 | -9.208 | 889.658 | 63.317 | 19.4837
2019-12-26 08:30:00 | 6.233 | 215.02 | 6.32 | 236.187 | 6.634 | 248.633 | 6.472 | 246.767 | -10.368 | 889.708 | 63.435 | 24.4058
2019-12-26 08:45:00 | 7.15 | 217.46 | 8.069 | 242.368 | 8.806 | 251.067 | 9.118 | 248.5 | -10.158 | 889.508 | 66.912 | 47.7025
2019-12-26 09:00:00 | 8.257 | 218.233 | 8.903 | 237.153 | 9.606 | 245.7 | 9.87 | 242.867 | -8.908 | 889.842 | 63.659 | 57.2134
2019-12-26 09:15:00 | 8.627 | 216.4 | 8.738 | 233.928 | 9.18 | 243.967 | 9.376 | 241.567 | -9.024 | 890.208 | 65.131 | 68.2833
2019-12-26 09:30:00 | 8.355 | 221.313 | 9.31 | 229.846 | 9.394 | 237.533 | 9.319 | 237.4 | -9.528 | 889.808 | 66.539 | 63.7542
2019-12-26 09:45:00 | 6.862 | 218.82 | 8.326 | 234.574 | 8.78 | 242.633 | 8.6 | 240.233 | -8.364 | 890.35 | 64.491 | 57.6774
2019-12-26 10:00:00 | 5.911 | 220.72 | 7.708 | 234.118 | 8.199 | 243.3 | 8.554 | 240.567 | -7.846 | 890.283 | 63.584 | 55.3695
2019-12-26 10:15:00 | 5.286 | 217.28 | 6.981 | 232.325 | 7.61 | 241.7 | 7.655 | 239.167 | -6.834 | 889.975 | 60.992 | 51.7001
2019-12-26 10:30:00 | 6.218 | 215.387 | 7.443 | 231.175 | 7.689 | 240.867 | 7.99 | 239.433 | -6.572 | 890.05 | 59.797 | 50.8474
2019-12-26 10:45:00 | 6.25 | 213.153 | 7.356 | 226.716 | 7.77 | 236.633 | 7.846 | 236.033 | -5.345 | 889.975 | 58.112 | 48.9765
2019-12-26 11:00:00 | 6.401 | 211.04 | 7.326 | 218.861 | 7.929 | 227.167 | 7.813 | 225.833 | -4.043 | 889.708 | 54.443 | 45.7164
2019-12-26 11:15:00 | 5.089 | 212.013 | 5.724 | 221.963 | 6.369 | 228.833 | 6.742 | 226.767 | -3.156 | 890.1 | 52.469 | 42.9466
2019-12-26 11:30:00 | 6.155 | 213.593 | 6.426 | 224.049 | 6.996 | 231.567 | 7.335 | 229.3 | -2.098 | 890.108 | 48.608 | 38.2356
2019-12-26 11:45:00 | 6.946 | 214.893 | 7.563 | 237.277 | 7.959 | 242.3 | 7.98 | 236.233 | -1.182 | 889.7 | 44.117 | 39.3242
2019-12-26 12:00:00 | 7.27 | 218.42 | 7.718 | 247.318 | 7.767 | 251.233 | 7.892 | 245.133 | -0.668 | 889.892 | 41.285 | 46.7212
2019-12-26 12:15:00 | 7.896 | 219.653 | 8.639 | 250.57 | 8.907 | 252.683 | 8.77 | 248.033 | -0.103 | 890.217 | 39.005 | 60.4678
2019-12-26 12:30:00 | 7.384 | 249.007 | 8.13 | 267.42 | 8.334 | 270 | 8.195 | 264.567 | -1.199 | 889.55 | 38.816 | 54.4941
2019-12-26 12:45:00 | 8 | 239.893 | 8.325 | 257.133 | 8.512 | 263.133 | 8.56 | 259.367 | -0.419 | 889.85 | 37.059 | 57.3747
2019-12-26 13:00:00 | 8.767 | 235.04 | 9.324 | 261.911 | 9.405 | 266.833 | 9.438 | 266.35 | -0.016 | 889.933 | 34.699 | 61.4683
2019-12-26 13:15:00 | 9.783 | 233.44 | 10.67 | 261.962 | 10.778 | 266.267 | 10.663 | 262.183 | -0.183 | 889.95 | 33.733 | 56.6137
2019-12-26 13:30:00 | 8.836 | 227.367 | 9.23 | 259.509 | 9.493 | 264.1 | 9.322 | 260.467 | -0.199 | 889.817 | 34.237 | 53.2605
2019-12-26 13:45:00 | 8.082 | 261.12 | 8.945 | 274.473 | 9.199 | 278.2 | 9.671 | 273.633 | -0.05 | 889.633 | 32.472 | 50.4666
2019-12-26 14:00:00 | 8.524 | 239.093 | 9.401 | 263.165 | 9.344 | 267.167 | 9.236 | 265.2 | -0.063 | 889.8 | 32.624 | 58.6345
2019-12-26 14:15:00 | 10.262 | 216.04 | 11.05 | 251.796 | 11.332 | 256.033 | 11.26 | 252.383 | -0.405 | 890.083 | 32.813 | 63.2816
2019-12-26 14:30:00 | 8.611 | 226.593 | 8.994 | 254.135 | 9.161 | 257.983 | 9.203 | 252.15 | 0.266 | 889.567 | 31.597 | 64.5678
2019-12-26 14:45:00 | 9.309 | 231.06 | 9.786 | 257.09 | 9.736 | 261.733 | 9.68 | 257.567 | 0.316 | 889.733 | 31.469 | 63.5971
2019-12-26 15:00:00 | 8.167 | 216.96 | 8.775 | 247.97 | 8.911 | 251.5 | 8.725 | 246.45 | -0.133 | 889.95 | 32.416 | 58.6978
2019-12-26 15:15:00 | 8.191 | 231.86 | 8.603 | 259.293 | 8.823 | 263.833 | 8.746 | 259.2 | 0.199 | 889.483 | 32.416 | 64.2708
2019-12-26 15:30:00 | 8.078 | 218.407 | 8.825 | 250.721 | 9.261 | 255.883 | 9.282 | 251.65 | 0.449 | 889.967 | 34.165 | 67.4271
2019-12-26 15:45:00 | 7.707 | 236.173 | 8.559 | 255.4 | 9.119 | 260.317 | 9.01 | 256.267 | 0.366 | 890.1 | 35.483 | 67.8492
2019-12-26 16:00:00 | 8.675 | 219.433 | 9.402 | 246.307 | 9.51 | 251.5 | 9.191 | 247.433 | 0.233 | 890.067 | 35.221 | 58.1116
2019-12-26 16:15:00 | 6.49 | 224.067 | 6.964 | 247.982 | 7.287 | 250.517 | 7.066 | 247.417 | 0.2 | 889.9 | 35.344 | 44.9007
2019-12-26 16:30:00 | 6.272 | 229.207 | 6.735 | 256.515 | 6.931 | 262.783 | 6.953 | 258.367 | 0.216 | 890.083 | 35.709 | 32.5674
2019-12-26 16:45:00 | 4.385 | 250.66 | 5.068 | 265.216 | 5.199 | 267.667 | 5.545 | 263.267 | 0.05 | 890.067 | 36.869 | 30.7967
2019-12-26 17:00:00 | 5.649 | 242.013 | 6.28 | 259.383 | 6.659 | 261.15 | 6.825 | 257.65 | 0.183 | 889.567 | 37.803 | 36.1288
2019-12-26 17:15:00 | 5.478 | 235.18 | 6.048 | 256.929 | 6.158 | 262.067 | 6.204 | 259.367 | -0.05 | 889.5 | 38.24 | 23.5532
2019-12-26 17:30:00 | 4.674 | 248.52 | 5.279 | 258.558 | 5.475 | 264.867 | 5.733 | 261.333 | -0.033 | 889.833 | 39.061 | 20.9368
2019-12-26 17:45:00 | 5.272 | 224.593 | 6.04 | 247.568 | 6.454 | 252.767 | 6.711 | 250.433 | -0.359 | 889.625 | 40.864 | 31.1484
2019-12-26 18:00:00 | 6.035 | 264.547 | 6.669 | 272.414 | 6.848 | 276.367 | 7.174 | 270.967 | -0.016 | 889.817 | 40.085 | 28.9527
2019-12-26 18:15:00 | 4.983 | 259.147 | 5.996 | 266.027 | 6.196 | 270.467 | 6.432 | 265.467 | -0.518 | 889.808 | 41.253 | 25.5911
2019-12-26 18:30:00 | 4.398 | 265.8 | 5.222 | 268.919 | 5.493 | 273.6 | 5.73 | 269.4 | -1.259 | 889.883 | 42.843 | 19.8376
2019-12-26 18:45:00 | 4.508 | 289.16 | 4.897 | 286.534 | 5.082 | 287.633 | 5.388 | 282.433 | -1.66 | 889.95 | 42.891 | 14.5737
2019-12-26 19:00:00 | 4.538 | 288.933 | 5.251 | 293.174 | 5.406 | 297.2 | 5.702 | 291.9 | -2.328 | 890.117 | 43.525 | 14.6164
2019-12-26 19:15:00 | 4.867 | 289.093 | 5.324 | 291.884 | 5.246 | 294.933 | 5.411 | 288.1 | -2.956 | 889.75 | 45.291 | 14.1651
2019-12-26 19:30:00 | 4.797 | 283.733 | 4.917 | 284.475 | 5.057 | 283.667 | 5.2 | 277.967 | -3.454 | 890.583 | 48.208 | 15.1372
2019-12-26 19:45:00 | 4.152 | 252.767 | 4.918 | 248.66 | 4.8 | 252.583 | 4.815 | 247.733 | -4.39 | 889.933 | 49.253 | 26.4885
2019-12-26 20:00:00 | 5.972 | 225.92 | 7.18 | 240.002 | 7.496 | 242.4 | 7.639 | 235.933 | -4.049 | 889.592 | 53.163 | 40.1079
2019-12-26 20:15:00 | 6.248 | 229.893 | 7.252 | 238.535 | 8.015 | 241.1 | 8.327 | 233.567 | -4.054 | 890.3 | 54.699 | 41.6179
2019-12-26 20:30:00 | 5.911 | 239.673 | 6.811 | 255.744 | 7.03 | 251.067 | 7.289 | 238.567 | -4.102 | 889.45 | 55.125 | 37.0852
2019-12-26 20:45:00 | 6.116 | 276.753 | 6.493 | 278.018 | 6.247 | 276.667 | 6.183 | 263.617 | -4.136 | 889.917 | 55.024 | 27.8578
2019-12-26 21:00:00 | 5.828 | 255.007 | 6.749 | 268.551 | 6.892 | 266.9 | 6.859 | 256.683 | -3.167 | 889.958 | 52.789 | 21.8712
2019-12-26 21:15:00 | 5.53 | 261.733 | 6.203 | 268.998 | 6.467 | 271.233 | 6.824 | 263.833 | -3.488 | 890.125 | 52.672 | 22.9911
2019-12-26 21:30:00 | 5.162 | 249.133 | 6.335 | 265.601 | 6.505 | 268 | 6.778 | 259 | -3.756 | 889.792 | 52.576 | 14.0124
2019-12-26 21:45:00 | 5.299 | 298.267 | 5.853 | 289.783 | 6.091 | 286.433 | 6.31 | 281.067 | -4.885 | 889.783 | 55.92 | 12.7028
2019-12-26 22:00:00 | 5.219 | 291.013 | 5.484 | 280.5 | 6.099 | 279.1 | 6.754 | 270.933 | -5.587 | 890.125 | 56.965 | 14.0017
2019-12-26 22:15:00 | 4.388 | 270.88 | 5.401 | 268.425 | 5.751 | 272.867 | 6.083 | 264.533 | -5.862 | 889.692 | 59.893 | 17.4707
2019-12-26 22:30:00 | 5.124 | 242.8 | 5.391 | 248.564 | 5.84 | 251.5 | 6.431 | 245.883 | -5.235 | 889.867 | 58.517 | 21.1458
2019-12-26 22:45:00 | 5.729 | 241.647 | 6.876 | 253.761 | 7.217 | 255.033 | 7.178 | 245.717 | -4.869 | 889.692 | 55.205 | 21.435
2019-12-26 23:00:00 | 5.119 | 240.547 | 6.617 | 246.101 | 6.98 | 247.3 | 7.27 | 238.533 | -4.885 | 889.825 | 55.712 | 22.2123
2019-12-26 23:15:00 | 6.736 | 249.8 | 7.442 | 256.119 | 7.477 | 257.017 | 7.508 | 246.867 | -5.002 | 889.983 | 55.051 | 21.9743
2019-12-26 23:30:00 | 5.86 | 237.787 | 6.77 | 261.989 | 6.796 | 264.5 | 6.611 | 254.317 | -4.421 | 889.633 | 51.931 | 23.7045
2019-12-26 23:45:00 | 5.465 | 270.98 | 6.749 | 270.924 | 6.882 | 267.3 | 6.775 | 257.933 | -5.669 | 890.158 | 55.477 | 26.0345