## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2019-12-27 00:00:00 | 4.633 | 261.747 | 5.941 | 254.519 | 7.073 | 245.883 | 7.267 | 233.567 | -5.538 | 889.808 | 55.024 | 38.571
2019-12-27 00:15:00 | 5.406 | 212.7 | 7.624 | 233.205 | 7.876 | 235.933 | 7.96 | 229.933 | -6.412 | 889.883 | 58.752 | 42.0691
2019-12-27 00:30:00 | 5.288 | 225.14 | 7.285 | 225.419 | 7.787 | 227.7 | 8.206 | 222.9 | -6.017 | 889.867 | 60.363 | 43.7602
2019-12-27 00:45:00 | 5.691 | 211.233 | 7.842 | 220.809 | 7.959 | 225.167 | 8.123 | 221.2 | -5.832 | 890.017 | 61.184 | 46.869
2019-12-27 01:00:00 | 5.903 | 225.767 | 7.431 | 226.364 | 7.487 | 229 | 7.69 | 224 | -5.269 | 889.35 | 59.723 | 54.5076
2019-12-27 01:15:00 | 6.238 | 224 | 7.615 | 230.11 | 7.926 | 233.7 | 8.049 | 229.533 | -5.435 | 890.008 | 60.235 | 62.969
2019-12-27 01:30:00 | 6.565 | 213.2 | 8.493 | 229.696 | 8.981 | 234 | 8.936 | 229.5 | -5.502 | 889.575 | 60.352 | 65.1938
2019-12-27 01:45:00 | 7.263 | 217.7 | 8.974 | 231.199 | 9.359 | 236.867 | 9.376 | 233.567 | -5.335 | 890.142 | 58.549 | 55.1251
2019-12-27 02:00:00 | 6.346 | 218.1 | 7.961 | 232.046 | 8.536 | 239.9 | 8.601 | 237.233 | -5.302 | 889.858 | 58.389 | 39.3817
2019-12-27 02:15:00 | 4.648 | 219.5 | 7.2 | 241.072 | 8.185 | 248.067 | 8.028 | 245.767 | -5.452 | 889.917 | 58.187 | 26.9056
2019-12-27 02:30:00 | 2.801 | 215.227 | 6.252 | 240.052 | 7.631 | 252.1 | 7.716 | 249.433 | -5.994 | 889.875 | 57.931 | 20.8224
2019-12-27 02:45:00 | 4.18 | 210.747 | 5.525 | 226.417 | 6.605 | 238.733 | 6.7 | 237.7 | -6.618 | 890.05 | 60.363 | 20.3137
2019-12-27 03:00:00 | 5.885 | 210.267 | 6.574 | 222.423 | 6.865 | 236.067 | 6.875 | 234.833 | -6.628 | 890.225 | 58.325 | 22.0297
2019-12-27 03:15:00 | 5.601 | 212.027 | 5.468 | 230.128 | 5.931 | 246.967 | 6.09 | 244.733 | -6.939 | 889.775 | 58.485 | 16.8113
2019-12-27 03:30:00 | 4.179 | 217.007 | 5.043 | 226.297 | 5.016 | 244.5 | 4.796 | 248.167 | -6.548 | 889.933 | 57.429 | 19.7907
2019-12-27 03:45:00 | 4.874 | 214.093 | 6.477 | 224.669 | 6.154 | 235.167 | 5.726 | 233.033 | -7.536 | 889.733 | 58.155 | 28.9314
2019-12-27 04:00:00 | 6.349 | 214.967 | 7.596 | 220.424 | 6.927 | 228.667 | 6.318 | 227.267 | -7.606 | 890.008 | 58.848 | 30.8869
2019-12-27 04:15:00 | 5.907 | 214.267 | 7.617 | 215.993 | 7.247 | 220.267 | 6.872 | 218.867 | -7.656 | 889.425 | 59.253 | 27.7419
2019-12-27 04:30:00 | 6.226 | 214.793 | 7.418 | 217.577 | 7.316 | 221.267 | 7.087 | 218.1 | -7.519 | 889.908 | 60.171 | 27.1429
2019-12-27 04:45:00 | 6.114 | 215.527 | 6.843 | 217.62 | 6.913 | 220.933 | 6.536 | 218.067 | -7.17 | 889.858 | 58.901 | 21.2673
2019-12-27 05:00:00 | 5.729 | 212.24 | 6.196 | 223.185 | 5.781 | 230.367 | 5.568 | 230.567 | -7.111 | 890 | 58.176 | 18.9231
2019-12-27 05:15:00 | 5.62 | 218.113 | 6.027 | 225.069 | 5.715 | 236.767 | 5.392 | 237.633 | -7.28 | 889.75 | 59.467 | 12.7085
2019-12-27 05:30:00 | 5.578 | 217.48 | 5.869 | 219.348 | 5.392 | 229.033 | 5.08 | 232.267 | -8.401 | 890.242 | 63.189 | 9.852
2019-12-27 05:45:00 | 6.058 | 212.827 | 5.281 | 212.693 | 4.624 | 221.4 | 4.424 | 224.8 | -7.743 | 890.233 | 63.755 | 5.4692
2019-12-27 06:00:00 | 5.256 | 207.553 | 5.397 | 210.826 | 3.899 | 224.667 | 3.312 | 230.433 | -7.101 | 889.925 | 61.365 | 3.9706
2019-12-27 06:15:00 | 5.882 | 204.933 | 5.04 | 214.019 | 4.044 | 218.9 | 3.578 | 220.833 | -7.706 | 889.75 | 63.157 | 2.7378
2019-12-27 06:30:00 | 6.106 | 217.287 | 4.954 | 225.335 | 3.932 | 232.1 | 3.502 | 233.1 | -8.013 | 889.675 | 62.923 | 2.8543
2019-12-27 06:45:00 | 5.291 | 223.293 | 3.774 | 223.26 | 3.116 | 227.1 | 2.686 | 224.1 | -7.586 | 889.642 | 62.517 | 3.6822
2019-12-27 07:00:00 | 5.206 | 212.793 | 5.706 | 207.17 | 5.276 | 214.2 | 4.34 | 213.433 | -7.686 | 889.8 | 59.979 | 4.4766
2019-12-27 07:15:00 | 4.872 | 220.893 | 3.958 | 216.414 | 3.697 | 219.467 | 3.306 | 216.2 | -7.221 | 890.05 | 63.915 | 3.6729
2019-12-27 07:30:00 | 5.762 | 219.073 | 4.899 | 219.727 | 4.263 | 222.733 | 3.566 | 218.867 | -8.17 | 889.633 | 62.069 | 1.5419
2019-12-27 07:45:00 | 5.628 | 227.473 | 4.256 | 232.615 | 3.501 | 241.667 | 2.381 | 238 | -7.836 | 889.658 | 63.189 | 1.7778
2019-12-27 08:00:00 | 5.486 | 222.613 | 4.122 | 228.006 | 3.434 | 237.333 | 2.611 | 237 | -8.033 | 890.125 | 63.445 | 1.4368
2019-12-27 08:15:00 | 5.511 | 223.027 | 4.083 | 229.428 | 3.371 | 235.8 | 2.655 | 234.867 | -7.859 | 889.808 | 62.816 | 0.89105
2019-12-27 08:30:00 | 4.988 | 234.533 | 3.631 | 241.447 | 3.041 | 247.933 | 2.515 | 243.833 | -7.889 | 889.458 | 64.757 | 0.17622
2019-12-27 08:45:00 | 4.301 | 235.947 | 2.828 | 253.611 | 1.882 | 257.067 | 1.743 | 248.383 | -6.302 | 889.708 | 61.835 | 0.33823
2019-12-27 09:00:00 | 4.653 | 240.293 | 2.29 | 251.341 | 2.107 | 272.067 | 2.544 | 266.833 | -6.225 | 889.867 | 64.576 | 1.9114
2019-12-27 09:15:00 | 5.164 | 227.933 | 3.953 | 235.478 | 3.026 | 246.7 | 3.002 | 258.5 | -5.385 | 889.692 | 59.339 | 5.5175
2019-12-27 09:30:00 | 6.232 | 234.4 | 4.926 | 238.987 | 4.096 | 240.067 | 3.46 | 247 | -7.689 | 889.742 | 60.789 | 7.7388
2019-12-27 09:45:00 | 5.61 | 239.267 | 4.951 | 246.522 | 4.663 | 252.633 | 4.152 | 248.933 | -6.992 | 889.667 | 59.36 | 10.1348
2019-12-27 10:00:00 | 5.25 | 230.447 | 5.356 | 247.907 | 4.698 | 254.4 | 4.163 | 251.683 | -6.717 | 890.175 | 60.192 | 9.7397
2019-12-27 10:15:00 | 5.014 | 227.9 | 5.469 | 245.993 | 4.984 | 254.3 | 4.624 | 254.067 | -5.602 | 889.9 | 59.339 | 11.4543
2019-12-27 10:30:00 | 5.537 | 209.133 | 5.966 | 237.327 | 5.524 | 248.067 | 5.202 | 248.567 | -5.252 | 889.858 | 59.925 | 16.2606
2019-12-27 10:45:00 | 5.032 | 220.233 | 6.122 | 241.874 | 6.303 | 255.3 | 6.312 | 256.683 | -5.202 | 889.8 | 58.997 | 17.8928
2019-12-27 11:00:00 | 4.396 | 224.287 | 6.089 | 243.631 | 6.349 | 257.933 | 6.429 | 261.017 | -4.463 | 889.817 | 57.845 | 12.1123
2019-12-27 11:15:00 | 4.199 | 223.7 | 5.265 | 240.018 | 5.363 | 255.767 | 5.498 | 259.9 | -2.818 | 889.717 | 53.952 | 7.3529
2019-12-27 11:30:00 | 3.053 | 228.013 | 3.756 | 236.214 | 4.599 | 252.4 | 4.471 | 258.133 | -1.306 | 889.925 | 50.304 | 5.7385
2019-12-27 11:45:00 | 3.372 | 223.58 | 3.543 | 229.062 | 3.989 | 242.267 | 4.166 | 247.1 | -0.229 | 889.758 | 46.059 | 4.9008
2019-12-27 12:00:00 | 3.436 | 222.267 | 3.54 | 224.514 | 3.66 | 235 | 3.525 | 240.667 | -0.136 | 889.575 | 43.36 | 2.3982
2019-12-27 12:15:00 | 2.624 | 232.12 | 2.6 | 229.24 | 2.649 | 234.733 | 2.801 | 235.867 | 0.798 | 889.708 | 41.632 | 1.3387
2019-12-27 12:30:00 | 2.235 | 260.247 | 2.064 | 250.352 | 2.169 | 250.583 | 2.458 | 252.283 | 0.965 | 889.833 | 40.789 | 1.095
2019-12-27 12:45:00 | 2.393 | 275.033 | 2.198 | 269.03 | 2.187 | 273.5 | 2.48 | 261.833 | 1.269 | 889.533 | 39.595 | 1.1483
2019-12-27 13:00:00 | 1.783 | 297.647 | 1.489 | 296.572 | 1.438 | 293.633 | 2.163 | 287.2 | 0.598 | 889.425 | 40.499 | 1.2136
2019-12-27 13:15:00 | 2.558 | 332.493 | 2.623 | 334.278 | 2.754 | 331.933 | 2.98 | 334.033 | 1.306 | 889.517 | 37.36 | 3.2004
2019-12-27 13:30:00 | 4.729 | 305.213 | 4.898 | 300.446 | 4.914 | 306 | 5.068 | 300.367 | 0.831 | 889.85 | 38.725 | 7.9647
2019-12-27 13:45:00 | 4.718 | 298.32 | 4.981 | 299.718 | 4.962 | 304.5 | 5.182 | 301.067 | 1.169 | 889.433 | 38.344 | 11.7855
2019-12-27 14:00:00 | 5.186 | 304.44 | 5.362 | 301.17 | 5.416 | 305.1 | 5.698 | 302.967 | 1.058 | 889.767 | 39.536 | 8.5169
2019-12-27 14:15:00 | 4.251 | 329.893 | 4.155 | 320.024 | 4.213 | 317.167 | 4.462 | 310.1 | 0.499 | 889.967 | 41.328 | 2.5239
2019-12-27 14:30:00 | 3.504 | 334.307 | 3.444 | 341.39 | 3.306 | 341.267 | 3.357 | 334.933 | 0.565 | 889.733 | 41.819 | 1.9676
2019-12-27 14:45:00 | 3.12 | 335.853 | 3.025 | 326.083 | 3.119 | 326.633 | 3.386 | 322.067 | 0.299 | 889.65 | 41.765 | 0.79086
2019-12-27 15:00:00 | 2.621 | 344.867 | 2.55 | 338.051 | 2.634 | 341.533 | 2.775 | 335.867 | -0.116 | 890 | 42.667 | 0.22951
2019-12-27 15:15:00 | 1.524 | 96.106 | 1.553 | 139.399 | 1.306 | 207.769 | 1.842 | 265.9 | 0.299 | 889.625 | 41.701 | 0.28565
2019-12-27 15:30:00 | 1.897 | 270.547 | 1.947 | 291.406 | 1.709 | 219.567 | 2.021 | 229.933 | 0.732 | 890.117 | 41.216 | 0.19185
2019-12-27 15:45:00 | 1.468 | 305.613 | 1.042 | 309.325 | 1.464 | 315.167 | 1.671 | 313.533 | 0.732 | 889.65 | 40.84 | 0.48461
2019-12-27 16:00:00 | 1.623 | 296 | 1.367 | 302.037 | 1.634 | 296.433 | 1.954 | 295.4 | 1.172 | 889.733 | 41.024 | 0.12364
2019-12-27 16:15:00 | 1.52 | 241.887 | 1.276 | 253.156 | 1.074 | 258.883 | 1.54 | 255.5 | 1.483 | 889.65 | 40.581 | 0.12506
2019-12-27 16:30:00 | 3.686 | 307.493 | 3.732 | 297.473 | 3.946 | 290.502 | 3.986 | 288 | 2.348 | 889.767 | 40.112 | 0.2892
2019-12-27 16:45:00 | 2.798 | 26.115 | 2.661 | 34.933 | 2.576 | 67.7 | 2.631 | 108.3 | 1.206 | 889.767 | 40.976 | 0.14922
2019-12-27 17:00:00 | 2.077 | 24.115 | 1.747 | 25.734 | 1.636 | 97.7 | 2.168 | 207.533 | 1.015 | 889.475 | 41.131 | 0.16556
2019-12-27 17:15:00 | 1.63 | 8.731 | 1.437 | 3.742 | 1.42 | 61.933 | 2.093 | 342.733 | 0.332 | 889.675 | 41.792 | 0.18191
2019-12-27 17:30:00 | 1.724 | 6.357 | 1.64 | 0 | 1.94 | 0 | 2.802 | 11.867 | -0.116 | 890.083 | 42.837 | 0.19896
2019-12-27 17:45:00 | 2.482 | 15.369 | 2.564 | 14.649 | 2.605 | 17.8 | 2.442 | 8.9 | -0.066 | 889.917 | 43.744 | 0.21388
2019-12-27 18:00:00 | 2.166 | 28.673 | 2.764 | 21.064 | 2.71 | 19.267 | 2.574 | 13.833 | -1.139 | 890.017 | 44.512 | 0.2423
2019-12-27 18:15:00 | 1.71 | 21.729 | 2.584 | 10.269 | 3.06 | 15.7 | 2.441 | 12.567 | -1.139 | 889.608 | 46.123 | 0.26362
2019-12-27 18:30:00 | 1.844 | 14.021 | 2.054 | 0.737 | 2.252 | 3.333 | 2.899 | 4.133 | -1.549 | 889.658 | 46.677 | 0.25438
2019-12-27 18:45:00 | 0.732 | 84.305 | 0.144 | 41.787 | 0.449 | 37.5 | 1.31 | 16 | -2.131 | 889.65 | 48.448 | 0.22454
2019-12-27 19:00:00 | 2.697 | 131.03 | 2.474 | 111.692 | 2.175 | 108.367 | 2.189 | 94 | -2.205 | 889.483 | 48.992 | 0.20749
2019-12-27 19:15:00 | 1.84 | 170.88 | 0.859 | 135.656 | 0.659 | 140 | 0.675 | 94 | -3.09 | 889.625 | 49.941 | 0.21175
2019-12-27 19:30:00 | 2.734 | 183.08 | 1.873 | 155.51 | 1.944 | 157.6 | 2.251 | 115.8 | -2.99 | 889.575 | 50.912 | 0.24301
2019-12-27 19:45:00 | 3.039 | 186.16 | 2.541 | 164.801 | 2.412 | 164.1 | 2.47 | 140.233 | -2.842 | 889.792 | 50.475 | 0.22667
2019-12-27 20:00:00 | 3.675 | 201.567 | 2.51 | 185.948 | 1.924 | 184.6 | 2.012 | 169.333 | -3.119 | 889.842 | 51.84 | 1.3835
2019-12-27 20:15:00 | 3.803 | 217.793 | 3.201 | 235.368 | 2.882 | 244.1 | 3.218 | 238.467 | -2.943 | 889.933 | 51.285 | 7.8923
2019-12-27 20:30:00 | 4.585 | 239.333 | 4.547 | 254.44 | 4.494 | 262 | 4.739 | 256.867 | -3.271 | 890.117 | 52.213 | 13.3942
2019-12-27 20:45:00 | 4.925 | 236.747 | 5.318 | 252.859 | 5.097 | 260.2 | 5.112 | 262 | -2.72 | 889.783 | 50.384 | 16.6841
2019-12-27 21:00:00 | 5.536 | 229.027 | 5.757 | 245.864 | 5.904 | 253.1 | 6.132 | 250.717 | -2.842 | 890.342 | 50.144 | 21.4939
2019-12-27 21:15:00 | 5.408 | 250.647 | 6.249 | 256.039 | 6.624 | 258.933 | 6.858 | 253.817 | -2.598 | 889.658 | 48.501 | 20.065
2019-12-27 21:30:00 | 5.456 | 254.487 | 5.887 | 258.464 | 6.037 | 261.667 | 6.29 | 257.2 | -2.471 | 890.008 | 48.629 | 19.7893
2019-12-27 21:45:00 | 5.845 | 239.713 | 6.433 | 253.221 | 6.832 | 257.267 | 7.02 | 252.25 | -2.172 | 889.383 | 48.416 | 20.2341
2019-12-27 22:00:00 | 5.206 | 255.033 | 5.957 | 258.888 | 6.287 | 261.1 | 6.466 | 255.533 | -2.346 | 890.025 | 47.717 | 14.33
2019-12-27 22:15:00 | 4.85 | 257.667 | 5.05 | 254.933 | 5.447 | 259.517 | 5.624 | 253.717 | -2.246 | 889.65 | 47.52 | 12.4037
2019-12-27 22:30:00 | 4.711 | 227.413 | 5.704 | 244.952 | 5.849 | 250.9 | 5.839 | 247.4 | -2.517 | 889.692 | 48.544 | 15.059
2019-12-27 22:45:00 | 4.623 | 223.28 | 5.603 | 236.134 | 5.665 | 242.967 | 5.614 | 238.133 | -2.536 | 890.025 | 48.011 | 17.5787
2019-12-27 23:00:00 | 3.813 | 226.44 | 5.254 | 237.697 | 5.612 | 245.367 | 5.62 | 243.333 | -2.963 | 889.783 | 48.949 | 20.8757
2019-12-27 23:15:00 | 5.275 | 220.633 | 6.539 | 238.809 | 6.994 | 247.633 | 7.411 | 246.383 | -2.801 | 889.542 | 49.899 | 30.6837
2019-12-27 23:30:00 | 5.222 | 224.907 | 6.537 | 243.255 | 6.955 | 251.4 | 7.12 | 250.033 | -2.362 | 889.575 | 49.419 | 32.8388
2019-12-27 23:45:00 | 4.846 | 220.873 | 6.198 | 243.526 | 6.445 | 251.4 | 6.571 | 248.25 | -2.197 | 889.767 | 49.781 | 35.4431